186

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3            In the Matter of:

DOCKET NO. 100330-WS

4

APPLICATION FOR INCREASE IN WATER/

5       WASTEWATER RATES IN ALACHUA,

BREVARD, DESOTO, HARDEE, HIGHLANDS,

6       LAKE, LEE, MARION, ORANGE, PALM

BEACH, PASCO, POLK, PUTNAM, SEMINOLE,

7       SUMTER, VOLUSIA, AND WASHINGTON

COUNTIES BY AQUA UTILITIES

8       FLORIDA, INC.

______________________________________/

9

VOLUME 2

10

Pages 186 through 400

11

12

13       PROCEEDINGS:             HEARING

14       COMMISSIONERS

PARTICIPATING:           CHAIRMAN ART GRAHAM

15                                COMMISSIONER LISA POLAK EDGAR

COMMISSIONER RONALD A. BRISÉ

16                                COMMISSIONER EDUARDO E. BALBIS

COMMISSIONER JULIE I. BROWN

17

DATE:                    Tuesday, November 29, 2011

18

TIME:                    Commenced at 2:18 p.m.

19                                Concluded at 6:45 p.m.

20       PLACE:                   Betty Easley Conference Center

Room 148

21                                4075 Esplanade Way

Tallahassee, Florida

22

REPORTED BY:             JANE FAUROT, RPR

23                                 FPSC Reporter

(850) 413-6732

24

APPEARANCES:             (As heretofore noted.)

25

FLORIDA PUBLIC SERVICE COMMISSION

187

1                               I N D E X

2                               WITNESSES

3

NAME:                                           PAGE NO.

4

Stan F. Szczygiel (continued)

5

Redirect Examination by Mr. May              189

6

7       Preston Luitweiler

8            Direct Examination by Mr. May                203

Prefiled Direct Testimony Inserted           205

9            Cross Examination by Ms. Christensen         230

Cross Examination by Mr. Bradley             241

10            Cross Examination by Mr. Curtin              251

Cross Examination by Mr. Richards            262

11            Cross Examination by Mr. Jaeger              263

12

Susan Chambers

13

Direct Examination by Mr. May                284

14            Prefiled Direct Testimony Inserted           286

Cross Examination by Ms. Christensen         305

15            Cross Examination by Ms. Bradley             352

Cross Examination by Mr. McBride             359

16            Cross Examination by Mr. Jaeger              375

Redirect Examination by Mr. May              393

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

188

1                              EXHIBITS

2       NUMBER:                                    ID.    ADMTD.

3       52-54, 284-296                                     201

4       55-62, 297                                         284

5       298       Aqua Response to OPC             326     397

POD 129-131

6

299       OPC POD 131                      326     397

7

300       OPC POD 131 Sorted by Month      326     397

8

301       OPC POD 131 Sorted by System     326     397

9

302       Staff Late-filed Exhibits 1-14   346

10                 Ms. Chambers

11       303       May 2010 through October 2011    376

Call Center Monitoring Statistics

12

304       (Late-filed) Management Quality  377

13                 Performance Reports

14       189-302                                            396

15       63-67                                              396

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

189

1                         P R O C E E D I N G S

2                 (Transcript follows in sequence from

3       Volume 1.)

4                 CHAIRMAN GRAHAM:  Mr. May, redirect.

5                 MR. MAY:  Is everybody ready?

6                 CHAIRMAN GRAHAM:  Yep.

7                 MR. MAY:  Thank you, Mr. Chairman.  Just a

8       couple of questions on redirect.

9                         REDIRECT EXAMINATION

10       BY MR. MAY:

11            Q.   Mr. Szczygiel, Commissioner Brown asked you

12       several questions regarding the drop in consumption for

13       Aqua Utilities Florida.  Do you recall that line of

14       questioning?

15            A.   Yes, I do.

16            Q.   Have you studied the drop in consumption in

17       Florida?

18            A.   I have studied the drop in consumption in

19       Florida.

20            Q.   Based upon your own opinion, what are the

21       causes for that drop in consumption?

22            A.   As I stated earlier, and I will reemphasize

23       perhaps the second point.  The first item I mentioned

24       was the sinking of irrigation wells and its affect on

25       just our overall consumption.  That was in Scottish

FLORIDA PUBLIC SERVICE COMMISSION

190

1       Highlands.

2                 The second point I mentioned was what I will

3       call the blocking structure, the structure where as you

4       use more consumption your rate per kilogal increases

5       significantly.  In the last case, the blocking

6       consumption went from a factor of 1 for the first block,

7       to 1.5 for the second block, to 3 in the next block.  In

8       this case, and I believe in other cases, the more

9       traditional approach is to go 1, 1.25, and then 2.  And

10       that had an effect of dropping a lot of consumption out

11       of the higher block activity.

12                 Finally, the third point that I'd like to

13       introduce that I didn't before was that the rates that

14       we installed with the first rate increase that most

15       customers in that filing had had a rate increase in the

16       past 15 years, some maybe even longer.  So you were

17       dealing with multiple factors coming to the table to

18       create perhaps this large drop in consumption.

19            Q.   Thank you, Mr. Szczygiel.

20                 I want to refer you back to a line of

21       questioning that Commissioner Balbis presented to you.

22       And I'm going to paraphrase this, and excuse me,

23       Commissioner, I think I'm going to refer to my notes.  I

24       may have missed exactly the question, but the gist of

25       the question from my perspective was that Commissioner

FLORIDA PUBLIC SERVICE COMMISSION

191

1       Balbis asked how you could be assured that AAI employees

2       were efficient.  Do you recall that question?

3            A.   Yes, I do.

4            Q.   Do AAI employees only work a 40-hour week?

5            A.   Absolutely not.  We work -- and I'm not going

6       to make it sound like a slave shop, but the majority of

7       the professional staff, which is the majority of the

8       service company employees, works a significantly greater

9       amount than 60 hours.  To put a number -- or 40 hours,

10       I'm sorry.  To put a number on it, I can't be exact, but

11       it is not uncommon for both our professional staff in

12       the corporate office as well as in our state

13       subsidiaries to work maybe a 50 to 60-hour work week.

14            Q.   Under your allocation methodology, how would

15       AAI allocate those employees' time to AUF or other

16       operating subsidiaries?

17            A.   I don't know if I mentioned this, but I think

18       I did.  We only allocate out the worked hour.  So,

19       again, you would say, well, there is a lot of worked

20       hours.  However, we limit the charging only to 40 worked

21       hours a week.  So if I was on vacation this week and

22       took eight hours off, I would be limited to 32 charged

23       hours at my billing rate versus perhaps the 48 or 50

24       hours that I physically worked.  We did not consider any

25       of that we call it free time that is given to the

FLORIDA PUBLIC SERVICE COMMISSION

192

1       ratepayers in our market study.  Our market study simply

2       looked at an individual's billing rate, and what is the

3       cap on worked hours, which was approximately 1,835

4       worked hours per employee.

5                 MR. MAY:  Thank you, Mr. Szczygiel.

6                 And I apologize, I don't have the exhibit

7       number, but it's the -- I would like you to refer to

8       the, what I call the May 29, 2009, order.  It's the

9       order that Ms. Bennett questioned you on regarding --

10                 CHAIRMAN GRAHAM:  We actually didn't give that

11       an exhibit number.

12                 MR. MAY:  That's fine, but it's an order of

13       the Commission.

14                 THE WITNESS:  The order itself, correct.

15       BY MR. MAY:

16            Q.   Can you turn to Page 26.  I think that was the

17       area of the order that Ms. Bennett questioned you on?

18            A.   I'm at Page 26 for meter replacements.

19            Q.   Yes.

20            A.   Yes.

21            Q.   Under the Paragraph Number 1, can you read for

22       the record the last sentence in that paragraph starting

23       with based on?

24            A.   Based on this analysis, $2,212,206 shall be

25       removed for undocumented pro forma meters.  All

FLORIDA PUBLIC SERVICE COMMISSION

193

1       adjustments for pro forma meter replacements are

2       reflected in Schedule 3C of each system.

3            Q.   Thank you, sir.  Now, subsequent to that rate

4       case, have all those meters now been installed?

5            A.   Actually, prior to the competition of this

6       rate case the physical installation of all the meters,

7       except the large meters, have been installed.  And we

8       subsequently went back and installed all the large

9       meters to complete the project 100 percent.  What gave

10       rise to this $2.2 million exclusion, as I may have

11       mentioned earlier, was simply our documentation at the

12       last minute as we pulled it together, it didn't support

13       as clear as it should have the rate case for pro forma

14       additions.  Subsequent to that, we have completed all of

15       that documentation.

16            Q.   So, Mr. Szczygiel, are all the RF meters

17       installed in Florida properly documented at this time?

18            A.   Yes, they are.

19            Q.   And has that documentation been audited by the

20       Florida Public Service Commission staff?

21            A.   That was audited in the field audit that was

22       conducted by the public staff's audit team at our Lady

23       Lake office.

24            Q.   Can you turn to Page 18 of the order?

25            A.   I'm there.

FLORIDA PUBLIC SERVICE COMMISSION

194

1            Q.   At the bottom of the paragraph there is a

2       heading starting with the Number 3.Billing, do you see

3       that?

4            A.   Yes, I do.

5            Q.   Could you read the first paragraph under that

6       heading, please?

7            A.   Sure.  The utility implemented a new billing

8       system at the end of 2006.  To improve the billing

9       process, AUF is replacing all manually read meters with

10       remote telemetry meters.  Fewer estimated bills and more

11       accurate readings are expected.  As of September 2008,

12       14,597 meters have been changed out with the remaining

13       2,213 remaining meters being budgeted for replacement.

14            Q.   Thank you, sir.  The 2,413 remaining meters

15       that you just read about, have they now been installed?

16            A.   Yes, they have.

17            Q.   And are they now properly documented?

18            A.   All meters are properly documented, yes, they

19       are.

20            Q.   And they have been audited?

21            A.   And they have been audited.

22            Q.   Has there been any efficiencies achieved or

23       realized as a result of the installation of these RF

24       meters?

25            A.   Yes, there were.  In efficiencies that I can

FLORIDA PUBLIC SERVICE COMMISSION

195

1       definitely isolate and pinpoint, there were six

2       full-time employees that were Aqua employees that we

3       were able to reduce our workforce by as a result of

4       this.  In addition to that, several of the systems, the

5       meters were being read by contractors, and all of the

6       cost relative to contractor meter reading has been

7       eliminated.  All meter reading is done by internal

8       employees with a workforce of six less than it was

9       before.

10            Q.   Thank you, sir.  One final line of

11       questioning.  I want to go back to the questions by

12       Ms. Bennett, and she was questioning you

13       regarding -- excuse me, I think it was questions by

14       Ms. Christensen, I apologize, and it was regarding

15       Exhibit Number 277, Hearing Exhibit 277.  It's the fat

16       one.

17            A.   I don't think I was numbering exhibits at that

18       point.

19            Q.   Okay.  The title of this is Volume 1, Appendix

20       1.

21            A.   Okay.  Yes, sir, I have it in front of me.

22            Q.   And do you recall Ms. Christensen asking you a

23       series of questions that addressed tying some of the

24       allocated charges back to the MFRs in Appendix Number 1?

25            A.   Yes.

FLORIDA PUBLIC SERVICE COMMISSION

196

1            Q.   Were you asked similar questions by

2       Ms. Christensen at your deposition?

3            A.   I was.

4            Q.   Do you have your deposition with you?

5            A.   Yes, sir, I do.

6            Q.   Can you turn to Page 102 of your deposition?

7            A.   Yes, sir.

8            Q.   Do you recall the dialogue between Ms.

9       Christensen and I regarding some of her questioning may

10       be leaking into your rebuttal?

11            A.   Yes.

12            Q.   Ms. Christensen asked you a question at your

13       deposition, did she not, regarding reconciling the

14       allocated charges back to the MFRs and particularly

15       Appendix Number 1, correct?

16            A.   Yes, Appendix Number 1 needs -- it's not

17       readily reconcilable.

18            Q.   Were you asked to provide as a late-filed

19       exhibit to your deposition a reconciliation of the

20       allocated charges back to the MFRs?

21            A.   Yes, we were.  Specifically, what we had

22       prepared in the rebuttal testimony was an exhibit called

23       SS-4, I believe, that demonstrated that the affiliate

24       charges as well as the in-state charges had decreased

25       per book rate case -- from a previous rate case to this

FLORIDA PUBLIC SERVICE COMMISSION

197

1       rate case, so there had been a demonstrated decrease.

2       When you went to this Volume 1, you couldn't see it

3       clearly because this Volume 1 lists every single system

4       in Florida, both systems in the rate case and systems

5       that weren't in the rate case.  So I was asked

6       appropriately can you just prove to us that the schedule

7       that shows the decrease in affiliate costs, as well as

8       in-state costs declining reconciles -- I think I was

9       asked to reconcile it to the B7 Schedule, as well as to

10       the Volume 1, Appendix 1.  We did so.  We have it shown

11       in Late-Filed Exhibit 20 and 21.

12                 MR. MAY:  Mr. Chairman, may we provide that

13       late-filed exhibit to Mr. Szczygiel and the staff and

14       the parties and have him explain it?

15                 CHAIRMAN GRAHAM:  Sure.

16                 MR. MAY:  Ms. Rollini will be delivering this.

17                 Mr. Chairman, I believe this would be Exhibit

18       296 based upon my list.

19                 THE WITNESS:  Thank you.

20                 MS. CHRISTENSEN:  Can I ask, for the sake of

21       clarification, if I'm understanding correctly, this is a

22       reconciliation from an exhibit in his Rebuttal Testimony

23       back to an MFR.  And I think it would probably be more

24       appropriate to talk about it as part of his rebuttal,

25       because we haven't talked about Exhibit SS-4 yet, which

FLORIDA PUBLIC SERVICE COMMISSION

198

1       is attached to his rebuttal testimony.  I mean, our

2       questions were specifically limited to the MFRs which

3       were sponsoring as part of his Direct Testimony, and

4       this was specifically requested to reconcile a rebuttal

5       exhibit to the MFRs.  And I think it may be just plain

6       premature to discuss this exhibit at this time, since

7       SS-4 hasn't been introduced into the record.

8                 CHAIRMAN GRAHAM:  I will allow it.  I know we

9       started talking about the MFRs, and as far as I'm

10       concerned it doesn't matter if we talk about it today or

11       if we talk about it on Wednesday.  It sounds like we are

12       going to talk about it, so I will let him bring it up.

13       BY MR. MAY:

14            Q.   Mr. Szczygiel, do you have that -- what has

15       been designated as Exhibit 296 before you?

16            A.   Yes, I do.

17            Q.   Can you briefly summarize what this exhibit

18       does?

19            A.   Yes.  The top part of the exhibit is the first

20       requested reconciliation which takes the Exhibit SS-4

21       from the rebuttal.  That shows basically the cost in

22       this rate case broken down between service and sundry

23       regional management fees in-state distribution totaled

24       across and agreeing to the MFR to show what are the

25       components of the 634 and the 734 accounts.  And they

FLORIDA PUBLIC SERVICE COMMISSION

199

1       reconcile to the penny or within a dollar of rounding

2       here.

3                 The bottom half of the schedule then goes

4       forward and gets to earlier questions that I was asked,

5       which is how do you get Volume 1, Appendix 1, to

6       reconcile to the MFRs or even to SS-4, if you wish to.

7       And in that case, what I have done here is I have taken

8       the SS-4, again, by rate band, and took the Volume 1,

9       Exhibit 1, and simply filtered on the systems that are

10       in the case, and was able to reconcile the service and

11       sundry to the penny.  The regional management fees,

12       unfortunately, were off $400, and I explained what that

13       reason was.  The ACO reconciled to the penny, as well as

14       the in-state administrative costs.  So everything

15       basically supporting our point of view that affiliate

16       charges case to case have declined are supported now by

17       reconciling both to the MFR B7 or B5, if you wish, as

18       well as to the underlying Volume 1, Appendix 1.

19                 MR. MAY:  Thank you, Mr. Szczygiel.

20                 That concludes my redirect, Mr. Chairman.

21                 CHAIRMAN GRAHAM:  Do you have some exhibits

22       you want to put into the record?

23                 MR. MAY:  The only exhibit we would like to

24       put in -- well, we don't oppose any of the exhibits that

25       have come through.  The one exhibit we would like to

FLORIDA PUBLIC SERVICE COMMISSION

200

1       move into the record is Exhibit 296, which Mr. Szczygiel

2       just described.

3                 CHAIRMAN GRAHAM:  Okay.

4                 Ms. Christensen, do you have any exhibits you

5       want to move into the record?

6                 MS. CHRISTENSEN:  I would move Exhibits 287

7       through 291.  Hold on, my colleague is telling me I have

8       to go back to 285, or 284, I'm sorry.  284 through 291.

9                 MR. MAY:  Mr. Chairman, I think that I was

10       referring to redirect exhibits.  There are exhibits

11       attached to Mr. Szczygiel's Direct Testimony.  Those are

12       SS-1, SS-2, and SS-3.  We would ask that they be moved

13       into the record, as well.

14                 MS. BENNETT:  Those would be Exhibits 52

15       through 54 on the Comprehensive Exhibit List.

16                 CHAIRMAN GRAHAM:  52, 53, 54.

17                 Ms. Bennett.

18                 MS. BENNETT:  Staff would move Exhibits 292

19       through 295 into the record.

20                 CHAIRMAN GRAHAM:  Let the record show we are

21       moving Exhibits 52, 53, 54 and 284 through 296, all into

22       the record.

23                 Are there any objections to any of those

24       exhibits going into the record?

25                 (Exhibit Numbers 52, 53, 54 and 284 through

FLORIDA PUBLIC SERVICE COMMISSION

201

1       296 admitted into the record.)

2                 CHAIRMAN GRAHAM:  Okay.  I believe that we are

3       currently done with this witness.

4                 Sir, thank you.

5                 THE WITNESS:  Thank you.

6                 CHAIRMAN GRAHAM:  Commissioner Brown.

7                 MS. BROWN:  I just have a follow-up question

8       to his redirect.

9                 CHAIRMAN GRAHAM:  Sir, one question.

10                 THE WITNESS:  Sure.

11                 COMMISSIONER BROWN:  Thank you.

12                 Real quickly, and this is just a follow-up to

13       the redirect by Mr. May.  How many meter readers does

14       AUF currently have?

15                 THE WITNESS:  I don't know that answer.

16                 COMMISSIONER BROWN:  Okay.

17                 THE WITNESS:  But it's very few.

18                 COMMISSIONER BROWN:  I just want to know in

19       comparison to the last rate case, how many meters

20       readers, because you said six were --

21                 THE WITNESS:  Well, six positions were

22       eliminated.  And, as I said, there were outside

23       contractors.  There was -- the six positions that were

24       actually eliminated were maintenance type employees, and

25       we pushed the maintenance work to the facility operators

FLORIDA PUBLIC SERVICE COMMISSION

202

1       and utility techs who used to assist in the meter

2       reading function.  So it's not like one of those -- I

3       can just say Joe, he was a meter reader, and he got

4       eliminated.  It was a little bit of a cascading of job

5       duties and responsibilities to allow us to realize the

6       efficiencies of the six FTEs as well as the contractors

7       that were performing meter reading.

8                 COMMISSIONER BROWN:  Would there be another

9       AUF witness that would be able to accurately answer the

10       question?

11                 THE WITNESS:  I think I could answer it on

12       redirect.

13                 MR. MAY:  I think we can have that information

14       when he comes back for rebuttal.

15                 COMMISSIONER BROWN:  Thank you.

16                 CHAIRMAN GRAHAM:  Hold on a second, sir.

17                 Commissioner Balbis.

18                 COMMISSIONER BALBIS:  Thank you, Mr. Chairman.

19                 And I think if we have another chance with

20       this witness on rebuttal, although my question may

21       pertain to this testimony, hopefully, I will be able to

22       ask the question at that time.

23                 CHAIRMAN GRAHAM:  Okay.  And, sir, there was a

24       question that OPC had asked you that you were going to

25       get so you would have that answer for redirect,

FLORIDA PUBLIC SERVICE COMMISSION

203

1       something about the number of CPAs provided.

2                 THE WITNESS:  The number of CPAs that the

3       company has?

4                 CHAIRMAN GRAHAM:  Yes, I guess.  I just want

5       to make sure so you have it when you come back.

6                 Thank you, sir.

7                 THE WITNESS:  Thank you.

8                 CHAIRMAN GRAHAM:  Mr. May, your next witness.

9                 MR. MAY:  Mr. Chairman, with your permission,

10       Aqua would call its next witness, Mr. Preston

11       Luitweiler.

12                 CHAIRMAN GRAHAM:  Sir, welcome.

13                          PRESTON LUITWEILER

14       was called as a witness on behalf of Aqua Utilities

15       Florida, and having been duly sworn, testified as

16       follows:

17                          DIRECT EXAMINATION

18       BY MR. MAY:

19            Q.   Good afternoon, Mr. Luitweiler.

20                 Have you been previously sworn in this

21       proceeding?

22            A.   Yes, I have been.

23            Q.   Would you please state your name and business

24       address for the record?

25            A.   Preston Luitweiler.  Business address, 762

FLORIDA PUBLIC SERVICE COMMISSION

204

1       West Lancaster Avenue, Bryn Mawr, Pennsylvania.

2            Q.   Did you prepare and have caused to be filed 23

3       pages of Prefiled Direct Testimony in this case?

4            A.   Yes, I did.

5            Q.   Do you have that prefiled testimony before you

6       today?

7            A.   Yes, I do.

8            Q.   Do you have any revisions to your prefiled

9       testimony?

10            A.   No, I do not.

11            Q.   If I were to ask you the questions that are

12       contained in your Prefiled Direct Testimony today, would

13       your answers be the same?

14            A.   Yes.

15                 MR. MAY:  Mr. Chairman, we would ask that the

16       Prefiled Direct Testimony of Mr. Luitweiler be inserted

17       into the record as though read.

18                 CHAIRMAN GRAHAM:  We will insert the prefiled

19       testimony into the record as though read.

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

227

1       BY MR. MAY:

2            Q.   Mr. Luitweiler, have you attached any exhibits

3       to your Prefiled Direct Testimony?

4            A.   Yes, I have.  There are eight exhibits.

5            Q.   Do you have any corrections or revisions to

6       those exhibits?

7            A.   No, I do not at this time.

8            Q.   Have you prepared a summary of your Prefiled

9       Direct Testimony?

10            A.   Yes, I have.

11            Q.   Would you please provide a brief summary at

12       this time?

13            A.   Okay.  Good morning, Chairman and

14       Commissioners.  My name is Preston Luitweiler.  I am

15       Vice-President and Chief Environmental Officer of Aqua

16       Services, Inc.  I am responsible for water quality and

17       environmental compliance for Aqua Utilities Florida's

18       water and wastewater systems.

19                 As you know, Aqua Utilities Florida operates

20       60 water systems and 27 wastewater systems that are the

21       subject of this rate case.  My Direct Testimony

22       addresses AUF's overall quality of service relative to

23       water quality in these water and wastewater systems.

24                 Specifically, my testimony focuses on AUF's

25       compliance with environmental regulations and our

FLORIDA PUBLIC SERVICE COMMISSION

228

1       efforts to address customer satisfaction with respect to

2       water quality.  First, AUF has taken aggressive steps to

3       resolve the environmental compliance issues identified

4       in the last rate case.  Due to AUF's efforts, there have

5       been no notices of violation issued for any of these

6       systems since the final order.  Likewise, all open

7       consent orders identified in the last case have been

8       closed, save for one which AUF and DEP continue to

9       actively discuss to seek a viable solution.

10                 AUF is especially proud of its accomplishments

11       at the Chuluota water system since the last rate case in

12       which Chuluota was excluded from rate relief.  AUF has

13       invested over $2.1 million in an ion exchange treatment

14       system.  The Chuluota system has been in compliance with

15       the total trihalomethane standard since the beginning of

16       2010, and in December of 2010 the Chuluota consent order

17       was closed.  The new ion exchange treatment process has

18       also improved aesthetic water quality and number of

19       water quality complaints from Chuluota customers has

20       dropped dramatically.

21                 After the last rate case, with concurrence

22       from the OPC, AUF undertook secondary water quality

23       projects at seven other water systems.  Projects at

24       Rosalie Oaks, Tangerine, Tomoka View, and Zephyr Shores

25       have been completed.  Projects at Sebring Lakes, Lake

FLORIDA PUBLIC SERVICE COMMISSION

229

1       Josephine, and Leisure Lakes are well on the way to

2       completion.  And Arredondo Farms, Arredondo Estates,

3       Hermits Cove, and River Grove have been selected for the

4       second phase of AUF's secondary water quality

5       improvement projects.

6                 I also discussed the water quality at

7       Arredondo Farms, which meets all state and federal

8       drinking water standards.  As the Commission found in

9       the 1996 rate case involving this system, which was then

10       owned by Arredondo Utility Corporation, while the water

11       in the system is hard, it presents no health hazard.

12       While there is no primary or secondary drinking water

13       standard for hardness, AUF is committed to exploring

14       with YES and other customer representatives options to

15       address concerns about hardness.

16                 My testimony also discusses the protested pro

17       forma capital projects.  Such projects have been

18       completed at Tomoka View and Breeze Hill.  Filtration

19       equipment has been installed at Lake Josephine and

20       Sebring Lakes, and start-up will be completed this week.

21       Similar equipment has been ordered and fabricated for

22       Leisure Lakes and a construction permit has been issued.

23       At Sunny Hills, a contract has been executed for

24       construction of piping improvements and a tank.  And at

25       Peace River Heights design has been completed, a

FLORIDA PUBLIC SERVICE COMMISSION

230

1       construction permit issued, and treatment equipment

2       ordered for radium removal treatment.  The contract for

3       construction has been awarded, executed, and a copy has

4       been provided to the Commission.  AUF is, therefore,

5       requesting the documented cost for these projects be

6       included in rate base as pro forma plant.

7                 That concludes my summary.  Thank you.

8                 MR. MAY:  Mr. Chairman, Aqua would tender

9       Mr. Luitweiler for cross-examination.

10                 CHAIRMAN GRAHAM:  Thank you.  OPC.

11                          CROSS EXAMINATION

12       BY MS. CHRISTENSEN:

13            Q.   Good afternoon, Mr. Luitweiler.

14                 Can I have you turn to Page 12 of your Direct

15       Testimony?

16            A.   I'm there.

17            Q.   Okay.  On Line 6 you state that AUF initiated

18       its original aesthetics program in 2008 to address

19       customer comments related to aesthetic water quality

20       made during the last rate case.  Is that correct?

21            A.   That's correct.

22            Q.   Okay.  Now, let's -- do you have, I think

23       everyone else has a copy the last rate case order.

24                 MS. CHRISTENSEN:  Permission to just approach

25       the witness with the page that I want to discuss out of

FLORIDA PUBLIC SERVICE COMMISSION

231

1       that.  I don't know if he still has a copy.

2                 CHAIRMAN GRAHAM:  Sure.

3                 THE WITNESS:  I do not have a copy with me.

4       BY MS. CHRISTENSEN:

5            Q.   Let me direct your attention to Page 20 of the

6       order issued in the last rate case, PSC-09-0385-FOF?

7            A.   Okay.

8            Q.   Okay.  Now, isn't it correct that the

9       Commission stated that AUF must continue to work on

10       improving the water product quality?

11            A.   Can you direct me to the specific paragraph or

12       section of this document you are referring to?

13            Q.   That would be the third full paragraph, last

14       sentence.  If you could read that out loud, please.

15            A.   Nonetheless, other AUF systems have issues

16       with taste, odor, sediment, and color similar to other

17       water utility systems in Florida.  AUF must continue to

18       work on improving the water product quality.

19            Q.   So you would agree that the initiative to

20       improve water quality was not entirely voluntary,

21       correct?

22            A.   I would agree with that.

23            Q.   Okay.  Let me turn your attention to Line 15

24       on Page 12 of your testimony.  And on that line you talk

25       about the seven water systems that were included in the

FLORIDA PUBLIC SERVICE COMMISSION

232

1       program.  Now, isn't it correct that priority was given

2       to the systems that exceeded secondary maximum

3       contaminant levels?

4            A.   There were a variety of criteria used to

5       select these seven systems that included violation of

6       secondary standards, the potential violation of primary

7       standards, and level of customer complaints, and the

8       geographic distribution of those systems.

9            Q.   Okay.  Well, let me direct you to Page 13 of

10       your Direct Testimony, Lines 19 through 25.  Now, it's

11       correct that you posed the question does AUF intend to

12       continue to address aesthetic water quality issues

13       beyond the seven systems included in the aesthetics

14       water quality improvement initiative.

15                 And you respond:  In selecting the systems to

16       be part of the first phase of AUF's aesthetic water

17       quality improvement initiative, priority was given to

18       the systems with SMCL exceedances for taste and odor due

19       mainly to hydrogen sulfide, iron, and magnesium, is that

20       correct?

21            A.   That's part of the testimony, yes.

22            Q.   Okay.

23            A.   I go on to say that priority was also given to

24       systems that could have issues with primary drinking

25       water standards, and while work on some of those

FLORIDA PUBLIC SERVICE COMMISSION

233

1       projects in the first phase is continuing, AUF is

2       developing the next tier.

3            Q.   Okay.  But you haven't started the next tier

4       of systems, correct?

5            A.   We have identified the systems as I describe

6       on Page 14.

7            Q.   Okay.  But you haven't actually taken any

8       action at this point?

9            A.   We have not.

10            Q.   Let me turn your attention to Page 21 of your

11       Direct Testimony, Lines 17 through 24.  Are you there?

12            A.   Yes.

13            Q.   You talk about the Sunny Hills pro forma

14       plant.  And in your deposition, you discussed that you

15       may not have the bids for the project yet.  What is the

16       current estimated date for the bids to be awarded?

17            A.   Not only do we have bids, but we actually have

18       a signed contract, and have authorized a contractor to

19       commence work, and the tank has been ordered.

20            Q.   Okay.  What is the estimated date for

21       completion?

22            A.   The estimated date for completion, based on

23       the schedule submitted by the contractor, is the first

24       week in February.

25            Q.   Okay.  Now, you would agree, though, that this

FLORIDA PUBLIC SERVICE COMMISSION

234

1       project is not going to be completed until well past 18

2       months after the end of your test year, correct?

3            A.   That's correct.

4            Q.   Okay.  Let's turn back to Page 20 of your

5       Direct Testimony.  On Line 22 you discuss the Leisure

6       Lakes adage water treatment project, and in your

7       deposition you stated that you had not bid this project

8       yet.  What's the current estimate date for the bids to

9       be awarded?

10            A.   Around the middle of December.

11            Q.   Okay.  December of 2011?

12            A.   Yes, December 2011.

13            Q.   Do you have an estimated date for completion

14       of this project?

15            A.   Based on the time it took to complete the

16       Sebring Lakes and Lake Josephine projects, we are

17       anticipating mid-January for completion.

18            Q.   Okay.  And you would agree with me that --

19       assuming at this point that you actually get a bid and a

20       contract signed in December, which has not occurred yet,

21       that that would still be well -- the project is not

22       going to be completed until well past 18 months after

23       the end of your test year on this, for this project,

24       correct?

25            A.   That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

235

1            Q.   Okay.  Let me turn you back to Page 21, where

2       you talk about the Peace River pro forma plant on Lines

3       6 through 13.  Again, in your deposition I asked you why

4       the estimated cost is 371 percent higher than it was in

5       the MFRs.  Do you remember answering that the estimate

6       in the MFRs was a placeholder?

7            A.   It was a very rough estimate, and I described

8       it as, basically, a placeholder, yes.

9            Q.   Okay.

10            A.   I also went on to describe that at the time we

11       were not sure that we were going to be required to

12       install this treatment.  We were working only with the

13       probability that we might have to install the treatment,

14       because we were under a monitoring program which

15       required that we take two years of samples every two

16       months.  And if any two of those samples exceeded a

17       level, a drinking water standard level, that triggered

18       the prompt initiation of design and installation of

19       treatment.

20            Q.   Okay.  Then it would be fair to say that when

21       you filed there was probably a 50/50 probability that

22       you would not have to do anything at all?

23            A.   We felt that was the case, yes, uh-huh.

24            Q.   Okay.  And in your deposition you also stated

25       that you had to rebid the project because AUF awarded

FLORIDA PUBLIC SERVICE COMMISSION

236

1       that rebid?

2            A.   Yes, we have.

3            Q.   And do you have an estimated date for

4       completion of this project?

5            A.   It will be completed before February 15th,

6       2012.

7            Q.   Okay.  And you would agree with me that that

8       is also well past the 18 months of -- well past 18

9       months after the end of the test year, correct?

10                 MR. MAY:  I'm going to object and inquire as

11       to -- I think that this line of questioning assumes that

12       there is a 18-month limit somewhere in the statute, and

13       I don't think that has been established.

14                 CHAIRMAN GRAHAM:  I'm going to overrule the

15       objection.  I'm sure she's trying to lay some groundwork

16       for her conclusion, coming towards the end.  And that

17       has got to be something along that you want this

18       included in your test year, and it's 18 months out.  We

19       get it.

20                 MS. CHRISTENSEN:  Yes.  And it's the last

21       question along this line.

22       BY MS. CHRISTENSEN:

23            Q.   You would agree that this is well beyond

24       your -- or 18 months past the end of your test year,

25       correct?

FLORIDA PUBLIC SERVICE COMMISSION

237

1            A.   I would agree with that.

2            Q.   Okay.  Moving on to a different topic, let me

3       take you to Page 10 of your Direct Testimony, Lines 4

4       through 11.  And in there you discuss operational issues

5       identified by DEP for the Palm Terrace system.

6            A.   Yes.

7            Q.   Okay.  And you also testified that the most

8       substantive issue related to the installation of the

9       replacement force main that conveyed the wastewater

10       treatment effluent that had been installed by the

11       previous owner, is that correct?

12            A.   The replacement of that force main was the

13       most substantive issue in the notice from DEP, yes.

14            Q.   Okay.  How long had it been since AUF

15       purchased the Palm Terrace system from the prior owner?

16            A.   I believe Palm Terrace was one of the

17       AquaSource systems, so that would have been acquired in

18       2003.

19            Q.   Okay.  So the force main issue would not be a

20       new problem, correct?

21            A.   That's correct.

22            Q.   And you would agree that this is something

23       that Aqua would consider or should consider and be aware

24       of when they purchased the system, correct?

25            A.   I would not agree with that, no.  The force

FLORIDA PUBLIC SERVICE COMMISSION

238

1       main was functioning.  The only issue with the force

2       main is that it was laid over a concrete apron which was

3       an entrance of stormwater into the stormwater pond.

4       That may not be best engineering practices, but it had

5       not been cited as a problem or a violation prior to that

6       time and would not necessarily have been the kind of

7       thing that would have been found on due diligence.

8            Q.   That is not something you would notice on a

9       visual inspection of where the force main was going and

10       that it went under a concrete apron?

11            A.   Went over a concrete apron.

12            Q.   I'm sorry, over a concrete apron.

13            A.   Not necessarily, no.

14            Q.   All right.  Well, let me turn your attention

15       to Page 6 of your Direct Testimony, and you comment that

16       at the close of the last hearing AUF had five open

17       consent orders.  They were all closed now except for

18       one, is that correct?

19            A.   That is correct.

20            Q.   Okay.  Now, isn't it true that since the last

21       rate case you have had consent orders for the Twin Oaks

22       and Tomoka View systems for exceeding MCL for

23       trihalomethane?

24            A.   I know there was a consent order relative to

25       trihalomethanes exceedances at Tomoka View.  I know that

FLORIDA PUBLIC SERVICE COMMISSION

239

1       we addressed disinfection by-products or total

2       trihalomethane issues at both Twin Rivers and Tomoka

3       View within the last two years with chloramination

4       treatment.

5            Q.   Okay.  And haven't you also had a consent

6       order for the Peace River system for exceeding gross

7       alpha MCLs?

8            A.   Yes, that's true, and that's described

9       elsewhere in my testimony.

10            Q.   Okay.  And is it also true that you had

11       consent orders for the following systems:  Jasmine Lakes

12       wastewater, Rosalie Oaks wastewater, Fairways

13       wastewater, Silver Lake Oaks water, Sunny Hill water,

14       River Grove water, and Arredondo Farms wastewater?

15            A.   I am not aware of -- specifically, you are

16       saying consent orders?

17            Q.   Yes.

18            A.   Consent orders for each of those issues.  I

19       know that for Sunny Hills there is an open consent

20       order, which is addressed elsewhere in my testimony.  I

21       know for South Seas we had a consent order which we have

22       closed.

23            Q.   Okay.

24            A.   If we had consent orders for the other systems

25       that you mentioned, they have all been closed.

FLORIDA PUBLIC SERVICE COMMISSION

240

1            Q.   Okay.  And would you also agree that not all

2       violations result in consent orders, that you can

3       sometimes be in violation of DEP rules and regulations

4       without it resulting in a consent order?

5            A.   Yes, if by violation you mean anything that

6       can be noted on an inspection report or a warning

7       letter, yes.

8            Q.   Okay.  Well, let's discuss warning letters.

9       Is it correct that AUF received a warning letter and a

10       consent order for not timely submitting the results of

11       the quarterly arsenic testing for Zephyr Shores water

12       system?

13            A.   I don't recall.

14            Q.   Okay.  Do you know or are you aware that AUF

15       received a warning letter for failing to notify DEP of a

16       positive well test for E-coli for the Interlachen

17       Estates water system?

18            A.   Yes, I am aware of that.

19            Q.   Okay.  And would it be also correct that AUF

20       received a warning letter for failing to submit timely

21       results of samples for nitrates and nitrites for the

22       following systems:  Orange Hill, Sugar Creek water,

23       Gibsons Estates water, and Rosalie Oak water?

24            A.   Yes, I'm aware of that.  I addressed them in

25       my deposition, and I provided a late-filed exhibit that

FLORIDA PUBLIC SERVICE COMMISSION

241

1       included a close-out e-mail for the nitrate samples.

2            Q.   And are you aware that -- I believe she is a

3       DEP witness, but she may also be a water management or

4       health department witness, Katherine Walker testified

5       that, in general, Aqua does not submit compliance

6       submittals in a timely manner.  But once the data is

7       requested, the utility is able to provide it.  Are you

8       aware of that testimony?

9            A.   I saw that testimony and discussed it with our

10       staff.  I understand that there were some delays in

11       submission of a couple of EN50s, which subsequently have

12       been submitted, and that issue has been addressed and

13       resolved and those reports are being submitted on time.

14                 MS. CHRISTENSEN:  We have no further

15       questions.

16                 CHAIRMAN GRAHAM:  Okay.  Ms. Bradley.

17                          CROSS EXAMINATION

18       BY MS. BRADLEY:

19            Q.   Sir, I just have a few questions.  Did you

20       attend the service hearings?

21            A.   I did not.

22            Q.   Have you had an opportunity to read those?

23            A.   I have read some of the testimony from some of

24       the service hearings.

25            Q.   Okay.  Did you read the one where the customer

FLORIDA PUBLIC SERVICE COMMISSION

242

1       testified that in about a year's time he had had two

2       instances of sewage backing up in his toilet and in his

3       tub?

4            A.   Could you refresh me with the name of the

5       person who --

6            Q.   I don't have the name.  I believe it was in

7       Gainesville.

8            A.   The name of the system.

9            Q.   I believe it was in Gainesville.  That would

10       have been in the Arredondo Farms or the other Arredondo.

11       I think it was Mr. Waters.

12            A.   Mr. Waters.  I don't recall that.

13            Q.   You don't remember reading that?

14            A.   I don't remember reading that testimony

15       specifically, no.

16            Q.   You wouldn't call that an acceptable

17       wastewater system if people are having sewage -- and he

18       also testified that he had had a plumber come out and

19       they had traced it all the way past his home into your

20       pipes.

21                 MR. MAY:  I'm going to object.  I would

22       appreciate counsel providing us the service hearing

23       transcript page and line that you are referring to.

24                 MS. BRADLEY:  It was in Gainesville, the

25       Arredondo Farms I believe it was.

FLORIDA PUBLIC SERVICE COMMISSION

243

1                 CHAIRMAN GRAHAM:  Ms. Bradley, let's hold off

2       until we find the actual testimony so we can put it in

3       front of the witness.

4                 MR. MAY:  You said Mr. Waters?

5                 MS. BRADLEY:  I believe that was the one.  I'm

6       checking right now.

7                 MR. JAEGER:  That testimony seems to be on

8       Page 70, 71, in that area of the service hearing.

9                 CHAIRMAN GRAHAM:  If somebody can give a copy

10       of that to the witness.

11                 MS. BRADLEY:  I will give him Page 71.

12                 THE WITNESS:  Okay.  I don't know the

13       specifics of this particular case.  I do notice in the

14       testimony that when Mr. Waters was asked whether he had

15       contacted Aqua, his answer was that he had not.  I

16       presume if there was a blockage in our service we found

17       out about it in some way, but obviously he didn't call

18       us.

19       BY MS. BRADLEY:

20            Q.   You would consider sewage backing up into the

21       tub and the toilet to be a problem, wouldn't you?

22            A.   Any sewage blockage causing an SSO, or a

23       backup of sanitary sewer, overflow, or a backup in

24       somebody's home is regrettable.  It is a situation that

25       does occur.  And when it occurs, we try to address it by

FLORIDA PUBLIC SERVICE COMMISSION

244

1       clearing the line and looking into whether the line

2       needs to be televised or fully cleaned.  I'm not sure

3       what we did in this particular situation.

4            Q.   But you saw where he testified it had happened

5       twice?

6            A.   I don't know whether the second time had

7       anything to do with him not notifying us the first time.

8       I don't know what we did the first time.

9            Q.   But having two sewage block-ups into your tub

10       within a year's time, that would be an issue, wouldn't

11       it?

12            A.   I would say if he had notified us, and we had

13       responded and responded improperly so that the same

14       thing happened again, that would be an issue, yes.

15            Q.   Just having a sewage block one time to that

16       extent, would you agree that would bother most people?

17            A.   Yes.

18            Q.   Okay.  Did you see the water that some of the

19       customers brought to the hearings?

20            A.   When you gave your opening statement today was

21       the first time that I saw that particular exhibit.

22            Q.   All right.  The picture of this is in Exhibit

23       37, one of the pictures in there.  Would you agree that

24       most people would find that water quality to be

25       unacceptable?

FLORIDA PUBLIC SERVICE COMMISSION

245

1            A.   I would agree that most people would find that

2       water unacceptable.  I would also say that that is not

3       representative of the water that we supply our customers

4       most of the time, most of our customers.  Discolored

5       water does occur.  It is one of the things that we

6       track.  We track lab service orders for discolored

7       water, and discolored water can occasionally occur as a

8       result of line breaks, flushing activities, somebody

9       operating a hydrant.  There are many potential causes.

10            Q.   Did you see that there were a number of people

11       in different areas that testified similarly that they

12       had similar problems, even though they didn't bring

13       their water to the hearing with them?

14            A.   As I said, we track discolored water calls,

15       and we treat them seriously.  We treat them as one of

16       the indicators of whether customers are satisfied with

17       water quality, or in this particular case dissatisfied

18       with their water quality, and it's actually one of the

19       metrics that we use to assess the effectiveness of our

20       secondary aesthetic water quality improvement programs

21       where one of the drivers for that program may have been

22       discolored water, discolored water occurrences.

23                 I really think -- I take exception with two

24       things.  One of the exhibits that you provided you

25       identified as a sample from a customer's water heater.

FLORIDA PUBLIC SERVICE COMMISSION

246

1       And it's not unusual for customers, if they drain their

2       water heater, to be able to find discolored water in the

3       water heater.  That's not always the water utility's

4       responsibility, and to represent a sample taken from a

5       customer's water heater as representative of what is

6       being delivered to the water -- to the customer, I think

7       is misrepresentation.  I would also like to --

8            Q.   I did not say, did I not, that that was from a

9       wastewater -- from a hot water heater?

10                 MR. MAY:  I think the lawyer is arguing with

11       the witness here.  I object.

12                 MS. BRADLEY:  I'm just asking a question.  He

13       said I was misleading, and I want to make sure that he

14       understood and heard me say that that was from a

15       wastewater -- I mean, a hot water heater.

16                 CHAIRMAN GRAHAM:  I will allow the witness to

17       editorialize until you object.  And he was just talking,

18       and you can stop him from just rambling on, if you would

19       like to do that.  If you like to ask him another

20       question, you can do that, as well.

21                 MS. BRADLEY:  Thank you, sir.  I'm glad to

22       know you will sustain those objections.

23       BY MS. BRADLEY:

24            Q.   Sir, you talked about discolored water.  Do

25       you also track -- I mean, it looks like -- I don't know

FLORIDA PUBLIC SERVICE COMMISSION

247

1       whether you can see it from where you are sitting, but

2       stuff floating in there.  Do you track that, as well?

3            A.   I cannot.  I can't see what you are -- what's

4       in the bottle.

5                 MS. BRADLEY:  May I approach?

6                 CHAIRMAN GRAHAM:  Sure.

7                 MR. MAY:  Mr. Chairman, I'd like to register,

8       I guess, an ongoing objection here.  I don't think any

9       groundwork has been laid as to where the water came from

10       or where the water has been since it was obtained and

11       placed in a bottle.  And for her to continue to question

12       the witness without providing some kind of background

13       and foundation so that he can respond intelligently and

14       accurately, I'm not sure where this line of questioning

15       is really advising or informing anyone.

16                 MS. BRADLEY:  I'm terrible sorry,

17       Mr. Chairman.  I thought Mr. May was at the hearing when

18       we took those.  And I know Commissioner Brown and

19       Commissioner Brisé and I believe Commissioner Balbis was

20       at the same hearing.  That was water that is part of

21       Exhibit -- I believe it is 37.  That we also entered

22       pictures of in the water -- I mean, in the exhibits.

23       And they were produced by a customer who testified she

24       had taken them, as I indicated, one from the hot water

25       heater and the other two from faucets.

FLORIDA PUBLIC SERVICE COMMISSION

248

1                 CHAIRMAN GRAHAM:  Well, I guess the question I

2       have, and I was going to let the witness answer

3       questions as long as Mr. May was going to let him answer

4       the same questions.  The problem I have with the

5       examples that you have, the exhibits that you have is

6       you don't know if this came from standing water out of

7       somebody's driveway or wherever they happened to scoop

8       it from.

9                 So unless our staff went out there and took

10       the sample, or unless your staff, or you went out there

11       and took the sample -- he can answer the questions as

12       long as he chooses to answer the questions, but for him

13       or for you to represent that this is actually from his

14       system, you know, you guys are taking that on faith.

15                 MS. BRADLEY:  Well, actually, it was from a

16       witness who was sworn before the hearing started and

17       testified under oath that she took that from her

18       faucets.

19                 CHAIRMAN GRAHAM:  My next door neighbor, the

20       five-year-old, has promised he has never kicked my dog.

21       I mean, ma'am, I'm just telling you that unless somebody

22       grabbed the sample -- unless you grabbed the sample, you

23       can ask the questions all day long and he can answer

24       them all day long, but if he says I don't know that that

25       is my water sample, then he is saying he doesn't know

FLORIDA PUBLIC SERVICE COMMISSION

249

1       that is his water sample.  He hasn't said that yet.

2       Mr. May made that objection, and that's where we

3       currently are.

4                 Now, that objection on the floor, he says

5       there is no proof that that is his water sample.  Now,

6       you can go and show him this and say does this look like

7       something you would serve, and he could say that's not

8       something I would serve, but I would say this is not

9       something that I have served.  I heard him say that once

10       already.  I don't know what point you're trying to get

11       to.

12                 MS. BRADLEY:  I'm just trying to ask him if he

13       considers that acceptable.  And if they track that, I

14       believe was my question, if they tracked the incidents

15       of material floating in the water?

16                 CHAIRMAN GRAHAM:  Well, I believe he has

17       asked -- not necessarily that sample you put in front of

18       him, but he has already answered the question that he

19       doesn't see it is acceptable, and that is not

20       representative of something that we provide to our

21       customers on a regular basis.  And he also spoke to the

22       sample that came out of the hot water heater.  Is there

23       a point that you need to get to?

24                 MS. BRADLEY:  I asked him about the first

25       sample.  He made the comment that you have emphasized.

FLORIDA PUBLIC SERVICE COMMISSION

250

1       He said that they tracked discolored water.  I asked him

2       if they also tracked sediment or material floating in

3       the water, and that's what he was looking at, the water,

4       and I was waiting for an answer from him.

5                 CHAIRMAN GRAHAM:  And that's when the

6       objection came from Mr. May saying that we don't know

7       that that is water that actually came out of our system.

8                 MS. BRADLEY:  Well, I think --

9                 CHAIRMAN GRAHAM:  You can ask the question do

10       you track things floating in your water?  And, sir, you

11       can answer that question.

12                 THE WITNESS:  Okay.  The bottle that has been

13       provided to me to examine appears to have in it a brown

14       flock, we would call it.  It looks like it would be

15       consistent with iron oxide or rust.  We would call this

16       a discolored water sample, and it would be

17       representative of something that a customer might

18       complain about, would complain about discolored water,

19       and we would try to address this.  This would not be

20       considered to be acceptable for water that we would

21       provide to customers.

22                 I can tell you that, from our experience,

23       there are many things that can cause discolored water

24       within somebody's home.  If somebody has galvanized

25       piping, they can get a water sample very much like this.

FLORIDA PUBLIC SERVICE COMMISSION

251

1       It has nothing to do with the water that is provided at

2       the street.

3       BY MS. BRADLEY:

4            Q.   Did you read enough of the hearings to know

5       whether or not there were a number of people that

6       complained about sediment and discolored water at the

7       service hearings?

8            A.   Yes, I did.  I also track the lab service

9       orders on a monthly basis for all of Florida, and I know

10       that there are people that complain about discolored

11       water.  I also know that those -- the number of those

12       complaints has gone down.  And when I hear you say in

13       your opening statement that there has been no

14       improvement in water quality, after what we have done

15       with the secondary water quality, aesthetic water

16       quality improvement program and the tracking that we

17       have done, I find that objectionable.

18                 MS. BRADLEY:  Did you -- I'm not going to

19       argue with you.  I think the record speaks for itself.

20       I have no further questions.

21                 CHAIRMAN GRAHAM:  Thank you.

22                 YES.

23                          CROSS EXAMINATION

24       BY MR. CURTIN:

25            Q.   Good afternoon, sir.  You're a licensed

FLORIDA PUBLIC SERVICE COMMISSION

252

1       engineer in Pennsylvania?

2            A.   Yes, I am.

3            Q.   You have no licenses in Florida, correct?

4            A.   That's correct.

5            Q.   You live in Pennsylvania?

6            A.   Yes, I do.

7            Q.   You work in Pennsylvania?

8            A.   Yes, I do.

9            Q.   And you have worked for Aqua for 27 years?

10            A.   Yes.

11            Q.   You had never visited the Arredondo Farms Park

12       once in those 27 years?

13            A.   As I said in my deposition, I have never been

14       there.  I am actually planning to go there this week,

15       depending on when these hearings end.

16            Q.   So after our deposition where we asked

17       questions about whether you have ever visited there, and

18       you said no.  Then when did you plan your planned trip

19       to Arredondo Farms?

20            A.   I am planning to make the most out of the

21       couple of days that are -- between Friday and the

22       restart of hearings next week, if I can, to visit as

23       many of these places as I can.

24            Q.   And you have never tasted the water or

25       actually seen the water at Arredondo Farms?

FLORIDA PUBLIC SERVICE COMMISSION

253

1            A.   I have not.

2            Q.   Now, you talked a lot in your five-minute

3       summary of your speech and in the cross-examination that

4       has already been taken about the secondary water quality

5       program, the aesthetic water quality program.  That

6       started in 2008, correct?

7            A.   Correct.

8            Q.   That started as part of the first rate case,

9       correct?

10            A.   That's correct.

11            Q.   It was actually compelled by the first rate

12       case, correct?

13            A.   Yes.

14            Q.   Prior to that you had no aesthetic or

15       secondary water quality program?

16            A.   That's not true.  As I said, we had a

17       mechanism for tracking water quality complaints.  We

18       would react to water quality complaints.  It was not a

19       formalized program, as was developed through the

20       aesthetic water quality improvement program.  But

21       decisions about installation or improvement of water

22       treatment, modifications of wells, replacement of wells,

23       replacement of distribution system piping are always

24       influenced by water quality complaints from customers

25       and the record of water quality complaints from

FLORIDA PUBLIC SERVICE COMMISSION

254

1       customers.

2            Q.   Well, tell me specifically, what secondary

3       aesthetic issues had you attempted to address at

4       Arredondo Farms prior to 2008?

5            A.   For the drinking water program, none, because

6       there have been no exceedances of even secondary

7       standards at Arredondo Farms.  There is no iron; there

8       is no manganese; there is no hydrogen sulfide.  There

9       have been no THM exceedances.  There is no exceedance of

10       the SMCL for fluoride.

11            Q.   The answer is, no, you haven't addressed any

12       aesthetic or secondary problems prior to 2008 at

13       Arredondo, correct?

14            A.   That's correct.

15            Q.   And since 2008, since that first rate case,

16       you haven't -- you put Arredondo on the second tier, but

17       you haven't done anything with that second tier of your

18       aesthetic program, correct?

19            A.   That's correct.

20            Q.   Okay.  So when you say -- if you turn to your

21       Direct Testimony at Page 4, Line 18 to 21, AUF has a

22       strong commitment to customer service and is dedicated

23       to attempting to address customer satisfaction as shown

24       by, among other things, its ongoing efforts to improve

25       the aesthetic quality of water for its customers.

FLORIDA PUBLIC SERVICE COMMISSION

255

1                 Other than the 2008 aesthetic water program,

2       which is part of the first rate case, as far as

3       Arredondo Farms, you can't point to anything you have

4       done to address aesthetic or secondary water quality

5       issues?

6            A.   That's absolutely not true.  One of the

7       drivers for everything that we did at Chuluota was the

8       secondary water quality in addition to the total

9       trihalomethane primary MCL exceedance.

10            Q.   Chuluota is not Arredondo Farms, is it?

11            A.   That is correct.

12            Q.   Now, when Arredondo Farms was put on the

13       second tier, you haven't figured out -- you have no

14       funds to pay for that second tier of your aesthetic

15       water quality program?

16            A.   We don't have a budget for a specific project,

17       because it is premature to determine whether exactly

18       what it is that we are going to do here.

19            Q.   Well, any improvements that you do to

20       Arredondo Farms for the second tier of your aesthetic

21       water program to address hardness issues and other

22       secondary issues that Arredondo Farms may have will be

23       paid for by a future rate case, correct?

24            A.   That's correct.

25            Q.   So you are asking this Commission to give you

FLORIDA PUBLIC SERVICE COMMISSION

256

1       a rate increase for your quality, and then you are

2       planning to come back for another rate increase to pay

3       for that quality program?

4            A.   We are asking this Commission to allow us

5       recovery of capital expense that we have incurred to

6       address issues at all of the systems, the 60 water

7       systems and 27 wastewater systems that are part of this

8       case.  We have not invested any capital yet at Arredondo

9       Farms.  If there is a capital investment in the future

10       to address hardness, specifically at Arredondo Farms, we

11       would expect it to be covered in a future rate case.

12            Q.   And you knew about hardness issues when you

13       purchased the system at Arredondo Farms?

14            A.   Well, as a matter of fact, I testified at the

15       last rate case, and I don't recall the issue of hardness

16       at Arredondo Farms coming up at all.  So there would

17       have been no way for me to know prior to our acquisition

18       of the Arredondo Farms system in 2003 as part of a large

19       AquaSource acquisition that hardness was an issue in

20       2003 if it wasn't even brought up in the rate case in

21       2008.

22            Q.   So in your summary, your five-minute summary,

23       when you talked about the 1996 water, about complaints

24       for hardness, you didn't look at the prior orders of

25       this Commission prior to purchasing Arredondo Farms?

FLORIDA PUBLIC SERVICE COMMISSION

257

1            A.   We did not look at the rate order of 1996 at

2       that time.

3            Q.   And you didn't do any testing of the water for

4       aesthetic issues prior to purchasing Arredondo Farms?

5            A.   We did not.

6            Q.   Now, at Arredondo Farms you inject sodium

7       hypochlorite into the water, correct?

8            A.   That's correct.

9            Q.   That's basically a bleach solution, correct?

10            A.   That's correct.

11            Q.   Do you inject it right as it comes out of the

12       well and into the pipes?  Where do you inject it?

13            A.   We injected it from between the well and the

14       distribution system.

15            Q.   And then it goes directly into the

16       distribution system?

17            A.   Yes.

18            Q.   So it's a closed point of application?

19            A.   Yes.

20            Q.   Okay.  Now, isn't it true that sodium

21       hypochlorite when you use that, that can increase the pH

22       of the water, because it is made of caustic soda,

23       basically, sodium hydroxide?

24            A.   It is not made up of sodium hydroxide.  It is

25       actually a co-product of the production of sodium

FLORIDA PUBLIC SERVICE COMMISSION

258

1       hypochlorite and sodium hydroxide from the electrolysis

2       of salt.

3            Q.   A sodium hypochlorite solution is at a high

4       pH, correct?

5            A.   That is correct.

6            Q.   And that high pH can promote scaling, calcium

7       carbonite formations if it's hard water, correct?

8            A.   Not in the system, but it can actually at the

9       point of injection, where the concentration of the

10       hypochlorite that is added is highest, cause scaling at

11       the injector.

12            Q.   And it could cause scaling at the injector,

13       especially when it's in a closed point of application

14       instead of an open point of application, correct?

15            A.   It really doesn't make any difference.

16            Q.   It doesn't make any difference.  Have you ever

17       smelled water when you inject this -- when we are

18       talking about a hardness issue and the calcification

19       encrustations that are caused by hardness, that is

20       because the minerals are in the water and it

21       precipitates out of the water, correct?

22            A.   The minerals are in the water as it occurs

23       naturally in groundwater.  The groundwater is actually

24       supersaturated with calcium carbonate.

25            Q.   And the injection of sodium hypochlorite could

FLORIDA PUBLIC SERVICE COMMISSION

259

1       biologically and chemically change the water and make

2       that a higher pH, which would promote the precipitation

3       of those chemicals out of the water.

4            A.   The application of bleach or sodium

5       hypochlorite would not have -- would only have a

6       beneficial biological effect by killing any bacteria

7       that were in the water.  It can increase the pH very,

8       very slightly.  And what I tried to explain is that you

9       are adding three or four milligrams per liter of --

10       that's parts per million of bleach.  It has a very, very

11       small impact on the pH and the saturation of the bulk

12       water.  But at the point of application, where the

13       concentration is highest before it diffuses into the

14       pipe, it can cause scaling.

15            Q.   And that scaling could cause clogs in the

16       pipes?

17            A.   No, the scaling will cause clogs in the

18       injector which will have to be removed, cleaned, and put

19       back in.

20            Q.   Well, how about when it reaches the ultimate

21       consumer, could there would be scaling issues on, say,

22       their plumbing fixtures, their hot water heater

23       fixtures, their coffee machines, things of that nature?

24            A.   Any water that has a hardness composition that

25       is supersaturated with calcium carbonate has the

FLORIDA PUBLIC SERVICE COMMISSION

260

1       potential to cause scaling on all of those things you

2       just described.

3            Q.   And have you seen that scaling at Arredondo

4       Farms?

5            A.   I have not.  I have seen pictures of some of

6       the scaling.

7            Q.   And do you realize that some individuals may

8       have medical issues where they may have an oxygen

9       machine or other medical device that needs water in

10       order to breathe or otherwise provide them medical

11       assistance, and that water could clog up those devices?

12            A.   If somebody were to have a medical device that

13       needed water to operate, where scaling could be a

14       problem, that hard water supersaturated with calcium

15       carbonate could cause that kind of an issue.

16            Q.   And do you know if that has happened at

17       Arredondo Farms?

18            A.   I do not.

19            Q.   Now --

20            A.   Let me just say that I don't know how much

21       water such a machine would use, but there are rather

22       simple solutions in a rather critical application like

23       that that would allow that machine to be used with the

24       water that exists.  A small demineralizer or a softener

25       just for that particular instrument would solve that

FLORIDA PUBLIC SERVICE COMMISSION

261

1       issue.

2            Q.   And you, as a water engineer may know that,

3       but individuals living at the mobile home park may not

4       know that.  Do you know their level of education, what

5       they may know or not know, and what they may have to add

6       to their oxygen machine to keep it from being clogged?

7            A.   No.  We wouldn't mind at all, we would

8       encourage any customer with a specific issue like that

9       to call us and we could share with them whatever

10       expertise we have.

11            Q.   Now, have you ever attempted to put any sort

12       of sequestration agent into the water?

13            A.   Have we ever -- excuse me.  Have we ever --

14            Q.   Have you ever attempted or looked into putting

15       any sequestration agent into the water?

16            A.   At Arredondo Farms specifically?

17            Q.   Yes.

18            A.   It is one of the options that we are

19       considering among several that we would be discussing as

20       part of the secondary water quality improvement program,

21       the second tier.  That is one option.

22            Q.   Okay.  And that could be what is called

23       hexametaphosphate?  Am I pronouncing that correct?

24            A.   Sodium hexametaphosphate.

25            Q.   And that agent could -- it doesn't take the

FLORIDA PUBLIC SERVICE COMMISSION

262

1       hardness out, but it mitigates the effects by preventing

2       the hardness, the calcification from precipitating out

3       of the water?

4            A.   Depending on the distribution of minerals and

5       the properties of the water, it could provide some small

6       mitigating effect of the effects of hard water.

7            Q.   As we sit here today, you haven't done any

8       analysis or attempted to use hexametaphosphate or any

9       other sequestrating agent to see if it would mitigate

10       the effects of the hardness at Arredondo Farms?

11            A.   We have not.

12                 MR. CURTIN:  No further questions for this

13       witness.

14                 MR. RICHARDS:  Thank you.

15                          CROSS EXAMINATION

16       BY MR. RICHARDS:

17            Q.   I just want to talk to you briefly about the

18       Palm Terrace system.  On Page 10 of your prefiled

19       testimony, you mentioned this force main pipe that

20       traversed a concrete apron.  Have you been on site at

21       Palm Terrace?

22            A.   I have not.

23            Q.   Okay.  Now, when you say traverse, are you

24       aware that this pipe is above ground?

25            A.   Yes.  Well, it was above ground.  It has been

FLORIDA PUBLIC SERVICE COMMISSION

263

1       replaced.

2            Q.   Right.  Do you remember when that was, when it

3       was replaced, placed under ground?

4            A.   August of this year.

5                 MR. RICHARDS:  Okay.  No further questions.

6                 CHAIRMAN GRAHAM:  Staff.

7                 MR. JAEGER:  Staff has just a couple.

8                          CROSS EXAMINATION

9       BY MR. JAEGER:

10            Q.   Were you here and did you hear Ms. Bennett

11       questioning Mr. Szczygiel this morning and this

12       afternoon?

13            A.   Yes.

14            Q.   And I think she asked him a question about a

15       cost study, what cost analysis study was done for meter

16       replacements.  Do you remember that question?

17            A.   I do remember the question.

18            Q.   Do you remember that he either said he didn't

19       know or he might punt that to you?

20            A.   I don't believe that was the one he was going

21       to punt to me.

22            Q.   Okay.

23            A.   It's not my area of expertise.

24            Q.   But you don't know if there has been a cost

25       study analysis done for meter replacements, then?

FLORIDA PUBLIC SERVICE COMMISSION

264

1            A.   I do not.

2                 MR. JAEGER:  Mr. Chairman, I have an exhibit

3       number I would like to have identified.  I think the

4       next one is 297.

5                 CHAIRMAN GRAHAM:  Sounds good.  Do you have a

6       short title for it?

7                 MR. JAEGER:  Yes.  It is Luitweiler Deposition

8       Exhibits 1 through 8.

9                 CHAIRMAN GRAHAM:  Okay.

10                 MR. JAEGER:  And the parties have all

11       stipulated to all of these exhibits coming into the

12       record, so I don't believe I really need to

13       cross-examine or do anything more.  I just want to have

14       that moved into the record, when we are done with

15       Mr. Luitweiler.

16                 CHAIRMAN GRAHAM:  Okay.

17                 MR. JAEGER:  That's all staff has for

18       Mr. Luitweiler.

19                 CHAIRMAN GRAHAM:  Commissioners, questions for

20       this witness?

21                 Commissioner Brown.

22                 COMMISSIONER BROWN:  Yes.  Thank you, Mr.

23       Chairman.  I have a few questions.

24                 Regarding boil-water notices, what is the

25       current policy that the company employs?

FLORIDA PUBLIC SERVICE COMMISSION

265

1                 THE WITNESS:  We comply with the DEP, the

2       Florida DEP, or the Department of Health requirements

3       for issuing precautionary boil-water notices.  These are

4       usually required when there is a loss of pressure,

5       either a complete loss of pressure or a loss of pressure

6       down to below 20 psi.  In most cases, these are related

7       to things like localized main work, replacing a valve or

8       a main break.  And if the break or the work can be

9       isolated, it's limited to a small number of customers,

10       and that's handled with door tags, door hang tags.

11                 In other cases, if there is a large water main

12       break affecting many hundreds or thousands of customers,

13       notification is a little bit more difficult, and we may

14       do that either with door tags, if there's enough

15       manpower available.  We also have available a call

16       campaign, a telephonic campaign system called Swift

17       Reach, where we can pull the phone numbers from our

18       customer information system and launch phone campaigns.

19       We can reach thousands of phone numbers in a matter of a

20       couple of minutes.

21                 As I have said in my testimony, and I think in

22       my rebuttal testimony, no single notification system is

23       perfect.  When you are trying to do notifications with

24       door tags or with 8-1/2 by 11 sheets of paper, and it's

25       storming they can get wet, they can blow away, although

FLORIDA PUBLIC SERVICE COMMISSION

266

1       there was some insinuation, you know, that that is a

2       myth.  But, you know, think about it.  It does happen.

3       We post notices sometimes on what appears to be

4       somebody's front door, and it turns out that they come

5       in through their garage, and they don't see the notice

6       for two or three days, and they are angry because they

7       weren't notified.

8                 So we really found that the phone system is

9       probably the best way to reach people, but we don't have

10       phone numbers for everybody, and everybody isn't home,

11       and not everybody has an answering machine.  So there

12       are people who do not get notified when we use the phone

13       system.

14                 So we use -- in some cases we have used a

15       combination of both.  We have lists.  We can pull a list

16       of the number, the accounts for which we do not have

17       phone numbers and hand-deliver notices to those people,

18       and then call all of the other people.  We still miss a

19       few, but that's probably about the best way that we have

20       for notification of these precautionary boil-water

21       notices.

22                 I would like to say that there were in some of

23       the opening statements some implication that

24       notification of these precautionary boil-water notices,

25       if it was not perfect, if we missed somebody, left in

FLORIDA PUBLIC SERVICE COMMISSION

267

1       the minds of a customer who had consumed some of the

2       water the potential that they had consumed contaminated

3       water.  And I just want to emphasize again that these

4       precautionary boil-water notices are precautionary.

5       There is no actual evidence of contamination.  They are

6       not arising out of actual contaminants found in the

7       water, but just the fact that there is a remote

8       possibility of contamination.

9                 The way they are lifted is we have to take two

10       sets of samples on two consecutive days, and it takes 24

11       hours to process the samples.  So it always takes a

12       minimum of two days before we can lift a boil water

13       notice.  And in almost every case the results of that

14       sampling have shown that there is no contamination.  So

15       you'd like to be able to say that the notification is

16       perfect, but people need to get a grip on what the real

17       risk is from a precautionary boil-water notice.

18                 COMMISSIONER BROWN:  Who determines the notice

19       mechanism, which type of notice will be provided to the

20       customer?

21                 THE WITNESS:  Well, if we have time we will

22       try to consult either the Department of Health or the

23       Florida DEP and tell them what our options are, the area

24       that is affected, and try to work with them.  We will

25       usually suggest a method of doing it.  That's not always

FLORIDA PUBLIC SERVICE COMMISSION

268

1       possible.  Sometimes a water main break occurs at 7:00

2       or 8:00 o'clock at night, or we find -- you know, we

3       think we can isolate a break.  We can't isolate the

4       break.  Now we know there is a larger area affected.

5       That decision is made at 8:00 or 9:00 o'clock at night.

6       We can't always reach somebody to consult, so we'll make

7       that decision based on availability of manpower,

8       availability to get the notices out, and availability to

9       make the telephonic notification, if that is an option.

10                 COMMISSIONER BROWN:  Is it Aqua's position

11       that it has complied with DEP rules regarding boil

12       notices during the test year?

13                 THE WITNESS:  I can't say that we have

14       complied completely 100 percent of the time in every

15       case.  I think our compliance has been very good.  Many

16       times these decisions are made at the operator level.

17       The operator is out there, you know, in the middle of

18       the night trying to fix a break.  He has got a bunch of

19       boil-water tags.  He tags the homes.  Can I say for sure

20       that in every case where there has been a water main

21       break we have gotten a tag on every home, I can't say

22       that.

23                 COMMISSIONER BROWN:  During those service

24       hearings we heard a lot about meter-reading issues,

25       various complaints from different segments.  Is the

FLORIDA PUBLIC SERVICE COMMISSION

269

1       company aware of any technical or flawed meter equipment

2       issues with its meters?

3                 THE WITNESS:  I'm not, but I'm really not the

4       person who would be best to testify to that.

5                 COMMISSIONER BROWN:  Who would?

6                 THE WITNESS:  Probably Sue Chambers or Troy

7       Rendell.

8                 COMMISSIONER BROWN:  Thank you.  I'm getting

9       done.  Regarding the pro forma plant additions that were

10       a result of the Phase II Monitoring Plan, I'm assuming

11       that there are pro forma plant additions that the

12       company is requesting recovery in its rate base, is that

13       correct?

14                 THE WITNESS:  That's correct.

15                 COMMISSIONER BROWN:  Can you go through those

16       in terms of dollar amounts?

17                 THE WITNESS:  I'll be glad to do that as best

18       I can.  I will go through, if it's all right with you,

19       the ones that are protested, rather than all of the pro

20       forma.

21                 COMMISSIONER BROWN:  Yes.

22                 THE WITNESS:  Okay.  For Lake Josephine, we

23       are requesting $177,679.89.  For Sebring Lakes,

24       $195,079.61.  For Leisure Lakes, $105,799.04.  Those are

25       the three protested pro forma additions that relate

FLORIDA PUBLIC SERVICE COMMISSION

270

1       specifically to the secondary water quality projects.

2                 COMMISSIONER BROWN:  Okay.  Thank you.  And

3       also, regarding Jasmine Lakes, during the service

4       hearing we heard customer testimony about red water that

5       occurred in September of 2011 in the Jasmine Lakes area.

6       Can you possibly address this issue?

7                 THE WITNESS:  I would have to consult our

8       records to see exactly what was going on, but I recall

9       that there was an issue with either flushing or somebody

10       using a hydrant in that community that caused a cluster

11       of discolored water calls in September.

12                 COMMISSIONER BROWN:  Did the company incur a

13       warning letter as a result of that event from DEP?

14                 THE WITNESS:  No.  DEP did not require a

15       warning letter.  That is not the kind of situation that

16       would require a warning letter.

17                 COMMISSIONER BROWN:  In sum, I guess, how many

18       warning letters has the company received from

19       environmental compliance regulatory authorities during

20       the test year?

21                 THE WITNESS:  I don't have that number.  I

22       have testified to specific ones.  There have been a few

23       others mentioned here that I would have to go back and

24       look through our records to give you an accurate number.

25                 COMMISSIONER BROWN:  Okay.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

271

1                 MR. MAY:  Commissioner Brown, I think he'll be

2       back up for rebuttal, and he will certainly have that

3       information for you at that time.

4                 COMMISSIONER BROWN:  Thank you, Mr. May.

5                 CHAIRMAN GRAHAM:  Commissioner Balbis.

6                 COMMISSIONER BALBIS:  Thank you, Mr. Chairman.

7       One or two quick questions.

8                 In the information that was provided and

9       entered into the record and, also, the testimony that

10       was given during the customer meetings, would you agree

11       that most of the water quality issues were what you

12       would expect with water that has a high hardness?

13                 THE WITNESS:  No, not necessarily.  I really

14       think from what I have seen of the testimony from

15       Arredondo Farms that is the case, but not in general.

16       The other complaints are, you know, discolored water

17       calls, taste and odor calls.  Those really are mostly

18       associated with iron, manganese, or hydrogen sulfide.

19                 COMMISSIONER BALBIS:  Okay.  Then let's focus

20       a little bit on those utility systems that did have high

21       hardness.  And the question is Aqua as a whole

22       nationwide, although there aren't primary water quality

23       standards for hardness, there is an aesthetic issue that

24       customers can deal with and not deal with.  Do you

25       establish your own standards, if you will, where

FLORIDA PUBLIC SERVICE COMMISSION

272

1       although there may not be a requirement, this is

2       something that Aqua would like to move forward with

3       correcting, or is it based solely on customer

4       complaints?

5                 THE WITNESS:  Well, we do not have an internal

6       standard or goal for hardness.  We operate 1,400 water

7       systems across the country.  The hardness varies

8       tremendously.  The expectations of the customers

9       relative to hardness varies tremendously, so we do not

10       have a one-size-fits-all policy or solution as to when

11       we soften water and to what level we soften water, if we

12       do soften water.  But we do respond to customer

13       complaints and concerns regarding hardness.  And if

14       there is an issue, we will work with the customers, the

15       affected customers, with engineers, both in-house and

16       consulting engineers to try to come up with the most

17       cost-effective solution.

18                 In Florida, and really Florida is the only

19       place where we have developed this secondary water

20       quality initiative process of really trying to engage

21       the customers in coming to the optimum solution.  In

22       many other places it is more of a, you know, we will

23       make the engineering decision and do what we think is

24       the right thing and expect recovery from the

25       commissions.

FLORIDA PUBLIC SERVICE COMMISSION

273

1                 COMMISSIONER BALBIS:  And then for Arredondo

2       Farms, which has had complaints about high hardness, at

3       least the customers there have, how does that hardness

4       level compare to the other 1,400 systems?

5                 THE WITNESS:  It's probably in the upper

6       10 percent, but it's definitely not at the top.

7                 COMMISSIONER BALBIS:  Okay.  And my last

8       question.  There were several customers that testified

9       that the water quality has decreased over the past

10       several years.  Have you seen any indications that the

11       water quality has decreased?

12                 THE WITNESS:  I have not.  Actually by

13       tracking our water quality complaints, I have seen

14       pretty convincing evidence that the water quality has

15       improved.  We know where we have made treatment changes,

16       made changes in our flushing protocols that we have

17       achieved substantial and demonstrable improvements in

18       water quality.

19                 COMMISSIONER BALBIS:  Okay.  And one last

20       follow-up question.  In the previous order that was

21       referenced, the '08 order, there are listed pro forma

22       plant additions that were approved by the Commission.

23       Are there any of those pro forma plant additions that

24       have not been performed?

25                 THE WITNESS:  In 2008.  No, not to my

FLORIDA PUBLIC SERVICE COMMISSION

274

1       knowledge.

2                 COMMISSIONER BALBIS:  Okay.  Thank you.

3                 CHAIRMAN GRAHAM:  I have a quick question for

4       you.  Since we're talking about Arredondo Farms, is

5       there a reason why hypo is used as your selected biocide

6       for that?

7                 THE WITNESS:  Well, the alternative is gaseous

8       chlorine.  Gaseous chlorine is less basic, so it could

9       have the advantage of not causing scaling on the

10       injectors, but it is also more dangerous.  And generally

11       as a company we have tried to move away from gaseous

12       chlorine and used sodium hypochlorite wherever we can.

13                 CHAIRMAN GRAHAM:  Are you using hypo in all of

14       your systems throughout the State of Florida?

15                 THE WITNESS:  No, there are still some that

16       have gaseous chlorine.

17                 CHAIRMAN GRAHAM:  Are you using chlorine

18       dioxide anywhere?

19                 THE WITNESS:  We are not using chlorine

20       dioxide anywhere in Florida.

21                 CHAIRMAN GRAHAM:  What is the cost difference

22       between the chlorine dioxide and the hypo?

23                 THE WITNESS:  Chlorine dioxide is more

24       expensive.  There is two problems with chlorine

25       dioxide -- well, three problems.  It's operationally a

FLORIDA PUBLIC SERVICE COMMISSION

275

1       little bit more difficult to manage.  It produces a

2       byproduct in the water of chlorite and chlorate, both of

3       which are regulated by EPA and have to be monitored very

4       closely.  There is an actually an acute MCL for

5       chlorate, I believe, which if it is exceeded would

6       require 24 hours notification of the public that that

7       level has been exceeded.

8                 The other thing is that chlorine dioxide

9       doesn't leave a residual disinfectant in the

10       distribution system, and it's imperative that you have a

11       residual disinfection.  So it's a little bit like ozone

12       in that ozone is a great oxidant, it's a great

13       disinfectant, but there is no residual disinfection

14       effect.  So anybody who is using ozone for disinfection

15       also has to use either chlorine, or chlorine gas, or

16       sodium hypochlorite for disinfection in the distribution

17       system.

18                 CHAIRMAN GRAHAM:  So for the most part the

19       most cost-effective thing to be using in these systems

20       would be hypo?

21                 THE WITNESS:  Yes.

22                 CHAIRMAN GRAHAM:  Do you have any problems

23       with that stuff flashing off in the tanks, in the

24       holding tanks?

25                 THE WITNESS:  No.  It does decay over time,

FLORIDA PUBLIC SERVICE COMMISSION

276

1       and in very hot weather it does sometimes cause degas in

2       the injection pump.  And, again, the design and

3       selection of the injection pump to try to minimize that

4       is an important consideration.  But, other than that, we

5       don't have any problem with sodium hypochlorite.

6                 CHAIRMAN GRAHAM:  And if you guys were trying

7       to -- well, let's go back to Arredondo Farms -- add

8       something else to sequester the scaling, how much would

9       that add to the price of the system?

10                 THE WITNESS:  Well, we haven't even done

11       preliminary cost analysis of adding sodium

12       hexametaphosphate or another sequestrant, a

13       polyphosphate sequestrant.  It wouldn't be terribly

14       expensive, but there are considerations.  First of all,

15       how effective would it really be.  And I'm not aware of

16       many systems that are really effectively treating the

17       effects of hardness with sodium hexametaphosphate.  It

18       also adds phosphorous to the treatment plant.

19                 And, as you know in Florida nutrients are a

20       big issue, and anything that increases nitrogen or

21       phosphorous to a wastewater treatment plant will cause a

22       treatment issue downstream.  Since we operate the

23       wastewater plant also, we have invested a tremendous

24       amount of money in upgrading that wastewater plant, we

25       wouldn't want to undo the work that we have done there

FLORIDA PUBLIC SERVICE COMMISSION

277

1       unknowingly to try to address the scaling issue.  Those

2       are all considerations that would go into selecting an

3       optimum solution for the hardness of Arredondo Farms.

4                 CHAIRMAN GRAHAM:  One last question.  Those

5       other 1,400 facilities that you have, are there any

6       regulatory agencies that have a standard for hardness?

7                 THE WITNESS:  None that I'm aware of.

8                 CHAIRMAN GRAHAM:  Okay.  Commissioner Brisé.

9                 COMMISSIONER BRISÉ:  Thank you, Mr. Chairman.

10                 I have a couple of questions for you.  I will

11       start with The Village water and wastewater system out

12       in Lakeland, and I sort of want an update of where you

13       are with that whole situation, and then that will lead

14       down a path of questions depending on your answer.

15                 THE WITNESS:  Okay.  In mid-October, late

16       October, Tricia Williams and our state president, Rick

17       Fox, met with Jeff Greenwell and his staff to discuss

18       where we were with Village water.  This is a very

19       intractable issue.  We are dealing with a small system

20       with 48 industrial customers with ponds that have been

21       used for disposal of the treated effluent.  There is a

22       wastewater treatment plant there, it is performing well,

23       performing good quality effluent.  The effluent is going

24       to ponds.  The ponds are cut -- they are old phosphate

25       mines, so they are cut into the groundwater table, so

FLORIDA PUBLIC SERVICE COMMISSION

278

1       they are not constructed to the new -- the newest

2       standards for percolation or high rate infiltration

3       ponds.

4                 Florida DEP would like us to find an alternate

5       means of effluent disposal for this system, and we have

6       actually identified two alternatives.  One would be a

7       force main for the treated effluent to go into a main

8       operated by the City of Lakeland to the TECO electric

9       generating station where the water would be used for

10       cooling water for evaporative cooling.  A very expensive

11       solution, and the City of Lakeland has not given us firm

12       terms on what they would charge us for capacity fees and

13       commodity charge fees for using that.

14                 We know that they are allowing another system

15       to do that.  We have suggested that we might be

16       interested in those same terms.  They have said, well,

17       for you guys it might be a little more.  That's kind of

18       where we are in the negotiations.  But we are talking

19       about a quarter of a million dollars in capital expense,

20       and probably -- well, a significant increase in

21       operating expenses to be paid to the City of Lakeland

22       for use of that line.

23                 The other alternative, we have actually

24       entered into a lease with a nearby property owner.  We

25       had an engineer evaluate the feasibility of putting a

FLORIDA PUBLIC SERVICE COMMISSION

279

1       spray field on that site.  We originally thought we

2       might be able to use a ten-acre portion of that site.

3       The land was so bad for spray irrigation use and

4       infiltration that it looks like we would have to use

5       30 acres.  We would be paying a very high land lease

6       fee, and spending, again, upwards of three or $400,000

7       on developing -- clearing and developing a spray field

8       here.

9                 This is for 48 customers.  The environmental

10       impact of the status quo is negligible.  We have treated

11       effluent going into two ponds.  We have made -- we have

12       done several studies of those ponds which we have

13       submitted to DEP.  We have made several improvements on

14       those ponds, all in the spirit of cooperation with DEP

15       to try to get to a solution that would minimize any

16       potential environmental impact.  And DEP has recognized

17       that work in granting a five-year permit to us a little

18       more than a year ago.  So we did get a permit for the

19       status quo, but DEP wants us to continue to work down

20       the path of coming up with an alternative solution.

21                 At the meeting on, I think it was

22       October 25th, several of the -- these two alternatives

23       and their costs were presented to DEP, and several

24       suggestions were made by some of the DEP staff

25       including, you know, get an engineer to estimate what it

FLORIDA PUBLIC SERVICE COMMISSION

280

1       would cost to raise the berms of the ponds to increase

2       the volume of the ponds so that there would never be a

3       discharge.  Never when you are in Florida where it can

4       rain 10 or 15 inches in a day is a difficult standard,

5       but we are going to take a look at that option.  They

6       also made a suggestion that we use some of the treated

7       effluent for wash-down water on the plant.  We actually

8       thought that was a pretty good idea, but when we looked

9       at how much water that was, it's 50 gallons a day.  So

10       we are going to do that, but it's a drop in the bucket.

11                 So we are continuing to work with DEP on

12       trying to find what would be a cost-effective solution

13       here, but it is almost beyond comprehension spending

14       10,000 or $15,000 per customer to try to deal with a

15       situation that really is not an environmental threat in

16       the status quo.

17                 CHAIRMAN GRAHAM:  Did you say 48 customers?

18                 THE WITNESS:  Forty-eight industrial

19       customers.

20                 COMMISSIONER BRISÉ:  That's really one of the

21       reasons I asked the question, because there is such a

22       high cost there for the number of customers.  But moving

23       on to another issue, since AUF has implemented or begun

24       to implement its Phase II aesthetic water quality

25       improvements, have you seen the number of complaints

FLORIDA PUBLIC SERVICE COMMISSION

281

1       with respect to aesthetics go down in the seven systems

2       that have been looked at?

3                 THE WITNESS:  The seven systems are Phase I of

4       the secondary water quality improvement programs, and,

5       yes, we have seen a decrease in the number of water

6       quality complaints from those systems.

7                 COMMISSIONER BRISÉ:  Okay.  The last question

8       I have for you has to do with the 300,000, or roughly

9       $300,000 that was spent on wastewater treatment efforts

10       at Arredondo Farms when the system was, I guess,

11       initially purchased.  I guess my question is was there

12       an awareness of the aesthetic issues there, and were the

13       wastewater issues more pressing than the aesthetic

14       issues at that time so that that investment was made in

15       that direction versus in the other direction?

16                 THE WITNESS:  Well, this is interesting.  It's

17       almost like deja vu.  This reminds me, I was here two

18       years ago testifying in the 2008 case.  I think there

19       were hearings then, and there was discussion about

20       Chuluota, and the exact same question was made.  Why did

21       you spend so much money on the wastewater plant and not

22       on the water system?  And I testified at that time that

23       I was very proud of what we did at the wastewater plant.

24       The wastewater plant was in terrible condition.  And

25       from an engineer's perspective, if you are going to fix

FLORIDA PUBLIC SERVICE COMMISSION

282

1       one thing first and then the second, I think that was

2       the right decision.

3                 It is always easy to second guess those kinds

4       of decisions, but remember where we were in 2008.  There

5       were no water quality issues for Arredondo Farms being

6       raised in that 2008 case.  The wastewater plant was

7       cited by DEP, and we were -- if we didn't get an

8       administrative order or consent order, we were very

9       close -- I think they actually did issue us an

10       administrative order for that system as we were in the

11       process of completely rebuilding that wastewater system.

12       It was undersized, underdesigned, very poorly designed.

13       Many engineering problems associated with that.  An

14       engineer back in Bryn Mawr who works for me, Mark Bubell

15       (phonetic), really was instrumental in, kind of, trying

16       to make maximum advantage of all of the tankage and

17       equipment that was out there at the Arredondo Farm

18       system to try to keep the cost under control.

19                 You know, rebuilding or replacing a small

20       wastewater system like this can be very expensive on a

21       per gallon basis, and he's kind of an expert at trying

22       to make the best out of what you have.  We have done it

23       on several other systems in other states.  So to answer

24       your question, in short, that was a system where we

25       decided that the wastewater, the condition of the

FLORIDA PUBLIC SERVICE COMMISSION

283

1       wastewater plant was our first priority to fix, and we

2       fixed it.

3                 COMMISSIONER BRISÉ:  Okay.  Thank you.

4                 CHAIRMAN GRAHAM:  Mr. May, redirect.

5                 MR. MAY:  I was going to ask Mr. Luitweiler

6       about the wastewater plant, but he took the words out of

7       my mouth.  So I have no redirect.

8                 CHAIRMAN GRAHAM:  Okay.  Any exhibits to

9       enter?

10                 MR. JAEGER:  Staff would move 297.

11                 CHAIRMAN GRAHAM:  Move 297.

12                 Mr. May.

13                 MR. MAY:  We would move --

14                 MR. JAEGER:  It's 55 through 62 in the

15       Comprehensive Exhibit.

16                 MR. MAY:  -- it's Mr. Luitweiler's Exhibits

17       PL-1 through PL-8, which are designated as Hearing

18       Exhibits 55, 56, 57, 58, 59, 60, 61, and 62.

19                 CHAIRMAN GRAHAM:  We will move Exhibits 55

20       through 62 and Exhibit 296 into the record.

21                 MR. JAEGER:  297.

22                 CHAIRMAN GRAHAM:  Which one was 297?

23                 MR. JAEGER:  297 was the deposition exhibits

24       for Luitweiler, and 296 was Szczygiel's Late-filed

25       Exhibits 20 and 21.

FLORIDA PUBLIC SERVICE COMMISSION

284

1                 CHAIRMAN GRAHAM:  297.  Okay.

2                 (Exhibit Numbers 55 through 62 and Exhibit

3       Number 297 admitted into the record.)

4                 CHAIRMAN GRAHAM:  Sir, we are currently done

5       beating up on you for right now.

6                 THE WITNESS:  Thank you.

7                 CHAIRMAN GRAHAM:  Mr. May.

8                 MR. MAY:  Mr. Chairman, can you give me one

9       minute to get my things in order?

10                 CHAIRMAN GRAHAM:  Sure.  This sounds like a

11       good time.  Let's take a five-minute break.

12                 (Recess.)

13                 CHAIRMAN GRAHAM:  Mr. May.

14                 MR. MAY:  Thank you, Chairman Graham.  With

15       your permission, Aqua Utilities Florida would call its

16       next direct witness, Ms. Susan Chambers.

17                            SUSAN CHAMBERS

18       was called as a witness on behalf of Aqua Utilities

19       Florida, and having been duly sworn, testified as

20       follows:

21                         DIRECT EXAMINATION

22       BY MR. MAY:

23            Q.   Ms. Chambers, have you previously been sworn

24       in this proceeding?

25            A.   I have.

FLORIDA PUBLIC SERVICE COMMISSION

285

1            Q.   And would you please state your name and your

2       business address for the record?

3            A.   Susan Chambers, 762 West Lancaster Avenue,

4       Bryn Mawr, Pennsylvania 19010.

5            Q.   And, Ms. Chambers, did you prepare and cause

6       to be filed 19 pages of Direct Testimony in this case?

7            A.   Yes, I have.

8            Q.   Do you have that Direct Testimony before you

9       today?

10            A.   Yes, I do.

11            Q.   Do you have any corrections to your testimony?

12            A.   No, I do not.

13            Q.   If I were to ask you the questions that are

14       contained in your Direct Testimony today, would your

15       answers be the same?

16            A.   Yes, they would.

17                 MR. MAY:  Mr. Chairman, I would ask that the

18       Direct Testimony of Ms. Chambers be inserted into the

19       record as though read.

20                 CHAIRMAN GRAHAM:  We will insert Ms. Chambers'

21       Direct Testimony into the record as though read.

22                 MR. MAY:  Thank you.

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

303

1       BY MR. MAY:

2            Q.   Ms. Chambers, have you attached five exhibits

3       to your Direct Testimony, SC-1 through SC-5?

4            A.   Yes, I have.

5            Q.   Do you have any corrections to those exhibits?

6            A.   No, I do not.

7            Q.   And, Ms. Chambers, have you prepared a summary

8       of your Prefiled Direct Testimony?

9            A.   Yes, I have.

10            Q.   Would you please provide your summary at this

11       time?

12            A.   Good afternoon, Chairman and Commissioners.  I

13       am Aqua Americas' national customer service manager, and

14       I have been with the company for 24 years.  I appreciate

15       the opportunity to be here today.  This is the first

16       time I have been asked to testify.

17                 The purpose of my Direct Testimony is to

18       explain Aqua Utilities Florida's strong commitment to

19       customer service and to describe actions taken since the

20       last rate case to address customer satisfaction.  Those

21       improvements include the formation of a complaint

22       analyst and remediation team, CAR, to address escalated

23       calls at the call center and to identify areas where

24       further CSR coaching and training are required.  We have

25       also made improvements to our on-site meter and bench

FLORIDA PUBLIC SERVICE COMMISSION

304

1       test procedures, which enable us to test the meter in

2       the field in front of the customer, which reduces

3       turn-around time and enhances customer confidence in the

4       process.

5                 We enhanced the interaction between our field

6       technicians and our call center through a program called

7       project field goal.  We designed a seasonal bill insert

8       to encourage customers to contact AUF before they leave

9       for the summer so their account is properly noted as

10       seasonal.  We have also developed a leak detection and

11       water conservation section on our website to provide

12       helpful information to our customers.

13                 My Direct Testimony explains AUF's delinquency

14       and service termination policies which are more customer

15       friendly than those required by the Commission's rules.

16       My testimony also describes how AUF monitors complaints

17       filed with the Commission.  Since the last rate case,

18       there has been a 50 percent reduction in complaint

19       volume.  While AUF is proud that the number of

20       complaints filed with the Commission has decreased over

21       the last four years, my testimony shows that AUF remains

22       committed to seeing the number of complaints decrease

23       even further.

24                 Finally, my testimony describes in detail the

25       intense monitoring AUF's quality of service has

FLORIDA PUBLIC SERVICE COMMISSION

305

1       undergone since the last rate case.  The results of that

2       monitoring shows that AUF has been proactive in adopting

3       aggressive quality control methods and has done a good

4       job in meeting its own internal service quality goals.

5                 That concludes my summary.  Thank you.

6                 MR. MAY:  Thank you.

7                 Mr. Chairman, Aqua would tender Ms. Susan

8       Chambers for cross-examination.

9                 CHAIRMAN GRAHAM:  Thank you.

10                 OPC.

11                          CROSS EXAMINATION

12       BY MS. CHRISTENSEN:

13            Q.   Good afternoon, Ms. Chambers.  You have your

14       Direct Testimony in front of you?

15            A.   Yes, I do.

16            Q.   Okay.  Let me direct you to Page 5 of your

17       Direct Testimony, Lines 21 through 25.

18            A.   I'm there.

19            Q.   Okay.  And in that portion of your testimony

20       you discuss the CART team that was formed, which is the

21       complaint analysis and remediation team, correct?

22            A.   That is correct.

23            Q.   Okay.  Now, would it be true to say that the

24       first meeting of this CART team was September 15th,

25       2009?

FLORIDA PUBLIC SERVICE COMMISSION

306

1            A.   That is correct.

2            Q.   Okay.  Now, let me take you to Page 6, Lines 2

3       and 3.  You state that the team meets monthly to address

4       all escalated calls, correct?

5            A.   Yes.

6            Q.   Are you aware that some customers have

7       testified that they have asked for supervisors and been

8       refused?

9            A.   I'm not aware.

10            Q.   Okay.  Would it be correct that if a customer

11       service representative refuses to transfer a customer to

12       a supervisor, these calls would not show up in your

13       statistics?

14            A.   If a customer refuses to be transferred, that

15       is correct.

16            Q.   Okay.  Let me take you to Page 10 of your

17       Direct Testimony, Lines 7 and 8.  Are you there?

18            A.   Yes, I am.

19            Q.   Okay.  And in that portion of your Direct

20       Testimony you discuss the electronic work queue,

21       correct?

22            A.   That is correct.

23            Q.   Okay.  And isn't it true in your deposition

24       you testified that the EWQ is basically a work order to

25       a service representative requiring them to return a

FLORIDA PUBLIC SERVICE COMMISSION

307

1       phone call to a customer?

2            A.   That is correct.

3            Q.   Okay.  And in your deposition you also

4       testified that the work order is closed when a

5       supervisor calls and is able to speak with a customer,

6       correct?

7            A.   That is correct.

8            Q.   Okay.  And you also testified that if a

9       supervisor calls once and is unable to reach the

10       customer, but leaves a message, then the work order is

11       also closed, correct?

12            A.   That is correct.

13            Q.   Okay.  And it would also be correct that you

14       testified if a supervisor calls once and is unable to

15       reach a customer, and is also unable to leave a message,

16       that the work order is also closed?

17            A.   That is correct.

18            Q.   Okay.  Now, also on Page 10 at Lines 7 and 8

19       of your Direct Testimony, you comment that the

20       electronic queue or work queue is audited by a quality

21       assurance team, correct?

22            A.   That is correct.

23            Q.   And when you mean -- when you use the term

24       audit, what you mean is that the term -- the team,

25       excuse me, reviews the report to check that all the EWQs

FLORIDA PUBLIC SERVICE COMMISSION

308

1       are closed, correct?

2            A.   No, that is not correct.

3            Q.   Is that one of the functions of the audit?

4            A.   The audit is to review the reasons for the

5       call-backs in the first place.  We have a separate

6       report that we review for the closures of the EWQs, so

7       there's two different functions.

8            Q.   Okay.  In your deposition you stated that

9       other than the review, no other action was taken on the

10       EWQs, correct?

11                 MR. MAY:  Could we get a reference in the

12       deposition where you are tracking, Ms. Christensen?

13                 MS. CHRISTENSEN:  Certainly.  Page 109.

14                 MR. MAY:  Ms. Chambers, do you have your

15       deposition before you?

16                 THE WITNESS:  Yes, I do.

17                 CHAIRMAN GRAHAM:  Have you found it?

18                 THE WITNESS:  Yes, I have.

19                 CHAIRMAN GRAHAM:  Please continue.

20       BY MS. CHRISTENSEN:

21            Q.   Okay.  So looking at the question, it says do

22       you, based on the discussions that you have of the EWQ

23       reports, excuse me, what type of follow-up is done based

24       on those discussions.  Do you recall that question?

25            A.   Yes.  This is referring to the EWQ report that

FLORIDA PUBLIC SERVICE COMMISSION

309

1       we track that monitors that all call backs are handled

2       within a 24-hour time period.

3            Q.   Okay.  And then your response?  I'm sorry, go

4       ahead and finish your answer.

5            A.   No, that's fine.

6            Q.   And your response to that question was we

7       discuss if there is any outstanding issues, but not

8       all -- but not all EWQs, we review the report to make

9       sure that all EWQs are being closed in a timely manner,

10       is that correct?

11            A.   We review that they are closed in a timely

12       manner, that is correct.

13            Q.   Okay.  Let me direct you to Page 8 of your

14       Direct Testimony.  Are you there?

15            A.   Yes, I am.

16            Q.   Okay.  At Lines 5 through 8 in your Direct

17       Testimony you discuss that AUF has developed an on-line

18       program to allow customers to pay bills on-line, is that

19       correct?

20            A.   That is correct.

21            Q.   Okay.  Would it be correct to say that the

22       only way a customer can pay using the Aqua on-line for

23       free is to allow Aqua to withdraw the money from their

24       customer's checking or savings account?

25            A.   That is correct, and that is free to the

FLORIDA PUBLIC SERVICE COMMISSION

310

1       customer.

2            Q.   Okay.  Now, would it also be correct to say

3       that to pay on-line for free the customer must sign up

4       to receive the bill on-line and not through the mail?

5            A.   Well, actually the customer can enroll to

6       receive their bill electronically and make a one-time

7       payment that day, and the very next day they can

8       unenroll.  So they can still technically receive a paper

9       bill during the billing period.

10            Q.   But the intent of the on-line program is that

11       the customer will sign up.  And when signing up, one of

12       the things that you agree to is to receive your bill

13       electronically, correct?

14            A.   Well, when you enroll you do agree to receive

15       your bill electronically, but you certainly do not have

16       to pay through that method.

17            Q.   Okay.  And would it also be true that if a

18       customer wants to pay their bill with a credit card that

19       there is a $3.20 charge associated with that?

20            A.   That is correct.  We use a vendor, it's an

21       approved vendor, SpeedPay, that collects the convenience

22       fee.  That convenience fee does not go to Aqua.  It's an

23       authorized vendor, SpeedPay, that we use to provide that

24       service.

25            Q.   And that fee is charged any time the customer

FLORIDA PUBLIC SERVICE COMMISSION

311

1       wants to make a payment by credit card, correct?

2            A.   Yes, that is correct.

3            Q.   Okay.  Attached to your Direct Testimony you

4       had Exhibit SC-3, and I would like to direct your

5       attention to Page 41 out of the 183.  Let me know when

6       you have reached that.

7            A.   Page 41?

8            Q.   Correct.

9                 MR. MAY:  I think, Ms. Chambers, the page

10       number is in the upper right-hand corner.

11                 MS. CHRISTENSEN:  In your header.

12                 THE WITNESS:  I have it, yes.

13       BY MS. CHRISTENSEN:

14            Q.   Okay.  The fourth line of the chart is a

15       metrics titled, "Accounts Estimated for Over 90 Days,"

16       correct?

17            A.   Yes.  That is long-term estimates.

18            Q.   Okay.  And your target for this is

19       .15 percent, correct?

20            A.   That is correct.

21            Q.   And your average for the accounts estimated

22       greater than 90 days is slightly over .1 percent,

23       correct?

24            A.   .1.  I'm not sure what the average is.

25            Q.   Subject to check, would you agree that's the

FLORIDA PUBLIC SERVICE COMMISSION

312

1       average based on the accounts that are listed?

2            A.   Subject to check, I would.

3            Q.   Okay.  Which is lower than what your target

4       is, correct?

5            A.   That is correct.

6            Q.   Can you explain why an account would need to

7       be estimated for greater than 90 days?

8            A.   Well, I can explain that.  I can also explain

9       why in July that had occurred.  We provide sewer service

10       to some customers where we are not the provider of the

11       water.  We are not the water provider.  So as a result,

12       we get those readings from the water provider.  If a

13       meter has been exchanged and we don't have the meter

14       exchange information, then the reading that was supplied

15       wouldn't coincide with how we are billing the account.

16       So we would have to wait until we get the meter reading

17       information from the water provider before we could

18       issue a bill on an actual reading.

19            Q.   Now, would that --

20            A.   That was the case in July.  There was a large

21       meter exchange program in Sarasota.

22            Q.   Would that account, though, for all of those

23       90-day greater estimates?

24            A.   That would not account for all of them.  That

25       is one example of what would cause an account to be

FLORIDA PUBLIC SERVICE COMMISSION

313

1       estimated for up to 90 days or more.

2            Q.   Okay.  And when an account is estimated in the

3       first month, what action, if any, does AUF take to

4       investigate that?

5            A.   Well, it depends on why it is estimated.  If

6       it is estimated because of a misreading, then as soon as

7       we upload the meter reading file, a misreading report is

8       produced and service orders are generated to go out and

9       obtain readings on the accounts.

10            Q.   Okay.  And if you determine that it's a

11       misread, what action would occur in the second month?

12            A.   The same process.

13            Q.   Do you take any --

14            A.   And our target for reading accounts is on that

15       same chart; it's 99 percent.  That is our read rate.

16            Q.   Okay.  Assuming that you identify the problem,

17       could you explain why an account would still require an

18       estimated read after 90 days?

19                 MR. MAY:  Objection, that has been asked and

20       answered.

21                 MS. CHRISTENSEN:  I'm not sure that has been

22       asked and answered.

23                 CHAIRMAN GRAHAM:  I'm not quite sure I heard

24       it yet, either.  Please restate it.

25

FLORIDA PUBLIC SERVICE COMMISSION

314

1       BY MS. CHRISTENSEN:

2            Q.   Well, my question was -- I think the witness

3       explained that she could identify in certain instances

4       like a mis-meter read what had happened, and once the

5       problem has been identified, the question I'm asking is

6       can you explain why there would still need be an

7       estimated read after 90 days?

8            A.   And I would say the majority of the accounts

9       that are estimated for long-term estimates are caused by

10       an unprocessed meter exchange.  And maybe let me

11       clarify.  That means that we physically went out to the

12       property and exchanged the meter.  Now, it could have

13       been done by the water provider or it could have been

14       done by an Aqua employee, but physically the meter is

15       exchanged in the property.

16                 We go out, we get a read.  And the reading is

17       on the new meter, but our billing system still contains

18       the old meter information.  So the actual reading that

19       is obtained in the field does not correlate or

20       correspond with the current information in the billing

21       system.  That would cause a customer to get an estimated

22       bill, because we cannot use the actual reading.

23                 And that is the majority of your long-term

24       estimates.  They are unprocessed meter exchange, and the

25       majority of the ones in Florida are from the water

FLORIDA PUBLIC SERVICE COMMISSION

315

1       provider.  It is when we are not responsible -- when we

2       are receiving the reads from another utility.

3            Q.   Well, if I understood your earlier testimony,

4       I think what you were saying was that you might have an

5       estimated bill greater than 90 days because you haven't

6       been able to indicate the meter exchange in your billing

7       system within 90 days, is that correct?

8            A.   That's correct.  But a misread is normally not

9       a long-term estimate.  A misread is normally you go out

10       to read it, and it could be missed because you didn't

11       get a reading because the ERC didn't alert.  And

12       normally a misread is not a read that ends up -- it's

13       not normally an account that ends up on the long-term

14       estimation report.  The long-term estimation report

15       normally means that you got a read, but that read didn't

16       correlate with the information on the account and you

17       couldn't use it.

18            Q.   Okay.  So you're saying that for those

19       accounts it can take longer than 90 days to fix your

20       billing accounts to match what the actual reads are, is

21       that correct?

22            A.   Correct.

23            Q.   Okay.  Now, in your deposition we talked about

24       back-billing, right?

25            A.   That's correct.

FLORIDA PUBLIC SERVICE COMMISSION

316

1            Q.   Now, was it correct that you testified that

2       Aqua has a new process to review back-bills to make sure

3       that they are not for a period over 365 days, correct?

4            A.   Well, we always had a process to review

5       accounts.

6            Q.   Right.  But I'm talking about you have just

7       recently put in a new process, correct?

8            A.   We did put in a new process to ensure that we

9       did not back-bill anybody for longer than 365 days, yes,

10       and that was in my late filing.

11            Q.   All right.  And your new process is basically

12       an automated coding system that will now alert and

13       ensure that somebody reviews that account to make sure

14       that a bill doesn't go out for greater than 365 days,

15       correct?

16            A.   That is correct, that the credit is applied

17       appropriately.

18            Q.   Okay.  And prior to that, you were having --

19       that was done by a person?

20            A.   Yes.

21            Q.   Okay.  And I believe I recall that in your

22       deposition you acknowledged that due to human error

23       sometimes bills would go out greater than 365 days,

24       correct?

25            A.   That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

317

1            Q.   Okay.  And that new automated coding program,

2       that just went into effect recently in October or

3       November of this year, correct?

4            A.   That is correct.

5            Q.   Now, I think you in a previous answer

6       discussed ERTs.  And just so we are clear, ERT is what,

7       estimated read -- what is that, electronic reading

8       telemetry?  What does that stand for?

9            A.   An electronic reading transmitter or

10       transmission, I'm not sure.  I always refer to it as an

11       ERT, I'm sorry.

12            Q.   And that's fine, I just wanted to make sure I

13       understood it.  So it's basically the electronic reading

14       transmission?

15            A.   Transmitter, I believe.  I'm sorry.

16            Q.   And that's fine.  We can refer to them as

17       ERTs.  That's fine.

18                 And I think you had discussed earlier today in

19       your testimony that one of the problems that you have

20       estimated bills for is when you have a problem with the

21       ERT, correct?

22            A.   That is correct.

23            Q.   And you also testified that after a meter read

24       cycle, the utility runs a missed read report to identify

25       those meters with bad ERTs, correct?

FLORIDA PUBLIC SERVICE COMMISSION

318

1            A.   Where we did not get a reading at all.

2            Q.   Okay.  And isn't it true that you testified

3       that based on this report that the utility generates

4       orders with a goal for a service technician to go out

5       and check the meter within seven days?

6            A.   Yes, that is our goal.

7            Q.   So based on your testimony, you would agree

8       that there really should be no reason that an account

9       would continue to have a missed read or no read for an

10       ERT for more than one month in a row?

11                 MR. MAY:  I'm going to object to that

12       question.  I think that is about three questions jumbled

13       into one.

14                 MS. CHRISTENSEN:  I don't see how that's three

15       questions in one, but --

16                 CHAIRMAN GRAHAM:  Break it down a little bit,

17       if you can.

18                 MS. CHRISTENSEN:  I will try.

19       BY MS. CHRISTENSEN:

20            Q.   Okay.  You have testified that a missed read

21       report is generated at the end of the month, correct?

22            A.   That is correct.

23            Q.   And that based on that report, a technician is

24       sent to -- a service order is generated basically within

25       seven days, so that a technician will go out and

FLORIDA PUBLIC SERVICE COMMISSION

319

1       identify or correct the ERT problem, right?

2            A.   That is correct.

3            Q.   Okay.  So you would agree that there is no

4       basis or no reason if you have a missed read why that

5       problem should persist more than a single month,

6       correct?

7            A.   That is correct.

8            Q.   Okay.  Now, we also talked, I think, about a

9       major problem with back-billing was due to zero

10       consumption, correct?

11            A.   That is correct.

12            Q.   Now, isn't it also true in your deposition you

13       testified that you have a monthly report that identifies

14       every zero consumption meter, or meter that identifies

15       zero consumption?

16            A.   That is correct.

17            Q.   Okay.  And is it also correct that you

18       testified in your deposition that you worked this report

19       by sending out field representatives to investigate

20       whether it's a valid zero consumption?

21            A.   That is correct.  Due to the nature in Florida

22       of the seasonal customers, we have a larger volume of

23       zero consumption accounts than most of the other states.

24            Q.   So based on your prior testimony that, you

25       know, you investigate every zero consumption, you would

FLORIDA PUBLIC SERVICE COMMISSION

320

1       agree that there is no reason why an account should have

2       zero consumption that is not generated by a seasonal

3       customer or a valid zero consumption for more than one

4       month, correct?

5            A.   That is not correct.  There is a big

6       distinction between a misread and a zero consumption

7       account.  A misread, you're not getting a read, and you

8       are issuing an estimated bill, and that is where your

9       long-term estimations are.  But a zero consumption, you

10       are sending out a bill, you are billing a customer on

11       zero consumption.  You are getting a read, and you are

12       sending out a bill on zero consumption.

13            Q.   Okay.  So even if you had zero consumption,

14       you would be sending out a bill for base facility

15       charges, correct?

16            A.   That is correct.

17            Q.   Okay.  And I think you testified that if you

18       have otherwise zero usage, maybe zero usage is a better

19       way to put it, you would also generate a service order,

20       correct?

21            A.   When you work the zero consumption report.

22       The zero consumption report doesn't generate accounts

23       that have been zero for only one month.

24            Q.   Okay.  So how long does it take before an

25       account would show up on a zero consumption report?

FLORIDA PUBLIC SERVICE COMMISSION

321

1            A.   It is a six-month report that is run every

2       month.

3            Q.   Okay.  So an account could show zero

4       consumption for a period of five months and they still

5       would not show up on that zero consumption report?

6            A.   That is correct.

7            Q.   Okay.  So it is possible that customers could

8       be charged for base facility charges and not charged for

9       usage and not be aware that they weren't being charged

10       if it didn't go longer than the six months, correct?

11            A.   Well, the customer would be aware that they

12       are being charged for zero consumption because there is

13       many indications on the bill.  There is a meter data

14       section of the bill that shows the zero consumption,

15       there is a graph that would indicate that all of a

16       sudden they weren't using any water, and the customer

17       would be getting a bill for just base facility charge.

18       So the customer would know that they were getting

19       charged for zero consumption when they reviewed their

20       bill.

21            Q.   Well, assuming the customer came from another

22       water system with a much lower rate and they were paying

23       Aqua's base facility charge, if they didn't look very

24       closely at their bill, it is possible, would you not

25       agree, that the customer might not notice that they had

FLORIDA PUBLIC SERVICE COMMISSION

322

1       zero consumption?

2            A.   Well, the fact that it indicates in three

3       different sections of the bill -- I guess it's possible

4       if they are a brand new customer, but we do send out a

5       welcome kit that shows the customer how to read their

6       bill, and there is a section in our welcome kit that

7       explains our bill and how to read it.

8            Q.   Okay.  Now, I think you stated that you

9       have -- that the zero consumption report is generated on

10       a six-month period.  When you do investigate the zero

11       consumptions, and let's say you find a customer that

12       just was not being billed for usage for a six-month

13       period and should have been billed during that six-month

14       period, do you consider the weather in the estimated

15       consumption?

16            A.   I guess I don't understand your question.

17            Q.   Well, when you have a customer that has had

18       zero consumption, do you provide an estimated

19       consumption for that customer?

20            A.   No, we don't, because the actual consumption

21       is registered on the meter.  So when we fix the problem,

22       we actually get a reading off of the meter.  So there is

23       no estimation.  We know exactly how much consumption has

24       been used.  It's recorded on the meter.  There is no

25       guesswork.

FLORIDA PUBLIC SERVICE COMMISSION

323

1            Q.   So let me make sure I'm understanding it.  If

2       you have zero consumption, or if they showed up on the

3       zero consumption report, in all cases there is an actual

4       read on the meter, or are there some cases where there

5       is no actual usage showing up on the meter, or do you

6       consider those two different events?

7            A.   There is two different events, but the

8       majority of the time there is an issue with the ERT.  So

9       the meter is functioning correctly at the property, it

10       is registering the water, there is an issue between the

11       communication of the ERT device and the meter.  So we

12       are reading the ERT, the ERT is saying there is no

13       usage, but the meter is still registering all of the

14       usage.

15            Q.   Okay.  That's what you would call a misread,

16       correct?

17            A.   Not a misread.  A misread is we physically go

18       out to the property and we don't get any read at all.

19            Q.   Okay.  And for the customers where the meter

20       actually shows -- there are those cases, though, where

21       the meter actually shows no usage, correct?

22            A.   That is a stuck meter.

23            Q.   Okay.  And in the stuck meter case, let's make

24       sure that we are all on the same terminology -- in the

25       stuck meter case, do you consider whether when you -- do

FLORIDA PUBLIC SERVICE COMMISSION

324

1       you estimate consumption on a stuck meter?

2            A.   On a stuck meter we do have to estimate the

3       unused consumption.  And normally the process is that

4       you exchange the meter, and that same month that you

5       exchange it for, you go back and you get another read,

6       usually within 15 days of the exchange, and you

7       calculate the unused consumption based on the average,

8       the 15-day average of the new meter.

9            Q.   Okay.  Do you consider any weather -- do you

10       consider weather in that 15-day estimate?

11            A.   We normally don't, but there have been cases

12       where a customer has called in to the call center and

13       has indicated that they actually had a leak and we have

14       made some adjustments in the past.

15            Q.   Okay.  Well, let me ask you this.  In your

16       deposition you testified that the current percent for

17       back-billing for AUF is .07 percent, correct?

18            A.   That is correct.  So it's less than

19       three-quarters of one percent of our bills are

20       back-bills, .07 percent.

21            Q.   And you also were asked what would be an

22       acceptable level for back-billing, and you testified

23       that it was greater than 1 percent would be

24       unacceptable, correct?

25            A.   That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

325

1            Q.   Okay.  Now, I think as part of that packet

2       that we previously handed out was Production of

3       Documents -- and I'm going to be using actually four of

4       those documents.  The first one is 129 through 131.

5            A.   Oh, okay.

6            Q.   And then OPC POD Number 131, and then 131

7       sorted by month, and 131 sorted by system.  And I guess

8       we need to identify these and provide numbers for these.

9                 CHAIRMAN GRAHAM:  Let's go ahead and put

10       exhibit numbers on the stack that you passed out.  This

11       first one would be the Aqua Response 129 through 131, is

12       that correct?

13                 MS. CHRISTENSEN:  Correct.

14                 CHAIRMAN GRAHAM:  And that is going to be --

15       staff, we are at 289?  298, rather.

16                 MS. CHRISTENSEN:  298 is what I have got.

17                 CHAIRMAN GRAHAM:  Okay.

18                 MS. CHRISTENSEN:  And then the next one would

19       be OPC POD Number 131, and that would be 299.  The

20       following one would be OPC POD 131 monthly, and the

21       following one would be -- that's 300.

22                 MR. JAEGER:  I'm sorry, Patty, you have lost

23       me.

24                 MS. CHRISTENSEN:  I'm sorry, 300 would be OPC

25       POD 131 sorted by month.

FLORIDA PUBLIC SERVICE COMMISSION

326

1                 CHAIRMAN GRAHAM:  Okay.  I'm with you.

2                 MS. CHRISTENSEN:  And then the next one would

3       be 301, which would be OPC POD Number 131 sorted by

4       system.

5                 CHAIRMAN GRAHAM:  Okay.

6                 MS. CHRISTENSEN:  And I think that's all of

7       them that we have to identify.

8                 CHAIRMAN GRAHAM:  All right.  So for the

9       record we have 298, which is Aqua Response to OPC's

10       Fifth POD, Numbers 129 through 131; then OPC POD 131 is

11       299; and then OPC POD 131 sorted by month is 300; and

12       OPC POD Number 131 sorted by system is 301; is that

13       correct?

14                 MR. MAY:  Ms. Chambers, do you have that?

15                 THE WITNESS:  I'm sorry.  Yes, I do.

16                 MR. MAY:  Do you have those numbers?

17                 THE WITNESS:  Yes.

18                 MR. MAY:  Okay.  You're better than I am.

19                 CHAIRMAN GRAHAM:  Ms. Christensen, is that

20       correct, those numbers I read aloud to you?

21                 MS. CHRISTENSEN:  Yes, I believe so.

22                 CHAIRMAN GRAHAM:  Okay.

23                 MS. CHRISTENSEN:  All right.

24                 (Exhibit Numbers 298 through 301 marked for

25       identification.)

FLORIDA PUBLIC SERVICE COMMISSION

327

1       BY MS. CHRISTENSEN:

2            Q.   Let me ask you this.  Okay, 298 that

3       specifically was Aqua's response to our billing

4       question.  And looking at specifically 131, you were

5       asked to provide a spreadsheet with formulas intact to

6       support the work-papers and calculations that justified

7       your billing adjustments, correct?

8            A.   That's correct.

9            Q.   Okay.  Let me move on to 299.

10                 MR. MAY:  Just so the record is clear with

11       respect to OPC POD 131, in order to understand and to

12       complete the record, that request for production of

13       documents refers to Interrogatory 193.  So I think you

14       are going to have to read both of those together.

15                 MS. CHRISTENSEN:  Well, I specifically want to

16       refer to the Excel file that was provided.  So let me

17       change you to Exhibit 299, and at the top of that

18       spreadsheet it says OPC POD 131, AUF back-billed

19       information for January 2009 through March 2011,

20       correct?

21                 THE WITNESS:  That is correct.

22       BY MS. CHRISTENSEN:

23            Q.   And this spreadsheet shows a total of --

24            A.   I believe it's 461 accounts.

25            Q.   I'm sorry, what?

FLORIDA PUBLIC SERVICE COMMISSION

328

1            A.   I believe it's 461 accounts.

2            Q.   Okay.  And it shows --

3                 MS. CHRISTENSEN:  One moment, please.

4                 (Pause.)

5       BY MS. CHRISTENSEN:

6            Q.   All right.  I think by our calculation we were

7       showing 426 back-bills.

8            A.   Yes, I misspoke.  Right.

9            Q.   Okay.  And these 426 back-bills equates to

10       your .07 percent number, correct?

11            A.   That is correct.

12            Q.   And then as part of Exhibits 300 and 301 you

13       provided a sort of those back-bills.  You did the sort

14       based on a monthly basis -- sorry, we did a sort based

15       on a monthly basis and a sort by system.  So let me

16       refer you first to the monthly sort.

17            A.   Okay.

18            Q.   Okay.  Now, would you agree, subject to check,

19       that 97 of these back-bills occurred in 3 months,

20       January through March 2011?

21            A.   Subject to check, okay.

22            Q.   Okay.  And 187 of these back-bills occurred in

23       2010, correct?

24            A.   Subject to check.

25            Q.   And 142 occurred in 2009, correct?

FLORIDA PUBLIC SERVICE COMMISSION

329

1            A.   Subject to check.

2            Q.   Now, would you agree that your number of

3       back-bills have increased each year?

4            A.   Can I have those numbers again, please?

5            Q.   Certainly.  In 2009, the total back-bills was

6       142.  And I think you agreed to that subject to check.

7       And then in 2010, the total back-bills was 187, and you

8       also agreed to that subject to check.  And then for the

9       first three months of 2011, which is, I think, all the

10       data that we were provided in this POD response, for the

11       first three months of 2011 the total back-bill was

12       already 97.  So if you were to extrapolate that number

13       to the remainder of the year, it would be an increase.

14            A.   No, that's through --

15            Q.   Somewhere north of 300, if it was continuing

16       on the same trajectory, right?

17            A.   Right.  But you don't know if it has or has

18       not.

19            Q.   Well, based on -- well, let's just look at the

20       difference between 2009 and 2010.  You would agree that

21       there was an increase in back-billing, correct?

22            A.   Yes.

23            Q.   Okay.  All right.  Now, let's take a look at

24       the exhibit sorted by systems.  Okay.  Now, are you

25       familiar with Jasmine Lakes?

FLORIDA PUBLIC SERVICE COMMISSION

330

1            A.   Yes, I am.

2            Q.   Okay.  It appears on this chart that there are

3       76 back-bills in 2010 for Jasmine Lakes, is that

4       correct?

5            A.   That is correct.

6            Q.   Okay.  And you would agree -- well, let me ask

7       you this.  Are you aware that Jasmine Lakes has

8       approximately 1,600 customers?

9            A.   Yes, I am.

10            Q.   Now, if you take the 76 back-bills for Jasmine

11       Lakes in 2010, and divide them by the 1600 customers,

12       would you agree, subject to check, that that would be

13       about 4.75 percent of all the customers receive

14       back-bills?

15            A.   I would agree, subject to check.  There was an

16       issue with the streetlight billing in Jasmine Lakes.  It

17       was a computer glitch that caused a one-time

18       back-billing issue.

19            Q.   Okay.  And you would agree, though, that that

20       was substantially larger than your .07 percent, correct?

21            A.   Right.  And I would agree, again, it was a

22       computer -- a computer glitch, and it was a one-time.

23       We stopped billing streetlights in Jasmine Lakes, and it

24       caused a portion of the customers not to receive a sewer

25       and water bill.

FLORIDA PUBLIC SERVICE COMMISSION

331

1            Q.   Okay.  Well, let's take a look at Lake Gibson

2       Estates.  It appears that there were eight back-bills

3       already in 2011, correct?

4            A.   Subject to check.

5            Q.   Okay.  And you would agree that there are

6       approximately 190 customers in Lake Gibson Estates,

7       correct?

8            A.   Well, subject to check.

9            Q.   Okay.  And if you take the eight back-bills

10       that have already occurred and divide them by the 190

11       customers, you would have a 4.3 percent of the customers

12       in Lake Gibson Estates have received back-bills for the

13       first three months in 2011, correct?

14            A.   Subject to check.

15            Q.   Okay.  And you would agree that that

16       percentage could increase if the number of back-bills

17       continue in 2011, right?

18            A.   Can you repeat your question?

19            Q.   Absolutely.  Based on the first three months

20       of 2011, the back-billing percentage for Lake Gibson

21       Estates is already at 4.3 percent, correct?

22            A.   Correct, subject to check.

23            Q.   Okay.  And if there were additional back-bills

24       issued to the customers in Lake Gibson Estates in 2011,

25       you would agree that the percentage of back-bills would

FLORIDA PUBLIC SERVICE COMMISSION

332

1       only increase, correct?

2            A.   Well, unless I knew the root cause of what

3       caused the back-bills in Lake Gibson, or Lake Gibson

4       Estates, I really can't answer that.

5            Q.   Okay.  Well, mathematically would it not be

6       correct?

7            A.   Well, just like there was a one-time computer

8       glitch in Jasmine Lakes that caused a one-time

9       back-billing occurrence, right.

10            Q.   Well, holding all -- let's say, for sake of

11       argument, there are additional back-bills.  Just as a

12       matter of mathematics, if you add additional back-bills

13       in 2011, that would increase that percentage, correct?

14       You would be increasing the number of back-bills divided

15       by the same number of customers.

16            A.   Well, again, unless I know what the root cause

17       is, I'm not sure I can answer that question.

18            Q.   Okay.  Well, let's look at 2010.  There were

19       20 -- yes, there were 20 back-bills in 2010, correct,

20       for Lake Gibson Estates?

21            A.   Subject to check.

22                 MR. MAY:  Could you point out where you are

23       calculating that from, Counsel?

24                 MS. CHRISTENSEN:  Page 3 of the exhibit, and

25       it says, starting with Line 143 down through -- I'm

FLORIDA PUBLIC SERVICE COMMISSION

333

1       sorry.

2                 MR. MAY:  143 is 2009.  I think 2010 starts on

3       Line 155, doesn't it?

4                 MS. CHRISTENSEN:  Well, hold on.  Well, let's

5       do this -- we will just move on from there.

6       BY MS. CHRISTENSEN:

7            Q.   Let's try looking at Lake Suzy.  In 2010,

8       starting at 181 and flipping over to 199, there are 21

9       back-bills in 2010, correct, if my math is correct?

10            A.   I think I counted 20, but subject to check.

11            Q.   All right, 20.  And if you take that, and then

12       there are also five additional ones for the first three

13       months in 2011, correct?

14            A.   Correct, which actually shows a decrease, I

15       believe.

16                 MS. CHRISTENSEN:  Can you just give us a

17       moment, please?

18                 CHAIRMAN GRAHAM:  Sure.

19                 MS. CHRISTENSEN:  Thank you.

20                 (Pause.)

21                 CHAIRMAN GRAHAM:  How about let's move forward

22       to the Attorney General, and we'll come back to you.

23                 MS. CHRISTENSEN:  (Inaudible; microphone off.)

24                 CHAIRMAN GRAHAM:  Sure.

25                 MS. CHRISTENSEN:  Thank you for indulging me

FLORIDA PUBLIC SERVICE COMMISSION

334

1       for the moment.

2       BY MS. CHRISTENSEN:

3            Q.   Okay.  Looking at Silver Lakes Estates,

4       starting around Line 301, I think that is January 2010.

5       Do you see that?

6            A.   301, yes.  In 2010 you're looking at?

7            Q.   Correct.  For 2010 there were, subject to

8       check, 39 back-bills, correct?

9            A.   Subject to check.

10            Q.   Okay.  Yes, the 2010 ends on Line 339.

11            A.   It's 38.

12            Q.   Now, looking at the next one, it starts at

13       340, is that correct?

14            A.   It starts at 340 in 2011.

15            Q.   Correct, and then March 2011 ends at Line 374,

16       correct?

17            A.   That's correct.

18            Q.   And that appears, subject to check, to be 35

19       back-bills for the month -- for 2011, correct?

20            A.   That is correct.

21            Q.   So for 2011, based on this report, there is

22       almost as many back-bills in the first three months of

23       2011 than there were for all of 2010 for Silver Lakes

24       Estates, correct?

25            A.   That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

335

1            Q.   Okay.  Now, would you agree that when a

2       customer is billed there is a price signal sent to the

3       customer that is used to predict future consumption?

4            A.   Can you repeat the question?

5            Q.   Sure.  Would you agree that when a customer is

6       billed, there is a price signal sent to that customer

7       that is used to predict future consumption?

8                 Well, let me try this again.  Would you agree

9       that the customers' current consumption will influence

10       their future consumption?

11            A.   I guess it's a possibility that it may or may

12       not.

13            Q.   Well, the cost of the current water use will

14       influence how much water they use in the future,

15       correct?

16            A.   I really don't know the answer to that.

17            Q.   Well, would you agree that if customers do not

18       know -- let's assume for this question that a customer

19       doesn't know that they are being billed incorrectly.

20       Would you agree that if they don't know that they are

21       being billed incorrectly that may send the wrong price

22       signal to the consumer and they may have a higher

23       consumption level than if they had been billed

24       correctly?

25            A.   I really can't answer that question.  I don't

FLORIDA PUBLIC SERVICE COMMISSION

336

1       know what's in a customer's mind.

2            Q.   All right.  Well, let me turn you to Page 6 of

3       your Direct Testimony, Lines 12 through 18.  In there

4       you discuss seasonal customers, correct?

5            A.   That is correct.

6            Q.   Okay.  And are seasonal customers billed

7       monthly while they are out of state?

8            A.   It depends on how they wish to be billed.

9            Q.   Okay.

10            A.   Some customers will continue to be billed

11       while they are out of state, other customers do not wish

12       to be billed while they are out of state, so when they

13       return back to the state we will issue them a long bill

14       for the period of time that they were not residing in

15       the state, unless they have left the state for 12 months

16       or more.

17            Q.   Okay.  So you would agree that AUF allows

18       customers not to pay the base facility charge during the

19       time that they are out of town, correct?

20            A.   If they wish to not be billed, yes, that is

21       correct.  But when they return, then we issue them a

22       long bill for that period of time and we issue them a

23       base facility charge.

24            Q.   Okay.  And just so that I'm clear, you offer

25       the customers the choice of suspending the billing, and

FLORIDA PUBLIC SERVICE COMMISSION

337

1       then when they come back they would have to pay all of

2       that missed base facility charge, that long bill?

3            A.   That is correct.  We would issue a long bill,

4       and we would offer the customer payment arrangements.

5            Q.   Okay.  Now, if there were any leaks or some

6       other unexplained usage during the time that they were

7       out, they would also have to pay the usage charge on

8       that consumption when they came back on that long bill,

9       correct?

10            A.   That is correct.

11            Q.   Would you agree that this practice of allowing

12       these long bills can create a problem for some customers

13       to pay that large amount of bill when they come back?

14                 MR. MAY:  I'm going to object to the

15       characterization of her testimony.  She never said this

16       was a practice.  She said it was an option provided to

17       the customers.  The customers could either have their

18       bill suspended, or during the course of the time when

19       they were out of the state they could be billed on a

20       monthly basis for base facility charges.  She did not

21       say it's a practice.

22                 MS. CHRISTENSEN:  Well, I'm not sure,

23       otherwise, how we would characterize it, since the

24       company allows the customer the option.  But let me

25       rephrase the question, if I can.

FLORIDA PUBLIC SERVICE COMMISSION

338

1                 CHAIRMAN GRAHAM:  Please.

2       BY MS. CHRISTENSEN:

3            Q.   Has Aqua considered the fact that these large

4       bills can create a problem for customers to pay all at

5       once when they come back?

6            A.   It's the customer's wish to be billed in this

7       fashion.  It's not Aqua's wish.  Aqua's wish, and what

8       we would prefer, is that we continue the billing of the

9       base facility charge all year-round.  It's the

10       customer's wish, so we offer payment arrangements.

11            Q.   All right.  Well, let me change topics and

12       turn your attention to Page 5 of your Direct Testimony,

13       Lines 15 through 17.  And in there you say you have a

14       call center dedicated to AUF-related calls?

15            A.   That is correct.

16            Q.   Okay.  Where is that call center located?

17            A.   That is located in Cary, North Carolina.

18            Q.   And in your testimony you say this is a

19       dedicated center.  You would agree, though, that the

20       call center in North Carolina is not used for just AUF

21       Florida customers, correct?

22            A.   That is correct.

23            Q.   Okay.  How many other states does that call

24       center serve?

25            A.   I believe four.

FLORIDA PUBLIC SERVICE COMMISSION

339

1            Q.   Okay.  And on the same Page 5, starting at

2       Line 3 and then going over through Page 6 -- I'm sorry,

3       that's rebuttal, so we will have to skip those.

4                 Let me turn your attention back to Exhibit

5       SC-3, Page 43 of 181.  Or 183, I'm sorry.

6                 CHAIRMAN GRAHAM:  Which exhibit?

7                 MS. CHRISTENSEN:  SC-3, Page 43 of 183.

8                 THE WITNESS:  Okay, I'm there.

9       BY MS. CHRISTENSEN:

10            Q.   Okay.  The sixth line of this chart is a

11       metrics entitled calls answered in greater than 90

12       seconds, is that correct?

13            A.   That is correct.

14            Q.   Okay.  So when a customer calls the 800

15       number, they enter into an automated system, correct?

16                 MR. MAY:  I'm sorry, that metric does not

17       saying calls greater than 90 seconds.  It says calls

18       answered in less than 90 seconds.

19                 MS. CHRISTENSEN:  I stand corrected.

20       BY MS. CHRISTENSEN:

21            Q.   So let me -- with that correction, that it's a

22       metrics titled calls answered in less than 90 seconds,

23       when the customer calls the 800 number, they enter an

24       automated system, correct?

25            A.   That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

340

1            Q.   How many choices does a customer have before

2       they choose to -- before they can choose to talk with a

3       customer service representative?

4            A.   I don't know off the top of my head.

5            Q.   Would it be correct to say that the 90 second

6       measure in the metrics is only -- it only begins after

7       the customer makes the selection to talk with a customer

8       service representative?

9            A.   That is correct.

10            Q.   Okay.  I think you also testified in your

11       deposition that you have done research when developing

12       your customer service metric, correct?

13            A.   That is correct.

14            Q.   And in your deposition, I think you testified

15       that that decision of what to provide as far as customer

16       service was, in part, based on your decision as to what

17       the customers were willing to pay?

18            A.   Well, I thought I said in my deposition that

19       we did a survey, and based on the results of the survey

20       we staffed our call center accordingly.

21            Q.   Okay.  And in part that was based on what the

22       customers responded to as being willing to pay, based on

23       that customer survey, correct?

24            A.   Well, I believe the survey showed, and I think

25       it is in my late exhibit, 81 percent of the customers

FLORIDA PUBLIC SERVICE COMMISSION

341

1       surveyed said that they we were meeting their

2       expectations or exceeding their expectations on speed of

3       answer, of answering the phone.

4            Q.   Was that just Florida customers, or was that a

5       nationwide survey?

6            A.   No, it was actually a survey conducted at the

7       time for all our customers.  I believe it was prior to

8       the Florida conversion.  It was in 2005 and 2006, so it

9       was actually to gear us to the Florida conversion, the

10       Meritage.

11            Q.   So was that prior to the Florida systems being

12       added to your customer service?

13            A.   Yes.  That was in expectation of the Florida.

14            Q.   Did you add additional staff to cover the

15       additional Florida systems?

16            A.   Yes, we did.

17            Q.   All right.  Let me direct your attention to

18       Page 14 of SC-3.

19            A.   Okay, I'm there.

20            Q.   Okay.  In the first full paragraph you state

21       that any calls related to water quality complaints,

22       boiled-water notices, or an emergency repair is

23       immediately addressed by a customer service technician

24       through the issuance of a service order, is that

25       correct?

FLORIDA PUBLIC SERVICE COMMISSION

342

1            A.   I'm not sure.  Am I on the right page, Page

2       14?  Oh, I'm sorry.

3                 CHAIRMAN GRAHAM:  Bottom of Page 10.

4                 THE WITNESS:  Okay.  Can you repeat it?

5       BY MS. CHRISTENSEN:

6            Q.   Certainly.  In the first full paragraph you

7       state that any calls related to water quality complaint,

8       boiled-water notice, or an emergency repair is

9       immediately addressed by a customer service technician

10       through the issuance of a service order, is that

11       correct?

12            A.   That is correct.

13            Q.   Okay.  Now, in your deposition you testified

14       that you don't create a service order for a call on a

15       boiled-water notice, that you only provide information,

16       correct?

17            A.   That is correct.

18            Q.   Okay.  Now, on Page 17 of your Direct

19       Testimony, Lines 16 through 20, you quote the

20       Commission's staff finding that the audit performance

21       was adequate, correct?

22            A.   Page 17?

23            Q.   Yes.  On Page 17 you quote the Commission

24       staff as finding that AUF performance is adequate,

25       correct?

FLORIDA PUBLIC SERVICE COMMISSION

343

1            A.   That is correct.

2            Q.   You would agree that that order was not found

3       in the language of the order that was issued, correct?

4            A.   No, I do not believe that is correct.

5            Q.   Do you know where in the order we could find

6       the language that the performance was adequate?

7                 MR. MAY:  Mr. Chairman, I think the quotation

8       from the testimony, she is citing the staff

9       recommendation, not the order.

10                 MS. CHRISTENSEN:  Well, and we asked her

11       whether or not that language was found in the order, and

12       she -- we asked her to confirm that that language was

13       not included in the order.  She disagreed, and I'm

14       asking her to point out where that language actually

15       occurred in the order.

16       BY MS. CHRISTENSEN:

17            Q.   Do you know?

18            A.   No.

19            Q.   Okay.  All right.  Let me move on to Line 24

20       of the same page.  You quote the order as saying the

21       preliminary results shows substantial improvement.

22            A.   I'm sorry, what page is that?

23            Q.   On Page 17, Line 24, of your Direct Testimony.

24       Quoting from the final order, you state the preliminary

25       results show substantial improvement in AUF customer

FLORIDA PUBLIC SERVICE COMMISSION

344

1       service.

2            A.   That is correct.

3            Q.   Okay.  Do you have a copy of that order in

4       front of you?  Okay.  And I think we provided this as

5       part of the handouts that we had.  We have not marked it

6       for identification since it's an order, and I guess I

7       would refer you to Page 12 of that order.  It is Order

8       10-0218-PAA-WS.

9            A.   Page 10?

10            Q.   Page 12.

11            A.   Oh.

12            Q.   Could you read the last paragraph of that

13       sentence starting with based on?

14            A.   Based on all the above, we find that while

15       preliminary monitoring results show substantial

16       improvements in AUF's performance, additional monitoring

17       is required to ultimately render a decision as to the

18       adequacy of AUF's quality of service.  However, the

19       utility states that the six-month monitoring plan that

20       we have implemented in the final order has cost

21       approximately $100,000 and many hours of both utility

22       staff and the Commission staff time.

23            Q.   I think we read the sentence that we needed

24       to.  Thank you.

25                 Okay.  Let me turn your attention to Page 18

FLORIDA PUBLIC SERVICE COMMISSION

345

1       of your Direct Testimony.  Ms. Chambers, I'm sorry, Page

2       18 of your Direct Testimony.

3            A.   Yes.

4            Q.   Lines 3 through 8.

5            A.   Yes.

6            Q.   Okay.  Again, you quote the staff regarding

7       AUF's performance measures.  Would you agree that none

8       of this language appears in the Commission order?

9            A.   Yes, it's the staff's recommendation.

10            Q.   Okay.  Also on Page 18 at Lines 14 through 20,

11       you discuss the demeanor of customer service

12       representatives.  Now, is it correct that in your

13       deposition you discussed an evaluation process you used

14       to evaluate the soft skills for the CSRs, correct?

15            A.   That is correct.

16            Q.   Okay.  I think we have passed out as part of

17       the packet Late-filed Deposition Exhibit 3.  We can

18       either identify it for the record, or it was also part

19       of Staff's Composite Exhibit on late-filed exhibits for

20       Ms. Chambers.  And if you want, we can just refer to

21       this, and then enter it into the record in Staff's

22       Composite Exhibit.

23                 CHAIRMAN GRAHAM:  Okay.

24                 MS. CHRISTENSEN:  So I'm not sure if we need

25       to identify it with a number, or just use it for

FLORIDA PUBLIC SERVICE COMMISSION

346

1       reference in here, and it will be entered as part of the

2       Composite Exhibit from staff.

3                 CHAIRMAN GRAHAM:  Staff, which would you

4       prefer?

5                 MR. JAEGER:  Commissioner, staff is going

6       introduce all the late-filed exhibits for Ms. Chambers,

7       and I think what Ms. Christensen is saying is we are

8       going to do all 14 of them in one composite exhibit

9       Instead of having hers being 1 and 4, just refer to it

10       now, but then when we move all of our exhibits at once,

11       have just that one exhibit number.  And so we could go

12       ahead and identify our exhibit number, if she wants, to

13       make it 302, and it would be Deposition Exhibits 1

14       through 14 for Ms. Chambers, if you wanted to make that

15       simpler.

16                 CHAIRMAN GRAHAM:  That works.

17                 MR. JAEGER:  Then she can use these as she

18       needs.  But 302, then, will be Staff's Late-filed

19       Exhibits 1 through 14 for Ms. Chambers.

20                 MS. CHRISTENSEN:  Thank you.

21                 (Exhibit Number 302 marked for

22       identification.)

23       BY MS. CHRISTENSEN:

24            Q.   All right.  Let me refer you to your

25       Late-filed Exhibit Number 3 that was just marked for

FLORIDA PUBLIC SERVICE COMMISSION

347

1       identification as part of Exhibit 302.

2            A.   I have it.

3            Q.   Okay.  And this shows the items that are

4       scored as part of your evaluation of your CSRs, correct?

5            A.   They are called evaluations, yes.

6            Q.   Okay.  Can you identify on this evaluation how

7       many items are scored?

8            A.   There are 12 items scored.

9            Q.   Okay.  Are all these given equal weight?

10            A.   No, they're not.

11            Q.   Okay.  Can you identify how these items are

12       weighted?

13            A.   Yes, I can.  1A is worth 10 points, 1B is

14       worth five points, 1C is worth five points, 1D is worth

15       15 points, 1E is worth 5 points, for a total of 40 in

16       the first section.

17            Q.   Okay.

18            A.   2A is worth five points, 2B is worth five

19       points, C is worth 10.  C through G are all worth 10 for

20       a total of 60.

21            Q.   Okay.  Now, are those points indicated on the

22       evaluation form itself, or do you just answer yes or no?

23       Because the evaluation form that was provided in

24       response as a late-filed deposition exhibit only

25       indicates yes or no.  Does the form that's used for

FLORIDA PUBLIC SERVICE COMMISSION

348

1       evaluations actually have the points indicated on it?

2            A.   It's automatically calculated on it.  No, it

3       is not displayed on the form.  It's used in the grading.

4            Q.   Okay.  Let me ask you this.  The first five

5       criteria are soft skills, correct?

6            A.   That is correct.

7            Q.   And the second set of seven skills you would

8       agree are analytical?

9            A.   Yes.

10            Q.   And would you characterize the first set of

11       five skills as presenting a friendly demeanor to

12       customers?

13            A.   I would characterize D and E as those items.

14            Q.   Okay.  So, basically, half the points on the

15       first --

16            A.   Twenty of the 40 points are the demeanor.

17            Q.   Okay.  So the majority of the criteria or the

18       points are awarded for following company procedures,

19       correct?

20            A.   That's correct.

21            Q.   Okay.  And would it be correct to say that in

22       your deposition you identified a score of 85 as a

23       requirement before coaching is required?

24            A.   Correct.  So if the demeanor of the call is

25       worth 20 points, they would automatically -- if they

FLORIDA PUBLIC SERVICE COMMISSION

349

1       were rude, they would automatically lose 20 points and

2       be scored an 80.

3            Q.   Well, let me ask you this.  I know you have

4       said that it has certain point values.  Is it an

5       all-or-nothing score, meaning that either you meet the

6       criteria or you don't?

7            A.   Yes.

8            Q.   Okay.  And you indicated that if you don't

9       meet the 85 percent, that you would be coached, correct?

10            A.   Correct.

11            Q.   In your deposition you were asked how many

12       times a CSR could provide rude customer service before

13       termination, and I think you indicated that they would

14       be coached, is that correct?

15            A.   They would be coached.  If they continued --

16       if their quality scores did not continue to improve,

17       eventually they could be terminated.

18            Q.   Do you know how long it would take before they

19       would be terminated?

20            A.   They would have to have -- I believe it's

21       three straight months of below quality scores.

22            Q.   All right.  Let me take you to Page 9 of your

23       testimony, 21 through 24.  And in there you discuss bill

24       alerts used for high consumption, correct?

25            A.   That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

350

1            Q.   And you mentioned that you provide a message

2       that prompts a customer to investigate for potential

3       leaks and to visit Aqua's website, correct?

4            A.   That is correct.  We have a high bill alert

5       message that we print on any bill where the consumption

6       is two and a half times higher than the customer's

7       normal consumption, and we direct them to our website

8       where we post leak detection information as well as

9       water conservation information.

10            Q.   Do you have any statistics on how many of your

11       customers are likely to use the Internet?

12            A.   We don't have statistics on how many of our

13       customers are likely to use the Internet, but we could

14       pull statistics on how many times a customer or anyone

15       went to that particular page of our website.

16            Q.   Okay.  In your deposition you asked -- or I

17       asked you questions on your leak detection and pool

18       credit policy, and is it correct that you testified the

19       customers are made aware of these policies only when

20       they talk with the call center, correct?

21            A.   That is correct.

22            Q.   And it is also correct that you testified in

23       your deposition that these policies are not provided to

24       customers through any sort of bill inserts?

25            A.   I'm not aware that they are provided to the

FLORIDA PUBLIC SERVICE COMMISSION

351

1       customers through bill inserts.

2            Q.   And is it also true that you testified that

3       these policies are not provided on your website, either?

4            A.   No, they are not provided on our website, leak

5       adjustments or pool credits.

6            Q.   Let me refer you back to Page 6, Lines 7 and 8

7       of your testimony.  You discuss your refinement of

8       customer on-site meter and bench testing procedures.

9       Isn't it true that you testified in your deposition that

10       a part of this was buying your own meter reading

11       equipment so that you can perform these procedures in

12       front of customers, correct?

13            A.   Yes.  In the field we could do the meter

14       testing instead of pulling the meter out and having it

15       tested off-site.  That was one of the improvements that

16       we made.

17            Q.   And you would agree that you stated at the

18       deposition that not each field technician has this

19       equipment?

20            A.   No, not each field technician has the

21       equipment, but we have four units, one for each region.

22            Q.   Okay.  Can you define what the region is?

23            A.   Our operating regions.  We have one in the

24       north, one in central, so we have a testing unit for

25       each of our operational regions.

FLORIDA PUBLIC SERVICE COMMISSION

352

1            Q.   Okay.  Well, let me ask you about Sunny Hills.

2       If you know, do you know how Sunny Hills would have that

3       equipment made available to them?

4            A.   Well, their FSR within Sunny Hills would make

5       arrangements to pick up the unit.

6            Q.   From where?

7            A.   Well, all of the FSRs within a particular

8       region share the equipment.  So before they go out to

9       the property, they would make arrangements to pick up

10       the meter testing unit.

11            Q.   Where would the meter testing unit be located

12       for them to pick it up from, if you know?

13            A.   I do not know.

14            Q.   Okay.  And Greenacres service area, do you

15       know who would provide that equipment for the Greenacres

16       service area?

17            A.   I do not know.  The units are shared within

18       the FSR technicians.

19                 MS. CHRISTENSEN:  I have no further questions.

20                 CHAIRMAN GRAHAM:  Ms. Bradley.

21                 MS. BRADLEY:  Thank you.

22                          CROSS EXAMINATION

23       BY MS. BRADLEY:

24            Q.   Ms. Chambers, is your customer service set up

25       so that certain operators routinely take calls from

FLORIDA PUBLIC SERVICE COMMISSION

353

1       certain areas, or how is that set up?

2            A.   Well, the calls come into our main customer

3       service line in Bryn Mawr.  There's 116 dedicated lines.

4       And based on the 16-digit account number, the call would

5       be routed to the appropriate center.  We have three

6       customer service centers.  So for the Florida calls, the

7       calls would automatically be routed to the Cary call

8       center.  If a CSR is not available in the Cary call

9       center to answer that phone, then it would go into the

10       queue for it to be answered in one of the other call

11       centers.  So the majority of the calls would be answered

12       in Cary, but not all of the calls.

13            Q.   The reason I'm asking, did you go to the

14       service hearings?

15            A.   I did not go to the service hearings.

16            Q.   Have you had a chance to review them?

17            A.   I have, yes.

18            Q.   The reason I was asking about that is it seems

19       like there were more complaints in some areas about

20       customer service than in others.  And since the service

21       hearings, have you been able to isolate if it's a person

22       just happens to get those calls from that area, or what

23       the problem is with that?

24            A.   No, I have not.  But the majority of the

25       Florida calls are answered by the Cary call center.

FLORIDA PUBLIC SERVICE COMMISSION

354

1            Q.   Since the customer service hearings, have you

2       had a chance to look into why certain areas had the most

3       complaints about customer service?

4            A.   No, I did not.

5            Q.   Okay.  I noticed, particularly in one area, we

6       heard the expression that they testified that they were

7       told they could go on a payment plan, but if they were a

8       penny short, or a day late, or language kind of similar

9       to that, you kept hearing the day late and a penny

10       short, or terms several times during that hearing.  Is

11       that something that you would have put on a script or

12       someone would have put on a script for them?

13            A.   No, it's not.  And when somebody defaults on a

14       payment arrangement, it still goes through the normal

15       delinquency process.

16            Q.   And that doesn't go through the regular call

17       center?

18            A.   No.  I'm sorry, I mean the customer being shut

19       off.  If you default on a payment plan, we don't

20       immediately shut you off.  You still go through the

21       delinquency process, meaning that we would have to send

22       you a shut-off notice call, because our delinquency

23       process is that we send you a shut-off notice, we follow

24       up with a phone call before we actually create a service

25       order to go out and shut off the customer.  We shut off

FLORIDA PUBLIC SERVICE COMMISSION

355

1       the customer as a last resort.

2            Q.   Have you had a chance since the service

3       hearings to look into who might have been telling people

4       that they were going to be cut off if they were a penny

5       short and a day late?

6            A.   I can't imagine.  I mean, that's not our

7       policy.

8            Q.   But you saw in the testimony hearings where

9       several people said that, didn't you?

10            A.   I did see it, yes.

11            Q.   But you haven't looked in to see who it might

12       have been?

13            A.   No.

14            Q.   Do you have a way to go back and listen to

15       service calls?  How long are those kept?

16            A.   Yes, we keep them up to six months.

17            Q.   Could you isolate from the testimony when this

18       might have occurred and try to go back and see who might

19       have told customers that?

20            A.   I did review -- monitor some of the calls from

21       the hearings, but I did not hear that verbiage in any of

22       the calls that I monitored.  I did go back and listen to

23       some of the calls.

24            Q.   Did you see in the testimony where several

25       people complained that they felt the customer service

FLORIDA PUBLIC SERVICE COMMISSION

356

1       people had been very rude with them?

2            A.   (Indicating affirmatively.)

3            Q.   Is that something that since the hearing you

4       have taken any action about to try to --

5            A.   Well, actually, when we review our monitoring

6       quality scores, our quality scores actually show an

7       overall quality for all CSRs on average to be scoring a

8       91.  And our number one or highest score is actually

9       empathy with the customer.  So if you listen to our

10       calls, they are not -- the CSRs are not rude.

11            Q.   Have you listened to customer language or the

12       way they were talking to customers to see why the

13       customers might have felt they were being rude?

14            A.   Well, again, our highest score, 98 percent of

15       the calls that we monitored, that we evaluated shows

16       that the CSRs were very empathetic to the customers.

17            Q.   I understand.  You said that the first time I

18       asked, but what I'm trying to get at is have you gone

19       back and listened to those calls to see what they are

20       saying that the customer would have felt or perceived

21       they were being rude about?

22                 MR. MAY:  I'm going to object.  I think she

23       said she went back and listened to some of the calls to

24       verify whether the CSRs were rude.

25                 MS. BRADLEY:  And I asked if she had gone back

FLORIDA PUBLIC SERVICE COMMISSION

357

1       to see what that customer service agent would have said

2       that that many customers would have said they felt that

3       the customer service agent was being rude to them.

4                 CHAIRMAN GRAHAM:  I think it was asked and

5       answered.  She didn't listen to all the calls, but the

6       ones she did listen to she didn't get that indication.

7                 If I may, I have a quick question.  When these

8       calls come in, do they have to enter their billing

9       number or their account number.

10                 THE WITNESS:  Yes.

11                 CHAIRMAN GRAHAM:  Can you sort the calls that

12       are recorded based on that account number?

13                 THE WITNESS:  We can pull the calls by the

14       actual date that they came in, so we can go to an

15       account, see exactly -- actually, the date the customer

16       called in.  And then, yes, your answer is -- I'm sorry,

17       yes, you can sort it by account number.

18                 CHAIRMAN GRAHAM:  So the people that came and

19       testified before us specifically, and you know the

20       person's name because they were sworn in, and you know

21       what their account number is, you could go back and pull

22       the specific calls?

23                 THE WITNESS:  Yes, we could, as long as it was

24       within the six-month period.

25                 CHAIRMAN GRAHAM:  And have you done that

FLORIDA PUBLIC SERVICE COMMISSION

358

1       specifically?

2                 THE WITNESS:  We did -- we have pulled some

3       calls, and I have reviewed some calls of people that

4       came to the hearings, yes.

5                 CHAIRMAN GRAHAM:  And you have not heard the

6       testimony as it came across as far as some of the things

7       that were said to them?

8                 THE WITNESS:  As being rude, no.

9       BY MS. BRADLEY:

10            Q.   What would you consider being rude?

11            A.   What would I consider as being rude.  Raising

12       your voice, talking down to the customer, not being

13       sympathetic.

14            Q.   Did you see in the testimony that a few people

15       testified that they were very frustrated because they

16       got hung up on when they were trying to talk to people?

17            A.   Yes, I saw that in the testimony.

18            Q.   Have you looked into that?

19            A.   We can detect if our CSRs hang up on a

20       customer.

21            Q.   And did you find any of that in the ones you

22       went back and listened to?

23            A.   I did not find that.

24            Q.   Okay.  Do you have any idea of what kind of

25       sampling you did on that?

FLORIDA PUBLIC SERVICE COMMISSION

359

1            A.   On the -- I listened to, I think, I want to

2       say about 20 calls.

3            Q.   And what areas were those from?

4            A.   A large portion of them were from Arredondo

5       Farms.

6            Q.   And did you listen to Greenacres or Lakeland?

7            A.   I'm not sure.

8            Q.   Did you keep any records of what you listened

9       to?

10            A.   Yes, I did.

11            Q.   So are you coming back to testify later?

12            A.   I am.

13            Q.   If I asked you that, could you tell me at that

14       time?

15            A.   I will.

16            Q.   All right.  I appreciate it.

17                 MS. BRADLEY:  I don't have any further

18       questions.

19                 CHAIRMAN GRAHAM:  Thank you.

20                 YES.

21                          CROSS EXAMINATION

22       BY MR. McBRIDE:

23            Q.   Good evening.

24                 You testified that you have live in the state

25       of Pennsylvania?

FLORIDA PUBLIC SERVICE COMMISSION

360

1            A.   I do.

2            Q.   And you work in the state of Pennsylvania?

3            A.   I do.

4            Q.   So you are not a customer of Aqua Utilities

5       Florida?

6            A.   I'm not a customer of Aqua Utilities Florida,

7       but I am a customer of Aqua Pennsylvania.

8            Q.   Have you ever visited Arredondo Farms?

9            A.   I have not.

10            Q.   Have you ever spoken with customers at

11       Arredondo Farms other than YES Communities?

12            A.   I have not spoken to customers of Arredondo

13       Farms other than YES Communities, but I am on the YES

14       Communities Task Force.

15            Q.   You testified that you did not attend any of

16       the customer service hearings, including the Gainesville

17       customer service hearing, is that correct?

18            A.   That is correct, but I have read the hearings,

19       the transcript of the hearings.

20            Q.   And why did you not attend?

21            A.   I did not attend because the AUF management

22       staff attended those hearings.

23            Q.   You just stated that you did read the

24       transcripts of the hearings, including the Gainesville

25       hearing, I presume?

FLORIDA PUBLIC SERVICE COMMISSION

361

1            A.   Yes.

2            Q.   How would you describe those customers'

3       testimony from the Gainesville hearing?

4            A.   I would say that they were upset.

5            Q.   Do you agree that customers of AUF residing at

6       Arredondo Farms are in a good position to evaluate the

7       quality of service provided by AUF?

8            A.   Can you repeat the question?

9            Q.   Yes.  Do you believe that customers of AUF are

10       in a good position to evaluate the quality of service

11       provided by AUF?

12            A.   Are they in a good position?

13            Q.   Yes.

14            A.   Well, I think that Arredondo Farms has a

15       uniqueness to it which makes it very difficult on AUF.

16       It's an area that has a high volume of move-in and

17       move-outs, and it takes us a long time to actually find

18       out and figure out sometimes who the customer is of

19       record.

20            Q.   Actually, if I can interrupt you.

21            A.   Okay.

22            Q.   Pursuant to the prehearing order, I would just

23       ask for a yes or no answer to the yes or no question

24       before you provide an explanation.

25            A.   Okay.

FLORIDA PUBLIC SERVICE COMMISSION

362

1            Q.   So is it yes or no?

2            A.   Can you --

3            Q.   I'd be happy to.

4                 Customers of AUF residing at Arredondo Farms

5       are in a good position to evaluate the quality of

6       service provided by AUF to Arredondo Farms?

7            A.   I don't understand what it means to be in a

8       good position.  I don't know how I can answer that

9       question yes or no, if I can't clarify.

10            Q.   I'll move on.

11            A.   Okay.

12            Q.   I want to ask you about the task force that

13       you mentioned.  When was that task force formed?

14            A.   Well, I believe the first meeting was in

15       August.

16            Q.   That was after YES Communities intervened in

17       this case?

18            A.   I'm not sure when they intervened in the case.

19            Q.   Okay.  Is it Aqua's position that the

20       testimony taken at the Gainesville hearing was

21       insincere?

22            A.   Was insincere?

23            Q.   Yes.

24            A.   No.

25            Q.   Are you aware that a deposition was taken in

FLORIDA PUBLIC SERVICE COMMISSION

363

1       this action of an AUF employee, Steven Grisham, who

2       works as a technician at Arredondo Farms?

3            A.   I know that there was a deposition, yes.

4            Q.   Are you aware that in that deposition

5       Mr. Grisham testified that in speaking to his boss,

6       Mr. Paul Thompson, that Mr. Thompson stated to Mr.

7       Grisham that he believed that customer testimony was

8       rehearsed?  Do you agree with Mr. Thompson?

9                 MR. MAY:  I think she first needs to be asked

10       whether she is aware that that was said.

11                 MR. McBRIDE:  I have a copy of the transcript

12       I'd be happy to provide to her.

13                 MR. MAY:  Well, I think you're assuming that

14       she has read the transcript.  Maybe you should ask her.

15                 MR. CURTIN:  If I can approach the witness?

16                 CHAIRMAN GRAHAM:  Please.

17                 MR. McBRIDE:  Here you go, ma'am.

18                 THE WITNESS:  Thank you.

19       BY MR. McBRIDE:

20            Q.   Have you read the transcript, Ms. Chambers?

21            A.   No, I have not read this transcript.

22            Q.   If you would kindly turn to Page 88 starting

23       on Line 16.  And I read from the transcript beginning on

24       Line 16.

25                 "Question:  That they were being insincere in

FLORIDA PUBLIC SERVICE COMMISSION

364

1       any way?

2                 "Answer:  They may have said it sounded

3       rehearsed."

4                 Question on Line 18, "Who told you that?"

5                 And then it actually continues onto Page 89

6       beginning on Line 16.  "What is his name?"

7                 Answer, Line 17, "Paul Thompson."

8                 Do you agree with Mr. Thompson's testimony --

9       or, excuse me, Mr. Grisham's testimony about what Mr.

10       Thompson has stated to him that the testimony at the

11       Gainesville hearing was rehearsed?

12            A.   Well, I wasn't at the Gainesville hearing, so

13       I don't know how I could give that input.

14            Q.   You read the transcripts?

15            A.   Yes, I did.

16            Q.   From your reading of the transcript, is it

17       rehearsed?  Does it appear to you to be rehearsed?

18            A.   I don't know if I can answer that question,

19       based on reading of a transcript.

20            Q.   If the answer is no, that's okay.

21                 CHAIRMAN GRAHAM:  I think the answer is no.

22                 THE WITNESS:  I guess that's no.

23                 MR. McBRIDE:  I will move on.  Thank you.

24       BY MR. McBRIDE:

25            Q.   Beginning on Page 4 of your Direct Testimony,

FLORIDA PUBLIC SERVICE COMMISSION

365

1       Lines 29 (sic) through 23, you state that AUF has a

2       strong commitment to customer service.  You go on to

3       state AUF continues to listen attentively to the

4       concerns of its customers.  You do not believe that AUF

5       customer service representatives are rude?

6            A.   No, I don't.  Based on the quality scores and

7       the monitoring of calls that I have done, I do not.

8            Q.   Do you disagree, then, with the testimony of

9       Aqua customer Michael Burke who resides at Lot 131 in

10       Arredondo Farms who testified at the Gainesville

11       hearing, "I have never, ever in my life encountered

12       people as rude as AquaSource has working for them, and

13       the only thing I can surmise from that is that they are

14       doing it just to make you mad enough to get off the

15       phone and they don't have to deal with your problem."  I

16       would be happy to provide a transcript of the

17       Gainesville hearing.

18            A.   No, I read the Gainesville hearing transcript,

19       but I didn't listen to that call, so --

20            Q.   Was he being insincere in that testimony?

21            A.   I don't know.  I couldn't tell you that unless

22       I listened to his call, then I could tell you yes or no

23       whether the CSR was rude or not.  All I can testify is

24       to the calls that I personally listened to.

25            Q.   Why didn't you listen to his call?

FLORIDA PUBLIC SERVICE COMMISSION

366

1            A.   Why didn't I?

2            Q.   Yes.

3            A.   I don't know.

4            Q.   You didn't file rebuttal testimony as to Mr.

5       Burke, did you?

6            A.   No.

7            Q.   Do you have any reason to believe the quality

8       of service provided by -- excuse me, the quality of

9       customer service, specifically customer service

10       representatives is worse than what is provided by other

11       major businesses?

12            A.   Can you repeat the question?

13            Q.   Yes.  Do you have any reason to believe that

14       the quality of customer service, and specifically the

15       quality of service provided by customer service

16       representatives is worse than other major businesses,

17       say, businesses in the computer industry or businesses

18       in the cable industry?

19            A.   No, I do not.

20            Q.   Do you disagree, then, with the testimony of

21       Aqua customer Mitchell Young residing at Lot 2417 at

22       Arredondo Farms who also testified at the Gainesville

23       hearing saying, "I have worked customer service for both

24       DirectTV and Dell Computers, and if I talked to the

25       customers the way we get talked to when we call in, I

FLORIDA PUBLIC SERVICE COMMISSION

367

1       would have been fired on the spot."  You must disagree

2       with his testimony, then?

3            A.   Yes.

4            Q.   But you didn't file rebuttal testimony as to

5       Mr. Young?

6            A.   I'm sorry, can you repeat that?

7            Q.   Did you or did you not file rebuttal testimony

8       as to Mr. Young?

9                 MR. JAEGER:  Chairman, if he's going into

10       rebuttal or supplemental -- actually, I think that's

11       supplemental rebuttal, we're not there yet.  I'm not

12       sure.

13                 MR. McBRIDE:  Yes.  It's not my intention to

14       go into either rebuttal or supplemental, so subject to

15       check you did not, but I can move on.

16       BY MR. McBRIDE:

17            Q.   How does AUF view the customers residing at

18       Arredondo Farms?

19            A.   We believe that there is a uniqueness to the

20       customers in Arredondo Farms, because of the large or

21       the high volume of turnover.  And it is difficult for

22       the utility to find out who the customer of record is.

23       And due to that high turnover, it's very difficult for

24       us to avoid issuing long bills.  So if a customer moves

25       out of the property and doesn't alert us, and a new

FLORIDA PUBLIC SERVICE COMMISSION

368

1       customer moves in and doesn't alert us, then that first

2       bill is going to be a long bill.

3            Q.   Let me ask it --

4            A.   And then it will make it more difficult for

5       the customer to pay that long bill.  And it was through

6       the task force that we were able to adjust that --

7            Q.   If I can cut you off, please, and just proceed

8       with my next question.  Thank you.

9                 CHAIRMAN GRAHAM:  The way the rules are you

10       can answer yes or no and then give a brief explanation.

11       It's well within his right if you start editorializing

12       to cut it off.

13                 THE WITNESS:  Okay.

14       BY MR. McBRIDE:

15            Q.   Do you agree or disagree with the testimony of

16       your employee, Steve Grisham, when he stated that

17       Arredondo is full of crackheads and drug people?  And

18       that is on Page 19 of the deposition transcript.

19            A.   I disagree.

20            Q.   Is it appropriate for an AUF employee to be

21       using those sorts of the terms to refer to AUF

22       customers?

23            A.   No, it is not appropriate.

24            Q.   Is this the sort of attitude that AUF would

25       want its employees to exhibit towards its customers?

FLORIDA PUBLIC SERVICE COMMISSION

369

1            A.   No, it is not.

2            Q.   If I could direct you to Page 8 to 9 of your

3       Direct Testimony, please.  This testimony beginning on

4       Line 17 of Page 8 and continuing to Line 11 of Page 9

5       refers to Aqua's water termination policies.  And you

6       testified, if I can summarize, that they are more

7       consumer friendly than what the rules require.

8            A.   Yes, they are.

9            Q.   Okay.  In your deposition I asked you whether

10       this was consistent with a written policy of AUF, and

11       you answered yes, is that correct?

12            A.   Yes.

13            Q.   And you provided a late-filed exhibit, Exhibit

14       14, which was titled, "Florida Delinquency Process

15       Summary," this was actually handed out by staff.  It's

16       the last page on Exhibit 302, which is now in evidence.

17       Do you have a copy of that in front of you?

18            A.   Yes, I do.

19            Q.   Ms. Chambers, where did this document come

20       from?

21            A.   Where did this document come from?  It is

22       the -- it came from our collections department.

23            Q.   This document was e-mailed to me on Wednesday

24       afternoon as a Word document.

25            A.   Uh-huh.

FLORIDA PUBLIC SERVICE COMMISSION

370

1            Q.   Did you draft the Word document?

2            A.   No, I did not.  That document was drafted from

3       our delinquency rules right out of our CIS system.

4            Q.   I checked the properties on the document in

5       Microsoft Word, and it stated it had been created that

6       afternoon.  Is that your understanding, as well, that it

7       was created the day it was sent?

8            A.   Well, I wanted to give you the rules right out

9       of the CIS system, and they actually -- somebody

10       actually felt it was better to give you a Word document

11       than the actual screen print right out of the CIS

12       system.  So, yes, it is a Word document, but it is

13       clearly the delinquency rules.

14                 MR. MAY:  We will be glad to provide a screen

15       print, Mr. McBride, if you would like one.

16                 MR. McBRIDE:  I would.  Thank you.

17       BY MR. McBRIDE:

18            Q.   But this originates from the computer system?

19            A.   Yes.  Those delinquency rules are right from

20       the computer system and -- down to the dollar amounts.

21            Q.   You stated in your deposition they also

22       originated from the tariff, is that correct?

23            A.   Yes.  The tariff drives the penalty, the

24       penalties that we apply on the customer's bill.

25            Q.   Is the tariff -- has it ever been filed in

FLORIDA PUBLIC SERVICE COMMISSION

371

1       this case, to your knowledge?

2            A.   Has --

3            Q.   Has the tariff been filed in this rate case,

4       to your knowledge?

5                 MR. MAY:  I think the tariff is on file with

6       the Florida Public Service Commission.

7                 MR. McBRIDE:  But in the docket on this rate

8       case?

9       BY MR. McBRIDE:

10            Q.   Is it your testimony that all of the specific

11       provisions listed on this Florida Delinquency Process

12       Summary are contained verbatim in the tariff?

13            A.   I don't know.  I know that the penalties that

14       we apply to the customer's accounts are included in our

15       tariff.

16            Q.   What do you mean by the penalties you apply to

17       the customer's accounts?

18            A.   Well, the first step of the delinquency

19       process is you apply a late penalty after six days after

20       the due date.  So that is included in our tariff, the

21       fact that we are allowed to assess a late penalty

22       charge.

23            Q.   How about the statement in your testimony that

24       you will not issue a water termination unless the

25       balance is over $100, is that contained in the tariff?

FLORIDA PUBLIC SERVICE COMMISSION

372

1            A.   That is not contained in the tariff.

2            Q.   So there is no requirement that AUF do so?

3            A.   No.  In fact, the Commission rules that you

4       can shut off somebody's service if they owe any dollar

5       amount.  We, in AUF, choose to make it more customer

6       friendly so we don't shut off for anything less than

7       $100 on the water accounts and $110 if it is a

8       combination water and sewer account.

9            Q.   But AUF would be free to change its policy

10       starting tomorrow if it wished?

11            A.   They would be able to change their policy

12       regarding a dollar amount, yes.  The threshold, yes.

13            Q.   So to summarize, this benefit, as it may be

14       described, of not turning off water unless the balance

15       is over $100 is not certain to continue into the future?

16            A.   Well, I really can't answer that question.

17            Q.   How about the statement on Lines 1 and 2 of

18       Page 9 that AUF also attempts to call the customer prior

19       to discontinuing service, which is not required by the

20       Commission rules.  Are you aware whether that is

21       mandated by the tariff?

22            A.   I'm not aware that that is mandated by the

23       tariff.  That is our internal policy that we do -- we

24       handle for all states.  We attempt to call the customer

25       prior to shut off.

FLORIDA PUBLIC SERVICE COMMISSION

373

1            Q.   But if it were not mandated by the tariff, you

2       would be free to change that policy unilaterally?

3            A.   We would be free to, but I don't see why we

4       would do it.  That's our normal standard policy.  We

5       find it very effective to call that customer prior to

6       shutting off.

7            Q.   Let me move on.  Similarly, you state in your

8       testimony on Lines 22 and 23 of Page 8 that under the

9       rules you must only provide five days, but you provide

10       ten days.

11            A.   That is correct.

12            Q.   Are you aware whether your --

13            A.   Well, can I backup?  It's not ten days, it's

14       10 to 14 days.  Because if the shut off falls on a

15       Friday, we do not shut the customer's service off.  So

16       we would shut it off on the next business day, which

17       would be Monday.

18            Q.   But, again, you're not bound by that?

19            A.   Again, it is our internal processes that we

20       follow.  It's our standards.

21            Q.   Are you aware of how many customers testified

22       at the Gainesville hearing on September 12th?

23            A.   I read the transcripts.

24            Q.   Subject to check, I read through it a little

25       while ago and counted 40 names that testified at this

FLORIDA PUBLIC SERVICE COMMISSION

374

1       hearing, three of which were from YES Communities, who

2       is also a customer of AUF.  But are you aware of how

3       many customers testified at the customer service hearing

4       during the last rate case in 2008?

5            A.   At the nine customer meetings?

6            Q.   At the Gainesville hearing from the last rate

7       case in 2008.  Do you have a copy of Order Number 090385

8       that was previously handed out by one of the other

9       parties to this case?  I don't recall who.  But if you

10       turn to Page 16, it references the customers in

11       attendance and the customers who spoke.

12            A.   What was the order number?  I'm not sure I

13       have that.

14            Q.   090385 issued May 29th, 2009.

15                 MR. McBRIDE:  I have an extra copy.

16                 CHAIRMAN GRAHAM:  Is it necessary just to get

17       to the point you are trying to get to?

18                 MR. McBRIDE:  No.

19                 CHAIRMAN GRAHAM:  It says nine customers

20       spoke.

21                 MR. McBRIDE:  It says nine customers spoke.

22       BY MR. McBRIDE:

23            Q.   Would you agree that if nine customers spoke

24       at the customer service hearing in Gainesville in 2008,

25       and 40 customers spoke at the customer service hearing

FLORIDA PUBLIC SERVICE COMMISSION

375

1       in 2011, that that would belie your argument that

2       customer service has improved in Gainesville provided by

3       AUF?

4            A.   I can't come to that conclusion.

5                 MR. McBRIDE:  No further questions.

6                 CHAIRMAN GRAHAM:  Mr. Richards.

7                 MR. RICHARDS:  I have no questions.

8                 CHAIRMAN GRAHAM:  Staff.

9                 MR. JAEGER:  Just a very few, Chairman.

10                 I think we have already discussed Exhibit

11       Number 302 that was passed out.  I'm going to be passing

12       out Exhibit 189.  While I pass out Exhibit 189, that's

13       from the Comprehensive Exhibit List, could you review

14       the 14 exhibits attached to the 302?  I want to make

15       sure that we got the latest ones in there.  That's the

16       Late-filed Exhibits 1 through 14 proffered by staff.  It

17       should be all white, no yellow sheet attached to it, and

18       it's thicker.

19                          CROSS EXAMINATION

20       BY MR. JAEGER:

21            Q.   Have you completed your review?

22            A.   Yes.

23            Q.   And do those appear to be the exhibits that

24       you gave to staff?

25            A.   Yes.

FLORIDA PUBLIC SERVICE COMMISSION

376

1            Q.   Thank you.  Also, we have just handed out

2       Exhibit Number 189, and that is Aqua Utilities'

3       responses to Staff's Fifth Request for Production of

4       Documents.  That is a Comprehensive Exhibit, and I have

5       just a few questions on that.

6                 Did you assist in these Documents 17 through

7       22, providing these documents?

8            A.   Yes.

9            Q.   I'd like to note that POD Number 17 did not --

10       we could not find any electronic file of that, but,

11       basically -- anyhow, POD 17 does not appear to be there,

12       but most of that POD 17 was included in an exhibit to

13       your rebuttal testimony, so we don't need to get 17.

14                 But what we would like to do is would it be

15       possible for you to provide the remaining call center

16       monitoring statistics reports from May 2010 through

17       October 2011 as a late-filed exhibit?

18            A.   Yes.

19                 MR. JAEGER:  I think that would be 303, a

20       late-filed exhibit for the May 2010 through October 2011

21       Call Center Monitoring Statistics.

22                 (Late-filed Exhibit Number 303 marked for

23       identification.)

24       BY MR. JAEGER:

25            Q.   Turn to that POD Number 18 attached to the 189

FLORIDA PUBLIC SERVICE COMMISSION

377

1       exhibit, if you would?

2            A.   Okay.

3            Q.   We note that there are several months missing

4       from this electronic file.  Would it be possible for you

5       to provide as a late-filed exhibit the management

6       quality performance reports for the following months, in

7       2010 we need September and October, and in 2011 we need

8       January, February, June, July, August, September and

9       October?

10            A.   For the complaint?

11            Q.   It's the management quality performance

12       reports.

13            A.   Oh, okay.  Yes, we can do that.

14            Q.   Somehow some documents, some months just got

15       left out.

16            A.   Okay.

17                 MR. JAEGER:  And that would be a late-filed

18       exhibit.  We would like to have that identified as 304.

19                 (Late-filed Exhibit Number 304 marked for

20       identification.)

21                 CHAIRMAN GRAHAM:  Which one is that, I'm

22       sorry?

23                 MR. JAEGER:  Okay.  It's 304, a late-filed

24       exhibit, and it's the Management Quality Performance

25       Reports for the months September and October of 2010,

FLORIDA PUBLIC SERVICE COMMISSION

378

1       and then January and February of 2011, and then June

2       through October of 2011.

3                 CHAIRMAN GRAHAM:  I don't know if I have that

4       in front of me.

5                 MR. JAEGER:  The Quality Performance Report

6       was provided and it's POD 18, which is a part of that

7       189.  And what we got -- we start out with May, and we

8       got the June, and then July and August, but then we

9       didn't have September and October.  So we are missing

10       two months in October -- I mean two months in 2010,

11       Quality Performance Reports.  We would like to get those

12       two months.  And then in 2011, we were missing the ones

13       that I stated, January and February, and then June

14       through October.  So we are just wanting to get the

15       complete Quality Performance Reports from May 2010

16       through October 2011.

17                 CHAIRMAN GRAHAM:  So this is just a

18       placeholder?

19                 MR. JAEGER:  Yes, sir.  They are a late-filed

20       exhibits.  The one before and this one, we did not get.

21                 CHAIRMAN GRAHAM:  Okay.  All right.  I've got

22       to back up because I have got to ask staff a question.

23       This sheet that was just passed out that says Exhibit

24       189 at the top, is this Exhibit 189?

25                 MR. JAEGER:  Yes, that is Exhibit 189.  That

FLORIDA PUBLIC SERVICE COMMISSION

379

1       is a Comprehensive Exhibit that was not stipulated to by

2       the parties.  That came in so late that they just did

3       not have time to review it.

4                 CHAIRMAN GRAHAM:  Okay.  Please go ahead.

5                 MS. CHRISTENSEN:  Can I interject a concern

6       here?  I have a concern with late-filed exhibits,

7       especially when they get produced after the hearing that

8       we be given our opportunity to review them and note any

9       objection for the record.  Now, I know Ms. Chambers is

10       scheduled to come back up to the stand for rebuttal

11       testimony, and I was wondering if since we have a few

12       days in between then and now, if the company could

13       endeavor to produce these missing reports prior to then,

14       and then we might be able to have an opportunity to look

15       at them, review them, and object during her rebuttal

16       testimony.  And it would save us the headache of having

17       to deal with late-filed exhibits and not making an

18       objection for them coming into the record without seeing

19       them.

20                 CHAIRMAN GRAHAM:  I think that's fair, if the

21       company can produce it before the end of the technical

22       hearing.  And if not, then you just have to cover it in

23       your briefs at the end.

24                 Mr. May.

25                 MR. MAY:  That's very fair, and I understand

FLORIDA PUBLIC SERVICE COMMISSION

380

1       counsel's concern.  We're looking into it, and I think

2       there was an electronic transmission issue.  A couple of

3       things dropped out.  We will try to get that, if we can,

4       tomorrow or the next day.  We will certainly get it

5       before the end of the technical hearings.

6                 CHAIRMAN GRAHAM:  Okay.  Mr. Jaeger.

7                 MR. JAEGER:  Okay.  I'm just making sure I've

8       got my notes here.

9       BY MR. JAEGER:

10            Q.   Turning to POD 19.  It's a part of 189.

11            A.   Yes.

12            Q.   Okay.  And looking at the row for

13       September 2011, and it shows a total calls of 5,811,

14       which was sort of a peak, and that of those calls, 1,172

15       customers spoke to a customer service rep, which is also

16       significantly higher than most, except for the November

17       of 2010.  Is that correct?  September, the next to the

18       also row at the bottom shows 5,811 quality performance

19       report calls, and a customer contact report, 1,172.  And

20       is that significantly higher than almost every other

21       month?

22            A.   That is.

23            Q.   Can you tell us what triggered the higher

24       number of customer contacts during September of 2011?

25            A.   No, I cannot.

FLORIDA PUBLIC SERVICE COMMISSION

381

1            Q.   So without reviewing every one of those calls

2       you don't know why it would have peaked in that month?

3                 MR. MAY:  Mr. Jaeger, I'm lost on the --

4                 MR. JAEGER:  This is POD 19.

5                 MR. MAY:  Okay.

6                 MR. JAEGER:  And you are looking at -- it

7       starts out May 2010, the two columns are quality

8       performance report and customer contacts report.  And if

9       you go down you get to January 2011, and then the next

10       to the last row is September, which is 2011, and it

11       shows 5,811 quality performance reports, and 1,172

12       contact reports.  And I'm just trying to figure out what

13       happened in September to make that month sort of stand

14       out.

15                 THE WITNESS:  Well, I know in September it was

16       Hurricane Irene, and it had affected some of the other

17       areas, but without taking a further -- you know, without

18       looking further, I really can't comment.

19       BY MR. JAEGER:

20            Q.   Okay.  If you will turn to POD 20, and that

21       has to do with the Florida score card reports for

22       January 2011 through October 2011.

23            A.   Yes.

24            Q.   It notes at the bottom of the page that well

25       accounts are AUF company accounts.  Just help us

FLORIDA PUBLIC SERVICE COMMISSION

382

1       understand the chart better.  Can you tell us why a

2       company account would be reported as an unbilled account

3       in certain months?

4            A.   Yes.  If we don't get a read on a well

5       account, the account doesn't get estimated.  So it's an

6       account that we are tracking the consumption on, but not

7       necessarily issuing a bill.  But it's still incorporated

8       in our unbilled report.

9            Q.   Okay.

10            A.   So it is an internal account that we read and

11       we calculate the consumption on, but we don't

12       necessarily issue a bill.  But it still appears in the

13       report if we don't get a read and we don't issue a zero

14       dollar bill.

15            Q.   Thank you.  Turn to the POD 21, and that is

16       the estimated read report from May 2010 through

17       October 2011.  And it appears that the estimated read

18       rate during 2011 has remained between 0.2 and 0.3, is

19       that correct?

20            A.   That is correct.

21            Q.   I believe these columns are sort of messed up.

22       Okay.  And going to the last POD 22, and that's the CSR

23       call quality scores for January 2008 through

24       October 2011.

25            A.   That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

383

1            Q.   Is it correct that most Florida calls are

2       handled by two teams at the Cary, North Carolina call

3       center designated as South CS and South COLL, is that

4       correct?

5            A.   That is correct.

6            Q.   And can you just tell me a little about what

7       these two teams are?

8            A.   Well, we used to distinguish between the

9       collection team and the customer service team.  And the

10       collection team would only be dedicated to taking

11       collection calls, but now we have trained all CSRs to

12       handle all types of calls.  So even though it's

13       distinguished as two separate types, they are actually

14       all handling all types of calls now.

15                 MR. JAEGER:  That's all the questions staff

16       has.

17                 CHAIRMAN GRAHAM:  Thank you, Mr. Jaeger.

18                 Ms. Chambers, I have a couple of questions for

19       you.  The first question, if we had somebody that came

20       before us and testified in Gainesville, let's just say

21       Customer Smith, and he said that he spoke to somebody

22       that was rude, and it was in the last three months, and

23       it was three times in the last three months.  Would you

24       be able to pull Mr. Smith's recorded -- Mr. Smith's

25       recording talking to the customer service person?

FLORIDA PUBLIC SERVICE COMMISSION

384

1                 THE WITNESS:  Yes, we should able to pull it.

2       There are some circumstances where if we listen in on

3       the call at the same time that we might not be able

4       to -- we might not get the recording, but on most calls

5       we would be able to pull the recording.

6                 CHAIRMAN GRAHAM:  If I had asked you to pull

7       Mr. Smith's three recordings in the three months, in 90

8       days, could you pull that for me?

9                 THE WITNESS:  Yes.

10                 CHAIRMAN GRAHAM:  Have you been asked by any

11       of the intervenors to pull any of those calls that we

12       have heard testimony about?

13                 THE WITNESS:  No, I have not.

14                 CHAIRMAN GRAHAM:  Okay.

15                 A question I have, one of the intervenors

16       brought up the last rate hearing, which I think was '08,

17       and specifically he was talking about Gainesville where

18       it says there were 11 people that showed up and nine

19       people spoke.  I'm assuming that all the people that

20       spoke, spoke negatively.  I will just that assumption

21       out there.  So that is roughly about 81 percent of the

22       people that showed up complained.  I had staff pull in

23       2011 that just happened, there was 51 people that showed

24       up and 40 people that spoke, which is just slightly

25       lower than 80 percent.  So does that show that you guys

FLORIDA PUBLIC SERVICE COMMISSION

385

1       are doing better, or worse, or does that say anything to

2       you?

3                 THE WITNESS:  It says that we are doing

4       better.

5                 CHAIRMAN GRAHAM:  Why so?

6                 THE WITNESS:  Because the lower percentage of

7       the customers.

8                 CHAIRMAN GRAHAM:  Okay.  That's all the

9       questions I have.

10                 THE WITNESS:  Overall customers.

11                 CHAIRMAN GRAHAM:  Commissioner Brown.

12                 COMMISSIONER BROWN:  Thank you.

13                 Are the costs associated with coaching the

14       CSRs who are classified, I guess, as rude as you earlier

15       indicated, to customers included in O&M costs or

16       elsewhere, the coaching?

17                 THE WITNESS:  The coaching, it's in our

18       salaries.  I guess it's in operational --

19                 COMMISSIONER BROWN:  O&M?

20                 THE WITNESS:  Yes.  Sorry.

21                 COMMISSIONER BROWN:  Is the company aware of

22       any technical or flawed meter issues in Florida?

23                 THE WITNESS:  No.

24                 COMMISSIONER BROWN:  Okay.  With regard to the

25       back billing issue and the exhibits that are presented

FLORIDA PUBLIC SERVICE COMMISSION

386

1       were offered by Aqua, do you happen to have an average

2       number of the months back billed for the test year?

3                 THE WITNESS:  I do not, but we probably could

4       calculate it.  I could get it to you.

5                 COMMISSIONER BROWN:  I would be interested in

6       having that maybe on rebuttal.

7                 THE WITNESS:  Okay.

8                 COMMISSIONER BROWN:  Thank you.  That's all.

9                 CHAIRMAN GRAHAM:  Commissioner Balbis.

10                 COMMISSIONER BALBIS:  Thank you, Mr. Chairman.

11       I only had two questions, and the first one you had

12       already asked.  I'm glad you did that.  And I, too, was

13       surprised that one response to the customers that

14       indicated they had rude customer service wasn't provided

15       in SC-1 where other responses to customer complaints

16       were made.  And I'm surprised that any of the

17       intervenors did not ask for that or it wasn't provided

18       into the record.

19                 But the question I have for you is concerning

20       billing periods.

21                 THE WITNESS:  Uh-huh.

22                 COMMISSIONER BALBIS:  Are there any instances

23       where a greater than 30-day billing period is included

24       in the bill?

25                 THE WITNESS:  Yes.  Our days of service that

FLORIDA PUBLIC SERVICE COMMISSION

387

1       we calculate bills for a monthly period is between 26

2       and 35 days.

3                 COMMISSIONER BALBIS:  And does that vary per

4       customer?  So, in other words, their October bill may be

5       26 days and their September bill before that was --

6                 THE WITNESS:  Yes.  So we consider a monthly

7       bill any bill between 26 and 35 days of service.

8                 COMMISSIONER BALBIS:  So you have a --

9                 THE WITNESS:  A monthly period, I'm sorry.

10                 COMMISSIONER BALBIS:  Okay.  So you have a

11       nine-day spread there could be, right?

12                 THE WITNESS:  Yes.

13                 COMMISSIONER BALBIS:  Do you make any

14       considerations as to -- since you have a declining rate

15       block structure for consumption, that if on one bill

16       they are at 26 days, which puts them under the rate

17       block, and then the next month it's at 35 and it kicks

18       them into the other rate block?

19                 THE WITNESS:  No, we don't, because we define

20       a monthly billing period between 26 and 35 days.

21                 COMMISSIONER BALBIS:  Okay.  Thank you.

22                 CHAIRMAN GRAHAM:  Ms. Chambers -- I'm sorry,

23       Commissioner Brisé.

24                 COMMISSIONER BRISÉ:  Thank you, Mr. Chairman.

25       I have a couple of questions.

FLORIDA PUBLIC SERVICE COMMISSION

388

1                 Looking at Exhibit SC-5, which looks at your

2       root cause, primary root cause.

3                 THE WITNESS:  Yes.  These are customer

4       complaints.

5                 COMMISSIONER BRISÉ:  Right.  And I'm

6       interested to how the scores are determined.  So it says

7       primary root cause, so if a customer calls for a billing

8       dispute, and that is their primary reason for calling,

9       but then the customer then talks about poor service

10       quality, or water quality, would the water quality go

11       down as one of the issues that is looked at, or is the

12       issue that is scored or taken into account or recorded

13       at that time only the billing dispute?

14                 THE WITNESS:  Well, let me just clarify.  This

15       particular chart is based on the complaints that

16       actually went to the Commission, and then our compliance

17       department actually reviews the complaints and then

18       determines what the root cause was, and they are the

19       ones that actually score the cause.  So it's actually

20       the cause of the complaint.  And I believe you can only

21       have one cause, so they would have to figure out what

22       the root cause that caused the complaint in the first

23       place.  You couldn't have multiple root causes.

24                 COMMISSIONER BRISÉ:  Okay.  So you are saying

25       that these are the complaints that come into the

FLORIDA PUBLIC SERVICE COMMISSION

389

1       Commission, and then from the Commission, the Commission

2       relays that to you --

3                 THE WITNESS:  Yes.

4                 COMMISSIONER BRISÉ:  -- and then there is a

5       determination as to which --

6                 THE WITNESS:  Yes, what was the strongest root

7       cause that caused the complaint in the first place.  So

8       you can only have one.

9                 COMMISSIONER BRISÉ:  Okay.  So then that

10       nullifies the next question I was going to pose.

11                 Thank you very much.

12                 CHAIRMAN GRAHAM:  Ms. Chambers, Ms.

13       Christensen asked a very good question, I thought.  I

14       want to drill down a little further on this.  As we

15       traveled the state and went to the different service

16       hearings, there were some areas where you didn't hear

17       people complain about customer service, or if they did

18       it was very few.  And there were some places you went

19       where it seemed like almost everybody was complaining

20       about customer service.

21                 If someone were to call in the big areas,

22       let's just say the panhandle and central Florida.  If

23       somebody calls from the panhandle, does that get

24       directed specifically to Operator Number 5, or does it

25       go to Operators 1 through 5?

FLORIDA PUBLIC SERVICE COMMISSION

390

1                 THE WITNESS:  No.  It goes into the queue in

2       the Cary call center, and any CSR, whether it's a

3       collection CSR or a customer service CSR, has the

4       ability to answer that call.  So it is whoever is

5       available.  If there is no one available in the southern

6       call center, then it will go to the next available

7       representative in any of the other two call centers.

8                 CHAIRMAN GRAHAM:  And that is for the entire

9       State of Florida?

10                 THE WITNESS:  That is the for the entire

11       state.

12                 CHAIRMAN GRAHAM:  Just because it is in the

13       panhandle, it doesn't go anywhere else?

14                 THE WITNESS:  Yes.

15                 CHAIRMAN GRAHAM:  Well, then I'm going to ask

16       you a question, and I guess you can just kind of give me

17       your hypothesis, if you have one or not.  Why is it that

18       some areas are like that, some areas are irate and some

19       are just -- you know, some are happy with the customer

20       service?

21                 You don't have to answer.  I don't know, and I

22       don't know if maybe you have drawn some conclusion or

23       not.

24                 THE WITNESS:  I don't know.

25                 CHAIRMAN GRAHAM:  Commissioner Brisé.

FLORIDA PUBLIC SERVICE COMMISSION

391

1                 COMMISSIONER BRISÉ:  Thank you.  And you went

2       down a line that I think is very important.

3                 Your IVR, when the customer calls in and they

4       interact with that initial IVR, will that IVR identify

5       the customer by the number they are calling?  So,

6       therefore, there is sort of information that is tracked

7       already, so it predetermines where the call should go,

8       whether it should go to the collection service section

9       or if it should go to the regular customer service.  So

10       then that may also play a role in how the customer

11       interacts with whoever is on the other line, based upon

12       what the predisposed thought might be based upon what

13       the need is going to be for that particular call?

14                 So if you can describe the IVR process for me,

15       that may help me determine a little bit.

16                 THE WITNESS:  Well, if they are calling about

17       a collection activity, then it's going to go to a

18       collection service order.  I mean, a collection CSR.  So

19       if they are calling about they received a shut off

20       notice, and they are calling to make payment

21       arrangements, that's going to go to a collection CSR.

22       If -- again, we now train our CSRs to handle both types

23       of calls, so we have CSRs that are handling both

24       customer service related calls as well as collection

25       calls.

FLORIDA PUBLIC SERVICE COMMISSION

392

1                 COMMISSIONER BRISÉ:  Is that determined by the

2       CSR when they actually talk to the individual, or is

3       that determined or prerouted?

4                 THE WITNESS:  It is prerouted.

5                 COMMISSIONER BRISÉ:  Okay.  So I think that

6       that makes a huge distinction in how the customer

7       service person interacts with the individual, and that

8       may play a role in the discussion with the customer as

9       they interact with the customer based upon how the call

10       is routed.

11                 THE WITNESS:  Right.  But we do quality

12       monitoring on all types of calls, and they are all

13       scored based on those quality scoring.  So whether it's

14       a collection call or a customer service call, it's still

15       scored on those 40 points of soft skills and 60 points

16       of how the call was handled.

17                 COMMISSIONER BRISÉ:  All right.  Thank you.

18                 CHAIRMAN GRAHAM:  I have to ask another

19       question, because the telecom language is a bit above

20       me.  So if I were to call and I put in my phone number

21       or my account number, regardless if I said I want to

22       speak to somebody about, I don't know, adding a second

23       service, it's automatically going to send me to

24       collection if I'm already in collections?

25                 THE WITNESS:  No, it's going to send you to

FLORIDA PUBLIC SERVICE COMMISSION

393

1       customer service.

2                 CHAIRMAN GRAHAM:  Okay.  That's what I didn't

3       understand.

4                 THE WITNESS:  And the calls get routed -- I

5       didn't clarify this, but the calls get routed by the

6       16-digit account number, not the phone number.

7                 CHAIRMAN GRAHAM:  Okay.  Mr. May, redirect.

8                         REDIRECT EXAMINATION

9       BY MR. MAY:

10            Q.   How are you doing, Ms. Chambers?

11            A.   Okay.

12            Q.   The first time to -- I'm not sure I will get

13       back down here.  But, seriously, I have two questions.

14       Just quick follow-ups.

15                 You had a series of conversations with Ms.

16       Christensen regarding, I think, leak adjustments?

17            A.   Yes.

18            Q.   I wanted to follow up a little bit on that.

19       Are leak adjustments required by any Florida Public

20       Service Commission rule?

21            A.   No, they are not.

22            Q.   Are pool credit adjustments required by any

23       PSC rule?

24            A.   No, they are not.

25            Q.   And are these credits or adjustments provided

FLORIDA PUBLIC SERVICE COMMISSION

394

1       as benefits to customers?

2            A.   Yes, they are.

3            Q.   Are your CSRs trained to advise customers who

4       call, to discuss with them leak adjustments?

5            A.   Yes, they are.

6            Q.   And how do you train them?

7            A.   It's part of our call center standards that we

8       train them.  So we have -- in Florida, we have a state

9       tipsheet or fact sheet, and it lists pool credits, the

10       availability of pool credits, and the availability of

11       leak adjustment credits.

12            Q.   So those policies are written policies that

13       your CSRs have?

14            A.   Yes, they do.

15            Q.   Have you got your calculator with you?

16            A.   Yes, I do.

17            Q.   You're going to kill me about this, but I'm

18       going to -- Ms. Christensen was throwing around some

19       numbers regarding Jasmine Lakes, and I'm not the best

20       mathematician in the world, but I can add, and I can

21       divide.  And I wanted to walk you through a little bit

22       of some numbers that she was throwing around I'm not

23       sure I understood.  Do you recall the discussion about

24       back billing in the Jasmine Lakes area?

25            A.   Yes.  It was due to a computer glitch when we

FLORIDA PUBLIC SERVICE COMMISSION

395

1       stopped billing the streetlights.

2            Q.   And Ms. Christensen said there were

3       approximately 76 back bills in 2010?

4            A.   Yes, 76 out of -- was it 1,400 customers?

5            Q.   I think she said 1,600 customers.

6            A.   Okay.

7            Q.   So if you had 1,600 customers and each

8       customer receives a monthly bill over a year, how many

9       bills would be issued for the Jasmine Lakes

10       neighborhood?

11            A.   1,600 customers?

12            Q.   Times 12 months would render what?

13            A.   19,200.

14            Q.   And if 76 was your denominator and 19,200 --

15       excuse me.  If 19,200 was your denominator and 76 was

16       your numerator, what would be the percentage of back

17       bills?

18            A.   Well, it's less than -- it's less than -- it's

19       .003.

20            Q.   So Ms. Christensen was throwing around a

21       4.8 percent, right?

22            A.   Right.

23            Q.   So what is the actually percentage of back

24       bills for that neighborhood over that year?

25            A.   Well, in my calculations it wouldn't even be

FLORIDA PUBLIC SERVICE COMMISSION

396

1       -- it is not even .01 percent.

2                 MR. MAY:  Thank you, ma'am.  That's all the

3       questions I had.

4                 CHAIRMAN GRAHAM:  Exhibits.

5                 MR. JAEGER:  Chairman, I'll start.  Staff

6       would move the 302 and the 189, and I think we are just

7       going to hold on 303 and 304.  Those were the

8       late-filed.  They might get those before the end of the

9       hearing.

10                 CHAIRMAN GRAHAM:  That's 302 and 189 entered

11       in for staff.

12                 (Exhibit Number 189 and 302 admitted into the

13       record.)

14                 CHAIRMAN GRAHAM:  Mr. May.

15                 MR. MAY:  Aqua would move Exhibits SC-1

16       through SC-5.

17                 CHAIRMAN GRAHAM:  What's that for exhibit

18       numbers?

19                 MR. JAEGER:  63 through 67.

20                 MR. MAY:  I apologize.

21                 CHAIRMAN GRAHAM:  Exhibit 63, 64, 65, 66, and

22       67, move those into the record.

23                 (Exhibit Numbers 63 through 67 admitted into

24       the record.)

25                 CHAIRMAN GRAHAM:  Ms. Christensen.

FLORIDA PUBLIC SERVICE COMMISSION

397

1                 MS. CHRISTENSEN:  Office of Public Counsel

2       would move in 298, 299, 300, and 301.

3                 CHAIRMAN GRAHAM:  Okay.  Whose exhibit was

4       297?  That's Late-filed Exhibit 1 through 8.

5                 (Exhibits 298 through 301 admitted into the

6       record.)

7                 MR. JAEGER:  That was Luitweiler's, and it was

8       moved in under Luitweiler's testimony.

9                 CHAIRMAN GRAHAM:  We did that last time.

10       Okay.  All right.  Any other exhibits that need to be

11       moved in?

12                 We're getting ready to recess for the day.

13       Any questions on what is going to happen tomorrow or the

14       rest of this week?

15                 MR. CURTIN:  Just briefly, Mr. Chairman.

16       Myself and Mr. May, and I talked to staff and OPC, just

17       to put it on the record for YES's Witnesses Jeremy Gray,

18       Mallory Starling, and Mike Green, we have come to an

19       agreement that their testimony could just come in, their

20       exhibits can come in, and they can be excused from

21       testifying.  I believe their exhibits are already in and

22       their testimony is already in, because all they did was

23       reincorporate their testimony at the Gainesville

24       hearing.  So there's no exhibits to be put in, no

25       testimony to be put in.  But I just wanted to put it on

FLORIDA PUBLIC SERVICE COMMISSION

398

1       the record that they will not be here to actually

2       testify, Mr. Gray, Ms. Starling, and Mr. Green.  So the

3       only two witnesses YES will have will be Mr. Harpin and

4       Ms. Kurz, depending on her mother's situation.

5                 CHAIRMAN GRAHAM:  Okay.  Any other questions

6       or anything before we adjourn for the day?

7                 MR. JAEGER:  Nothing from staff, Chairman.

8                 MR. MAY:  One thing, Mr. Chair.  On some of

9       the DEP witnesses, is there going to be a time certain

10       for them?

11                 MR. JAEGER:  We have one at 9:30 and one at

12       10:45 tomorrow.  I mean, he will be here at 10:45, and

13       we will just work him in as convenient to the process.

14       But we believe that Ms. Carrico will be here at 9:30.

15                 MR. MAY:  So is the Chair's preference to take

16       those witnesses first?

17                 CHAIRMAN GRAHAM:  If we were scheduled to take

18       them at a time certain, especially the beginning of the

19       meeting, we will go ahead and take those first.  If we

20       have somebody that's currently on the stand, we are not

21       going to stop somebody's testimony to weave them in, but

22       we will do what we can to accommodate a sister agency.

23                 MR. MAY:  Thank you, sir.

24                 CHAIRMAN GRAHAM:  I thank you all for playing

25       nice today.  And we've got two more days of this this

FLORIDA PUBLIC SERVICE COMMISSION

399

1       week, and I think two more days next week.  That being

2       said, please travel home safe, and I will see y'all

3       tomorrow.

4                 MR. MAY:  Thank you.

5                 CHAIRMAN GRAHAM:  We're adjourned.

6                 (The hearing adjourned at 6:45 p.m.)

7                 (Transcript continues in sequence with

8       Volume 3.)

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

400

1

2       STATE OF FLORIDA    )

3                           :    CERTIFICATE OF REPORTER

4       COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter

6       Services Section, FPSC Division of Commission Clerk, do

hereby certify that the foregoing proceeding was heard

7       at the time and place herein stated.

8                 IT IS FURTHER CERTIFIED that I

stenographically reported the said proceedings; that the

9       same has been transcribed under my direct supervision;

and that this transcript constitutes a true

10       transcription of my notes of said proceedings.

11                 I FURTHER CERTIFY that I am not a relative,

employee, attorney or counsel of any of the parties, nor

12       am I a relative or employee of any of the parties'

attorney or counsel connected with the action, nor am I

13       financially interested in the action.

14                 DATED THIS 8th day of December, 2011.

15

16

___________________________________________

17                         JANE FAUROT, RPR

Official FPSC Hearings Reporter

18                          (850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION