BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In re: Petition for approval of new standard offer contract for purchase of firm capacity and energy from renewable energy facilities or small qualifying facilities and approval of revised tariff schedule REF-1, by Gulf Power Company. | DOCKET NO. 130070-EQ ORDER NO. PSC-13-0305-PAA-EQ ISSUED: July 5, 2013 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

RONALD A. BRISÉ, Chairman

LISA POLAK EDGAR

ART GRAHAM

EDUARDO E. BALBIS

JULIE I. BROWN

NOTICE OF PROPOSED AGENCY ACTION

ORDER APPROVING

GULF POWER COMPANY’S

REVISED STANDARD OFFER CONTRACT

BY THE COMMISSION:

NOTICE is hereby given by the Florida Public Service Commission (Commission) that the action discussed herein is preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code.

Case Background

Section 366.91(3), Florida Statutes (F.S.) requires that each investor-owned utility (IOU) continuously offer to purchase capacity and energy from renewable energy generators.  Rules 25-17.200 through 25-17.310, Florida Administrative Code (F.A.C.) require each IOU to file with the Commission, by April 1 of each year, a standard offer contract based on the next avoidable generating unit or planned purchase.  On April 1, 2013, Gulf Power Company (Gulf or Company) filed its petition for approval of a new standard offer contract for purchase of firm capacity and energy from renewable energy facilities or small qualifying facilities.

We have jurisdiction over this matter pursuant to Sections 366.04 through 366.06 and 366.91, F.S.

Decision

Rule 25-17.250, F.A.C., requires that Gulf, an IOU, continuously make available a standard offer contract for the purchase of firm capacity and energy from renewable generating facilities (RF) and small qualifying facilities (QF) with design capacities of 100 kilowatts (kW) or less.  Pursuant to Rule 25-17.250(1), F.A.C., the standard offer contract must provide a term of at least ten years, and the payment terms must be based on the utility’s next avoidable fossil-fueled generating unit identified in its most recent Ten-Year Site Plan or, if no avoided unit is identified, its next avoidable planned purchase.

Gulf’s 2013 Ten-Year Site Plan does not include any avoidable fossil fueled generating units, nor are there any planned purchases to be avoided or deferred during the 2013-2022 planning period.  As a result of this lack of any avoidable unit or purchase, Gulf could opt to offer only a standard contract for energy payments based on its as-available energy cost.  However, in an effort to encourage renewable generation, Gulf has identified its next avoidable unit, which is a 803 megawatt (MW) natural gas-fired combined cycle (CC) unit with a projected in-service date of June 1, 2023.

Any RF/QF operator may elect to make no commitment as to the quantity or timing of its energy deliveries to Gulf, and have a committed capacity of zero (0) MW.  In such a case, the energy is delivered on an as-available basis and is eligible for only the energy payment.  Alternatively, an RF/QF operator may elect to commit to certain minimum performance requirements based on the avoided unit, such as being operational and delivering an agreed-upon amount of capacity by the in-service date, and thereby become eligible for capacity payments in addition to the payments for energy.  The standard offer contract often serves as a starting point for a separately negotiated contract by providing payment information to RF/QF operators that wish to have contract terms which differ from those of the standard offer contract.

To promote RF/QF generation, we require IOUs to offer multiple options for capacity payments so that an RF/QF operator may select the payment stream that best suits its financial requirements, including the options to receive early or levelized payments.  If an RF/QF operator elects to receive capacity payments under the normal or levelized contract options, it will receive as-available energy payments only until the in-service date of the avoided  unit (June 1, 2023), and thereafter will begin receiving capacity payments in addition to the energy payments.  If either the early or the early levelized option is selected, the operator will begin receiving capacity payments sooner than the in-service date of the avoided unit.  However, payments made under either of the early payment options tend to be lower in the later years of the contract term because the net present value (NPV) of the total payments must remain equal for all contract options.  In addition, any capacity payments made which are greater than those called for under the normal option require additional performance security from the RF/QF operator.

Table 1 below represents the estimated annual payments for each payment option available under the proposed standard offer contract to an operator with a 50 MW facility, an in-service date of January 1, 2014, and operating at a capacity factor of 90 percent, which is the minimum capacity factor required to qualify for full capacity payments.

Table 1-- Estimated Annual Payments to a 50 MW Renewable Facility (90% Capacity Factor)

| Year | Energy Payment | Capacity Payment (by Type) |
| --- | --- | --- |
|  |  | Normal | Levelized | Early | Early Levelized |
|  | ($000) | ($000) | ($000) | ($000) | ($000) |
| 2014 | 13,624 | 0 | 0 | 1998 | 2304 |
| 2015 | 15,677 | 0 | 0 | 2046 | 2322 |
| 2016 | 16,602 | 0 | 0 | 2100 | 2334 |
| 2017 | 18,074 | 0 | 0 | 2154 | 2352 |
| 2018 | 19,655 | 0 | 0 | 2208 | 2364 |
| 2019 | 21,113 | 0 | 0 | 2262 | 2382 |
| 2020 | 22,321 | 0 | 0 | 2322 | 2400 |
| 2021 | 22,915 | 0 | 0 | 2376 | 2418 |
| 2022 | 23,806 | 0 | 0 | 2436 | 2436 |
| 2023 | 19,887 | 5502 | 5940 | 2502 | 2448 |
| 2024 | 21,784 | 5610 | 5964 | 2562 | 2472 |
| 2025 | 23,025 | 5754 | 6012 | 2628 | 2490 |
| 2026 | 24,472 | 5898 | 6054 | 2694 | 2508 |
| 2027 | 25,879 | 6048 | 6102 | 2766 | 2526 |
| 2028 | 27,365 | 6198 | 6144 | 2832 | 2544 |
| 2029 | 28,796 | 6354 | 6192 | 2904 | 2568 |
| 2030 | 30,381 | 6516 | 6246 | 2976 | 2586 |
| 2031 | 31,918 | 6684 | 6294 | 3054 | 2610 |
| 2032 | 33,769 | 6852 | 6348 | 3132 | 2634 |
| 2033 | 34,500 | 7026 | 6402 | 3210 | 2658 |
| Total | 475,563 | 68,428 | 67,698 | 51,169 | 49,352 |
| 2013 NPV | 241,481 | 26,867 | 26,867 | 26,867 | 26,867 |

Gulf’s petition includes thirteen revised rate schedule sheets which, along with the existing unaltered sheets, constitute Gulf’s revised renewable standard offer contract and related rate schedule REF-1.  The revisions include updates for the avoided unit, dates, and payment information reflecting the current economic and financial assumptions for the avoided unit.  All of the changes made to the revised rate schedule sheets, as well as the economic and financial assumptions used in the contract, are consistent with the updated unit.  The type-and-strike format version of the revised standard offer contract and related rate schedule sheets are included as Attachment A to this Order.

Upon review, we find that the standard offer contract and related tariffs exceed the requirements of Rules 25-17.200 through 25-17.310, F.A.C.  Gulf does not have any avoidable fossil fueled generating units or avoidable power purchases in the upcoming ten-year planning period.  However, in an effort to encourage renewable generation, Gulf has identified its next avoidable unit, rather than offer only energy payments in its standard offer contract.  The standard offer contract provides flexibility in the arrangements for payments so that a developer of renewable generation may select the payment stream best suited to its financial needs.  Therefore, the revised standard offer contract and rate schedule REF-1 submitted by Gulf shall be approved as filed.  Potential signatories should be aware that, if a timely protest is filed, Gulf’s standard offer contract may subsequently be revised.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that the revised standard offer contract and rate schedule REF-1, submitted by Gulf Power Company, is hereby approved as filed.  It is further

ORDERED that the provisions of this Order, issued as proposed agency action, shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, F.A.C., is received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the “Notice of Further Proceedings” attached hereto.  It is further

ORDERED that, if no timely protest is filed and this Order becomes final, then this docket shall be closed upon the issuance of a Consummating Order.

By ORDER of the Florida Public Service Commission this 5th day of July, 2013.

|  | /s/ Hong Wang |
| --- | --- |
|  | HONG WANG Chief Deputy Commission Clerk |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida  32399

(850) 413-6770

www.floridapsc.com

Copies furnished:  A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

CWM

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing that is available under Section 120.57, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The action proposed herein is preliminary in nature. Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code.  This petition must be received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on July 26, 2013.

In the absence of such a petition, this order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this/these docket(s) before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.