## Sheet 1
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fifth Set of Interrogatories
Interrogatory No. 84
Attachment No. 1
Tab 1 of 1
Filename: 2015 Need Table Staff - 84
Table Staff 84
Projection of FPL's Resource Needs: 2015 through 2020 - Different Scenarios
| -1 | (1a) | -2 | -3 | -4 | -5 | -6 | (6a) | (6b) | -7 | -8 | -9 | -10 | -11 | -12
[5 empty] | = (1)+(1a)+(2)-(3) |  |  |  |  | = (5) - (6b) | = (4) - (7) | = (8) / (7) | = ((7)*1.20)-(4) | = ((4)-(5)) / (5) | = ((5)*1.10)-(4)
I. Table Staff-84a: | Projection of FPL's Resource Needs: 2015 through 2020 - Different Scenarios -9: Projected; Projection of FPL's Resource Needs: 2015 through 2020 - Different Scenarios -11: Projected
[12 empty] | Summer Total | Projected Total | Generation-Only | Projected Total
| Projected | OCEC | Projected | Projected | Projected | Projected | Projected | Incremental | Resulting | Projected | Projected | Reserve Margin | MW Needed to | Reserve Margin (GRM) | MW Needed to
August | FPL Unit | Unit 1 | Firm Capacity | Scheduled | Total | Peak | Summer DSM | DSM If | Summer DSM | Firm | Summer | w/o Additions | Meet 20% Total | w/o Additions | Meet 10%
of the | Capability * | Capability | Purchases * | Maintenance | Capacity | Load | Capability ** | 2009 Goals | Capability ** | Peak Load | Reserves | in 2019 & 2020 | Reserve Margin*** | in 2019 & 2020 | GRM****
Year | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%) | (MW)
----- | ----- | ----- | ----- |  | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
2015 | 25007.625 | 0 | 2014.5 | 0 | 27022.125 | 23285.7259 | 1951.2114 | 0 | 1951.2114 | 21334.5146 | 5687.6104 | 26.66% | -1420.7075 | --- | ---
2016 | 25584.9286 | 0 | 836.5 | 0 | 26421.4286 | 23778.411 | 1999.6537 | 0 | 1999.6537 | 21778.7572 | 4642.6714 | 21.32% | -286.92 | --- | ---
2017 | 26001.8529 | 0 | 836.5 | 0 | 26838.3529 | 24252.2502 | 2045.5618 | 0 | 2045.5618 | 22206.6884 | 4631.6645 | 20.86% | -190.3268 | --- | ---
2018 | 26023.4091 | 0 | 1043.5 | 0 | 27066.9091 | 24647.5478 | 2092.3398 | 0 | 2092.3398 | 22555.208 | 4511.7011 | 20% | -0.65951 | --- | ---
2019 | 26043 | 0 | 454.5 | 0 | 26497.5 | 25044.7696 | 2139.831 | 0 | 2139.831 | 22904.9386 | 3592.5614 | 15.68% | 988.4263 | 5.801% | 1051.7466
2020 | 26043 | 0 | 454.5 | 0 | 26497.5 | 25369.1737 | 2188.0601 | 0 | 2188.0601 | 23181.1136 | 3316.3864 | 14.31% | 1319.8363 | 4.448% | 1408.5911
2021 | 26131.0878 |  | 634.5 | 0 | 26765.5878 | 25497.0626 | 2237.0537 |  |  | 23260.009 | 3505.5788 | 15.07% | 1146.423 | 4.975% | 1281.1811
2022 | 26216.6506 |  | 634.5 | 0 | 26851.1506 | 25832.7375 | 2286.8399 |  |  | 23545.8976 | 3305.253 | 14.04% | 1403.9265 | 3.942% | 1564.8606
II. Table Staff-84b: | Projection of FPL's Resource Needs: 2015 through 2020 - Different Scenarios -9: Projected; Projection of FPL's Resource Needs: 2015 through 2020 - Different Scenarios -11: Projected
[12 empty] | Summer Total | Projected Total | Generation-Only | Projected Total
| Projected | OCEC | Projected | Projected | Projected | Projected | Projected | Incremental | Resulting | Projected | Projected | Reserve Margin | MW Needed to | Reserve Margin (GRM) | MW Needed to
August | FPL Unit | Unit 1 | Firm Capacity | Scheduled | Total | Peak | Summer DSM | DSM If | Summer DSM | Firm | Summer | w/o Additions | Meet 20% Total | w/o Additions | Meet 10%
of the | Capability | Capability | Purchases | Maintenance | Capacity | Load | Capability | 2009 Goals | Capability | Peak Load | Reserves | in 2019 & 2020 | Reserve Margin | in 2019 & 2020 | GRM
Year | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%) | (MW)
----- | ----- | ----- | ----- |  | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
2015 | 25007.625 | 0 | 2014.5 | 0 | 27022.125 | 23285.7259 | 1951.2114 | 124.1 | 2075.3114 | 21210.4146 | 5811.7104 | 27.4% | -1569.6275 | --- | ---
2016 | 25584.9286 | 0 | 836.5 | 0 | 26421.4286 | 23778.411 | 1999.6537 | 230.4 | 2230.0537 | 21548.3572 | 4873.0714 | 22.61% | -563.4 | --- | ---
2017 | 26001.8529 | 0 | 836.5 | 0 | 26838.3529 | 24252.2502 | 2045.5618 | 319.7 | 2365.2618 | 21886.9884 | 4951.3645 | 22.62% | -573.9668 | --- | ---
2018 | 26023.4091 | 0 | 1043.5 | 0 | 27066.9091 | 24647.5478 | 2092.3398 | 396.8 | 2489.1398 | 22158.408 | 4908.5011 | 22.15% | -476.8195 | --- | ---
2019 | 26043 | 0 | 454.5 | 0 | 26497.5 | 25044.7696 | 2139.831 | 462.8 | 2602.631 | 22442.1386 | 4055.3614 | 18.07% | 433.0663 | 5.801% | 1051.7466
2020 | 26043 | 0 | 454.5 | 0 | 26497.5 | 25369.1737 | 2188.0601 | 463 | 2651.0601 | 22718.1136 | 3779.3864 | 16.64% | 764.2363 | 4.448% | 1408.5911
III. Table Staff-84c: | Projection of FPL's Resource Needs: 2015 through 2020 - Different Scenarios -9: Projected; Projection of FPL's Resource Needs: 2015 through 2020 - Different Scenarios -11: Projected
[12 empty] | Summer Total | Projected Total | Generation-Only | Projected Total
| Projected | OCEC | Projected | Projected | Projected | Projected | Projected | Incremental | Resulting | Projected | Projected | Reserve Margin | MW Needed to | Reserve Margin (GRM) | MW Needed to
August | FPL Unit | Unit 1 | Firm Capacity | Scheduled | Total | Peak | Summer DSM | DSM If | Summer DSM | Firm | Summer | w/o Additions | Meet 20% Total | w/o Additions | Meet 10%
of the | Capability | Capability | Purchases | Maintenance | Capacity | Load | Capability | 2009 Goals | Capabilit | Peak Load | Reserves | in 2019 & 2020 | Reserve Margin | in 2019 & 2020 | GRM
Year | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%) | (MW)
----- | ----- | ----- | ----- |  | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
2015 | 25007.625 | 0 | 2014.5 | 0 | 27022.125 | 23285.7259 | 1951.2114 | 0 | 1951.2114 | 21334.5146 | 5687.6104 | 26.66% | -1420.7075 | --- | ---
2016 | 25584.9286 | 0 | 836.5 | 0 | 26421.4286 | 23778.411 | 1999.6537 | 0 | 1999.6537 | 21778.7572 | 4642.6714 | 21.32% | -286.92 | --- | ---
2017 | 26001.8529 | 0 | 836.5 | 0 | 26838.3529 | 24252.2502 | 2045.5618 | 0 | 2045.5618 | 22206.6884 | 4631.6645 | 20.86% | -190.3268 | --- | ---
2018 | 26023.4091 | 0 | 1043.5 | 0 | 27066.9091 | 24647.5478 | 2092.3398 | 0 | 2092.3398 | 22555.208 | 4511.7011 | 20% | -0.65951 | --- | ---
2019 | 26043 | 1622 | 454.5 | 0 | 28119.5 | 25044.7696 | 2139.831 | 0 | 2139.831 | 22904.9386 | 5214.5614 | 22.77% | -633.5737 | 12.28% | -570.2534
2020 | 26043 | 1622 | 454.5 | 0 | 28119.5 | 25369.1737 | 2188.0601 | 0 | 2188.0601 | 23181.1136 | 4938.3864 | 21.3% | -302.1637 | 10.84% | -213.4089
Notes for Table Staff-84a:
* | -1: MW values shown in Columns (1) & (2) include, but are not limited to, the following: the completion of the Port Everglades modernization project in 2016, the retirement of 44 of the 48 existing GTs in late 2016, the
addition of 5 new CTs at the Lauderdale site and 2 CTs at the Ft.Myers site in late 2016, the addition of 116 MW of firm PV in late 2016, the upgraded capacity of Ft.Myers 3A & 3B in late 2016, and the addition of
an unspecified one-year 207 MW PPA in 2018.
** | -1: The DSM values shown in Column (6) account for incremental DSM additions as per the 2014 DSM Goals docket for 2015 through 2020, and for projected annual participant attrition in FPL's existing residential
load management program.
*** | -1: MW values shown in Column (10) represent new generating capacity needed to meet the 20% total reserve margin criterion.
**** | -1: MW values shown in Column (12) represent new generating capacity needed to meet the 10% generation-only reserve margin criterion (GRM) which must be met beginning in 2019.
Docket No. 15__________-EI
Projection of FPL's Resource Needs: 2015 through 2020
Exhibit SRS-2, Page 1 of 1