## Row1
Florida Power & Light Company Docket No. 150196-EI Staff's Second Set of Interrogatories Interrogatory No. 44 - Supplemental Attachment No. 1 Tab 1 of 7
Table Staff Supplemental 44
| Based on Table Staff-62 (d) and (e) |  | Summer
| Row 1 | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Okeechobee GE 3x1 7HA02 with DF | 1633
| Total of MW changes to Summer firm capacity: | 1633 | 23.64%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 22.21%
2021 | CCEC Upgrade | 88
| Total of MW changes to Summer firm capacity: | 88 | 23.05%
2022 | RBEC Upgrade | 86
| Total of MW changes to Summer firm capacity: | 86 | 22.49%
2023
| Total of MW changes to Summer firm capacity: | 0 | 21.23%
2024 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 25.26%
2025 |  | 0
| Total of MW changes to Summer firm capacity: | 0 | 23.49%
2026 | Unsited CC | 1317
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 987 | 25.26%
2027 | Turkey Point 6 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 26.85%
2028 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 28.62%
2029 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 26.01%
2030
| Total of MW changes to Summer firm capacity: | 0 | 23.45%
2031
| Total of MW changes to Summer firm capacity: | 0 | 21.09%
2032 | Filler Unit | 1399
| Turkey Point 3 Retirement | -831
| Total of MW changes to Summer firm capacity: | 568 | 20.65%
2033 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -841
| Total of MW changes to Summer firm capacity: | 1139 | 22.38%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 22.24%
2035
| Total of MW changes to Summer firm capacity: | 0 | 20.2%
2036 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -981
| Total of MW changes to Summer firm capacity: | 999 | 21.61%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.95%
2038
| Total of MW changes to Summer firm capacity: | 0 | 20.06%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.34%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.58%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.17%
2042 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.74%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -840
| Total of MW changes to Summer firm capacity: | 480 | 21.75%
2044
| Total of MW changes to Summer firm capacity: | 0 | 20.31%
2045 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.87%
2046 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.41%
2047
| Total of MW changes to Summer firm capacity: | 0 | 20.01%
2048 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.54%
2049 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%
2050 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%

## Row2
Florida Power & Light Company Docket No. 150196-EI Staff's Second Set of Interrogatories Interrogatory No. 44 - Supplemental Attachment No. 1 Tab 2 of 7
Table Staff Supplemental 44
| Based on Table Staff-62 (d) and (e) |  | Summer
| Row 2 | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Okeechobee GE 3x1 7HA02 with DF | 1622
| Total of MW changes to Summer firm capacity: | 1622 | 23.59%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 22.17%
2021 | CCEC Upgrade | 88
| Total of MW changes to Summer firm capacity: | 88 | 23%
2022 | RBEC Upgrade | 86
| Total of MW changes to Summer firm capacity: | 86 | 22.45%
2023
| Total of MW changes to Summer firm capacity: | 0 | 21.19%
2024 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 25.21%
2025 |  | 0
| Total of MW changes to Summer firm capacity: | 0 | 23.44%
2026 | Unsited CC | 1317
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 987 | 25.22%
2027 | Turkey Point 6 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 26.81%
2028 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 28.58%
2029 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 25.97%
2030
| Total of MW changes to Summer firm capacity: | 0 | 23.41%
2031
| Total of MW changes to Summer firm capacity: | 0 | 21.05%
2032 | Filler Unit | 1399
| Turkey Point 3 Retirement | -831
| Total of MW changes to Summer firm capacity: | 568 | 20.65%
2033 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -841
| Total of MW changes to Summer firm capacity: | 1139 | 22.38%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 22.24%
2035
| Total of MW changes to Summer firm capacity: | 0 | 20.2%
2036 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -981
| Total of MW changes to Summer firm capacity: | 999 | 21.61%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.95%
2038
| Total of MW changes to Summer firm capacity: | 0 | 20.06%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.34%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.58%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.17%
2042 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.74%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -840
| Total of MW changes to Summer firm capacity: | 480 | 21.75%
2044
| Total of MW changes to Summer firm capacity: | 0 | 20.31%
2045 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.87%
2046 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.41%
2047
| Total of MW changes to Summer firm capacity: | 0 | 20.01%
2048 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.54%
2049 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%
2050 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%

## Row3
Florida Power & Light Company Docket No. 150196-EI Staff's Second Set of Interrogatories Interrogatory No. 44 - Supplemental Attachment No. 1 Tab 3 of 7
Table Staff Supplemental 44
| Based on Table Staff-62 (d) and (e) |  | Summer
| Row 3 | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | 6 OK CTs | 1386
| Total of MW changes to Summer firm capacity: | 1386 | 22.55%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 21.14%
2021 | CCEC Upgrade | 88
| Total of MW changes to Summer firm capacity: | 88 | 21.98%
2022 | RBEC Upgrade | 86
| Total of MW changes to Summer firm capacity: | 86 | 21.43%
2023 | Short-Term PPA | 180
| Total of MW changes to Summer firm capacity: | 180 | 20.95%
2024 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 24.22%
2025 |  | 0
| Total of MW changes to Summer firm capacity: | 0 | 22.46%
2026 | Unsited CC | 1317
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 987 | 24.26%
2027 | Turkey Point 6 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 25.87%
2028 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 27.65%
2029 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 25.07%
2030
| Total of MW changes to Summer firm capacity: | 0 | 22.52%
2031 | Short-Term PPA | 186
| Total of MW changes to Summer firm capacity: | 186 | 20.87%
2032 | Filler Unit | 1635
| Turkey Point 3 Retirement | -831
| Total of MW changes to Summer firm capacity: | 804 | 20.65%
2033 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -841
| Total of MW changes to Summer firm capacity: | 1139 | 22.38%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 22.24%
2035
| Total of MW changes to Summer firm capacity: | 0 | 20.2%
2036 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -981
| Total of MW changes to Summer firm capacity: | 999 | 21.61%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.95%
2038
| Total of MW changes to Summer firm capacity: | 0 | 20.06%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.34%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.58%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.17%
2042 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.74%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -840
| Total of MW changes to Summer firm capacity: | 480 | 21.75%
2044
| Total of MW changes to Summer firm capacity: | 0 | 20.31%
2045 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.87%
2046 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.41%
2047
| Total of MW changes to Summer firm capacity: | 0 | 20.01%
2048 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.54%
2049 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%
2050 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%

## Row4
Florida Power & Light Company Docket No. 150196-EI Staff's Second Set of Interrogatories Interrogatory No. 44 - Supplemental Attachment No. 1 Tab 4 of 7
Table Staff Supplemental 44
| Based on Table Staff-62 (d) and (e) |  | Summer
| Row 4 | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | 7 OK CTs | 1617
| Total of MW changes to Summer firm capacity: | 1617 | 23.57%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 22.14%
2021 | CCEC Upgrade | 88
| Total of MW changes to Summer firm capacity: | 88 | 22.98%
2022 | RBEC Upgrade | 86
| Total of MW changes to Summer firm capacity: | 86 | 22.43%
2023
| Total of MW changes to Summer firm capacity: | 0 | 21.16%
2024 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 25.19%
2025 |  | 0
| Total of MW changes to Summer firm capacity: | 0 | 23.42%
2026 | Unsited CC | 1317
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 987 | 25.2%
2027 | Turkey Point 6 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 26.79%
2028 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 28.56%
2029 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 25.95%
2030
| Total of MW changes to Summer firm capacity: | 0 | 23.39%
2031
| Total of MW changes to Summer firm capacity: | 0 | 21.03%
2032 | Filler Unit | 1404
| Turkey Point 3 Retirement | -831
| Total of MW changes to Summer firm capacity: | 573 | 20.65%
2033 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -841
| Total of MW changes to Summer firm capacity: | 1139 | 22.38%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 22.24%
2035
| Total of MW changes to Summer firm capacity: | 0 | 20.2%
2036 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -981
| Total of MW changes to Summer firm capacity: | 999 | 21.61%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.95%
2038
| Total of MW changes to Summer firm capacity: | 0 | 20.06%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.34%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.58%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.17%
2042 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.74%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -840
| Total of MW changes to Summer firm capacity: | 480 | 21.75%
2044
| Total of MW changes to Summer firm capacity: | 0 | 20.31%
2045 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.87%
2046 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.41%
2047
| Total of MW changes to Summer firm capacity: | 0 | 20.01%
2048 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.54%
2049 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%
2050 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%

## Row5
Florida Power & Light Company Docket No. 150196-EI Staff's Second Set of Interrogatories Interrogatory No. 44 - Supplemental Attachment No. 1 Tab 5 of 7
Table Staff Supplemental 44
| Based on Table Staff-62 (d) and (e) |  | Summer
| Row 5 | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | 5 OK CTs | 1155
| Total of MW changes to Summer firm capacity: | 1155 | 21.54%
2020 | Expiration of St. John's PPA | -375
| Short-Term PPA | 74
| Total of MW changes to Summer firm capacity: | -301 | 20.46%
2021 | CCEC Upgrade | 88
| Total of MW changes to Summer firm capacity: | 88 | 20.98%
2022 | Short-Term PPA | 89
| RBEC Upgrade | 86
| Total of MW changes to Summer firm capacity: | 175 | 20.82%
2023 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 24.8%
2024
| Total of MW changes to Summer firm capacity: | 0 | 23.25%
2025 |  | 0
| Total of MW changes to Summer firm capacity: | 0 | 21.5%
2026 | Unsited CC | 1317
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 987 | 23.32%
2027 | Turkey Point 6 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 24.95%
2028 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 26.75%
2029 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 24.18%
2030
| Total of MW changes to Summer firm capacity: | 0 | 21.66%
2031 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 24.17%
2032 | Filler Unit | 549
| Turkey Point 3 Retirement | -831
| Total of MW changes to Summer firm capacity: | -282 | 20.65%
2033 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -841
| Total of MW changes to Summer firm capacity: | 1139 | 22.38%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 22.24%
2035
| Total of MW changes to Summer firm capacity: | 0 | 20.2%
2036 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -981
| Total of MW changes to Summer firm capacity: | 999 | 21.61%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.95%
2038
| Total of MW changes to Summer firm capacity: | 0 | 20.06%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.34%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.58%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.17%
2042 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.74%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -840
| Total of MW changes to Summer firm capacity: | 480 | 21.75%
2044
| Total of MW changes to Summer firm capacity: | 0 | 20.31%
2045 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.87%
2046 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.41%
2047
| Total of MW changes to Summer firm capacity: | 0 | 20.01%
2048 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.54%
2049 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%
2050 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%

## Row6
Florida Power & Light Company Docket No. 150196-EI Staff's Second Set of Interrogatories Interrogatory No. 44 - Supplemental Attachment No. 1 Tab 6 of 7
Table Staff Supplemental 44
| Based on Table Staff-62 (d) and (e) |  | Summer
| Row 6 | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Mitsubishi J CC | 1418
| Total of MW changes to Summer firm capacity: | 1418 | 22.69%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 21.28%
2021 | CCEC Upgrade | 88
| Total of MW changes to Summer firm capacity: | 88 | 22.12%
2022 | RBEC Upgrade | 86
| Total of MW changes to Summer firm capacity: | 86 | 21.57%
2023 | Short-Term PPA | 148
| Total of MW changes to Summer firm capacity: | 148 | 20.95%
2024 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 24.36%
2025 |  | 0
| Total of MW changes to Summer firm capacity: | 0 | 22.59%
2026 | Unsited CC | 1317
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 987 | 24.39%
2027 | Turkey Point 6 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 25.99%
2028 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 27.78%
2029 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 25.19%
2030
| Total of MW changes to Summer firm capacity: | 0 | 22.64%
2031 | Short-Term PPA | 154
| Total of MW changes to Summer firm capacity: | 154 | 20.87%
2032 | Filler Unit | 1603
| Turkey Point 3 Retirement | -831
| Total of MW changes to Summer firm capacity: | 772 | 20.65%
2033 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -841
| Total of MW changes to Summer firm capacity: | 1139 | 22.38%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 22.24%
2035
| Total of MW changes to Summer firm capacity: | 0 | 20.2%
2036 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -981
| Total of MW changes to Summer firm capacity: | 999 | 21.61%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.95%
2038
| Total of MW changes to Summer firm capacity: | 0 | 20.06%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.34%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.58%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.17%
2042 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.74%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -840
| Total of MW changes to Summer firm capacity: | 480 | 21.75%
2044
| Total of MW changes to Summer firm capacity: | 0 | 20.31%
2045 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.87%
2046 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.41%
2047
| Total of MW changes to Summer firm capacity: | 0 | 20.01%
2048 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.54%
2049 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%
2050 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%

## Row7
Florida Power & Light Company Docket No. 150196-EI Staff's Second Set of Interrogatories Interrogatory No. 44 - Supplemental Attachment No. 1 Tab 7 of 7
Table Staff Supplemental 44
| Based on Table Staff-62 (d) and (e) |  | Summer
| Row 7 | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Siemens H CC | 1322
| Total of MW changes to Summer firm capacity: | 1322 | 22.27%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 20.86%
2021 | CCEC Upgrade | 88
| Total of MW changes to Summer firm capacity: | 88 | 21.7%
2022 | RBEC Upgrade | 86
| Total of MW changes to Summer firm capacity: | 86 | 21.16%
2023 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 25.51%
2024
| Total of MW changes to Summer firm capacity: | 0 | 23.95%
2025 |  | 0
| Total of MW changes to Summer firm capacity: | 0 | 22.2%
2026 | Unsited CC | 1317
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 987 | 24%
2027 | Turkey Point 6 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 25.61%
2028 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 27.41%
2029 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 24.82%
2030
| Total of MW changes to Summer firm capacity: | 0 | 22.28%
2031 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 24.79%
2032 | Filler Unit | 382
| Turkey Point 3 Retirement | -831
| Total of MW changes to Summer firm capacity: | -449 | 20.65%
2033 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -841
| Total of MW changes to Summer firm capacity: | 1139 | 22.38%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 22.24%
2035
| Total of MW changes to Summer firm capacity: | 0 | 20.2%
2036 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -981
| Total of MW changes to Summer firm capacity: | 999 | 21.61%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.95%
2038
| Total of MW changes to Summer firm capacity: | 0 | 20.06%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.34%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.58%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.17%
2042 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.74%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -840
| Total of MW changes to Summer firm capacity: | 480 | 21.75%
2044
| Total of MW changes to Summer firm capacity: | 0 | 20.31%
2045 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.87%
2046 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.41%
2047
| Total of MW changes to Summer firm capacity: | 0 | 20.01%
2048 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.54%
2049 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%
2050 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.06%