## Sheet1
EE Residential Measures | EE Commercial Measures | EE Industrial Measures | DR Residential Measures | DR Commercial Measures | DR Industrial Measures | DER Measures
Energy Star Clothes Dryer | Efficient Exhaust Hood | Building Envelope Improvements | Central air conditioner - Load Shed | Central air conditioner - Load Shed | CPP + Tech | PV
Energy Star Clothes Washer | Energy Star Commercial Oven | HVAC Equipment Upgrades | Central Heating - Load Shed | Central Heating - Load Shed | Auto DR | CHP
Energy Star Dishwasher | Energy Star Fryer | HVAC Recommissioning | Central air conditioner - 50% cycling | Central air conditioner - 50% cycling | Firm Service Level | Storage
Energy Star Freezer | Energy Star Griddle | HVAC Improved Controls | Central Heating - 50% cycling | Central Heating - 50% cycling | Guaranteed Load Drop
Energy Star Refrigerator | Energy Star Hot Food Holding Cabinet | Efficient Lighting - High Bay | Smart thermostats - Utility Installation | Smart thermostats - Utility Installation
Heat Pump Clothes Dryer | Energy Star Steamer | Efficient Lighting - Other Interior Lighting | Smart thermostats - BYOT | Smart thermostats - BYOT
Removal of 2nd Refrigerator-Freezer | Induction Cooktops | Lighting Controls | CPP + Tech | CPP + Tech
High Efficiency Convection Oven | Drain Water Heat Recovery | Efficient Lighting - Exterior | Water heater switches
High Efficiency Induction Cooktop | Energy Star Commercial Dishwasher | Lighting Controls - Exterior | Pool pump switches
Drain Water Heat Recovery | Faucet Aerator | Compressed Air System Optimization | Room AC
Faucet Aerator | Heat Pump Water Heater | Compressed Air Controls
Heat Pump Water Heater | Hot Water Circulation Pump Control | Compressed Air Equipment
Heat Trap | Hot Water Pipe Insulation | Fan Improved Controls
Hot Water Pipe Insulation | Instantaneous Hot Water System | Fan System Optimization
Instantaneous Hot Water System | Low Flow Shower Head | Fan Equipment Upgrades
Low Flow Showerhead | Low-Flow Pre-Rinse Sprayers | Pump Improved Controls
Solar Water Heater | Solar Water Heater | Pump System Optimization
Thermostatic Shower Restriction Valve | Tank Wrap on Water Heater | Pump Equipment Upgrade
Water Heater Blanket | Bi-Level Lighting Control (Exterior) | Motor Equipment Upgrades
Water Heater Thermostat Setback | CFL - 15W Flood | Motor Improved Controls
Water Heater Timeclock | High Efficiency HID Lighting | Motor Optimization
Energy Star Air Purifier | LED - 9W Flood | Process Heat Improved Controls
Energy Star Audio-Video Equipment | LED Display Lighting (Exterior) | Process Heat System Optimization
Energy Star Imaging Equipment | LED Exterior Lighting | Process Heat Equipment Upgrade
Energy Star Personal Computer | LED Parking Lighting | Process Other Systems Optimization
Energy Star TV | LED Street Lights | Process Other Equipment Upgrades
Smart Power Strip | LED Traffic and Crosswalk Lighting | Process Refrig System Optimization
CFL - 15W Flood | Outdoor Lighting Controls | Process Refrig Controls
CFL - 15W Flood (Exterior) | Bi-Level Lighting Control (Interior) | Process Refrig Equipment Upgrade
CFL-13W | CFL-23W | Plant Energy Management
CFL-23W | High Bay Fluorescent (T5)
Exterior Lighting Controls | High Bay LED
Interior Lighting Controls | Interior Lighting Controls
LED - 14W | LED - 14W
LED - 9W | LED Display Lighting (Interior)
LED - 9W Flood | LED Linear - Fixture Replacement
LED - 9W Flood (Exterior) | LED Linear - Lamp Replacement
LED Specialty Lamps-5W Chandelier | Premium T8 - Fixture Replacement
Linear LED | Premium T8 - Lamp Replacement
Low Wattage T8 Fixture | Efficient Battery Charger
Energy Star Bathroom Ventilating Fan | Efficient Motor Belts
Energy Star Ceiling Fan | ENERGY STAR Commercial Clothes Washer
Energy Star Dehumidifier | ENERGY STAR Water Cooler
Heat Pump Pool Heater | Engine Block Timer
Solar Pool Heater | Regenerative Drive Elevator Motor
Solar Powered Pool Pumps | Solar Pool Heater
Two Speed Pool Pump | Two Speed Pool Pump
Variable Speed Pool Pump | Variable Speed Pool Pump
15 SEER Central AC | VSD Controlled Compressor
16 SEER Central AC | Facility Energy Management System
17 SEER Central AC | Retro-Commissioning
18 SEER Central AC | ENERGY STAR Imaging Equipment
21 SEER Central AC | Energy Star PCs
Central AC Tune Up | Energy Star Servers
Energy Star Room AC | Energy Star Uninterruptable Power Supply
Solar Attic Fan | Network PC Power Management
14 SEER ASHP from base electric resistance heating | Server Virtualization
15 SEER Air Source Heat Pump | Smart Strip Plug Outlet
16 SEER Air Source Heat Pump | Anti-Sweat Controls
17 SEER Air Source Heat Pump | Automatic Door Closer for Walk-in Coolers and Freezers
18 SEER Air Source Heat Pump | Demand Defrost
21 SEER Air Source Heat Pump | Energy Star Commercial Glass Door Freezer
21 SEER ASHP from base electric resistance heating | Energy Star Commercial Glass Door Refrigerator
Air Sealing-Infiltration Control | Energy Star Commercial Solid Door Freezer
Ceiling Insulation(R12 to R38) | Energy Star Commercial Solid Door Refrigerator
Ceiling Insulation(R19 to R38) | Energy Star Ice Maker
Ceiling Insulation(R2 to R38) | Energy Star Refrigerator
Ceiling Insulation(R30 to R38) | Energy Star Vending Machine
Duct Insulation | Floating Head Pressure Controls
Duct Repair | Freezer-Cooler Replacement Gaskets
Energy Star Certified Roof Products | High Efficiency Refrigeration Compressor
Energy Star Door | High R-Value Glass Doors
Energy Star Windows | Night Covers for Display Cases
Floor Insulation | PSC to ECM Evaporator Fan Motor (Reach-In)
Green Roof | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator)
Ground Source Heat Pump | Refrigerated Display Case LED Lighting
Heat Pump Tune Up | Refrigerated Display Case Lighting Controls
Home Energy Management System | Strip Curtains for Walk-ins
Programmable Thermostat | Chilled Water Controls Optimization
Radiant Barrier | Chilled Water System - Variable Speed Drives
Sealed crawlspace | Cool Roof
Smart Thermostat | High Efficiency Chiller (Air Cooled, 50 tons)
Spray Foam Insulation(Base R12) | High Efficiency Chiller (Water cooled-centrifugal, 200 tons)
Spray Foam Insulation(Base R19) | Thermal Energy Storage
Spray Foam Insulation(Base R2) | Air Curtains
Spray Foam Insulation(Base R30) | Airside Economizer
Storm Door | Ceiling Insulation(R12 to R38)
Variable Refrigerant Flow (VRF) HVAC Systems | Ceiling Insulation(R19 to R38)
Wall Insulation | Ceiling Insulation(R2 to R38)
Window Sun Protection | Ceiling Insulation(R30 to R38)
HVAC ECM Motor | Dedicated Outdoor Air System on VRF unit
Destratification Fans
Duct Insulation
Duct Sealing Repair
Energy Recovery Ventilation System (ERV)
Facility Commissioning
Floor Insulation
Geothermal Heat Pump
Green Roof
High Efficiency Chiller (Water cooled-positive displacement, 100 tons)
High Efficiency Data Center Cooling
High Efficiency DX 135k- less than 240k BTU
High Efficiency PTAC
High Efficiency PTHP
Hotel Card Energy Control Systems
HVAC tune-up
Infiltration Reduction - Air Sealing
Low U-Value Windows
Programmable Thermostat
Roof Insulation
Smart Thermostat
Variable Refrigerant Flow (VRF) HVAC Systems
Wall Insulation
Warehouse Loading Dock Seals
Water Cooled Refrigeration Heat Recovery
Waterside Economizer
Window Sun Protection
ECM Motors on Furnaces
10HP Open Drip-Proof(ODP) Motor
CO Sensors for Parking Garage Exhaust
Demand Controlled Ventilation
High Speed Fans
VAV System