## Gulf Dashboard
Summary tables for all three sectors (Res/Com/Ind):
Table 1. Theoretically Technical Potential Savings for Residential, Commercial, and Industrial Sectors | [5 empty] | Results Compare from 2013 Revision |  |  |  |  | Results Compare from ITRON 2009
|  | Residential | Non-Residential | Total |  |  | Residential | Non-Residential | Total |  |  | Residential | Non-Residential | Total
| 2020 Summer Peak (MW) | 1251.4769 | 877.8216 | 2129.2985 |  | Summer Peak (MW) | 1862.0664 | 688.7095 | 2550.7758 |  | Summer Peak (MW) | 1150 | 675 | 1825
| Technical Summer Peak Savings (MW) | 465.092 | 493.342 | 958.434 |  | Summer Peak Savings (MW) | 189.4266 | 95.67 | 285.0966 |  | Summer Peak Savings (MW) | 198 | 100 | 298
| % of Summer Peak | 37.16% | 56.2% | 45.01% |  | % of Summer Peak | 10.17% | 13.89% | 11.18% |  | % of Summer Peak | 17.22% | 14.81% | 16.33%
| 2020 Winter Peak (MW) | 1358.8491 | 701.6945 | 2060.5436 |  | Winter Peak (MW) | 1865.1273 | 569.3332 | 2434.4605 |  | Winter Peak (MW) | 1270 | 558 | 1828
| Technical Winter Peak Savings (MW) | 667.21 | 336.858 | 1004.068 |  | Winter Peak Savings (MW) | 199.9503 | 40.1814 | 240.1317 |  | Winter Peak Savings (MW) | 209 | 42 | 251
| % of Winter Peak | 49.1% | 48.01% | 48.73% |  | % of Winter Peak | 10.72% | 7.058% | 9.864% |  | % of Winter Peak | 16.46% | 7.527% | 13.73%
Table 2. Summer Peak Demand by Segment by Sector
| Residential |  |  |  | GS |  |  |  | GSD
| Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak
| Single Family | 888.9169 | 71.03% |  | 0-15,000 kWh | 27.1331 | 40.96% |  | 0-50 kW | 110.6863 | 13.64%
| Multi-Family | 248.4928 | 19.86% |  | 15,001-25,000 kWh | 15.1794 | 22.91% |  | 51-300 kW | 266.1756 | 32.8%
| Mobile Home/Other | 114.0672 | 9.115% |  | 25,001-50,000 kWh | 17.1396 | 25.87% |  | 301-500 kW | 132.5245 | 16.33%
[5 empty] | 50,000 kWh+ | 6.7948 | 10.26% |  | 501 kW+ | 302.1885 | 37.23%
| Total | 1251.4769 | 100% |  | Total | 66.2468 | 100% |  | Total | 811.5748 | 100%
Table 3. Winter Peak Demand by Segment by Sector
| Residential |  |  |  | GS |  |  |  | GSD
| Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak
| Single Family | 981.0728 | 72.2% |  | 0-15,000 kWh | 16.5406 | 36.02% |  | 0-50 kW | 85.3388 | 13.01%
| Multi-Family | 241.6896 | 17.79% |  | 15,001-25,000 kWh | 12.5441 | 27.31% |  | 51-300 kW | 235.7361 | 35.95%
| Mobile Home/Other | 136.0866 | 10.01% |  | 25,001-50,000 kWh | 12.9071 | 28.1% |  | 301-500 kW | 85.1668 | 12.99%
[5 empty] | 50,000 kWh+ | 3.9349 | 8.568% |  | 501 kW+ | 249.5261 | 38.05%
| Total | 1358.8491 | 100% |  | Total | 45.9267 | 100% |  | Total | 655.7678 | 100%
Table 4. Summer Peak Potential by End Use by Sector (UNADJUSTED)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 0 | 0% |  | Space Heating | 0 | 0% |  | All | 632.7912 | 77.97%
| Space Cooling | 609.3208 | 48.69% |  | Space Cooling | 28.0358 | 42.32%
| Water Heater | 69.7075 | 5.57%
| Pool Pump | 67.6542 | 5.406%
| Total | 746.6825 | 59.66% |  | Total | 28.0358 | 42.32% |  | Total | 632.7912 | 77.97%
Table 5. Winter Peak Potential by End Use by Sector (UNADJUSTED)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 646.9735 | 47.61% |  | Space Heating | 20.9479 | 45.61% |  | All | 510.4225 | 77.84%
| Space Cooling | 0 | 0% |  | Space Cooling | 0 | 0%
| Water Heater | 103.7285 | 7.634%
| Pool Pump | 39.8253 | 2.931%
| Total | 790.5272 | 58.18% |  | Total | 20.9479 | 45.61% |  | Total | 510.4225 | 77.84%
Table 6. Summer Peak Potential by End Use by Sector (ADJUSTED)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 0 | 0% |  | Space Heating | 0 | 0% |  | All | 475.235 | 58.56%
| Space Cooling | 389.081 | 31.09% |  | Space Cooling | 18.107 | 27.33%
| Water Heater | 47.776 | 3.818%
| Pool Pump | 28.235 | 2.256%
| Total | 465.092 | 37.16% |  | Total | 18.107 | 27.33% |  | Total | 475.235 | 58.56%
Table 7. Winter Peak Potential by End Use by Sector (ADJUSTED)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 552.728 | 40.68% |  | Space Heating | 4.462 | 9.715% |  | All | 332.396 | 50.69%
| Space Cooling | 0 | 0% |  | Space Cooling | 0 | 0%
| Water Heater | 74.657 | 5.494%
| Pool Pump | 39.825 | 2.931%
| Total | 667.21 | 49.1% |  | Total | 4.462 | 9.715% |  | Total | 332.396 | 50.69%

## Gulf TP Inputs
Gulf Technical Potential - 2018 Study (Scaled to 2020)
| Res Curtailable Load (MW) | GS Curtailable Load (MW) | GSD Curtailable Load (MW) | Non-Res Curtailable | Total Curtailable Load (MW) | System Load (MW) | % of System Load
Summer | 741 | 28 | 628 | 656 | 1397 | 2507.8427 | 55.71%
Winter | 865 | 23 | 558 | 581 | 1446 | 2274.2304 | 63.58%
Gulf Technical Potential - 2009 Study
| Res Curtailable Load (MW) | GS Curtailable Load (MW) | GSD Curtailable Load (MW) | Non-Res Curtailable | Total Curtailable Load (MW) | Res Baseline | NonRes Baseline | System Load (MW) | % of System Load
Summer | 198 | 95 | 5 | 100 | 298 | 1150 | 675 | 1825 | 16.33%
Winter | 209 | 40 | 2 | 42 | 251 | 1270 | 558 | 1828 | 13.73%
Gulf Technical Potential - 2014 Study
| Res Curtailable Load (MW) | GS Curtailable Load (MW) | GSD Curtailable Load (MW) | Non-Res Curtailable | Total Curtailable Load (MW) | Res Baseline | NonRes Baseline | System Load (MW) | % of System Load
Summer | 189.4266 | 90.8865 | 4.7835 | 95.67 | 285.0966 | 1173.3569 | 688.7095 | 1862.0664 | 15.31%
Winter | 199.9503 | 38.268 | 1.9134 | 40.1814 | 240.1317 | 1295.7941 | 569.3332 | 1865.1273 | 12.87%
Winter Peak Loads (kW)
| Res Segments Heating Load (kW) |  | GS Segments Heating Load (kW) |  | GSD Segments Total Load (kW) |  | Residential Pool Pump and Water Heater Load
Population | Single Family | 464110.5 | 0-15,000 kWh | 10868 | 0-50 kW | 93373 | SF Pool Pump | 30632 | SF Water Heater | 58721
| Multi-Family | 138753.81 | 15,001-25,000 kWh | 5881 | 51-300 kW | 257845 | MF Pool Pump | 10702 | MF Water Heater | 43098
| Mobile Home/Other | 104893.91 | 25,001-50,000 kWh | 5064 | 301-500 kW | 84496 | MH Pool Pump | 2233 | MH Water Heater | 11655
| Total | 707758.22 | 50,001 kWh + | 1104 | 501 kW + | 122664 | Total Pool Pump | 43567 | Total Water Heater | 113474
|  |  | Total | 22916 | Total | 558378
Summer Peak Loads by End Use (kW)
| Res Segments Cooling Load (kW) |  | GS Segments Cooling Load (kW) |  | GSD Segments Total Load (kW) |  | Residential Pool Pump and Water Heater Load
Population | Single Family | 406672 | 0-15,000 kWh | 14579 | 0-50 kW | 109802 | SF Pool Pump | 47188 | SF Water Heater | 35784
| Multi-Family | 153034 | 15,001-25,000 kWh | 6275 | 51-300 kW | 263997 | MF Pool Pump | 16486 | MF Water Heater | 26264
| Mobile Home/Other | 44750 | 25,001-50,000 kWh | 4834 | 301-500 kW | 119230 | MH Pool Pump | 3440 | MH Water Heater | 7103
| Total | 604456 | 50,001 kWh + | 2124 | 501 kW + | 134709 | Total Pool Pump | 67114 | Total Water Heater | 69151
|  |  | Total | 27812 | Total | 627739
2015 Technical Potential
| Peak Day | Peak Hour (HE) | Residential Curtailable Load (MW) | Total Residential Load (MW)* | GS Curtailable Load (MW) | GS Total Load (MW) | GSD Curtailable Load (MW) | Total Curtailable Load (MW) | System Load (MW) | % of System Load
Summer | 2015-07-21 | 17 | 741 | 4678 | 28 | 322 | 628 | 1396 | 2488 | 56.1%
Winter | 2015-01-08 | 8 | 865 | 4774 | 23 | 228 | 558 | 1446 | 2488 | 58.1%
ADJUSTED TP RESULTS
RES | [6 empty] | SMB |  |  | LCI
Housing Type | Winter Res Heating (kW) | Summer Res Cooling (kW) | Summer Res Pool Pump (kW) | Summer Res Water Heater (kW) | Winter Res Pool Pump (kW) | Winter Res Water Heater (kW) | Segment | SMB Heating (kW) | SMB Cooling (kW) | Segment | LCI Winter kW | LCI Summer kW
Single Family | 362450 | 261770 | 19852 | 24723 | 28001 | 38634 | 0-15,000 kWh | 2223 | 9492 | 0-50 kW | 71232 | 83127
Multi Family | 108361 | 98506 | 6936 | 18146 | 9783 | 28355 | 15,001-25,000 kWh | 1203 | 4085 | 51-300 kW | 196704 | 199861
Mobile Home/Other | 81917 | 28805 | 1447 | 4907 | 2041 | 7668 | 25,001-50,000 kWh | 1036 | 3147 | 301-500 kW | 64460 | 90264
[7 empty] | 50,001 kWh + | 226 | 1383 | 501 kW + | 93577 | 101983
%Diff between 2016 and 2020 system peak (from 10 year site plan):
Summer: | 0.8048% |  | 2015 Peak Load By Segments (No Disaggregation)
Winter: | -8.588% |  | Customer Counts (ALL CUSTOMERS INCL. DR) |  | Avg Winter Peak | Avg Summer Peak | Winter Peak Load | Summer Peak Load
|  |  | Single Family | 250985 | 4.2761 | 3.5134 | 1073247.0772 | 881819.7653
|  |  | Multi-Family | 124653 | 2.1211 | 1.9776 | 264396.9454 | 246508.7867
|  |  | Mobile Home/Other | 34725 | 4.2872 | 3.2586 | 148872.3255 | 113156.4877
|  |  | Total | 410363 |  |  | 1486516.3481 | 1241485.0397
|  |  | 0-15,000 kWh | 22217 | 0.81445 | 1.2115 | 18094.6454 | 26916.4355
|  |  | 15,001-25,000 kWh | 4443 | 3.0886 | 3.3892 | 13722.6209 | 15058.2031
|  |  | 25,001-50,000 kWh | 2613 | 5.4037 | 6.507 | 14119.7902 | 17002.7634
|  |  | 50,001 kWh + | 423 | 10.1764 | 15.935 | 4304.5969 | 6740.5071
|  |  | Total | 29696 |  |  | 50241.6535 | 65717.9091
|  |  | 0-50 kW | 9686 | 9.6383 | 11.3362 | 93356.5668 | 109802.5296
|  |  | 51-300 kW | 4903 | 52.5972 | 53.8549 | 257884.0789 | 264050.4354
|  |  | 301-500 kW | 462 | 201.6632 | 284.5593 | 93168.4194 | 131466.3979
|  |  | 501 kW + | 158 | 1727.6564 | 1897.3151 | 272969.7129 | 299775.7818
|  |  | Total | 15209 |  |  | 717378.778 | 805095.1447
Summary of DR Technical Potential Results by Sector
| High S MW | Low S MW | High W MW |  | Low W MW
Residential (Itron Original) | 198 | 87 | 209 |  | 85
Commercial (Itron Original) | 95 | 77.5 | 40 |  | 29
Industrial (Itron Original) | 5 | 3.5 | 2 |  | 1
Total (Itron Original) | 298 | 168 | 251 |  | 115
Systm Adj Fact- Custm Count | 2.031% | 2.031% | 2.031% |  | 2.031%
Total (after System Adj Fact) | 304.0525 | 171.4121 | 256.0979 |  | 117.3357
Achievements 2008-2012 | 18.9668 | 18.9668 | 9.317 |  | 9.317
Total (less achievements) | 285.0857 | 152.4454 | 246.7809 |  | 108.0187
Percent Change from ITRON Original | -4.334% | -9.259% | -1.681% |  | -6.071%
Sector | DR-Enabling Technology and Tariff | Summer System Peak | [5 empty] | Winter System Peak
|  | Baseline | Technical Potential |  |  |  | Baseline | Technical Potential
|  |  | High |  | Low |  |  | High |  | Low
|  | MW | MW | % | MW | % | MW | MW | % | MW | %
Residential | AC Cycling Switch w/ flat rate |  | 29 | 2.6% | 53 | 4.6% |  | 27 | 2.1% | 48 | 3.8%
| AC Shedding Switch w/ flat rate |  | - | 0% | - | 0% |  | - | 0% | - | 0%
| Smarth Thermostats for AC w/CPP |  | 86 | 7.4% | 17 | 1.5% |  | 78 | 6.1% | 16 | 1.2%
| On-Off Switching via low-power wireless networks for water heating |  | 19 | 1.7% | 4 | 0.3% |  | 54 | 4.2% | 11 | 0.8%
| On-Off Switching via low-power wireless networks for pool systems |  | 13 | 1.2% | 3 | 0.2% |  | 3 | 0.2% | 1 | 0%
| In-home displays and pre-set control strategies with CPP |  | 50 | 4.4% | 10 | 0.9% |  | 49 | 3.8% | 10 | 0.8%
| Total Residential | 1150 | 198 | 17.2% | 87 | 7.5% | 1270 | 209 | 16.5% | 85 | 6.7%
Commercial | Automated Load Control Strategies w/ CPP |  | 41 | 7.1% | 23 | 4% |  | 24 | 5.4% | 14 | 3.1%
| Direct Load Control System |  | 54 | 9.3% | 54 | 9.3% |  | 15 | 3.4% | 15 | 3.4%
| Total Commercial | 579 | 95 | 16.4% | 78 | 13.4% | 450 | 40 | 8.8% | 29 | 6.5%
Industrial | Austomated Control Strategies w/CPP |  | 2 | 1.7% | 1 | 1% |  | 2 | 1.1% | 1 | 0.7%
| Direct Load Control System |  | 2 | 2% | 2 | 2% |  | 1 | 0.4% | 1 | 0.4%
| Total Industrial | 96 | 5 | 5.2% | 4 | 4.2% | 108 | 2 | 1.9% | 1 | 1%
TOTAL |  | 1825 | 298 | 16.3% | 168 | 9.2% | 1828 | 251 | 13.7% | 115 | 6.3%
Gulf Peak Demand Forecast (from 10 year site plan)

## Gulf EP Inputs
Utility | Season | Segment (Housing Type or Size) | Sector | Measure | Measure Expected Load Impact (kW/customer) | Annual Energy Savings (ST Install Only) | Equipment Cost ($/customer) | Installation Cost ($/customer) | Up-Front Admin Cost ($/Customer) | Total Up-Front Cost ($/customer) | Recurring Admin Cost ($/Customer/year) | Measure Life (years) | New Measure? | New Measure O&M Cost | New Measure IT Cost
Gulf | Summer | Single Family | Residential | Central air conditioner - Load Shed | 1.4724 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Summer | Multi Family | Residential | Central air conditioner - Load Shed | 1.0541 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Summer | Mobile Home/Other | Residential | Central air conditioner - Load Shed | 1.1252 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Winter | Single Family | Residential | Central Heating - Load Shed | 2.1775 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Winter | Multi Family | Residential | Central Heating - Load Shed | 1.1209 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Winter | Mobile Home/Other | Residential | Central Heating - Load Shed | 2.92 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Summer | Single Family | Residential | Central air conditioner - 50% cycling | 0.7362 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Summer | Multi Family | Residential | Central air conditioner - 50% cycling | 0.52705 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Summer | Mobile Home/Other | Residential | Central air conditioner - 50% cycling | 0.56259 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Winter | Single Family | Residential | Central Heating - 50% cycling | 1.0887 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Winter | Multi Family | Residential | Central Heating - 50% cycling | 0.56047 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Winter | Mobile Home/Other | Residential | Central Heating - 50% cycling | 1.46 |  | 140 | 66 | 22 | 228 | 10 | 15 | Y | 65000
Gulf | Winter | Single Family | Residential | Water heater switches | 0.19369 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Winter | Multi Family | Residential | Water heater switches | 0.19369 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Winter | Mobile Home/Other | Residential | Water heater switches | 0.19369 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Summer | Single Family | Residential | Water heater switches | 0.207 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Summer | Multi Family | Residential | Water heater switches | 0.207 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Summer | Mobile Home/Other | Residential | Water heater switches | 0.207 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Winter | Single Family | Residential | Pool pump switches | 0.49487 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Winter | Multi Family | Residential | Pool pump switches | 0.49487 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Winter | Mobile Home/Other | Residential | Pool pump switches | 0.49487 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Summer | Single Family | Residential | Pool pump switches | 0.76233 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Summer | Multi Family | Residential | Pool pump switches | 0.76233 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Summer | Mobile Home/Other | Residential | Pool pump switches | 0.76233 |  | 140 | 66 | 22 | 228 | 10 | 15 | N
Gulf | Winter | Single Family | Residential | Room AC control | 0.27218 |  | 72 | 121 | 22 | 215 | 10 | 15 | Y | 65000
Gulf | Winter | Multi Family | Residential | Room AC control | 0.14012 |  | 72 | 121 | 22 | 215 | 10 | 15 | Y | 65000
Gulf | Winter | Mobile Home/Other | Residential | Room AC control | 0.365 |  | 72 | 121 | 22 | 215 | 10 | 15 | Y | 65000
Gulf | Summer | Single Family | Residential | Room AC control | 0.18405 |  | 72 | 121 | 22 | 215 | 10 | 15 | Y | 65000
Gulf | Summer | Multi Family | Residential | Room AC control | 0.13176 |  | 72 | 121 | 22 | 215 | 10 | 15 | Y | 65000
Gulf | Summer | Mobile Home/Other | Residential | Room AC control | 0.14065 |  | 72 | 121 | 22 | 215 | 10 | 15 | Y | 65000
Gulf | Winter | Single Family | Residential | Smart thermostats - Utility Installation | 0.46271 | 264.6876 | 169 | 121 | 22 | 312 | 10 | 15 | N
Gulf | Winter | Multi Family | Residential | Smart thermostats - Utility Installation | 0.2382 | 172.12 | 169 | 121 | 22 | 312 | 10 | 15 | N
Gulf | Winter | Mobile Home/Other | Residential | Smart thermostats - Utility Installation | 0.6205 | 258.92 | 169 | 121 | 22 | 312 | 10 | 15 | N
Gulf | Summer | Single Family | Residential | Smart thermostats - Utility Installation | 0.7362 | 264.6876 | 169 | 121 | 22 | 312 | 10 | 15 | N
Gulf | Summer | Multi Family | Residential | Smart thermostats - Utility Installation | 0.52705 | 172.12 | 169 | 121 | 22 | 312 | 10 | 15 | N
Gulf | Summer | Mobile Home/Other | Residential | Smart thermostats - Utility Installation | 0.56259 | 258.92 | 169 | 121 | 22 | 312 | 10 | 15 | N
Gulf | Winter | Single Family | Residential | Smart thermostats - BYOT | 0.46271 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 45000
Gulf | Winter | Multi Family | Residential | Smart thermostats - BYOT | 0.2382 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 45000
Gulf | Winter | Mobile Home/Other | Residential | Smart thermostats - BYOT | 0.6205 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 45000
Gulf | Summer | Single Family | Residential | Smart thermostats - BYOT | 0.7362 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 45000
Gulf | Summer | Multi Family | Residential | Smart thermostats - BYOT | 0.52705 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 45000
Gulf | Summer | Mobile Home/Other | Residential | Smart thermostats - BYOT | 0.56259 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 45000
Gulf | Winter | Single Family | Residential | CPP + Tech | 0.87173 | 264.6876 | 184 | 179 | 22 | 385 | 10 | 15 | N
Gulf | Winter | Multi Family | Residential | CPP + Tech | 0.54156 | 172.12 | 184 | 179 | 22 | 385 | 10 | 15 | N
Gulf | Winter | Mobile Home/Other | Residential | CPP + Tech | 1.1038 | 258.92 | 184 | 179 | 22 | 385 | 10 | 15 | N
Gulf | Summer | Single Family | Residential | CPP + Tech | 1.167 | 264.6876 | 184 | 179 | 22 | 385 | 10 | 15 | N
Gulf | Summer | Multi Family | Residential | CPP + Tech | 0.95787 | 172.12 | 184 | 179 | 22 | 385 | 10 | 15 | N
Gulf | Summer | Mobile Home/Other | Residential | CPP + Tech | 0.9934 | 258.92 | 184 | 179 | 22 | 385 | 10 | 15 | N
Gulf | Summer | 0-15,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 0.65573 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Summer | 15,001-25,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 1.3681 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Summer | 25,001-50,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 1.7895 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Summer | 50,001 kWh + | Small Medium Business | Central air conditioner - Load Shed | 4.8114 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Winter | 0-15,000 kWh | Small Medium Business | Central Heating - Load Shed | 0.70755 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Winter | 15,001-25,000 kWh | Small Medium Business | Central Heating - Load Shed | 1.9579 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Winter | 25,001-50,000 kWh | Small Medium Business | Central Heating - Load Shed | 2.7684 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Winter | 50,001 kWh + | Small Medium Business | Central Heating - Load Shed | 3.5409 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Summer | 0-15,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 0.32786 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Summer | 15,001-25,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 0.68406 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Summer | 25,001-50,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 0.89473 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Summer | 50,001 kWh + | Small Medium Business | Central air conditioner - 50% cycling | 2.4057 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Winter | 0-15,000 kWh | Small Medium Business | Central Heating - 50% cycling | 0.35377 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Winter | 15,001-25,000 kWh | Small Medium Business | Central Heating - 50% cycling | 0.97894 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Winter | 25,001-50,000 kWh | Small Medium Business | Central Heating - 50% cycling | 1.3842 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Winter | 50,001 kWh + | Small Medium Business | Central Heating - 50% cycling | 1.7704 |  | 89.95 | 34.11 | 22 | 146.06 | 10 | 15 | Y | 25000
Gulf | Summer | 0-15,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 0.32786 | 162.3395 | 174 | 115 | 22 | 311 | 10 | 15 | Y | 25000
Gulf | Summer | 15,001-25,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 0.68406 | 611.4372 | 174 | 115 | 22 | 311 | 10 | 15 | Y | 25000
Gulf | Summer | 25,001-50,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 0.89473 | 978.3377 | 174 | 115 | 22 | 311 | 10 | 15 | Y | 25000
Gulf | Summer | 50,001 kWh + | Small Medium Business | Smart thermostats - Utility Installation | 2.4057 | 2024.9782 | 174 | 115 | 22 | 311 | 10 | 15 | Y | 25000
Gulf | Winter | 0-15,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 0.15035 | 162.3395 | 174 | 115 | 22 | 311 | 10 | 15 | Y | 25000
Gulf | Winter | 15,001-25,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 0.41605 | 611.4372 | 174 | 115 | 22 | 311 | 10 | 15 | Y | 25000
Gulf | Winter | 25,001-50,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 0.58829 | 978.3377 | 174 | 115 | 22 | 311 | 10 | 15 | Y | 25000
Gulf | Winter | 50,001 kWh + | Small Medium Business | Smart thermostats - Utility Installation | 0.75244 | 2024.9782 | 174 | 115 | 22 | 311 | 10 | 15 | Y | 25000
Gulf | Summer | 0-15,000 kWh | Small Medium Business | Smart thermostats - BYOT | 0.32786 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 25000
Gulf | Summer | 15,001-25,000 kWh | Small Medium Business | Smart thermostats - BYOT | 0.68406 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 25000
Gulf | Summer | 25,001-50,000 kWh | Small Medium Business | Smart thermostats - BYOT | 0.89473 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 25000
Gulf | Summer | 50,001 kWh + | Small Medium Business | Smart thermostats - BYOT | 2.4057 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 25000
Gulf | Winter | 0-15,000 kWh | Small Medium Business | Smart thermostats - BYOT | 0.15035 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 25000
Gulf | Winter | 15,001-25,000 kWh | Small Medium Business | Smart thermostats - BYOT | 0.41605 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 25000
Gulf | Winter | 25,001-50,000 kWh | Small Medium Business | Smart thermostats - BYOT | 0.58829 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 25000
Gulf | Winter | 50,001 kWh + | Small Medium Business | Smart thermostats - BYOT | 0.75244 |  | 0 | 0 | 22 | 22 | 10 | 15 | Y | 25000
Gulf | Summer | 0-15,000 kWh | Small Medium Business | CPP + Tech | 0.32786 | 47.38 | 174 | 179 | 22 | 375 | 10 | 15 | Y | 25000
Gulf | Summer | 15,001-25,000 kWh | Small Medium Business | CPP + Tech | 0.68406 | 178.47 | 174 | 179 | 22 | 375 | 10 | 15 | Y | 25000
Gulf | Summer | 25,001-50,000 kWh | Small Medium Business | CPP + Tech | 0.89473 | 285.57 | 174 | 179 | 22 | 375 | 10 | 15 | Y | 25000
Gulf | Summer | 50,001 kWh + | Small Medium Business | CPP + Tech | 2.4057 | 591.07 | 174 | 179 | 22 | 375 | 10 | 15 | Y | 25000
Gulf | Winter | 0-15,000 kWh | Small Medium Business | CPP + Tech | 0.22111 | 47.38 | 174 | 179 | 22 | 375 | 10 | 15 | Y | 25000
Gulf | Winter | 15,001-25,000 kWh | Small Medium Business | CPP + Tech | 0.61184 | 178.47 | 174 | 179 | 22 | 375 | 10 | 15 | Y | 25000
Gulf | Winter | 25,001-50,000 kWh | Small Medium Business | CPP + Tech | 0.86513 | 285.57 | 174 | 179 | 22 | 375 | 10 | 15 | Y | 25000
Gulf | Winter | 50,001 kWh + | Small Medium Business | CPP + Tech | 1.1065 | 591.07 | 174 | 179 | 22 | 375 | 10 | 15 | Y | 25000
Gulf | Summer | 0-50 kW | Large C&I | Auto DR | 11.3362 |  | 0 | 98.47 | Included in Up-Front Equip&Install | 98.47 | 11.45 | 40 | Y | 25000
Gulf | Summer | 51-300 kW | Large C&I | Auto DR | 53.8734 |  | 0 | 467.98 | Included in Up-Front Equip&Install | 467.98 | 54.42 | 40 | Y | 25000
Gulf | Summer | 301-500 kW | Large C&I | Auto DR | 290.0661 |  | 0 | 2519.72 | Included in Up-Front Equip&Install | 2519.72 | 292.99 | 40 | Y | 25000
Gulf | Summer | 501 kW + | Large C&I | Auto DR | 2087.2258 |  | 0 | 18131.11 | Included in Up-Front Equip&Install | 18131.11 | 2108.27 | 40 | Y | 25000
Gulf | Winter | 0-50 kW | Large C&I | Auto DR | 10.1714 |  | 0 | 98.47 | Included in Up-Front Equip&Install | 98.47 | 11.45 | 40 | Y | 25000
Gulf | Winter | 51-300 kW | Large C&I | Auto DR | 55.3004 |  | 0 | 467.98 | Included in Up-Front Equip&Install | 467.98 | 54.42 | 40 | Y | 25000
Gulf | Winter | 301-500 kW | Large C&I | Auto DR | 222.0263 |  | 0 | 2519.72 | Included in Up-Front Equip&Install | 2519.72 | 292.99 | 40 | Y | 25000
Gulf | Winter | 501 kW + | Large C&I | Auto DR | 1695.722 |  | 0 | 18131.11 | Included in Up-Front Equip&Install | 18131.11 | 2108.27 | 40 | Y | 25000
Gulf | Summer | 0-50 kW | Large C&I | CPP | 4.5345 |  | 0 | 98.47 | Included in Up-Front Equip&Install | 98.47 | 11.45 | 40 | Y | 25000
Gulf | Summer | 51-300 kW | Large C&I | CPP | 21.5494 |  | 0 | 467.98 | Included in Up-Front Equip&Install | 467.98 | 54.42 | 40 | Y | 25000
Gulf | Summer | 301-500 kW | Large C&I | CPP | 116.0264 |  | 0 | 2519.72 | Included in Up-Front Equip&Install | 2519.72 | 292.99 | 40 | Y | 25000
Gulf | Summer | 501 kW + | Large C&I | CPP | 834.8903 |  | 0 | 18131.11 | Included in Up-Front Equip&Install | 18131.11 | 2108.27 | 40 | Y | 25000
Gulf | Winter | 0-50 kW | Large C&I | CPP | 4.0686 |  | 0 | 98.47 | Included in Up-Front Equip&Install | 98.47 | 11.45 | 40 | Y | 25000
Gulf | Winter | 51-300 kW | Large C&I | CPP | 22.1202 |  | 0 | 467.98 | Included in Up-Front Equip&Install | 467.98 | 54.42 | 40 | Y | 25000
Gulf | Winter | 301-500 kW | Large C&I | CPP | 88.8105 |  | 0 | 2519.72 | Included in Up-Front Equip&Install | 2519.72 | 292.99 | 40 | Y | 25000
Gulf | Winter | 501 kW + | Large C&I | CPP | 678.2888 |  | 0 | 18131.11 | Included in Up-Front Equip&Install | 18131.11 | 2108.27 | 40 | Y | 25000
Gulf | Summer | 0-50 kW | Large C&I | Firm Service Level | 11.3362 |  | 0 | 98.47 | Included in Up-Front Equip&Install | 98.47 | 11.45 | 40 | N
Gulf | Summer | 51-300 kW | Large C&I | Firm Service Level | 53.8734 |  | 0 | 467.98 | Included in Up-Front Equip&Install | 467.98 | 54.42 | 40 | N
Gulf | Summer | 301-500 kW | Large C&I | Firm Service Level | 290.0661 |  | 0 | 2519.72 | Included in Up-Front Equip&Install | 2519.72 | 292.99 | 40 | N
Gulf | Summer | 501 kW + | Large C&I | Firm Service Level | 2087.2258 |  | 0 | 18131.11 | Included in Up-Front Equip&Install | 18131.11 | 2108.27 | 40 | N
Gulf | Winter | 0-50 kW | Large C&I | Firm Service Level | 10.1714 |  | 0 | 98.47 | Included in Up-Front Equip&Install | 98.47 | 11.45 | 40 | N
Gulf | Winter | 51-300 kW | Large C&I | Firm Service Level | 55.3004 |  | 0 | 467.98 | Included in Up-Front Equip&Install | 467.98 | 54.42 | 40 | N
Gulf | Winter | 301-500 kW | Large C&I | Firm Service Level | 222.0263 |  | 0 | 2519.72 | Included in Up-Front Equip&Install | 2519.72 | 292.99 | 40 | N
Gulf | Winter | 501 kW + | Large C&I | Firm Service Level | 1695.722 |  | 0 | 18131.11 | Included in Up-Front Equip&Install | 18131.11 | 2108.27 | 40 | N
Gulf | Summer | 0-50 kW | Large C&I | Guaranteed Load Drop | 11.3362 |  | 0 | 98.47 | Included in Up-Front Equip&Install | 98.47 | 11.45 | 40 | Y | 25000
Gulf | Summer | 51-300 kW | Large C&I | Guaranteed Load Drop | 53.8734 |  | 0 | 467.98 | Included in Up-Front Equip&Install | 467.98 | 54.42 | 40 | Y | 25000
Gulf | Summer | 301-500 kW | Large C&I | Guaranteed Load Drop | 290.0661 |  | 0 | 2519.72 | Included in Up-Front Equip&Install | 2519.72 | 292.99 | 40 | Y | 25000
Gulf | Summer | 501 kW + | Large C&I | Guaranteed Load Drop | 2087.2258 |  | 0 | 18131.11 | Included in Up-Front Equip&Install | 18131.11 | 2108.27 | 40 | Y | 25000
Gulf | Winter | 0-50 kW | Large C&I | Guaranteed Load Drop | 10.1714 |  | 0 | 98.47 | Included in Up-Front Equip&Install | 98.47 | 11.45 | 40 | Y | 25000
Gulf | Winter | 51-300 kW | Large C&I | Guaranteed Load Drop | 55.3004 |  | 0 | 467.98 | Included in Up-Front Equip&Install | 467.98 | 54.42 | 40 | Y | 25000
Gulf | Winter | 301-500 kW | Large C&I | Guaranteed Load Drop | 222.0263 |  | 0 | 2519.72 | Included in Up-Front Equip&Install | 2519.72 | 292.99 | 40 | Y | 25000
Gulf | Winter | 501 kW + | Large C&I | Guaranteed Load Drop | 1695.722 |  | 0 | 18131.11 | Included in Up-Front Equip&Install | 18131.11 | 2108.27 | 40 | Y | 25000
NOTE: ASSUMING $9/kW for up-front cost for LCI customers & $1/kW recurring cost for LCI customers
Note on F1: Stephanie Bieler: Assumes one device per customer
Note on O1: Stephanie Bieler: One-time non volumetric cost to set up program
Note on P1: Stephanie Bieler: One time fixed cost to adjust billing system

## Template Res EP Inputs
Note: will need separate sheets for Residential, Commercial and Industrial | [10 empty] | Projected Participation
(1) Measure | (2) Summer Peak Per Cust (kW) | (3) Winter Peak Per Cust (kW) | Blank Column | (4) Annual energy Per Cust (kWh) | (5 ) service Life(Yrs) | Blank Column | (7) Measure incremental cost (Up-Front) | Measure incremental cost (Recurring) | Blank Column | Blank Column | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
Central air conditioner - Load Shed | 1.4724 | 0 |  | 0 | 15 |  | 228 | 10
Central air conditioner - Load Shed | 1.0541 | 0 |  | 0 | 15 |  | 228 | 10
Central air conditioner - Load Shed | 1.1252 | 0 |  | 0 | 15 |  | 228 | 10
Central air conditioner - 50% cycling | 0.7362 | 0 |  | 0 | 15 |  | 228 | 10
Central air conditioner - 50% cycling | 0.52705 | 0 |  | 0 | 15 |  | 228 | 10
Central air conditioner - 50% cycling | 0.56259 | 0 |  | 0 | 15 |  | 228 | 10
Water heater switches | 0.207 | 0.19369 |  | 0 | 15 |  | 228 | 10
Water heater switches | 0.207 | 0.19369 |  | 0 | 15 |  | 228 | 10
Water heater switches | 0.207 | 0.19369 |  | 0 | 15 |  | 228 | 10
Pool pump switches | 0.76233 | 0.49487 |  | 0 | 15 |  | 228 | 10
Pool pump switches | 0.76233 | 0.49487 |  | 0 | 15 |  | 228 | 10
Pool pump switches | 0.76233 | 0.49487 |  | 0 | 15 |  | 228 | 10
Room AC control | 0.18405 | 0.27218 |  | 0 | 15 |  | 215 | 10
Room AC control | 0.13176 | 0.14012 |  | 0 | 15 |  | 215 | 10
Room AC control | 0.14065 | 0.365 |  | 0 | 15 |  | 215 | 10
Smart thermostats - Utility Installation | 0.7362 | 0.46271 |  | 264.6876 | 15 |  | 312 | 10
Smart thermostats - Utility Installation | 0.52705 | 0.2382 |  | 172.12 | 15 |  | 312 | 10
Smart thermostats - Utility Installation | 0.56259 | 0.6205 |  | 258.92 | 15 |  | 312 | 10
Smart thermostats - BYOT | 0.7362 | 0.46271 |  | 0 | 15 |  | 22 | 10
Smart thermostats - BYOT | 0.52705 | 0.2382 |  | 0 | 15 |  | 22 | 10
Smart thermostats - BYOT | 0.56259 | 0.6205 |  | 0 | 15 |  | 22 | 10
CPP + Tech | 1.167 | 0.87173 |  | 264.6876 | 15 |  | 385 | 10
CPP + Tech | 0.95787 | 0.54156 |  | 172.12 | 15 |  | 385 | 10
CPP + Tech | 0.9934 | 1.1038 |  | 258.92 | 15 |  | 385 | 10
Central Heating - Load Shed | 0 | 2.1775 |  | 0 | 15 |  | 228 | 10
Central Heating - Load Shed | 0 | 1.1209 |  | 0 | 15 |  | 228 | 10
Central Heating - Load Shed | 0 | 2.92 |  | 0 | 15 |  | 228 | 10
Central Heating - 50% cycling | 0 | 1.0887 |  | 0 | 15 |  | 228 | 10
Central Heating - 50% cycling | 0 | 0.56047 |  | 0 | 15 |  | 228 | 10
Central Heating - 50% cycling | 0 | 1.46 |  | 0 | 15 |  | 228 | 10

## Template SMB EP Inputs
Note: will need separate sheets for Residential, Commercial and Industrial | [10 empty] | Projected Particpation
(1) Measure | (2) Summer Peak Per Cust (kW) | (3) Winter Peak Per Cust (kW) | Blank Column | (4) Annual energy Per Cust (kWh) | (5 ) service Life(Yrs) | Blank Column | (7) Measure incremental cost (Up-Front) | Measure incremental cost (Recurring) | Blank Column | Blank Column | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
Central air conditioner - Load Shed | 0.65573 | 0 |  | 0 | 15 |  | 146.06 | 10
Central air conditioner - Load Shed | 1.3681 | 0 |  | 0 | 15 |  | 146.06 | 10
Central air conditioner - Load Shed | 1.7895 | 0 |  | 0 | 15 |  | 146.06 | 10
Central air conditioner - Load Shed | 4.8114 | 0 |  | 0 | 15 |  | 146.06 | 10
Central air conditioner - 50% cycling | 0.32786 | 0 |  | 0 | 15 |  | 146.06 | 10
Central air conditioner - 50% cycling | 0.68406 | 0 |  | 0 | 15 |  | 146.06 | 10
Central air conditioner - 50% cycling | 0.89473 | 0 |  | 0 | 15 |  | 146.06 | 10
Central air conditioner - 50% cycling | 2.4057 | 0 |  | 0 | 15 |  | 146.06 | 10
Smart thermostats - Utility Installation | 0.32786 | 0.15035 |  | 162.3395 | 15 |  | 311 | 10
Smart thermostats - Utility Installation | 0.68406 | 0.41605 |  | 611.4372 | 15 |  | 311 | 10
Smart thermostats - Utility Installation | 0.89473 | 0.58829 |  | 978.3377 | 15 |  | 311 | 10
Smart thermostats - Utility Installation | 2.4057 | 0.75244 |  | 2024.9782 | 15 |  | 311 | 10
Smart thermostats - BYOT | 0.32786 | 0.15035 |  | 0 | 15 |  | 22 | 10
Smart thermostats - BYOT | 0.68406 | 0.41605 |  | 0 | 15 |  | 22 | 10
Smart thermostats - BYOT | 0.89473 | 0.58829 |  | 0 | 15 |  | 22 | 10
Smart thermostats - BYOT | 2.4057 | 0.75244 |  | 0 | 15 |  | 22 | 10
CPP + Tech | 0.32786 | 0.22111 |  | 162.3395 | 15 |  | 375 | 10
CPP + Tech | 0.68406 | 0.61184 |  | 611.4372 | 15 |  | 375 | 10
CPP + Tech | 0.89473 | 0.86513 |  | 978.3377 | 15 |  | 375 | 10
CPP + Tech | 2.4057 | 1.1065 |  | 2024.9782 | 15 |  | 375 | 10
Central Heating - Load Shed | 0 | 0.70755 |  | 0 | 15 |  | 146.06 | 10
Central Heating - Load Shed | 0 | 1.9579 |  | 0 | 15 |  | 146.06 | 10
Central Heating - Load Shed | 0 | 2.7684 |  | 0 | 15 |  | 146.06 | 10
Central Heating - Load Shed | 0 | 3.5409 |  | 0 | 15 |  | 146.06 | 10
Central Heating - 50% cycling | 0 | 0.35377 |  | 0 | 15 |  | 146.06 | 10
Central Heating - 50% cycling | 0 | 0.97894 |  | 0 | 15 |  | 146.06 | 10
Central Heating - 50% cycling | 0 | 1.3842 |  | 0 | 15 |  | 146.06 | 10
Central Heating - 50% cycling | 0 | 1.7704 |  | 0 | 15 |  | 146.06 | 10

## Template LCI EP Inputs
Note: will need separate sheets for Residential, Commercial and Industrial | [10 empty] | Projected Participation
(1) Measure | (2) Summer Peak Per Cust (kW) | (3) Winter Peak Per Cust (kW) | Blank Column | (4) Annual energy Per Cust (kWh) | (5 ) service Life(Yrs) | Blank Column | (7) Measure incremental cost (Up-Front) | Measure incremental cost (Recurring) | Blank Column | Blank Column | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
Auto DR | 11.3362 | 10.1714 |  |  | 40 |  | 98.47 | 11.45
Auto DR | 53.8734 | 55.3004 |  |  | 40 |  | 467.98 | 54.42
Auto DR | 290.0661 | 222.0263 |  |  | 40 |  | 2519.72 | 292.99
Auto DR | 2087.2258 | 1695.722 |  |  | 40 |  | 18131.11 | 2108.27
CPP | 4.5345 | 4.0686 |  |  | 40 |  | 98.47 | 11.45
CPP | 21.5494 | 22.1202 |  |  | 40 |  | 467.98 | 54.42
CPP | 116.0264 | 88.8105 |  |  | 40 |  | 2519.72 | 292.99
CPP | 834.8903 | 678.2888 |  |  | 40 |  | 18131.11 | 2108.27
Firm Service Level | 11.3362 | 10.1714 |  |  | 40 |  | 98.47 | 11.45
Firm Service Level | 53.8734 | 55.3004 |  |  | 40 |  | 467.98 | 54.42
Firm Service Level | 290.0661 | 222.0263 |  |  | 40 |  | 2519.72 | 292.99
Firm Service Level | 2087.2258 | 1695.722 |  |  | 40 |  | 18131.11 | 2108.27
Guaranteed Load Drop | 11.3362 | 10.1714 |  |  | 40 |  | 98.47 | 11.45
Guaranteed Load Drop | 53.8734 | 55.3004 |  |  | 40 |  | 467.98 | 54.42
Guaranteed Load Drop | 290.0661 | 222.0263 |  |  | 40 |  | 2519.72 | 292.99
Guaranteed Load Drop | 2087.2258 | 1695.722 |  |  | 40 |  | 18131.11 | 2108.27

## Calculating ST For GS Customers
Calculating ST Savings
Segment | Average Annual Consumption | Applicability Factor (Averaged Across Commercial Segments) | End Use Savings % | Savings kWh
0-15,000 kWh | 4387.554 | 37% | 10% | 162.3395
15,001-25,000 kWh | 16525.33 | 37% | 10% | 611.4372
25,001-50,000 kWh | 26441.56 | 37% | 10% | 978.3377
50,001 kWh + | 54729.14 | 37% | 10% | 2024.9782