## IndoorLighting
The sample frame for the commercial on-site surveys based on the commercial customer population in the service territories of FPL, Progress Energy, and Gulf Power.
H:\CSPA Projects\610025 - FEECA Potential Study\Data Requests\5. End Use Survey and Baseline Data\FPL\5.1 and 5.3 - KEMA Commercial End-Use Saturation Report (5-26-09).docx
| Table 10 | Electric Energy Utilization Indices (kWh/Square Foot)
| Building Type | Total Floor Area (1000 Sq Ft) | Total MWh | kWh per Sq Ft
| Project level | 3164018 | 50164603 | 15.9
| College/University | 105416 | 2104518 | 20
| School (K-12) | 229687 | 3247361 | 14.1
| Hospital | 56364 | 2297542 | 40.8
| Other Health Care | 126585 | 1925340 | 15.2
| Lodging | 295622 | 4817537 | 16.3
| General Commerce | 449332 | 7949453 | 17.7
| Grocery Store | 65027 | 4374609 | 67.3
| Retail | 363449 | 5592370 | 15.4
| Warehouse | 229778 | 2066747 | 9
| Office | 510786 | 11069565 | 21.7
| Other | 731973 | 4719561 | 6.4
| Table 15 | Power Density by Building and Lamp Type
| Building Type | Total Wattage Incandescent | Total Sq Ft Incandescent | Watts per Sq Ft Incandescent | Total Wattage LF | Total Sq Ft LF | Watts per Sq Ft LF | Total Wattage CFLs | Total Sq Ft CFLs | Total Sq Ft CFLs | Total Wattage HIDs | Total Sq Ft HIDs | Total Sq Ft HIDs | Total Wattage Quartz | Total Sq Ft Quartz | Total Sq Ft Quartz | Total Wattage Other | Total Sq Ft Other | Total Sq Ft Other
| College/University | 2474530 | 11237057 | 0.22 | 19763869 | 22284105 | 0.89 | 839058.24 | 18205469 | 0.05 | 1662540 | 10626101 | 0.16 | 57190 | 4529973 | 0.01 | 27071 | 8564982 | 0.003
| School (K-12) | 2080994 | 41960642 | 0.05 | 219859575 | 188338140 | 1.17 | 3730693.2 | 147933623 | 0.03 | 2204591 | 23657882 | 0.09 | 0 | 0 | 0 | 348730 | 179264250 | 0.002
| Hospital | 1465627 | 34045809 | 0.04 | 34311617 | 56364128 | 0.61 | 1414549.46 | 47273634 | 0.03 | 0 | 0 | 0 | 501349 | 10463866 | 0.05 | 125762 | 48782279 | 0.003
| Other Health Care | 37302379 | 89358672 | 0.42 | 89393853 | 111551112 | 0.8 | 4611063.68 | 47483994 | 0.1 | 1800640 | 6450409 | 0.28 | 1967027 | 16126799 | 0.12 | 71209 | 29599899 | 0.002
| Lodging | 78915483 | 119203688 | 0.66 | 54749539 | 165474147 | 0.33 | 41290358.15 | 157494488 | 0.26 | 824748 | 8103441 | 0.1 | 4753582 | 56732732 | 0.08 | 489339 | 98959249 | 0.005
| General Commerce | 129074160 | 361638051 | 0.36 | 314994799 | 435570056 | 0.72 | 33154899.78 | 278157434 | 0.12 | 41599951 | 130036544 | 0.32 | 6586796 | 58916532 | 0.11 | 3832901 | 261357118 | 0.015
| Grocery Store | 11487312 | 51116165 | 0.22 | 83126148 | 65026902 | 1.28 | 2197725.49 | 33484644 | 0.07 | 40108721 | 41873747 | 0.96 | 2824671 | 25333859 | 0.11 | 1784243 | 43937748 | 0.041
| Retail | 73978257 | 189224690 | 0.39 | 301079979 | 327358045 | 0.92 | 17330050.98 | 254103799 | 0.07 | 62946193 | 166720091 | 0.38 | 21470656 | 74826848 | 0.29 | 1632456 | 203412886 | 0.008
| Warehouse | 10102590 | 64548323 | 0.16 | 91286403 | 222627134 | 0.41 | 5076862.2 | 45099819 | 0.11 | 25999983 | 83425563 | 0.31 | 417418 | 12929897 | 0.03 | 268468 | 58663316 | 0.005
| Office | 40137788 | 182779482 | 0.22 | 331708538 | 401926019 | 0.83 | 17399765.94 | 272212663 | 0.06 | 22763597 | 108710246 | 0.21 | 9716042 | 74247430 | 0.13 | 1253315 | 221703305 | 0.006
| Other | 297478953 | 556448500 | 0.53 | 175353037 | 648397880 | 0.27 | 93752802.13 | 343505049 | 0.27 | 19973037 | 59960070 | 0.33 | 3302041 | 59647070 | 0.06 | 584881 | 350396812 | 0.002
Equiptype Saturation (%)
| Building Type | Incandescent | LF | CFLs | HIDs | Quartz | Others
| College/University | 9.968% | 79.62% | 3.38% | 6.697% | 0.2304% | 0.1091%
| School (K-12) | 0.9118% | 96.33% | 1.635% | 0.966% | 0% | 0.1528%
| Hospital | 3.875% | 90.73% | 3.74% | 0% | 1.326% | 0.3325%
| Other Health Care | 27.6% | 66.15% | 3.412% | 1.332% | 1.455% | 0.05269%
| Lodging | 43.59% | 30.24% | 22.81% | 0.4556% | 2.626% | 0.2703%
| General Commerce | 24.39% | 59.52% | 6.265% | 7.86% | 1.245% | 0.7242%
| Grocery Store | 8.117% | 58.73% | 1.553% | 28.34% | 1.996% | 1.261%
| Retail | 15.46% | 62.93% | 3.622% | 13.16% | 4.488% | 0.3412%
| Warehouse | 7.587% | 68.56% | 3.813% | 19.53% | 0.3135% | 0.2016%
| Office | 9.489% | 78.42% | 4.114% | 5.382% | 2.297% | 0.2963%
| Other | 50.38% | 29.7% | 15.88% | 3.383% | 0.5592% | 0.09906%

## OutdoorLighting
The sample frame for the commercial on-site surveys based on the commercial customer population in the service territories of FPL, Progress Energy, and Gulf Power.
H:\CSPA Projects\610025 - FEECA Potential Study\Data Requests\5. End Use Survey and Baseline Data\FPL\5.1 and 5.3 - KEMA Commercial End-Use Saturation Report (5-26-09).docx
| Table 21 | Outdoor Lighting Total and Percent Wattage by Lamp Type
Total Wattage By Lamp Type
| Building Type | Incandescent - Watts | LF - Watts | CFL - Watts | HIDs - Watts | Quartz - Watts | Other - Watts | Total
| College/University | 426932 | 255432 | 245602 | 8382087 | 5500 |  | 9315553
| School (K-12) | 1008191 | 70303 | 1282356 | 17684555 | 46725 |  | 20092130
| Hospital | 143341 | 596237 | 354196 | 4271626 | 307103 | 3863 | 5676366
| Other Health Care | 1040556 | 91934 | 536550 | 4678316 | 5513847 | 48 | 11861251
| Lodging | 5774848 | 2743908 | 5414957 | 20733196 | 4319726 | 35791 | 39022426
| General Commerce | 14591099 | 11299010 | 4753036 | 104189369 | 5266375 | 5625 | 140104514
| Grocery Store | 1789597 | 6427879 | 107008 | 32485919 | 813475 | 1479 | 41625357
| Retail | 2342082 | 2067574 | 849520 | 45966963 | 2224195 |  | 53450334
| Warehouse | 1371494 | 10540 | 415041 | 41041894 |  |  | 42838969
| Office | 4628858 | 334204113 | 3042561 | 60634039 | 2617737 | 982965 | 406110273
| Other | 45001224 | 5807150 | 14322068 | 665437497 | 391624 | 17272 | 730976835
| Project Level | 78118222 | 363574080 | 31322895 | 1005505461 | 21506307 | 1047042 | 1501074008
Equiptype Saturation (%)
| Building Type | Incandescent | LF | CFLs | HIDs | Quartz | Others
| College/University | 4.583% | 2.742% | 2.636% | 89.98% | 0.05904% | 0%
| School (K-12) | 5.018% | 0.3499% | 6.382% | 88.02% | 0.2326% | 0%
| Hospital | 2.525% | 10.5% | 6.24% | 75.25% | 5.41% | 0.06805%
| Other Health Care | 8.773% | 0.7751% | 4.524% | 39.44% | 46.49% | 0.0004047%
| Lodging | 14.8% | 7.032% | 13.88% | 53.13% | 11.07% | 0.09172%
| General Commerce | 10.41% | 8.065% | 3.392% | 74.37% | 3.759% | 0.004015%
| Grocery Store | 4.299% | 15.44% | 0.2571% | 78.04% | 1.954% | 0.003553%
| Retail | 4.382% | 3.868% | 1.589% | 86% | 4.161% | 0%
| Warehouse | 3.202% | 0.0246% | 0.9688% | 95.81% | 0% | 0%
| Office | 1.14% | 82.29% | 0.7492% | 14.93% | 0.6446% | 0.242%
| Other | 6.156% | 0.7944% | 1.959% | 91.03% | 0.05358% | 0.002363%

## HVAC
The sample frame for the commercial on-site surveys based on the commercial customer population in the service territories of FPL, Progress Energy, and Gulf Power.
H:\CSPA Projects\610025 - FEECA Potential Study\Data Requests\5. End Use Survey and Baseline Data\FPL\5.1 and 5.3 - KEMA Commercial End-Use Saturation Report (5-26-09).docx
| Table 26 | Packaged HVAC Units Total Tonnage by Unit Type
| Building Type | Packaged Single Zone - AC w/ heat | Packaged Single Zone - AC only | Heat Pump - Air Source | Heat Pump - Hydronic | Heat Pump - Ground Source | Window or Wall AC Unit | Window or Wall Heat Pump | Packaged Multi Zone | Unit Ventilator | Packaged Variable Air Volume | Packaged Terminal Air Conditioner (PTAC) | Split Systems (AC Only or AC w/ heat) | Split System (Heat Pump) | Other | Total
| College/University | 8036 | 112 | 958 | 117444 |  | 10071 |  | 5637 |  | 1012 | 301 | 1719 | 208 |  | 145535
| School (K-12) | 22639 | 1661 | 152 | 18690 |  |  |  |  | 434 |  | 43 | 28210 | 10848 |  | 83546
| Hospital | 5530 | 8210 | 212 |  |  |  |  | 2545 |  |  | 1502 | 5893 |  |  | 23893
| Other Health Care | 38460 | 7621 | 4467 | 14343 |  | 6918 |  | 44633 |  |  | 231847 | 109217 | 4005 |  | 461512
| Lodging | 81292 | 20205 |  |  |  | 46688 | 8370 | 39009 |  |  | 108765 | 71996 | 7602 |  | 383926
| General Commerce | 519219 | 83423 | 5001 | 2330 |  | 25603 | 1072 | 61075 |  |  |  | 428571 | 67395 | 281 | 1198257
| Grocery Store | 94762 | 43845 | [9 empty] | 17069 | 7556 | 109 | 163342
| Retail | 246929 | 81845 | 197 |  |  | 1384 | 1808 | 123681 |  |  |  | 181990 | 13181 |  | 651016
| Warehouse | 36201 | 21225 |  |  |  | 2784 |  |  |  | 10568 |  | 159316 | 1351 |  | 231445
| Office | 89303 | 144768 | 5798 | 21454 | 1117 | 4217 | 2668 | 24371 |  | 9163 | 333 | 288416 | 17438 |  | 609047
| Other | 438625 | 101699 | 12510 | 12710 |  | 378 | 476 | 4324 |  | 2765 | 524779 | 491494 | 6116 |  | 1595875
| Project Level | 1580996 | 514612 | 29296 | 186972 | 1117 | 98043 | 14392 | 305276 | 434 | 23509 | 867570 | 1783891 | 135701 | 391 | 5547393
| Table 37 | Air versus Water Cooled Chiller by Tonnage
Tonnage Cooling
| Building Type | Air Cooling | Water Cooling | Total Cooling
| College/University | 58067 | 468816 | 526883
| School (K-12) | 428928 | 222048 | 650976
| Hospital | 44091 | 576279 | 620370
| Other Health Care | 419137 | 81197 | 500334
| Lodging | 360818 | 203380 | 564198
| General Commerce | 1210870 | 170014 | 1380884
| Grocery Store | 166318 |  | 166318
| Retail | 661431 | 100327 | 761759
| Warehouse | 224986 |  | 224986
| Office | 795887 | 409393 | 1205280
| Other | 1621006 | 63865 | 1684870
| Project Level | 5991539 | 2295320 | 8286859
| Table 40 | Percent of Sites with Heating Equipment |  |  |  |  | Table 41 | Fuel Used by Heating Equipment
| Building Type | n | Frequency of Sites With Heating Equipment | Weighted % With Heating Equipment |  |  | Building Type | n | Electricity | Natural Gas | Fuel Oil | LPG | Steam | Other Fuel Type | Total
| Project Level | 581 | 378 | 69% |  |  | Project Level | 379 | 80.9% | 16.1% | 0.1% | 0.7% | 0.3% | 2.2% | 100%
| College | 24 | 15 | 28% |  |  | College | 16 | 62.1% | 26.9% |  |  | 11.2% |  | 100%
| School | 39 | 23 | 63% |  |  | School | 23 | 24.8% | 54.2% |  | 0.5% |  | 20.1% | 100%
| Hospital | 27 | 24 | 96% |  |  | Hospital | 24 | 36% | 62.6% | 1.6% |  |  |  | 100%
| HealthCare | 24 | 19 | 82% |  |  | HealthCare | 19 | 80.4% | 16.8% |  | 3% |  |  | 100%
| Lodging | 49 | 34 | 83% |  |  | Lodging | 34 | 62.4% | 33.8% |  | 4.1% |  |  | 100%
| General Commerce | 95 | 64 | 76% |  |  | General Commerce | 64 | 90.1% | 10.1% |  |  |  |  | 100%
| Grocery Store | 51 | 35 | 71% |  |  | Grocery Store | 35 | 72.3% | 5.2% |  | 2.1% |  | 20.5% | 100%
| Retail | 66 | 44 | 71% |  |  | Retail | 44 | 90.6% | 8.3% |  |  | 1.1% |  | 100%
| Warehouse | 22 | 13 | 37% |  |  | Warehouse | 13 | 96.4% | 3.6% |  |  |  |  | 100%
| Office | 132 | 71 | 50% |  |  | Office | 71 | 82.6% | 16.9% |  | 0.2% |  |  | 100%
| Other | 52 | 36 | 85% |  |  | Other | 36 | 98.7% | 1.1% |  | 0.1% |  |  | 100%
| Inputs (Heating): | [9 empty] | Inputs (Cooling):
|  | Packaged Single Zone - AC w/ heat | Packaged Multi Zone | Packaged Variable Air Volume | Heat Pump - Air Source | Split Systems (AC Only or AC w/ heat) | Split System (Heat Pump) | Window or Wall Heat Pump | Total HVAC Heating |  |  | Heat Pump - Air Source | Packaged Single Zone - AC w/ heat | Packaged Single Zone - AC only | Packaged Multi Zone | Packaged Variable Air Volume | Packaged Terminal Air Conditioner (PTAC) | Air Cooling | Water Cooling | Window or Wall AC Unit | Window or Wall Heat Pump | Split Systems (AC Only or AC w/ heat) | Split System (Heat Pump) | Total HVAC Cooling
| Assembly | 519219 | 61075 | 0 | 5001 | 428571 | 67395 | 1072 | 1082333 |  | Assembly | 5001 | 519219 | 83423 | 61075 | 0 | 0 | 1210870 | 170014 | 25603 | 1072 | 428571 | 67395 | 2572243
| College and University | 8036 | 5637 | 1012 | 958 | 1719 | 208 | 0 | 17570 |  | College and University | 958 | 8036 | 112 | 5637 | 1012 | 301 | 58067 | 468816 | 10071 | 0 | 1719 | 208 | 554937
| Grocery | 94762 | 0 | 0 | 0 | 17069 | 7556 | 0 | 119387 |  | Grocery | 0 | 94762 | 43845 | 0 | 0 | 0 | 166318 | 0 | 0 | 0 | 17069 | 7556 | 329550
| Healthcare | 38460 | 44633 | 0 | 4467 | 109217 | 4005 | 0 | 200782 |  | Healthcare | 4467 | 38460 | 7621 | 44633 | 0 | 231847 | 419137 | 81197 | 6918 | 0 | 109217 | 4005 | 947502
| Hospitals | 5530 | 2545 | 0 | 212 | 5893 | 0 | 0 | 14180 |  | Hospitals | 212 | 5530 | 8210 | 2545 | 0 | 1502 | 44091 | 576279 | 0 | 0 | 5893 | 0 | 644262
| Institutional | 519219 | 61075 | 0 | 5001 | 428571 | 67395 | 1072 | 1082333 |  | Institutional | 5001 | 519219 | 83423 | 61075 | 0 | 0 | 1210870 | 170014 | 25603 | 1072 | 428571 | 67395 | 2572243
| Lodging/Hospitality | 81292 | 39009 | 0 | 0 | 71996 | 7602 | 8370 | 208269 |  | Lodging/Hospitality | 0 | 81292 | 20205 | 39009 | 0 | 108765 | 360818 | 203380 | 46688 | 8370 | 71996 | 7602 | 948125
| Miscellaneous | 438625 | 4324 | 2765 | 12510 | 491494 | 6116 | 476 | 956310 |  | Miscellaneous | 12510 | 438625 | 101699 | 4324 | 2765 | 524779 | 1621006 | 63865 | 378 | 476 | 491494 | 6116 | 3268037
| Offices | 89303 | 24371 | 9163 | 5798 | 288416 | 17438 | 2668 | 437157 |  | Offices | 5798 | 89303 | 144768 | 24371 | 9163 | 333 | 795887 | 409393 | 4217 | 2668 | 288416 | 17438 | 1791755
| Restaurants | 519219 | 61075 | 0 | 5001 | 428571 | 67395 | 1072 | 1082333 |  | Restaurants | 5001 | 519219 | 83423 | 61075 | 0 | 0 | 1210870 | 170014 | 25603 | 1072 | 428571 | 67395 | 2572243
| Retail | 246929 | 123681 | 0 | 197 | 181990 | 13181 | 1808 | 567786 |  | Retail | 197 | 246929 | 81845 | 123681 | 0 | 0 | 661431 | 100327 | 1384 | 1808 | 181990 | 13181 | 1412773
| Schools K-12 | 22639 | 0 | 0 | 152 | 28210 | 10848 | 0 | 61849 |  | Schools K-12 | 152 | 22639 | 1661 | 0 | 0 | 43 | 428928 | 222048 | 0 | 0 | 28210 | 10848 | 714529
| Warehouse | 36201 | 0 | 10568 | 0 | 159316 | 1351 | 0 | 207436 |  | Warehouse | 0 | 36201 | 21225 | 0 | 10568 | 0 | 224986 | 0 | 2784 | 0 | 159316 | 1351 | 456431
|  | Forced air furnace | Boilers | Packaged central unit | Residential/split system heat pump | Individual room heating | [5 empty] | Residential-type central air conditioners | Packaged air conditioning units (RTUs) | Central chillers inside | District chilled water piped | Individual room air conditioners
| Assembly |  |  | 53.62% | 46.29% | 0.09905% |  |  |  |  | Assembly | 0.1944% | 25.8% | 47.07% | 6.61% | 20.32%
| College and University |  |  | 83.58% | 16.42% | 0% |  |  |  |  | College and University | 0.1726% | 2.721% | 10.46% | 84.48% | 2.162%
| Grocery |  |  | 79.37% | 20.63% | 0% |  |  |  |  | Grocery | 0% | 42.06% | 50.47% | 0% | 7.472%
| Healthcare |  |  | 41.38% | 58.62% | 0% |  |  |  |  | Healthcare | 0.4715% | 34.04% | 44.24% | 8.57% | 12.68%
| Hospitals |  |  | 56.95% | 43.05% | 0% |  |  |  |  | Hospitals | 0.03291% | 2.761% | 6.844% | 89.45% | 0.9147%
| Institutional |  |  | 53.62% | 46.29% | 0.09905% |  |  |  |  | Institutional | 0.1944% | 25.8% | 47.07% | 6.61% | 20.32%
| Lodging/Hospitality |  |  | 57.76% | 38.22% | 4.019% |  |  |  |  | Lodging/Hospitality | 0% | 26.29% | 38.06% | 21.45% | 14.2%
| Miscellaneous |  |  | 46.61% | 53.34% | 0.04977% |  |  |  |  | Miscellaneous | 0.3828% | 32.81% | 49.6% | 1.954% | 15.25%
| Offices |  |  | 28.1% | 71.29% | 0.6103% |  |  |  |  | Offices | 0.3236% | 14.95% | 44.42% | 22.85% | 17.45%
| Restaurants |  |  | 53.62% | 46.29% | 0.09905% |  |  |  |  | Restaurants | 0.1944% | 25.8% | 47.07% | 6.61% | 20.32%
| Retail |  |  | 65.27% | 34.41% | 0.3184% |  |  |  |  | Retail | 0.01394% | 32.03% | 46.82% | 7.101% | 14.04%
| Schools K-12 |  |  | 36.6% | 63.4% | 0% |  |  |  |  | Schools K-12 | 0.02127% | 3.407% | 60.03% | 31.08% | 5.466%
| Warehouse |  |  | 22.55% | 77.45% | 0% |  |  |  |  | Warehouse | 0% | 14.9% | 49.29% | 0% | 35.81%

## HotWater
The sample frame for the commercial on-site surveys based on the commercial customer population in the service territories of FPL, Progress Energy, and Gulf Power.
H:\CSPA Projects\610025 - FEECA Potential Study\Data Requests\5. End Use Survey and Baseline Data\FPL\5.1 and 5.3 - KEMA Commercial End-Use Saturation Report (5-26-09).docx
| Table 42 | Service Hot Water by Fuel Type | [5 empty] | Table 43 | Electric Service Water Heating Efficiency Items
| Building Type | n | Frequency of Sites With Service Water Heating | Weighted % With Service Water Heating |  |  |  | Building Type | n With Electric Water Heating | % With Tank Insulation | % With Pipe Insulation | % Tankless | % Heat Pump | % With Heat Recovery
| Project Level | 582 | 412 | 73% |  |  |  | College | 42 | 1% | 56% | 10% |  | 2%
| College | 25 | 16 | 38% |  |  |  | School | 61 |  | 67%
| School | 39 | 33 | 71% |  |  |  | Hospital | 6 |  | 45%
| Hospital | 27 | 13 | 41% |  |  |  | HealthCare | 16 |  | 17%
| HealthCare | 24 | 18 | 84% |  |  |  | Lodging | 14 |  | 47%
| Lodging | 49 | 29 | 64% |  |  |  | General Commerce | 66 | 3% | 33% | 3%
| General Commerce | 95 | 79 | 88% |  |  |  | Grocery Store | 55 | 2% | 70% | 8% |  | 28%
| Grocery Store | 51 | 49 | 97% |  |  |  | Retail | 54 |  | 35% | 20%
| Retail | 66 | 46 | 73% |  |  |  | Warehouse | 16 |  | 32% | 5%
| Warehouse | 22 | 12 | 35% |  |  |  | Office | 98 | 3% | 42% | 4%
| Office | 132 | 84 | 63% |  |  |  | Other | 30 | 0 | 17% | 2%
| Other | 52 | 33 | 85% |  |  |  | Project Level | 458 | 1% | 40% | 6% |  | 1%
Percent Service Water Heating By Fuel Type (Out of Sites With Water Heating Equipment)
| Building Type | n | Electricity | Natural Gas | LPG | Other Fuel Type | Total
| Project Level | 412 | 62% | 35% | 3% | 1% | 100%
| College | 16 | 71% | 20% |  | 9% | 100%
| School | 33 | 63% | 22% | 15% |  | 100%
| Hospital | 13 | 27% | 12% |  | 61% | 100%
| HealthCare | 18 | 89% | 11% |  |  | 100%
| Lodging | 29 | 28% | 70% | 2% |  | 100%
| General Commerce | 79 | 72% | 25% | 4% |  | 100%
| Grocery Store | 49 | 68% | 19% | 3% | 10% | 100%
| Retail | 46 | 88% | 12% |  |  | 100%
| Warehouse | 12 | 100% |  |  |  | 100%
| Office | 84 | 85% | 13% | 2% |  | 100%
| Other | 33 | 25% | 75% |  |  | 100%

## Refrigeration
The sample frame for the commercial on-site surveys based on the commercial customer population in the service territories of FPL, Progress Energy, and Gulf Power.
H:\CSPA Projects\610025 - FEECA Potential Study\Data Requests\5. End Use Survey and Baseline Data\FPL\5.1 and 5.3 - KEMA Commercial End-Use Saturation Report (5-26-09).docx
| Table 45 | Percent Remote-Compressor by Type
| Building Type | n | % Open | % Closed | % Glass Display | Total
College
| School | 14 | 15% | 85% |  | 100%
| Hospital | 7 | 40% | 43% | 17% | 100%
HealthCare
| Lodging | 3 | 100% |  |  | 100%
| General Commerce | 6 |  | 6% | 94% | 100%
| Grocery Store | 853 | 78% | 2% | 49% | 128%
| Retail | 105 | 65% | 11% | 41% | 116%
Warehouse
| Office | 4 | 100% |  |  | 100%
| Other | 15 | 20% |  | 80% | 100%
| Project Level | 1007 | 70% | 9% | 44% | 123%

## TaxonomyCompliant
Commercial End Use Equipment Types - FEECA
End Use-> | Interior Lighting | Exterior Lighting | Office Equipment | Cooking | Refrigeration | Space Heating | Space Cooling | Ventilation and Circulation | Domestic Hot Water | Miscellaneous
Equip #1 | High bay | Exterior parking/lot lighting | Computers | Oven | Residential style | Forced air furnace | Residential-type central air conditioners | Central air-handling unit | Centralized water heaters | Pool pump
Equip #2 | Overhead (fluorescent/LED/CFL U-shape) | Exterior marquis | Servers | Range | Walk-in cooler | Boilers | Packaged air conditioning units (RTUs) | Individual room ventilation | "Point-of-Use" water heaters | Laboratory equipment
Equip #3 | Spot lighting | Street lighting | Document production | Steamer | Display cases | Packaged central unit | Central chillers inside | Motor/Fan |  | Medical equipment
Equip #4 | case lighting | Spot lighting/Security/Flood | Other office | Fryer | Vending and ice makers | Residential/split system heat pump | District chilled water piped |  |  | Elevators/Escalators
Equip #5 |  |  |  | Cooking Other | Large cold storage | Individual room heating | Individual room air conditioners |  |  | Others
3. OTHER INPUTS
Utility
End Use Saturation
End Use > | Interior Lighting | Exterior Lighting | Office Equipment | Cooking | Refrigeration | Space Heating | Space Cooling | Ventilation and Circulation | Domestic Hot Water | Miscellaneous
Assembly | 85.76% | 14.88% | 91.18% | 54.6% | 95.06% | 78.97% | 79.6% | 100% | 92.44% | 100%
College and University | 82.64% | 4.42% | 98.29% | 8.82% | 13.19% | 94.15% | 99.53% | 100% | 100% | 100%
Grocery | 85.24% | 14.77% | 100% | 60.69% | 100% | 91.61% | 87.37% | 100% | 94.14% | 100%
Healthcare | 79.56% | 14.58% | 100% | 50.51% | 98.54% | 70.3% | 89.05% | 100% | 99.35% | 100%
Hospitals | 98.17% | 9.9% | 100% | 99.27% | 100% | 88.79% | 99.15% | 100% | 100% | 100%
Institutional | 84.01% | 4.7% | 100% | 55.31% | 96.04% | 97.06% | 64.57% | 100% | 90.37% | 100%
Lodging/Hospitality | 62.81% | 13.36% | 98.89% | 69.3% | 99.08% | 78.61% | 91.56% | 100% | 95.11% | 100%
Miscellaneous | 81.28% | 6.92% | 99.28% | 0.92% | 94.17% | 57.02% | 55.77% | 99.28% | 34.92% | 100%
Offices | 81.01% | 10.21% | 100% | 32.47% | 89.27% | 82.78% | 89.57% | 100% | 94.9% | 100%
Restaurants | 92.58% | 12.08% | 100% | 95.18% | 100% | 85.9% | 91.77% | 100% | 95.1% | 100%
Retail | 86.02% | 8% | 98.93% | 23.14% | 76.2% | 70% | 74.38% | 100% | 94.67% | 100%
Schools K-12 | 95.21% | 3.09% | 99.88% | 82.39% | 91.6% | 85.53% | 97.03% | 100% | 97.74% | 100%
Warehouse | 45.49% | 9.04% | 78.05% | 6.46% | 60.05% | 30.03% | 25.94% | 86.91% | 73.25% | 95.57%
Percentage of stock (C/I) or premises (R) within each segment where the end use consumes energy.
Utility
End Use Fuel Share
End Use > | Interior Lighting | Exterior Lighting | Office Equipment | Cooking | Refrigeration | Space Heating | Space Cooling | Ventilation and Circulation | Domestic Hot Water | Miscellaneous
Assembly | 100% | 100% | 100% | 37.61% | 100% | 76% | 100% | 100% | 72% | 93.78%
College and University | 100% | 100% | 100% | 100% | 100% | 28% | 100% | 100% | 71% | 98.5%
Grocery | 100% | 100% | 100% | 71.93% | 100% | 71% | 100% | 100% | 68% | 93.12%
Healthcare | 100% | 100% | 100% | 17.92% | 100% | 82% | 100% | 100% | 89% | 90.72%
Hospitals | 100% | 100% | 100% | 11.31% | 100% | 96% | 91.02% | 100% | 27% | 80.45%
Institutional | 100% | 100% | 100% | 38.45% | 100% | 76% | 100% | 100% | 72% | 89.11%
Lodging/Hospitality | 100% | 100% | 100% | 26.41% | 100% | 83% | 100% | 100% | 28% | 86.4%
Miscellaneous | 100% | 100% | 100% | 100% | 100% | 85% | 100% | 100% | 25% | 81.99%
Offices | 100% | 100% | 100% | 5.51% | 100% | 50% | 99.52% | 100% | 85% | 89.33%
Restaurants | 100% | 100% | 100% | 18.78% | 100% | 76% | 100% | 100% | 72% | 97.99%
Retail | 100% | 100% | 100% | 11.77% | 100% | 71% | 100% | 100% | 88% | 96.92%
Schools K-12 | 100% | 100% | 100% | 37.92% | 100% | 63% | 100% | 100% | 63% | 69.47%
Warehouse | 100% | 100% | 100% | 72.15% | 100% | 37% | 100% | 100% | 100% | 95.54%
Percentage of sq.ft. within each segment where the end use fuel type is Electricity
EQUIPMENT TYPE SATURATION INPUTS
Utility
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 1: | Assembly
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 164.1% | Oven | 28% | Residential style | 125.5% | Forced air furnace | 8.65% | Residential-type central air conditioners | 0.1944% | Central air-handling unit | 178.6% | Centralized water heaters | 54.94% | Pool pump | 7.89%
| Overhead (fluorescent/LED/CFL U-shape) | 92% | Exterior marquis | 2% | Servers | 52.68% | Range | 16% | Walk-in cooler | 35.58% | Boilers | 2.81% | Packaged air conditioning units (RTUs) | 25.8% | Individual room ventilation | 20.99% | "Point-of-Use" water heaters | 3.27% | Laboratory equipment | 6.2%
| Spot lighting | 5% | Street lighting | 2% | Document production | 242.1% | Steamer | 7% | Display cases | 29.74% | Packaged central unit | 40.78% | Central chillers inside | 47.07% | Motor/Fan | 0.44% |  |  | Medical equipment | 0%
| case lighting | 5% | Spot lighting/Security/Flood | 2% | Other office | 222.3% | Fryer | 8% | Vending and ice makers | 100.4% | Residential/split system heat pump | 35.21% | District chilled water piped | 6.61% |  |  |  |  | Elevators/Escalators | 67.98%
[7 empty] | Cooking Other | 47% | Large cold storage | 8.01% | Individual room heating | 0.07533% | Individual room air conditioners | 20.32% |  |  |  |  | Others | 150.4%
| Total | 203% | Total | 41% | Total | 681.2% | Total | 106% | Total | 299.2% | Total | 87.52% | Total | 100% | Total | 200% | Total | 58.21% | Total | 232.5%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 2: | College and University
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 191.3% | Oven | 28% | Residential style | 114.1% | Forced air furnace | 0% | Residential-type central air conditioners | 0.1726% | Central air-handling unit | 199.5% | Centralized water heaters | 74.13% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 92% | Exterior marquis | 2% | Servers | 81.03% | Range | 16% | Walk-in cooler | 0.36% | Boilers | 17.04% | Packaged air conditioning units (RTUs) | 2.721% | Individual room ventilation | 0.5% | "Point-of-Use" water heaters | 16.25% | Laboratory equipment | 77.85%
| Spot lighting | 5% | Street lighting | 2% | Document production | 286% | Steamer | 7% | Display cases | 12.33% | Packaged central unit | 44.22% | Central chillers inside | 10.46% | Motor/Fan | 0% |  |  | Medical equipment | 0%
| case lighting | 5% | Spot lighting/Security/Flood | 2% | Other office | 356.9% | Fryer | 8% | Vending and ice makers | 152.1% | Residential/split system heat pump | 8.688% | District chilled water piped | 84.48% |  |  |  |  | Elevators/Escalators | 89.07%
[7 empty] | Cooking Other | 47% | Large cold storage | 0% | Individual room heating | 0% | Individual room air conditioners | 2.162% |  |  |  |  | Others | 198.1%
| Total | 203% | Total | 41% | Total | 915.3% | Total | 106% | Total | 278.9% | Total | 69.95% | Total | 100% | Total | 200% | Total | 90.38% | Total | 365%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 3: | Grocery
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 100% | Exterior parking/lot lighting | 35% | Computers | 140.4% | Oven | 26% | Residential style | 20.98% | Forced air furnace | 6.78% | Residential-type central air conditioners | 0% | Central air-handling unit | 190.5% | Centralized water heaters | 74.36% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 78% | Exterior marquis | 2% | Servers | 42.42% | Range | 13% | Walk-in cooler | 67.82% | Boilers | 0% | Packaged air conditioning units (RTUs) | 42.06% | Individual room ventilation | 0% | "Point-of-Use" water heaters | 19.78% | Laboratory equipment | 0%
| Spot lighting | 1% | Street lighting | 2% | Document production | 165.7% | Steamer | 3% | Display cases | 114.4% | Packaged central unit | 74.98% | Central chillers inside | 50.47% | Motor/Fan | 9.49% |  |  | Medical equipment | 0%
| case lighting | 1% | Spot lighting/Security/Flood | 2% | Other office | 171.4% | Fryer | 13% | Vending and ice makers | 81.8% | Residential/split system heat pump | 19.49% | District chilled water piped | 0% |  |  |  |  | Elevators/Escalators | 0%
[7 empty] | Cooking Other | 49% | Large cold storage | 24.4% | Individual room heating | 0% | Individual room air conditioners | 7.472% |  |  |  |  | Others | 126.3%
| Total | 180% | Total | 41% | Total | 519.9% | Total | 104% | Total | 309.4% | Total | 101.2% | Total | 100% | Total | 200% | Total | 94.14% | Total | 126.3%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 4: | Healthcare
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 186% | Oven | 28% | Residential style | 157.1% | Forced air furnace | 7.46% | Residential-type central air conditioners | 0.4715% | Central air-handling unit | 192.8% | Centralized water heaters | 65.81% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 92% | Exterior marquis | 2% | Servers | 69.55% | Range | 16% | Walk-in cooler | 48.46% | Boilers | 4.4% | Packaged air conditioning units (RTUs) | 34.04% | Individual room ventilation | 1.32% | "Point-of-Use" water heaters | 24.18% | Laboratory equipment | 10.58%
| Spot lighting | 5% | Street lighting | 2% | Document production | 279.2% | Steamer | 7% | Display cases | 30.06% | Packaged central unit | 34.74% | Central chillers inside | 44.24% | Motor/Fan | 18.45% |  |  | Medical equipment | 40.41%
| case lighting | 5% | Spot lighting/Security/Flood | 2% | Other office | 230.1% | Fryer | 8% | Vending and ice makers | 136.9% | Residential/split system heat pump | 49.21% | District chilled water piped | 8.57% |  |  |  |  | Elevators/Escalators | 78.69%
[7 empty] | Cooking Other | 47% | Large cold storage | 0% | Individual room heating | 0% | Individual room air conditioners | 12.68% |  |  |  |  | Others | 169.5%
| Total | 203% | Total | 41% | Total | 765% | Total | 106% | Total | 372.5% | Total | 95.81% | Total | 100% | Total | 212.6% | Total | 89.99% | Total | 299.2%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 5: | Hospitals
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 198.2% | Oven | 28% | Residential style | 167.7% | Forced air furnace | 1.14% | Residential-type central air conditioners | 0.03291% | Central air-handling unit | 82.88% | Centralized water heaters | 50.72% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 92% | Exterior marquis | 2% | Servers | 92.3% | Range | 16% | Walk-in cooler | 99.31% | Boilers | 20.91% | Packaged air conditioning units (RTUs) | 2.761% | Individual room ventilation | 31.62% | "Point-of-Use" water heaters | 13.11% | Laboratory equipment | 59.49%
| Spot lighting | 5% | Street lighting | 2% | Document production | 285.6% | Steamer | 7% | Display cases | 132.1% | Packaged central unit | 37.49% | Central chillers inside | 6.844% | Motor/Fan | 85.5% |  |  | Medical equipment | 4.38%
| case lighting | 5% | Spot lighting/Security/Flood | 2% | Other office | 271.3% | Fryer | 8% | Vending and ice makers | 194.3% | Residential/split system heat pump | 28.34% | District chilled water piped | 89.45% |  |  |  |  | Elevators/Escalators | 96.45%
[7 empty] | Cooking Other | 47% | Large cold storage | 18.52% | Individual room heating | 0% | Individual room air conditioners | 0.9147% |  |  |  |  | Others | 371.1%
| Total | 203% | Total | 41% | Total | 847.4% | Total | 106% | Total | 611.9% | Total | 87.88% | Total | 100% | Total | 200% | Total | 63.83% | Total | 531.4%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 6: | Institutional
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 189.9% | Oven | 28% | Residential style | 124.7% | Forced air furnace | 5.54% | Residential-type central air conditioners | 0.1944% | Central air-handling unit | 183.6% | Centralized water heaters | 85.14% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 92% | Exterior marquis | 2% | Servers | 62.97% | Range | 16% | Walk-in cooler | 15.88% | Boilers | 10.11% | Packaged air conditioning units (RTUs) | 25.8% | Individual room ventilation | 16.38% | "Point-of-Use" water heaters | 7.65% | Laboratory equipment | 0%
| Spot lighting | 5% | Street lighting | 2% | Document production | 246.8% | Steamer | 7% | Display cases | 12.54% | Packaged central unit | 43.43% | Central chillers inside | 47.07% | Motor/Fan | 0% |  |  | Medical equipment | 0%
| case lighting | 5% | Spot lighting/Security/Flood | 2% | Other office | 258.7% | Fryer | 8% | Vending and ice makers | 107.3% | Residential/split system heat pump | 37.5% | District chilled water piped | 6.61% |  |  |  |  | Elevators/Escalators | 80.58%
[7 empty] | Cooking Other | 47% | Large cold storage | 0% | Individual room heating | 0.08024% | Individual room air conditioners | 20.32% |  |  |  |  | Others | 103.6%
| Total | 203% | Total | 41% | Total | 758.4% | Total | 106% | Total | 260.4% | Total | 96.66% | Total | 100% | Total | 200% | Total | 92.79% | Total | 184.2%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 7: | Lodging/Hospitality
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 157.7% | Oven | 26% | Residential style | 91.29% | Forced air furnace | 2.47% | Residential-type central air conditioners | 0% | Central air-handling unit | 182.6% | Centralized water heaters | 76.14% | Pool pump | 32.93%
| Overhead (fluorescent/LED/CFL U-shape) | 96% | Exterior marquis | 2% | Servers | 63.83% | Range | 13% | Walk-in cooler | 55.67% | Boilers | 7.17% | Packaged air conditioning units (RTUs) | 26.29% | Individual room ventilation | 9.95% | "Point-of-Use" water heaters | 6.88% | Laboratory equipment | 0%
| Spot lighting | 1% | Street lighting | 2% | Document production | 236.2% | Steamer | 3% | Display cases | 68.37% | Packaged central unit | 48.66% | Central chillers inside | 38.06% | Motor/Fan | 7.02% |  |  | Medical equipment | 0%
| case lighting | 1% | Spot lighting/Security/Flood | 2% | Other office | 211.1% | Fryer | 13% | Vending and ice makers | 159.6% | Residential/split system heat pump | 32.2% | District chilled water piped | 21.45% |  |  |  |  | Elevators/Escalators | 85.09%
[7 empty] | Cooking Other | 49% | Large cold storage | 2.27% | Individual room heating | 3.386% | Individual room air conditioners | 14.2% |  |  |  |  | Others | 105.4%
| Total | 199% | Total | 41% | Total | 668.8% | Total | 104% | Total | 377.2% | Total | 93.89% | Total | 100% | Total | 199.6% | Total | 83.02% | Total | 223.5%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 8: | Miscellaneous
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 172.8% | Oven | 26% | Residential style | 162.9% | Forced air furnace | 10.39% | Residential-type central air conditioners | 0.3828% | Central air-handling unit | 197.4% | Centralized water heaters | 22.07% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 88% | Exterior marquis | 2% | Servers | 79.22% | Range | 13% | Walk-in cooler | 4.16% | Boilers | 0% | Packaged air conditioning units (RTUs) | 32.81% | Individual room ventilation | 1.32% | "Point-of-Use" water heaters | 7.61% | Laboratory equipment | 0%
| Spot lighting | 1% | Street lighting | 2% | Document production | 269.9% | Steamer | 3% | Display cases | 0% | Packaged central unit | 28.72% | Central chillers inside | 49.6% | Motor/Fan | 1.32% |  |  | Medical equipment | 0%
| case lighting | 1% | Spot lighting/Security/Flood | 2% | Other office | 180.7% | Fryer | 13% | Vending and ice makers | 81.56% | Residential/split system heat pump | 32.88% | District chilled water piped | 1.954% |  |  |  |  | Elevators/Escalators | 11.47%
[7 empty] | Cooking Other | 49% | Large cold storage | 2.01% | Individual room heating | 0.03068% | Individual room air conditioners | 15.25% |  |  |  |  | Others | 107.2%
| Total | 191% | Total | 41% | Total | 702.5% | Total | 104% | Total | 250.6% | Total | 72.02% | Total | 100% | Total | 200% | Total | 29.68% | Total | 118.7%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 9: | Offices
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 190.5% | Oven | 26% | Residential style | 127.6% | Forced air furnace | 11.39% | Residential-type central air conditioners | 0.3236% | Central air-handling unit | 180.4% | Centralized water heaters | 49.5% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 96% | Exterior marquis | 2% | Servers | 82.51% | Range | 13% | Walk-in cooler | 24.87% | Boilers | 5.2% | Packaged air conditioning units (RTUs) | 14.95% | Individual room ventilation | 14.3% | "Point-of-Use" water heaters | 20.72% | Laboratory equipment | 6.5%
| Spot lighting | 1% | Street lighting | 2% | Document production | 273% | Steamer | 3% | Display cases | 39.19% | Packaged central unit | 23.06% | Central chillers inside | 44.42% | Motor/Fan | 5.22% |  |  | Medical equipment | 2.53%
| case lighting | 1% | Spot lighting/Security/Flood | 2% | Other office | 270.9% | Fryer | 13% | Vending and ice makers | 90.83% | Residential/split system heat pump | 58.52% | District chilled water piped | 22.85% |  |  |  |  | Elevators/Escalators | 71.49%
[7 empty] | Cooking Other | 49% | Large cold storage | 1.95% | Individual room heating | 0.5009% | Individual room air conditioners | 17.45% |  |  |  |  | Others | 109%
| Total | 199% | Total | 41% | Total | 816.9% | Total | 104% | Total | 284.4% | Total | 98.67% | Total | 100% | Total | 199.9% | Total | 70.22% | Total | 189.5%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 10: | Restaurants
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 100% | Exterior parking/lot lighting | 35% | Computers | 138.8% | Oven | 24% | Residential style | 40.53% | Forced air furnace | 4.74% | Residential-type central air conditioners | 0.1944% | Central air-handling unit | 185.3% | Centralized water heaters | 73.33% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 92% | Exterior marquis | 2% | Servers | 44.33% | Range | 11% | Walk-in cooler | 80.14% | Boilers | 3.79% | Packaged air conditioning units (RTUs) | 25.8% | Individual room ventilation | 9.42% | "Point-of-Use" water heaters | 8.25% | Laboratory equipment | 0%
| Spot lighting | 1% | Street lighting | 2% | Document production | 174.9% | Steamer | 2% | Display cases | 86.55% | Packaged central unit | 46.33% | Central chillers inside | 47.07% | Motor/Fan | 5.3% |  |  | Medical equipment | 0%
| case lighting | 1% | Spot lighting/Security/Flood | 2% | Other office | 191.2% | Fryer | 17% | Vending and ice makers | 104.6% | Residential/split system heat pump | 40% | District chilled water piped | 6.61% |  |  |  |  | Elevators/Escalators | 0.18%
[7 empty] | Cooking Other | 47% | Large cold storage | 1.37% | Individual room heating | 0.08559% | Individual room air conditioners | 20.32% |  |  |  |  | Others | 156.7%
| Total | 194% | Total | 41% | Total | 549.2% | Total | 101% | Total | 313.2% | Total | 94.95% | Total | 100% | Total | 200% | Total | 81.58% | Total | 156.9%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 11: | Retail
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 100% | Exterior parking/lot lighting | 35% | Computers | 164.6% | Oven | 26% | Residential style | 82.33% | Forced air furnace | 3.64% | Residential-type central air conditioners | 0.01394% | Central air-handling unit | 173.6% | Centralized water heaters | 50.1% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 89% | Exterior marquis | 2% | Servers | 45.65% | Range | 13% | Walk-in cooler | 17.71% | Boilers | 0.16% | Packaged air conditioning units (RTUs) | 32.03% | Individual room ventilation | 4.68% | "Point-of-Use" water heaters | 30.97% | Laboratory equipment | 0%
| Spot lighting | 1% | Street lighting | 2% | Document production | 232.5% | Steamer | 3% | Display cases | 24.86% | Packaged central unit | 53.48% | Central chillers inside | 46.82% | Motor/Fan | 9.36% |  |  | Medical equipment | 0%
| case lighting | 1% | Spot lighting/Security/Flood | 2% | Other office | 174.9% | Fryer | 13% | Vending and ice makers | 46.52% | Residential/split system heat pump | 28.19% | District chilled water piped | 7.101% |  |  |  |  | Elevators/Escalators | 8.1%
[7 empty] | Cooking Other | 49% | Large cold storage | 3.21% | Individual room heating | 0.2609% | Individual room air conditioners | 14.04% |  |  |  |  | Others | 131%
| Total | 191% | Total | 41% | Total | 617.6% | Total | 104% | Total | 174.6% | Total | 85.74% | Total | 100% | Total | 187.6% | Total | 81.07% | Total | 139.1%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 12: | Schools K-12
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 101% | Exterior parking/lot lighting | 35% | Computers | 195% | Oven | 28% | Residential style | 111.4% | Forced air furnace | 0% | Residential-type central air conditioners | 0.02127% | Central air-handling unit | 169.4% | Centralized water heaters | 49.75% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 92% | Exterior marquis | 2% | Servers | 81.27% | Range | 16% | Walk-in cooler | 79.47% | Boilers | 36.13% | Packaged air conditioning units (RTUs) | 3.407% | Individual room ventilation | 14.33% | "Point-of-Use" water heaters | 7.5% | Laboratory equipment | 13.35%
| Spot lighting | 5% | Street lighting | 2% | Document production | 265% | Steamer | 7% | Display cases | 67.01% | Packaged central unit | 38.12% | Central chillers inside | 60.03% | Motor/Fan | 16.32% |  |  | Medical equipment | 0%
| case lighting | 5% | Spot lighting/Security/Flood | 2% | Other office | 290.3% | Fryer | 8% | Vending and ice makers | 140.5% | Residential/split system heat pump | 66.01% | District chilled water piped | 31.08% |  |  |  |  | Elevators/Escalators | 53.15%
[7 empty] | Cooking Other | 47% | Large cold storage | 9.4% | Individual room heating | 0% | Individual room air conditioners | 5.466% |  |  |  |  | Others | 217%
| Total | 203% | Total | 41% | Total | 831.6% | Total | 106% | Total | 407.7% | Total | 140.3% | Total | 100% | Total | 200.1% | Total | 57.25% | Total | 283.5%
Start Year Equipment Type Saturation
Enter equipment type saturation for all equipment types in all segments.
Segment 13: | Warehouse
End Use: | Interior Lighting |  | Exterior Lighting |  | Office Equipment |  | Cooking |  | Refrigeration |  | Space Heating |  | Space Cooling |  | Ventilation and Circulation |  | Domestic Hot Water |  | Miscellaneous
| High bay | 100% | Exterior parking/lot lighting | 35% | Computers | 141.6% | Oven | 26% | Residential style | 68.11% | Forced air furnace | 29.65% | Residential-type central air conditioners | 0% | Central air-handling unit | 206.1% | Centralized water heaters | 27.44% | Pool pump | 0%
| Overhead (fluorescent/LED/CFL U-shape) | 57% | Exterior marquis | 2% | Servers | 46.37% | Range | 13% | Walk-in cooler | 8.41% | Boilers | 10.72% | Packaged air conditioning units (RTUs) | 14.9% | Individual room ventilation | 3.72% | "Point-of-Use" water heaters | 32.02% | Laboratory equipment | 0%
| Spot lighting | 2% | Street lighting | 2% | Document production | 195.3% | Steamer | 3% | Display cases | 5.21% | Packaged central unit | 64.07% | Central chillers inside | 49.29% | Motor/Fan | 0.07% |  |  | Medical equipment | 0%
| case lighting | 2% | Spot lighting/Security/Flood | 2% | Other office | 172.7% | Fryer | 13% | Vending and ice makers | 58.02% | Residential/split system heat pump | 220.1% | District chilled water piped | 0% |  |  |  |  | Elevators/Escalators | 8.6%
[7 empty] | Cooking Other | 49% | Large cold storage | 6.73% | Individual room heating | 0% | Individual room air conditioners | 35.81% |  |  |  |  | Others | 123.1%
| Total | 161% | Total | 41% | Total | 556% | Total | 104% | Total | 146.5% | Total | 324.5% | Total | 100% | Total | 209.9% | Total | 59.46% | Total | 131.7%

## fromNexant
Amusement | EquipSat_Segment01_EndUse04_EquipType01 | 28% | Oven
Amusement | EquipSat_Segment01_EndUse04_EquipType02 | 16% | Range
Amusement | EquipSat_Segment01_EndUse04_EquipType03 | 7% | Steamer
Amusement | EquipSat_Segment01_EndUse04_EquipType04 | 8% | Fryer
Amusement | EquipSat_Segment01_EndUse04_EquipType05 | 47% | Cooking Other
Amusement | EquipSat_Segment01_EndUse05_EquipType01 | 101% | High bay
Amusement | EquipSat_Segment01_EndUse05_EquipType02 | 92% | Overhead (fluorescent/LED/CFL U-shape)
Amusement | EquipSat_Segment01_EndUse05_EquipType03 | 5% | Spot lighting
Amusement | EquipSat_Segment01_EndUse05_EquipType04 | 5% | case lighting
Amusement | EquipSat_Segment01_EndUse05_EquipType05
Amusement | EquipSat_Segment01_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Amusement | EquipSat_Segment01_EndUse06_EquipType02 | 2% | Exterior marquis
Amusement | EquipSat_Segment01_EndUse06_EquipType03 | 2% | Street lighting
Amusement | EquipSat_Segment01_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Amusement | EquipSat_Segment01_EndUse06_EquipType05
Office | EquipSat_Segment02_EndUse04_EquipType01 | 26% | Oven
Office | EquipSat_Segment02_EndUse04_EquipType02 | 13% | Range
Office | EquipSat_Segment02_EndUse04_EquipType03 | 3% | Steamer
Office | EquipSat_Segment02_EndUse04_EquipType04 | 13% | Fryer
Office | EquipSat_Segment02_EndUse04_EquipType05 | 49% | Cooking Other
Office | EquipSat_Segment02_EndUse05_EquipType01 | 101% | High bay
Office | EquipSat_Segment02_EndUse05_EquipType02 | 96% | Overhead (fluorescent/LED/CFL U-shape)
Office | EquipSat_Segment02_EndUse05_EquipType03 | 1% | Spot lighting
Office | EquipSat_Segment02_EndUse05_EquipType04 | 1% | case lighting
Office | EquipSat_Segment02_EndUse05_EquipType05
Office | EquipSat_Segment02_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Office | EquipSat_Segment02_EndUse06_EquipType02 | 2% | Exterior marquis
Office | EquipSat_Segment02_EndUse06_EquipType03 | 2% | Street lighting
Office | EquipSat_Segment02_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Office | EquipSat_Segment02_EndUse06_EquipType05
Public | EquipSat_Segment03_EndUse04_EquipType01 | 28% | Oven
Public | EquipSat_Segment03_EndUse04_EquipType02 | 16% | Range
Public | EquipSat_Segment03_EndUse04_EquipType03 | 7% | Steamer
Public | EquipSat_Segment03_EndUse04_EquipType04 | 8% | Fryer
Public | EquipSat_Segment03_EndUse04_EquipType05 | 47% | Cooking Other
Public | EquipSat_Segment03_EndUse05_EquipType01 | 101% | High bay
Public | EquipSat_Segment03_EndUse05_EquipType02 | 92% | Overhead (fluorescent/LED/CFL U-shape)
Public | EquipSat_Segment03_EndUse05_EquipType03 | 5% | Spot lighting
Public | EquipSat_Segment03_EndUse05_EquipType04 | 5% | case lighting
Public | EquipSat_Segment03_EndUse05_EquipType05
Public | EquipSat_Segment03_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Public | EquipSat_Segment03_EndUse06_EquipType02 | 2% | Exterior marquis
Public | EquipSat_Segment03_EndUse06_EquipType03 | 2% | Street lighting
Public | EquipSat_Segment03_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Public | EquipSat_Segment03_EndUse06_EquipType05
Religious | EquipSat_Segment04_EndUse04_EquipType01 | 28% | Oven
Religious | EquipSat_Segment04_EndUse04_EquipType02 | 16% | Range
Religious | EquipSat_Segment04_EndUse04_EquipType03 | 7% | Steamer
Religious | EquipSat_Segment04_EndUse04_EquipType04 | 8% | Fryer
Religious | EquipSat_Segment04_EndUse04_EquipType05 | 47% | Cooking Other
Religious | EquipSat_Segment04_EndUse05_EquipType01 | 101% | High bay
Religious | EquipSat_Segment04_EndUse05_EquipType02 | 92% | Overhead (fluorescent/LED/CFL U-shape)
Religious | EquipSat_Segment04_EndUse05_EquipType03 | 5% | Spot lighting
Religious | EquipSat_Segment04_EndUse05_EquipType04 | 5% | case lighting
Religious | EquipSat_Segment04_EndUse05_EquipType05
Religious | EquipSat_Segment04_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Religious | EquipSat_Segment04_EndUse06_EquipType02 | 2% | Exterior marquis
Religious | EquipSat_Segment04_EndUse06_EquipType03 | 2% | Street lighting
Religious | EquipSat_Segment04_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Religious | EquipSat_Segment04_EndUse06_EquipType05
Restaurant | EquipSat_Segment05_EndUse04_EquipType01 | 24% | Oven
Restaurant | EquipSat_Segment05_EndUse04_EquipType02 | 11% | Range
Restaurant | EquipSat_Segment05_EndUse04_EquipType03 | 2% | Steamer
Restaurant | EquipSat_Segment05_EndUse04_EquipType04 | 17% | Fryer
Restaurant | EquipSat_Segment05_EndUse04_EquipType05 | 47% | Cooking Other
Restaurant | EquipSat_Segment05_EndUse05_EquipType01 | 100% | High bay
Restaurant | EquipSat_Segment05_EndUse05_EquipType02 | 92% | Overhead (fluorescent/LED/CFL U-shape)
Restaurant | EquipSat_Segment05_EndUse05_EquipType03 | 1% | Spot lighting
Restaurant | EquipSat_Segment05_EndUse05_EquipType04 | 1% | case lighting
Restaurant | EquipSat_Segment05_EndUse05_EquipType05
Restaurant | EquipSat_Segment05_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Restaurant | EquipSat_Segment05_EndUse06_EquipType02 | 2% | Exterior marquis
Restaurant | EquipSat_Segment05_EndUse06_EquipType03 | 2% | Street lighting
Restaurant | EquipSat_Segment05_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Restaurant | EquipSat_Segment05_EndUse06_EquipType05
Retail | EquipSat_Segment06_EndUse04_EquipType01 | 26% | Oven
Retail | EquipSat_Segment06_EndUse04_EquipType02 | 13% | Range
Retail | EquipSat_Segment06_EndUse04_EquipType03 | 3% | Steamer
Retail | EquipSat_Segment06_EndUse04_EquipType04 | 13% | Fryer
Retail | EquipSat_Segment06_EndUse04_EquipType05 | 49% | Cooking Other
Retail | EquipSat_Segment06_EndUse05_EquipType01 | 100% | High bay
Retail | EquipSat_Segment06_EndUse05_EquipType02 | 89% | Overhead (fluorescent/LED/CFL U-shape)
Retail | EquipSat_Segment06_EndUse05_EquipType03 | 1% | Spot lighting
Retail | EquipSat_Segment06_EndUse05_EquipType04 | 1% | case lighting
Retail | EquipSat_Segment06_EndUse05_EquipType05
Retail | EquipSat_Segment06_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Retail | EquipSat_Segment06_EndUse06_EquipType02 | 2% | Exterior marquis
Retail | EquipSat_Segment06_EndUse06_EquipType03 | 2% | Street lighting
Retail | EquipSat_Segment06_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Retail | EquipSat_Segment06_EndUse06_EquipType05
Warehouse | EquipSat_Segment07_EndUse04_EquipType01 | 26% | Oven
Warehouse | EquipSat_Segment07_EndUse04_EquipType02 | 13% | Range
Warehouse | EquipSat_Segment07_EndUse04_EquipType03 | 3% | Steamer
Warehouse | EquipSat_Segment07_EndUse04_EquipType04 | 13% | Fryer
Warehouse | EquipSat_Segment07_EndUse04_EquipType05 | 49% | Cooking Other
Warehouse | EquipSat_Segment07_EndUse05_EquipType01 | 100% | High bay
Warehouse | EquipSat_Segment07_EndUse05_EquipType02 | 57% | Overhead (fluorescent/LED/CFL U-shape)
Warehouse | EquipSat_Segment07_EndUse05_EquipType03 | 2% | Spot lighting
Warehouse | EquipSat_Segment07_EndUse05_EquipType04 | 2% | case lighting
Warehouse | EquipSat_Segment07_EndUse05_EquipType05
Warehouse | EquipSat_Segment07_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Warehouse | EquipSat_Segment07_EndUse06_EquipType02 | 2% | Exterior marquis
Warehouse | EquipSat_Segment07_EndUse06_EquipType03 | 2% | Street lighting
Warehouse | EquipSat_Segment07_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Warehouse | EquipSat_Segment07_EndUse06_EquipType05
Grocery | EquipSat_Segment08_EndUse04_EquipType01 | 26% | Oven
Grocery | EquipSat_Segment08_EndUse04_EquipType02 | 13% | Range
Grocery | EquipSat_Segment08_EndUse04_EquipType03 | 3% | Steamer
Grocery | EquipSat_Segment08_EndUse04_EquipType04 | 13% | Fryer
Grocery | EquipSat_Segment08_EndUse04_EquipType05 | 49% | Cooking Other
Grocery | EquipSat_Segment08_EndUse05_EquipType01 | 100% | High bay
Grocery | EquipSat_Segment08_EndUse05_EquipType02 | 78% | Overhead (fluorescent/LED/CFL U-shape)
Grocery | EquipSat_Segment08_EndUse05_EquipType03 | 1% | Spot lighting
Grocery | EquipSat_Segment08_EndUse05_EquipType04 | 1% | case lighting
Grocery | EquipSat_Segment08_EndUse05_EquipType05
Grocery | EquipSat_Segment08_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Grocery | EquipSat_Segment08_EndUse06_EquipType02 | 2% | Exterior marquis
Grocery | EquipSat_Segment08_EndUse06_EquipType03 | 2% | Street lighting
Grocery | EquipSat_Segment08_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Grocery | EquipSat_Segment08_EndUse06_EquipType05
Health | EquipSat_Segment09_EndUse04_EquipType01 | 28% | Oven
Health | EquipSat_Segment09_EndUse04_EquipType02 | 16% | Range
Health | EquipSat_Segment09_EndUse04_EquipType03 | 7% | Steamer
Health | EquipSat_Segment09_EndUse04_EquipType04 | 8% | Fryer
Health | EquipSat_Segment09_EndUse04_EquipType05 | 47% | Cooking Other
Health | EquipSat_Segment09_EndUse05_EquipType01 | 101% | High bay
Health | EquipSat_Segment09_EndUse05_EquipType02 | 92% | Overhead (fluorescent/LED/CFL U-shape)
Health | EquipSat_Segment09_EndUse05_EquipType03 | 5% | Spot lighting
Health | EquipSat_Segment09_EndUse05_EquipType04 | 5% | case lighting
Health | EquipSat_Segment09_EndUse05_EquipType05
Health | EquipSat_Segment09_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Health | EquipSat_Segment09_EndUse06_EquipType02 | 2% | Exterior marquis
Health | EquipSat_Segment09_EndUse06_EquipType03 | 2% | Street lighting
Health | EquipSat_Segment09_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Health | EquipSat_Segment09_EndUse06_EquipType05
Datacenter | EquipSat_Segment10_EndUse04_EquipType01 | 26% | Oven
Datacenter | EquipSat_Segment10_EndUse04_EquipType02 | 13% | Range
Datacenter | EquipSat_Segment10_EndUse04_EquipType03 | 3% | Steamer
Datacenter | EquipSat_Segment10_EndUse04_EquipType04 | 13% | Fryer
Datacenter | EquipSat_Segment10_EndUse04_EquipType05 | 49% | Cooking Other
Datacenter | EquipSat_Segment10_EndUse05_EquipType01 | 54% | High bay
Datacenter | EquipSat_Segment10_EndUse05_EquipType02 | 1% | Overhead (fluorescent/LED/CFL U-shape)
Datacenter | EquipSat_Segment10_EndUse05_EquipType03 | 1% | Spot lighting
Datacenter | EquipSat_Segment10_EndUse05_EquipType04 | 1% | case lighting
Datacenter | EquipSat_Segment10_EndUse05_EquipType05
Datacenter | EquipSat_Segment10_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Datacenter | EquipSat_Segment10_EndUse06_EquipType02 | 2% | Exterior marquis
Datacenter | EquipSat_Segment10_EndUse06_EquipType03 | 2% | Street lighting
Datacenter | EquipSat_Segment10_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Datacenter | EquipSat_Segment10_EndUse06_EquipType05
Education | EquipSat_Segment11_EndUse04_EquipType01 | 28% | Oven
Education | EquipSat_Segment11_EndUse04_EquipType02 | 16% | Range
Education | EquipSat_Segment11_EndUse04_EquipType03 | 7% | Steamer
Education | EquipSat_Segment11_EndUse04_EquipType04 | 8% | Fryer
Education | EquipSat_Segment11_EndUse04_EquipType05 | 47% | Cooking Other
Education | EquipSat_Segment11_EndUse05_EquipType01 | 101% | High bay
Education | EquipSat_Segment11_EndUse05_EquipType02 | 92% | Overhead (fluorescent/LED/CFL U-shape)
Education | EquipSat_Segment11_EndUse05_EquipType03 | 5% | Spot lighting
Education | EquipSat_Segment11_EndUse05_EquipType04 | 5% | case lighting
Education | EquipSat_Segment11_EndUse05_EquipType05
Education | EquipSat_Segment11_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Education | EquipSat_Segment11_EndUse06_EquipType02 | 2% | Exterior marquis
Education | EquipSat_Segment11_EndUse06_EquipType03 | 2% | Street lighting
Education | EquipSat_Segment11_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Education | EquipSat_Segment11_EndUse06_EquipType05
Lodging | EquipSat_Segment12_EndUse04_EquipType01 | 26% | Oven
Lodging | EquipSat_Segment12_EndUse04_EquipType02 | 13% | Range
Lodging | EquipSat_Segment12_EndUse04_EquipType03 | 3% | Steamer
Lodging | EquipSat_Segment12_EndUse04_EquipType04 | 13% | Fryer
Lodging | EquipSat_Segment12_EndUse04_EquipType05 | 49% | Cooking Other
Lodging | EquipSat_Segment12_EndUse05_EquipType01 | 101% | High bay
Lodging | EquipSat_Segment12_EndUse05_EquipType02 | 96% | Overhead (fluorescent/LED/CFL U-shape)
Lodging | EquipSat_Segment12_EndUse05_EquipType03 | 1% | Spot lighting
Lodging | EquipSat_Segment12_EndUse05_EquipType04 | 1% | case lighting
Lodging | EquipSat_Segment12_EndUse05_EquipType05
Lodging | EquipSat_Segment12_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Lodging | EquipSat_Segment12_EndUse06_EquipType02 | 2% | Exterior marquis
Lodging | EquipSat_Segment12_EndUse06_EquipType03 | 2% | Street lighting
Lodging | EquipSat_Segment12_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Lodging | EquipSat_Segment12_EndUse06_EquipType05
Miscellaneous | EquipSat_Segment13_EndUse04_EquipType01 | 26% | Oven
Miscellaneous | EquipSat_Segment13_EndUse04_EquipType02 | 13% | Range
Miscellaneous | EquipSat_Segment13_EndUse04_EquipType03 | 3% | Steamer
Miscellaneous | EquipSat_Segment13_EndUse04_EquipType04 | 13% | Fryer
Miscellaneous | EquipSat_Segment13_EndUse04_EquipType05 | 49% | Cooking Other
Miscellaneous | EquipSat_Segment13_EndUse05_EquipType01 | 101% | High bay
Miscellaneous | EquipSat_Segment13_EndUse05_EquipType02 | 88% | Overhead (fluorescent/LED/CFL U-shape)
Miscellaneous | EquipSat_Segment13_EndUse05_EquipType03 | 1% | Spot lighting
Miscellaneous | EquipSat_Segment13_EndUse05_EquipType04 | 1% | case lighting
Miscellaneous | EquipSat_Segment13_EndUse05_EquipType05
Miscellaneous | EquipSat_Segment13_EndUse06_EquipType01 | 35% | Exterior parking/lot lighting
Miscellaneous | EquipSat_Segment13_EndUse06_EquipType02 | 2% | Exterior marquis
Miscellaneous | EquipSat_Segment13_EndUse06_EquipType03 | 2% | Street lighting
Miscellaneous | EquipSat_Segment13_EndUse06_EquipType04 | 2% | Spot lighting/Security/Flood
Miscellaneous | EquipSat_Segment13_EndUse06_EquipType05