## EP RIM
Existing DSM Program Measures
Economic Potential – RIM
Reason
Customer | Program | Measure |  |  |  | Summer | Winter | Energy | For
Class | Name | Name | TRC | RIM | PCT | (MW) | (MW) | (GWh) | Failure
Residential | NES/LIWAP | Heat Pump Tune Up | 0.39314 | 0.89106 | 0.44121 | 0 | 0 | 0 | RIM and PCT
Residential | NES/LIWAP/RIP | Ceiling Insulation(R2 to R38) | 7.309 | 1.2746 | 5.7342 | 96.1753 | 45.5948 | 150.8277
Residential | NES/LIWAP | CFL-13W | 1.1728 | 0.34787 | 3.3715 | 0 | 0 | 0 | RIM
Residential | NES/LIWAP | CFL-23W | 2.5499 | 0.34787 | 7.3301 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES/LIWAP | Air Sealing-Infiltration Control | 2.0306 | 1.1319 | 1.794 | 135.4545 | 34.8597 | 173.1433
Residential | NES/LIWAP/RIP | Duct Repair | 3.6442 | 1.1319 | 3.2196 | 193.3461 | 43.6136 | 233.5251
Residential | NES/LIWAP | Faucet Aerator | 11.9106 | 0.50059 | 23.793 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES/LIWAP | LED - 9W | 3.0155 | 0.37051 | 8.1387 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES/LIWAP | Low Flow Showerhead | 18.8934 | 0.47956 | 39.3975 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES | Hot Water Pipe Insulation | 7.2089 | 0.5383 | 13.3919 | 0 | 0 | 0 | RIM and Payback<2
Residential | LIWAP | Energy Star Refrigerator | 0.6622 | 0.44265 | 1.496 | 0 | 0 | 0 | RIM
Residential | NES | Smart Power Strip | 1.0398 | 0.35299 | 2.9456 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES/LIWAP | Water Heater Blanket | 0.50635 | 0.43235 | 1.1712 | 0 | 0 | 0 | RIM
Residential | RIP | Energy Star Windows | 3.6169 | 1.2746 | 2.8376 | 96.9787 | 30.4964 | 192.9402
Residential | LIWAP/RIP | 15 SEER Air Source Heat Pump | 1.4998 | 1.2228 | 1.2266 | 64.5238 | 120.9971 | 149.9248
Residential | RIP | 17 SEER Air Source Heat Pump | 0.86456 | 1.2228 | 0.70703 | 0 | 0 | 0 | PCT
Residential | LIWAP/RIP | 14 SEER ASHP from base electric resistance heating | 3.4975 | 1.1914 | 2.9355 | 0 | 109.6549 | 169.227
Residential | RIP | 21 SEER ASHP from base electric resistance heating | 0.99769 | 1.2228 | 0.81591 | 0 | 0 | 0 | PCT
Residential | EnergyWise | HVAC | 9999 | 9999 | 9999 | 1066 | 2196 | 0
Residential | EnergyWise | Water heater switches | 9999 | 9999 | 9999 | 188 | 354 | 0
Residential | EnergyWise | Pool pump switches | 9999 | 9999 | 9999 | 181 | 76 | 0
Commercial/Ind | Better Business | Ceiling Insulation(R2 to R38) | 4.7905 | 1.2499 | 3.8326 | 0.31891 | 0.40221 | 16.8288
Commercial/Ind | Better Business | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 5.5498 | 1.167 | 4.7555 | 3.1658 | 0.0061493 | 8.4017
Commercial/Ind | Better Business | Chilled Water Controls Optimization | 6.1517 | 1.009 | 6.0971 | 0 | 0 | 0 | Payback<2
Commercial/Ind | Better Business | Cool Roof | 0.18207 | 1.4697 | 0.12388 | 0 | 0 | 0 | PCT
Commercial/Ind | Better Business | Demand Controlled Ventilation | 3.3812 | 1.2547 | 2.6948 | 5.5228 | 31.0934 | 53.0454
Commercial/Ind | Better Business | Duct Sealing Repair | 9.1204 | 1.6399 | 5.5617 | 3.9113 | 0.34291 | 20.3435
Commercial/Ind | Better Business | HVAC tune-up | 1.529 | 0.95317 | 1.6041 | 0 | 0 | 0 | RIM
Commercial/Ind | Better Business | High Efficiency DX 135k- less than 240k BTU | 1.5086 | 1.1756 | 1.2832 | 4.3062 | 0 | 10.4523
Commercial/Ind | Better Business | Retro-Commissioning | 1.9949 | 0.92752 | 2.1508 | 0 | 0 | 0 | RIM
Commercial/Ind | Better Business | Energy Recovery Ventilation System (ERV) | 1.6335 | 4.0534 | 0.40299 | 0 | 0 | 0 | PCT
Commercial/Ind | Better Business | Roof Insulation | 0.66409 | 1.2499 | 0.5313 | 0 | 0 | 0 | PCT
Commercial/Ind | Better Business | Thermal Energy Storage | 2.5183 | 9999 | 2.2103 | 29.6916 | 8.6052 | -4.7246
Commercial/Ind | Better Business | High Efficiency PTAC | 4.8649 | 1.3512 | 3.6004 | 0.025544 | 0 | 0.053646
Commercial/Ind | Better Business | High Efficiency PTHP | 5.0101 | 1.3315 | 3.7629 | 0.1398 | 0 | 0.28108
Commercial/Ind | Better Business | HVAC tune-up_RTU | 1.0052 | 0.83554 | 1.2031 | 0 | 0 | 0 | RIM
Commercial/Ind | Interruptible/Curtailable | Interruptible/Curtailable | 9999 | 9999 | 9999 | 1857 | 1780 | 0
Program Legend:
NES = | Neighborhood Energy Saver Program
LIWAP = | Low Income Weatherization Assistance Program
RIP = | Residential Incentive Program
Note:
The Neighborhood Energy Saver and Low Income Weatherization programs are both low income programs. DEF typically provides some measures through these programs that have less than a 2 year payback and others that may not pass RIM. These measures are not included in goals. DEF evaluates these programs based on the overall cost effectiveness of the bundled measures.

## EP TRC
Existing DSM Program Measures
Economic Potential – TRC
Reason
Customer | Program | Measure |  |  |  | Summer | Winter | Energy | For
Class | Name | Name | TRC | RIM | PCT | (MW) | (MW) | (GWh) | Failure
Residential | NES/LIWAP | Heat Pump Tune Up | 0.39314 | 0.89106 | 0.44121 | 0 | 0 | 0 | TRC and PCT
Residential | NES/LIWAP/RIP | Ceiling Insulation(R2 to R38) | 7.309 | 1.2746 | 5.7342 | 264.2779 | 118.4202 | 405.9342
Residential | NES/LIWAP | CFL-13W | 1.1728 | 0.34787 | 3.3715 | 11.5246 | 12.1001 | 131.0189
Residential | NES/LIWAP | CFL-23W | 2.5499 | 0.34787 | 7.3301 | 0 | 0 | 0 | Payback<2
Residential | NES/LIWAP | Air Sealing-Infiltration Control | 2.0306 | 1.1319 | 1.794 | 135.6467 | 35.1569 | 173.5393
Residential | NES/LIWAP/RIP | Duct Repair | 3.6442 | 1.1319 | 3.2196 | 200.6724 | 50.3762 | 247.026
Residential | NES/LIWAP | Faucet Aerator | 11.9106 | 0.50059 | 23.793 | 0 | 0 | 0 | Payback<2
Residential | NES/LIWAP | LED - 9W | 3.0155 | 0.37051 | 8.1387 | 0 | 0 | 0 | Payback<2
Residential | NES/LIWAP | Low Flow Showerhead | 18.8934 | 0.47956 | 39.3975 | 0 | 0 | 0 | Payback<2
Residential | NES | Hot Water Pipe Insulation | 7.2089 | 0.5383 | 13.3919 | 0 | 0 | 0 | Payback<2
Residential | LIWAP | Energy Star Refrigerator | 0.6622 | 0.44265 | 1.496 | 0 | 0 | 0 | TRC
Residential | NES | Smart Power Strip | 1.0398 | 0.35299 | 2.9456 | 0 | 0 | 0 | Payback<2
Residential | NES/LIWAP | Water Heater Blanket | 0.50635 | 0.43235 | 1.1712 | 0 | 0 | 0 | TRC
Residential | RIP | Energy Star Windows | 3.6169 | 1.2746 | 2.8376 | 96.4683 | 31.1627 | 192.1307
Residential | LIWAP/RIP | 15 SEER Air Source Heat Pump | 1.4998 | 1.2228 | 1.2266 | 64.2545 | 91.9186 | 146.1019
Residential | RIP | 17 SEER Air Source Heat Pump | 0.86456 | 1.2228 | 0.70703 | 0 | 0 | 0 | TRC and PCT
Residential | LIWAP/RIP | 14 SEER ASHP from base electric resistance heating | 3.4975 | 1.1914 | 2.9355 | 0 | 113.4935 | 175.151
Residential | RIP | 21 SEER ASHP from base electric resistance heating | 0.99769 | 1.2228 | 0.81591 | 0 | 0 | 0 | TRC and PCT
Residential | EnergyWise | HVAC | 9999 | 9999 | 9999 | 1066 | 2196 | 0
Residential | EnergyWise | Water heater switches | 9999 | 9999 | 9999 | 188 | 354 | 0
Residential | EnergyWise | Pool pump switches | 9999 | 9999 | 9999 | 181 | 76 | 0
Commercial/Ind | Better Business | Demand Controlled Ventilation | 3.3812 | 1.2547 | 2.6948 | 5.5228 | 31.0934 | 53.0454
Commercial/Ind | Better Business | Duct Sealing Repair | 9.1204 | 1.6399 | 5.5617 | 3.9113 | 0.34291 | 20.3435
Commercial/Ind | Better Business | HVAC tune-up | 1.529 | 0.95317 | 1.6041 | 0.069144 | 0 | 0.16827
Commercial/Ind | Better Business | High Efficiency DX 135k- less than 240k BTU | 1.5086 | 1.1756 | 1.2832 | 3.951 | 0 | 9.5932
Commercial/Ind | Better Business | Retro-Commissioning | 1.9949 | 0.92752 | 2.1508 | 3.1239 | 3.7273 | 17.5096
Commercial/Ind | Better Business | Energy Recovery Ventilation System (ERV) | 1.6335 | 4.0534 | 0.40299 | 0 | 0 | 0 | PCT
Commercial/Ind | Better Business | Roof Insulation | 0.66409 | 1.2499 | 0.5313 | 0 | 0 | 0 | TRC and PCT
Commercial/Ind | Better Business | Thermal Energy Storage | 2.5183 | 9999 | 2.2103 | 29.6916 | 8.6052 | -4.7246
Commercial/Ind | Better Business | High Efficiency PTAC | 4.8649 | 1.3512 | 3.6004 | 0 | 0 | 0
Commercial/Ind | Better Business | High Efficiency PTHP | 5.0101 | 1.3315 | 3.7629 | 0.16648 | 2.425e-05 | 0.46789
Commercial/Ind | Better Business | HVAC tune-up_RTU | 1.0052 | 0.83554 | 1.2031 | 19.974 | 0 | 50.4691
Commercial/Ind | Interruptible/Curtailable | Interruptible/Curtailable | 9999 | 9999 | 9999 | 1857 | 1780 | 0
Program Legend:
NES = | Neighborhood Energy Saver Program
LIWAP = | Low Income Weatherization Assistance Program
RIP = | Residential Incentive Program
Note:
The Neighborhood Energy Saver and Low Income Weatherization programs are both low income programs. DEF typically provides some measures through these programs that have less than a 2 year payback and others that may not pass RIM. These measures are not included in goals. DEF evaluates these programs based on the overall cost effectiveness of the bundled measures.

## ACH RIM
Existing DSM Program Measures
Achievable Potential – RIM
Reason
Customer | Program | Measure |  |  |  | Summer | Winter | Energy | For
Class | Name | Name | TRC | RIM | PCT | (MW) | (MW) | (GWh) | Failure
Residential | NES/LIWAP | Heat Pump Tune Up | 0.39314 | 0.89106 | 0.44121 | 0 | 0 | 0 | RIM and PCT
Residential | NES/LIWAP/RIP | Ceiling Insulation(R2 to R38) | 7.309 | 1.2746 | 5.7342 | 1.6917 | 0.79443 | 2.6477
Residential | NES/LIWAP | CFL-13W | 1.1728 | 0.34787 | 3.3715 | 0 | 0 | 0 | RIM
Residential | NES/LIWAP | CFL-23W | 2.5499 | 0.34787 | 7.3301 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES/LIWAP | Air Sealing-Infiltration Control | 2.0306 | 1.1319 | 1.794 | 13.9931 | 4.0268 | 18.138
Residential | NES/LIWAP/RIP | Duct Repair | 3.6442 | 1.1319 | 3.2196 | 22.0875 | 5.6358 | 27.2403
Residential | NES/LIWAP | Faucet Aerator | 11.9106 | 0.50059 | 23.793 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES/LIWAP | LED - 9W | 3.0155 | 0.37051 | 8.1387 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES/LIWAP | Low Flow Showerhead | 18.8934 | 0.47956 | 39.3975 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES | Hot Water Pipe Insulation | 7.2089 | 0.5383 | 13.3919 | 0 | 0 | 0 | RIM and Payback<2
Residential | LIWAP | Energy Star Refrigerator | 0.6622 | 0.44265 | 1.496 | 0 | 0 | 0 | RIM
Residential | NES | Smart Power Strip | 1.0398 | 0.35299 | 2.9456 | 0 | 0 | 0 | RIM and Payback<2
Residential | NES/LIWAP | Water Heater Blanket | 0.50635 | 0.43235 | 1.1712 | 0 | 0 | 0 | RIM
Residential | RIP | Energy Star Windows | 3.6169 | 1.2746 | 2.8376 | 6.7812 | 2.2233 | 13.514
Residential | LIWAP/RIP | 15 SEER Air Source Heat Pump | 1.4998 | 1.2228 | 1.2266 | 5.6892 | 10.5663 | 13.2078
Residential | RIP | 17 SEER Air Source Heat Pump | 0.86456 | 1.2228 | 0.70703 | 0 | 0 | 0 | PCT
Residential | LIWAP/RIP | 14 SEER ASHP from base electric resistance heating | 3.4975 | 1.1914 | 2.9355 | 0 | 10.8162 | 16.6924
Residential | RIP | 21 SEER ASHP from base electric resistance heating | 0.99769 | 1.2228 | 0.81591 | 0 | 0 | 0 | PCT
Residential | EnergyWise | HVAC - Load Shed | 19.2063 | 2.9683 | 9999 | 17.5628 | 15.3813 | 0
Residential | EnergyWise | HVAC - 50% Cycling | 15.3409 | 2.857 | 9999 | 12.7814 | 15.6692 | 0
Residential | EnergyWise | Water heater switches | 4.107 | 1.8928 | 9999 | 0 | 0 | 0
Residential | EnergyWise | Pool pump switches | 11.4333 | 2.8387 | 9999 | 11.6945 | 7.5398 | 0
Commercial/Ind | Better Business | Ceiling Insulation(R2 to R38) | 4.7905 | 1.2499 | 3.8326 | 0.070857 | 0.08848 | 3.7372
Commercial/Ind | Better Business | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 5.5498 | 1.167 | 4.7555 | 0.4885 | 0.00094886 | 1.2964
Commercial/Ind | Better Business | Chilled Water Controls Optimization | 6.1517 | 1.009 | 6.0971 | 0 | 0 | 0 | Payback<2
Commercial/Ind | Better Business | Cool Roof | 0.18207 | 1.4697 | 0.12388 | 0 | 0 | 0 | PCT
Commercial/Ind | Better Business | Demand Controlled Ventilation | 3.3812 | 1.2547 | 2.6948 | 2.7935 | 15.7273 | 26.8308
Commercial/Ind | Better Business | Duct Sealing Repair | 9.1204 | 1.6399 | 5.5617 | 1.566 | 0.13724 | 8.1452
Commercial/Ind | Better Business | HVAC tune-up | 1.529 | 0.95317 | 1.6041 | 0 | 0 | 0 | RIM
Commercial/Ind | Better Business | High Efficiency DX 135k- less than 240k BTU | 1.5086 | 1.1756 | 1.2832 | 0.78886 | 0 | 1.9156
Commercial/Ind | Better Business | Retro-Commissioning | 1.9949 | 0.92752 | 2.1508 | 0 | 0 | 0 | RIM
Commercial/Ind | Better Business | Energy Recovery Ventilation System (ERV) | 1.6335 | 4.0534 | 0.40299 | 0 | 0 | 0 | PCT
Commercial/Ind | Better Business | Roof Insulation | 0.66409 | 1.2499 | 0.5313 | 0 | 0 | 0 | PCT
Commercial/Ind | Better Business | Thermal Energy Storage | 2.5183 | 9999 | 2.2103 | 9.7424 | 2.8235 | -1.5502
Commercial/Ind | Better Business | High Efficiency PTAC | 4.8649 | 1.3512 | 3.6004 | 0.0047708 | 0 | 0.010019
Commercial/Ind | Better Business | High Efficiency PTHP | 5.0101 | 1.3315 | 3.7629 | 0.025826 | 0 | 0.051926
Commercial/Ind | Better Business | HVAC tune-up_RTU | 1.0052 | 0.83554 | 1.2031 | 0 | 0 | 0 | RIM
Commercial/Ind | Interruptible | Interruptible | 58.4163 | 2.3897 | 9999 | 115.3767 | 92.447 | 0
Commercial/Ind | Curtailable | Curtailable | 109.3448 | 5.1252 | 9999 | 70.1807 | 80.044 | 0
Program Legend:
NES = | Neighborhood Energy Saver Program
LIWAP = | Low Income Weatherization Assistance Program
RIP = | Residential Incentive Program
Note:
The Neighborhood Energy Saver and Low Income Weatherization programs are both low income programs. DEF typically provides some measures through these programs that have less than a 2 year payback and others that may not pass RIM. These measures are not included in goals. DEF evaluates these programs based on the overall cost effectiveness of the bundled measures.

## ACH TRC
Existing DSM Program Measures
Achievable Potential – TRC
Reason
Customer | Program | Measure |  |  |  | Summer | Winter | Energy | For
Class | Name | Name | TRC | RIM | PCT | (MW) | (MW) | (GWh) | Failure
Residential | NES/LIWAP | Heat Pump Tune Up | 0.39314 | 0.89106 | 0.44121 | 0 | 0 | 0 | TRC and PCT
Residential | NES/LIWAP/RIP | Ceiling Insulation(R2 to R38) | 7.309 | 1.2746 | 5.7342 | 4.3806 | 1.9647 | 6.7322
Residential | NES/LIWAP | CFL-13W | 1.1728 | 0.34787 | 3.3715 | 0 | 0 | 0
Residential | NES/LIWAP | CFL-23W | 2.5499 | 0.34787 | 7.3301 | 0 | 0 | 0 | Payback<2
Residential | NES/LIWAP | Air Sealing-Infiltration Control | 2.0306 | 1.1319 | 1.794 | 18.2621 | 5.3016 | 23.7756
Residential | NES/LIWAP/RIP | Duct Repair | 3.6442 | 1.1319 | 3.2196 | 23.9577 | 5.9876 | 29.3575
Residential | NES/LIWAP | Faucet Aerator | 11.9106 | 0.50059 | 23.793 | 0 | 0 | 0 | Payback<2
Residential | NES/LIWAP | LED - 9W | 3.0155 | 0.37051 | 8.1387 | 0 | 0 | 0 | Payback<2
Residential | NES/LIWAP | Low Flow Showerhead | 18.8934 | 0.47956 | 39.3975 | 0 | 0 | 0 | Payback<2
Residential | NES | Hot Water Pipe Insulation | 7.2089 | 0.5383 | 13.3919 | 0 | 0 | 0 | Payback<2
Residential | LIWAP | Energy Star Refrigerator | 0.6622 | 0.44265 | 1.496 | 0 | 0 | 0 | TRC
Residential | NES | Smart Power Strip | 1.0398 | 0.35299 | 2.9456 | 0 | 0 | 0 | Payback<2
Residential | NES/LIWAP | Water Heater Blanket | 0.50635 | 0.43235 | 1.1712 | 0 | 0 | 0 | TRC
Residential | RIP | Energy Star Windows | 3.6169 | 1.2746 | 2.8376 | 6.7816 | 2.2238 | 13.5148
Residential | LIWAP/RIP | 15 SEER Air Source Heat Pump | 1.4998 | 1.2228 | 1.2266 | 7.2481 | 13.0493 | 16.7807
Residential | RIP | 17 SEER Air Source Heat Pump | 0.86456 | 1.2228 | 0.70703 | 0 | 0 | 0 | TRC and PCT
Residential | LIWAP/RIP | 14 SEER ASHP from base electric resistance heating | 3.4975 | 1.1914 | 2.9355 | 0 | 11.1654 | 17.2312
Residential | RIP | 21 SEER ASHP from base electric resistance heating | 0.99769 | 1.2228 | 0.81591 | 0 | 0 | 0 | TRC and PCT
Residential | EnergyWise | HVAC - Load Shed | 19.2063 | 2.9683 | 9999 | 17.5628 | 15.3813 | 0
Residential | EnergyWise | HVAC - 50% Cycling | 15.3409 | 2.857 | 9999 | 12.7814 | 15.6692 | 0
Residential | EnergyWise | Water heater switches | 4.107 | 1.8928 | 9999 | 0 | 0 | 0
Residential | EnergyWise | Pool pump switches | 11.4333 | 2.8387 | 9999 | 11.6945 | 7.5398 | 0
Commercial/Ind | Better Business | Ceiling Insulation(R2 to R38) | 4.7905 | 1.2499 | 3.8326 | 0.070859 | 0.088481 | 3.7373
Commercial/Ind | Better Business | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 5.5498 | 1.167 | 4.7555 | 0.53851 | 0.001046 | 1.4291
Commercial/Ind | Better Business | Chilled Water Controls Optimization | 6.1517 | 1.009 | 6.0971 | 0 | 0 | 0 | Payback<2
Commercial/Ind | Better Business | Cool Roof | 0.18207 | 1.4697 | 0.12388 | 0 | 0 | 0 | TRC and PCT
Commercial/Ind | Better Business | Demand Controlled Ventilation | 3.3812 | 1.2547 | 2.6948 | 2.7671 | 15.579 | 26.5778
Commercial/Ind | Better Business | Duct Sealing Repair | 9.1204 | 1.6399 | 5.5617 | 1.566 | 0.13724 | 8.1452
Commercial/Ind | Better Business | HVAC tune-up | 1.529 | 0.95317 | 1.6041 | 0.01959 | 0 | 0.047834
Commercial/Ind | Better Business | High Efficiency DX 135k- less than 240k BTU | 1.5086 | 1.1756 | 1.2832 | 0.84491 | 0 | 2.0534
Commercial/Ind | Better Business | Retro-Commissioning | 1.9949 | 0.92752 | 2.1508 | 0.82709 | 0.98401 | 4.7029
Commercial/Ind | Better Business | Energy Recovery Ventilation System (ERV) | 1.6335 | 4.0534 | 0.40299 | 0 | 0 | 0 | PCT
Commercial/Ind | Better Business | Roof Insulation | 0.66409 | 1.2499 | 0.5313 | 0 | 0 | 0 | TRC and PCT
Commercial/Ind | Better Business | Thermal Energy Storage | 2.5183 | 9999 | 2.2103 | 9.7424 | 2.8235 | -1.5502
Commercial/Ind | Better Business | High Efficiency PTAC | 4.8649 | 1.3512 | 3.6004 | 0 | 0 | 0
Commercial/Ind | Better Business | High Efficiency PTHP | 5.0101 | 1.3315 | 3.7629 | 0.03078 | 4.4823e-06 | 0.0865
Commercial/Ind | Better Business | HVAC tune-up_RTU | 1.0052 | 0.83554 | 1.2031 | 2.9836 | 0 | 7.5387
Commercial/Ind | Interruptible | Interruptible | 58.4163 | 2.3897 | 9999 | 115.3767 | 92.447 | 0
Commercial/Ind | Curtailable | Curtailable | 109.3448 | 5.1252 | 9999 | 70.1807 | 80.044 | 0
Program Legend:
NES = | Neighborhood Energy Saver Program
LIWAP = | Low Income Weatherization Assistance Program
RIP = | Residential Incentive Program
Note:
The Neighborhood Energy Saver and Low Income Weatherization programs are both low income programs. DEF typically provides some measures through these programs that have less than a 2 year payback and others that may not pass RIM. These measures are not included in goals. DEF evaluates these programs based on the overall cost effectiveness of the bundled measures.