## Response ROG 24
DEF
DOCKET 20190018
STAFF ROG 1-24
Net Firm Summer Peak Demand | [6 empty] | Net Firm Winter Peak Demand | [6 empty] | Net Energy for Load
Year | No New | 2019 | Economic Potential |  | Achievable Potential |  | Year | No New | 2019 | Economic Potential |  | Achievable Potential |  | Year | No New | 2019 | Economic Potential |  | Achievable Potential
| DSM | TYSP | RIM | TRC | RIM | TRC |  | DSM | TYSP | RIM | TRC | RIM | TRC |  | DSM | TYSP | RIM | TRC | RIM | TRC
| (MW) | (MW) | (MW) | (MW) | (MW) | (MW) |  | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) |  | (GWHS) | (GWHS) | (GWHS) | (GWHS) | (GWHS) | (GWHS)
2020 | 9055.322 | 8952.9554 | 4327.2608 | 4483.893 | 30 | 38 | 2020 | 9294.4621 | 9238.9475 | 4637.5595 | 4716.7606 | 24 | 28 | 2020 | 43652.4025 | 43620 | 1897.7846 | 3117.3963 | 24.5 | 72
2021 | 9146.6495 | 9025.8069 |  |  | 26 | 33 | 2021 | 8739.5458 | 8610.8092 |  |  | 22 | 24 | 2021 | 44010.7461 | 43949 |  |  | 22.7 | 63.8
2022 | 9230.0285 | 9081.7133 |  |  | 23 | 30 | 2022 | 9121.3943 | 8957.6991 |  |  | 19 | 23 | 2022 | 44607.8224 | 44519 |  |  | 22.3 | 61.1
2023 | 9001.4494 | 8835.8191 |  |  | 23 | 30 | 2023 | 8885.5348 | 8696.0186 |  |  | 20 | 23 | 2023 | 44580.4396 | 44466 |  |  | 20.4 | 55.1
2024 | 9089.3522 | 8906.6791 |  |  | 25 | 30 | 2024 | 8982.7571 | 8767.8336 |  |  | 21 | 23 | 2024 | 44950.9849 | 44813 |  |  | 19.3 | 48
2025 | 8965.0754 | 8765.5288 |  |  | 24 | 30 | 2025 | 8822.6737 | 8582.7439 |  |  | 21 | 23 | 2025 | 44893.7026 | 44732 |  |  | 16 | 39.6
2026 | 9054.5738 | 8839.2804 |  |  | 23 | 28 | 2026 | 8896.2186 | 8633.2127 |  |  | 18 | 20 | 2026 | 45239.112 | 45057 |  |  | 12.9 | 31
2027 | 9150.106 | 8920.4892 |  |  | 22 | 26 | 2027 | 8971.5839 | 8687.901 |  |  | 18 | 19 | 2027 | 45602.196 | 45405 |  |  | 10.7 | 25
2028 | 9269.564 | 9027.4854 |  |  | 23 | 25 | 2028 | 9041.8022 | 8740.6173 |  |  | 19 | 19 | 2028 | 46122.7594 | 45916 |  |  | 9.1 | 20.4
2029 | 9381.6621 | 9128.966 |  |  | 24 | 24 | 2029 | 9104.0208 | 8788.1958 |  |  | 17 | 18 | 2029 | 46561.4662 | 46351 |  |  | 8.1 | 16

## Exhibit_(LC-2)
Duke Energy Florida
Docket No. 20190018-EG
2020-2029 Annual Goals | [12 empty] | Witness: Cross
TRC Annual Goals (values at the generator) | [12 empty] | Exhibit No. __(LC-2)
| Residential |  |  | Non-Residential |  |  | Total
| WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S
2020 | 12 | 16 | 33 | 16 | 22 | 39 | 28 | 38 | 72
2021 | 10 | 14 | 27 | 14 | 19 | 36.8 | 24 | 33 | 63.8
2022 | 10 | 13 | 24 | 13 | 17 | 37.1 | 23 | 30 | 61.1
2023 | 9 | 13 | 21 | 14 | 17 | 34.1 | 23 | 30 | 55.1
2024 | 9 | 12 | 19 | 14 | 18 | 29 | 23 | 30 | 48
2025 | 9 | 12 | 18 | 14 | 18 | 21.6 | 23 | 30 | 39.6
2026 | 8 | 12 | 16 | 12 | 16 | 15 | 20 | 28 | 31
2027 | 8 | 11 | 14 | 11 | 15 | 11 | 19 | 26 | 25
2028 | 7 | 10 | 12 | 12 | 15 | 8.4 | 19 | 25 | 20.4
2029 | 7 | 9 | 10 | 11 | 15 | 6 | 18 | 24 | 16
TOTAL | 89 | 122 | 194 | 131 | 172 | 238 | 220 | 294 | 432
TRC ANNUAL GOALS EE AND DR
| RES EE |  |  | RES DR |  |  | RES TOTAL |  |  | NON-RES EE |  |  | NON-RES DR |  |  | NON-RES TOTAL
| WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S | WKW | SKW | GWH'S
2020 | 7.6236 | 11.3842 | 33.0247 | 3.8921 | 4.1796 | 0 | 11.5157 | 15.5637 | 33.0247 | 4.4506 | 10.3117 | 39.0019 | 12 | 12 | 0 | 16.4506 | 22.3117 | 39.0019
2021 | 6.5109 | 10.045 | 27.1329 | 3.8921 | 4.1796 | 0 | 10.403 | 14.2246 | 27.1329 | 4.6456 | 9.5037 | 36.8179 | 9.5 | 9.5 | 0 | 14.1456 | 19.0037 | 36.8179
2022 | 5.8993 | 9.2208 | 23.6991 | 3.8921 | 4.1796 | 0 | 9.7914 | 13.4004 | 23.6991 | 5.2401 | 8.7907 | 37.0625 | 7.7 | 8.5 | 0 | 12.9401 | 17.2907 | 37.0625
2023 | 5.4394 | 8.6842 | 21.1343 | 3.8921 | 4.1796 | 0 | 9.3315 | 12.8638 | 21.1343 | 5.1646 | 7.3781 | 34.1156 | 8.4 | 10 | 0 | 13.5646 | 17.3781 | 34.1156
2024 | 5.053 | 8.2651 | 19.1012 | 3.8921 | 4.1796 | 0 | 8.9451 | 12.4446 | 19.1012 | 4.4035 | 5.7253 | 29.0209 | 9.6 | 12 | 0 | 14.0035 | 17.7253 | 29.0209
2025 | 4.7497 | 7.9284 | 17.5572 | 3.8921 | 4.1796 | 0 | 8.6418 | 12.1079 | 17.5572 | 2.9162 | 4.0179 | 21.6005 | 10.7 | 13.5 | 0 | 13.6162 | 17.5179 | 21.6005
2026 | 4.3606 | 7.3514 | 15.7717 | 3.8921 | 4.1796 | 0 | 8.2528 | 11.531 | 15.7717 | 1.5752 | 2.667 | 14.9694 | 10.4 | 13 | 0 | 11.9752 | 15.667 | 14.9694
2027 | 3.9738 | 6.6635 | 13.9914 | 3.8921 | 4.1796 | 0 | 7.8659 | 10.8431 | 13.9914 | 0.85228 | 1.8767 | 10.9842 | 10.6 | 13 | 0 | 11.4523 | 14.8767 | 10.9842
2028 | 3.5768 | 5.8655 | 12.1474 | 3.8921 | 4.1796 | 0 | 7.4689 | 10.0451 | 12.1474 | 0.52553 | 1.3852 | 8.4257 | 11.1 | 14 | 0 | 11.6255 | 15.3852 | 8.4257
2029 | 3.2427 | 5.169 | 10.305 | 3.8921 | 4.1796 | 0 | 7.1348 | 9.3486 | 10.305 | 0.2505 | 1.3865 | 5.9936 | 11 | 13.5 | 0 | 11.2505 | 14.8865 | 5.9936
TOTAL | 50.4298 | 80.5773 | 193.8649 | 38.9212 | 41.7956 | 0 | 89.3509 | 122.3729 | 193.8649 | 30.0242 | 53.0429 | 237.9922 | 101 | 119 | 0 | 131.0242 | 172.0429 | 237.9922
| Note 1 | Totals tie to Nexant Report Table 1-3: EE RIM Achievable Potential and Table 1-6 DR Achievable Potential

## Exhibit__(LC-1)
Duke Energy Florida
Docket No. 20190018-EG
2020-2029 Annual Goals | [12 empty] | Witness: Cross
RIM Annual Goals (values at the generator) | [12 empty] | Exhibit No. __(LC-1)
| Residential |  |  | Non-Residential |  |  | Total
| WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S
2020 | 10 | 14 | 17 | 14 | 16 | 7.5 | 24 | 30 | 24.5
2021 | 9 | 13 | 15 | 13 | 13 | 7.7 | 22 | 26 | 22.7
2022 | 8 | 12 | 14 | 11 | 11 | 8.3 | 19 | 23 | 22.3
2023 | 8 | 11 | 12 | 12 | 12 | 8.4 | 20 | 23 | 20.4
2024 | 8 | 11 | 12 | 13 | 14 | 7.3 | 21 | 25 | 19.3
2025 | 8 | 10 | 11 | 13 | 14 | 5 | 21 | 24 | 16
2026 | 7 | 10 | 10 | 11 | 13 | 2.9 | 18 | 23 | 12.9
2027 | 7 | 9 | 9 | 11 | 13 | 1.7 | 18 | 22 | 10.7
2028 | 7 | 9 | 8 | 12 | 14 | 1.1 | 19 | 23 | 9.1
2029 | 6 | 9 | 7 | 11 | 15 | 1.1 | 17 | 24 | 8.1
TOTAL | 78 | 108 | 115 | 121 | 135 | 51 | 199 | 243 | 166
RIM ANNUAL GOALS EE AND DR
| RES EE |  |  | RES DR |  |  | RES TOTAL |  |  | NON-RES EE |  |  | NON-RES DR |  |  | NON-RES TOTAL
| WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S | WMW | SMW | GWH'S
2020 | 5.796 | 9.7408 | 17.0554 | 3.8921 | 4.1796 | 0 | 9.6881 | 13.9204 | 17.0554 | 2.3442 | 3.9998 | 7.4779 | 12 | 12 | 0 | 14.3442 | 15.9998 | 7.4779
2021 | 5.0526 | 8.6427 | 15.0193 | 3.8921 | 4.1796 | 0 | 8.9448 | 12.8222 | 15.0193 | 3.0103 | 3.6506 | 7.6625 | 9.5 | 9.5 | 0 | 12.5103 | 13.1506 | 7.6625
2022 | 4.5803 | 7.7894 | 13.5712 | 3.8921 | 4.1796 | 0 | 8.4724 | 11.969 | 13.5712 | 3.6269 | 2.8592 | 8.3382 | 7.7 | 8.5 | 0 | 11.3269 | 11.3592 | 8.3382
2023 | 4.21 | 7.1622 | 12.4691 | 3.8921 | 4.1796 | 0 | 8.1021 | 11.3418 | 12.4691 | 3.6778 | 2.4371 | 8.375 | 8.4 | 10 | 0 | 12.0778 | 12.4371 | 8.375
2024 | 3.8989 | 6.6618 | 11.5653 | 3.8921 | 4.1796 | 0 | 7.7911 | 10.8414 | 11.5653 | 3.1569 | 1.6351 | 7.2904 | 9.6 | 12 | 0 | 12.7569 | 13.6351 | 7.2904
2025 | 3.6621 | 6.2764 | 10.8749 | 3.8921 | 4.1796 | 0 | 7.5542 | 10.456 | 10.8749 | 2.0239 | 0.90695 | 5.0282 | 10.7 | 13.5 | 0 | 12.7239 | 14.407 | 5.0282
2026 | 3.3732 | 5.7616 | 10.0009 | 3.8921 | 4.1796 | 0 | 7.2653 | 9.9412 | 10.0009 | 0.98914 | 0.40548 | 2.9196 | 10.4 | 13 | 0 | 11.3891 | 13.4055 | 2.9196
2027 | 3.1006 | 5.2268 | 9.1396 | 3.8921 | 4.1796 | 0 | 6.9927 | 9.4064 | 9.1396 | 0.43726 | 0.055291 | 1.7021 | 10.6 | 13 | 0 | 11.0373 | 13.0553 | 1.7021
2028 | 2.8311 | 4.6613 | 8.2605 | 3.8921 | 4.1796 | 0 | 6.7232 | 8.8409 | 8.2605 | 0.50877 | 0.05134 | 1.0771 | 11.1 | 14 | 0 | 11.6088 | 14.0513 | 1.0771
2029 | 2.5339 | 4.04 | 7.0931 | 3.9921 | 4.3796 | 0 | 6.526 | 8.4196 | 7.0931 | 0.21032 | 0.01315 | 1.0871 | 11 | 13.5 | 0 | 11.2103 | 13.5132 | 1.0871
TOTAL | 39.0386 | 65.9631 | 115.0493 | 39.0212 | 41.9956 | 0 | 78.0598 | 107.9587 | 115.0493 | 19.9854 | 16.0139 | 50.958 | 101 | 119 | 0 | 120.9854 | 135.0139 | 50.958
Note 1 | 39.0386 | 65.9631 | 115 | 39 | 42 | 0 | 78.0386 | 107.9631 | 115 | 19.5854 | 16 | 51 | 101 | 119
Note 1 | Totals tie to Nexant Report Table 1-3: EE RIM Achievable Potential and Table 1-6 DR Achievable Potential