## Figures_Tables
Housing Type | Summer Impact (at Generator) | Winter Impact (at Generator) | Annual Incentive ($/Participant) | AP Participation (% of Customers)
Single Family | 1.7995 | 1.99 | 54.87 | 26.33%
Multi Family | 0.9315 | 1.1855 | 54.87 | 28.46%
Mobile Home/Other | 1.7783 | 1.9794 | 54.87 | 28.46%
Segment (Housing Type or Size) | Summer Measure Impact (at Generator) | Winter Measure Impact (at Generator) | Annual Incentive ($/Participant) | Participation (% of Customers)
0-15,000 kWh | 0.6941 | 0.74895 | 41.4214 | 10.48%
15,001-25,000 kWh | 1.4482 | 2.0725 | 63.6983 | 6.76%
25,001-50,000 kWh | 1.8942 | 2.9304 | 58.2187 | 4.821%
50,001 kWh + | 5.093 | 3.7481 | 97.9998 | 3.913%
Segment (Housing Type or Size) | Customer Summer Peak Demand (kW) | Customer Winter Peak Demand (kW) | Annual Incentive ($/kW) | Participation (% of Load)
0-50 kW | 15.9471 | 12.7934 | 59.856 | 5.888%
51-300 kW | 92.7205 | 68.0728 | 59.856 | 5.888%
301-500 kW | 346.9701 | 266.3372 | 59.856 | 17.23%
501 kW + | 837.9074 | 763.6146 | 59.856 | 25.78%

## DEF Dashboard
Summary tables for all three sectors (Res/Com/Ind):
Table 1. Achievable Potential Savings for Residential and Non-Residential Sectors | [5 empty] | Technical Potential/Economic Potential |  |  |  |  | Results Compare from ITRON 2013
|  | Residential | Non-Residential | Total |  |  | Residential | Non-Residential | Total |  |  | Residential | Non-Residential | Total
| Summer Peak (MW) | 4998.0812 | 3227.1855 | 8225.2667 |  | Summer Peak (MW) | 4998.0812 | 3227.1855 | 8225.2667 |  | Summer Peak (MW) | 4713 | 2277 | 6990
| Achievable Summer Peak Savings (MW) | 41.7956 | 118.7195 | 160.5151 |  | Technical Summer Peak Savings (MW) | 1434.4158 | 1857.31 | 3291.7258 |  | Summer Peak Savings (MW) | 735 | 270 | 1005
| % of Summer Peak | 0.8362% | 3.679% | 1.951% |  | % of Summer Peak | 28.7% | 57.55% | 40.02% |  | % of Summer Peak | 15.6% | 11.86% | 14.38%
| Winter Peak (MW) | 5651.7587 | 3024.9349 | 8676.6936 |  | Winter Peak (MW) | 5651.7587 | 3024.9349 | 8676.6936 |  | Winter Peak (MW) | 5262 | 1546 | 6808
| Achievable Winter Peak Savings (MW) | 38.9212 | 100.7165 | 139.6377 |  | Technical Winter Peak Savings (MW) | 2626.5018 | 1446.26 | 4072.7618 |  | Winter Peak Savings (MW) | 868 | 89 | 957
| % of Winter Peak | 0.6887% | 3.33% | 1.609% |  | % of Winter Peak | 46.47% | 47.81% | 46.94% |  | % of Winter Peak | 16.5% | 5.757% | 14.06%
Table 2. Summer Peak Demand by Segment by Sector
| Residential |  |  |  | GS |  |  |  | GSD
| Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak
| Single Family | 3575.2133 | 71.53% |  | 0-15,000 kWh | 152.9699 | 47.25% |  | 0-50 kW | 677.3736 | 23.33%
| Multi-Family | 909.5485 | 18.2% |  | 15,001-25,000 kWh | 63.3734 | 19.58% |  | 51-300 kW | 957.2484 | 32.97%
| Mobile Home/Other | 513.3194 | 10.27% |  | 25,001-50,000 kWh | 56.2095 | 17.36% |  | 301-500 kW | 350.0426 | 12.06%
[5 empty] | 50,000 kWh+ | 51.1701 | 15.81% |  | 501 kW+ | 918.7981 | 31.64%
| Total | 4998.0812 | 100% |  | Total | 323.7229 | 100% |  | Total | 2903.4626 | 100%
Table 3. Winter Peak Demand by Segment by Sector
| Residential |  |  |  | GS |  |  |  | GSD
| Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak
| Single Family | 4062.549 | 71.88% |  | 0-15,000 kWh | 125.7671 | 46.43% |  | 0-50 kW | 636.2549 | 23.1%
| Multi-Family | 958.8842 | 16.97% |  | 15,001-25,000 kWh | 56.7445 | 20.95% |  | 51-300 kW | 822.8466 | 29.88%
| Mobile Home/Other | 630.3255 | 11.15% |  | 25,001-50,000 kWh | 50.0811 | 18.49% |  | 301-500 kW | 314.599 | 11.42%
[5 empty] | 50,000 kWh+ | 38.2607 | 14.13% |  | 501 kW+ | 980.3811 | 35.6%
| Total | 5651.7587 | 100% |  | Total | 270.8534 | 100% |  | Total | 2754.0816 | 100%
Table 4. Summer Peak Potential by End Use by Sector (UNADJUSTED)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 0 | 0% |  | Space Heating | 0 | 0% |  | All | 396.0456 | 13.64%
| Space Cooling | 675.6448 | 13.52% |  | Space Cooling | 3.3427 | 1.033%
| Water Heater | 94.6961 | 1.895%
| Pool Pump | 46.7053 | 0.9345%
| Total | 817.0461 | 16.35% |  | Total | 3.3427 | 1.033% |  | Total | 396.0456 | 13.64%
Table 5. Winter Peak Potential by End Use by Sector (UNADJUSTED)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 768.4675 | 13.6% |  | Space Heating | 8.2695 | 3.053% |  | All | 348.2305 | 12.64%
| Space Cooling | 0 | 0% |  | Space Cooling | 0 | 0%
| Water Heater | 153.3175 | 2.713%
| Pool Pump | 30.1126 | 0.5328%
| Total | 951.8976 | 16.84% |  | Total | 8.2695 | 3.053% |  | Total | 348.2305 | 12.64%
Table 6. Summer Peak Potential by End Use by Sector (ADJUSTED FOR EXISTING DR)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 0 | 0% |  | Space Heating | 0 | 0% |  | All | 115.3767 | 3.974%
| Space Cooling | 30.1012 | 0.6023% |  | Space Cooling | 3.3427 | 1.033%
| Water Heater | 0 | 0%
| Pool Pump | 11.6945 | 0.234%
| Total | 41.7956 | 0.8362% |  | Total | 3.3427 | 1.033% |  | Total | 115.3767 | 3.974%
Table 7. Winter Peak Potential by End Use by Sector (ADJUSTED FOR EXISTING DR)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 31.3813 | 0.5552% |  | Space Heating | 8.2695 | 3.053% |  | All | 92.447 | 3.357%
| Space Cooling | 0 | 0% |  | Space Cooling | 0 | 0%
| Water Heater | 0 | 0%
| Pool Pump | 7.5398 | 0.1334%
| Total | 38.9212 | 0.6887% |  | Total | 8.2695 | 3.053% |  | Total | 92.447 | 3.357%
Data for Table 7-8
|  | Residential | SMB | Large C&I |  |  | Residential | SMB | Large C&I
| Achievable Summer Peak Savings (MW) | 41.7956 | 3.3427 | 115.3767 |  | Achievable Winter Peak Savings (MW) | 38.9212 | 8.2695 | 92.447
| Figure 7-18 |  |  |  |  | Figure 7-19
|  | Residential | Non-Residential | Total
| Summer Peak (MW) | 4998.0812 | 3227.1855 | 8225.2667
| Achievable Summer Peak Savings (MW) | 41.7956 | 118.7195 | 160.5151
| % of Summer Peak | 0.8362% | 3.679% | 1.951%
| Winter Peak (MW) | 5651.7587 | 3024.9349 | 8676.6936
| Achievable Winter Peak Savings (MW) | 38.9212 | 100.7165 | 139.6377
| % of Winter Peak | 0.6887% | 3.33% | 1.609%
|  | Summer Peak (MW) | Achievable Summer Peak Savings (MW) | % of Summer Peak | Winter Peak (MW) | Achievable Winter Peak Savings (MW) | % of Winter Peak
| Residential | 4998.0812 | 41.7956 | 0.8362% | 5651.7587 | 38.9212 | 0.6887%
| Non-Residential | 3227.1855 | 118.7195 | 3.679% | 3024.9349 | 100.7165 | 3.33%
| Total | 8225.2667 | 160.5151 | 1.951% | 8676.6936 | 139.6377 | 1.609%
| End Use | Summer MW | Winter MW |  | End Use | Summer MW | Winter MW |  | End Use | Summer MW | Winter MW
| Space Heating | 0 | 31.3813 |  | Space Heating | 0 | 8.2695 |  | 0-50 kW | 29.3963 | 24.7204
| Space Cooling | 30.1012 | 0 |  | Space Cooling | 3.3427 | 0 |  | 51-300 kW | 41.5421 | 31.9701
| Water Heater | 0 | 0 | [5 empty] | 301-500 kW | 44.4383 | 35.7565
| Pool Pump | 11.6945 | 7.5398 | [5 empty] | 501 kW + | 0 | 0
| Total | 41.7956 | 38.9212 |  | Total | 3.3427 | 8.2695 |  | Total | 115.3767 | 92.447
| FIGURE 7-20 |  |  |  | FIGURE 7-21 |  |  |  | FIGURE 7-22

## Res Measure Summary
Utility | Measure | End Use Targeted | Current Program | Passes RIM? | Overall Participation with Max Incentive & Current CE (Including Existing DR) | Summer Measure Impact (at Generator) | Winter Measure Impact (at Generator) | Annual Incentive ($/Participant) | Summer Max Additional MW from Measure | Winter Max Additional MW from Measure
DEF | HVAC - Load Shed | Central Heating/Cooling | EnergyWise | Yes | 27.18% | 1.5472 | 1.7572 | 54.87 | 25.5628 | 31.3813
DEF | HVAC - 50% Cycling | Central Heating/Cooling | EnergyWise | Yes | 27.18% | 0.7736 | 0.87801 | 54.87 | 12.7814 | 15.6692
DEF | Water heater switches | Water Heater | EnergyWise | Yes | 27.21% | 0.22229 | 0.3599 | 54.87 | 0 | 0
DEF | Pool pump switches | Pool Pump | EnergyWise | Yes | 26.33% | 0.80448 | 0.51868 | 54.87 | 11.6945 | 7.5398
DEF | Room AC control | Supplemental Heating/Cooling | None | Yes | 9.904% | 0.21146 | 0.23581 | 1.9833 | 4.5384 | 5.0144
DEF | Smart thermostats - Utility Installation | Central Heating/Cooling | None | No | 0% | 0.77013 | 0.37329 | 0 | 0 | 0
DEF | Smart thermostats - BYOT | Central Heating/Cooling | None | Yes | 24.62% | 0.7724 | 0.37417 | 29.619 | 24.8902 | 12.0362
DEF | CPP + Tech | Central Heating/Cooling | None | No | 0% | 1.2253 | 0.79281 | 0 | 0 | 0
NOTE: Each measure's max achievable potential represents the potential if all remaining customers participated in that specific measure, measure with the greatest annual savings is what will be included in final results
GRAY MEASURES DID NOT PASS

## SMB Measure Summary
Utility | Measure | End Use Targeted | Current Program | Passes RIM/TRC? | Overall Participation | Summer Measure Impact (at Generator) | Winter Measure Impact (at Generator) | Annual Incentive ($/Participant) | Summer Max Additional MW from Measure | Winter Max Additional MW from Measure
DEF | HVAC - Load Shed | HVAC | None | Yes | 9.695% | 1.9734 | 2.3498 | 68.9559 | 3.3427 | 8.2695
DEF | HVAC - 50% Cycling | HVAC | None | Yes | 5.252% | 0.61859 | 0.79981 | 43.0669 | 1.5096 | 3.1026
DEF | Smart thermostats - Utility Installation | HVAC | None | Yes | 0% | 2.5465 | 0.79647 | 50.5241 | 0.16333 | 0
DEF | Smart thermostats - BYOT | HVAC | None | Yes | 0% | 0.62461 | 0.33899 | 27.6379 | 0.16333 | 0
DEF | CPP + Tech | HVAC | None | No | 0% | 0.62461 | 0.33899 | 27.6379 | 0.34642 | 0

## LCI Measure Summary
Utility | Measure | End Use Targeted | Current Program | Passes RIM? | Overall Participation with Max Incentive & Current CE (Including Existing DR) | Summer Customer Peak Demand kW (at Generator) | Winter Customer Peak Demand kW (at Generator) | Annual Incentive ($/kW) | Summer Max Additional MW from Measure | Winter Max Additional MW from Measure
DEF | Auto DR | All | Interruptible | Yes | 14.26% | 52.8808 | 42.8413 | 59.856 | 115.3767 | 92.447
DEF | CPP | All | None | Yes | 6.164% | 21.1523 | 17.1365 | 44.5425 | 25.7046 | 18.4885
DEF | Firm Service Level/Guaranteed Load Drop | All | Curtailable | Yes | 11.6% | 52.8808 | 42.8413 | 44.856 | 70.1807 | 80.044

## Res Measure Outputs
Utility | Housing Type | Sector | End Use Targeted | Measure | Current Program | Passed RIM? | Summer Measure Impact (at Generator) | Winter Measure Impact (at Generator) | RIM Cost-Benefit Ratio | Annual Incentive ($/Participant) | AP Participation (% of Customers) | AP Summer MW for Measure (No Adjustment) | Max AP Summer MW for Measure (All DR Participants Removed) | AP Winter MW for Measure (No Adjustment) | Max AP Winter MW for Measure (All DR Participants Removed)
DEF | Single Family | Residential | HVAC | HVAC - Load Shed | EnergyWise | Yes | 1.7995 | 1.99 | 1 | 54.87 | 26.33% | 460.1732 | 0 | 508.8975 | 0
DEF | Multi Family | Residential | HVAC | HVAC - Load Shed | EnergyWise | Yes | 0.9315 | 1.1855 | 1 | 54.87 | 28.46% | 123.5949 | 18.3392 | 157.3025 | 23.3409
DEF | Mobile Home/Other | Residential | HVAC | HVAC - Load Shed | EnergyWise | Yes | 1.7783 | 1.9794 | 1 | 54.87 | 28.46% | 91.8767 | 7.2235 | 102.2675 | 8.0405
DEF | Single Family | Residential | HVAC | HVAC - Cycling | EnergyWise | Yes | 0.89974 | 0.99501 | 1 | 54.87 | 26.33% | 230.0866 | 0 | 254.4487 | 0
DEF | Multi Family | Residential | HVAC | HVAC - Cycling | EnergyWise | Yes | 0.46575 | 0.59277 | 1 | 54.87 | 28.46% | 61.7974 | 9.1696 | 78.6513 | 11.6704
DEF | Mobile Home/Other | Residential | HVAC | HVAC - Cycling | EnergyWise | Yes | 0.88916 | 0.98442 | 1 | 54.87 | 28.46% | 45.9383 | 3.6118 | 50.8603 | 3.9987
DEF | Single Family | Residential | Water Heater | Water heater switches | EnergyWise | Yes | 0.22229 | 0.3599 | 1 | 54.87 | 26.33% | 53.6926 | 0 | 86.9309 | 0
DEF | Multi Family | Residential | Water Heater | Water heater switches | EnergyWise | Yes | 0.22229 | 0.3599 | 1 | 54.87 | 28.46% | 29.4286 | 0 | 47.6464 | 0
DEF | Mobile Home/Other | Residential | Water Heater | Water heater switches | EnergyWise | Yes | 0.22229 | 0.3599 | 1 | 54.87 | 28.46% | 11.5749 | 0 | 18.7403 | 0
DEF | Single Family | Residential | Pool Pump | Pool pump switches | EnergyWise | Yes | 0.80448 | 0.51868 | 1 | 54.87 | 26.33% | 46.7053 | 11.6945 | 30.1126 | 7.5398
DEF | Multi Family | Residential | Pool Pump | Pool pump switches | EnergyWise | Yes | 0 | 0 | NA | 54.87 | 0% | 0 | 0 | 0 | 0
DEF | Mobile Home/Other | Residential | Pool Pump | Pool pump switches | EnergyWise | Yes | 0 | 0 | NA | 54.87 | 0% | 0 | 0 | 0 | 0
DEF | Single Family | Residential | Supplemental Heating/Cooling | Room AC control | None | Yes | 0.22229 | 0.25405 | 1 | 2.6411 | 10.11% | 0.91806 | 0.91806 | 1.0492 | 1.0492
DEF | Multi Family | Residential | Supplemental Heating/Cooling | Room AC control | None | No | 0.11644 | 0.14819 | NA | 0 | NA | NA | NA | NA | NA
DEF | Mobile Home/Other | Residential | Supplemental Heating/Cooling | Room AC control | None | Yes | 0.22229 | 0.24346 | 1 | 2.0871 | 11.29% | 3.6204 | 3.6204 | 3.9651 | 3.9651
DEF | Single Family | Residential | HVAC | Smart thermostats - Utility Installation | None | No | 0.89974 | 0.42341 | NA | 0 | NA | NA | NA | NA | NA
DEF | Multi Family | Residential | HVAC | Smart thermostats - Utility Installation | None | No | 0.46575 | 0.25405 | NA | 0 | NA | NA | NA | NA | NA
DEF | Mobile Home/Other | Residential | HVAC | Smart thermostats - Utility Installation | None | No | 0.88916 | 0.42341 | NA | 0 | NA | NA | NA | NA | NA
DEF | Single Family | Residential | HVAC | Smart thermostats - BYOT | None | Yes | 0.89974 | 0.42341 | 1 | 36.503 | 24.89% | 17.3522 | 17.3522 | 8.1657 | 8.1657
DEF | Multi Family | Residential | HVAC | Smart thermostats - BYOT | None | Yes | 0.46575 | 0.25405 | 1 | 12.1519 | 23.11% | 4.0554 | 4.0554 | 2.212 | 2.212
DEF | Mobile Home/Other | Residential | HVAC | Smart thermostats - BYOT | None | Yes | 0.88916 | 0.42341 | 1 | 38.2563 | 27.16% | 3.4827 | 3.4827 | 1.6584 | 1.6584
DEF | Single Family | Residential | HVAC | CPP + Tech | None | No | 1.3549 | 0.86799 | NA | 0 | NA | NA | NA | NA | NA
DEF | Multi Family | Residential | HVAC | CPP + Tech | None | No | 0.92091 | 0.61394 | NA | 0 | NA | NA | NA | NA | NA
DEF | Mobile Home/Other | Residential | HVAC | CPP + Tech | None | No | 1.3443 | 0.86799 | NA | 0 | NA | NA | NA | NA | NA

## SMB Measure Outputs
Utility | Segment (Housing Type or Size) | Sector | End Use Targeted | Measure | Current Program | Passed RIM? | Summer Measure Impact (at Generator) | Winter Measure Impact (at Generator) | Cost-Benefit Ratio | Annual Incentive ($/Participant) | AP Summer Participation (% of Customers) | AP Summer MW for Measure | AP Winter Participation (% of Customers) | AP Winter MW for Measure
DEF | 0-15,000 kWh | Small Medium Business | HVAC | HVAC - Load Shed | None | Yes | 0.6941 | 0.74895 | 1 | 41.4214 | 8.659% | 1.1253 | 10.48% | 6.0564
DEF | 15,001-25,000 kWh | Small Medium Business | HVAC | HVAC - Load Shed | None | Yes | 1.4482 | 2.0725 | 1 | 63.6983 | 7.104% | 0.63081 | 6.76% | 1.2573
DEF | 25,001-50,000 kWh | Small Medium Business | HVAC | HVAC - Load Shed | None | Yes | 1.8942 | 2.9304 | 1 | 58.2187 | 2.904% | 0.29605 | 4.821% | 0.6622
DEF | 50,001 kWh + | Small Medium Business | HVAC | HVAC - Load Shed | None | Yes | 5.093 | 3.7481 | 1 | 97.9998 | 4.821% | 1.2905 | 3.913% | 0.29359
DEF | 0-15,000 kWh | Small Medium Business | HVAC | HVAC - 50% cycling | None | Yes | 0.34705 | 0.37448 | 1 | 22.9642 | 11.17% | 0.72587 | 4.378% | 1.2647
DEF | 15,001-25,000 kWh | Small Medium Business | HVAC | HVAC - 50% cycling | None | Yes | 0.72409 | 1.0362 | 1 | 63.6983 | 11.17% | 0.49592 | 10.72% | 0.99668
DEF | 25,001-50,000 kWh | Small Medium Business | HVAC | HVAC - 50% cycling | None | Yes | 0.94709 | 1.4652 | 1 | 58.2187 | 5.646% | 0.28778 | 8.368% | 0.57472
DEF | 50,001 kWh + | Small Medium Business | HVAC | HVAC - 50% cycling | None | Yes | 2.5465 | 1.8741 | 1 | 79.108 | 0% | 0 | 7.104% | 0.2665
DEF | 0-15,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | None | No | 0.34705 | 0.15915 | 0.57673 | 0 | NA | NA | NA | NA
DEF | 15,001-25,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | None | No | 0.72409 | 0.4404 | 0.63222 | 0 | NA | NA | NA | NA
DEF | 25,001-50,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | None | No | 0.94709 | 0.62271 | 0.56133 | 0 | NA | NA | NA | NA
DEF | 50,001 kWh + | Small Medium Business | HVAC | Smart thermostats - Utility Installation | None | Yes | 2.5465 | 0.79647 | 1 | 50.5241 | 4.821% | 0.16333 | 0% | 0
DEF | 0-15,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | None | Yes | 0.34705 | 0.15915 | 1 | 19.1214 | 10.48% | 0.08817 | 0% | 0
DEF | 15,001-25,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | None | Yes | 0.72409 | 0.4404 | 1 | 43.3659 | 10.95% | 0.060748 | 0% | 0
DEF | 25,001-50,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | None | Yes | 0.94709 | 0.62271 | 1 | 21.6527 | 5.646% | 0.034174 | 0% | 0
DEF | 50,001 kWh + | Small Medium Business | HVAC | Smart thermostats - BYOT | None | No | 2.5465 | 0.79647 | 1 | 0 | NA | NA | NA | NA
DEF | 0-15,000 kWh | Small Medium Business | HVAC | CPP + Tech | None | No | 0.34705 | 0.23405 | 0.64877 | 0 | NA | NA | NA | NA
DEF | 15,001-25,000 kWh | Small Medium Business | HVAC | CPP + Tech | None | No | 0.72409 | 0.64764 | 0.72591 | 0 | NA | NA | NA | NA
DEF | 25,001-50,000 kWh | Small Medium Business | HVAC | CPP + Tech | None | No | 0.94709 | 0.91576 | 0.64803 | 0 | NA | NA | NA | NA
DEF | 50,001 kWh + | Small Medium Business | HVAC | CPP + Tech | None | No | 2.5465 | 1.1713 | 0.70063 | 0 | NA | NA | NA | NA

## LCI Measure Outputs
Utility | Segment (Housing Type or Size) | Sector | End Use Targeted | Measure | Current Program | Passed RIM/TRC? | Annual Incentive ($/kW) | Customer Summer Peak Demand (kW) | Customer Winter Peak Demand (kW) | AP Summer Participation (% of Load) | AP Summer MW for Measure (No Adjustment) | Max AP Summer MW for Measure (Enrolled DR customers removed) | AP Winter Participation (No Adjustment) | AP Winter MW for Measure (No Adjustment) | Max AP Winter MW for Measure (Enrolled DR customers removed)
DEF | 0-50 kW | Large C&I | ALL | Auto DR | None | Yes | 59.856 | 15.9471 | 12.7934 | 5.888% | 29.3963 | 29.3963 | 5.888% | 24.7204 | 24.7204
DEF | 51-300 kW | Large C&I | ALL | Auto DR | None | Yes | 59.856 | 92.7205 | 68.0728 | 5.888% | 41.5421 | 41.5421 | 5.888% | 31.9701 | 31.9701
DEF | 301-500 kW | Large C&I | ALL | Auto DR | None | Yes | 59.856 | 346.9701 | 266.3372 | 17.23% | 44.4383 | 44.4383 | 17.23% | 35.7565 | 35.7565
DEF | 501 kW + | Large C&I | ALL | Auto DR | Interruptible | Yes | 59.856 | 837.9074 | 763.6146 | 25.78% | 280.6689 | 0 | 25.78% | 255.7835 | 0
DEF | 0-50 kW | Large C&I | ALL | CPP | None | Yes | 44.856 | 6.3788 | 5.1174 | 4.698% | 6.0326 | 6.0326 | 4.698% | 4.8396 | 4.8396
DEF | 51-300 kW | Large C&I | ALL | CPP | None | Yes | 44.856 | 37.0882 | 27.2291 | 4.698% | 8.5251 | 8.5251 | 4.698% | 6.2589 | 6.2589
DEF | 301-500 kW | Large C&I | ALL | CPP | None | Yes | 27.7943 | 138.788 | 106.5349 | 9.219% | 6.1179 | 6.1179 | 9.219% | 4.6961 | 4.6961
DEF | 501 kW + | Large C&I | ALL | CPP | None | Yes | 44.856 | 335.163 | 305.4458 | 21.14% | 5.029 | 5.029 | 21.14% | 2.6939 | 2.6939
DEF | 0-50 kW | Large C&I | ALL | Firm Service Level/Guaranteed Load Drop | None | Yes | 44.856 | 15.9471 | 12.7934 | 4.698% | 17.815 | 17.815 | 4.698% | 21.3246 | 21.3246
DEF | 51-300 kW | Large C&I | ALL | Firm Service Level/Guaranteed Load Drop | None | Yes | 44.856 | 92.7205 | 68.0728 | 4.698% | 25.1758 | 25.1758 | 4.698% | 27.5783 | 27.5783
DEF | 301-500 kW | Large C&I | ALL | Firm Service Level/Guaranteed Load Drop | None | Yes | 44.856 | 346.9701 | 266.3372 | 13.87% | 27.1899 | 27.1899 | 13.87% | 31.1411 | 31.1411
DEF | 501 kW + | Large C&I | ALL | Firm Service Level/Guaranteed Load Drop | Curtailable | Yes | 44.856 | 837.9074 | 763.6146 | 21.14% | 230.179 | 0 | 21.14% | 209.7702 | 0