## Fuel
Fuel Values from Table 1 Provided by Resource Planning
|  | REDUCED KWH | REPLACE. | Carbon
| UTIL AVG | PROGRAM | FUEL COST
| SYS. FUEL | MARGINAL | OF AVOIDED
| ADJ. COST | FUEL COST | GENERATOR |  |  |  | System average $/MWh |  | Total marginal $/MWh |  | Replacement fuel average system $/MWh (Future Total $/MWh
| (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) |  |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste
2020 | 2.4346 | 2.9007 | 2.8789 | 0 | Change first year to base year | 2020 | 24.3461 | 2.4346 | 29.0071 | 2.9007 | 28.7892 | 2.8789
2021 | 2.5505 | 2.8771 | 3.0378 | 0 |  |  | 25.5048 | 2.5505 | 28.7712 | 2.8771 | 30.3778 | 3.0378
2022 | 2.6444 | 2.9694 | 3.1562 | 0 |  |  | 26.4443 | 2.6444 | 29.6938 | 2.9694 | 31.5623 | 3.1562
2023 | 2.6228 | 3.0912 | 3.1726 | 0 |  |  | 26.2275 | 2.6228 | 30.9119 | 3.0912 | 31.7263 | 3.1726
2024 | 2.7715 | 3.2127 | 3.3146 | 0 |  |  | 27.7152 | 2.7715 | 32.1266 | 3.2127 | 33.1455 | 3.3146
2025 | 2.9306 | 3.4494 | 3.4459 | 0 |  |  | 29.306 | 2.9306 | 34.4943 | 3.4494 | 34.459 | 3.4459
2026 | 3.0631 | 3.5601 | 3.5576 | 0 |  |  | 30.631 | 3.0631 | 35.6007 | 3.5601 | 35.5755 | 3.5576
2027 | 3.2435 | 3.7826 | 3.7168 | 0 |  |  | 32.4346 | 3.2435 | 37.8256 | 3.7826 | 37.1679 | 3.7168
2028 | 3.5506 | 4.1915 | 4.0002 | 0 |  |  | 35.506 | 3.5506 | 41.9151 | 4.1915 | 40.0025 | 4.0002
2029 | 3.7315 | 4.4906 | 4.1758 | 0 |  |  | 37.315 | 3.7315 | 44.9064 | 4.4906 | 41.758 | 4.1758
2030 | 4.0657 | 5.0158 | 4.4863 | 0 |  |  | 40.6566 | 4.0657 | 50.158 | 5.0158 | 44.8628 | 4.4863
2031 | 4.2058 | 4.9971 | 4.5978 | 0 |  |  | 42.0581 | 4.2058 | 49.9714 | 4.9971 | 45.9784 | 4.5978
2032 | 4.5059 | 5.4614 | 4.8738 | 0 |  |  | 45.059 | 4.5059 | 54.6141 | 5.4614 | 48.7376 | 4.8738
2033 | 4.6004 | 5.8241 | 4.9849 | 0 |  |  | 46.0041 | 4.6004 | 58.241 | 5.8241 | 49.8492 | 4.9849
2034 | 4.9042 | 6.0953 | 5.3066 | 0 |  |  | 49.0425 | 4.9042 | 60.9529 | 6.0953 | 53.0658 | 5.3066
2035 | 5.1129 | 6.713 | 5.51 | 0 |  |  | 51.1291 | 5.1129 | 67.1303 | 6.713 | 55.1005 | 5.51
2036 | 5.2848 | 6.6305 | 5.6211 | 0 |  |  | 52.8477 | 5.2848 | 66.3047 | 6.6305 | 56.2114 | 5.6211
2037 | 5.5808 | 7.0768 | 5.9258 | 0 |  |  | 55.8078 | 5.5808 | 70.768 | 7.0768 | 59.258 | 5.9258
2038 | 5.7122 | 7.1036 | 6.0486 | 0 |  |  | 57.122 | 5.7122 | 71.036 | 7.1036 | 60.4856 | 6.0486
2039 | 5.9311 | 7.111 | 6.3 | 0 |  |  | 59.3114 | 5.9311 | 71.1096 | 7.111 | 62.9999 | 6.3
2040 | 5.9994 | 7.6517 | 6.2928 | 0 |  |  | 59.9936 | 5.9994 | 76.5172 | 7.6517 | 62.9279 | 6.2928
2041 | 6.2973 | 7.8807 | 6.6911 | 0 |  |  | 62.9728 | 6.2973 | 78.8067 | 7.8807 | 66.9109 | 6.6911
2042 | 6.5926 | 8.4253 | 7.0452 | 0 |  |  | 65.9265 | 6.5926 | 84.2527 | 8.4253 | 70.4523 | 7.0452
2043 | 6.7828 | 8.6253 | 7.3416 | 0 |  |  | 67.828 | 6.7828 | 86.2527 | 8.6253 | 73.4159 | 7.3416
2044 | 6.683 | 8.2933 | 7.2669 | 0 |  |  | 66.8298 | 6.683 | 82.9329 | 8.2933 | 72.6692 | 7.2669
2045 | 6.9426 | 8.6795 | 7.4645 | 0 |  |  | 69.4259 | 6.9426 | 86.7946 | 8.6795 | 74.6447 | 7.4645
2046 | 7.185 | 8.825 | 7.687 | 0 |  |  | 71.8501 | 7.185 | 88.2504 | 8.825 | 76.8699 | 7.687
2047 | 7.1737 | 8.9505 | 7.6738 | 0 |  |  | 71.7367 | 7.1737 | 89.5052 | 8.9505 | 76.7381 | 7.6738
2048 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2049 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2050 | 0 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0

## Spending Curve
[7 empty] | ACCUM. | BOOK
|  | Spending Curve |  | CONSTR. |  | ACCUM. | CONSTR. | VALUE
|  |  | YEAR | EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED
|  | 19.51% | 2020 | 25757 | 832 | 832 | 25757 | 26589
|  | 55.94% | 2021 | 73851 | 4049 | 4881 | 99608 | 77900
|  | 24.55% | 2022 | 32410 | 7482 | 12363 | 132018 | 39892
|  |  | 2023 | 0 | 0 | 0 | 0 | 0
| Check | 100% |  |  |  | 12363 | 132018 | 144381
|  | Year 1 | 0.1951 | 109.2942 | 3.6332 |  |  | 112.8246
|  | Year 2 | 0.5594 | 313.3706 | 17.6812 |  |  | 330.5516
|  | Year 3 | 0.2455 | 137.5248 | 32.6725 |  |  | 169.273
|  | Year 4 |  | 0 | 0 |  |  | 0
|  |  |  | 560.1895 |  |  |  | 612.6492
Spending for Avoided Unit Tab on replacement fuel (from Resource Planning)
7FA.05 CT
Three years construction for 2023 unit
| 7FA.05 CT | 2020 | 2021 | 2022 |  |  | Winter Capacity |  | 245000
| 1st year | 832 | 0 | 0 |  | Check | Summer Capacity |  | 229000
| 2nd year | 0 | 4049 | 0 |  |  | Average Capacity |  | 235666.6667 | uses 7 by 5 for summer winter methodology
| 3rd year | 0 | 0 | 7482 | [5 empty] | Check formula if 7x5 changes
| 4th year | 0 | 0 | 0
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0 | [5 empty] | Feed F11B
| 8th year | 0 | 0 | 0 | Cummulative AFUDC
| Total AFUDC | 832 | 4049 | 7482 | 12363 |  |  | Check
| 7FA.05 CT | 2020 | 2021 | 2022
| 1st year | 25757 | 0 | 0
| 2nd year | 0 | 73851 | 0
| 3rd year | 0 | 0 | 32410
| 4th year | 0 | 0 | 0 | Check
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0
| 8th year | 0 | 0 | 0 | Cummulative Cap Ex
| Total Cap Ex | 25757 | 73851 | 32410 | 132018
144381
Total

## T&D Costs
Inflation Rate | 2.8%
| Data Provided | Base Year
| 2020 | 2020
Avoided Transmission Cost | 11.24 | 34.9
Avoided Distribution Cost | 54.63 | 82.37
O&M Escalation rate | 2.4% | 2020
Transmission Fixed O&M Costs |  | 2.78
Distribution Fixed O&M Costs |  | 11.34

## EUE_Line Losses
EUE
Summer | 79.59%
Winter | 20.41%
Line Losses
Gen KW
| Residential | Commercial
kW | 7.3 | 7
kWh | 5.6 | 5.2
Residential
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7.3% | 0.927
Multiplier | 0.89548
Commercial
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7% | 0.93
Multiplier | 0.89838
0.53602 | Residential
0.5343 | Commercial

## Revenue Requirements
Generation
| Comb. Cycle | Tran & Dist
| Rev Reqm't | Rev Reqm't | See Column N (K Factor Test)
| K FACTORS | K FACTORS
2023 | 0.13759 | 0.13759
2024 | 0.13353 | 0.13353
2025 | 0.12904 | 0.12904
2026 | 0.12477 | 0.12477
2027 | 0.12069 | 0.12069
2028 | 0.11679 | 0.11679
2029 | 0.11301 | 0.11301
2030 | 0.10927 | 0.10927
2031 | 0.10552 | 0.10552
2032 | 0.10178 | 0.10178
2033 | 0.098037 | 0.098037
2034 | 0.094294 | 0.094294
2035 | 0.090552 | 0.090552
2036 | 0.086809 | 0.086809
2037 | 0.083066 | 0.083066
2038 | 0.079674 | 0.079674
2039 | 0.076986 | 0.076986
2040 | 0.074649 | 0.074649
2041 | 0.072311 | 0.072311
2042 | 0.069974 | 0.069974
2043 | 0.067637 | 0.067637
2044 | 0.0653 | 0.0653
2045 | 0.062963 | 0.062963
2046 | 0.060625 | 0.060625
2047 | 0.058288 | 0.058288
2048 | 0.055951 | 0.055951
2049 | 0 | 0
2050 | 0 | 0
2051 | 0 | 0
2052 | 0 | 0
2053 | 0 | 0

## Title Results Update
ECONOMIC LIFE & K FACTORS
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS
II. | (4) K FACTOR FOR GENERATION | 1.5213
II. | (5) K FACTOR FOR T & D | 1.5213
UTILITY & CUSTOMER COSTS
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | %
AVOIDED GENERATOR, TRANS. & DIST COSTS
IV. | (1) BASE YEAR | 2020
IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
IV. | (6) BASE YEAR AVOIDED DISTRIBUTION COST | 82.37 | $/KW
IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH | 0.2
IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | % | See Table1 - column j
IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | % | See Table1
IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %

## Rates
|  |  | Energy | Demand
|  | Residential | Commercial GSD Secondary kWh | Commercial GSD Secondary kW
| Base Rate | 5.3583 | 1.596 | 0
| Demand Charge | 0 | 0 | 10.59
| Fuel | 0 | 0 | 0
| ECCR | 0.271 | 0 | 0.96
| Capacity | 0.085 | 0 | 0.32
| ECRC | 0.222 | 0.222 | 0
Energy | 1.818 | 5.9363 | 1.818 | 10.0895
Demand | 10.0895

## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Dedicated Outdoor Air on VRF
2 | Demand & Energy Savings
| Winter kW | 0.48
| Summer kW | 0.48
| kWh | 1574.72
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 0 |  |  | avoided unit comes online in 2020
ADJUSTED
5 | Participation | Annual |  |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  |  | YEAR | Customers | CUSTOMERS
| 2020 | 1000 |  |  |  | 2020 | 1000 | 1000
| 2021 | 1000 |  |  |  | 2021 | 2000 | 2000
| 2022 | 1000 |  |  |  | 2022 | 3000 | 3000
| 2023 | 0 |  |  |  | 2023 | 3000 | 3000
| 2024 | 0 |  |  |  | 2024 | 3000 | 3000
| 2025 | 0 |  |  |  | 2025 | 3000 | 3000
| 2026 | 0 |  |  |  | 2026 | 3000 | 3000
| 2027 | 0 |  |  |  | 2027 | 3000 | 3000
| 2028 | 0 |  |  |  | 2028 | 3000 | 3000
| 2029 | 0 |  |  |  | 2029 | 3000 | 3000
| 2030 | 0 |  |  |  | 2030 | 3000 | 3000
| 2031 | 0 |  |  |  | 2031 | 3000 | 3000
| 2032 | 0 |  |  |  | 2032 | 3000 | 3000
| 2033 | 0 |  |  |  | 2033 | 3000 | 3000
| 2034 | 0 |  |  |  | 2034 | 3000 | 3000
[6 empty] | 2035 | 3000 | 3000
[6 empty] | 2036 | 3000 | 3000
6 | Free Riders | 0% |  |  |  | 2037 | 3000 | 3000
7 | Study Period for Conservation Program | 15 | Years |  |  | 2038 | 3000 | 3000
8 | Utility Non Recurring Cost Per Customer | 125 | $/CUST |  |  | 2039 | 3000 | 3000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  |  | 2040 | 3000 | 3000
10 | Customer Equipment Cost | 1000.58 | $/CUST |  |  | 2041 | 3000 | 3000
11 | Customer O & M Cost | 0 | $/CUST/YR |  |  | 2042 | 3000 | 3000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  |  | 2043 | 3000 | 3000
13 | Increased Supply Costs | 0 | $/CUST/YR |  |  | 2044 | 3000 | 3000
14 | Utility Non Recurring Rebate/Incentive | 111.4774 | $/CUST |  |  | 2045 | 3000 | 3000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | 1
Adjustment Factor for Customer Bill:
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1
|  | PROGRAM TITLE: | Dedicated Outdoor Air on VRF |  |  | PAGE 1 OF 1
[6 empty] | RUN DATE: | 2019-05-14 07:39
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 0.48 | KW /CUST | IV. | (1) BASE YEAR | 2020
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 0.5343 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
I. | (3) KW LINE LOSS PERCENTAGE | 7 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 1661.097 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
I. | (5) KWH LINE LOSS PERCENTAGE | 5.2 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 82.37 | $/KW
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 1574.72 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 15 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.5213 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.5213 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 1 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 125 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (4) CUSTOMER EQUIPMENT COST | 1000.58 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 1.818 | CENTS/KWH
III. | (6) CUSTOMER O & M COST | 0 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 10.0895 | $/KW/MO
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | %
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 111.4774 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 0.92947
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 1051.719
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 1.0105
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2019-05-14 07:39
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.44431
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.48729
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0 | 0 | 3.1238 |  | 0.5118
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0 | 0 | 3.28 |  | 0.54987
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0 | 0 | 3.444 |  | 0.54304
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0 | 0 | 3.6162 |  | 0.51531
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0 | 0 | 3.797 |  | 0.49445
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0 | 0 | 3.9869 |  | 0.47333
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0 | 0 | 4.1862 |  | 0.44964
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0 | 0 | 4.3955 |  | 0.4443
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0 | 0 | 4.6153 |  | 0.42062
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0 | 0 | 4.8461 |  | 0.39203
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0 | 0 | 5.0884 |  | 0.36786
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0 | 0 | 5.3428 |  | 0.3845
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0 | 0 | 5.6099 |  | 0.40233
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0 | 0 | 5.8904 | 2010 Carbon, not used in 2015 | 0.39714
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0 | 0 | 6.1849 |  | 0.33637
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0 | 0 | 6.4942 |  | 0.34503
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0 | 0 | 6.8189 |  | 0.33636
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0 | 0 | 7.1598 |  | 0.36885
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0 | 0 | 7.5178 |  | 0.29344
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0 | 0 | 7.8937 |  | 0.39381
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0 | 0 | 8.2884 |  | 0.45259
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0 | 0 | 8.7028 |  | 0.55879
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0 | 0 | 9.138 |  | 0.58395
2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 7.4645 | 1 | 1 | 0 | 0 | 0 | 9.5949 |  | 0.52188
2046 | 0 | 0 | 7.185 | 8.825 | 0 | 7.687 | 1 | 1 | 0 | 0 | 0 | 10.0746 |  | 0.50198
2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 7.6738 | 1 | 1 | 0 | 0 | 0 | 10.5783 |  | 0.50014
2048 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.1072 |  | 0.5
2049 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.6626 |  | 0.5
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4
3
Unit Size of Avoided Generation Unit | (2): 1603
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2046 | 0 | 0 | 7.185 | 8.825 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2048 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2049 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2023 | Avoided Unit |  |  |  | PAGE 1 OF 1
2019-05-14 07:39
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2016 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2017 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -5 | 0.024 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -4 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -3 | 0.024 | 1.0486 | 0.1951 | 112.8246 | 109.2942 | 112.8246 | 3.5304 | 112.8246 | 112.8246 | 2028 | 0 | 0 | 0 | 0 | 0 | 0
2021 | -2 | 0.024 | 1.0737 | 0.5594 | 330.5516 | 313.3706 | 330.5516 | 17.181 | 330.5516 | 443.3762 | 2029 | 0 | 0 | 0 | 0 | 0 | 0
2022 | -1 | 0.024 | 1.0995 | 0.2455 | 169.273 | 137.5248 | 169.273 | 31.7482 | 169.273 | 612.6492 | 2030 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0.024 | 1.1259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2023 | [6 empty] | 612.6492 |  | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2023$) |  | 526.3 | [8 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.46% | [8 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2053 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2054 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2055 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2056 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2057 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
16.2994

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Dedicated Outdoor Air on VRF |  |  |  |  | Page 1 of 1
2019-05-14 07:39
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 1603 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 982.0767
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0.098822 | 97.0511 | 1277.756 | 10.0664 | 2.8812 | 54.7428 | 40.5384 | 0 | 124.203
2024 | 0.10119 | 99.3803 | 1277.756 | 10.308 | 2.9503 | 57.2281 | 42.3519 | 0 | 127.5148
2025 | 0.10362 | 101.7654 | 1277.756 | 10.5554 | 3.0211 | 59.8262 | 44.0302 | 0 | 131.1379
2026 | 0.10611 | 104.2078 | 1277.756 | 10.8087 | 3.0936 | 62.5423 | 45.4568 | 0 | 135.1957
2027 | 0.10866 | 106.7088 | 1277.756 | 11.0681 | 3.1679 | 65.3818 | 47.4915 | 0 | 138.8351
2028 | 0.11126 | 109.2698 | 1277.756 | 11.3338 | 3.2439 | 68.3501 | 51.1134 | 0 | 141.0842
2029 | 0.11393 | 111.8923 | 1277.756 | 11.6058 | 3.3217 | 71.4532 | 53.3565 | 0 | 144.9165
2030 | 0.11667 | 114.5777 | 1277.756 | 11.8843 | 3.4015 | 74.6972 | 57.3237 | 0 | 147.2369
2031 | 0.11947 | 117.3276 | 1277.756 | 12.1695 | 3.4831 | 78.0884 | 58.7492 | 0 | 152.3194
2032 | 0.12234 | 120.1434 | 1277.756 | 12.4616 | 3.5667 | 81.6336 | 62.2747 | 0 | 155.5306
2033 | 0.12527 | 123.0269 | 1277.756 | 12.7607 | 3.6523 | 85.3398 | 63.6951 | 0 | 161.0846
2034 | 0.12828 | 125.9795 | 1277.756 | 13.0669 | 3.74 | 89.2142 | 67.8051 | 0 | 164.1955
NOMINAL |  | 1331.3306 | 15333.0715 | 138.0892 | 39.5232 | 848.4977 | 634.1866 | 0 | 1723.2541
NPV |  | 750.699 |  | 77.8645 | 22.286 | 470.4688 | 350.6891 | 0 | 970.6293
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Dedicated Outdoor Air on VRF |  |  | Page 1 of 1
2019-05-14 07:39
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2020 | 830.5485 | 24.0918 | 0 | 0 | 24.0918 | 24.0918
2021 | 2491.6456 | 71.6875 | 0 | 0 | 71.6875 | 71.6875
2022 | 4152.7426 | 123.3105 | 0 | 0 | 123.3105 | 123.3105
2023 | 4983.2911 | 154.043 | 0 | 0 | 154.043 | 154.043
2024 | 4983.2911 | 160.0964 | 0 | 0 | 160.0964 | 160.0964
2025 | 4983.2911 | 171.8953 | 0 | 0 | 171.8953 | 171.8953
2026 | 4983.2911 | 177.4088 | 0 | 0 | 177.4088 | 177.4088
2027 | 4983.2911 | 188.496 | 0 | 0 | 188.496 | 188.496
2028 | 4983.2911 | 208.8754 | 0 | 0 | 208.8754 | 208.8754
2029 | 4983.2911 | 223.7816 | 0 | 0 | 223.7816 | 223.7816
2030 | 4983.2911 | 249.9517 | 0 | 0 | 249.9517 | 249.9517
2031 | 4983.2911 | 249.0222 | 0 | 0 | 249.0222 | 249.0222
2032 | 4983.2911 | 272.1582 | 0 | 0 | 272.1582 | 272.1582
2033 | 4983.2911 | 290.232 | 0 | 0 | 290.232 | 290.232
2034 | 4983.2911 | 303.7458 | 0 | 0 | 303.7458 | 303.7458
NOMINAL | 67274.4304 | 2868.7962 | 0 | 0 | 2868.7962 | 2868.7962
NPV: |  | 1643.1909 |  | 0 | 1643.1909 | 1643.1909
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Dedicated Outdoor Air on VRF |  |  |  |  | PAGE 1 OF 1
2019-05-14 07:39
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Dedicated Outdoor Air on VRF |  |  |  | Page 1 of 2
2019-05-14 07:39
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 57.2874
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 121.4595
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0918
2021 | 5.6613 | 4.563 | 10.2242 | 12.0029 | 16.7215 | 28.7244 | 71.6875
2022 | 5.7971 | 4.6725 | 10.4696 | 12.291 | 17.1228 | 29.4138 | 123.3105
2023 | 5.9363 | 4.7846 | 10.7209 | 12.586 | 17.5338 | 30.1197 | 154.043
2024 | 6.0787 | 4.8994 | 10.9782 | 12.888 | 17.9546 | 30.8426 | 160.0964
2025 | 6.2246 | 5.017 | 11.2417 | 13.1973 | 18.3855 | 31.5828 | 171.8953
2026 | 6.374 | 5.1374 | 11.5115 | 13.5141 | 18.8267 | 32.3408 | 177.4088
2027 | 6.527 | 5.2607 | 11.7877 | 13.8384 | 19.2786 | 33.117 | 188.496
2028 | 6.6836 | 5.387 | 12.0706 | 14.1705 | 19.7413 | 33.9118 | 208.8754
2029 | 6.8441 | 5.5163 | 12.3603 | 14.5106 | 20.2151 | 34.7257 | 223.7816
2030 | 7.0083 | 5.6487 | 12.657 | 14.8589 | 20.7002 | 35.5591 | 249.9517
2031 | 7.1765 | 5.7842 | 12.9608 | 15.2155 | 21.197 | 36.4125 | 249.0222
2032 | 7.3487 | 5.9231 | 13.2718 | 15.5807 | 21.7058 | 37.2864 | 272.1582
2033 | 7.5251 | 6.0652 | 13.5903 | 15.9546 | 22.2267 | 38.1813 | 290.232
2034 | 7.7057 | 6.2108 | 13.9165 | 16.3375 | 22.7601 | 39.0977 | 303.7458
NOMINAL | 92.8912 | 74.87 | 167.7612 | 196.946 | 274.3697 | 471.3157 | 2868.7962
NPV: | 56.2604 | 45.3457 | 101.6062 | 119.2822 | 166.1747 | 285.4569 | 1643.1909
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Dedicated Outdoor Air on VRF | [10 empty] | Page 2 of 2
2019-05-14 07:39
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2020 | 125 | 0 | 125 | 111.4774 | 0 | 111.4774 | 1000.58 | 0 | 1000.58 | 787.36 | 19.1692 | 43.372 | 62.5411 | 0 | 0 | 0 | 0
2021 | 128 | 0 | 128 | 111.4774 | 0 | 111.4774 | 1023.5933 | 0 | 1023.5933 | 2362.08 | 60.2445 | 131.4171 | 191.6615 | 0 | 0 | 0 | 0
2022 | 131.072 | 0 | 131.072 | 111.4774 | 0 | 111.4774 | 1047.136 | 0 | 1047.136 | 3936.8 | 104.106 | 221.2187 | 325.3247 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 123.9031 | 268.1171 | 392.0202 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 130.9309 | 270.7982 | 401.7291 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 138.4461 | 273.5062 | 411.9524 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 144.7059 | 276.2413 | 420.9472 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 153.2263 | 279.0037 | 432.23 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 167.7361 | 281.7937 | 449.5298 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 176.2819 | 284.6117 | 460.8935 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 192.0682 | 287.4578 | 479.526 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 198.6892 | 290.3324 | 489.0216 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 212.8659 | 293.2357 | 506.1016 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 217.3309 | 296.1681 | 513.4989 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4724.16 | 231.6844 | 299.1297 | 530.8142 | 0 | 0 | 0 | 0
NOMINAL | 384.072 | 0 | 384.072 | 334.4321 | 0 | 334.4321 | 3071.3093 | 0 | 3071.3093 | 63776.16 | 2271.3887 | 3796.4033 | 6067.792 | 0 | 0 | 0 | 0
NPV | 358.8492 | 0 | 358.8492 | 312.8072 | 0 | 312.8072 | 2869.7376 | 0 | 2869.7376 |  | 1310.7046 | 2297.9448 | 3608.6494 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Dedicated Outdoor Air on VRF | [7 empty] | Page 1 of 1
2019-05-14 07:39
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 125 | 1000.58 | 0 | 1125.58 | 0 | 0 | 24.0918 | 0 | 24.0918 | -1101.4882 | -1101.4882
2021 | 0 | 128 | 1023.5933 | 0 | 1151.5933 | 0 | 38.9487 | 71.6875 | 0 | 110.6362 | -1040.9572 | -2073.6185
2022 | 0 | 131.072 | 1047.136 | 0 | 1178.208 | 0 | 39.8834 | 123.3105 | 0 | 163.194 | -1015.014 | -2958.8469
2023 | 0 | 0 | 0 | 0 | 0 | 124.203 | 40.8406 | 154.043 | 0 | 319.0866 | 319.0866 | -2698.9605
2024 | 0 | 0 | 0 | 0 | 0 | 127.5148 | 41.8208 | 160.0964 | 0 | 329.4319 | 329.4319 | -2448.3887
2025 | 0 | 0 | 0 | 0 | 0 | 131.1379 | 42.8245 | 171.8953 | 0 | 345.8577 | 345.8577 | -2202.7167
2026 | 0 | 0 | 0 | 0 | 0 | 135.1957 | 43.8523 | 177.4088 | 0 | 356.4567 | 356.4567 | -1966.2573
2027 | 0 | 0 | 0 | 0 | 0 | 138.8351 | 44.9047 | 188.496 | 0 | 372.2358 | 372.2358 | -1735.6571
2028 | 0 | 0 | 0 | 0 | 0 | 141.0842 | 45.9825 | 208.8754 | 0 | 395.942 | 395.942 | -1506.5889
2029 | 0 | 0 | 0 | 0 | 0 | 144.9165 | 47.086 | 223.7816 | 0 | 415.7841 | 415.7841 | -1281.946
2030 | 0 | 0 | 0 | 0 | 0 | 147.2369 | 48.2161 | 249.9517 | 0 | 445.4047 | 445.4047 | -1057.2108
2031 | 0 | 0 | 0 | 0 | 0 | 152.3194 | 49.3733 | 249.0222 | 0 | 450.7148 | 450.7148 | -844.8326
2032 | 0 | 0 | 0 | 0 | 0 | 155.5306 | 50.5582 | 272.1582 | 0 | 478.2471 | 478.2471 | -634.3812
2033 | 0 | 0 | 0 | 0 | 0 | 161.0846 | 51.7716 | 290.232 | 0 | 503.0882 | 503.0882 | -427.636
2034 | 0 | 0 | 0 | 0 | 0 | 164.1955 | 53.0142 | 303.7458 | 0 | 520.9555 | 520.9555 | -227.7034
NOMINAL | 0 | 384.072 | 3071.3093 | 0 | 3455.3813 | 1723.2541 | 639.0769 | 2868.7962 | 0 | 5231.1272 | 1775.7459
NPV: | 0 | 358.8492 | 2869.7376 | 0 | 3228.5868 | 970.6293 | 387.0631 | 1643.1909 | 0 | 3000.8833 | -227.7034
Discount Rate |  | 0.0708 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 0.92947

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Dedicated Outdoor Air on VRF | [5 empty] | Page 1 of 1
2019-05-14 07:39
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 62.5411 | 0 | 111.4774 | 0 | 174.0185 | 1000.58 | 0 | 0 | 1000.58 | -826.5615 | -826.5615
2021 | 191.6615 | 0 | 111.4774 | 0 | 303.1389 | 1023.5933 | 0 | 0 | 1023.5933 | -720.4545 | -1499.3804
2022 | 325.3247 | 0 | 111.4774 | 0 | 436.8021 | 1047.136 | 0 | 0 | 1047.136 | -610.3339 | -2031.6734
2023 | 392.0202 | 0 | 0 | 0 | 392.0202 | 0 | 0 | 0 | 0 | 392.0202 | -1712.3849
2024 | 401.7291 | 0 | 0 | 0 | 401.7291 | 0 | 0 | 0 | 0 | 401.7291 | -1406.8225
2025 | 411.9524 | 0 | 0 | 0 | 411.9524 | 0 | 0 | 0 | 0 | 411.9524 | -1114.2017
2026 | 420.9472 | 0 | 0 | 0 | 420.9472 | 0 | 0 | 0 | 0 | 420.9472 | -834.9618
2027 | 432.23 | 0 | 0 | 0 | 432.23 | 0 | 0 | 0 | 0 | 432.23 | -567.1952
2028 | 449.5298 | 0 | 0 | 0 | 449.5298 | 0 | 0 | 0 | 0 | 449.5298 | -307.1244
2029 | 460.8935 | 0 | 0 | 0 | 460.8935 | 0 | 0 | 0 | 0 | 460.8935 | -58.1095
2030 | 479.526 | 0 | 0 | 0 | 479.526 | 0 | 0 | 0 | 0 | 479.526 | 183.8421
2031 | 489.0216 | 0 | 0 | 0 | 489.0216 | 0 | 0 | 0 | 0 | 489.0216 | 414.2705
2032 | 506.1016 | 0 | 0 | 0 | 506.1016 | 0 | 0 | 0 | 0 | 506.1016 | 636.9793
2033 | 513.4989 | 0 | 0 | 0 | 513.4989 | 0 | 0 | 0 | 0 | 513.4989 | 848.0028
2034 | 530.8142 | 0 | 0 | 0 | 530.8142 | 0 | 0 | 0 | 0 | 530.8142 | 1051.719
NOMINAL | 6067.792 | 0 | 334.4321 | 0 | 6402.224 | 3071.3093 | 0 | 0 | 3071.3093 | 3330.9147
NPV: | 3608.6494 | 0 | 312.8072 | 0 | 3921.4566 | 2869.7376 | 0 | 0 | 2869.7376 | 1051.719
In service year of gen unit: |  |  | 2023 |  | 1.3665
Discount rate: |  |  | 0.0708

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Dedicated Outdoor Air on VRF | [6 empty] | Page 1 of 1
2019-05-14 07:39
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 125 | 111.4774 | 43.372 | 0 | 279.8493 | 24.0918 | 0 | 0 | 0 | 24.0918 | -255.7575 | -255.7575
2021 | 0 | 128 | 111.4774 | 131.4171 | 0 | 370.8944 | 71.6875 | 38.9487 | 0 | 0 | 110.6362 | -260.2582 | -498.8078
2022 | 0 | 131.072 | 111.4774 | 221.2187 | 0 | 463.7681 | 123.3105 | 39.8834 | 0 | 0 | 163.194 | -300.5741 | -760.9487
2023 | 0 | 0 | 0 | 268.1171 | 0 | 268.1171 | 278.246 | 40.8406 | 0 | 0 | 319.0866 | 50.9696 | -719.4356
2024 | 0 | 0 | 0 | 270.7982 | 0 | 270.7982 | 287.6111 | 41.8208 | 0 | 0 | 329.4319 | 58.6337 | -674.8377
2025 | 0 | 0 | 0 | 273.5062 | 0 | 273.5062 | 303.0332 | 42.8245 | 0 | 0 | 345.8577 | 72.3515 | -623.4445
2026 | 0 | 0 | 0 | 276.2413 | 0 | 276.2413 | 312.6044 | 43.8523 | 0 | 0 | 356.4567 | 80.2154 | -570.2327
2027 | 0 | 0 | 0 | 279.0037 | 0 | 279.0037 | 327.3311 | 44.9047 | 0 | 0 | 372.2358 | 93.2321 | -512.4754
2028 | 0 | 0 | 0 | 281.7937 | 0 | 281.7937 | 349.9596 | 45.9825 | 0 | 0 | 395.942 | 114.1483 | -446.4361
2029 | 0 | 0 | 0 | 284.6117 | 0 | 284.6117 | 368.6981 | 47.086 | 0 | 0 | 415.7841 | 131.1725 | -375.5653
2030 | 0 | 0 | 0 | 287.4578 | 0 | 287.4578 | 397.1886 | 48.2161 | 0 | 0 | 445.4047 | 157.9469 | -295.8709
2031 | 0 | 0 | 0 | 290.3324 | 0 | 290.3324 | 401.3416 | 49.3733 | 0 | 0 | 450.7148 | 160.3825 | -220.2982
2032 | 0 | 0 | 0 | 293.2357 | 0 | 293.2357 | 427.6888 | 50.5582 | 0 | 0 | 478.2471 | 185.0114 | -138.8844
2033 | 0 | 0 | 0 | 296.1681 | 0 | 296.1681 | 451.3165 | 51.7716 | 0 | 0 | 503.0882 | 206.9201 | -53.8502
2034 | 0 | 0 | 0 | 299.1297 | 0 | 299.1297 | 467.9413 | 53.0142 | 0 | 0 | 520.9555 | 221.8258 | 31.2822
NOMINAL | 0 | 384.072 | 334.4321 | 3796.4033 | 0 | 4514.9074 | 4592.0503 | 639.0769 | 0 | 0 | 5231.1272 | 716.2198
NPV: | 0 | 358.8492 | 312.8072 | 2297.9448 | 0 | 2969.6011 | 2613.8202 | 387.0631 | 0 | 0 | 3000.8833 | 31.2822
Discount rate: |  |  | 0.0708 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 1.0105

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 982.0767 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 57.2874
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 121.4595 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.024 | Esc. rate | [5 empty] | ip= | 0.024 | Esc. rate
| Gen |  |  | r= | 0.0708 | Disc rate |  | TRAN |  |  |  | r= | 0.0708 | Disc rate
| Offset Cost | 5 |  | l= | 25 | Econ life |  | Offset Cost |  | 7 |  | l= | 25 | Econ life
| Offset Factor | 4 |  | c= | 1 | Risk factor |  | Offset Factor |  | 5 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.5213 | K factor |  | DIST |  |  |  | k= | 1.5213 | K factor
|  |  |  | Ratio= | 0.95629 | calculated ratio |  | Offset Cost |  | 8 |  | Ratio= | 0.95629 | calculated ratio
[8 empty] | Offset Factor |  | 5
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.098822 | [6 empty] | FACTOR = | 0.098822
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2020 | 0 | 0 | 0 | 0 |  | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2021 | 0 | 0 | 0 | 0 |  | 2 | 2021 | 0 | 0 | 0 | 0.098822 | 5.6613 | 12.0029
3 | 2022 | 0 | 0 | 0 | 0 |  | 3 | 2022 | 0 | 0 | 0 | 0.10119 | 5.7971 | 12.291
4 | 2023 | 0.13759 | 135.1246 | 0.098822 | 97.0511 |  | 4 | 2023 | 0.13759 | 7.8822 | 16.7117 | 0.10362 | 5.9363 | 12.586
5 | 2024 | 0.13353 | 131.1344 | 0.10119 | 99.3803 |  | 5 | 2024 | 0.13353 | 7.6494 | 16.2182 | 0.10611 | 6.0787 | 12.888
6 | 2025 | 0.12904 | 126.7292 | 0.10362 | 101.7654 |  | 6 | 2025 | 0.12904 | 7.3925 | 15.6734 | 0.10866 | 6.2246 | 13.1973
7 | 2026 | 0.12477 | 122.535 | 0.10611 | 104.2078 |  | 7 | 2026 | 0.12477 | 7.1478 | 15.1547 | 0.11126 | 6.374 | 13.5141
8 | 2027 | 0.12069 | 118.5307 | 0.10866 | 106.7088 |  | 8 | 2027 | 0.12069 | 6.9142 | 14.6594 | 0.11393 | 6.527 | 13.8384
9 | 2028 | 0.11679 | 114.6973 | 0.11126 | 109.2698 |  | 9 | 2028 | 0.11679 | 6.6906 | 14.1853 | 0.11667 | 6.6836 | 14.1705
10 | 2029 | 0.11301 | 110.9833 | 0.11393 | 111.8923 |  | 10 | 2029 | 0.11301 | 6.474 | 13.726 | 0.11947 | 6.8441 | 14.5106
11 | 2030 | 0.10927 | 107.3075 | 0.11667 | 114.5777 |  | 11 | 2030 | 0.10927 | 6.2596 | 13.2714 | 0.12234 | 7.0083 | 14.8589
12 | 2031 | 0.10552 | 103.6317 | 0.11947 | 117.3276 |  | 12 | 2031 | 0.10552 | 6.0451 | 12.8168 | 0.12527 | 7.1765 | 15.2155
13 | 2032 | 0.10178 | 99.956 | 0.12234 | 120.1434 |  | 13 | 2032 | 0.10178 | 5.8307 | 12.3622 | 0.12828 | 7.3487 | 15.5807
14 | 2033 | 0.098037 | 96.2802 | 0.12527 | 123.0269 |  | 14 | 2033 | 0.098037 | 5.6163 | 11.9076 | 0.13136 | 7.5251 | 15.9546
15 | 2034 | 0.094294 | 92.6044 | 0.12828 | 125.9795 |  | 15 | 2034 | 0.094294 | 5.4019 | 11.453 | 0.13451 | 7.7057 | 16.3375
16 | 2035 | 0.090552 | 88.9286 | 0.13136 | 129.003 |  | 16 | 2035 | 0.090552 | 5.1875 | 10.9984 | 0.13774 | 7.8907 | 16.7296
17 | 2036 | 0.086809 | 85.2528 | 0.13451 | 132.0991 |  | 17 | 2036 | 0.086809 | 4.973 | 10.5437 | 0.14104 | 8.08 | 17.1311
18 | 2037 | 0.083066 | 81.577 | 0.13774 | 135.2695 |  | 18 | 2037 | 0.083066 | 4.7586 | 10.0891 | 0.14443 | 8.274 | 17.5423
19 | 2038 | 0.079674 | 78.2464 | 0.14104 | 138.5159 |  | 19 | 2038 | 0.079674 | 4.5643 | 9.6772 | 0.1479 | 8.4725 | 17.9633
20 | 2039 | 0.076986 | 75.606 | 0.14443 | 141.8403 |  | 20 | 2039 | 0.076986 | 4.4103 | 9.3507 | 0.15144 | 8.6759 | 18.3944
21 | 2040 | 0.074649 | 73.3107 | 0.1479 | 145.2445 |  | 21 | 2040 | 0.074649 | 4.2764 | 9.0668 | 0.15508 | 8.8841 | 18.8359
22 | 2041 | 0.072311 | 71.0154 | 0.15144 | 148.7304 |  | 22 | 2041 | 0.072311 | 4.1425 | 8.7829 | 0.1588 | 9.0973 | 19.2879
23 | 2042 | 0.069974 | 68.72 | 0.15508 | 152.2999 |  | 23 | 2042 | 0.069974 | 4.0086 | 8.499 | 0.16261 | 9.3156 | 19.7508
24 | 2043 | 0.067637 | 66.4247 | 0.1588 | 155.9551 |  | 24 | 2043 | 0.067637 | 3.8747 | 8.2152 | 0.16652 | 9.5392 | 20.2249
25 | 2044 | 0.0653 | 64.1294 | 0.16261 | 159.698 |  | 25 | 2044 | 0.0653 | 3.7409 | 7.9313 | 0.17051 | 9.7682 | 20.7103
26 | 2045 | 0.062963 | 61.834 | 0.16652 | 163.5307 |  | 26 | 2045 | 0.062963 | 3.607 | 7.6474 | 0.1746 | 10.0026 | 21.2073
27 | 2046 | 0.060625 | 59.5387 | 0.17051 | 167.4555 |  | 27 | 2046 | 0.060625 | 3.4731 | 7.3635 | 0 | 0 | 0
28 | 2047 | 0.058288 | 57.2434 | 0.1746 | 171.4744 |  | 28 | 2047 | 0.058288 | 3.3392 | 7.0796 | 0 | 0 | 0
29 | 2048 | 0.055951 | 54.948 | 0 | 0 |  | 29 | 2048 | 0.055951 | 3.2053 | 6.7958 | 0 | 0 | 0
30 | 2049 | 0 | 0 | 0 | 0 |  | 30 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2050 | 0 | 0 | 0 | 0 |  | 31 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2051 | 0 | 0 | 0 | 0 |  | 32 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2052 | 0 | 0 | 0 | 0 |  | 33 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2053 | 0 | 0 | 0 | 0 |  | 34 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2054 | 0 | 0 | 0 | 0 |  | 35 | 2054 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2055 | 0 | 0 | 0 | 0 |  | 36 | 2055 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2056 | 0 | 0 | 0 | 0 |  | 37 | 2056 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2057 | 0 | 0 | 0 | 0 |  | 38 | 2057 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2058 | 0 | 0 | 0 | 0 |  | 39 | 2058 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 2346.2894 |  | 3272.4468 |  |  |  | NOMINAL | 136.8658 |  |  | 190.8913
|  | NPV | 1047.6324 |  | 1216.8448 |  |  |  | NPV | 61.1114 |  |  | 81.3889