## README
This file forecasts Rooftop Photovoltaic (RPV) only, no Utility-owned solar is included.
RPV is also known as 'customer-owned' solar, 'distributed energy resources' (DERs), 'non-utility owned', etc.
Shelly Whitworth, Renewable Resources Program Manager, forecasts the annual GWH growth for the TYSP Supplemental Filing (Filed typically in May each year).
Load Research and Forecasting uses her annual energy forecast and data from the PV spreadsheet she maintains as new customers are added to create this monthly
demand and energy forecast. The projected incremental impacts of PV energy and demand are removed from TEC's retail forecasts.
An average load factor currently used for RPV is 18%, not sure of source for this - already used in the spreadsheet.
Found a statistic for southeast U.S. saying the average load factor for PV was 16.2%, with a range of 14.2% - 20% - so, 18% seems reasonable.
Additionally, FRCC, once per year in May, asks for a DER data request. This request asks for this forecast (installed and @peakMWs) and two written responses.
For, 5/2017, Stacy worked with Chris Steele and Shelly Whitworth to complete a draft response, reviewed by them and Lori C..
Refer to "FRCCDataRqst_DER" and "RPV_Demand@Peak" tabs.
We currently use a summer capacity factor of 31.7% at the time of TEC's retail summer peak and 0% at TEC's winter retail peak.
This is based on analysis prepared by the Resource Planning group using the 15 minute interval load research data on PV load added back to the grid.
Conversion factor from DC to AC…use .85 per Shelly Whitworth, 5/23/2017
For use in Model Inputs file
| Energy Factors | Demand Factors
Jan | 0.073198 | 0
Feb | 0.071873 | 0
Mar | 0.094238 | 0
Apr | 0.10266 | 0.82782
May | 0.10433 | 1
Jun | 0.087464 | 0.83622
Jul | 0.086418 | 0.64947
Aug | 0.085434 | 0.79115
Sep | 0.075726 | 0.41965
Oct | 0.080016 | 0.81172
Nov | 0.072308 | 0
Dec | 0.066329 | 0

## MetrixND
[13 empty] | ENERGY | ENERGY | ENERGY | DEMAND | DEMAND | DEMAND | DEMAND | DEMAND
Year | Month | PV_Res_kwh | PV_Com_kwh |  |  | RES KWH | RES KWH |  | Energy Factors | RES | COM | INPUT for Model Inputs PV tab | RES kWh | COM kWh | Total kWh | RES MW | COM MW | Total MW | Winter Peak MW | Summer Peak MW
2017 | 1 | 0 | 0 | 2017 | 1 | 1287792.4167 | 984768.0309 | 1 | 0.073198 | 17593334.8829 | 13453529.8739 | 2017 | 17593334.8829 | 13453529.8739 | 31046864.7568 | 3.537 | 2.7047 | 6.2417 | 0 | 6.2417
2017 | 2 | 0 | 0 | 2017 | 2 | 1264483.5889 | 966943.8939 | 2 | 0.071873 | 17593334.8829 | 13453529.8739 | 2018 | 24131764.3857 | 18872771.7863 | 43004536.172 | 4.8515 | 3.7942 | 8.6456 | 0 | 8.6456
2017 | 3 | 0 | 0 | 2017 | 3 | 1657956.057 | 1267830.2034 | 3 | 0.094238 | 17593334.8829 | 13453529.8739 | 2019 | 30670193.8886 | 24292013.6986 | 54962207.5872 | 6.1659 | 4.8837 | 11.0496 | 0 | 11.0496
2017 | 4 | 0 | 0 | 2017 | 4 | 1806159.8609 | 1381160.8662 | 4 | 0.10266 | 17593334.8829 | 13453529.8739 | 2020 | 37208623.3915 | 29711255.611 | 66919879.0025 | 7.4804 | 5.9732 | 13.4536 | 0 | 13.4536
2017 | 5 | 0 | 0 | 2017 | 5 | 1835597.6805 | 1403671.8107 | 5 | 0.10433 | 17593334.8829 | 13453529.8739 | 2021 | 43747052.8944 | 35130497.5233 | 78877550.4177 | 8.7949 | 7.0626 | 15.8575 | 0 | 15.8575
2017 | 6 | 0 | 0 | 2017 | 6 | 1538784.0003 | 1176699.9637 | 6 | 0.087464 | 17593334.8829 | 13453529.8739 | 2022 | 50285482.3972 | 40549739.4356 | 90835221.8329 | 10.1094 | 8.1521 | 18.2615 | 0 | 18.2615
2017 | 7 | 0 | 0 | 2017 | 7 | 1520387.4671 | 1162632.2323 | 7 | 0.086418 | 17593334.8829 | 13453529.8739 | 2023 | 56823911.9001 | 45968981.348 | 102792893.2481 | 11.4239 | 9.2416 | 20.6655 | 0 | 20.6655
2017 | 8 | 0 | 0 | 2017 | 8 | 1503072.2879 | 1149391.4066 | 8 | 0.085434 | 17593334.8829 | 13453529.8739 | 2024 | 63362341.403 | 51388223.2603 | 114750564.6633 | 12.7384 | 10.3311 | 23.0695 | 0 | 23.0695
2017 | 9 | 0 | 0 | 2017 | 9 | 1332271.3211 | 1018780.8132 | 9 | 0.075726 | 17593334.8829 | 13453529.8739 | 2025 | 69900770.9059 | 56807465.1727 | 126708236.0785 | 14.0529 | 11.4206 | 25.4734 | 0 | 25.4734
2017 | 10 | 0 | 0 | 2017 | 10 | 1407743.7173 | 1076494.1543 | 10 | 0.080016 | 17593334.8829 | 13453529.8739 | 2026 | 76439200.4087 | 62226707.085 | 138665907.4937 | 15.3673 | 12.5101 | 27.8774 | 0 | 27.8774
2017 | 11 | 0 | 0 | 2017 | 11 | 1272137.5262 | 972796.8191 | 11 | 0.072308 | 17593334.8829 | 13453529.8739 | 2027 | 82977629.9116 | 67645948.9973 | 150623578.9089 | 16.6818 | 13.5995 | 30.2814 | 0 | 30.2814
2017 | 12 | 0 | 0 | 2017 | 12 | 1166948.959 | 892359.6797 | 12 | 0.066329 | 17593334.8829 | 13453529.8739 | 2028 | 89516059.4145 | 73065190.9097 | 162581250.3242 | 17.9963 | 14.689 | 32.6853 | 0 | 32.6853
2018 | 1 | 478598.2866 | 396676.2803 | 2018 | 1 | 1766390.7033 | 1381444.3112 |  | 0.073198 | 24131764.3857 | 18872771.7863 | 2029 | 96054488.9174 | 78484432.822 | 174538921.7394 | 19.3108 | 15.7785 | 35.0893 | 0 | 35.0893
2018 | 2 | 469935.7375 | 389496.5058 | 2018 | 2 | 1734419.3264 | 1356440.3997 |  | 0.071873 | 24131764.3857 | 18872771.7863 | 2030 | 102592918.4202 | 83903674.7344 | 186496593.1546 | 20.6253 | 16.868 | 37.4933 | 0 | 37.4933
2018 | 3 | 616166.7967 | 510697.0914 | 2018 | 3 | 2274122.8536 | 1778527.2948 |  | 0.094238 | 24131764.3857 | 18872771.7863 | 2031 | 109131347.9231 | 89322916.6467 | 198454264.5698 | 21.9398 | 17.9575 | 39.8973 | 0 | 39.8973
2018 | 4 | 671245.6166 | 556348.0309 | 2018 | 4 | 2477405.4775 | 1937508.897 |  | 0.10266 | 24131764.3857 | 18872771.7863 | 2032 | 115669777.426 | 94742158.559 | 210411935.985 | 23.2543 | 19.047 | 42.3012 | 0 | 42.3012
2018 | 5 | 682185.959 | 565415.7072 | 2018 | 5 | 2517783.6395 | 1969087.5178 |  | 0.10433 | 24131764.3857 | 18872771.7863 | 2033 | 122208206.9288 | 100161400.4714 | 222369607.4002 | 24.5687 | 20.1365 | 44.7052 | 0 | 44.7052
2018 | 6 | 571877.4054 | 473988.7465 | 2018 | 6 | 2110661.4057 | 1650688.7102 |  | 0.087464 | 24131764.3857 | 18872771.7863 | 2034 | 128746636.4317 | 105580642.3837 | 234327278.8154 | 25.8832 | 21.2259 | 47.1092 | 0 | 47.1092
2018 | 7 | 565040.4734 | 468322.097 | 2018 | 7 | 2085427.9406 | 1630954.3293 |  | 0.086418 | 24131764.3857 | 18872771.7863 | 2035 | 135285065.9346 | 110999884.2961 | 246284950.2307 | 27.1977 | 22.3154 | 49.5131 | 0 | 49.5131
2018 | 8 | 558605.4183 | 462988.5348 | 2018 | 8 | 2061677.7062 | 1612379.9414 |  | 0.085434 | 24131764.3857 | 18872771.7863 | 2036 | 141823495.4375 | 116419126.2084 | 258242621.6459 | 28.5122 | 23.4049 | 51.9171 | 0 | 51.9171
2018 | 9 | 495128.5342 | 410377.0337 | 2018 | 9 | 1827399.8553 | 1429157.8469 |  | 0.075726 | 24131764.3857 | 18872771.7863 | 2037 | 148361924.9403 | 121838368.1207 | 270200293.0611 | 29.8267 | 24.4944 | 54.3211 | 0 | 54.3211
2018 | 10 | 523177.2779 | 433624.6542 | 2018 | 10 | 1930920.9952 | 1510118.8085 |  | 0.080016 | 24131764.3857 | 18872771.7863 | 2038 | 154900354.4432 | 127257610.0331 | 282157964.4763 | 31.1412 | 25.5839 | 56.7251 | 0 | 56.7251
2018 | 11 | 472780.2653 | 391854.1337 | 2018 | 11 | 1744917.7914 | 1364650.9529 |  | 0.072308 | 24131764.3857 | 18872771.7863 | 2039 | 161438783.9461 | 132676851.9454 | 294115635.8915 | 32.4557 | 26.6734 | 59.129 | 0 | 59.129
2018 | 12 | 433687.7319 | 359453.0969 | 2018 | 12 | 1600636.6909 | 1251812.7766 |  | 0.066329 | 24131764.3857 | 18872771.7863 | 2040 | 167977213.449 | 138096093.8578 | 306073307.3067 | 33.7702 | 27.7628 | 61.533 | 0 | 61.533
2019 | 1 | 957196.5733 | 793352.5606 | 2019 | 1 | 2244988.99 | 1778120.5915 |  | 0.073198 | 30670193.8886 | 24292013.6986 | 2041 | 174515642.9518 | 143515335.7701 | 318030978.7219 | 35.0846 | 28.8523 | 63.937 | 0 | 63.937
2019 | 2 | 939871.475 | 778993.0116 | 2019 | 2 | 2204355.064 | 1745936.9055 |  | 0.071873 | 30670193.8886 | 24292013.6986 | 2042 | 181054072.4547 | 148934577.6824 | 329988650.1371 | 36.3991 | 29.9418 | 66.3409 | 0 | 66.3409
2019 | 3 | 1232333.5933 | 1021394.1828 | 2019 | 3 | 2890289.6503 | 2289224.3862 |  | 0.094238 | 30670193.8886 | 24292013.6986
2019 | 4 | 1342491.2332 | 1112696.0617 | 2019 | 4 | 3148651.0941 | 2493856.9279 |  | 0.10266 | 30670193.8886 | 24292013.6986
2019 | 5 | 1364371.918 | 1130831.4143 | 2019 | 5 | 3199969.5985 | 2534503.225 |  | 0.10433 | 30670193.8886 | 24292013.6986
2019 | 6 | 1143754.8109 | 947977.4931 | 2019 | 6 | 2682538.8112 | 2124677.4567 |  | 0.087464 | 30670193.8886 | 24292013.6986
2019 | 7 | 1130080.9468 | 936644.1939 | 2019 | 7 | 2650468.414 | 2099276.4263 |  | 0.086418 | 30670193.8886 | 24292013.6986
2019 | 8 | 1117210.8367 | 925977.0696 | 2019 | 8 | 2620283.1246 | 2075368.4762 |  | 0.085434 | 30670193.8886 | 24292013.6986
2019 | 9 | 990257.0684 | 820754.0674 | 2019 | 9 | 2322528.3895 | 1839534.8806 |  | 0.075726 | 30670193.8886 | 24292013.6986
2019 | 10 | 1046354.5558 | 867249.3084 | 2019 | 10 | 2454098.2731 | 1943743.4626 |  | 0.080016 | 30670193.8886 | 24292013.6986
2019 | 11 | 945560.5305 | 783708.2675 | 2019 | 11 | 2217698.0567 | 1756505.0866 |  | 0.072308 | 30670193.8886 | 24292013.6986
2019 | 12 | 867375.4638 | 718906.1938 | 2019 | 12 | 2034324.4228 | 1611265.8735 |  | 0.066329 | 30670193.8886 | 24292013.6986
2020 | 1 | 1435794.8599 | 1190028.8408 | 2020 | 1 | 2723587.2766 | 2174796.8717 |  | 0.073198 | 37208623.3915 | 29711255.611
2020 | 2 | 1409807.2126 | 1168489.5174 | 2020 | 2 | 2674290.8015 | 2135433.4114 |  | 0.071873 | 37208623.3915 | 29711255.611
2020 | 3 | 1848500.39 | 1532091.2742 | 2020 | 3 | 3506456.447 | 2799921.4776 |  | 0.094238 | 37208623.3915 | 29711255.611
2020 | 4 | 2013736.8498 | 1669044.0926 | 2020 | 4 | 3819896.7106 | 3050204.9588 |  | 0.10266 | 37208623.3915 | 29711255.611
2020 | 5 | 2046557.8771 | 1696247.1215 | 2020 | 5 | 3882155.5575 | 3099918.9322 |  | 0.10433 | 37208623.3915 | 29711255.611
2020 | 6 | 1715632.2163 | 1421966.2396 | 2020 | 6 | 3254416.2166 | 2598666.2032 |  | 0.087464 | 37208623.3915 | 29711255.611
2020 | 7 | 1695121.4202 | 1404966.2909 | 2020 | 7 | 3215508.8874 | 2567598.5232 |  | 0.086418 | 37208623.3915 | 29711255.611
2020 | 8 | 1675816.255 | 1388965.6044 | 2020 | 8 | 3178888.5429 | 2538357.0111 |  | 0.085434 | 37208623.3915 | 29711255.611
2020 | 9 | 1485385.6026 | 1231131.1011 | 2020 | 9 | 2817656.9237 | 2249911.9143 |  | 0.075726 | 37208623.3915 | 29711255.611
2020 | 10 | 1569531.8338 | 1300873.9626 | 2020 | 10 | 2977275.5511 | 2377368.1168 |  | 0.080016 | 37208623.3915 | 29711255.611
2020 | 11 | 1418340.7958 | 1175562.4012 | 2020 | 11 | 2690478.322 | 2148359.2203 |  | 0.072308 | 37208623.3915 | 29711255.611
2020 | 12 | 1301063.1957 | 1078359.2906 | 2020 | 12 | 2468012.1546 | 1970718.9703 |  | 0.066329 | 37208623.3915 | 29711255.611
2021 | 1 | 1914393.1465 | 1586705.1211 | 2021 | 1 | 3202185.5632 | 2571473.152 |  | 0.073198 | 43747052.8944 | 35130497.5233
2021 | 2 | 1879742.9501 | 1557986.0233 | 2021 | 2 | 3144226.539 | 2524929.9172 |  | 0.071873 | 43747052.8944 | 35130497.5233
2021 | 3 | 2464667.1867 | 2042788.3656 | 2021 | 3 | 4122623.2436 | 3310618.569 |  | 0.094238 | 43747052.8944 | 35130497.5233
2021 | 4 | 2684982.4664 | 2225392.1235 | 2021 | 4 | 4491142.3272 | 3606552.9896 |  | 0.10266 | 43747052.8944 | 35130497.5233
2021 | 5 | 2728743.8361 | 2261662.8287 | 2021 | 5 | 4564341.5165 | 3665334.6393 |  | 0.10433 | 43747052.8944 | 35130497.5233
2021 | 6 | 2287509.6218 | 1895954.9861 | 2021 | 6 | 3826293.6221 | 3072654.9498 |  | 0.087464 | 43747052.8944 | 35130497.5233
2021 | 7 | 2260161.8936 | 1873288.3879 | 2021 | 7 | 3780549.3608 | 3035920.6202 |  | 0.086418 | 43747052.8944 | 35130497.5233
2021 | 8 | 2234421.6734 | 1851954.1393 | 2021 | 8 | 3737493.9613 | 3001345.5459 |  | 0.085434 | 43747052.8944 | 35130497.5233
2021 | 9 | 1980514.1368 | 1641508.1348 | 2021 | 9 | 3312785.4579 | 2660288.948 |  | 0.075726 | 43747052.8944 | 35130497.5233
2021 | 10 | 2092709.1117 | 1734498.6168 | 2021 | 10 | 3500452.829 | 2810992.771 |  | 0.080016 | 43747052.8944 | 35130497.5233
2021 | 11 | 1891121.0611 | 1567416.5349 | 2021 | 11 | 3163258.5872 | 2540213.3541 |  | 0.072308 | 43747052.8944 | 35130497.5233
2021 | 12 | 1734750.9276 | 1437812.3875 | 2021 | 12 | 2901699.8865 | 2330172.0672 |  | 0.066329 | 43747052.8944 | 35130497.5233
2022 | 1 | 2392991.4331 | 1983381.4014 | 2022 | 1 | 3680783.8498 | 2968149.4323 |  | 0.073198 | 50285482.3972 | 40549739.4356
2022 | 2 | 2349678.6876 | 1947482.5291 | 2022 | 2 | 3614162.2765 | 2914426.423 |  | 0.071873 | 50285482.3972 | 40549739.4356
2022 | 3 | 3080833.9833 | 2553485.457 | 2022 | 3 | 4738790.0403 | 3821315.6604 |  | 0.094238 | 50285482.3972 | 40549739.4356
2022 | 4 | 3356228.0829 | 2781740.1543 | 2022 | 4 | 5162387.9438 | 4162901.0205 |  | 0.10266 | 50285482.3972 | 40549739.4356
2022 | 5 | 3410929.7951 | 2827078.5358 | 2022 | 5 | 5246527.4756 | 4230750.3465 |  | 0.10433 | 50285482.3972 | 40549739.4356
2022 | 6 | 2859387.0272 | 2369943.7326 | 2022 | 6 | 4398171.0275 | 3546643.6963 |  | 0.087464 | 50285482.3972 | 40549739.4356
2022 | 7 | 2825202.367 | 2341610.4848 | 2022 | 7 | 4345589.8342 | 3504242.7172 |  | 0.086418 | 50285482.3972 | 40549739.4356
2022 | 8 | 2793027.0917 | 2314942.6741 | 2022 | 8 | 4296099.3796 | 3464334.0807 |  | 0.085434 | 50285482.3972 | 40549739.4356
2022 | 9 | 2475642.6709 | 2051885.1685 | 2022 | 9 | 3807913.9921 | 3070665.9817 |  | 0.075726 | 50285482.3972 | 40549739.4356
2022 | 10 | 2615886.3896 | 2168123.2709 | 2022 | 10 | 4023630.1069 | 3244617.4252 |  | 0.080016 | 50285482.3972 | 40549739.4356
2022 | 11 | 2363901.3263 | 1959270.6687 | 2022 | 11 | 3636038.8525 | 2932067.4878 |  | 0.072308 | 50285482.3972 | 40549739.4356
2022 | 12 | 2168438.6594 | 1797265.4844 | 2022 | 12 | 3335387.6184 | 2689625.1641 |  | 0.066329 | 50285482.3972 | 40549739.4356
2023 | 1 | 2871589.7198 | 2380057.6817 | 2023 | 1 | 4159382.1365 | 3364825.7126 |  | 0.073198 | 56823911.9001 | 45968981.348
2023 | 2 | 2819614.4251 | 2336979.0349 | 2023 | 2 | 4084098.014 | 3303922.9288 |  | 0.071873 | 56823911.9001 | 45968981.348
2023 | 3 | 3697000.78 | 3064182.5484 | 2023 | 3 | 5354956.837 | 4332012.7518 |  | 0.094238 | 56823911.9001 | 45968981.348
2023 | 4 | 4027473.6995 | 3338088.1852 | 2023 | 4 | 5833633.5604 | 4719249.0514 |  | 0.10266 | 56823911.9001 | 45968981.348
2023 | 5 | 4093115.7541 | 3392494.243 | 2023 | 5 | 5928713.4346 | 4796166.0537 |  | 0.10433 | 56823911.9001 | 45968981.348
2023 | 6 | 3431264.4327 | 2843932.4792 | 2023 | 6 | 4970048.433 | 4020632.4428 |  | 0.087464 | 56823911.9001 | 45968981.348
2023 | 7 | 3390242.8404 | 2809932.5818 | 2023 | 7 | 4910630.3076 | 3972564.8141 |  | 0.086418 | 56823911.9001 | 45968981.348
2023 | 8 | 3351632.51 | 2777931.2089 | 2023 | 8 | 4854704.7979 | 3927322.6155 |  | 0.085434 | 56823911.9001 | 45968981.348
2023 | 9 | 2970771.2051 | 2462262.2022 | 2023 | 9 | 4303042.5263 | 3481043.0154 |  | 0.075726 | 56823911.9001 | 45968981.348
2023 | 10 | 3139063.6675 | 2601747.9251 | 2023 | 10 | 4546807.3848 | 3678242.0794 |  | 0.080016 | 56823911.9001 | 45968981.348
2023 | 11 | 2836681.5916 | 2351124.8024 | 2023 | 11 | 4108819.1177 | 3323921.6215 |  | 0.072308 | 56823911.9001 | 45968981.348
2023 | 12 | 2602126.3913 | 2156718.5813 | 2023 | 12 | 3769075.3503 | 3049078.261 |  | 0.066329 | 56823911.9001 | 45968981.348
2024 | 1 | 3350188.0064 | 2776733.9619 | 2024 | 1 | 4637980.4231 | 3761501.9928 |  | 0.073198 | 63362341.403 | 51388223.2603
2024 | 2 | 3289550.1626 | 2726475.5407 | 2024 | 2 | 4554033.7516 | 3693419.4346 |  | 0.071873 | 63362341.403 | 51388223.2603
2024 | 3 | 4313167.5767 | 3574879.6398 | 2024 | 3 | 5971123.6336 | 4842709.8432 |  | 0.094238 | 63362341.403 | 51388223.2603
2024 | 4 | 4698719.3161 | 3894436.2161 | 2024 | 4 | 6504879.177 | 5275597.0822 |  | 0.10266 | 63362341.403 | 51388223.2603
2024 | 5 | 4775301.7131 | 3957909.9502 | 2024 | 5 | 6610899.3936 | 5361581.7608 |  | 0.10433 | 63362341.403 | 51388223.2603
2024 | 6 | 4003141.8381 | 3317921.2257 | 2024 | 6 | 5541925.8384 | 4494621.1894 |  | 0.087464 | 63362341.403 | 51388223.2603
2024 | 7 | 3955283.3138 | 3278254.6788 | 2024 | 7 | 5475670.781 | 4440886.9111 |  | 0.086418 | 63362341.403 | 51388223.2603
2024 | 8 | 3910237.9284 | 3240919.7437 | 2024 | 8 | 5413310.2163 | 4390311.1503 |  | 0.085434 | 63362341.403 | 51388223.2603
2024 | 9 | 3465899.7393 | 2872639.2359 | 2024 | 9 | 4798171.0605 | 3891420.0491 |  | 0.075726 | 63362341.403 | 51388223.2603
2024 | 10 | 3662240.9455 | 3035372.5793 | 2024 | 10 | 5069984.6628 | 4111866.7336 |  | 0.080016 | 63362341.403 | 51388223.2603
2024 | 11 | 3309461.8568 | 2742978.9362 | 2024 | 11 | 4581599.383 | 3715775.7553 |  | 0.072308 | 63362341.403 | 51388223.2603
2024 | 12 | 3035814.1232 | 2516171.6781 | 2024 | 12 | 4202763.0822 | 3408531.3578 |  | 0.066329 | 63362341.403 | 51388223.2603
2025 | 1 | 3828786.293 | 3173410.2422 | 2025 | 1 | 5116578.7097 | 4158178.2731 |  | 0.073198 | 69900770.9059 | 56807465.1727
2025 | 2 | 3759485.9002 | 3115972.0465 | 2025 | 2 | 5023969.4891 | 4082915.9404 |  | 0.071873 | 69900770.9059 | 56807465.1727
2025 | 3 | 4929334.3733 | 4085576.7312 | 2025 | 3 | 6587290.4303 | 5353406.9346 |  | 0.094238 | 69900770.9059 | 56807465.1727
2025 | 4 | 5369964.9327 | 4450784.2469 | 2025 | 4 | 7176124.7936 | 5831945.1131 |  | 0.10266 | 69900770.9059 | 56807465.1727
2025 | 5 | 5457487.6721 | 4523325.6573 | 2025 | 5 | 7293085.3526 | 5926997.468 |  | 0.10433 | 69900770.9059 | 56807465.1727
2025 | 6 | 4575019.2436 | 3791909.9722 | 2025 | 6 | 6113803.2439 | 4968609.9359 |  | 0.087464 | 69900770.9059 | 56807465.1727
2025 | 7 | 4520323.7872 | 3746576.7757 | 2025 | 7 | 6040711.2544 | 4909209.0081 |  | 0.086418 | 69900770.9059 | 56807465.1727
2025 | 8 | 4468843.3467 | 3703908.2785 | 2025 | 8 | 5971915.6346 | 4853299.6851 |  | 0.085434 | 69900770.9059 | 56807465.1727
2025 | 9 | 3961028.2735 | 3283016.2696 | 2025 | 9 | 5293299.5946 | 4301797.0828 |  | 0.075726 | 69900770.9059 | 56807465.1727
2025 | 10 | 4185418.2234 | 3468997.2335 | 2025 | 10 | 5593161.9407 | 4545491.3878 |  | 0.080016 | 69900770.9059 | 56807465.1727
2025 | 11 | 3782242.1221 | 3134833.0699 | 2025 | 11 | 5054379.6483 | 4107629.889 |  | 0.072308 | 69900770.9059 | 56807465.1727
2025 | 12 | 3469501.8551 | 2875624.775 | 2025 | 12 | 4636450.8141 | 3767984.4547 |  | 0.066329 | 69900770.9059 | 56807465.1727
2026 | 1 | 4307384.5796 | 3570086.5225 | 2026 | 1 | 5595176.9963 | 4554854.5534 |  | 0.073198 | 76439200.4087 | 62226707.085
2026 | 2 | 4229421.6377 | 3505468.5523 | 2026 | 2 | 5493905.2266 | 4472412.4462 |  | 0.071873 | 76439200.4087 | 62226707.085
2026 | 3 | 5545501.17 | 4596273.8226 | 2026 | 3 | 7203457.227 | 5864104.026 |  | 0.094238 | 76439200.4087 | 62226707.085
2026 | 4 | 6041210.5493 | 5007132.2778 | 2026 | 4 | 7847370.4102 | 6388293.144 |  | 0.10266 | 76439200.4087 | 62226707.085
2026 | 5 | 6139673.6312 | 5088741.3645 | 2026 | 5 | 7975271.3116 | 6492413.1752 |  | 0.10433 | 76439200.4087 | 62226707.085
2026 | 6 | 5146896.649 | 4265898.7187 | 2026 | 6 | 6685680.6493 | 5442598.6824 |  | 0.087464 | 76439200.4087 | 62226707.085
2026 | 7 | 5085364.2607 | 4214898.8727 | 2026 | 7 | 6605751.7278 | 5377531.105 |  | 0.086418 | 76439200.4087 | 62226707.085
2026 | 8 | 5027448.7651 | 4166896.8133 | 2026 | 8 | 6530521.053 | 5316288.2199 |  | 0.085434 | 76439200.4087 | 62226707.085
2026 | 9 | 4456156.8077 | 3693393.3033 | 2026 | 9 | 5788428.1288 | 4712174.1165 |  | 0.075726 | 76439200.4087 | 62226707.085
2026 | 10 | 4708595.5013 | 3902621.8877 | 2026 | 10 | 6116339.2186 | 4979116.042 |  | 0.080016 | 76439200.4087 | 62226707.085
2026 | 11 | 4255022.3874 | 3526687.2036 | 2026 | 11 | 5527159.9135 | 4499484.0228 |  | 0.072308 | 76439200.4087 | 62226707.085
2026 | 12 | 3903189.587 | 3235077.8719 | 2026 | 12 | 5070138.546 | 4127437.5516 |  | 0.066329 | 76439200.4087 | 62226707.085
2027 | 1 | 4785982.8663 | 3966762.8028 | 2027 | 1 | 6073775.283 | 4951530.8337 |  | 0.073198 | 82977629.9116 | 67645948.9973
2027 | 2 | 4699357.3752 | 3894965.0581 | 2027 | 2 | 5963840.9641 | 4861908.952 |  | 0.071873 | 82977629.9116 | 67645948.9973
2027 | 3 | 6161667.9666 | 5106970.9141 | 2027 | 3 | 7819624.0236 | 6374801.1174 |  | 0.094238 | 82977629.9116 | 67645948.9973
2027 | 4 | 6712456.1659 | 5563480.3087 | 2027 | 4 | 8518616.0268 | 6944641.1748 |  | 0.10266 | 82977629.9116 | 67645948.9973
2027 | 5 | 6821859.5902 | 5654157.0717 | 2027 | 5 | 8657457.2706 | 7057828.8823 |  | 0.10433 | 82977629.9116 | 67645948.9973
2027 | 6 | 5718774.0545 | 4739887.4653 | 2027 | 6 | 7257558.0548 | 5916587.4289 |  | 0.087464 | 82977629.9116 | 67645948.9973
2027 | 7 | 5650404.7341 | 4683220.9697 | 2027 | 7 | 7170792.2012 | 5845853.202 |  | 0.086418 | 82977629.9116 | 67645948.9973
2027 | 8 | 5586054.1834 | 4629885.3481 | 2027 | 8 | 7089126.4713 | 5779276.7548 |  | 0.085434 | 82977629.9116 | 67645948.9973
2027 | 9 | 4951285.3419 | 4103770.337 | 2027 | 9 | 6283556.663 | 5122551.1503 |  | 0.075726 | 82977629.9116 | 67645948.9973
2027 | 10 | 5231772.7792 | 4336246.5419 | 2027 | 10 | 6639516.4965 | 5412740.6961 |  | 0.080016 | 82977629.9116 | 67645948.9973
2027 | 11 | 4727802.6526 | 3918541.3374 | 2027 | 11 | 5999940.1788 | 4891338.1565 |  | 0.072308 | 82977629.9116 | 67645948.9973
2027 | 12 | 4336877.3189 | 3594530.9688 | 2027 | 12 | 5503826.2779 | 4486890.6485 |  | 0.066329 | 82977629.9116 | 67645948.9973
2028 | 1 | 5264581.1529 | 4363439.0831 | 2028 | 1 | 6552373.5696 | 5348207.114 |  | 0.073198 | 89516059.4145 | 73065190.9097
2028 | 2 | 5169293.1127 | 4284461.564 | 2028 | 2 | 6433776.7016 | 5251405.4579 |  | 0.071873 | 89516059.4145 | 73065190.9097
2028 | 3 | 6777834.7633 | 5617668.0055 | 2028 | 3 | 8435790.8203 | 6885498.2088 |  | 0.094238 | 89516059.4145 | 73065190.9097
2028 | 4 | 7383701.7825 | 6119828.3395 | 2028 | 4 | 9189861.6433 | 7500989.2057 |  | 0.10266 | 89516059.4145 | 73065190.9097
2028 | 5 | 7504045.5492 | 6219572.7788 | 2028 | 5 | 9339643.2297 | 7623244.5895 |  | 0.10433 | 89516059.4145 | 73065190.9097
2028 | 6 | 6290651.4599 | 5213876.2118 | 2028 | 6 | 7829435.4602 | 6390576.1755 |  | 0.087464 | 89516059.4145 | 73065190.9097
2028 | 7 | 6215445.2075 | 5151543.0666 | 2028 | 7 | 7735832.6746 | 6314175.299 |  | 0.086418 | 89516059.4145 | 73065190.9097
2028 | 8 | 6144659.6017 | 5092873.883 | 2028 | 8 | 7647731.8896 | 6242265.2896 |  | 0.085434 | 89516059.4145 | 73065190.9097
2028 | 9 | 5446413.8761 | 4514147.3707 | 2028 | 9 | 6778685.1972 | 5532928.184 |  | 0.075726 | 89516059.4145 | 73065190.9097
2028 | 10 | 5754950.0572 | 4769871.1961 | 2028 | 10 | 7162693.7745 | 5846365.3503 |  | 0.080016 | 89516059.4145 | 73065190.9097
2028 | 11 | 5200582.9179 | 4310395.4711 | 2028 | 11 | 6472720.4441 | 5283192.2902 |  | 0.072308 | 89516059.4145 | 73065190.9097
2028 | 12 | 4770565.0508 | 3953984.0656 | 2028 | 12 | 5937514.0098 | 4846343.7453 |  | 0.066329 | 89516059.4145 | 73065190.9097
2029 | 1 | 5743179.4395 | 4760115.3633 | 2029 | 1 | 7030971.8562 | 5744883.3942 |  | 0.073198 | 96054488.9174 | 78484432.822
2029 | 2 | 5639228.8503 | 4673958.0698 | 2029 | 2 | 6903712.4392 | 5640901.9637 |  | 0.071873 | 96054488.9174 | 78484432.822
2029 | 3 | 7394001.56 | 6128365.0969 | 2029 | 3 | 9051957.617 | 7396195.3002 |  | 0.094238 | 96054488.9174 | 78484432.822
2029 | 4 | 8054947.3991 | 6676176.3704 | 2029 | 4 | 9861107.2599 | 8057337.2366 |  | 0.10266 | 96054488.9174 | 78484432.822
2029 | 5 | 8186231.5082 | 6784988.486 | 2029 | 5 | 10021829.1887 | 8188660.2966 |  | 0.10433 | 96054488.9174 | 78484432.822
2029 | 6 | 6862528.8654 | 5687864.9583 | 2029 | 6 | 8401312.8657 | 6864564.922 |  | 0.087464 | 96054488.9174 | 78484432.822
2029 | 7 | 6780485.6809 | 5619865.1636 | 2029 | 7 | 8300873.148 | 6782497.3959 |  | 0.086418 | 96054488.9174 | 78484432.822
2029 | 8 | 6703265.0201 | 5555862.4178 | 2029 | 8 | 8206337.308 | 6705253.8244 |  | 0.085434 | 96054488.9174 | 78484432.822
2029 | 9 | 5941542.4103 | 4924524.4044 | 2029 | 9 | 7273813.7314 | 5943305.2177 |  | 0.075726 | 96054488.9174 | 78484432.822
2029 | 10 | 6278127.3351 | 5203495.8503 | 2029 | 10 | 7685871.0524 | 6279990.0045 |  | 0.080016 | 96054488.9174 | 78484432.822
2029 | 11 | 5673363.1832 | 4702249.6048 | 2029 | 11 | 6945500.7093 | 5675046.424 |  | 0.072308 | 96054488.9174 | 78484432.822
2029 | 12 | 5204252.7827 | 4313437.1625 | 2029 | 12 | 6371201.7416 | 5205796.8422 |  | 0.066329 | 96054488.9174 | 78484432.822
2030 | 1 | 6221777.7261 | 5156791.6436 | 2030 | 1 | 7509570.1428 | 6141559.6745 |  | 0.073198 | 102592918.4202 | 83903674.7344
2030 | 2 | 6109164.5878 | 5063454.5756 | 2030 | 2 | 7373648.1767 | 6030398.4695 |  | 0.071873 | 102592918.4202 | 83903674.7344
2030 | 3 | 8010168.3566 | 6639062.1883 | 2030 | 3 | 9668124.4136 | 7906892.3916 |  | 0.094238 | 102592918.4202 | 83903674.7344
2030 | 4 | 8726193.0156 | 7232524.4013 | 2030 | 4 | 10532352.8765 | 8613685.2674 |  | 0.10266 | 102592918.4202 | 83903674.7344
2030 | 5 | 8868417.4672 | 7350404.1931 | 2030 | 5 | 10704015.1477 | 8754076.0038 |  | 0.10433 | 102592918.4202 | 83903674.7344
2030 | 6 | 7434406.2708 | 6161853.7049 | 2030 | 6 | 8973190.2711 | 7338553.6685 |  | 0.087464 | 102592918.4202 | 83903674.7344
2030 | 7 | 7345526.1543 | 6088187.2606 | 2030 | 7 | 8865913.6214 | 7250819.4929 |  | 0.086418 | 102592918.4202 | 83903674.7344
2030 | 8 | 7261870.4384 | 6018850.9526 | 2030 | 8 | 8764942.7263 | 7168242.3592 |  | 0.085434 | 102592918.4202 | 83903674.7344
2030 | 9 | 6436670.9444 | 5334901.4381 | 2030 | 9 | 7768942.2656 | 6353682.2514 |  | 0.075726 | 102592918.4202 | 83903674.7344
2030 | 10 | 6801304.613 | 5637120.5044 | 2030 | 10 | 8209048.3303 | 6713614.6587 |  | 0.080016 | 102592918.4202 | 83903674.7344
2030 | 11 | 6146143.4484 | 5094103.7386 | 2030 | 11 | 7418280.9746 | 6066900.5577 |  | 0.072308 | 102592918.4202 | 83903674.7344
2030 | 12 | 5637940.5146 | 4672890.2594 | 2030 | 12 | 6804889.4735 | 5565249.9391 |  | 0.066329 | 102592918.4202 | 83903674.7344
2031 | 1 | 6700376.0128 | 5553467.9239 | 2031 | 1 | 7988168.4295 | 6538235.9548 |  | 0.073198 | 109131347.9231 | 89322916.6467
2031 | 2 | 6579100.3253 | 5452951.0814 | 2031 | 2 | 7843583.9142 | 6419894.9753 |  | 0.071873 | 109131347.9231 | 89322916.6467
2031 | 3 | 8626335.1533 | 7149759.2797 | 2031 | 3 | 10284291.2103 | 8417589.483 |  | 0.094238 | 109131347.9231 | 89322916.6467
2031 | 4 | 9397438.6322 | 7788872.4321 | 2031 | 4 | 11203598.4931 | 9170033.2983 |  | 0.10266 | 109131347.9231 | 89322916.6467
2031 | 5 | 9550603.4262 | 7915819.9003 | 2031 | 5 | 11386201.1067 | 9319491.711 |  | 0.10433 | 109131347.9231 | 89322916.6467
2031 | 6 | 8006283.6763 | 6635842.4514 | 2031 | 6 | 9545067.6766 | 7812542.415 |  | 0.087464 | 109131347.9231 | 89322916.6467
2031 | 7 | 7910566.6277 | 6556509.3575 | 2031 | 7 | 9430954.0948 | 7719141.5899 |  | 0.086418 | 109131347.9231 | 89322916.6467
2031 | 8 | 7820475.8567 | 6481839.4874 | 2031 | 8 | 9323548.1447 | 7631230.894 |  | 0.085434 | 109131347.9231 | 89322916.6467
2031 | 9 | 6931799.4786 | 5745278.4718 | 2031 | 9 | 8264070.7998 | 6764059.2851 |  | 0.075726 | 109131347.9231 | 89322916.6467
2031 | 10 | 7324481.8909 | 6070745.1586 | 2031 | 10 | 8732225.6082 | 7147239.3129 |  | 0.080016 | 109131347.9231 | 89322916.6467
2031 | 11 | 6618923.7137 | 5485957.8723 | 2031 | 11 | 7891061.2399 | 6458754.6914 |  | 0.072308 | 109131347.9231 | 89322916.6467
2031 | 12 | 6071628.2464 | 5032343.3563 | 2031 | 12 | 7238577.2054 | 5924703.036 |  | 0.066329 | 109131347.9231 | 89322916.6467
2032 | 1 | 7178974.2994 | 5950144.2042 | 2032 | 1 | 8466766.7161 | 6934912.2351 |  | 0.073198 | 115669777.426 | 94742158.559
2032 | 2 | 7049036.0628 | 5842447.5872 | 2032 | 2 | 8313519.6517 | 6809391.4811 |  | 0.071873 | 115669777.426 | 94742158.559
2032 | 3 | 9242501.95 | 7660456.3711 | 2032 | 3 | 10900458.0069 | 8928286.5744 |  | 0.094238 | 115669777.426 | 94742158.559
2032 | 4 | 10068684.2488 | 8345220.463 | 2032 | 4 | 11874844.1097 | 9726381.3292 |  | 0.10266 | 115669777.426 | 94742158.559
2032 | 5 | 10232789.3853 | 8481235.6075 | 2032 | 5 | 12068387.0657 | 9884907.4181 |  | 0.10433 | 115669777.426 | 94742158.559
2032 | 6 | 8578161.0817 | 7109831.1979 | 2032 | 6 | 10116945.082 | 8286531.1616 |  | 0.087464 | 115669777.426 | 94742158.559
2032 | 7 | 8475607.1011 | 7024831.4545 | 2032 | 7 | 9995994.5682 | 8187463.6868 |  | 0.086418 | 115669777.426 | 94742158.559
2032 | 8 | 8379081.2751 | 6944828.0222 | 2032 | 8 | 9882153.563 | 8094219.4288 |  | 0.085434 | 115669777.426 | 94742158.559
2032 | 9 | 7426928.0128 | 6155655.5055 | 2032 | 9 | 8759199.334 | 7174436.3188 |  | 0.075726 | 115669777.426 | 94742158.559
2032 | 10 | 7847659.1689 | 6504369.8128 | 2032 | 10 | 9255402.8862 | 7580863.9671 |  | 0.080016 | 115669777.426 | 94742158.559
2032 | 11 | 7091703.9789 | 5877812.006 | 2032 | 11 | 8363841.5051 | 6850608.8252 |  | 0.072308 | 115669777.426 | 94742158.559
2032 | 12 | 6505315.9783 | 5391796.4532 | 2032 | 12 | 7672264.9373 | 6284156.1329 |  | 0.066329 | 115669777.426 | 94742158.559
2033 | 1 | 7657572.586 | 6346820.4844 | 2033 | 1 | 8945365.0027 | 7331588.5153 |  | 0.073198 | 122208206.9288 | 100161400.4714
2033 | 2 | 7518971.8003 | 6231944.093 | 2033 | 2 | 8783455.3892 | 7198887.9869 |  | 0.071873 | 122208206.9288 | 100161400.4714
2033 | 3 | 9858668.7466 | 8171153.4625 | 2033 | 3 | 11516624.8036 | 9438983.6658 |  | 0.094238 | 122208206.9288 | 100161400.4714
2033 | 4 | 10739929.8654 | 8901568.4939 | 2033 | 4 | 12546089.7263 | 10282729.36 |  | 0.10266 | 122208206.9288 | 100161400.4714
2033 | 5 | 10914975.3443 | 9046651.3146 | 2033 | 5 | 12750573.0247 | 10450323.1253 |  | 0.10433 | 122208206.9288 | 100161400.4714
2033 | 6 | 9150038.4872 | 7583819.9444 | 2033 | 6 | 10688822.4875 | 8760519.9081 |  | 0.087464 | 122208206.9288 | 100161400.4714
2033 | 7 | 9040647.5745 | 7493153.5515 | 2033 | 7 | 10561035.0416 | 8655785.7838 |  | 0.086418 | 122208206.9288 | 100161400.4714
2033 | 8 | 8937686.6934 | 7407816.557 | 2033 | 8 | 10440758.9813 | 8557207.9636 |  | 0.085434 | 122208206.9288 | 100161400.4714
2033 | 9 | 7922056.547 | 6566032.5392 | 2033 | 9 | 9254327.8681 | 7584813.3525 |  | 0.075726 | 122208206.9288 | 100161400.4714
2033 | 10 | 8370836.4468 | 6937994.467 | 2033 | 10 | 9778580.1641 | 8014488.6213 |  | 0.080016 | 122208206.9288 | 100161400.4714
2033 | 11 | 7564484.2442 | 6269666.1398 | 2033 | 11 | 8836621.7704 | 7242462.9589 |  | 0.072308 | 122208206.9288 | 100161400.4714
2033 | 12 | 6939003.7102 | 5751249.55 | 2033 | 12 | 8105952.6692 | 6643609.2297 |  | 0.066329 | 122208206.9288 | 100161400.4714
2034 | 1 | 8136170.8726 | 6743496.7647 | 2034 | 1 | 9423963.2893 | 7728264.7956 |  | 0.073198 | 128746636.4317 | 105580642.3837
2034 | 2 | 7988907.5379 | 6621440.5988 | 2034 | 2 | 9253391.1268 | 7588384.4927 |  | 0.071873 | 128746636.4317 | 105580642.3837
2034 | 3 | 10474835.5433 | 8681850.5539 | 2034 | 3 | 12132791.6003 | 9949680.7572 |  | 0.094238 | 128746636.4317 | 105580642.3837
2034 | 4 | 11411175.482 | 9457916.5247 | 2034 | 4 | 13217335.3429 | 10839077.3909 |  | 0.10266 | 128746636.4317 | 105580642.3837
2034 | 5 | 11597161.3033 | 9612067.0218 | 2034 | 5 | 13432758.9838 | 11015738.8325 |  | 0.10433 | 128746636.4317 | 105580642.3837
2034 | 6 | 9721915.8926 | 8057808.691 | 2034 | 6 | 11260699.8929 | 9234508.6546 |  | 0.087464 | 128746636.4317 | 105580642.3837
2034 | 7 | 9605688.0479 | 7961475.6484 | 2034 | 7 | 11126075.5151 | 9124107.8808 |  | 0.086418 | 128746636.4317 | 105580642.3837
2034 | 8 | 9496292.1118 | 7870805.0918 | 2034 | 8 | 10999364.3997 | 9020196.4985 |  | 0.085434 | 128746636.4317 | 105580642.3837
2034 | 9 | 8417185.0812 | 6976409.5729 | 2034 | 9 | 9749456.4023 | 7995190.3862 |  | 0.075726 | 128746636.4317 | 105580642.3837
2034 | 10 | 8894013.7247 | 7371619.1212 | 2034 | 10 | 10301757.442 | 8448113.2755 |  | 0.080016 | 128746636.4317 | 105580642.3837
2034 | 11 | 8037264.5095 | 6661520.2735 | 2034 | 11 | 9309402.0356 | 7634317.0926 |  | 0.072308 | 128746636.4317 | 105580642.3837
2034 | 12 | 7372691.4421 | 6110702.6469 | 2034 | 12 | 8539640.4011 | 7003062.3266 |  | 0.066329 | 128746636.4317 | 105580642.3837
2035 | 1 | 8614769.1593 | 7140173.045 | 2035 | 1 | 9902561.576 | 8124941.0759 |  | 0.073198 | 135285065.9346 | 110999884.2961
2035 | 2 | 8458843.2754 | 7010937.1046 | 2035 | 2 | 9723326.8643 | 7977880.9986 |  | 0.071873 | 135285065.9346 | 110999884.2961
2035 | 3 | 11091002.34 | 9192547.6453 | 2035 | 3 | 12748958.3969 | 10460377.8487 |  | 0.094238 | 135285065.9346 | 110999884.2961
2035 | 4 | 12082421.0986 | 10014264.5556 | 2035 | 4 | 13888580.9595 | 11395425.4218 |  | 0.10266 | 135285065.9346 | 110999884.2961
2035 | 5 | 12279347.2623 | 10177482.729 | 2035 | 5 | 14114944.9428 | 11581154.5396 |  | 0.10433 | 135285065.9346 | 110999884.2961
2035 | 6 | 10293793.2981 | 8531797.4375 | 2035 | 6 | 11832577.2983 | 9708497.4012 |  | 0.087464 | 135285065.9346 | 110999884.2961
2035 | 7 | 10170728.5213 | 8429797.7454 | 2035 | 7 | 11691115.9885 | 9592429.9777 |  | 0.086418 | 135285065.9346 | 110999884.2961
2035 | 8 | 10054897.5301 | 8333793.6267 | 2035 | 8 | 11557969.818 | 9483185.0333 |  | 0.085434 | 135285065.9346 | 110999884.2961
2035 | 9 | 8912313.6154 | 7386786.6067 | 2035 | 9 | 10244584.9365 | 8405567.4199 |  | 0.075726 | 135285065.9346 | 110999884.2961
2035 | 10 | 9417191.0026 | 7805243.7754 | 2035 | 10 | 10824934.7199 | 8881737.9296 |  | 0.080016 | 135285065.9346 | 110999884.2961
2035 | 11 | 8510044.7747 | 7053374.4072 | 2035 | 11 | 9782182.3009 | 8026171.2264 |  | 0.072308 | 135285065.9346 | 110999884.2961
2035 | 12 | 7806379.174 | 6470155.7438 | 2035 | 12 | 8973328.133 | 7362515.4235 |  | 0.066329 | 135285065.9346 | 110999884.2961
2036 | 1 | 9093367.4459 | 7536849.3253 | 2036 | 1 | 10381159.8626 | 8521617.3562 |  | 0.073198 | 141823495.4375 | 116419126.2084
2036 | 2 | 8928779.0129 | 7400433.6105 | 2036 | 2 | 10193262.6018 | 8367377.5044 |  | 0.071873 | 141823495.4375 | 116419126.2084
2036 | 3 | 11707169.1366 | 9703244.7367 | 2036 | 3 | 13365125.1936 | 10971074.9401 |  | 0.094238 | 141823495.4375 | 116419126.2084
2036 | 4 | 12753666.7152 | 10570612.5865 | 2036 | 4 | 14559826.576 | 11951773.4526 |  | 0.10266 | 141823495.4375 | 116419126.2084
2036 | 5 | 12961533.2213 | 10742898.4361 | 2036 | 5 | 14797130.9018 | 12146570.2468 |  | 0.10433 | 141823495.4375 | 116419126.2084
2036 | 6 | 10865670.7035 | 9005786.184 | 2036 | 6 | 12404454.7038 | 10182486.1477 |  | 0.087464 | 141823495.4375 | 116419126.2084
2036 | 7 | 10735768.9947 | 8898119.8424 | 2036 | 7 | 12256156.4619 | 10060752.0747 |  | 0.086418 | 141823495.4375 | 116419126.2084
2036 | 8 | 10613502.9484 | 8796782.1615 | 2036 | 8 | 12116575.2363 | 9946173.5681 |  | 0.085434 | 141823495.4375 | 116419126.2084
2036 | 9 | 9407442.1496 | 7797163.6404 | 2036 | 9 | 10739713.4707 | 8815944.4536 |  | 0.075726 | 141823495.4375 | 116419126.2084
2036 | 10 | 9940368.2806 | 8238868.4296 | 2036 | 10 | 11348111.9979 | 9315362.5838 |  | 0.080016 | 141823495.4375 | 116419126.2084
2036 | 11 | 8982825.04 | 7445228.541 | 2036 | 11 | 10254962.5662 | 8418025.3601 |  | 0.072308 | 141823495.4375 | 116419126.2084
2036 | 12 | 8240066.9059 | 6829608.8407 | 2036 | 12 | 9407015.8649 | 7721968.5204 |  | 0.066329 | 141823495.4375 | 116419126.2084
2037 | 1 | 9571965.7325 | 7933525.6056 | 2037 | 1 | 10859758.1492 | 8918293.6365 |  | 0.073198 | 148361924.9403 | 121838368.1207
2037 | 2 | 9398714.7504 | 7789930.1163 | 2037 | 2 | 10663198.3393 | 8756874.0102 |  | 0.071873 | 148361924.9403 | 121838368.1207
2037 | 3 | 12323335.9333 | 10213941.8281 | 2037 | 3 | 13981291.9903 | 11481772.0315 |  | 0.094238 | 148361924.9403 | 121838368.1207
2037 | 4 | 13424912.3318 | 11126960.6173 | 2037 | 4 | 15231072.1926 | 12508121.4835 |  | 0.10266 | 148361924.9403 | 121838368.1207
2037 | 5 | 13643719.1803 | 11308314.1433 | 2037 | 5 | 15479316.8608 | 12711985.954 |  | 0.10433 | 148361924.9403 | 121838368.1207
2037 | 6 | 11437548.109 | 9479774.9305 | 2037 | 6 | 12976332.1092 | 10656474.8942 |  | 0.087464 | 148361924.9403 | 121838368.1207
2037 | 7 | 11300809.4681 | 9366441.9393 | 2037 | 7 | 12821196.9353 | 10529074.1717 |  | 0.086418 | 148361924.9403 | 121838368.1207
2037 | 8 | 11172108.3668 | 9259770.6963 | 2037 | 8 | 12675180.6547 | 10409162.1029 |  | 0.085434 | 148361924.9403 | 121838368.1207
2037 | 9 | 9902570.6838 | 8207540.6741 | 2037 | 9 | 11234842.0049 | 9226321.4873 |  | 0.075726 | 148361924.9403 | 121838368.1207
2037 | 10 | 10463545.5585 | 8672493.0838 | 2037 | 10 | 11871289.2758 | 9748987.238 |  | 0.080016 | 148361924.9403 | 121838368.1207
2037 | 11 | 9455605.3053 | 7837082.6747 | 2037 | 11 | 10727742.8314 | 8809879.4939 |  | 0.072308 | 148361924.9403 | 121838368.1207
2037 | 12 | 8673754.6378 | 7189061.9375 | 2037 | 12 | 9840703.5968 | 8081421.6172 |  | 0.066329 | 148361924.9403 | 121838368.1207
2038 | 1 | 10050564.0191 | 8330201.8858 | 2038 | 1 | 11338356.4358 | 9314969.9167 |  | 0.073198 | 154900354.4432 | 127257610.0331
2038 | 2 | 9868650.4879 | 8179426.6221 | 2038 | 2 | 11133134.0768 | 9146370.516 |  | 0.071873 | 154900354.4432 | 127257610.0331
2038 | 3 | 12939502.73 | 10724638.9195 | 2038 | 3 | 14597458.7869 | 11992469.1229 |  | 0.094238 | 154900354.4432 | 127257610.0331
2038 | 4 | 14096157.9483 | 11683308.6482 | 2038 | 4 | 15902317.8092 | 13064469.5144 |  | 0.10266 | 154900354.4432 | 127257610.0331
2038 | 5 | 14325905.1394 | 11873729.8505 | 2038 | 5 | 16161502.8198 | 13277401.6611 |  | 0.10433 | 154900354.4432 | 127257610.0331
2038 | 6 | 12009425.5144 | 9953763.6771 | 2038 | 6 | 13548209.5147 | 11130463.6407 |  | 0.087464 | 154900354.4432 | 127257610.0331
2038 | 7 | 11865849.9415 | 9834764.0363 | 2038 | 7 | 13386237.4087 | 10997396.2686 |  | 0.086418 | 154900354.4432 | 127257610.0331
2038 | 8 | 11730713.7851 | 9722759.2311 | 2038 | 8 | 13233786.073 | 10872150.6377 |  | 0.085434 | 154900354.4432 | 127257610.0331
2038 | 9 | 10397699.2179 | 8617917.7078 | 2038 | 9 | 11729970.5391 | 9636698.521 |  | 0.075726 | 154900354.4432 | 127257610.0331
2038 | 10 | 10986722.8364 | 9106117.7379 | 2038 | 10 | 12394466.5537 | 10182611.8922 |  | 0.080016 | 154900354.4432 | 127257610.0331
2038 | 11 | 9928385.5705 | 8228936.8085 | 2038 | 11 | 11200523.0967 | 9201733.6276 |  | 0.072308 | 154900354.4432 | 127257610.0331
2038 | 12 | 9107442.3697 | 7548515.0344 | 2038 | 12 | 10274391.3286 | 8440874.7141 |  | 0.066329 | 154900354.4432 | 127257610.0331
2039 | 1 | 10529162.3058 | 8726878.1661 | 2039 | 1 | 11816954.7225 | 9711646.197 |  | 0.073198 | 161438783.9461 | 132676851.9454
2039 | 2 | 10338586.2255 | 8568923.1279 | 2039 | 2 | 11603069.8144 | 9535867.0218 |  | 0.071873 | 161438783.9461 | 132676851.9454
2039 | 3 | 13555669.5266 | 11235336.0109 | 2039 | 3 | 15213625.5836 | 12503166.2143 |  | 0.094238 | 161438783.9461 | 132676851.9454
2039 | 4 | 14767403.5649 | 12239656.6791 | 2039 | 4 | 16573563.4258 | 13620817.5452 |  | 0.10266 | 161438783.9461 | 132676851.9454
2039 | 5 | 15008091.0984 | 12439145.5576 | 2039 | 5 | 16843688.7788 | 13842817.3683 |  | 0.10433 | 161438783.9461 | 132676851.9454
2039 | 6 | 12581302.9199 | 10427752.4236 | 2039 | 6 | 14120086.9201 | 11604452.3873 |  | 0.087464 | 161438783.9461 | 132676851.9454
2039 | 7 | 12430890.4149 | 10303086.1333 | 2039 | 7 | 13951277.8821 | 11465718.3656 |  | 0.086418 | 161438783.9461 | 132676851.9454
2039 | 8 | 12289319.2035 | 10185747.7659 | 2039 | 8 | 13792391.4914 | 11335139.1725 |  | 0.085434 | 161438783.9461 | 132676851.9454
2039 | 9 | 10892827.7521 | 9028294.7415 | 2039 | 9 | 12225099.0733 | 10047075.5547 |  | 0.075726 | 161438783.9461 | 132676851.9454
2039 | 10 | 11509900.1143 | 9539742.3921 | 2039 | 10 | 12917643.8316 | 10616236.5464 |  | 0.080016 | 161438783.9461 | 132676851.9454
2039 | 11 | 10401165.8358 | 8620790.9422 | 2039 | 11 | 11673303.362 | 9593587.7613 |  | 0.072308 | 161438783.9461 | 132676851.9454
2039 | 12 | 9541130.1016 | 7907968.1313 | 2039 | 12 | 10708079.0605 | 8800327.811 |  | 0.066329 | 161438783.9461 | 132676851.9454
2040 | 1 | 11007760.5924 | 9123554.4464 | 2040 | 1 | 12295553.0091 | 10108322.4773 |  | 0.073198 | 167977213.449 | 138096093.8578
2040 | 2 | 10808521.963 | 8958419.6337 | 2040 | 2 | 12073005.5519 | 9925363.5276 |  | 0.071873 | 167977213.449 | 138096093.8578
2040 | 3 | 14171836.3233 | 11746033.1023 | 2040 | 3 | 15829792.3803 | 13013863.3057 |  | 0.094238 | 167977213.449 | 138096093.8578
2040 | 4 | 15438649.1815 | 12796004.7099 | 2040 | 4 | 17244809.0424 | 14177165.5761 |  | 0.10266 | 167977213.449 | 138096093.8578
2040 | 5 | 15690277.0574 | 13004561.2648 | 2040 | 5 | 17525874.7379 | 14408233.0755 |  | 0.10433 | 167977213.449 | 138096093.8578
2040 | 6 | 13153180.3253 | 10901741.1701 | 2040 | 6 | 14691964.3256 | 12078441.1338 |  | 0.087464 | 167977213.449 | 138096093.8578
2040 | 7 | 12995930.8883 | 10771408.2302 | 2040 | 7 | 14516318.3555 | 11934040.4626 |  | 0.086418 | 167977213.449 | 138096093.8578
2040 | 8 | 12847924.6218 | 10648736.3007 | 2040 | 8 | 14350996.9097 | 11798127.7073 |  | 0.085434 | 167977213.449 | 138096093.8578
2040 | 9 | 11387956.2863 | 9438671.7752 | 2040 | 9 | 12720227.6075 | 10457452.5884 |  | 0.075726 | 167977213.449 | 138096093.8578
2040 | 10 | 12033077.3923 | 9973367.0463 | 2040 | 10 | 13440821.1096 | 11049861.2006 |  | 0.080016 | 167977213.449 | 138096093.8578
2040 | 11 | 10873946.1011 | 9012645.0759 | 2040 | 11 | 12146083.6272 | 9985441.8951 |  | 0.072308 | 167977213.449 | 138096093.8578
2040 | 12 | 9974817.8334 | 8267421.2282 | 2040 | 12 | 11141766.7924 | 9159780.9079 |  | 0.066329 | 167977213.449 | 138096093.8578
2041 | 1 | 11486358.879 | 9520230.7267 | 2041 | 1 | 12774151.2957 | 10504998.7576 |  | 0.073198 | 174515642.9518 | 143515335.7701
2041 | 2 | 11278457.7005 | 9347916.1395 | 2041 | 2 | 12542941.2894 | 10314860.0334 |  | 0.071873 | 174515642.9518 | 143515335.7701
2041 | 3 | 14788003.12 | 12256730.1937 | 2041 | 3 | 16445959.1769 | 13524560.3971 |  | 0.094238 | 174515642.9518 | 143515335.7701
2041 | 4 | 16109894.7981 | 13352352.7408 | 2041 | 4 | 17916054.659 | 14733513.607 |  | 0.10266 | 174515642.9518 | 143515335.7701
2041 | 5 | 16372463.0164 | 13569976.972 | 2041 | 5 | 18208060.6969 | 14973648.7826 |  | 0.10433 | 174515642.9518 | 143515335.7701
2041 | 6 | 13725057.7308 | 11375729.9167 | 2041 | 6 | 15263841.731 | 12552429.8803 |  | 0.087464 | 174515642.9518 | 143515335.7701
2041 | 7 | 13560971.3617 | 11239730.3272 | 2041 | 7 | 15081358.8289 | 12402362.5595 |  | 0.086418 | 174515642.9518 | 143515335.7701
2041 | 8 | 13406530.0401 | 11111724.8355 | 2041 | 8 | 14909602.328 | 12261116.2422 |  | 0.085434 | 174515642.9518 | 143515335.7701
2041 | 9 | 11883084.8205 | 9849048.8089 | 2041 | 9 | 13215356.1416 | 10867829.6221 |  | 0.075726 | 174515642.9518 | 143515335.7701
2041 | 10 | 12556254.6702 | 10406991.7005 | 2041 | 10 | 13963998.3875 | 11483485.8548 |  | 0.080016 | 174515642.9518 | 143515335.7701
2041 | 11 | 11346726.3663 | 9404499.2097 | 2041 | 11 | 12618863.8925 | 10377296.0288 |  | 0.072308 | 174515642.9518 | 143515335.7701
2041 | 12 | 10408505.5653 | 8626874.3251 | 2041 | 12 | 11575454.5243 | 9519234.0048 |  | 0.066329 | 174515642.9518 | 143515335.7701
2042 | 1 | 11964957.1656 | 9916907.0069 | 2042 | 1 | 13252749.5824 | 10901675.0378 |  | 0.073198 | 181054072.4547 | 148934577.6824
2042 | 2 | 11748393.438 | 9737412.6453 | 2042 | 2 | 13012877.0269 | 10704356.5393 |  | 0.071873 | 181054072.4547 | 148934577.6824
2042 | 3 | 15404169.9166 | 12767427.2851 | 2042 | 3 | 17062125.9736 | 14035257.4885 |  | 0.094238 | 181054072.4547 | 148934577.6824
2042 | 4 | 16781140.4147 | 13908700.7717 | 2042 | 4 | 18587300.2756 | 15289861.6378 |  | 0.10266 | 181054072.4547 | 148934577.6824
2042 | 5 | 17054648.9754 | 14135392.6791 | 2042 | 5 | 18890246.6559 | 15539064.4898 |  | 0.10433 | 181054072.4547 | 148934577.6824
2042 | 6 | 14296935.1362 | 11849718.6632 | 2042 | 6 | 15835719.1365 | 13026418.6268 |  | 0.087464 | 181054072.4547 | 148934577.6824
2042 | 7 | 14126011.8351 | 11708052.4242 | 2042 | 7 | 15646399.3023 | 12870684.6565 |  | 0.086418 | 181054072.4547 | 148934577.6824
2042 | 8 | 13965135.4585 | 11574713.3704 | 2042 | 8 | 15468207.7464 | 12724104.777 |  | 0.085434 | 181054072.4547 | 148934577.6824
2042 | 9 | 12378213.3547 | 10259425.8426 | 2042 | 9 | 13710484.6758 | 11278206.6558 |  | 0.075726 | 181054072.4547 | 148934577.6824
2042 | 10 | 13079431.9481 | 10840616.3547 | 2042 | 10 | 14487175.6654 | 11917110.509 |  | 0.080016 | 181054072.4547 | 148934577.6824
2042 | 11 | 11819506.6316 | 9796353.3434 | 2042 | 11 | 13091644.1577 | 10769150.1625 |  | 0.072308 | 181054072.4547 | 148934577.6824
2042 | 12 | 10842193.2972 | 8986327.4219 | 2042 | 12 | 12009142.2562 | 9878687.1016 |  | 0.066329 | 181054072.4547 | 148934577.6824
2043 | 1 | #N/A | #N/A | 2043 | 1 | #N/A | #N/A |  | 0.073198 | #N/A | #N/A
2043 | 2 | #N/A | #N/A | 2043 | 2 | #N/A | #N/A |  | 0.071873 | #N/A | #N/A
2043 | 3 | #N/A | #N/A | 2043 | 3 | #N/A | #N/A |  | 0.094238 | #N/A | #N/A
2043 | 4 | #N/A | #N/A | 2043 | 4 | #N/A | #N/A |  | 0.10266 | #N/A | #N/A
2043 | 5 | #N/A | #N/A | 2043 | 5 | #N/A | #N/A |  | 0.10433 | #N/A | #N/A
2043 | 6 | #N/A | #N/A | 2043 | 6 | #N/A | #N/A |  | 0.087464 | #N/A | #N/A
2043 | 7 | #N/A | #N/A | 2043 | 7 | #N/A | #N/A |  | 0.086418 | #N/A | #N/A
2043 | 8 | #N/A | #N/A | 2043 | 8 | #N/A | #N/A |  | 0.085434 | #N/A | #N/A
2043 | 9 | #N/A | #N/A | 2043 | 9 | #N/A | #N/A |  | 0.075726 | #N/A | #N/A
2043 | 10 | #N/A | #N/A | 2043 | 10 | #N/A | #N/A |  | 0.080016 | #N/A | #N/A
2043 | 11 | #N/A | #N/A | 2043 | 11 | #N/A | #N/A |  | 0.072308 | #N/A | #N/A
2043 | 12 | #N/A | #N/A | 2043 | 12 | #N/A | #N/A |  | 0.066329 | #N/A | #N/A
2044 | 1 | #N/A | #N/A | 2044 | 1 | #N/A | #N/A |  | 0.073198 | #N/A | #N/A
2044 | 2 | #N/A | #N/A | 2044 | 2 | #N/A | #N/A |  | 0.071873 | #N/A | #N/A
2044 | 3 | #N/A | #N/A | 2044 | 3 | #N/A | #N/A |  | 0.094238 | #N/A | #N/A
2044 | 4 | #N/A | #N/A | 2044 | 4 | #N/A | #N/A |  | 0.10266 | #N/A | #N/A
2044 | 5 | #N/A | #N/A | 2044 | 5 | #N/A | #N/A |  | 0.10433 | #N/A | #N/A
2044 | 6 | #N/A | #N/A | 2044 | 6 | #N/A | #N/A |  | 0.087464 | #N/A | #N/A
2044 | 7 | #N/A | #N/A | 2044 | 7 | #N/A | #N/A |  | 0.086418 | #N/A | #N/A
2044 | 8 | #N/A | #N/A | 2044 | 8 | #N/A | #N/A |  | 0.085434 | #N/A | #N/A
2044 | 9 | #N/A | #N/A | 2044 | 9 | #N/A | #N/A |  | 0.075726 | #N/A | #N/A
2044 | 10 | #N/A | #N/A | 2044 | 10 | #N/A | #N/A |  | 0.080016 | #N/A | #N/A
2044 | 11 | #N/A | #N/A | 2044 | 11 | #N/A | #N/A |  | 0.072308 | #N/A | #N/A
2044 | 12 | #N/A | #N/A | 2044 | 12 | #N/A | #N/A |  | 0.066329 | #N/A | #N/A
2045 | 1 | #N/A | #N/A | 2045 | 1 | #N/A | #N/A |  | 0.073198 | #N/A | #N/A
2045 | 2 | #N/A | #N/A | 2045 | 2 | #N/A | #N/A |  | 0.071873 | #N/A | #N/A
2045 | 3 | #N/A | #N/A | 2045 | 3 | #N/A | #N/A |  | 0.094238 | #N/A | #N/A
2045 | 4 | #N/A | #N/A | 2045 | 4 | #N/A | #N/A |  | 0.10266 | #N/A | #N/A
2045 | 5 | #N/A | #N/A | 2045 | 5 | #N/A | #N/A |  | 0.10433 | #N/A | #N/A
2045 | 6 | #N/A | #N/A | 2045 | 6 | #N/A | #N/A |  | 0.087464 | #N/A | #N/A
2045 | 7 | #N/A | #N/A | 2045 | 7 | #N/A | #N/A |  | 0.086418 | #N/A | #N/A
2045 | 8 | #N/A | #N/A | 2045 | 8 | #N/A | #N/A |  | 0.085434 | #N/A | #N/A
2045 | 9 | #N/A | #N/A | 2045 | 9 | #N/A | #N/A |  | 0.075726 | #N/A | #N/A
2045 | 10 | #N/A | #N/A | 2045 | 10 | #N/A | #N/A |  | 0.080016 | #N/A | #N/A
2045 | 11 | #N/A | #N/A | 2045 | 11 | #N/A | #N/A |  | 0.072308 | #N/A | #N/A
2045 | 12 | #N/A | #N/A | 2045 | 12 | #N/A | #N/A |  | 0.066329 | #N/A | #N/A
2046 | 1 | #N/A | #N/A | 2046 | 1 | #N/A | #N/A |  | 0.073198 | #N/A | #N/A
2046 | 2 | #N/A | #N/A | 2046 | 2 | #N/A | #N/A |  | 0.071873 | #N/A | #N/A
2046 | 3 | #N/A | #N/A | 2046 | 3 | #N/A | #N/A |  | 0.094238 | #N/A | #N/A
2046 | 4 | #N/A | #N/A | 2046 | 4 | #N/A | #N/A |  | 0.10266 | #N/A | #N/A
2046 | 5 | #N/A | #N/A | 2046 | 5 | #N/A | #N/A |  | 0.10433 | #N/A | #N/A
2046 | 6 | #N/A | #N/A | 2046 | 6 | #N/A | #N/A |  | 0.087464 | #N/A | #N/A
2046 | 7 | #N/A | #N/A | 2046 | 7 | #N/A | #N/A |  | 0.086418 | #N/A | #N/A
2046 | 8 | #N/A | #N/A | 2046 | 8 | #N/A | #N/A |  | 0.085434 | #N/A | #N/A
2046 | 9 | #N/A | #N/A | 2046 | 9 | #N/A | #N/A |  | 0.075726 | #N/A | #N/A
2046 | 10 | #N/A | #N/A | 2046 | 10 | #N/A | #N/A |  | 0.080016 | #N/A | #N/A
2046 | 11 | #N/A | #N/A | 2046 | 11 | #N/A | #N/A |  | 0.072308 | #N/A | #N/A
2046 | 12 | #N/A | #N/A | 2046 | 12 | #N/A | #N/A |  | 0.066329 | #N/A | #N/A