| State of Florida |  | Public Service Commission Capital Circle Office Center ● 2540 Shumard Oak Boulevard Tallahassee, Florida 32399-0850 -M-E-M-O-R-A-N-D-U-M- |  |
| --- | --- | --- | --- |
| DATE: | May 28, 2020 |  |  |
| TO: | Office of Commission Clerk (Teitzman) |  |  |
| FROM: | Division of Engineering (Kistner, Ellis) Office of the General Counsel (Weisenfeld) |  |  |
| RE: | Docket No. 20200115-EQ – Petition for approval of new standard offer for purchase of firm capacity and energy from renewable energy facilities or small qualifying facilities and rate schedule QS-2, by Gulf Power Company. |  |  |
| AGENDA: | 06/09/20 – Regular Agenda – Proposed Agency Action – Interested Persons May Participate |  |  |
| COMMISSIONERS ASSIGNED: |  |  | All Commissioners |
| PREHEARING OFFICER: |  |  | Administrative |
| CRITICAL DATES: |  |  | None |
| SPECIAL INSTRUCTIONS: |  |  | Staff recommends the Commission consider with Docket No. 20200114-EQ |

Case Background

Section 366.91(3), Florida Statutes (F.S.), requires each investor-owned utility (IOU) to continuously offer to purchase capacity and energy from renewable generating facilities and small qualifying facilities. Florida Public Service Commission (Commission) Rules 25-17.200 through 25-17.310, Florida Administrative Code (F.A.C.), implement the statute and require each IOU to file with the Commission, by April 1 of each year, a revised standard offer contract based on the next avoidable fossil fueled generating unit of each technology type identified in the utility’s current Ten-Year Site Plan (TYSP). On April l, 2020, Gulf Power Company (Gulf) filed a petition for approval of its new standard offer contract, based on its 2020 TYSP. On May 1, 2020, Gulf filed revisions to its proposed tariff sheets to correct a calculation error. The Commission has jurisdiction over this standard offer contract pursuant to Sections 366.04 through 366.055, and 366.91, F.S.

Discussion of Issues

Issue 1:

Should the Commission approve Gulf's new standard offer contract and associated rate schedule QS-2?

Recommendation:

Yes. The provisions of Gulf’s new standard offer contract and associated rate schedule conform to all requirements of Rules 25-17.200 through 25-17.310, F.A.C. The new standard offer contract provides flexibility in the arrangements for payments so that a developer of renewable generation may select the payment stream best suited to its financial needs. Staff recommends that the new standard offer contract and rate schedule QS-2 be approved, with the prior standard offer contract and rate schedule REF-1 being cancelled. (Kistner)

Staff Analysis:

Section 366.91(3), F.S., and Rule 25-17.250, F.A.C., require that Gulf, an IOU, continuously make available a standard offer contract for the purchase of firm capacity and energy from renewable generating facilities (RF) and small qualifying facilities (QF) with design capacities of 100 kilowatts (kW) or less. Pursuant to Rules 25-17.250(1) and (3), F.A.C., the standard offer contract must provide a term of at least 10 years, and the payment terms must be based on the utility’s next avoidable fossil-fueled generating unit identified in its most recent TYSP, or if no avoided unit is identified, its next avoidable planned purchase.

Gulf submitted a joint TYSP with Florida Power & Light Company (FPL) for 2020, as the companies plan to merge into a single remaining entity by 2022. As the combined TYSP does not feature an avoidable fossil-fueled generating unit or planned purchases that could be deferred during the planning period, Gulf could opt to offer only a standard contract for energy payments based on its as-available energy cost. However, to encourage renewable generation, Gulf has identified a 1,991 megawatt (MW) natural gas-fired combined cycle unit (CC) as the next planned generating unit, the same as identified in the FPL Standard Offer Contract. The projected in-service date of the unit is June 1, 2030. The Commission has approved using a unit outside of the TYSP planning period previously.

Gulf’s new standard offer contract and associated rate schedule QS-2, included as Attachment A, would replace its prior standard offer contract and associated rate schedule REF-1. They are functionally identical to FPL’s except for those economic factors that, per Commission Rules, must be utility specific, and some geographic differences. An example of a specific economic factor is the incremental after tax cost of capital, which is 6.95 percent for Gulf, while it is 7.52 percent for FPL. This results in different payment values from the FPL Standard Offer Contract because certain values are calculated from these factors. For the geographic differences, the referenced time zone has been changed from “Eastern” to “Central” and the “Value of Capacity Location” map on Tariff Sheet No. 9.81.12 shows the value at locations corresponding to Gulf’s generators rather than FPL’s.

Under Gulf’s standard offer contract, the RF/QF operator commits to certain minimum performance requirements based on the identified avoided unit, such as being operational and delivering an agreed upon amount of capacity by the in-service date of the avoided unit, and thereby becomes eligible for capacity payments in addition to payments received for energy. The standard offer contract may also serve as a starting point for negotiation of contract terms by providing payment information to an RF/QF operator, in a situation where one or both parties desire particular contract terms other than those established in the standard offer.

In order to promote renewable generation, the Commission requires the IOU to offer multiple options for capacity payments, including the options to receive early or levelized payments. If the RF/QF operator elects to receive capacity payments under the normal or levelized contract options, it will receive as-available energy payments only until the in-service date of the avoided unit (in this case June 1, 2030), and thereafter, begin receiving capacity payments in addition to the energy payments. If either the early or early levelized option is selected, then the operator will begin receiving capacity payments earlier than the in-service date of the avoided unit. However, payments made under the early capacity payment options tend to be lower in the later years of the contract term because the net present value (NPV) of the total payments must remain equal for all contract payment options.

Table 1 contains Gulf’s estimates of the annual payments for each payment option available under the new standard offer contract to an operator with a 50 MW facility operating at a capacity factor of 94 percent, which is the minimum capacity factor required under the contract to qualify for full capacity payments. Normal and levelized capacity payments begin with the projected in-service date of the avoided unit (June 1, 2030), while early and early levelized capacity payments begin in 2026 for this example.

Table 1 - Estimated Annual Payments to a 50 MW Renewable Facility

(94% Capacity Factor)

| Year | Energy Payment | Capacity Payment (By Type) |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Normal | Levelized | Early | Early Levelized |
|  | ($000) | ($000) | ($000) | ($000) | ($000) |
| 2021 | 6,908 | ‐ | ‐ | ‐ | ‐ |
| 2022 | 6,933 | ‐ | ‐ | ‐ | ‐ |
| 2023 | 8,038 | ‐ | ‐ | ‐ | ‐ |
| 2024 | 8,709 | ‐ | ‐ | ‐ | ‐ |
| 2025 | 9,648 | ‐ | ‐ | ‐ | ‐ |
| 2026 | 10,212 | ‐ | ‐ | 1,965 | 2,210 |
| 2027 | 10,639 | ‐ | ‐ | 2,004 | 2,210 |
| 2028 | 11,517 | ‐ | ‐ | 2,044 | 2,210 |
| 2029 | 11,540 | ‐ | ‐ | 2,085 | 2,210 |
| 2030 | 11,280 | 3,205 | 3,515 | 2,127 | 2,210 |
| 2031 | 11,075 | 3,273 | 3,515 | 2,170 | 2,210 |
| 2032 | 11,309 | 3,341 | 3,515 | 2,213 | 2,210 |
| 2033 | 11,481 | 3,412 | 3,515 | 2,257 | 2,210 |
| 2034 | 11,672 | 3,483 | 3,515 | 2,302 | 2,210 |
| 2035 | 11,850 | 3,556 | 3,515 | 2,348 | 2,210 |
| 2036 | 12,048 | 3,631 | 3,515 | 2,395 | 2,210 |
| 2037 | 12,168 | 3,707 | 3,515 | 2,443 | 2,210 |
| 2038 | 12,309 | 3,785 | 3,515 | 2,492 | 2,210 |
| 2039 | 12,437 | 3,865 | 3,515 | 2,542 | 2,210 |
| 2040 | 12,586 | 3,946 | 3,515 | 2,593 | 2,210 |
| Total | 214,358 | 39,206 | 38,665 | 33,982 | 33,157 |
| Total (NPV) | 107,338 | 14,433 | 14,433 | 14,433 | 14,433 |

Source: Gulf’s Amended Response to Staff’s First Data Request

Conclusion

The provisions of Gulf’s new standard offer contract and associated rate schedule conform to all requirements of Rules 25-17.200 through 25-17.310, F.A.C. The new standard offer contract provides flexibility in the arrangements for payments so that a developer of renewable generation may select the payment stream best suited to its financial needs. Accordingly, staff recommends that the new standard offer contract and rate schedule QS-2 be approved, with the prior standard offer contract and rate schedule REF-1 being cancelled.

Issue 2:

Should this docket be closed?

Recommendation:

Yes. This docket should be closed upon issuance of a consummating order, unless a person whose substantial interests are affected by the Commission’s decision files a protest within 21 days of the issuance of the Commission’s Proposed Agency Action Order. Potential signatories should be aware that, if a timely protest is filed, Gulf’s standard offer contract may subsequently be revised. (Weisenfeld)

Staff Analysis:

This docket should be closed upon the issuance of a consummating order, unless a person whose substantial interests are affected by the Commission’s decision files a protest within 21 days of the issuance of the Commission’s Proposed Agency Action Order. Potential signatories should be aware that, if a timely protest is filed, Gulf’s standard offer contract may subsequently be revised.

Order No. PSC-2018-0316-PAA-EQ, issued June 20, 2018, in Docket No. 20180083-EQ, In re: Petition for approval of renewable energy tariff and standard offer contract, by Florida Power & Light Company.

Document No. 02347-2020, filed May 1, 2020 in Docket No. 20200115-EQ.