BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, F.A.C., submitted by Tampa Electric Company. | DOCKET NO. 070297-EI |
| --- | --- |
| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, F.A.C., submitted by Progress Energy Florida, Inc. | DOCKET NO. 070298-EI |
| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, F.A.C., submitted by Gulf Power Company. | DOCKET NO. 070299-EI |
| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, F.A.C., submitted by Florida Power & Light Company. | DOCKET NO. 070301-EI FILED: SEPTEMBER 14, 2007 |

STAFF'S PREHEARING STATEMENT

Pursuant to Order No. PSC-07-0573-PCO-EI, filed July 10, 2007, the Staff of the Florida Public Service Commission files its Prehearing Statement.

a.	All Known Witnesses

Staff is not sponsoring any witnesses.

b.	All Known Exhibits

Staff has no direct exhibits.

c.	Staff's Statement of Basic Position

Staff's positions are preliminary and based on materials filed by the parties and on discovery.  The preliminary positions are offered to assist the parties in preparing for the hearing.  Staff's final positions will be based upon all the evidence in the record and may differ from the preliminary positions stated herein.

d.	Staff's Position on the Issues

Docket No. 070297-EI – Tampa Electric Company (TECO)

ISSUE 1:	Does the Company's Plan address the extent to which, at a minimum, the Plan complies with the National Electric Safety Code (ANSI C-2) [NESC] that is applicable pursuant to subsection 25-6.0345(2), F.A.C.? [Rule 25-6.0342(3)(a)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 2:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for new distribution facility construction? [Rule 25-6.0342(3)(b)l]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 3:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for major planned work on the distribution system, including expansion, rebuild, or relocation of existing facilities, assigned on or after the effective date of this rule distribution facility construction? [Rule 25-6.0342(3)(b)2]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 4:	Does the Company's Plan reasonably address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for distribution facilities serving critical infrastructure facilities and along major thoroughfares taking into account political and geographical boundaries and other applicable operational considerations? [Rule 256.0342(3)(b)3]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 5:	Does the Company's Plan address the extent to which its distribution facilities are designed to mitigate damage to underground and supporting overhead transmission and distribution facilities due to flooding and storm surges? [Rule 25-6.0342(3)(c)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 6:	Does the Company's Plan address the extent to which the placement of new and replacement distribution facilities facilitate safe and efficient access for installation and maintenance pursuant to Rule 25- 6.0341, F.A.C? [Rule 25-6.0342(3)(d)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 7:	Does the Company's Plan provide a detailed description of its deployment strategy including a description of the facilities affected; including technical design specifications, construction standards, and construction methodologies employed? [Rule 25-6.0342(4)(a)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 8:	Does the Company's Plan provide a detailed description of the communities and areas within the utility's service area where the electric infrastructure improvements, including facilities identified by the utility as critical infrastructure and along major thoroughfares pursuant to subparagraph (3)(b)3. are to be made? [Rule 25-6.0342(4)(b)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 9:	Does the Company's Plan provide a detailed description of the extent to which the electric infrastructure improvements involve joint use facilities on which third-party attachments exist? [Rule 25-6.0342(4)(c)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 10:	Does the Company's Plan provide a reasonable estimate of the costs and benefits to the utility of making the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages? [Rule 25-6.0342(4)(d)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 11:	Does the Company's Plan provide an estimate of the costs and benefits, obtained pursuant to subsection (6) below, to third-party attachers affected by the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages realized by the third-party attachers? [Rule 25-6.0342(4)(e)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 12:	Does the Company's Plan include written Attachment Standards and Procedures addressing safety, reliability, pole loading capacity, and engineering standards and procedures for attachments by others to the utility's electric transmission and distribution poles that meet or exceed the edition of the National Electrical Safety Code (ANSI C-2) that is applicable pursuant to Rule 25-6.034, F.A.C.? [Rule 25-6.0342(5)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 13:	Based on the resolution of the preceding issues, should the Commission find that the Company's Plan meets the desired objectives of enhancing reliability and reducing restoration costs and outage times in a prudent, practical, and cost-effective manner to the affected parties? [ Rule 25-6.0342(1) and (2)]

- POSITION:	No position pending evidence adduced at hearing.

Docket No. 070298-EI – Progress Energy Florida, Inc.

ISSUE 14: 	Does the Company's Plan address the extent to which, at a minimum, the Plan complies with the National Electric Safety Code (ANSI C-2) [NESC] that is applicable pursuant to subsection 25-6.0345(2), F.A.C.? [Rule 25-6.0342(3)(a)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 15:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for new distribution facility construction? [Rule 25-6.0342(3)(b)l]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 16: 	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for major planned work on the distribution system, including expansion, rebuild, or relocation of existing facilities, assigned on or after the effective date of this rule distribution facility construction? [Rule 25-6.0342(3)(b)2]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 17:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for distribution facilities serving critical infrastructure facilities and along major thoroughfares taking into account political and geographical boundaries and other applicable operational considerations? [Rule 256.0342(3)(b)3]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 18:	Does the Company's Plan address the extent to which its distribution facilities are designed to mitigate damage to underground and supporting overhead transmission and distribution facilities due to flooding and storm surges? [Rule 25-6.0342(3)(c)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 19:	Does the Company's Plan address the extent to which the placement of new and replacement distribution facilities facilitate safe and efficient access for installation and maintenance pursuant to Rule 25- 6.0341, F.A.C? [Rule 25-6.0342(3)(d)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 20:	Does the Company's Plan provide a detailed description of its deployment strategy including a description of the facilities affected; including technical design specifications, construction standards, and construction methodologies employed? [Rule 25-6.0342(4)(a)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 21:	Does the Company's Plan provide a detailed description of the communities and areas within the utility's service area where the electric infrastructure improvements, including facilities identified by the utility as critical infrastructure and along major thoroughfares pursuant to subparagraph (3)(b)3. are to be made? [Rule 25-6.0342(4)(b)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 22:	Does the Company's Plan provide a detailed description of the extent to which the electric infrastructure improvements involve joint use facilities on which third-party attachments exist? [Rule 25-6.0342(4)(c)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 23:	Does the Company's Plan provide a estimate of the costs and benefits to the utility of making the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages? [Rule 25-6.0342(4)(d)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 24:	Does the Company's Plan provide a estimate of the costs and benefits, obtained pursuant to subsection (6) below, to third-party attachers affected by the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages realized by the third-party attachers? [Rule 25-6.0342(4)(e)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 25:	Does the Company's Plan include written Attachment Standards and Procedures addressing safety, reliability, pole loading capacity, and engineering standards and procedures for attachments by others to the utility's electric transmission and distribution poles that meet or exceed the edition of the National Electrical Safety Code (ANSI C-2) that is applicable pursuant to Rule 25-6.034, F.A.C.? [Rule 25-6.0342(5)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 26:	Based on the resolution of the preceding issues, should the Commission find that the Company's Plan meets the desired objectives of enhancing reliability and reducing restoration costs and outage times in a prudent, practical, and cost-effective manner to the affected parties? [ Rule 25-6.0342(1) and (2)]

- POSITION:	No position pending evidence adduced at hearing.

Docket N0. 070299-EI – Gulf Power Company (Gulf)

ISSUE 27:	Does the Company's Plan address the extent to which, at a minimum, the Plan complies with the National Electric Safety Code (ANSI C-2) [NESC] that is applicable pursuant to subsection 25-6.0345(2), F.A.C.? [Rule 25-6.0342(3)(a)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 28:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for new distribution facility construction? [Rule 25-6.0342(3)(b)l]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 29:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for major planned work on the distribution system, including expansion, rebuild, or relocation of existing facilities, assigned on or after the effective date of this rule distribution facility construction? [Rule 25-6.0342(3)(b)2]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 30:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for distribution facilities serving critical infrastructure facilities and along major thoroughfares taking into account political and geographical boundaries and other applicable operational considerations? [Rule 256.0342(3)(b)3]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 31:	Does the Company's Plan address the extent to which its distribution facilities are designed to mitigate damage to underground and supporting overhead transmission and distribution facilities due to flooding and storm surges? [Rule 25-6.0342(3)(c)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 32:	Does the Company's Plan address the extent to which the placement of new and replacement distribution facilities facilitate safe and efficient access for installation and maintenance pursuant to Rule 25- 6.0341, F.A.C? [Rule 25-6.0342(3)(d)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 33:	Does the Company's Plan provide a detailed description of its deployment strategy including a description of the facilities affected; including technical design specifications, construction standards, and construction methodologies employed? [Rule 25-6.0342(4)(a)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 34:	Does the Company's Plan provide a detailed description of the communities and areas within the utility's service area where the electric infrastructure improvements, including facilities identified by the utility as critical infrastructure and along major thoroughfares pursuant to subparagraph (3)(b)3. are to be made? [Rule 25-6.0342(4)(b)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 35:	Does the Company's Plan provide a detailed description of the extent to which the electric infrastructure improvements involve joint use facilities on which third-party attachments exist? [Rule 25-6.0342(4)(c)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 36:	Does the Company's Plan provide an estimate of the costs and benefits to the utility of making the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages? [Rule 25-6.0342(4)(d)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 37:	Does the Company's Plan provide an estimate of the costs and benefits, obtained pursuant to subsection (6) below, to third-party attachers affected by the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages realized by the third-party attachers? [Rule 25-6.0342(4)(e)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 38:	Does the Company's Plan include written Attachment Standards and Procedures addressing safety, reliability, pole loading capacity, and engineering standards and procedures for attachments by others to the utility's electric transmission and distribution poles that meet or exceed the edition of the National Electrical Safety Code (ANSI C-2) that is applicable pursuant to Rule 25-6.034, F.A.C.? [Rule 25-6.0342(5)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 39:	Based on the resolution of the preceding issues, should the Commission find that the Company's Plan meets the desired objectives of enhancing reliability and reducing restoration costs and outage times in a prudent, practical, and cost-effective manner to the affected parties? [ Rule 25-6.0342(1) and (2)]

- POSITION:	No position pending evidence adduced at hearing.

Docket No. 070301-EI – Florida Power & Light Company (FPL)

ISSUE 40:	Does the Company's Plan address the extent to which, at a minimum, the Plan complies with the National Electric Safety Code (ANSI C-2) [NESC] that is applicable pursuant to subsection 25-6.0345(2), F.A.C.? [Rule 25-6.0342(3)(a)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 41:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for new distribution facility construction? [Rule 25-6.0342(3)(b)l]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 42:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for major planned work on the distribution system, including expansion, rebuild, or relocation of existing facilities, assigned on or after the effective date of this rule distribution facility construction? [Rule 25-6.0342(3)(b)2]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 43:	Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for distribution facilities serving critical infrastructure facilities and along major thoroughfares taking into account political and geographical boundaries and other applicable operational considerations? [Rule 256.0342(3)(b)3]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 44:	Does the Company's Plan address the extent to which its distribution facilities are designed to mitigate damage to underground and supporting overhead transmission and distribution facilities due to flooding and storm surges? [Rule 25-6.0342(3)(c)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 45:	Does the Company's Plan address the extent to which the placement of new and replacement distribution facilities facilitate safe and efficient access for installation and maintenance pursuant to Rule 25- 6.0341, F.A.C? [Rule 25-6.0342(3)(d)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 46:	Does the Company's Plan provide a detailed description of its deployment strategy including a description of the facilities affected; including technical design specifications, construction standards, and construction methodologies employed? [Rule 25-6.0342(4)(a)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 47:	Does the Company's Plan provide a detailed description of the communities and areas within the utility's service area where the electric infrastructure improvements, including facilities identified by the utility as critical infrastructure and along major thoroughfares pursuant to subparagraph (3)(b)3. are to be made? [Rule 25-6.0342(4)(b)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 48:	Does the Company's Plan provide a detailed description of the extent to which the electric infrastructure improvements involve joint use facilities on which third-party attachments exist? [Rule 25-6.0342(4)(c)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 49:	Does the Company's Plan provide an estimate of the costs and benefits to the utility of making the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages? [Rule 25-6.0342(4)(d)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 50:	Does the Company's Plan provide an estimate of the costs and benefits, obtained pursuant to subsection (6) below, to third-party attachers affected by the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages realized by the third-party attachers? [Rule 25-6.0342(4)(e)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 51:	Does the Company's Plan include written Attachment Standards and Procedures addressing safety, reliability, pole loading capacity, and engineering standards and procedures for attachments by others to the utility's electric transmission and distribution poles that meet or exceed the edition of the National Electrical Safety Code (ANSI C-2) that is applicable pursuant to Rule 25-6.034, F.A.C.? [Rule 25-6.0342(5)]

- POSITION:	No position pending evidence adduced at hearing.

ISSUE 52:	Based on the resolution of the preceding issues, should the Commission find that the Company's Plan meets the desired objectives of enhancing reliability and reducing restoration costs and outage times in a prudent, practical, and cost-effective manner to the affected parties? [ Rule 25-6.0342(1) and (2)]

- POSITION:	No position pending evidence adduced at hearing.

e.	Stipulated Issues

- Staff is aware of no stipulated issues at this time.

f.	Pending Motions

Staff has no pending motions at this time.

g.	Pending Confidentiality Claims or Requests

Staff has no pending confidentiality claims or requests at this time.

h.	Objections to Witness Qualifications as an Expert

Staff has no objections to any witness’ qualifications as an expert in this proceeding.

i.	Compliance with Order No. PSC-07-0573-PCO-EI

Staff has complied with all requirements of the Order Establishing Procedure entered in this docket.

Respectfully submitted this 14th day of September, 2007.

_______________________________________

KATHERINE  FLEMING, SENIOR ATTORNEY

FLORIDA PUBLIC SERVICE COMMISSION

Gerald L. Gunter Building

2540 Shumard Oak Boulevard

Tallahassee, Florida  32399-0863

Telephone:  (850) 413-6218

BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, F.A.C., submitted by Tampa Electric Company. | DOCKET NO. 070297-EI |
| --- | --- |
| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, F.A.C., submitted by Progress Energy Florida, Inc. | DOCKET NO. 070298-EI |
| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, F.A.C., submitted by Gulf Power Company. | DOCKET NO. 070299-EI |
| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, F.A.C., submitted by Florida Power & Light Company. | DOCKET NO. 070301-EI FILED: SEPTEMBER 14, 2007 |

CERTIFICATE OF SERVICE

I HEREBY CERTIFY that a true and correct copy of Staff’s Prehearing Statement was furnished to the following, by electronic and U.S. Mail, on this 14th day of September, 2007.

| John Burnett, Esq. Attorney for Progress Energy Florida, Inc. P.O. Box 14042 St. Petersburg, FL 33733-4042 |  | Beggs & Lane Law Firm J. Stone/R. Badders/S. Griffin, Esquires Attorneys for Gulf Power Company P.O. Box 12950 Pensacola, FL 32591 |
| --- | --- | --- |
| Progress Energy Florida, Inc. Mr. Paul Lewis, Jr. 106 E. College Avenue Suite 800 Tallahassee, FL 32301-7740 |  | Ausley Law Firm Lee L. Willis and James Beasley, Esquires Attorneys for Tampa Electric Company P.O. Box 391 Tallahassee, FL, 32302 |
| Dulaney L. O’Roark III, General Counsel Southeast Region Verizon 6 Concourse Parkway, Suite 600 Atlanta, GA 30328 |  | James Meza III and Jennifer S. Kay, Esquires c/o Nancy H. Sims, Esquire Attorneys for AT&T& TCG 150 South Monroe Street, Ste. 400 Tallahassee, FL 32301 |
| Maria T. Browne, Esquire Davis Wright Tremaine LLP Attorney for FCTA 1919 Pennsylvania Ave., NW, Suite 200 Washington, D.C. 20006 |  | Beth Keating, Esquire Akerman Senterfitt Attorney for FCTA 106 East College Ave., Suite 1200 Tallahassee, FL 32301 |
| Florida Power & Light Company John T. Butler, Esquire 700 Universe Blvd. Juno Beach, FL, 33408-0420 |  | Robert Scheffel Wright/John T. LaVia, III, Esquires Young van Assenderp, P.A. Attorneys for City of Panama Beach, Town of Jupiter Island and Palm Beach 225 South Adams Street, Suite 200 Tallahassee, Florida 32301 |
| Florida Power & Light Company Mr. Bill Walker 215 South Monroe Street, Suite 810 Tallahassee, FL 32301-1859 |  | Tampa Electric Company Ms. Paula K. Brown Regulatory Affairs P.O. Box 111 Tampa, FL 33601-0111 |
| Verizon Florida LLC Mr. David Christian 106 East College Avenue, Suite 710 Tallahassee, FL 32301-7721 |  | Embarq Florida, Inc. Susan S. Masterton Mailstop: FLTLHO0102 1313 Blairstone Road Tallahassee, FL 32301 |
| Gulf Power Company Ms. Susan D. Ritenour One Energy Place Pensacola, FL 32520-0780 |  | Harrison Law Firm Douglas J. Sale P.O. Drawer 1579 Panama City, FL 32402-1579 |

_______________________________________

KATHERINE FLEMING, SENIOR ATTORNEY

FLORIDA PUBLIC SERVICE COMMISSION

Gerald L. Gunter Building

2540 Shumard Oak Boulevard

Tallahassee, Florida  32399-0850

Telephone No. (850) 413-6218