1

1                            BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

DOCKET NO. 090172-EI

4       PETITION TO DETERMINE NEED

FOR FLORIDA ENERGYSECURE

5       PIPELINE BY FLORIDA POWER

& LIGHT COMPANY.

6       ___________________________/

7

8

9

10

11

12

13

PROCEEDINGS:       AGENDA CONFERENCE

14                          ITEM NO. 7

15       COMMISSIONERS

PARTICIPATING:     CHAIRMAN MATTHEW M. CARTER, II

16                          COMMISSIONER LISA POLAK EDGAR

COMMISSIONER NANCY ARGENZIANO

17                          COMMISSIONER NATHAN A. SKOP

18

DATE:              Tuesday, October 6, 2009

19

PLACE:             Betty Easley Conference Center

20                          Room 148

4075 Esplanade Way

21                          Tallahassee, Florida

22       REPORTED BY:       JANE FAUROT, RPR

Official FPSC Reporter

23                          (850) 413-6732

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                      P R O C E E D I N G S

2                 CHAIRMAN CARTER:  Staff, you're recognized

3       to introduce Item 7.

4                 MR. GRAVES:  Good morning, Commissioners.

5       Robert Graves from the SGA Energy Resource Planning

6       Section.

7                 Item 7 is staff's recommendation

8       concerning FPL's petition for a determination of

9       need for the Florida EnergySecure pipeline.  The

10       proposed project would be a 280-mile long, 30-inch

11       diameter natural gas pipeline built entirely within

12       Florida.

13                 FPL's intrastate portion of the line would

14       receive natural gas from an interconnection with a

15       separate interstate pipeline owned and operated by a

16       third party referred to as Company E for

17       confidentiality purposes.  From its interconnection

18       point in Bradford County, FPL would transport

19       natural gas to a terminus at its Martin plant site.

20       The projected in-service date of the pipeline is

21       2014.  This coincides with the in-service dates of

22       FPL's modernization projects at its Cape Canaveral

23       and Riviera Beach sites.

24                 The initial capacity of the pipeline would

25       be 600 million cubic feet per day with potential for

FLORIDA PUBLIC SERVICE COMMISSION

3

1       expansion up to 1.25 billion cubic feet per day as

2       needed to meet FPL's future natural gas

3       requirements.

4                 In many respects, this need determination

5       is unique.  In addition to requesting a

6       determination of need under the provisions of the

7       Natural Gas Transmission Pipeline Siting Act,

8       Section 403.9422, Florida Statutes, FPL has also

9       asked to include the approximately $1.5 billion cost

10       of the project in its electric rate base as electric

11       plant and would seek cost-recovery for the project

12       in a base rate proceeding when the pipeline is

13       placed in service.

14                 Because this is largely a case of first

15       impression, staff has developed a number of

16       alternative recommendations for the Commission's

17       consideration.  In order to navigate the issues,

18       staff has suggested an order in which to address

19       them.  The suggested order is shown on Pages 3 and 4

20       of staff's recommendation.  Staff has also prepared

21       a flow chart that shows how the issues in this case

22       interrelate to each other.

23                 Essentially, the issues can be grouped

24       into three main categories; planning assumptions,

25       need and cost-effectiveness, and regulatory

FLORIDA PUBLIC SERVICE COMMISSION

4

1       treatment.  Basically, it comes down to this:  If

2       the Commission determines that the Florida

3       EnergySecure pipeline is the most cost-effective

4       alternative and is needed, then the Commission must

5       decide whether the project should be included in

6       FPL's rate base under Chapter 366, Florida Statutes,

7       or whether the project should be a separate entity

8       under Chapter 368, Florida Statutes.

9                 If regulated under 366, costs would be

10       reviewed at FPL's next base rate proceeding.  If the

11       project is regulated under 368, the costs would be

12       reviewed through the fuel and purchased power

13       cost-recovery clause.

14                 Commissioners, that concludes staff's

15       introduction.  With your permission we would propose

16       to address the issues in the order shown on the

17       issue flow chart.

18                 CHAIRMAN CARTER:  Let me do this.  I have

19       misplaced my flow chart.  Staff, do you have one

20       that I could have?  I've got all of this paper

21       except the paper that I need.  Thank you.

22                 Commissioners, as we go through this

23       process, I want us to -- and as staff goes through

24       this, I want them to go through both the primary and

25       the alternative so we can see how this flows out.  I

FLORIDA PUBLIC SERVICE COMMISSION

5

1       mean, I'm glad we do have a flow chart, but I want

2       to see how that flows out so that when we do get to

3       Issue 17 we will be where we need to be.

4                 Commissioner Skop, you're recognized, sir.

5                 COMMISSIONER SKOP:  Thank you, Mr.

6       Chairman.

7                 Just to legal staff, with respect to the

8       proposed order on the issues flow chart, I guess

9       would it have any -- would there be any impact, if

10       any, if the Commission were to proceed as proposed

11       by staff with considering the planning assumption

12       issues only to adopt either a primary or alternate

13       later in the process?  I guess I am wondering is

14       it -- certain alternatives or primaries in the

15       issues below the planning assumptions may cause you

16       to go back to the starting point for practical

17       purposes.  So for the planning assumptions is it

18       appropriate to consider those or would they be

19       superseded if the Commission did something later in

20       the issue -- or further down on the issues flow

21       chart?  I'm not really kind of articulating that

22       well, but --

23                 MS. BROWN:  If I understand your question,

24       I don't think so.  But I also wanted to turn to my

25       staff to get their opinion on whether anything would

FLORIDA PUBLIC SERVICE COMMISSION

6

1       be -- what you are asking is if you determine the

2       need and you determine that it is cost-effective,

3       does that preclude you from any other decisions.

4                 COMMISSIONER SKOP:  No, I don't think

5       that's my question.  I think my question -- I guess

6       one of the concerns raised by staff is obviously the

7       bidding process.  So if the Commission were to

8       determine that perhaps that, you know, rebidding

9       would or possibly be required, but we have already

10       decided some preliminary issues on this matter, what

11       is the impact, if any, of those prior

12       determinations.

13                 MS. BROWN:  Well, I don't think the prior

14       determinations would adversely impact the

15       Commission's decision to rebid.

16                 COMMISSIONER SKOP:  Okay.  All right.

17       Thank you.

18                 CHAIRMAN CARTER:  Thank you, Commissioner.

19       I think I followed you.  I had a question about

20       that, too.  Does that mean that by adopting the

21       planning assumptions we have to go to -- are the

22       planning assumptions the overriding issue that we

23       need to do before we go anyplace else, or can we

24       look at the rest of this before we adopt the

25       planning?  I'm confused.

FLORIDA PUBLIC SERVICE COMMISSION

7

1                 COMMISSIONER EDGAR:  Mr. Chairman, as am

2       I.

3                 I would like, if it's possible, to have

4       discussion and hear all of ya'll's questions -- I'm

5       just reminded, my son told me I'm not supposed to

6       say you all.  I heard the little third grade voice

7       saying, "Mommy, you're not supposed -- that's bad

8       grammar."

9                 But I would like to hear the questions and

10       discussions, because as I said a moment ago, I'm

11       wondering if -- and I'm glad that we have at least

12       two kind of paths to work our way through this, but

13       there may be a third, or a merger, or something.

14       And so I guess I would ask for the discussion and

15       the opportunity to hear from staff, and to hear the

16       questions that each of you have to help educate me

17       before we take some of those first votes would

18       make -- I think it would help me, but I absolutely

19       want to do whatever we can to work through it in an

20       orderly manner.

21                 CHAIRMAN CARTER:  I agree with you,

22       Commissioner.  Before we take any votes, that's why

23       I was saying we have got this grouping about the

24       planning assumptions, and it seems like everything

25       flows from that, but that kind of boxes us in, in my

FLORIDA PUBLIC SERVICE COMMISSION

8

1       opinion, if we did that.  I would like to --

2                 MR. BALLINGER:  Chairman Carter, if I

3       could help.

4                 CHAIRMAN CARTER:  Mr. Ballinger.

5                 MR. BALLINGER:  Yes.  The first grouping,

6       we called them planning assumptions, they really --

7       I think there is consensus among staff there's no

8       primary or alternate, it is one recommendation for

9       all of those issues.  And that basically says that

10       something needs to be done to get transportation

11       capacity by 2014, not which project it is or

12       anything like that, but there is a need, if you

13       will, for additional gas transportation capacity by

14       2014.  So I think that's kind of the first step to

15       say we need to do something.  What it is, those are

16       the later issues.

17                 CHAIRMAN CARTER:  Okay, thank you.  Thank

18       you.  Commissioners, questions now?  I feel fairly

19       comfortable with what Mr. Ballinger just said.  That

20       answers my question.  And it was really a procedural

21       issue in terms of how we would go through the case

22       itself.

23                 Commissioner Edgar, you're recognized for

24       questions.

25                 COMMISSIONER EDGAR:  And I would ask if

FLORIDA PUBLIC SERVICE COMMISSION

9

1       staff could present to us Issues 1, 2, 4, 7, 8, and

2       9.  And hopefully there will be some questions and

3       discussion and see where that takes us.

4                 CHAIRMAN CARTER:  One second.

5       Commissioner Argenziano.

6                 COMMISSIONER ARGENZIANO:  Well, I agree

7       with that.  Can we have staff as you walk through --

8       even though you read it, and for me it is -- I don't

9       know whether it's, whatever they call that,

10       dyslexia, or whatever it could be, sometimes it's

11       good to hear not only staff's opinion, but go

12       through and give the sides.

13                 You know, FPL thinks this is the reason we

14       need it.  This is how we are going to save.  And FGT

15       says no, we can build it, and we can do it.  I think

16       that would be good to have in the discussion as we

17       go along.

18                 CHAIRMAN CARTER:  I think that makes good

19       sense.  And that would definitely help me, too,

20       Commissioner.  I don't think it's dyslexia, I think

21       it's just there are so many moving parts we need --

22                 COMMISSIONER ARGENZIANO:  It may be ADD or

23       whatever they call it.

24                 CHAIRMAN CARTER:  Now, I do have the ADHD.

25       (Laughter.)

FLORIDA PUBLIC SERVICE COMMISSION

10

1                 Mr. Ballinger, you're recognized.

2                 MR. BALLINGER:  The first issue where

3       there is a primary and alternate is Issue 10, so I

4       think the first six issues it will just be primary,

5       and we will let staff who is responsible for those

6       issues tee it up.

7                 MR. HEWITT:  Commissioners, Craig Hewitt,

8       Commission staff.

9                 CHAIRMAN CARTER:  Hang on a second.

10                 Mr. Ballinger, were you done?

11                 MR. BALLINGER:  Oh, yes.

12                 CHAIRMAN CARTER:  You may proceed.

13                 MR. HEWITT:  Issue 1, is FPL's forecast of

14       future natural gas pipeline transmission capacity

15       requirements reasonable for planning purposes?

16                 Yes.  Staff recommends that FPL's forecast

17       and assumptions are reasonable and appropriate for

18       use in this docket.  And staff will answer

19       questions.

20                 COMMISSIONER EDGAR:  Okay.  And I guess in

21       response to what I think Commissioner Argenziano was

22       asking, and it's obviously here before us, but the

23       position of the parties was opposite on that?

24                 MR. HEWITT:  Pardon?

25                 COMMISSIONER EDGAR:  That is a question.

FLORIDA PUBLIC SERVICE COMMISSION

11

1       The position of both parties that participated in

2       this hearing, their positions were opposite on this.

3                 MR. HEWITT:  That's right.  FPL says yes,

4       their forecasts are reasonable.  FGT says no, they

5       are not.  They disagree on the customer forecasts.

6                 CHAIRMAN CARTER:  You're recognized.

7                 COMMISSIONER ARGENZIANO:  Rather than a

8       yes or no, could you tell us why?  And I'm reading

9       it in front of me, but just FPL's says that -- I

10       mean, as far as capacity and the need, and FGT.  And

11       I think as we walk along, if you can verbalize those

12       it helps, it really does.  It helps me anyway.  In

13       other words, FGT feels this way, FPL feels this,

14       why, because.

15                 CHAIRMAN CARTER:  Let's start over.

16                 MR. HEWITT:  Some background.  The need

17       for additional future natural gas pipeline

18       transmission capacity is determined by the increased

19       load demand which is driven by customer growth.  So

20       customer growth is the main driving variable here.

21                 FPL's customer growth forecast is based on

22       a Florida population forecast from the University of

23       Florida's Bureau of Economic and Business Research

24       done in October 2008.  FPL substantially reduced its

25       forecast to net energy for load in its MFRs for this

FLORIDA PUBLIC SERVICE COMMISSION

12

1       case from its Ten-Year Site Plan filed in April of

2       2008.  In March of 2009, BEBR updated its population

3       forecast by revising downward the short-term

4       projected population and then resuming the same

5       long-term growth rate in 2012 contained in its

6       October 2008 forecast.

7                 FPL's projections still fall between

8       BEBR's March 2009 low and high case projections

9       bands.  And, FGT basically disagrees with those

10       assumptions that FPL made by assuming that growth

11       would pick up after the recession ended and would

12       eventually reach its long-term growth trend.

13                 CHAIRMAN CARTER:  Commissioner Argenziano.

14                 COMMISSIONER ARGENZIANO:  FGT doesn't

15       agree with that because they feel that the Cape

16       Canaveral and Riviera Beach plants could meet the

17       need?

18                 MR. HEWITT:  That's a technical question

19       that other staff will have to answer.

20                 COMMISSIONER ARGENZIANO:  Well, see, what

21       I'm trying to get at is here is one party's, here is

22       the other party's, and then here is why staff in

23       Alternative 1 and Alternative 2 agree or not.

24       That's how I'm going to decipher, if you will -- I

25       think that's a southern term, too.

FLORIDA PUBLIC SERVICE COMMISSION

13

1                 CHAIRMAN CARTER:  That makes sense.  I got

2       you.  I usually leave the D off and say cipher, but

3       --

4                 COMMISSIONER ARGENZIANO:  Cipher, okay.

5       But you can read it, and read it, and reread it, but

6       when you hear it put together all at once, I mean

7       then it just -- somehow it clicks better for me, or

8       I would just rather it be presented that way than

9       rather he says no, we say yes, and this is

10       Alternative 1 and Alternative B.  A brief

11       description probably would go a long way.

12                 CHAIRMAN CARTER:  Okay.  Commissioner

13       Skop, you had a comment before we proceed?

14                 COMMISSIONER SKOP:  Yes, Mr. Chair.  Just

15       on that same question with respect to the comparison

16       and contrast between the position of the respective

17       parties, whether it be FGT or FPL, and in particular

18       on this issue, I think, at least on FGT's position,

19       I just want to get clarification.  FGT is asserting

20       that the capacity or the forecast is not appropriate

21       because the additional incremental 400 million cubic

22       feet per day is not needed until 2021.  Is that

23       essentially the difference between the two?

24                 MR. STALLCUP:  I think that is the bottom

25       line.  There are really two components inside Issue

FLORIDA PUBLIC SERVICE COMMISSION

14

1       1.  The first component is the load forecast, the

2       customer growth issue.  Is Power and Light's

3       projection of customer growth appropriate?  If so,

4       then you need so much capacity to satisfy that

5       demand.  And so Craig Hewitt and myself we handled

6       the load forecast part and the engineers handled the

7       capacity part.

8                 COMMISSIONER SKOP:  Thank you.

9                 COMMISSIONER ARGENZIANO:  Who handled the

10       growth part?

11                 MR. STALLCUP:  We do.

12                 COMMISSIONER ARGENZIANO:  You do?  Okay.

13                 CHAIRMAN CARTER:  Did that -- I think I

14       missed something.  Did you get the perspective that

15       you needed, Commissioner, on that in terms of the

16       whys for each one?

17                 COMMISSIONER ARGENZIANO:  I see the

18       difference.  FPL obviously is saying we have

19       customer growth and we need to do this to meet that

20       demand, and FGT is saying, well, that may not be

21       exactly how it is, and we probably could meet it

22       this way.  So, of course, they have two differing

23       opinions.  But now I think what I'd like to know is

24       the alternative opinions that we get from staff

25       regarding the same issues.  Regarding what -- you

FLORIDA PUBLIC SERVICE COMMISSION

15

1       know, you agree with the University's population

2       projection and the reasons why.  That's what I would

3       rather have than just, you know, yes, we agree that

4       that is right.  Why?  And if you don't agree, or

5       believe that there is growth and everybody believes

6       that there is this growth coming in a certain way,

7       then how do we get there, of course.

8                 But going through the alternatives, I

9       think, after we mentioned that -- we know the

10       parties are going to differ, but explaining, of

11       course, the reasons why as we just did, and then

12       going into the two alternatives if we have two

13       alternatives on that particular issue.

14                 CHAIRMAN CARTER:  Okay.  Staff.

15                 MR. HEWITT:  I believe that the staff

16       agrees on Issue 1, there is no alternative, and I

17       believe for the rest of the planning assumptions,

18       staff agrees.

19                 COMMISSIONER ARGENZIANO:  (Inaudible;

20       microphone off.)

21                 MR. STALLCUP:  There are no alternatives,

22       staff alternatives on those issues.

23                 COMMISSIONER ARGENZIANO:  No alternatives,

24       but now what is the staff's -- I'm sorry,

25       recommendation on -- okay.  Hang on a second, let me

FLORIDA PUBLIC SERVICE COMMISSION

16

1       see if I can do this the right way instead of having

2       to read through it again.  There is no alternative

3       on that, which is good.  That's what I want to know.

4       Then what is the staff's recommendation, let's have

5       that verbally.

6                 MR. STALLCUP:  Staff recommends that we

7       adopt Power and Light's load forecast and planning

8       assumptions as filed.

9                 COMMISSIONER ARGENZIANO:  So you do not --

10       sorry, Mr. Chair.  So you do not agree that FGT says

11       that it is unreasonable that the Cape Canaveral and

12       Riviera plants have the combined certified need?

13                 MR. STALLCUP:  Just speaking for the load

14       forecast portion, we agree that the forecast and the

15       adjustments made by FPL Witness Morley were

16       appropriate to reflect historical underestimation of

17       population growth coming out of BEBR in Gainesville.

18       We have observed that in the past.  There was record

19       evidence in the hearing demonstrating that BEBR does

20       tend to under-forecast population growth.  And so

21       staff was comfortable with the adjustments Witness

22       Morillo made.

23                 FGT objected to those adjustments saying

24       that perhaps they weren't necessary.  However, the

25       record evidence indicated that, yes, they probably

FLORIDA PUBLIC SERVICE COMMISSION

17

1       are.

2                 The other item that we looked at was

3       whether or not the updated BEBR forecast cast a

4       material doubt, the updated forecast that came out

5       in March cast a material doubt on the original

6       forecast produced back in October.  We noted that by

7       the time you carry that reduction in population

8       growth forward ten years to when the relevant time

9       period is here for the pipeline, that the difference

10       made in customer growth was not a material

11       difference.  And by material difference, what I mean

12       is that difference was not outside of the regular

13       forecast bands that BEBR uses for their own

14       projections.  Therefore, we saw no overriding reason

15       to recommend altering Power and Light's customer

16       growth forecast.

17                 COMMISSIONER ARGENZIANO:  Okay.

18                 CHAIRMAN CARTER:  Okay.  That was on Issue

19       1.  Commissioner Skop, you're recognized.

20                 COMMISSIONER SKOP:  Thank you, Mr.

21       Chairman.  Just some quick follow-up questions on

22       Issue 1 at Page 5 of the staff recommendation for

23       the position of the parties.  And the last sentence

24       of FPL's position that states, "FPL's forecast

25       demonstrates a need to add approximately

FLORIDA PUBLIC SERVICE COMMISSION

18

1       2.7 billion cubic feet per day of transportation

2       capacity between 2013 and 2040."  Do you see that?

3                 MR. STALLCUP:  I'm going to have to hand

4       that one over to the engineer.

5                 COMMISSIONER SKOP:  Okay.  Well, is that

6       an appropriate planning horizon out to 2040, or

7       additionally can they, I guess, articulate -- I

8       guess my question is two-fold.  One, is that an

9       appropriate long-term planning horizon for the

10       proposed pipeline, and then also, too, secondly with

11       respect to FGT's argument of initially there's going

12       to be some excess capacity in the proposed pipeline,

13       can staff just briefly elaborate on those two

14       points.

15                 MR. GRAVES:  I think the pipeline project

16       was evaluated over a 40-year life, so you would need

17       an expansion plan that goes out at least until 2054

18       in this case.  So 2040 does seem reasonable.

19                 The other question of the excess, I think

20       really this issue is only looking at are their

21       forecast assumptions appropriate and not whether or

22       not the pipeline is exactly fitted for the immediate

23       need of the Canaveral and Riviera Beach plants,

24       which there really wasn't much argument over the

25       need for 400 million cubic feet for those two

FLORIDA PUBLIC SERVICE COMMISSION

19

1       plants.  I think the greater argument was when is

2       the next power plant going to come in and that is

3       what they addressed.

4                 COMMISSIONER SKOP:  Okay.  So essentially

5       for long-term planning purposes you would want to

6       have -- and I know the focus really of this is

7       capacity requirements for planning purposes, and

8       it's, I guess, premised upon growth forecasts.  But

9       for some reason the capacity issue keeps finding its

10       way into the debate between the two parties'

11       position here.  But just generally speaking for

12       long-term planning purposes if you were going to

13       build a pipeline, and 2013 to 2040 was the

14       appropriate planning horizon, you would want to have

15       the excess capacity there to serve any plants that

16       would come in service within that planning horizon,

17       is that correct?

18                 MR. GRAVES:  I'm not sure I completely

19       understand your question.  I will say that from

20       their expansion plan, the pipeline is fully expanded

21       I believe in 2027, so if that answers your question.

22       That excess gets used in that time --

23                 COMMISSIONER SKOP:  By 2027?

24                 MR. GRAVES:  I believe it's 2027, yes,

25       sir.

FLORIDA PUBLIC SERVICE COMMISSION

20

1                 COMMISSIONER SKOP:  Thank you.

2                 CHAIRMAN CARTER:  Commissioners, anything

3       further on Issue 1?

4                 Staff, you're recognized for Issue 2.

5                 MR. GRAVES:  Thank you, Chairman.

6                 Issue 2 is do the existing transmission

7       pipelines in Florida have sufficient excess capacity

8       to fulfill the forecasted need for transmission

9       capacity.

10                 CHAIRMAN CARTER:  Commissioner Argenziano.

11                 COMMISSIONER ARGENZIANO:  I think I did

12       have one other question.

13                 CHAIRMAN CARTER:  Okay.  One second.

14       Staff, would you --

15                 COMMISSIONER ARGENZIANO:  Just on

16       population, going back to population, because I

17       think that's an important issue.  FGT and some

18       others in regards to the university study believed

19       that it may be overstated, and I would like to know,

20       I guess, what staff -- and obviously you thought it

21       was correct, but aren't the numbers continuing to

22       slow, and was the -- well, I don't know.  I have

23       some heartburn over the amount of growth that's

24       projected in that study.  It seems to me that from

25       other areas, it seems that it is not -- it may be

FLORIDA PUBLIC SERVICE COMMISSION

21

1       overstated some.  And that's my concern.  If it is

2       and we are pushing for, you know, a growth that is

3       not really coming that fast, the impact, of course,

4       fiscal impact upon the ratepayer is my ultimate

5       concern.

6                 And if it's not happening -- you know, I

7       just don't know that that growth is really

8       happening.  And maybe I want some more comfort on

9       what you looked into and what numbers you felt were

10       really comfortable, or what you really got out of

11       that study, because there are, you know, arguments

12       against it being realistic.

13                 MR. STALLCUP:  I can address that.  As you

14       probably know, for many years both this agency and

15       the Legislature relied on BEBR for population growth

16       estimates for the purpose of revenue projections and

17       so forth.  And as such, the University of Florida

18       has developed a certain degree of expertise in being

19       able to produce those projections.

20                 However, as we know, they are still

21       projections and subject to a certain margin of

22       error.  Power and Light, Progress Energy, as well as

23       most of the other utilities in the state also rely

24       on that same source, the University of Florida, for

25       those projections.  So as an independent third-party

FLORIDA PUBLIC SERVICE COMMISSION

22

1       providing forecast assumptions, the University of

2       Florida is the de facto standard by which we all go.

3                 It is true that in the current recession,

4       and the possibility of perhaps housing prices not

5       coming back anywhere close to where they were, that

6       people from the midwest and up north may not be able

7       to sell their homes and move south as they have in

8       the past.  That's a hypothesis that may or may not

9       come true, but it is a reasonable doubt about

10       whether or not population growth will come back the

11       way that it was.

12                 The University of Florida looks at that

13       kind of stuff certainly much more deeply than we do

14       here, and we don't try and second guess the

15       University of Florida.  And that may -- that

16       hypothesis may come true; however, embedded within

17       the final numbers produced by the University of

18       Florida -- I would suppose, I can't speak

19       directly -- would be a blending of the notions that

20       after this recession is over we're going to kind of

21       come back to the way we were before along with the

22       idea that you're mentioning that maybe population

23       growth isn't going to be as robust as we have in the

24       past.  Maybe Florida is not going to be as

25       attractive an alternative as it has been in the past

FLORIDA PUBLIC SERVICE COMMISSION

23

1       simply because folks can't sell their house.  So

2       that's the University of Florida stuff.

3                 The thing we had to wrestle with is

4       whether or not the adjustments that Doctor Morley

5       made to those, I'll call them baseline projections

6       coming out of the University of Florida were

7       appropriate.  When she made those adjustments, what

8       she did basically was say, okay, we are in a

9       recession now, and she recognized that for the first

10       couple of years going, I think, through 2012.

11       Beyond 2012, she adjusted the growth rates coming

12       out of the University of Florida for population to

13       be more reflective of the kind of growth that you

14       would expect to see historically, okay?  It's kind

15       of like the old long-term growth rate instead of

16       buying into the assumption that we won't grow as

17       quickly as we used to.

18                 COMMISSIONER ARGENZIANO:  And that is

19       beyond 2012?

20                 MR. STALLCUP:  Beyond 2012, that's

21       correct.

22                 I have no information to say whether or

23       not we are going to grow more slowly or grow more

24       quickly.  However, because of the adjustments that

25       Doctor Morley made were of an over of magnitude

FLORIDA PUBLIC SERVICE COMMISSION

24

1       which is smaller than the normal error that the

2       University of Florida has in their projections going

3       out ten years, we determined that those adjustments

4       did not make a material difference in the expected

5       accuracy of the population forecasts, because the

6       University of Florida is about 6 percent inaccurate

7       in population growth over a ten-year time horizon.

8       Doctor Morley's adjustments were much less than

9       that, about half that.  So her adjustments were

10       still inside the forecast band the Legislature

11       accepts as being reasonable, I guess, and we have to

12       accept, too, because nobody can really nail down

13       those assumptions 100 percent.

14                 COMMISSIONER ARGENZIANO:  And I appreciate

15       that.  But you feel, you think that the forecasts

16       were accommodating of the circumstances that we're

17       seeing in housing, or economic development in the

18       state of Florida, and what we already know about the

19       slowdown in growth that has occurred in the last two

20       years or so?

21                 MR. STALLCUP:  Yes.  Especially in the

22       short run, yes, through 2012.

23                 COMMISSIONER ARGENZIANO:  Okay.  Thank

24       you.

25                 CHAIRMAN CARTER:  Thank you,

FLORIDA PUBLIC SERVICE COMMISSION

25

1       Commissioners.

2                 Anything further on 1?  Issue 2.

3                 MR. GRAVES:  Thank you, Chairman.

4                 Issue 2 is do existing transmission

5       pipelines in Florida have sufficient excess capacity

6       to fulfill the forecasted need for transmission

7       capacity?  Staff recommends that there is not

8       existing -- there is not sufficient existing

9       infrastructure to meet the transmission capacity

10       needs.

11                 CHAIRMAN CARTER:  Commissioner Argenziano.

12                 COMMISSIONER ARGENZIANO:  Tell me why.

13                 MR. GRAVES:  Currently they are fully

14       subscribed, and FGT doesn't explicitly say that

15       there is not -- they acknowledge that they would

16       need to add to their existing system to meet FPL's

17       needs.  Right now it appears that there is

18       potentially 214 million cubic feet of excess

19       capacity available.  The necessary amount for the

20       conversions would be 400 million cubic feet.  So

21       even taking that into consideration, you have

22       roughly 200 million cubic feet that can't be

23       fulfilled by the current system.

24                 CHAIRMAN CARTER:  You're recognized.

25                 COMMISSIONER ARGENZIANO:  But could be

FLORIDA PUBLIC SERVICE COMMISSION

26

1       built on whether a new system was built by FPL or

2       FGT.

3                 MR. GRAVES:  That's is correct.

4                 COMMISSIONER ARGENZIANO:  And then, of

5       course, we are going to get to the point of which

6       one is more economical to do.

7                 MR. GRAVES:  Yes, ma'am.

8                 COMMISSIONER ARGENZIANO:  So when we are

9       at that point, then I have some questions about

10       that.  So basically you need another 200 -- let's

11       see, you said 214 currently now excess?

12                 MR. GRAVES:  That's potentially available

13       by 2014.

14                 COMMISSIONER ARGENZIANO:  Potentially

15       available.

16                 MR. GRAVES:  Yes, ma'am.

17                 COMMISSIONER ARGENZIANO:  And by what date

18       have you mentioned that we needed the additional?

19                 MR. GRAVES:  It would be in 2013,

20       June 2013.

21                 COMMISSIONER ARGENZIANO:  2013, okay.  And

22       either company could fulfill that need by either,

23       one, FPL building or FGT adding to their existing

24       pipeline.

25                 MR. GRAVES:  Yes, ma'am.

FLORIDA PUBLIC SERVICE COMMISSION

27

1                 COMMISSIONER ARGENZIANO:  And one other

2       question that may be more appropriate to do later,

3       but would FPL -- and forgive me, because I've read

4       through this and some of it was a little while ago

5       and some of it I'm trying to go through again in the

6       last few days.  Would there be any -- in costs, when

7       we talk about costs to fulfill the need for the

8       future, whether FGT does it or FPL does it.  Is

9       there any eminent domain that's going to be

10       required, and I remember reading something there,

11       and I don't remember what it indicated, if you could

12       fill me in on that, too, if FPL would need to buy

13       additional lands to build -- to get the additional

14       capacity needed.  And the same for FGT, but I guess

15       it would be a different scenario.

16                 MR. GRAVES:  I know a large amount of the

17       EnergySecure Pipeline is being placed in existing

18       right-of-ways.  Right now the eminent domain is a

19       bit --

20                 MS. BANKS:  Cheryl Banks on behalf of

21       Commission staff.  About 90 percent of the

22       EnergySecure line would be as was just stated, that

23       would be in existing right-of-ways.  There would be

24       10 percent that would have to be obtained.  And

25       typically most utilities do work with each other to

FLORIDA PUBLIC SERVICE COMMISSION

28

1       use those right-of-ways, even if FGT would typically

2       see when they build the pipeline or any other

3       pipeline, they typically work with utilities in the

4       area to be able to use the right-of-way.

5                 COMMISSIONER ARGENZIANO:  So either

6       company would need the additional 10 percent?

7                 MS. BANKS:  That's correct.

8                 COMMISSIONER ARGENZIANO:  To get to where

9       it needs to go.

10                 MS. BANKS:  That's correct.

11                 COMMISSIONER ARGENZIANO:  But then what I

12       would like to know is how each company -- and I

13       think you just told me how each company would go

14       about doing that and what the cost differences would

15       be for each company to do that.  Because after all,

16       really what it comes down to me is who can do this

17       the cheapest to the ratepayer.  If you have an

18       existing line that FGT has and it is cheaper to add

19       arms to it, well, then I want to know that.  If it

20       is cheaper for FPL to go ahead and run a whole new

21       pipe and then get it to where it needs to go, also,

22       how do they acquire it, do they have to purchase

23       more land?  Is it going to cost more for either

24       company, that is what I'm trying to get at, because

25       that is what it is going to come down to me with

FLORIDA PUBLIC SERVICE COMMISSION

29

1       nuts and bolts.  Everything else we talk about is

2       very important, but who can do it the cheapest and

3       get it to where we need to go.

4                 MR. BALLINGER:  And that's Issue 10.

5                 COMMISSIONER ARGENZIANO:  Okay.  So just

6       be prepared.

7                 MR. BALLINGER:  No problem.

8                 CHAIRMAN CARTER:  Ms. Brown.

9                 MS. BROWN:  Commissioner Argenziano, if I

10       might also add, Jason just whispered in my ear that

11       FPL projects $100 million to acquire additional

12       land, and the record doesn't reflect what FGT's

13       expenses would be for that.

14                 CHAIRMAN CARTER:  Well, their's were --

15       excuse me, Commissioner, FGT's was in the context of

16       their current line.  They were just expanding the

17       current line, is that correct?

18                 MS. BROWN:  Yes, their Phase 8 expansion.

19                 COMMISSIONER ARGENZIANO:  Right.  And then

20       it brings on questions, is it cheaper for FGT, since

21       they have a current line, to just add arms to it.

22       And if they don't have costs and so on, how do we

23       make that determination?  And to me that's what it

24       comes down to, what is it ultimately going to cost

25       the ratepayer to get what we need.

FLORIDA PUBLIC SERVICE COMMISSION

30

1                 MR. BALLINGER:  The cost of the FGT

2       expansion was evaluated against the EnergySecure

3       Line.  That's discussed in Issue 10.

4                 COMMISSIONER ARGENZIANO:  Okay.

5                 CHAIRMAN CARTER:  Okay.  Also, when you

6       get to that, I'm sure, Commissioner, I'm not

7       speaking for you, but I think that the other thing

8       you would want to know is the timing.

9                 COMMISSIONER ARGENZIANO:  Right, exactly.

10                 CHAIRMAN CARTER:  In terms of the timing

11       to bring that on-line.  So when we do get to Issue

12       10, let's do that.  Commissioner Edgar and then

13       Commissioner Skop.

14                 Commissioner Edgar, you're recognized.

15                 COMMISSIONER EDGAR:  And this is probably

16       an exaggerated oversimplification, but as I am

17       thinking and as we're working our way through these

18       many items, is it true that especially with the

19       planning assumptions, but that a piece of this case

20       is is there a need for an additional line.  And then

21       if, indeed, there is a finding of need based on

22       these types of planning assumptions and other record

23       information, then what is the most cost-effective

24       way of meeting that need?

25                 MR. BALLINGER:  Yes, ma'am, that's it

FLORIDA PUBLIC SERVICE COMMISSION

31

1       exactly.  And I think Issue 2 says that.  I think

2       both parties agreed something has to get built to

3       satisfy a future need of gas.

4                 COMMISSIONER ARGENZIANO:  And that was

5       part of what I was going to say, and when would be

6       the appropriate time to do that.

7                 CHAIRMAN CARTER:  Commissioner Skop.

8                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

9                 I'm hearing some things that I guess maybe

10       I feel to be inconsistent, so I'm going to try and

11       go back and clarify a few points.  To Mr.

12       Ballinger's last comment, with respect to FPL's

13       proposal, obviously they would build a new

14       transmission pipeline.  With respect to FGT's

15       current inability, because they only have

16       214 million cubic feet per day of excess capacity,

17       in order to serve the 400 that was required by the

18       two conversion projects, or two modernization

19       projects, would they actually have to build a new

20       line or could they do that through looping or

21       additional compression?

22                 MR. BALLINGER:  There's a couple parts to

23       that question.  The first one is the 214 is the

24       potential.  That's also driven by an option that

25       Progress Energy has on, I think it's

FLORIDA PUBLIC SERVICE COMMISSION

32

1       75 million cubic feet, and that's discussed later in

2       the recommendation, that they may release.  So it

3       may only be as little as 170-some Mcf that's

4       available on the FGT system.  It's really dependent

5       on what Progress does with their option.

6                 The second part, I believe that the

7       expansion on the FGT was through compression and

8       looping.

9                 COMMISSIONER SKOP:  So that would not be

10       an additional line.

11                 MR. BALLINGER:  Correct.  And I don't

12       think there would be rights-of-way, and -- there

13       might be a minor amount of it, but I'll defer down

14       here on that one.  I don't know that detail.

15                 COMMISSIONER SKOP:  And to the point, I

16       think Ms. Banks clarified that with respect to the

17       proposed pipeline there would be some minor portion

18       of land acquisition, which I think is $100 million

19       as previously stated, is that correct?

20                 MS. BANKS:  Yes, that's correct.  There

21       also would be some lateral lines that FGT would have

22       to construct.

23                 COMMISSIONER SKOP:  Okay.

24                 MS. BANKS:  Those are smaller segments.

25                 COMMISSIONER SKOP:  Okay.  And then just

FLORIDA PUBLIC SERVICE COMMISSION

33

1       going to the capacity which somehow seems to find

2       its way into this, although it doesn't seem to be

3       really kind of suited to Issue 1, which is the

4       growth forecast.  But just to understand that the

5       proposed pipeline is for -- initially to be

6       constructed is for 600 Mcf, is that correct?

7                 MR. BALLINGER:  Yes.

8                 COMMISSIONER SKOP:  Okay.  And I guess in

9       response to a previous question, when would that be

10       needed?  I heard 2013, but that the -- let me go

11       back.  Six-hundred is going to be built, 400 is

12       initially needed for the two modernization projects,

13       correct?

14                 MR. BALLINGER:  Correct.

15                 COMMISSIONER SKOP:  Okay.  One of the

16       modernization projects is coming into service in

17       2013, correct?

18                 MR. BALLINGER:  Yes.

19                 COMMISSIONER SKOP:  Okay.  So part of that

20       400 is going to be used for that.  For practical

21       purposes let's call it half, right, 200?

22                 MR. BALLINGER:  My understanding is I

23       think the first modernization will be served through

24       FGT through some portable compression stations.

25       That's discussed, again, I think in Issue 5,

FLORIDA PUBLIC SERVICE COMMISSION

34

1       perhaps.  But then the second, the full 400 would be

2       needed by 2014 for both modernizations.

3                 The incremental 200, as discussed in

4       Issues 10 and probably 11, is available to FPL to

5       allow releases on existing FGT gas transportation

6       capacity to use for their own system for a period of

7       about three to seven years.  Three years would be if

8       the nuclear units got delayed and additional gas

9       units were needed sooner, seven years if the nuclear

10       units are built as they are and natural growth

11       occurs.  So you have a window of about three to

12       seven years of this 200 Mcf.

13                 Also, we're jumping ahead, but it helps,

14       because I like telling just one story.  The

15       incremental 200 Mcf comes at a cost of about

16       $15 million for some compression stations, which is

17       less than one percent of the total project.  So you

18       have to weigh that, the cost of the excess, the use

19       of it, and obviously the cost of the total project

20       doesn't make sense to build it slightly larger.

21                 COMMISSIONER SKOP:  Okay.  Well, I guess

22       with respect to the incremental 200 Mcf, we'll get

23       into that because I understand that is tied into

24       release, and I know you mentioned that there is a

25       cost of bringing the initial capacity in, but there

FLORIDA PUBLIC SERVICE COMMISSION

35

1       is also opportunity cost of the fact that there is

2       contracted gas that's going to have to be released.

3       So I'm wondering whether that is actually a true

4       cost, but we'll get to that later.

5                 But I guess the discrepancy I heard is in

6       response to a previous question that was given by

7       another staff member, is that the 400 Mcf was needed

8       by June of 2013, and you're telling me that's not

9       the case, it's needed by 2014.

10                 MR. BALLINGER:  No, they need 400 Mcf by

11       2013.  The initial -- since the pipe won't be

12       on-line until 2014, that six-month window can be

13       done through some portable compression stations is

14       my understanding.

15                 COMMISSIONER SKOP:  Okay.  But both

16       modernization plants won't be in service by 2013, is

17       that correct?

18                 MR. BALLINGER:  Correct.  So the little

19       200 Mcf that you need, let's say, for the first one,

20       let's say they both use 200, for sake of simplicity.

21       So the first modernization requires an incremental

22       200.  I believe that can be satisfied with some

23       portable compression for a year or so until the

24       pipeline is on, and then all 400 is used out of the

25       pipeline.

FLORIDA PUBLIC SERVICE COMMISSION

36

1                 COMMISSIONER SKOP:  All right.  That was

2       just a clarification that I wanted to get.

3                 Thank you, Mr. Chair.

4                 COMMISSIONER SKOP:  Thank you.

5                 Commissioners, anything further on Issue

6       2?  Issue 3.

7                 MR. BALLINGER:  No, actually I think

8       actually Issue 4.

9                 CHAIRMAN CARTER:  I'm sorry, Issue 4.

10       Yes, we are dealing with the planning assumptions.

11       Thank you, Mr. Ballinger.

12                 Issue 4.

13                 MR. MILLS:  Issue 4, does the planned

14       construction/operation of the proposed EnergySecure

15       pipeline meet industry and governmental standards

16       for safety?  Staff's recommendation is yes.  In

17       FPL's position they assert they will be designed,

18       constructed, tested, operated, and maintained in

19       accordance with pipeline safety regulations.  FGT's

20       position is there is insufficient detail in the

21       record, and that the company lacks experience.

22       Staff finds that FPL has experience in building

23       large, complex, technical projects and believes this

24       is in their realm of competency.

25                 CHAIRMAN CARTER:  Okay.  Questions,

FLORIDA PUBLIC SERVICE COMMISSION

37

1       Commissioners?  Okay.  Issue 7.

2                 MR. GRAVES:  Issue 7 is are FPL's

3       construction cost estimates reasonable for planning

4       purposes?  FPL relied on a third-party engineering

5       consultant to produce their values that they used

6       for their cost estimate.  Staff believes that this

7       is an appropriate avenue to derive these numbers.

8                 FGT disagreed and indicated that FPL

9       failed to provide detailed -- enough detail in its

10       gross cost information.

11                 CHAIRMAN CARTER:  Okay.  Commissioner

12       Argenziano.

13                 COMMISSIONER ARGENZIANO:  What detailed

14       information would you think that FGT was referring

15       to?  I don't build pipelines, so I don't know the

16       details, so that's why I'm going to pick your brain.

17                 MR. GRAVES:  In their briefs they looked

18       back at the Sunshine pipeline determination in '93

19       which they note that that one -- in their

20       application they had 569 pages of detailed cost

21       data, and their argument was that FPL's filing

22       didn't rival that level of detail, that that

23       former --

24                 COMMISSIONER ARGENZIANO:  Well, wouldn't

25       that be a consideration?  Is there real detail?  Are

FLORIDA PUBLIC SERVICE COMMISSION

38

1       there a lot of things that -- what I would hate to

2       see is later on that the detail wasn't addressed now

3       and we wind up with it costing a lot more than

4       anticipated.

5                 MR. GRAVES:  And that's where staff found

6       some comfort is that we would be able to go back

7       through a base rate proceeding and look at the

8       costs.

9                 COMMISSIONER ARGENZIANO:  But what good

10       does that do once you say that's the best way to go?

11       I would like comfort is -- I know there's going to

12       be costs that come up, but I'd like to know that it

13       was thought out with enough detail to get pretty

14       close to give me an idea so that -- because really,

15       like I said before, what it comes down to me is who

16       can do it cheaper.  If there is a need and we don't

17       want to leave the state -- you know, we don't want a

18       California situation where we are -- whether it's

19       electric, or gas, or whatever it is, we want to be

20       able to meet the needs, obviously, of our citizens,

21       but to try to get to the best cost.

22                 And to me the details are very important,

23       and that's an issue that concerns me when I don't

24       know that there is a lot of details.  And sometimes,

25       you know, you can't know everything, and I'm not

FLORIDA PUBLIC SERVICE COMMISSION

39

1       asking for that, but I really want to know that, you

2       know, they have given us the best they can, and we

3       have a good idea.  Because if that's fuzzy in the

4       end, then that's a bad thing for me.

5                 MR. BALLINGER:  Commissioner Argenziano,

6       I'm sorry, we face this all the time with power

7       plants, transmission lines, and a need determination

8       is a snapshot in time.  Unfortunately, the

9       Legislature asks you to make a decision based on the

10       information to make the decision in about 45 days

11       typically with these kind of things, which is a

12       little troublesome.  But we take the best

13       information we can.  As Mr. Graves said, they had a

14       third-party consultant develop their cost estimates.

15       As we go through time we expect utilities to

16       prudently manage their construction estimates and

17       costs, and if things start getting out of the whack

18       to delay a project, to look at other ways to

19       minimize costs, and that is all the things that go

20       into a rate case review.

21                 One of the first things we will look at is

22       what did you tell us the cost was in the need

23       determination and how much did it vary from that.

24       And start explaining some differences.  That is kind

25       of a first brush that we look at.  So you are forced

FLORIDA PUBLIC SERVICE COMMISSION

40

1       to make a decision, but it is not the be all and end

2       all.  It does get reviewed, and we expect utilities

3       to prudently manage their resources.

4                 COMMISSIONER ARGENZIANO:  But how often in

5       those reviews can you really -- it gets very

6       difficult later on to be able to recover or to -- in

7       other words, from the very beginning I think you

8       want the best information you can get.  You are not

9       going to have it so precise that you know to the T.

10       I understand that.  But I think if there is a lack

11       of detail or a lack -- we could wind up at the end,

12       you know, having the ratepayer pay for far too much,

13       you know, just because we didn't have those details.

14       So I understand there is a mechanism down the road,

15       but it may not -- it doesn't always work out that

16       easy to get to do it at that point.

17                 MR. BALLINGER:  I agree, and you are left

18       with assumptions and there's a myriad of things that

19       go in here.

20                 COMMISSIONER ARGENZIANO:  I think what I'm

21       asking, though, is for staff's opinion on do you

22       think that there is enough detailed information?

23       What would FGT, you know, what type of detailed

24       information is there missing?  Has it been

25       identified?

FLORIDA PUBLIC SERVICE COMMISSION

41

1                 MR. BALLINGER:  I don't think so.

2                 COMMISSIONER ARGENZIANO:  They are in the

3       business --

4                 MR. BALLINGER:  I don't think so.  I'm

5       going to refer to Mr. Graves, but I don't think they

6       have identified specific areas.

7                 COMMISSIONER ARGENZIANO:  And because with

8       FPL this is a new thing, and FGT has been in that

9       business, so if they have done something and they

10       have showed that this is what you really need to

11       look at, I want to know that FPL is really looking

12       at that also so that I have a clearer picture of

13       what, you know, we could expect.

14                 MR. GRAVES:  Right.  And FGT in the brief

15       noted that it was the estimates of the main line,

16       the meters, laterals, and transformers, and they say

17       so forth, so I think --

18                 COMMISSIONER ARGENZIANO:  They felt that

19       those estimates were not accurate?

20                 MR. GRAVES:  Well, they argued that it

21       lacked detail.

22                 COMMISSIONER ARGENZIANO:  Or low-balled, I

23       don't know how else to say.

24                 MR. GRAVES:  I think they just argued that

25       it lacked detail.

FLORIDA PUBLIC SERVICE COMMISSION

42

1                 COMMISSIONER ARGENZIANO:  Okay.  Lack of

2       detail.

3                 MR. GRAVES:  Right.

4                 COMMISSIONER ARGENZIANO:  Well, that's a

5       problem.  Can somebody tell me why there is a lack

6       of detail, and should there be -- shouldn't there be

7       more detail?  I'd like to know if FGT was proposing

8       the expansions, what detail would they have

9       included.  Now, not to -- you know, they could make

10       it so elaborate that it's ridiculous.  I'm talking

11       about what we would expect, you know.  What have we

12       expected before from companies who build pipelines?

13                 MR. BALLINGER:  In other -- well, this is

14       the first one for me for a pipeline.  I have been

15       here 24 years, this is the first natural gas

16       pipeline I have been involved with.  But

17       transmission lines and power plants we have seen

18       before.  Typically, you will get this third-party

19       consulting firm, Black & Veatch, Stone & Webster to

20       put together an estimate of cost.  And there's a lot

21       of contingencies in there; there's a lot of changes

22       that go through time.  And you take your best

23       snapshot as you go through.

24                 What I could say is, you know, FGT did not

25       give us specific details of what a transformer

FLORIDA PUBLIC SERVICE COMMISSION

43

1       should cost, or a meter station, something like

2       that.

3                 COMMISSIONER ARGENZIANO:  But shouldn't we

4       know?

5                 MR. BALLINGER:  No.

6                 COMMISSIONER ARGENZIANO:  Because if we

7       are just taking word from A, word from B, if I want

8       to build a pipeline, and I'm coming before the

9       Public Service Commission, it's in my best -- the

10       best for me is to try to keep the cost as low as

11       possible.  And for me as a Commissioner sitting

12       here, I'm going to try to figure out who is either

13       overblowing it or underestimating it and trying to

14       get -- I thought that we would have some kind of an

15       estimate to what these things cost and to see who

16       is -- well, A, is saying it's going to cost this

17       much; B is saying this, and we find it is really

18       going to be right here.

19                 MR. BALLINGER:  I don't know how to say

20       this.  I don't have the knowledge either to tell you

21       what a pipeline actually costs.  I'm not in that

22       business.  But --

23                 COMMISSIONER ARGENZIANO:  Okay.

24                 MR. BALLINGER:  -- I can tell you that the

25       process, I think, works of holding the utility's

FLORIDA PUBLIC SERVICE COMMISSION

44

1       feet to the fire to prudently manage their

2       investments.  I have seen one power plant in my

3       career here that has been two or three times greater

4       than what they said at a need determination.  Most

5       of the times they are pretty close to what they told

6       us back then.  They do a pretty good job of getting

7       the estimates -- the consulting firms, the

8       engineering firms have a stake in this to give us

9       their best estimates when they are asked by their

10       client to develop a cost estimate.

11                 So I haven't seen great fluctuations.  And

12       I think it's that threat of future disallowance, if

13       you will, come time for a rate case that keeps the

14       utilities honest of managing their costs.

15                 COMMISSIONER ARGENZIANO:  How easy has it

16       been in the history here at the PSC to recover or to

17       make the argument that, you know, this cost too

18       much?  Or, I mean, when you get down to it, are they

19       going to say it's legitimate costs.  And were they

20       prudent?  Yes, they were.  You said we should build

21       a pipeline and the costs went up a lot more than

22       they are being presented at this point.

23                 So how could somebody then down the road

24       say, well, you know, you didn't prudently spend the

25       money, it just cost you more than you anticipated?

FLORIDA PUBLIC SERVICE COMMISSION

45

1       And I understand that it may, within a certain

2       realm, but there should be some kind of a -- I don't

3       know.  Let me put it to you this way.  I'm having a

4       difficult time if I don't have some kind of a

5       measure, and I think that there is a lack of

6       specificity and detail, how do I, as a Commissioner,

7       say, well, okay, how do I -- I don't know how you do

8       that, you know.

9                 MR. BALLINGER:  It's not an easy decision.

10       Perhaps you can take some comfort in that if costs

11       were increasing they would increase for both

12       alternatives.  For example, if labor costs increase,

13       they would increase equally.  So your relative

14       difference between the two projects is what stays --

15                 COMMISSIONER ARGENZIANO:  Right, but here

16       is the key.  If the one project says I'm going to

17       build -- it may cost me a little more.  I have this

18       here now, and I can build arms, and it may cost

19       me -- and I don't know, I'm not saying one company

20       is doing this, but if one says this is what it is

21       going to cost me, and then the other one says, well,

22       this is what it's going to cost me, but they kind of

23       low-balled it, you know, I don't know how you -- as

24       you just said now, they are both going to have the

25       same costs.  Not if one anticipated or put more

FLORIDA PUBLIC SERVICE COMMISSION

46

1       detail in and you got more of an anticipated

2       probability.  This is what it's probably going to

3       cost me.

4                 Now, if you didn't put too much detail in

5       it, and you couldn't anticipate what it is going

6       cost you, it is going to be presented to me as,

7       well, this is going to be the lower alternative.

8       This could be cheaper.  Because part of my job now

9       is which one is going to cost the least amount.  Can

10       we get to where we need the lowest amount.  And if

11       one is presented as lower because it has lack of

12       details, and I'm not saying that's what it is, that

13       is only what one side is saying about the other

14       side.  That's what I'm asking you guys, is there a

15       lack of detail?  How do I, as a Commissioner, make a

16       decision on which is going to cost the ratepayer

17       less if I don't have an understanding from the

18       beginning which is really less?

19                 One accusation is saying you don't have

20       enough detail here.  You are not giving the costs.

21       You are not -- you know, it's not maybe you don't

22       have enough experience to give it, or you don't

23       know, or maybe they are right on target.  But how do

24       I get that today?  Is it just going to be what I

25       feel?

FLORIDA PUBLIC SERVICE COMMISSION

47

1                 MR. BALLINGER:  As I said earlier,

2       unfortunate we are in a little bit of a bind, the

3       time involved to do it.  We do rely on third-party.

4       I think in this case FPL has relied on the

5       third-party consultant to develop the costs.

6                 COMMISSIONER ARGENZIANO:  But then, again,

7       you have a company who has built pipelines, who has

8       experience in it versus a company who hasn't.  And I

9       understand the need of the third party, and maybe

10       it's through the third-party's experience, or

11       their -- so then basically what you're saying is the

12       third party is lacking in detail.  Okay.

13                 MR. BALLINGER:  I could make the argument

14       if FGT thought there was lacking detail in a

15       specific area, they had the right to present

16       additional evidence that meters cost $300, not $200

17       like FPL said.  We did not have that in this case.

18                 COMMISSIONER ARGENZIANO:  Okay.

19                 MR. BALLINGER:  So I'm faced with the

20       record I have in front of me to give you a

21       recommendation.

22                 COMMISSIONER ARGENZIANO:  Okay.

23                 MR. BALLINGER:  I do believe in the

24       regulatory oversight that we would have over FPL,

25       not over a gas transmission line, because that is an

FLORIDA PUBLIC SERVICE COMMISSION

48

1       unregulated entity.  So the whole crux of the thing

2       of the utility asking for, you have this process it

3       does use some checks and balances.  Unfortunately,

4       you are asked to make an uncomfortable decision and

5       a large decision in a short amount of time.

6                 COMMISSIONER ARGENZIANO:  I'm used to

7       those, that's not it.

8                 MR. BALLINGER:  Okay.

9                 COMMISSIONER ARGENZIANO:  But I'm just

10       going to ask the question to make it more comforting

11       to me.

12                 MR. BALLINGER:  There is comfort, I think,

13       in the regulatory process to keep a check on that

14       that gives you some tools in your tool box.

15                 COMMISSIONER ARGENZIANO:  And, you know, I

16       know that and I hear that, but when we get to that

17       process sometimes it never quite works out that way.

18       Sometimes it does, but it doesn't always, because at

19       that point it is very hard to say it wasn't prudent.

20       It may have been prudently spent, but it may have

21       just cost a heck of a lot more because it wasn't

22       thought from the very beginning.

23                 MR. BALLINGER:  Yes.

24                 COMMISSIONER ARGENZIANO:  And then you

25       can't deny.  You say, well, it wasn't prudently

FLORIDA PUBLIC SERVICE COMMISSION

49

1       spent, but we could have done it the other way and

2       it might have been a lot cheaper.  That is what I

3       don't want to wind up doing down the road.

4                 MR. BALLINGER:  I understand.

5                 COMMISSIONER ARGENZIANO:  So what I'm

6       getting today, and I understand you can't have them,

7       I'm blaming staff for not having it, but I would

8       like it on record and anybody who is watching, we

9       don't have that information to know.  We really

10       don't.  So we're being asked to make a decision

11       on -- some of it is guessing, and that makes me a

12       little bit uncomfortable, but maybe as we go through

13       more, maybe more discussion will help, I hope.

14       Thank you.

15                 CHAIRMAN CARTER:  Thank you, Commissioner.

16       Commissioner Skop.

17                 COMMISSIONER SKOP:  Thank you, Mr.

18       Chairman.

19                 Just a couple of follow-up questions on

20       Page 28 of the staff recommendation, please.  And

21       with respect to the projected total cost of the

22       project, it's estimated at $1.531 billion, is that

23       correct?

24                 MR. GRAVES:  Yes, sir.

25                 COMMISSIONER SKOP:  Okay.  What's the

FLORIDA PUBLIC SERVICE COMMISSION

50

1       confidence in that cost estimate, and what is the

2       potential for cost overruns?  And if there were cost

3       overruns, how would those be addressed by the

4       Commission?

5                 MR. GRAVES:  I think somewhere what Mr.

6       Ballinger said was the biggest driver here is the

7       steel, the cost of steel.  So if that goes up or

8       down, that would also affect FGT's proposal, as

9       well.  So it wouldn't -- you know, you wouldn't want

10       to hold one static while FPL's pipeline, you know,

11       flies off the charts.

12                 COMMISSIONER SKOP:  Okay.  Moving on to 29

13       of the staff recommendation.

14                 CHAIRMAN CARTER:  Commissioner, before you

15       go, just for the sake of consistency in terms of how

16       we have been going this morning, staff mentioned the

17       1.53 billion for FPL.  What is the cost for FGT if

18       they were to supply that?  Remember how we have been

19       doing this morning, looking at both sides.

20                 COMMISSIONER ARGENZIANO:  Right.

21                 CHAIRMAN CARTER:  I think Commissioner

22       Argenziano would like to know that information.

23                 COMMISSIONER SKOP:  Mr. Chair, a point of

24       information.  I think some of that might be also in

25       Late-filed Exhibit 97, but I will let staff respond.

FLORIDA PUBLIC SERVICE COMMISSION

51

1                 COMMISSIONER ARGENZIANO:  Well, and just

2       so you know, I've read it, I know; but sometimes you

3       read things a week ago, or even if you read it this

4       morning, and reading through it you still want it

5       side-by-side when you're discussing it, because it

6       just seems to work better for me that way.  So as we

7       know, we are hearing this, and then if we could hear

8       the amounts side-by-side and then maybe questions

9       come from that.

10                 CHAIRMAN CARTER:  Staff.

11                 MR. GRAVES:  I believe it's one billion,

12       but I can double-check.  But I think once we get to

13       Issue 10, when you look at the revenue requirements,

14       I think that would be the most appropriate way to

15       look at the costs versus each other, not the upfront

16       costs.

17                 COMMISSIONER ARGENZIANO:  Okay.

18                 CHAIRMAN CARTER:  Commissioner Skop.

19                 COMMISSIONER SKOP:  Thank you, Mr.

20       Chairman.

21                 Going back to the total projected project

22       cost.  On Page 29 of the staff recommendation there

23       is a comment there, William Wilbros' projected cost

24       estimate for the Florida EnergySecure pipeline was

25       nearly 2.5 billion.  Project specific changes were

FLORIDA PUBLIC SERVICE COMMISSION

52

1       made to Wilbros' estimate.  FPL's changes resulted

2       in approximately -- or an approximate one billion

3       dollar -- I mean, excuse me, resulted in an

4       approximate one billion reduction to the initial

5       cost estimate.  Can they elaborate on that specific

6       point, why was Wilbros' estimate a billion dollars

7       higher than the current projected cost, and what was

8       taken out, and what may factor into that, why the

9       initial estimate was much higher.

10                 MR. GRAVES:  I think that probably the

11       biggest factor was that Wilbros' estimated assuming

12       a 36-inch diameter pipe, and the EnergySecure line

13       is actually going to be a 30-inch pipe.  And also, I

14       believe, Wilbros didn't assume that or it didn't

15       take into account FPL's use of an existing lateral.

16                 COMMISSIONER SKOP:  Okay.  And then just

17       one question.  Mr. Ballinger, in response to a

18       question that was presented, I think you mentioned

19       something about they were in a bind, there was not

20       time to do it.  Could you elaborate on that?  I

21       think it might have been pertaining to a cost

22       estimate.

23                 MR. BALLINGER:  I'm drawing a blank on

24       that one.

25                 COMMISSIONER SKOP:  I think it was in

FLORIDA PUBLIC SERVICE COMMISSION

53

1       response to Commissioner Argenziano's question, but

2       there was a comment made.  Something about being in

3       a bind and there was not time to do it.

4                 MR. BALLINGER:  Oh, that has to do with

5       the statutory requirements of processing a need

6       determination case.  I believe for a gas

7       transmission pipeline it is 45 days, or 75 days to

8       process a whole case.  So you're being asked to make

9       a large decision in a short amount of time, but

10       that's not uncommon for power plants and

11       transmission lines.

12                 COMMISSIONER SKOP:  Okay.  Very well.

13       Thank you.

14                 CHAIRMAN CARTER:  Thank you.

15                 Commissioners, anything further on Issue

16       7?

17                 Okay.  Commissioners, let's do this.  Jane

18       has been working for over two hours now, let me give

19       her a break and let's take a stretch break.  And we

20       will come back at 40.  At least the long hand will

21       be on the eight.

22                 (Recess.)

23                 CHAIRMAN CARTER:  We are back on the

24       record.  And when we last left, we had completed

25       Issue 7.  Staff, you're recognized for Issue 8.

FLORIDA PUBLIC SERVICE COMMISSION

54

1                 MR. SPRINGER:  Good morning,

2       Commissioners.

3                 I'm Michael Springer on behalf of

4       Commission staff.  Issue 8 addresses the

5       reasonableness of FPL's economic assumptions for

6       planning purposes.  Staff does not believe FPL's

7       updated long-term financial assumptions are

8       reasonable for planning purposes.  However, the

9       original assumptions filed in this case are

10       reasonable for planning purposes and consistent with

11       financial assumptions that were filed in eight

12       previous Commission-approved FPL need determinations

13       over the past seven years.  I was going to go ahead

14       and just give you a brief summation of each of the

15       parties' sides.

16                 FPL, when they updated their financial

17       assumptions, they were based it on the rate case, so

18       they were making their financial assumptions

19       consistent with the rate case.  And some of the

20       other assumptions were consistent, like the capital

21       structure was consistent with other need

22       determinations.  But we felt like since the

23       Commission has not made a determination on those

24       financial assumptions, it wasn't reasonable for

25       planning purposes to use a 12.5 ROE in this.

FLORIDA PUBLIC SERVICE COMMISSION

55

1                 FGT's areas of concern on this issue,

2       which are subsumed in other Issues 1, 2, 9, and 10.

3       If you look on the bottom of Page 30, we have sort

4       of an outline of some of the areas that they have

5       concerns with.  The escalation rate was really an

6       economic assumption that we addressed in this issue,

7       but we are really focused on the long-term financial

8       assumptions that were updated and we don't believe

9       are consistent with other need determinations that

10       we have done, that the Commission has ruled on

11       previously.  And staff is here to answer any

12       questions you may have on this.

13                 CHAIRMAN CARTER:  Commissioners, questions

14       on Issue 8?

15                 Commissioner Argenziano, you're

16       recognized.

17                 COMMISSIONER ARGENZIANO:  The first one

18       that comes to mind is that, of course, FGT basically

19       says that the FPL proposal offers no cumulative

20       benefits for at least the -- what is it, 27 years.

21       Can you address that?

22                 MR. SPRINGER:  That issue is really

23       addressed in Issue 10, the cumulative net present

24       value.

25                 COMMISSIONER ARGENZIANO:  Okay.  So we are

FLORIDA PUBLIC SERVICE COMMISSION

56

1       going to have a lot to talk to when we get to 10.

2                 CHAIRMAN CARTER:  Everything is in 10.  We

3       should just go to 10, right?

4                 Commissioner Skop, you're recognized for a

5       question.

6                 COMMISSIONER SKOP:  Thank you, Mr.

7       Chairman.  Just a quick question to Mr. Springer.

8       Notwithstanding the concerns that -- the specific

9       alleged errors that FGT identifies, with respect to

10       the original filing and, I guess, the revised

11       filing, I guess staff wanted to go back to the

12       original filing, what was the difference between the

13       ROEs in the two respective filings?

14                 MR. SPRINGER:  Okay.  The ROE in the

15       original filing was 11.75 and that's consistent with

16       the stipulation agreement.  We have about -- on the

17       footnote on Page 31, we have several need

18       determinations that used that 11.75.  In the rate

19       case they are advocating a 12.5 percent ROE, so

20       that's the difference between the two.

21                 COMMISSIONER SKOP:  Okay.  So in their

22       updated forecast they used the rate case ROE.

23                 MR. SPRINGER:  Yes, sir.

24                 COMMISSIONER SKOP:  Thank you.

25                 CHAIRMAN CARTER:  Commissioner Argenziano.

FLORIDA PUBLIC SERVICE COMMISSION

57

1                 COMMISSIONER ARGENZIANO:  And in regards

2       to FGT's argument, I guess it's Number 3 on the

3       depreciation associated with the company, your FGT

4       rate proposals, could you elaborate a little bit on

5       that for me.  You know, the 40 year.

6                 MR. SPRINGER:  The 40 year?  That is

7       another one that is actually assumed in both Issue

8       10 and Issue 2, I'm sorry.  (Laughter.)

9                 COMMISSIONER ARGENZIANO:  That's all

10       right.  That's okay.  We'll get there.  Thank you.

11                 MR. SPRINGER:  Thank you.

12                 CHAIRMAN CARTER:  Commissioner Skop.

13                 COMMISSIONER SKOP:  Thank you.

14                 Just to Mr. Springer, on Page 30 of the

15       staff recommendation for Issue 8, are the economic

16       assumptions reasonable for planning purposes, do

17       those economic assumptions embody just the

18       intrastate portion of the pipeline or do they also

19       include the costs that consumers will pay for the

20       upstream portion of the pipeline?

21                 MR. GRAVES:  I stepped aside for a second,

22       but I believe you are just asking if the upstream

23       pipeline costs are included?

24                 COMMISSIONER SKOP:  Within Issue 8 as

25       framed, are FPL's economic assumptions reasonable

FLORIDA PUBLIC SERVICE COMMISSION

58

1       for planning purposes, do those economic assumptions

2       embodied within Issue 8, are they strictly limited

3       to the intrastate portion of the pipeline, or do

4       they also include the costs that consumers will be

5       asked to pay for the upstream portion of the

6       pipeline that will not be built by FPL?

7                 MR. GRAVES:  I believe the economic

8       assumptions cover everything that they address.  In

9       the revenue analysis on Issue 10, they do include

10       the costs for the upstream pipeline.

11                 COMMISSIONER SKOP:  Okay.  So it all

12       points to Issue 10.  Thank you.

13                 CHAIRMAN CARTER:  All roads point to Issue

14       10.

15                 Okay.  Anything further on Issue 8,

16       Commissioners?

17                 Okay.  Issue 9.  Give Peter an opportunity

18       to get settled in there.

19                 You're recognized.

20                 MR. LESTER:  Pete Lester with staff.  And

21       Issue 9 is are the fuel supply and transport costs

22       used by FPL reasonable for planning purposes.  And

23       staff believes those assumptions for fuel supply and

24       transport costs are reasonable for planning

25       purposes.  FPL's position is that their costs and

FLORIDA PUBLIC SERVICE COMMISSION

59

1       assumptions are reasonable and FGT disagrees.

2                 There are two areas here, one is natural

3       gas prices and the other is the pipeline rates or

4       the transport costs.  And regarding natural gas

5       prices, those -- inherently the forecast is going to

6       be uncertain, and certainly a long-term forecast is

7       going to have a lot of uncertainty.  So what staff

8       has focused on is we have looked at the methodology

9       that FPL has used.  I think the main argument that

10       FGT raises is that beyond a certain point fairly

11       early on, like after 2020 or so, FPL just escalates

12       the gas prices in a level fashion.  Constant level

13       escalation.  That's really the whole disagreement

14       regarding natural gas price forecasts.

15                 Staff is focused on the methodology.  What

16       FPL has done is they have used an independent

17       forecasting consultant, PIRA Energy, and they have

18       provided the forecast up to about 2020 or so.

19       Beyond that, the prices are escalated at a certain

20       constant rate and it is based on a forecast that the

21       Energy Information Administration provides.  So that

22       methodology has been used in previous cases by FPL

23       for the West County need determination and the

24       Canaveral and Riviera modernizations.  So on that

25       basis, staff believes FPL's assumptions are

FLORIDA PUBLIC SERVICE COMMISSION

60

1       reasonable.

2                 Regarding the transport price, the other

3       part of this, FPL has used negotiated rates for

4       Company E and for FGT, and then they have used

5       declining rates based on the capital investment in

6       the Florida EnergySecure Pipeline.  FGT objects to

7       that.

8                 I guess the counterpoint there is that FPL

9       has provided a levelized rate for the Florida

10       EnergySecure Pipeline, and it still comes out with

11       the greatest savings that way.  So I guess either

12       way, whether you use a declining rate or a level

13       rate for the EnergySecure Pipeline in the analysis,

14       the EnergySecure Pipeline is still the best option.

15                 That's really it.  That's the sensitivity

16       analysis which they have done, and that is why staff

17       is recommending what we are recommending.

18                 CHAIRMAN CARTER:  Commissioner Argenziano.

19                 COMMISSIONER ARGENZIANO:  What about the

20       issue of FPL in regards to supply and transportation

21       costs failing to account for the supply risks as FGT

22       is claiming?  And I guess they are also saying that

23       they failed to account for the full range of gas

24       supply and pricing risks.  And I know you just

25       somewhat addressed that, but is there a point that

FLORIDA PUBLIC SERVICE COMMISSION

61

1       they have in not looking at the supply risks, or

2       does that need to be addressed?

3                 MR. LESTER:  Their consultant looked at,

4       you know, what's available in terms of a long-term

5       gas price forecast.  Now that is going to be things

6       like future pipeline construction, future sources of

7       natural gas, it almost gets into the geology of it,

8       something that is pretty well beyond me.

9                 COMMISSIONER ARGENZIANO:  You're talking

10       about the shale?

11                 MR. LESTER:  Yes, ma'am.  And the

12       potential for those basins to produce and at what

13       prices they would be economical and things like

14       that.  But they don't carry -- you can only carry

15       those things so far.  I mean, you carry it out -- in

16       a strange way there's credibility in what they don't

17       tell you.  I mean, they tell you what they can tell

18       you, but then they don't take it beyond that.  I

19       mean, they can take it out to 2020 or so and say

20       here is what's reasonable.  Beyond that they just

21       escalate, and to me I find that a reasonable

22       methodology.

23                 COMMISSIONER ARGENZIANO:  But can you look

24       at it the other way and say that there are real

25       risks in supply?

FLORIDA PUBLIC SERVICE COMMISSION

62

1                 MR. LESTER:  There are always going to be

2       risks and then everything shifts, you know, in

3       energy regarding --

4                 COMMISSIONER ARGENZIANO:  I guess what I'm

5       looking at, there is supposed to be a mother lode in

6       shale in several different areas, and yet I'm not

7       sure how easy it is to extract, how much it is going

8       to cost, and if it is really going to be a mother

9       lode when they finally get there.  And I think they

10       have had success in some areas, but --

11                 MR. LESTER:  They are already producing

12       shale gas in significant quantities.

13                 COMMISSIONER ARGENZIANO:  But, I mean,

14       what they say -- I guess from what I have read that

15       they project an incredible amount to be mined.

16                 MR. LESTER:  That's correct.

17                 COMMISSIONER ARGENZIANO:  So I guess what

18       you are saying is you really can only go to a

19       certain point and say this is about as far as I can

20       go and who knows after that.

21                 MR. LESTER:  That's true, yes, ma'am.

22                 COMMISSIONER ARGENZIANO:  Okay.  Thank

23       you.

24                 CHAIRMAN CARTER:  Commissioner Skop.

25                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

FLORIDA PUBLIC SERVICE COMMISSION

63

1                 Just several questions on Page 35 of the

2       staff recommendation.  The first paragraph under the

3       section header transportation costs, it states

4       declining revenue requirements -- or FPL used

5       declining revenue requirements for the pipeline

6       because FPL intends to recover the costs in electric

7       rate base.  And it further reads a declining

8       depreciation schedule would cause a decrease in

9       revenue requirements over the life of the project.

10       Are those two related, or can staff explain that, or

11       is there a typo in there.  Because we are talking

12       about declining revenue requirements, and we talk

13       about a declining depreciation schedule.

14                 MR. LESTER:  They have assumed declining

15       pipeline rates for the EnergySecure Pipeline.

16                 COMMISSIONER SKOP:  Okay.  So both the

17       revenue requirement -- the revenue requirement

18       itself is a declining revenue requirement and also

19       the declining depreciation -- they also use a

20       declining depreciation schedule?

21                 MR. GRAVES:  It's just that they

22       depreciate the cost of the Florida EnergySecure

23       line, and that's why you see the declining revenue

24       requirements each year.

25                 COMMISSIONER SKOP:  I'm not getting a

FLORIDA PUBLIC SERVICE COMMISSION

64

1       whole lot of comfort level in the answers here,

2       guys.

3                 I mean --

4                 MR. LESTER:  I think the rate base is

5       declining.

6                 COMMISSIONER SKOP:  Let me talk to

7       somebody from the ERC real quick on the accounting

8       points.  Thank you.

9                 Mr. Devlin.

10                 MR. DEVLIN:  I am going to speculate a

11       little bit.  I think you have a good point,

12       Commissioner Skop.  I've got a feeling it might be

13       semantics, because depreciation does create a

14       declining rate base, if you will, over time, and I

15       think that is the point here.  The term declining

16       depreciation schedule is to me a little misleading.

17                 COMMISSIONER SKOP:  Okay.

18                 MR. DEVLIN:  I think the point is trying

19       to be made that depreciation over time will bring

20       down the rate base.

21                 COMMISSIONER SKOP:  Okay.  But I was just

22       trying to understand, you know, in this prior

23       sentence we are talking about declining revenue

24       requirement and then we flip to declining

25       depreciation, and I was looking for the connection

FLORIDA PUBLIC SERVICE COMMISSION

65

1       point between those two assertions.  So I guess we

2       can move on from there.

3                 With respect to the -- okay.  I guess that

4       answers my question there.  Let's move to the same

5       page, 35, with the premise that higher gas prices

6       make the FPL proposed pipeline project more

7       cost-effective.  Can somebody briefly elaborate on

8       that, and is that just simply due to the enhanced

9       economics of the transport or does it have anything

10       to do with the underlying commodity of natural gas

11       from, say, the Henry Hub?

12                 MR. LESTER:  I think it has to do with the

13       Florida EnergySecure pipeline requiring less gas for

14       compressor stations and, therefore, being more

15       efficient, so the higher prices would remain that

16       FGT pipeline is going to be more costly.

17                 COMMISSIONER SKOP:  Okay.  I need to

18       understand that a little bit better, too, because to

19       me that is -- you know, I try and understand things,

20       but that one is not clicking with me, so if somebody

21       could explain that.

22                 MR. GRAVES:  I think to transport gas on

23       FGT's system you would require more compression

24       which would require more of the fuel to be used to

25       operate their own pipeline.  So in that you would be

FLORIDA PUBLIC SERVICE COMMISSION

66

1       consuming more gas, therefore, the higher the cost

2       of gas, the more gas being used on their system

3       would have a greater impact.

4                 COMMISSIONER SKOP:  Okay.  So is it

5       correct to understand that they use natural gas

6       itself as a fuel for compression?

7                 MR. GRAVES:  Yes, sir.

8                 COMMISSIONER SKOP:  Okay.  Thank you.

9                 CHAIRMAN CARTER:  Commissioner Argenziano.

10                 COMMISSIONER ARGENZIANO:  And how much

11       more are we talking, and is there anywhere else a

12       savings that compensates to even it out?  Is there

13       somewhere else -- how much more would it cost FGT,

14       as you say, to use because they are using natural

15       gas for the compression?  But is that then leveled

16       out somewhere else when it comes to either land

17       acquisition or -- you know, we are going to get to

18       that, because really what I want to get down to is

19       which is going to be the cheapest mechanism, way to

20       go, or the best way to go.  And if it's FPL, well,

21       that's great, but getting it altogether at some

22       point.  When we get to Issue 10, which we are

23       getting to, and how much more to use FGT versus FPL,

24       and then we'll get to where savings somewhere else

25       may level it out or may keep it up higher.

FLORIDA PUBLIC SERVICE COMMISSION

67

1                 MR. GRAVES:  We did ask for a sensitivity

2       that assumed that the gas prices would be increased

3       10 percent and one that would assume a decrease of

4       10 percent.

5                 COMMISSIONER ARGENZIANO:  We're assuming?

6                 MR. GRAVES:  Well, it's basically a

7       sensitivity, I guess, to kind of give a band, and

8       that way we are not so reliant on one specific

9       forecast.  And it looks like roughly a $23 million

10       difference over the 40-year life of the pipeline.

11                 COMMISSIONER ARGENZIANO:  Over 40 years.

12       Okay.  Anything else?

13                 MR. GRAVES:  No, ma'am.

14                 COMMISSIONER ARGENZIANO:  Thank you.

15                 CHAIRMAN CARTER:  Commissioner Skop.

16                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

17       Just following up on that point.  So is it correct

18       to understand based on the sensitivity analysis that

19       assuming a 10 percent increase in the forecasted gas

20       prices, the resultant savings over, I guess, did he

21       say 23 years or 40 years would be $23 million?

22                 MR. GRAVES:  Forty years.  It would be

23       10 million over their base case, but the difference

24       between the plus 10 and negative 10 is 23 million.

25                 COMMISSIONER SKOP:  Okay.  What would that

FLORIDA PUBLIC SERVICE COMMISSION

68

1       translate to?  I mean, because that is a bold

2       assertion that higher gas prices make the project,

3       or the proposed project more cost-effective.  Can

4       you quantify that in terms of revenue requirement or

5       revenue requirement reduction?

6                 MR. GRAVES:  Yes, sir.  We asked for that.

7       The plus 10 resulted in 10 million over their base

8       case assumption that they provided in their original

9       filing.

10                 COMMISSIONER SKOP:  So that would be $10

11       million in additional cost?

12                 MR. GRAVES:  Additional savings.

13                 COMMISSIONER SKOP:  Okay.  Thank you.

14                 CHAIRMAN CARTER:  Commissioners, anything

15       further for Issue 9?  I'm really ready to go to

16       Issue 10.

17                 Staff, let's move to Issue 10.

18                 MR. BALLINGER:  And this is the first

19       issue that you have a primary and alternate, so I

20       will have the primary staff give their summation of

21       their recommendation and then the alternate.

22                 CHAIRMAN CARTER:  Okay.  Let's do it.

23       Primary staff first and then we will have alternate

24       staff doing their recommendation.  And then,

25       Commissioners, we will go with our questions.

FLORIDA PUBLIC SERVICE COMMISSION

69

1                 You're recognized, staff.

2                 MR. GRAVES:  Thank you, Chairman.

3                 Issue 10 is will the proposed Florida

4       EnergySecure Pipeline, including its connection with

5       the upstream pipeline, provide the most

6       cost-effective and reliable source of natural gas

7       supply, transport, and delivery.

8                 Primary staff believes that FPL's economic

9       analysis, which is based on the assumptions

10       previously discussed, shows that the Florida

11       EnergySecure Pipeline is the most cost-effective

12       alternative to meet FPL's future gas transportation

13       needs.  The results of FPL's analysis as well as

14       additional analysis requested by staff are

15       summarized on Page 40 of staff's recommendation.

16                 CHAIRMAN CARTER:  And since we're there --

17                 MR. GRAVES:  Did you want Ms. Chase to --

18                 MS. CHASE:  Commissioners, I'm Joanne

19       Chase with ECR staff.

20                 CHAIRMAN CARTER:  You are going to do the

21       opposite?

22                 MS. CHASE:  I will speak to the

23       alternative staff recommendation.

24                 Alternative staff is concluding that the

25       economic analyses performed in this case by FPL are

FLORIDA PUBLIC SERVICE COMMISSION

70

1       at best only marginally cost-effective and they are

2       greatly dependent on a number of variables in their

3       analyses, some of which have been in dispute by FGT,

4       and a lot of the discussion that we have heard this

5       morning goes to that as you have pointed out.  Due

6       to the sensitivity of these analyses, and because it

7       is only marginally cost-effective, that did concern

8       alternative staff because FPL is proposing that the

9       total cost of the line be put in rate base,

10       recovered from the ratepayers, that the stockholders

11       are completely insulated from the risk that any of

12       these projections and assumptions made by FPL will

13       come to fruition.

14                 And so alternative staff does conclude

15       that the idea is a good one, a third major pipeline

16       into Florida would be a good thing for the state of

17       Florida.  However, we are not sure that this FPL

18       proposal is the best way to go.  So we are

19       recommending that the Commission exercise caution in

20       this issue and ask FPL to go back and rebid the

21       project and see what kind of other alternatives

22       might come out and to just explore all the

23       alternatives that might surface.

24                 CHAIRMAN CARTER:  Thank you.  Commissioner

25       Skop, you're recognized.

FLORIDA PUBLIC SERVICE COMMISSION

71

1                 COMMISSIONER SKOP:  Thank you, Mr.

2       Chairman.

3                 With respect to the alternate staff

4       recommendation, I think at hearing certain concerns

5       were raised about the openness and perhaps the

6       transparency of the bidding process in terms of what

7       the actual scope of work might be.  So if staff

8       could comment briefly upon how that may have

9       factored, if at all, into the alternate staff

10       recommendation.  And then also in staff's opinion

11       would rebidding the project improve the economics of

12       the proposed project for the ratepayers to the

13       extent that it might put downward pressure on the

14       project cost estimates.

15                 MS. BANKS:  Cheryl Banks on behalf of

16       Commission alternative staff.  The letter that FPL

17       sent out to some selected entities seeking their

18       interest in constructing a pipeline was worded such

19       that it was the conclusion that FPL was going to

20       evaluate the construction of a new intrastate

21       pipeline.  The evaluation as stated in the letter

22       says it is going to be -- they invited the parties

23       to work with FPL for pricing gas deliveries into

24       this new intrastate pipeline via a new or existing

25       pipeline.

FLORIDA PUBLIC SERVICE COMMISSION

72

1                 Alternate staff is concerned because by

2       limiting that scope to the intrastate -- connecting

3       to the intrastate piece, you eliminated the

4       possibility of an entity coming from the shale that

5       it wanted to use all the way to serve the plants at

6       the very end.  They didn't prohibit you from

7       providing that example, but the wording is, "Of

8       course, parties may propose alternatives that would

9       deliver gas only to these plants using new or

10       existing gas pipeline facilities, but any perceived

11       economic advantages would be weighed against their

12       more limited role in meeting FPL's long-term needs."

13       That gave alternative staff pause, because to me it

14       led me to conclude that even if it proved to be more

15       cost-effective, I may have some intangible weighting

16       that threw those alternatives off the table, even

17       though they could be more cost-effective, which

18       could have actually led to entities not providing

19       bids in this arena that we may have been able to get

20       some lowers bids in if we broadened the scope of the

21       proposal.

22                 CHAIRMAN CARTER:  Commissioner Skop.

23                 COMMISSIONER SKOP:  Thank you.  And as

24       some follow-up to that, I think, on Page 46, and

25       then I have questions regarding the primary staff

FLORIDA PUBLIC SERVICE COMMISSION

73

1       recommendation also in the interest of fairness.

2       But on Page 46 they talk about the timeline in terms

3       of perhaps conducting a new solicitation.  Would

4       there be adequate time to do that, should that be

5       the decision of the Commission?

6                 MS. CHASE:  Yes, Commissioner.  JoAnn

7       Chase, again, with ECR staff.

8                 We looked at the original solicitation

9       that was done by FPL, and it took approximately four

10       to five months from issuing the solicitation letter

11       to the selection of the bid, of their self-build.

12       And so staff believes that in that amount of time

13       they could just do the solicitation process again

14       with some clarification, and along the lines of what

15       Ms. Banks was talking about, and that there would be

16       time to do this.  And especially since Company E,

17       which is going to FERC for approval of its pipeline,

18       will not be filing its application until the fall of

19       2011.  So we believe there is sufficient time to do

20       a rebidding and for FPL to explore all of their

21       options in that process.

22                 COMMISSIONER SKOP:  Okay.  And then just

23       as a follow-up to that, if a new solicitation were

24       conducted, also on Page 46, I believe the comment is

25       made that staff believes or alternate staff believes

FLORIDA PUBLIC SERVICE COMMISSION

74

1       the solicitation should be provided to staff for

2       approval prior to issuance to ensure it is clear and

3       complete, is that correct?

4                 MS. CHASE:  Yes, Commissioner.  That is

5       what we have in here.  That would be an option if

6       you would like for staff to review it before it goes

7       out.

8                 COMMISSIONER SKOP:  Okay.  And I guess on

9       Page 45, I'm also trying to understand or gain

10       better appreciation of alternate staff's concerns

11       with respect to the fact that the proposed pipeline

12       would just basically have three connection points to

13       the three large FPL plants and how that, I guess,

14       alternate staff or perhaps FGT feels that that might

15       make the proposed pipeline less reliable.

16                 MS. CHASE:  Well, Commissioner, yes, I

17       believe that is an issue coming up.  Issue 3 is the

18       reliability issue.

19                 COMMISSIONER SKOP:  Yes.  That's the

20       problem with all of these issues, everything gets

21       dumped into one.  It is hard to figure out which

22       one.  And then also, too, with respect to the -- you

23       know, there has been a lot of -- in the hearing, the

24       economic benefit to the state, but I think also in

25       one of the issues there is some discussion about the

FLORIDA PUBLIC SERVICE COMMISSION

75

1       use of an outside contractor and temporary jobs.

2       Can somebody refresh my memory as to where that

3       would be?  That's another question that I have.

4                 MR. BALLINGER:  I believe it is Issue 5.

5                 COMMISSIONER SKOP:  Issue 5.

6                 MR. BALLINGER:  And I think both primary

7       and alternate agree that either project would bring

8       economic benefits and development to the state,

9       whether it be FGT or FPL.

10                 COMMISSIONER SKOP:  But wasn't, I think,

11       that also -- not to skip to issues, but wasn't there

12       some concern there that the proposed contractor

13       would be an out-of-state contractor that would only

14       merely bring temporary jobs to the state from using

15       out-of-state labor?

16                 MS. BANKS:  Yes, that is addressed in

17       Issue 5.

18                 COMMISSIONER SKOP:  All right.  I guess we

19       will get to that in due time.

20                 Mr. Chair, if I may, just to the primary.

21                 CHAIRMAN CARTER:  Hang on a second,

22       Commissioner.  Since we are on the alternative,

23       let's just see if there is further questions from

24       the bench on the alternative.

25                 Commissioner Argenziano, you're

FLORIDA PUBLIC SERVICE COMMISSION

76

1       recognized.

2                 COMMISSIONER ARGENZIANO:  Thank you.  With

3       the alternative, let me get back to my page here.

4       Basically, going into the rebidding process -- well,

5       I guess, for the assurances, FPL states that this

6       will have a benefit for the entire state, and I

7       think the way it is written, or the letter, the

8       solicitation letter really doesn't accommodate the

9       benefit that could fully be realized in having a new

10       pipeline into the state, which we could use, I think

11       I agree with that, it's just if we went into the

12       rebidding process, you say there is enough time, and

13       if the letter were rewritten to accommodate the

14       looping and the -- is that where we are going in the

15       expansion of the solicitation letter to accommodate

16       so that it really does provide a benefit for the

17       entire state in events that may take place?

18                 MS. BANKS:  The idea of rebidding would

19       allow the opportunity for entities to build for a

20       major interstate line, so it would come from outside

21       the state all the way into the state and serve the

22       plants.  The benefit of that is that if you are an

23       interstate pipeline you will have to be an open

24       access pipeline per FERC rules, which means you will

25       serve anybody who wants gas off that line.

FLORIDA PUBLIC SERVICE COMMISSION

77

1                 COMMISSIONER ARGENZIANO:  So not just

2       going to FPL's plants, but it would have to have the

3       connections that it would go to other plants, also.

4                 MS. BANKS:  Anyone who required -- who

5       requested that, they would have to have the

6       obligation to provide service to those.

7                 COMMISSIONER ARGENZIANO:  Where the major

8       difference right now from the letter of solicitation

9       would be the FPL pipeline would not enable us to do

10       that, and thus maybe their claim to being a real

11       benefit to the state may be somewhat limited without

12       having those capabilities, while FGT has that

13       capability if they expand.

14                 MS. BANKS:  That is alternative staff's

15       opinion.

16                 COMMISSIONER ARGENZIANO:  Okay.  Thank

17       you.  And I'm not sure what other questions I asked

18       about 10 before, if somebody else remembers.

19                 CHAIRMAN CARTER:  They will come back to

20       us.

21                 COMMISSIONER ARGENZIANO:  But some of them

22       may have been answered, too.

23                 CHAIRMAN CARTER:  We will come back to you

24       in a minute, Commissioner.

25                 Commissioner Edgar.

FLORIDA PUBLIC SERVICE COMMISSION

78

1                 COMMISSIONER EDGAR:  Thank you, Mr.

2       Chairman.  Similarly to I think some of what I'm

3       hearing, I am fairly well convinced of the need and

4       the benefits to the state as a whole and to

5       ratepayers of having additional supply in the

6       future, and redundancy, and the cost/benefits of

7       that for all kinds of reasons.  What I'm struggling

8       with then is the how.  And I realize we have got two

9       alternatives in front of us, one to move forward as

10       FPL had proposed.

11                 I do have some concern about the way the

12       cost-effectiveness is or is not, realizing the long

13       time line in order to become cost-effective from the

14       sensitivities and the other information that we

15       have.  But yet I also have some concern about, I

16       guess, whether the best route would be to kind of

17       micromanage through a rebid process.  So I guess my

18       question I'm posing, which is kind of what I did at

19       hearing is is there a third way to get from here to

20       there?

21                 MS. CHASE:  Well, Commissioner, if you

22       didn't want to be specific about the rebidding, if

23       you did not want the micromanaging or the staff

24       involvement, you could -- I'll probably need some

25       help from Legal here, but I think you could actually

FLORIDA PUBLIC SERVICE COMMISSION

79

1       find that there is a need for it, but simply that

2       the FPL project as filed you're not comfortable

3       with, and simply telling FPL to go out there and to

4       explore all other alternatives and to come back with

5       something else.  And that way it sort of leaves it

6       out for them to figure out how to do that.

7                 COMMISSIONER EDGAR:  I guess that is

8       something that I would like to just, as we are

9       discussing, maybe explore or think through.  And,

10       Ms. Brown, please feel free in a second to jump

11       right in.

12                 As we have said, many issues, many legal

13       issues, many technical issues, many financially

14       impactive issues.  Kind of untwining the need from a

15       specific proposal is something I've been grappling

16       with since the issue first came before us.  So, Ms.

17       Brown, did you have an additional comment?

18                 MS. BROWN:  I think I do.  My mind is

19       turning while I'm trying to answer.  It has been

20       done before, the Commission has precedent for

21       determining that there was a need for a particular

22       gas or additional electric capacity, but not being

23       comfortable with the particular project that was

24       before them.  And actually that has happened a

25       couple of times.  In your experience, the Glades

FLORIDA PUBLIC SERVICE COMMISSION

80

1       project was close to that.  In an earlier

2       Commission's experience, the Cypress plant was also

3       similar where the Commission thought there was a

4       need, but the project was not the best -- they

5       didn't feel comfortable approving that project to

6       fill the need.

7                 And in both of those cases the need

8       determination was denied.  Here if you wanted to

9       signal to FPL to proceed with a new bid, you could

10       say we are just not comfortable with this project.

11       We think it would be a good idea for you to explore

12       rebidding of it and additional possibilities for

13       filling the need.  That would be a way you could go.

14                 Another way you could go, I suppose, but I

15       don't feel as comfortable with this way, would be to

16       approve the need determination and condition it on

17       going back and rebidding it and then coming back and

18       reopening the record to take care of the new

19       information, and I think that gets kind of messy.

20                 COMMISSIONER EDGAR:  That sounds, that

21       sounds messy to me too.

22                 CHAIRMAN CARTER:  That does sound messy.

23                 COMMISSIONER EDGAR:  But I appreciate you

24       trying to help me think, think through potential

25       ways of moving forward.

FLORIDA PUBLIC SERVICE COMMISSION

81

1                 CHAIRMAN CARTER:  Commissioner Argenziano,

2       then Commissioner Skop.

3                 COMMISSIONER ARGENZIANO:  Thank you.  I'm

4       still not certain -- I mean, I'm not -- I know -- I

5       feel like there's a need from what I'm learning and

6       I think there's a need and we want to make sure that

7       we have capacity for the future.  I want to make

8       sure it's the correct time.  It appears to be.  But

9       I'm still not certain who should do the project to

10       begin with.  I don't know if FPL should be the

11       person, the entity doing it or the, or FGT or

12       someone else in the rebidding process.

13                 I think my heartburn in several places is

14       that I don't think that I have a secure feeling that

15       it's the most cost-effective approach.  I have a lot

16       of lacking data, a lot of missing information, and

17       it's left to guess.  So I feel like that's my

18       concern, along with is FPL the proper entity to do

19       this?  And if they are, then to me it would be

20       they're going to have to rebid and they're going to

21       have to come in, I'm going to have to have more

22       information.  I need to know what is the most

23       cost-effective way because that's really what it

24       comes down to to me.  We have the need.  Now let's

25       figure out how we do it.  And given the time frame,

FLORIDA PUBLIC SERVICE COMMISSION

82

1       what I probably need to look at again and maybe ask

2       some more questions on is with our economic

3       situation the way it is, is this the time?  Is it --

4       can it -- does it have to be right now?  Do we have

5       any room to wait to see if maybe at the end of the

6       year things start changing and moving in an upward

7       manner where the ratepayer is not so impacted?  So

8       those are the considerations.

9                 And I think, as I said, I think when I go

10       back to look at it, I think I just feel that I can't

11       in my mind decide what is the most cost-effective

12       approach.  And I think FPL is lacking in that area

13       because I don't have specificity or details.  And

14       not to the minutia because I understand that's

15       impossible to do, but I think that's where I feel a

16       little heartburn.  So if, if FPL is still a

17       contender, then the way to do it in my opinion would

18       be, or staff can help me here, if they went out to

19       rebid and had a different, expanded the scope to

20       make it a more state viable project that benefits

21       the entire state as well as FPL and their, and their

22       customers, it would be then to come back with a,

23       with an additional bid that has maybe more

24       specificity and detail.  But does that preclude

25       anyone else then from, from building the pipeline?

FLORIDA PUBLIC SERVICE COMMISSION

83

1       I mean, are we making a decision that it's just,

2       today that it's just FPL?  Is this the decision, we

3       ask them to go back?  Or is there someone else or

4       can FGT be the one to build it more cost -- it will

5       still be compared; right?

6                 MS. BROWN:  Yes, I think compared.  But

7       it, it -- you don't really have to choose between --

8       if you don't like the FP&L project, you don't have

9       to choose FGT's proposal.

10                 COMMISSIONER ARGENZIANO:  Right.  Right.

11       No.  I mean in asking FPL if they were to go back

12       and rebid and expand that solicitation letter a

13       little bit.

14                 MS. BROWN:  Well, Cheryl might want to --

15       she does.

16                 COMMISSIONER ARGENZIANO:  Okay.

17                 MS. BANKS:  I sure hope what I go into

18       right now doesn't really confuse everybody, but I

19       think that maybe some background information to how

20       pipelines work might really be helpful here.

21                 Pipelines typically -- and when you look

22       at it, I'm going to give you an interstate picture.

23       When an entity wants to build a pipeline, it

24       typically, it has no choice.  What it, what it --

25       it's responsive to a need.  Typically you have an

FLORIDA PUBLIC SERVICE COMMISSION

84

1       anchor load, which is a power plant.  That's how

2       power plants are built pretty much nationwide.  You

3       have an anchor load.  The pipeline goes out, sees

4       that there's a need for this to serve a plant, and

5       they put out proposals.

6                 What they do is they say here's what I

7       think I'm going to build.  Does anybody have any

8       interest in it?  People put in what are called

9       precedent agreements, I want 20 a day, I want 50 a

10       day.  They see if they have enough to build the

11       line.

12                 They go to, in this case, in this

13       instance, FERC, and they say, okay, I want to build

14       this line.  Here's the capacity that people have

15       asked for.  I want to size it bigger.  They said,

16       that's fine, you can size it whatever you want, but

17       I'm going to base your rates on what it looks like

18       your need is.  If you sell all that extra capacity,

19       that's great.  If you don't, your stockholders eat

20       it.

21                 It's a totally different process than an

22       electric power plant because the pipeline industry

23       is competitive.  You have, you can have multiple

24       lines in an area.  It may not be environmentally the

25       best idea, but you're not precluded from that.

FLORIDA PUBLIC SERVICE COMMISSION

85

1                 It's very difficult for, for, for me as a

2       staff member ingrained in that philosophy to look at

3       a need determination, and I'm looking at Entity A

4       building a line, and my alternatives are based on

5       the cost of that entity building that line that I'm

6       comparing to.  What I'm used to comparing is here's

7       the rate I'm going to charge you, here's Pipeline

8       B's rate, here's Pipeline C's rate.  It's a real

9       clear-cut picture.  I'm either going to pay, you

10       know, X amount per MMBtu or I'm going to pay

11       something lower.  It's easier to pick the winner,

12       you know.

13                 This is like -- I take the analogy we're

14       taking a square peg and a round hole.  We're trying

15       to take a process used for electric power plant

16       needs determination and kind of forcing it into a

17       competitive industry that really has some

18       difficulties working.  Because what happens is if

19       FGT's proposal -- it doesn't matter to FP&L

20       typically what it costs FGT.  FERC is going to

21       determine the rates and they're going to negotiate a

22       rate for the, for the capacity.  It's not really

23       based on -- FP&L or any other entity doesn't make

24       its decision about how much it costs.  It wants to

25       know how much it's going to pay.

FLORIDA PUBLIC SERVICE COMMISSION

86

1                 So this is why this situation is much

2       more -- it just doesn't fit.  And so that's why when

3       you're -- you're not really choosing FP&L or FGT or

4       anybody else.  You're really, what you want to come

5       down to is how much is FP&L going to have to pay for

6       that capacity?  My concept was even if this is how

7       much you're going, how much it costs you to build, I

8       don't care.  How much am I going to pay?  What's my

9       negotiated rate?  What's the best deal you can give

10       me?  And FP&L would be the same way.

11                 If by chance we, the Commission was to

12       say, okay, well, the need is there, FP&L, that's

13       fine, you can build it but you put it in a separate

14       entity, you get to the same end result.  That

15       separate entity would negotiate a rate with FP&L and

16       that's the rate it would pay.  It wouldn't have

17       those -- the stockholders wouldn't be at risk for

18       any cost overruns, for excess capacity, for anything

19       that the projections didn't hold.  It would be the

20       entity that's risking that.  And if it's a

21       cost-effective project, that will be the best thing

22       for them to do.  And I hope I didn't make things

23       more difficult.

24                 MS. BROWN:  But if, if I could bring that

25       back around to your initial question.  If FP&L rebid

FLORIDA PUBLIC SERVICE COMMISSION

87

1       the project, you would perhaps hopefully have a

2       better understanding of the costs involved and

3       perhaps a better cost basis for whatever pipeline is

4       built, however it's structured.

5                 But I think to -- the other thing I did

6       want to mention before Cheryl spoke was that your

7       concern on cost-effectiveness of course in the

8       Glades case was the reason to deny that need, that

9       there was a, you felt there was a need, but the

10       project was, you weren't convinced that it was

11       cost-effective.  That's it.

12                 COMMISSIONER ARGENZIANO:  And I appreciate

13       that very much, and I really do.  It makes me think

14       though cost-effective, of course, is very important,

15       but the cost to, of capacity is, is extremely

16       important too. It really comes down to the end

17       result, what is the best thing for the state and the

18       ratepayer?  So you have to combine that.  It can't

19       just be cost-effectiveness.  It needs to be cost,

20       you know, that capacity cost also.

21                 So I guess it's a, it's a bundle of things

22       together that, that have to fit at the end, and

23       that's what I'm hoping to get to.  And I'm not sure,

24       and this may sound ignorant, but because it's new

25       for the company to also have the transmission line,

FLORIDA PUBLIC SERVICE COMMISSION

88

1       I guess, if you want to call it the pipeline, is it,

2       is it appropriate then that it entirely be in rate

3       base?  Is there any cost that the shareholders

4       should have in that, in that building of the

5       pipeline?

6                 MR. BALLINGER:  I think we discuss some

7       options in Issue 11 and 13 of ratemaking options

8       that the Commission can do with excess capacity, if

9       you will, temporary excess, and past regulatory

10       treatments you can do with rate base treatment.

11                 MS. BROWN:  Well, also in Issue 11 there

12       is the staff analysis that it's not appropriate to

13       include those costs in electric rate base.  We'll

14       get to that.

15                 COMMISSIONER ARGENZIANO:  Okay.  We're

16       going to move on to it, but one other question in

17       regards to that.  Is it beneficial -- or how is it

18       beneficial for FPL to have its own pipeline, to

19       build its own pipeline, which the ratepayer will pay

20       for, in regards to capacity cost?  Maybe that's a

21       different way of asking it.

22                 MS. BANKS:  I think either Tom or I can

23       probably answer that.  In FP&L's opinion that gives

24       them a competitive edge because they control it, so

25       therefore they can control the costs better than if

FLORIDA PUBLIC SERVICE COMMISSION

89

1       they're relying on a separate entity.

2                 COMMISSIONER ARGENZIANO:  But that's only

3       if it doesn't, if the cost to build it doesn't

4       defeat the purpose.  And how long down the line will

5       it be 'til it flattens out and evens out or becomes

6       a benefit?

7                 MR. BALLINGER:  There's a few other

8       reasons I'll go into.  It goes to, like Cheryl

9       described, the need process for pipelines.  I

10       describe them as kind of just in time building of

11       capacity.  Like she said, the pipeline companies go

12       out for an open solicitation:  Who wants gas?  They

13       build pipelines to serve that need.  And the power

14       plants and stuff subscribe to a need that they have

15       to buy.  Okay?  They're not the same as an electric

16       utility that has to plan ahead for future growth.

17       So the pipeline industry has grown along as a just

18       in time kind of a thing.  So this is a new entity.

19                 But what you've got here that I see with

20       FPL owning it, an advantage of FPL owning it -- and,

21       quite frankly, I don't care where it goes through,

22       if it goes through the fuel clause or rate base.  I

23       mean, that, from this aspect it's immaterial.

24                 COMMISSIONER ARGENZIANO:  Either way, the

25       ratepayers will pay.

FLORIDA PUBLIC SERVICE COMMISSION

90

1                 MR. BALLINGER:  The ratepayers will pay

2       for the cost of it, but it gives FPL an assurance of

3       future needs and a planning of their own destiny.

4       We're looking at a time now where natural gas is our

5       only fuel of choice.  We have a few nuclear plants

6       under construction trying to get built, but there's

7       only so many sites that can support a nuclear plant.

8       Coal has essentially been taken off the table from

9       past decisions and environmental concerns, whatever.

10       It may resurrect, but it's -- so we're stuck with

11       gas.

12                 And I think FPL was looking to the future

13       to see how can they secure that for a longer term

14       planning, which is different than the gas industry.

15       I agree.  It's a totally different industry.  But I

16       think it's still appropriate for an electric utility

17       to be in that industry.  To me it's no different

18       than an electric transmission line importing power

19       or importing fuel.

20                 COMMISSIONER ARGENZIANO:  But -- and if I

21       can, Mr. Chairman.  And I understand that.  But what

22       it comes down to is that may be beneficial.  Where

23       do you get the, you know, the best for the whole

24       state?  Because there's some -- FPL is even saying

25       this will benefit the whole state.  But there's some

FLORIDA PUBLIC SERVICE COMMISSION

91

1       limitations to how it's really going to benefit the

2       whole state if it's only, only going to go to their

3       own facilities versus somebody else who has a

4       pipeline who can add to it or build another one that

5       is going to have, you know, the capacity or the

6       ability for everyone to use it.

7                 And I guess with regard to how is it --

8       I'm not going to say it right.  You described that,

9       you know, you think it is a benefit and a good thing

10       to do -- and I lost my train of thought.  For some

11       reason it just went.

12                 Obviously what I just said about the

13       capacity, the availability for everyone to be able

14       to tap into that would be beneficial for the state.

15       But it also comes down to, I think, is it cost for

16       capacity as well as the cost efficiencies of

17       building it, does it come down -- it may, it may

18       help FPL, but is it, is it for the ratepayer to FPL

19       in the long run really going to be beneficial?  And

20       that's what I'm still --

21                 MR. BALLINGER:  I think the analyses show

22       that, that there's benefits between two to

23       $500 million over the life of the project.

24                 COMMISSIONER ARGENZIANO:  But that's with

25       lack of specificity.

FLORIDA PUBLIC SERVICE COMMISSION

92

1                 MR. BALLINGER:  It's based on assumptions

2       that we know today.  Yes, ma'am.

3                 COMMISSIONER ARGENZIANO:  But that's part

4       of the -- I guess the alternative recommendation

5       says we don't feel that with a preponderance of

6       evidence has that been established, and that's where

7       I'm coming from I guess.

8                 MR. BALLINGER:  I agree.  I agree.  And

9       that's, that's fine.  You can, you can come to the

10       conclusion that it's a little too uncertain, that

11       the --

12                 COMMISSIONER ARGENZIANO:  But it could be.

13       It could be a really, a really good benefit in the

14       future for FPL and their ratepayers.

15                 MR. BALLINGER:  And I think the benefit is

16       even if it were a third party built it, they don't

17       build excess capacity that somebody could then tap

18       into.  So it only gets built as needed.  So even if

19       a third entity built this, it would still only be

20       the 400 or 600 MCF until new customers came along

21       and they would ask who can build the capacity and

22       then it would be a solicitation.

23                 MS. BANKS:  If I could just interject one

24       point to that, Mr. Ballinger.  They do build excess

25       capacity and they do build these pipelines at risk

FLORIDA PUBLIC SERVICE COMMISSION

93

1       for the excess capacity that's not being taken.

2       They do their studies, they determine what, and

3       their stockholders determine how much they're

4       willing to risk and how much bigger and based on

5       what they see as projected growth.  And pipelines

6       can be built very fast.  It's -- they, typically

7       it's a very smooth process, and they don't need five

8       to ten years in advance to know that it's coming.

9                 In this particular case it is difficult

10       because it does not become a break-even

11       cost-effectiveness for the ratepayers until the year

12       2031.  You've got a long way to go that all those

13       up-front years -- you know, and it, you know, for

14       some, for some things that you're building that

15       makes sense.  If you're going to build a nuclear

16       plant, you're not going to get a return in a -- but

17       for gas pipelines it's a little bit, for me it

18       causes me some concern because that's a real long

19       lag.

20                 COMMISSIONER ARGENZIANO:  You mean as far

21       as building prematurely?

22                 MS. BANKS:  It's, it's not prematurely so

23       much as because it's being in rate base and being

24       recovered by the ratepayers, that's what shoves it

25       out to 2031.

FLORIDA PUBLIC SERVICE COMMISSION

94

1                 COMMISSIONER ARGENZIANO:  Right.

2                 MS. BANKS:  You know, if a separate

3       entity, they're not going to have to.  They're going

4       to see the benefits much quicker than that.

5                 COMMISSIONER ARGENZIANO:  Okay.  Okay.

6       Thank you.

7                 CHAIRMAN CARTER:  Thank you.

8                 Commissioner Skop.

9                 COMMISSIONER SKOP:  Thank you,

10       Mr. Chairman.  I just want to go back to a previous

11       point I think that Commissioner Argenziano alluded

12       to.

13                 I guess with respect to the determination

14       of need, that also gives me some pause.  I think

15       that need for the proposed pipeline might be

16       justified on the basis of additional capacity

17       requirements, reliability of supply and increased

18       competition.  But how to best meet the need is a

19       more difficult question, because I think as has been

20       properly alluded to, FGT has stated that they may

21       have some excess capacity.  You know, certainly they

22       could do some other additional compression, looping

23       or what have you, to avoid the need to build a new

24       pipeline and still be able to serve the Canaveral

25       and Riviera plants.  But, again, the devil in the

FLORIDA PUBLIC SERVICE COMMISSION

95

1       details is, is who has the more accurate cost

2       estimate and what is the cost that the ratepayers

3       will incur for getting this gas to the two plants

4       that need it?

5                 And I think, you know, just in retrospect

6       I would have from my perspective felt a little bit

7       more comfortable -- I know as staff alluded to in

8       the need determination proceeding for the conversion

9       plants that there was still a need to have an

10       adequate supply of gas.  But if we're going to go

11       down this whole pipeline route, it might have been

12       more appropriate to have stated that idea up-front

13       instead of late in the game where you're, you're

14       branding it like EnergySecure, like we're going to

15       run out of gas if we don't approve this.

16                 So, again, I think it's important to look

17       at all possible alternatives.  So to Commissioner

18       Argenziano's point, you know, I don't think that

19       this should be at this point a determination of need

20       with respect to the pipeline because, again, there

21       may be an alternate more cost-effective alternative

22       that, you know, a competitor could provide.  And it

23       doesn't have to be FGT; it might be someone else.

24                 So it seems to me that, you know, in order

25       to, to -- and I think as Ms. Banks pointed out, the

FLORIDA PUBLIC SERVICE COMMISSION

96

1       proposed project is not cost-effective for the

2       ratepayers until at least 2031, and that assumes no

3       cost overruns.  And so there's somewhat of an

4       intergenerational inequity argument to be made, and

5       I think that also was discussed substantially at

6       hearing, to the extent you're asking current

7       ratepayers to bear the cost of something that

8       they're not going to see any real tangible benefit

9       because the break-even point is so far in the

10       future, you know, in 2031.

11                 So at least from my perspective -- again,

12       I want to have a comfort level.  This is a big

13       investment.  It's, you know, $1.5 billion plus.

14       It's on the same magnitude as, you know, some of the

15       other cases we're considering before the Commission.

16       And, you know, I think it deserves adequate scrutiny

17       to best protect the ratepayers.  And I'm not saying

18       that at the end of the day the pipeline may not be

19       the best proposal for Florida, but obviously there's

20       some limitations that have been addressed in

21       alternate staff's recommendation to the extent that,

22       you know, this is just a pipeline to serve FPL's

23       plant.  There's not real open access that would

24       normally happen in a, in a normal pipeline.

25       Certainly we need the supply.  FPL needs to have a

FLORIDA PUBLIC SERVICE COMMISSION

97

1       reliable supply of gas, and I don't dispute that at

2       all.  It's just how to best serve that need in the

3       most cost-effective way for consumers.

4                 And at least from my perspective having a

5       level playing field and making sure the solicitation

6       is appropriate for the scope of the project is

7       important to ascertaining the best possible cost.

8                 For instance, you know, when we built

9       nuclear submarines, we just didn't walk over to the

10       Navy and say we're going to build a nuclear

11       submarine.  We had a whole detailed specification as

12       to, you know, it's going to be, you know, this long

13       and this fast and all that good stuff.  But in the

14       same analogy, you'd want to know where the, the, you

15       know, the interconnect points would be and the end

16       points and what the sizing of the pipeline would be

17       and all the other things that go into that.

18                 So it seems to me, at least to ensure that

19       there's a level playing field and, you know, with

20       further definitization of solicitation, maybe even

21       opening it up to have more interconnection points so

22       it could serve the state as a whole as a state

23       asset, not just an FPL type asset, that perhaps

24       rebidding the project might improve the economics of

25       the proposed project, if any, whether it be looping

FLORIDA PUBLIC SERVICE COMMISSION

98

1       on FGT and not building a pipeline, or FPL's

2       pipeline itself, you know, rebidding that in an

3       open, competitive process might improve the

4       economics for the proposed project, whatever it may

5       be, for ratepayers to the extent that it could

6       potentially put downward pressure on the project

7       cost estimates.

8                 I mean, we're seeing something from FGT,

9       and I think that the primary recommendation says,

10       well, they can only, they only have this much excess

11       capacity, and they really didn't get into the

12       details of how they might be able to serve the

13       capacity requirements for the two conversion plants.

14       That's an important question for me because if you

15       can do it and adequately meet FPL's capacity

16       requirements at a lower possible cost, then that's

17       something that the Commission needs to consider.  It

18       may not be the best alternative even if it is the

19       lower possible cost, because, again, you want to

20       lend credence to the proposed additional capacity

21       that you might need on a forward-going basis.

22                 But I guess in these difficult economic

23       times we need to have all possible information to,

24       to make the best possible decisions.  And these, the

25       decision we're going to make in this, in this

FLORIDA PUBLIC SERVICE COMMISSION

99

1       particular need determination is going to affect

2       ratepayers for quite a long time, and there, there

3       are some substantial rate impacts based upon the

4       decision that we will make.  And I can fully

5       understand and appreciate FPL's position in wanting

6       to have a, as staff has characterized it, a gas

7       driveway to their plants, and that may be at the end

8       of the day the best choice.  But I don't know that

9       now because, again, I'd like to see perhaps a more

10       transparent and open bidding process to assure that

11       the Commission has the best possible options for

12       meeting the need and ensuring that the overall cost

13       to consumers is, is mitigated as, as far as

14       possible.

15                 So that's just my thoughts, Mr. Chairman.

16       I mean, like I say, I think we do need, definitely

17       need additional capacity for natural gas in the

18       state.  I mean, that's basic planning 101.  So I

19       understand that part.  I understand the, the

20       necessity of reliability of supply, but there's some

21       concerns there.  If you have an exclusive pipeline

22       and something happens to that pipeline, those plants

23       are dead in the water.  There's no additional

24       interconnect or looping or some of the things that

25       are mentioned expressly in the staff recommendation.

FLORIDA PUBLIC SERVICE COMMISSION

100

1                 But also just merely having competition is

2       a healthy thing for the State of Florida.  You have

3       two natural gas pipeline providers now and they have

4       a virtual monopoly.  So I can understand FPL's

5       desire wholeheartedly to try and do something to

6       bring a cost benefit to the ratepayers.  The problem

7       is when you make a capital investment of that

8       magnitude, the payback is not until far in the

9       future, and they're wanting to put it in rate base

10       and, and, as opposed to, I guess when we get to

11       Issue 11, putting it in a separate subsidiary or

12       having shareholders bear the risk.

13                 So, again, this is a complicated issue of

14       first impression that we're, we're facing here, and

15       it's an important one.  But I don't -- you know, I

16       want to make sure that I have the best possible

17       information such that I can make the best possible

18       choices as to what costs consumers will have to bear

19       and when they can expect to see benefit on the basis

20       of the decision we're going to be called upon to

21       make to ensure adequate and reliable gas supply for

22       baseload generation that needs to be built to serve

23       a customer load in the State of Florida.  So I just

24       wanted to kind of put that out there.

25                 And one additional point.  With respect to

FLORIDA PUBLIC SERVICE COMMISSION

101

1       release of excess capacity on FGT, and if I could

2       get some clarification of this, that's just

3       releasing the capacity.  But in effect isn't FPL

4       already paying for that firm fixed transport?  So

5       aren't we essentially paying for two things at once

6       to some degree on that incremental capacity?

7                 MS. BANKS:  They will -- I mean, they are

8       paying for that capacity.  And if they release that

9       capacity, that amount would be credited through the

10       fuel as they proposed.  However, they did admit it

11       is unlikely that they will get the full cost back of

12       what they paid for it.

13                 Primary staff on -- and I'm not sure if

14       they were primary or alternative, on what issue it

15       was, but their SGA staff has suggested that one

16       thing that you could do was have them justify why

17       they didn't get the full value.  You could do that

18       in a process through fuel and have them say that.

19                 Unfortunately when you release capacity,

20       it is temporary.  FP&L will need the capacity in the

21       future, so it's not a permanent release.  I'm going

22       to temporary release that to you.  And typically

23       when releases are done, everyone is releasing, so

24       your chances of getting very much money recouped

25       from that is fairly low.

FLORIDA PUBLIC SERVICE COMMISSION

102

1                 COMMISSIONER SKOP:  Okay.  So going back

2       to pipeline 101, which was -- again, you seem to

3       have a wealth of knowledge on interstate pipelines

4       and such like that.  But when you build, make a

5       decision to build a pipeline, you actually are

6       contracting in advance for firm capacity; is that

7       correct?

8                 MS. BANKS:  The shipper that's going to

9       use the capacity?

10                 COMMISSIONER SKOP:  Yes.

11                 MS. BANKS:  Yes, you will.  But a

12       precedent agreement, at some point when it becomes

13       more firm you actually have to lock into some money

14       up-front.

15                 COMMISSIONER SKOP:  Okay.

16                 MS. BANKS:  So that, you know, they have

17       some security or actually they're building it for a

18       need.  And then, yes, you'll be contracted for that

19       capacity over a long period of time typically,

20       usually 20, it can be 15, 20 or 30 years.

21                 COMMISSIONER SKOP:  Okay.  So in FPL's

22       case with respect to its capacity on the FGT

23       pipeline that's in question here, previously they've

24       contracted to have the bulk of that capacity for

25       their own given use; is that correct?

FLORIDA PUBLIC SERVICE COMMISSION

103

1                 MS. BANKS:  Yes.  And they probably have

2       several different contracts for different phases as

3       FGT has expanded over time.  But, yes, they have

4       contracts.

5                 COMMISSIONER SKOP:  Okay.  Okay.  Okay.

6       So that's, that's a sunk cost and bought and paid

7       for.  And anything that they would release, if I

8       understand you correctly, they might not be able to

9       get full market value or the full cost that

10       customers truly --

11                 MS. BANKS:  That's actually FGT -- I mean,

12       FP&L actually has that.  It is quoted in here.  It

13       is a statement they made; it would be unlikely to

14       get the full value back.

15                 COMMISSIONER SKOP:  So but customers or

16       consumers have already beared --

17                 MS. BROWN:  Yes, sir, they have.

18                 COMMISSIONER SKOP:  -- beared that cost,

19       or have already borne that cost.

20                 MS. BANKS:  It's going through the fuel

21       cost recovery.

22                 COMMISSIONER SKOP:  Okay.  All right.

23       Thank you.

24                 CHAIRMAN CARTER:  Thank you.  Cheryl, you

25       reminded me of something when you answered a

FLORIDA PUBLIC SERVICE COMMISSION

104

1       question earlier.

2                 I know that during the hearing I asked,

3       and I think it's probably going to come out in 11,

4       but I asked several of the witnesses to walk me

5       through the, the process of a separate entity.  I

6       don't know if you guys remember that or not.  But

7       during the, when the witnesses were testifying, I

8       asked them, I said, well, tell me about how this

9       would work.  And what triggered my thought is when

10       you talked about whether this should be in rate base

11       or not.

12                 If you have a separate entity, either

13       owned by FPL or whoever, that separate entity would

14       have to compete in the marketplace as a pipeline

15       company; correct?

16                 MS. BANKS:  That is correct.

17                 CHAIRMAN CARTER:  And the other thing is

18       that that separate entity, instead of having the

19       costs, construction costs borne by the ratepayers,

20       that entity itself would have to pay that.  We'd

21       just -- the ratepayers would be merely paying for

22       the fuels; correct?

23                 MS. BANKS:  That's correct.  It's, it's

24       interesting, this proposal has gone through, they

25       have proposed it as they're using the Henshaw

FLORIDA PUBLIC SERVICE COMMISSION

105

1       exemption, which is a statute that says, okay, if

2       you build an intrastate line and you, and there is

3       statute and there's regulations that the Commission

4       will actually actively regulate you in the state,

5       you can have, be regulated by the Florida Public

6       Service Commission rather than the FERC.

7                 What's important about that is that in

8       that statute it gives you the provisions of how

9       rates will be set.  For Florida there are provisions

10       that the rates are negotiated.  And as long as

11       they're not unduly discriminatory and they're arm's

12       length, those rates are considered to be acceptable.

13       That's a little -- that's one of the provisions in

14       Chapter 368.  And maybe Martha wants to expand on

15       that just a little more.  She's more familiar with

16       368.

17                 MS. BROWN:  Well, a little bit more.

18                 But I think we're sort of getting off your

19       question a little bit.  Your question was -- or your

20       statement was at the hearing you asked the witnesses

21       what it would mean to be a separate entity and, and

22       who would bear the risk.  And I think the testimony

23       was that the stockholders, the shareholders in the

24       separate entity would bear the risk, and the

25       ratepayers' exposure would be for the purchase of

FLORIDA PUBLIC SERVICE COMMISSION

106

1       the transmission capacity that would then go through

2       the fuel and purchased power cost recovery clause,

3       just like it does on FGT.

4                 CHAIRMAN CARTER:  Right.  So the one --

5                 MS. BROWN:  That would be the extent of

6       the ratepayers.

7                 CHAIRMAN CARTER:  Right.  So the

8       1.531 billion for the pipeline would be borne by

9       that separate entity.

10                 MS. BROWN:  Yes.

11                 CHAIRMAN CARTER:  As opposed to being

12       borne in the rate base.

13                 MS. BROWN:  Yes.  Of course that cost is

14       incorporated in the rates that the other entity

15       would charge, but they wouldn't specifically be

16       borne by the ratepayer and the ratepayer wouldn't be

17       paying a guaranteed rate of return on those

18       investments.

19                 CHAIRMAN CARTER:  Now here's, here's where

20       we loop back to Commissioner Argenziano's question

21       when we asked a question before about the

22       1.53 billion versus what FGT's bid was.  We're at

23       Issue 10 now, so where is that number so we can

24       compare apples to apples?  Because with FGT you'll

25       be buying the fuel.

FLORIDA PUBLIC SERVICE COMMISSION

107

1                 MR. BALLINGER:  You're buying both fuel

2       and capacity even from an affiliate.

3                 MS. BANKS:  Yes.

4                 MS. BROWN:  I think that's --

5                 MR. BALLINGER:  Cheryl --

6                 MS. BANKS:  I needed to clarify that.  I

7       was trying to clarify.  My mind goes 100 miles an

8       hour and I know what I'm thinking, but I didn't say

9       it clearly.

10                 CHAIRMAN CARTER:  Mine only goes two miles

11       an hour, so.

12                 MS. BANKS:  When you had asked me if it's

13       only the fuel costs, in my mind when I hear fuel

14       costs, it's a combination of the capacity and the

15       actual molecules.  But because they don't buy the

16       molecules of gas, the actual gas, the capacity is

17       what they buy from the pipeline entity.  The

18       molecules they buy from a producer.  But both those

19       components both go through the fuel clause.  So it's

20       not just the molecules, it's the amount they're

21       renting or the capacity they're renting on that, on

22       that pipeline.  I wanted to make sure it's not --

23       when you said fuel, I needed to make sure it's both

24       pieces.

25                 MR. BALLINGER:  I think it'd be fair to

FLORIDA PUBLIC SERVICE COMMISSION

108

1       say that the transportation rate charged by an

2       affiliate reflects the capital cost of the line to

3       recover --

4                 MS. BANKS:  That, that is correct.

5                 CHAIRMAN CARTER:  I still don't have, I

6       still don't have the answer to the question in the,

7       in the context of 1.53 billion for FPL's pipe, if

8       they built the pipeline themself, and that

9       1.53 billion would go into rate base versus the cost

10       of buying as they normally do through a, through a

11       pipeline for the fuel which would go through the

12       fuel clause.

13                 MR. GRAVES:  I think the bottom line is

14       shown on Page 40.  That's over the 40-year life.

15                 CHAIRMAN CARTER:  I'm looking.  What is

16       the bottom line?

17                 MR. BALLINGER:  Remember, this is the

18       difference in cost between the FPL EnergySecure line

19       and the FGT proposal.

20                 CHAIRMAN CARTER:  Right.  Right.

21                 MR. BALLINGER:  So it includes the capital

22       costs of both projects compared against one another

23       and the operation costs of both projects compared

24       against each other.

25                 CHAIRMAN CARTER:  Right.  We want to

FLORIDA PUBLIC SERVICE COMMISSION

109

1       compare apples to apples, so that's, that's the

2       basis of my question.  So what is the answer?

3                 MR. BALLINGER:  You're looking for the

4       actual cost of the FGT, the capital cost that went

5       into these numbers?

6                 CHAIRMAN CARTER:  Yeah.

7                 MR. BALLINGER:  Okay.  I just want to make

8       sure I understand the question.

9                 CHAIRMAN CARTER:  I'm saying here's the,

10       here's the thing is that, and, Commissioner, like

11       you said, by the time we got to Issue 10 we missed

12       it.  But when we were down on several issues before,

13       the question was asked about the 1.53 billion that

14       it would cost for the EnergySecure pipeline that

15       would go into rate base.

16                 The question is what is the cost for the

17       company purchasing, I'm saying fuel, but you know

18       what I mean when I say fuel, the transportation and

19       all like that, what is that cost to juxtapose that?

20       Because that won't be going in rate base, that'll be

21       coming out of the fuel clause.

22                 MR. BALLINGER:  I understand.  And I think

23       the transportation rate from FGT was confidential.

24       Am I correct, Robert, or not?  I mean it was

25       included in this analysis.  But I think the -- I

FLORIDA PUBLIC SERVICE COMMISSION

110

1       understand your question, what would be the capital

2       costs that would be recovered through the fuel

3       clause for the transportation rate if it were to be

4       the FGT or an affiliate line?

5                 MS. BROWN:  Well, but, Commissioner, I'm

6       not sure you, we have the information on a separate

7       entity that would be built, that pipeline.  We don't

8       know what those costs would be.  So the comparison

9       that's here in this recommendation is between what

10       FGT proposed --

11                 CHAIRMAN CARTER:  Which is you have a

12       recommendation on one hand where FPL says we'll

13       build this 380-mile pipeline that will provide fuel

14       to our plants, and there may be 200, capacity for

15       200 more over, for future use.  Then you have FGT

16       saying we can provide fuel to your plants based upon

17       our current iteration of the pipeline service with

18       just a matter of expanding what we have.  So I'm

19       saying that the cost versus the cost.  Going back to

20       Commissioner Argenziano's question initially when

21       we, before we got to Item 10, Issue 10 is that to

22       try to say how do we come up with a cost basis?

23       What is the best cost alternative?  Do you remember

24       that?  Do y'all remember that?

25                 MR. BALLINGER:  Yes.

FLORIDA PUBLIC SERVICE COMMISSION

111

1                 CHAIRMAN CARTER:  Okay.

2                 MR. BALLINGER:  I do.  We may have a

3       specific exhibit, but I think what you're looking

4       for is the individual revenue requirements required

5       for each project each year that gets you to this end

6       result of a net present value.  This is the

7       summation of the end result.  But you're looking for

8       the, the cost of the project in terms of revenue

9       requirements that they provided.  I think I

10       understand it.

11                 CHAIRMAN CARTER:  Okay.

12                 MR. BALLINGER:  Perhaps if we took a few

13       minutes break, we might be able to round this up.

14                 CHAIRMAN CARTER:  Okay.  Let's do this,

15       Commissioners, let's take -- we'll come back at ten

16       after.

17          (Recess taken.)

18                 We are back on the record.  And in order

19       to give staff an opportunity to research the issues

20       and come back to us, Commissioners, we're going to

21       go ahead on and take our lunch break and we'll come

22       back at 2:30.

23          (Recess taken.)

24                 CHAIRMAN CARTER:  We are back on the

25       record.  And when we last left staff was putting

FLORIDA PUBLIC SERVICE COMMISSION

112

1       together some information for us, Commissioner.

2                 Robert, I think you're up.

3                 MR. GRAVES:  Thank you, Chairman.

4                 What we have handed out is a packet to

5       show how we came down to the numbers on the Table 1

6       on Page 40.  And it's the annual revenue

7       requirements for FPL's system with the EnergySecure

8       pipeline, that's on your first page.  On the second

9       page is the revenue requirements for FPL's system

10       with the company -- excuse me, with FGT's proposal.

11       And the last page is a graphical representation of

12       those numbers.

13                 And the way the graph reads is in the

14       early years where the graph is negative, that shows

15       that FGT's proposal is more cost-effective in those

16       years.  As you go out -- and I'll use, I guess, the

17       base case as an example.  Once it crosses zero in

18       roughly 2040, that's when the customers will see the

19       savings on a cumulative basis for the EnergySecure

20       pipeline.  And this is --

21                 CHAIRMAN CARTER:  Are you done, Robert?

22                 MR. GRAVES:  Well, I was just going to say

23       and this is the summation of all the costs that

24       would go into either project, the FGT -- accepting

25       FGT's proposal or the FPL EnergySecure pipeline.

FLORIDA PUBLIC SERVICE COMMISSION

113

1                 CHAIRMAN CARTER:  Okay.  Commissioner

2       Skop, you're recognized.

3                 COMMISSIONER SKOP:  Thank you, Mr.

4       Chairman.  Just one follow-up question, or actually

5       two follow-up questions on that.  And I appreciate

6       you putting it in the graphical format.  I think

7       that might have been what we were looking at during

8       the hearing.

9                 On Page 40, the second to last paragraph

10       at the bottom of the page, looking at this chart and

11       comparing that to the paragraph, is it correct to

12       understand that under the base case scenario that

13       there will be no net present value savings to the

14       consumers until approximately 2040, and then

15       assuming the cost estimate, the expected savings

16       through 2053 is only $200 million, is that correct?

17                 MR. GRAVES:  Yes, sir.  And that's on a

18       cumulative basis.  They would actually see annual

19       savings when the graph, I guess --

20                 COMMISSIONER SKOP:  Okay.  And with

21       respect to the base case, that's just based upon the

22       projected cost estimate of approximately

23       $1.53 billion.  That would not include any cost

24       overruns or anything like that, is that correct?

25                 MR. GRAVES:  No, sir.

FLORIDA PUBLIC SERVICE COMMISSION

114

1                 COMMISSIONER SKOP:  So if there were cost

2       overruns, how would this graph change?  Would the

3       economics deteriorate in terms of the present value

4       requirements or would it be a longer period before

5       you would see payback?

6                 MR. GRAVES:  That's correct.  If there

7       were cost overruns, you would see the break-even

8       date of 2040 pushed out.

9                 MR. BALLINGER:  I think I disagree with

10       Mr. Graves.  I think if you had a cost overrun

11       because of material costs it would be the same for

12       either project, so your relative difference would

13       stay about the same.  Remember, these are relative

14       cost differences between two projects, not a cost.

15                 COMMISSIONER SKOP:  But you say either

16       project, and with respect to the EnergySecure

17       project that is a physical brand new pipeline; but

18       with respect to meeting need for the modernization

19       plants that may not -- may or may not require

20       construction of a physical pipeline, is that

21       correct?

22                 MR. BALLINGER:  But I think the out years

23       require some additional infrastructure.  FPL's gas

24       needs increase.  It wasn't just the FGT proposal for

25       the first 400 Mcf.

FLORIDA PUBLIC SERVICE COMMISSION

115

1                 COMMISSIONER SKOP:  Okay.

2                 MR. BALLINGER:  So there would be

3       additional infrastructure down the road.  So I can't

4       say definitively that if there were cost overruns

5       for the one project they would not also happen for

6       other projects.

7                 COMMISSIONER SKOP:  Okay.  But it's not an

8       apples-to-apples comparison until you need that

9       incremental capacity.  For serving the 400 Bcf

10       that's necessary for the modernization plants within

11       the near term, that could be reasonably accomplished

12       by one or more options, and one of the options

13       certainly would be building the proposed

14       EnergySecure pipeline.

15                 MR. BALLINGER:  Correct.

16                 COMMISSIONER SKOP:  The other option might

17       be having FGT do some sort of looping or additional

18       compression that would not require a pipeline, is

19       that correct?

20                 MR. BALLINGER:  Correct.  But this

21       analysis goes well beyond that and includes

22       additions.  It doesn't give you the analysis of

23       stopping at 2014 and holding the gas needs flat.

24                 COMMISSIONER SKOP:  Okay.  But there is

25       some benefit to having additional capacity within

FLORIDA PUBLIC SERVICE COMMISSION

116

1       the forecast period for additional base load

2       generation that will come on-line at some

3       predetermined date.  I think 2021 is the forecast

4       within the staff recommendation, is that correct?

5                 MR. BALLINGER:  Yes.  I think part of the

6       benefit of this is having that capacity available as

7       you grow into it.

8                 COMMISSIONER SKOP:  Thank you.

9                 CHAIRMAN CARTER:  Thank you.

10                 MR. TRAPP:  Chairman, could I also

11       interject?

12                 CHAIRMAN CARTER:  Bob Trapp.

13                 MR. TRAPP:  You know, I'm not sure that we

14       are giving full examination to the chart that is on

15       Page 40.  We have talked a lot today about the risk

16       associated with cost overruns and forecasts not

17       materializing and things of that nature, but I think

18       you also need to pay attention to the right hand

19       column in this chart, and this has to do with the

20       nuclear delay case.

21                 It's a scenario that says what happens if

22       something happens to the -- you know, we're probably

23       first in the nation to test the new era of nuclear.

24       There's a lot of risk associated with whether or not

25       those nuclear power plants are going to be able to

FLORIDA PUBLIC SERVICE COMMISSION

117

1       come on-line in the time that was estimated at the

2       time of the need determinations.  So in their

3       analysis, Florida Power and Light has also done

4       cases that looks at a nuclear delay that would

5       necessitate advancing gas plants into their plan.

6       That's a legitimate scenario analysis as far as

7       staff is concerned, and that shows considerable more

8       savings to the consumer should a contingency like

9       that occur.

10                 Again, seven out of these eight -- excuse

11       me, yes, seven out of eight cases show that this

12       particular project is more cost-effective over its

13       lifetime than the alternative of FGT's comparable

14       orange-to-orange comparison.

15                 Only in the case of the decreased load

16       growth, which basically assumes that we're going to

17       stay in a recessional state for some period of time

18       is there a negative, and that negative, quite

19       frankly, is so small as to be insignificant.

20                 CHAIRMAN CARTER:  Okay.

21                 Commissioner Argenziano, did you have a

22       question?  Should I go to Commissioner Skop and come

23       back to you?

24                 COMMISSIONER ARGENZIANO:  Yes.

25                 CHAIRMAN CARTER:  Commissioner Skop,

FLORIDA PUBLIC SERVICE COMMISSION

118

1       you're recognized.

2                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

3                 To Mr. Trapp's point, which is well taken,

4       in terms of the scenario that was used, was the base

5       case the primary scenario that was run, or refresh

6       my memory in terms -- the hearing has been quite a

7       long time ago.

8                 MR. BALLINGER:  Yes.  Your base case is

9       the, I guess, I want to say most likely to occur,

10       and then we ran sensitivities off of that.

11                 COMMISSIONER SKOP:  Okay.  So looking at

12       the nuclear delay scenario, and, again, I think the

13       projected in-service dates were 2020, 2021, 2019,

14       something like that for the Turkey Point 6 and 7

15       units that were previously approved by the

16       Commission for a need determination.  But following

17       the curve showing the present value revenue

18       requirements for the nuclear delay scenario, I guess

19       the present value revenue requirement would not

20       become positive or reach that inflection point until

21       approximately 2032, is that correct?

22                 MR. BALLINGER:  That's correct.  You would

23       start seeing annual savings about 2017 when the gas

24       plant got advanced because of the nuclear delay, and

25       those annual savings then would accumulate over time

FLORIDA PUBLIC SERVICE COMMISSION

119

1       and have a net cumulative effect about 2031 it looks

2       like.

3                 COMMISSIONER SKOP:  Okay.  So between the

4       current period, 2012 or 2013, you know, during the

5       construction period that has AFUDC and then

6       construction of the pipeline, customers would

7       essentially pay for the construction of the pipeline

8       and then the break-even point would shift to the

9       left by approximately ten years, is that correct?

10                 MR. BALLINGER:  Correct.

11                 COMMISSIONER SKOP:  Okay.  And in terms of

12       the recognized savings in the nuclear delay

13       scenario, the cumulative present value revenue

14       requirement, if I look at this chart correctly,

15       would approximately be $500 million in 2009 dollars

16       as opposed to the 200 million savings under the base

17       case scenario, is that correct?

18                 MR. BALLINGER:  Correct.  That's on Page

19       40.

20                 COMMISSIONER SKOP:  All right.  Thank you.

21                 CHAIRMAN CARTER:  Thank you, Commissioner.

22                 Do you have any questions?  I am looking

23       at both of these charts.  It's never a good idea to

24       think out loud for me, but, hey, I'm in it right

25       now.

FLORIDA PUBLIC SERVICE COMMISSION

120

1                 Looking at both of these charts, is there

2       a bottom line to each that I can find from -- and I

3       know they both go to 2053.  Is there a bottom line

4       that I can juxtapose between Scenario A and Scenario

5       B, the base scenario for Company B?

6                 MR. BALLINGER:  I think we can sum it up

7       as you have got -- anytime we look at a need

8       determination you want to look at sensitivities to

9       get an idea, because we don't know precisely what

10       the costs are going to be.  So we have to test

11       ranges.  We look at ranges of fuel forecasts and

12       load forecasts, so this is not foreign to us.  We

13       tend to look at how much can things change in the

14       future and it still looks like it's going to be a

15       good deal.  And as Bob said earlier, it looks like

16       seven out of the eight scenarios we studied it looks

17       like it shows a positive benefit.

18                 If I could, I'd like to explain the other

19       sensitivities and give you a feel for what we are

20       looking at.  I am on Page 40 in that table.  The FGT

21       March proposal under the base case scenario, which

22       means all the base load forecasts and all of that

23       and the only thing that changed was FGT submitted an

24       unsolicited proposal in March right before FPL

25       filed.  It wasn't part of the RFP or the

FLORIDA PUBLIC SERVICE COMMISSION

121

1       solicitation process.

2                 As discussed in the recommendation, FPL

3       had some concerns with that request or that

4       proposal, but they evaluated it anyway straight up,

5       and it showed that the EnergySecure Line was still

6       $26 million more cost-effective.  Now, that's

7       getting marginal in the out years, but there were

8       some concerns.  One of it being that the cost of

9       material in the FGT proposal was a big portion of

10       that.  That same decrease in cost of material was

11       not applied to the EnergySecure line.  So in my

12       mind, like we talked earlier, if materials drop they

13       are going to drop for all, and I think the relative

14       difference would be about the same.

15                 That same proposal was compared to the

16       nuclear delay scenario, and, again, you see

17       significant savings with the nuclear delay.  And as

18       you will see throughout this, what this really tells

19       you is that this pipeline is a good hedge for the

20       nuclear delay scenario, if that happens.  If the NRC

21       decides to drag its heels or for whatever the

22       permitting takes a year or two longer, FPL with the

23       EnergySecure line has got -- the benefits come that

24       much sooner to it.

25                 The cost of capital sensitivity, staff

FLORIDA PUBLIC SERVICE COMMISSION

122

1       asked the utility as discussed earlier I think by

2       Mr. Springer, their original economic analysis had

3       an ROE of 11.75, and staff is aware they had a rate

4       case in here asking for 12.5 ROE, and we wanted to

5       see what the effect of cost of capital would do

6       since this is a capital intensive project.  As you

7       can see, going to a higher ROE of 12.5 percent

8       lowers the cost-effectiveness of the project

9       significantly, by almost $150 million on a present

10       value basis.  Okay.  Still under the nuclear delay

11       scenario, there is $344 million of savings even with

12       the 12.5 ROE.  That's what that sensitivity line is

13       for.

14                 And then the final line of the decreased

15       load growth was taking the University of Florida's

16       low load growth that was projected out there, you

17       heard earlier discussions on Issue 1 about the load

18       growth or load forecast, which one do we use.  Staff

19       has come to the conclusion that the adjustments FPL

20       made were okay.  However, we looked at the

21       sensitivity.  What if you did use the lower end of

22       the University of Florida's growth.  That shows

23       under your other base case assumptions, everything

24       else held constant, just the load growth change,

25       it's a net cost of the EnergySecure pipeline

FLORIDA PUBLIC SERVICE COMMISSION

123

1       compared to FGT of almost $7 million.  So it's about

2       a break even, even under that low load forecast that

3       we don't need the gas until way out in the future.

4                 Again, under the nuclear delay scenario

5       you still have $100 million of projected benefits.

6       So that is just a quick walk-through of that table

7       of what we look at.  So in staff's mind in the

8       primary is there is a lot of flexibility in this

9       thing.  A lot of what-ifs can happen and still show

10       that this project looks like the best deal.  And,

11       again, we are charged with making a decision today

12       based on the facts we know today for something that

13       is going to happen in the future, so we try to test

14       the reasonableness of what's going to happen.

15                 CHAIRMAN CARTER:  Commissioner Skop.

16                 COMMISSIONER SKOP:  Thank you, Mr.

17       Chairman.  I know on Page 40 it shows, I guess, a

18       sensitivity matrix, but I guess I'd like to refer

19       back to the present value revenue requirement chart

20       because, again, that to me shows three sensitivity

21       analyses that have been run, one for the base case,

22       one for the assumption of a nuclear delay, and one

23       based on reduced UF-based load growth.

24                 MR. BALLINGER:  Correct.  This would give

25       you the numbers -- back on Table 40, the base case

FLORIDA PUBLIC SERVICE COMMISSION

124

1       of 208, the nuclear delay of 513, and the decreased

2       load growth of negative seven.

3                 COMMISSIONER SKOP:  Okay.

4                 MR. BALLINGER:  We have charts that do all

5       these other sensitivities.  I didn't want to freak

6       you out with a bunch of graphs.

7                 COMMISSIONER SKOP:  I guess to me what is

8       somewhat instructive and clearer than the table on

9       Page 40 is seeing the graphical representation

10       before us with the three lines and showing the

11       effect of what scenario may be more predominant than

12       another.  But with respect to the base case, I think

13       as you previously mentioned, the inflection point

14       for showing positive present value to consumers

15       would not occur until 2040, is that correct?

16                 MR. BALLINGER:  Correct, on a cumulative

17       basis.

18                 COMMISSIONER SKOP:  Okay.  And with the

19       nuclear delay, the curve shifts to the left and so

20       consumers will not see present value benefit until

21       approximately 2031, is that correct?

22                 MR. BALLINGER:  Correct.  And as discussed

23       this is not uncommon for capital intensive projects.

24                 COMMISSIONER SKOP:  Okay.  And with

25       respect which is the UF-based load growth, which is

FLORIDA PUBLIC SERVICE COMMISSION

125

1       the pink line, I believe, does that cross the line

2       in 2053 or even show positive?

3                 MR. BALLINGER:  No, it would be a negative

4       seven as in the table here.  And all the other

5       scenarios that are on this table would fall between

6       the green line and the pink line to give you a feel.

7                 COMMISSIONER SKOP:  Okay.  Let's take the

8       green line, which based on these lines is the

9       most -- the green line appears to be the most

10       favorable for consumers to the extent that the

11       payback begins to materialize in 2031, and then it

12       shows approximately $500 million of cumulative

13       present value revenue requirement, if I'm reading

14       this correctly.

15                 Assuming we take that particular scenario,

16       which, again, is not the base case, but just for the

17       sake of discussion, if we took the nuclear delay

18       scenario, how would the primary staff recommendation

19       address the concerns raised by alternate staff as to

20       open access on the pipeline as well as the

21       intergenerational inequity argument to the extent

22       that consumers would be paying from 2012 until

23       approximately -- or actually paying more from 2012

24       to approximately 2031 before they started to see

25       some benefit?

FLORIDA PUBLIC SERVICE COMMISSION

126

1                 MR. BALLINGER:  Okay.  I'll take it in two

2       parts.  First, the open access.  Part of FPL's

3       filing is that they would -- this pipeline would

4       allow them to do two things, capacity releases of

5       existing FGT capacity which they are doing today,

6       which are short term interruptible releases of gas

7       transportation capacity, and they also requested

8       that they be allowed to make third-party sales,

9       direct sales out of this line, ala open access.

10       That's the contention we have in Issues 14, 11, and

11       13, would those sales result in regulation under 368

12       or 366.  That's a little nuance.

13                 What I would like to point out is all of

14       these analyses do not include those additional

15       revenues that would be gained from those sales.

16                 COMMISSIONER SKOP:  Okay.

17                 MR. BALLINGER:  They were probably going

18       to be minor in nature, they weren't included in the

19       cost-effectiveness, so in my mind they are the gravy

20       on the mashed potatoes.

21                 COMMISSIONER SKOP:  That's the point I

22       want to flesh out a little bit more with respect to

23       the off-system sales with the capacity release.  If

24       I understand, and alternate staff jump in if I'm

25       wrong on this, but with respect to the

FLORIDA PUBLIC SERVICE COMMISSION

127

1       proposed pipeline, the one that FPL would build,

2       there is no open access on that pipeline, per se,

3       it's, you know, interconnected only to the FPL

4       plants for the most practical purposes, whereas the

5       only open access would be the release of firm

6       capacity that FPL ratepayers have already paid for

7       on FGT of which any additional revenue might be

8       negligible based upon the fact that -- some of the

9       things that we have heard here this morning.

10                 MR. TRAPP:  Let me jump in at this point

11       and at least give you my perspective with respect to

12       your question.  I think your question goes right to

13       does Florida Power and Light need an open access

14       transmission pipeline?  No, they don't.  They need

15       gas transportation to their power plants.  That is

16       the petition before you, to build a gas pipeline to

17       their power plants that they will own and operate.

18       It happens that in the projections for the sizing

19       and the planning for the sizing of the pipeline,

20       they are sizing it at 600 million Btu per day

21       capacity for the initial construction of a 30-inch

22       pipeline.

23                 What will that get us?  That will,

24       according to the testimony, supply the Cape

25       Canaveral and Riviera needs in the 2013/14 time

FLORIDA PUBLIC SERVICE COMMISSION

128

1       frame.  It will provide, depending on what happens

2       with the nuclear power plants, potentially based on

3       the estimates in the record, a three to seven-year

4       temporary surplus of pipeline capacity for which the

5       company has stated in the record they will use that

6       capacity.  It won't be idle, it won't be just

7       sitting there.

8                 They are going to utilize that capacity

9       for three things.  One is to provide contingency

10       backup should something happen with a hurricane, or

11       weather, or whatever.  They have that capacity to

12       weather that.  Two, they will use it to economically

13       dispatch their electrical system.  That's what this

14       gas release is all about, it's basically picking the

15       most economical gas transportation to the existing

16       system out there beyond Canaveral and Riviera.  And,

17       third, to the extent that they can, and, quite

18       frankly, in my opinion, the record is a little

19       doubtful as to whether or not there is a market for

20       nonfirm temporary gas transportation in that three

21       to seven-year time period.  After that time period,

22       however, the current forecasts indicate that Power

23       and Light is going to be a gas-run electric utility

24       and they are going to need to build more gas power

25       plants.  That pipeline will be 100 percent fully

FLORIDA PUBLIC SERVICE COMMISSION

129

1       utilized to supply electric power plant generation

2       in Power and Light's system.  They don't need an

3       open access.

4                 Open access means you are going to compete

5       with other utilities in Florida for the supply of

6       gas.  Power and Light needs this gas.  Power and

7       Light wants to build a pipeline to get that gas, and

8       that's my take on this whole project.

9                 CHAIRMAN CARTER:  Commissioner, yield for

10       a moment, please, so I can get Commissioner

11       Argenziano.  I will come back to you, Commissioner.

12                 Commissioner Argenziano.

13                 COMMISSIONER ARGENZIANO:  Just to that

14       point, and I understand Florida Power and Light

15       needing that to fulfill their own needs, but I think

16       they also are indicating that it would be a benefit

17       to the whole state for open access to -- but very

18       limited.  So in one hand -- I hear what you're

19       saying, but I hear them lauding the capability of

20       this pipeline to be used for open access to a

21       certain degree, isn't that true?

22                 MR. TRAPP:  There's no doubt that the

23       state has relied on open access transmission

24       pipelines to date to provide its gas.  The current

25       FGT system provides 63 percent of Florida Power and

FLORIDA PUBLIC SERVICE COMMISSION

130

1       Light's current gas.  If FGT were to build this

2       project to supply the next increment of Power and

3       Light's gas, it takes it up to 80-something percent

4       dependency on FGT.  That to me indicates there are

5       certain competitive advantages for Florida Power and

6       Light to basically compete with FGT for market

7       share.

8                 That to me has a benefit to the state

9       because it signals other utilities of the state

10       that, hey, maybe we don't have to rely on these

11       FERC-regulated open access build it

12       if-and-when-we-come type of lines.  So I think to me

13       it is kind of six of one and half a dozen of the

14       other whether you put dependency upon open access

15       being beneficial to the state relative to building a

16       locked down, I control it, kind of rent versus own

17       pipeline to Power and Light.

18                 COMMISSIONER ARGENZIANO:  And I --

19                 MS. BROWN:  Commissioner, if I might just

20       break in here for a minute.  We are going to discuss

21       this more in another issue.

22                 COMMISSIONER ARGENZIANO:  Okay.  And I'll

23       look forward to that.  And I understand that, and

24       I'm really trying to grasp that because the company

25       is saying, look, I could do this.  We don't have to

FLORIDA PUBLIC SERVICE COMMISSION

131

1       be reliant upon anybody.  We could do it.  We could

2       do it a better price and better for the consumer.

3       Great.

4                 There are, of course, some concerns with

5       some lack of specificity and whether there really is

6       the cost-effectiveness that we are banking on in the

7       FPL scenario as Alternative 1.  The primary

8       alternative is saying -- the secondary alternative,

9       or whatever we call it, Alternative 2 is saying

10       maybe that's not so.  So that brings a question.

11       And I understand that, I understand that the company

12       may want to do that.

13                 But let me ask another question, and it

14       may not fit in here but somewhere down the line

15       before I forget it, and it's simple as probably can

16       be when we get to the end of all of this to decide

17       which is the best way to go.

18                 Under the scenario of the company having

19       the pipeline, you know, going into rate base rather

20       than a separate subsidiary.  If the pipeline is not

21       in rate base and it is under a separate entity, or

22       it goes more to the shareholder, or to the fuel

23       clause where I guess there is no profit then made on

24       that part of the building of the pipeline --

25                 MR. TRAPP:  No, ma'am.  It's rent versus

FLORIDA PUBLIC SERVICE COMMISSION

132

1       own.  You're going to pay.  It is either going to

2       flow through the fuel adjustment clause or the

3       customer.  But the cost of a pipeline is the cost of

4       a pipeline and whether you, you know, rent that

5       capacity, you're going pay the landowner for his

6       total cost of the property plus taxes, insurance

7       profit, and everything else.  That's going to be in

8       the rate you pay.

9                 COMMISSIONER ARGENZIANO:  But now if the

10       shareholder -- if it moves to the -- the pipeline is

11       a separate subsidiary -- let me see if I have got

12       this right -- and the shareholder shares

13       responsibility and risk in that, does that then

14       create -- I don't know if it would create -- what

15       word am I looking for?  Would it create more of a

16       scrutiny because the shareholder now is, you know,

17       I'm going to lose bucks rather than it all being on

18       the ratepayer where maybe there is -- and I know

19       that is iffy, but it is a question that comes to

20       mind.

21                 MR. BALLINGER:  I think what you get is

22       what has developed in the gas pipeline is building

23       the capacity that is needed in steps and not having

24       this infrastructure in place for a temporary window

25       of three to seven years of excess and controlling.

FLORIDA PUBLIC SERVICE COMMISSION

133

1       You will get to where the companies will build just

2       what is requested by the buyers, the utilities out

3       there, and not really building excess to then market

4       competitively.  They gauge their risk of the capital

5       that they expend.  They look at I'm going to build

6       just enough pipe that I need to meet the needs out

7       there of the customers who have signed agreements.

8       Unlike an electric utility who has to project load

9       and has to serve everybody who shows up regardless,

10       the gas industry is looking at contracts, and FPL is

11       saying, okay, I need 20 years worth of gas at this

12       much and they know how much it is.  They have a

13       fixed load that they know they can build for, so

14       it's slightly different.

15                 MS. BANKS:  Cheryl Banks --

16                 MR. TRAPP:  And addressed in another

17       issue, staff has offered what we think the

18       regulatory protections are that the Commission has

19       used in the past and is available in the future with

20       regard to making sure that Florida Power and Light

21       prudently recovers only that cost that they should

22       recover from the ratepayers.

23                 If the line is used, they should recover

24       the cost.  If there is excess in the line, they

25       should do everything humanly possible to sell or use

FLORIDA PUBLIC SERVICE COMMISSION

134

1       that -- find some other way to use that capacity and

2       get revenues to offset to the ratepayers.  And it's

3       this Commission's responsibility to scrutinize that

4       and make sure that they justify any difference

5       between the fully allocated cost of that line and

6       whatever they get in terms of revenues from

7       off-system sales.  But, again, that's another issue.

8                 MS. BROWN:  And, Commissioner Argenziano,

9       the alternate staff will have the opportunity to

10       present their position on that matter going forward.

11                 COMMISSIONER ARGENZIANO:  Okay.  When we

12       get to that I would appreciate that, to hear both

13       sides okay.  I will just wait until that time, and

14       I'll write some questions down.

15                 CHAIRMAN CARTER:  Okay.  Commissioner

16       Skop.

17                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

18                 Just some follow-up questions with respect

19       to capacity release.  I guess isn't the notion of

20       capacity release effectively asking consumers to pay

21       for redundant capacity for the three to seven years

22       that there would be excess capacity?

23                 MR. BALLINGER:  But that is happening

24       today.  There is excess gas transportation capacity

25       today that FPL does and sometimes they temporarily

FLORIDA PUBLIC SERVICE COMMISSION

135

1       release capacity when it is economic.

2                 COMMISSIONER SKOP:  But they need that to

3       meet their needs.  You're talking about future

4       additions to meet some needs that are not fully

5       subscribed at this point.

6                 MR. BALLINGER:  When they secured the gas

7       requirements they look at running their plants full

8       load.  They have to have enough gas to be able to

9       run them full out.  If the electric load is not

10       there, they don't run the plants full out, they have

11       some transportation capacity to release.

12                 COMMISSIONER SKOP:  I understand that.

13       But, again, I'm trying to stay apples-to-apples so I

14       can have a better perspective and understanding

15       about this, and we seem to be diverting to apples

16       and oranges.

17                 With the existing capacity that has been

18       subscribed to, which is firm capacity, that's to

19       enable FPL to operate all of its plants based on its

20       gas requirements at full load, and then obviously

21       you have to size to maximum requirement.

22                 MR. BALLINGER:  Uh-huh.

23                 COMMISSIONER SKOP:  Okay.  And that has

24       been done.  I have no problem with that.  That's the

25       prudent thing to do.  But in the proposed project,

FLORIDA PUBLIC SERVICE COMMISSION

136

1       the initial requirement is 400 Mcf for the Riviera

2       Beach and the Canaveral conversion plans, and that

3       will be through 2014, and I don't think we have

4       another gas plant coming on until 2021.  So you have

5       200 Mcf of additional incremental capacity.  That's

6       firm capacity that the ratepayers are paying for,

7       but on the same side you also have additional

8       capacity that they are going to directly free up

9       when they are able to do so, but you are

10       essentially -- it's redundant capacity at that point

11       because you have excess capacity and it's not fully

12       subscribed or needed.

13                 MR. TRAPP:  But, Commissioner, look at the

14       deal.  How much did it cost to get that 400 to 600

15       move in terms of capital?  $15 million.  The record

16       in this case shows, and I think it was this past

17       year, Power and Light recouped $3 million in annual

18       revenue associated with existing capacity release.

19       So it's a great deal.

20                 COMMISSIONER SKOP:  I am not trying to

21       engage in an argument.  I'm trying to better

22       understand the position of primary staff and

23       alternate staff on the issues, okay?  Because,

24       again, there has been some concern about capacity

25       release as a potential revenue benefit to make the

FLORIDA PUBLIC SERVICE COMMISSION

137

1       economics better.  But, again, I'm hearing two

2       different sides.

3                 You know, primary staff is saying it's a

4       benefit.  Alternate staff is saying, well, there is

5       no real revenue that is going to result from that

6       because when capacity is released everyone is

7       releasing capacity.  So, again, I'm trying to

8       discern or separate the wheat from the chaff.

9                 MR. BALLINGER:  Exactly.  And what I want

10       to point out is what Bob said, the 200 additional

11       Mcf of transportation capacity comes at a cost of

12       about $15 million for some compression facilities.

13       In later issues we talk about a ratemaking procedure

14       you can do to remove that 15 million from base rates

15       if you want to cover the incremental cost.  There is

16       a variety of things you can do to lessen the amount

17       in rate base.

18                 Aside from that, the 200 excess can be

19       used for reliability purposes at Martin if there is

20       a problem on the FGT line or whatever.  And I forgot

21       the last thing I was going to say.

22                 COMMISSIONER SKOP:  To that 15 million --

23                 MR. BALLINGER:  Oh, I'm sorry, I know what

24       it was.  That the revenues for these releases were

25       not included in this cost-effectiveness analysis.

FLORIDA PUBLIC SERVICE COMMISSION

138

1                 COMMISSIONER SKOP:  Okay.  And that's the

2       base case.

3                 MR. BALLINGER:  In all these scenarios we

4       included no revenues for any off-system sales or

5       capacity releases.  So those would be extra revenues

6       that would enhance the cost-effectiveness.  If it's

7       a dollar --

8                 COMMISSIONER SKOP:  With respect to the

9       cost of the incremental capacity of building a

10       pipeline of, I guess, 600 Mcf versus the 400 that is

11       needed, is that incremental cost, because I thought

12       I heard two numbers, and I haven't been able to

13       track it down.  But I thought I heard 15 million and

14       then later in the hearing I thought I heard

15       150 million, so I'm wondering which is the correct

16       number there?

17                 MR. BALLINGER:  The 15 million.

18                 COMMISSIONER SKOP:  Okay.  And what page

19       is that on?

20                 MR. BALLINGER:  Robert, help me out here.

21       Maybe the $150 million comes from the nuclear delay

22       reduction.  I could have sworn it was in Issue 10,

23       and I'm scanning through here to find it.

24                 MR. GRAVES:  Page 13.

25                 CHAIRMAN CARTER:  Say again?

FLORIDA PUBLIC SERVICE COMMISSION

139

1                 MR. GRAVES:  Page 13, the second to last

2       paragraph.

3                 MR. BALLINGER:  Yes.  It's on Page 56,

4       Commissioner, I'm sorry.

5                 COMMISSIONER SKOP:  And just so you know,

6       I mean, I thought during the hearing that's the

7       first number I heard, but then subsequently I

8       thought that I might have heard 150.  So, again, I

9       was trying to get some --

10                 MR. BALLINGER:  And that's where we talked

11       about the alternative ratemaking treatments, that is

12       where we brought it up.

13                 COMMISSIONER SKOP:  All right.  Let me

14       move on to my other questions.  I think this has

15       already been touched upon by a question that

16       Commissioner Argenziano presented about, you know,

17       why the need to put this in rate base, which I

18       believe is Issue 11.  But is it correct to

19       understand that FPL has stated in the record that if

20       this is not put in rate base it would not build the

21       pipeline?

22                 MR. BALLINGER:  I believe so.  I believe

23       that was their contention.

24                 COMMISSIONER SKOP:  Okay.  All right.  And

25       one other technical question with respect to the

FLORIDA PUBLIC SERVICE COMMISSION

140

1       proposed pipeline, which is not open access, but

2       merely serves the three FPL plants, how does that

3       enhance reliability if that's not interconnected

4       with any other pipeline?  For instance, if there

5       were a pipe failure, all three of those plants are

6       effectively kind of forced to use alternate fuel,

7       right?

8                 MS. BANKS:  That's actually Issue 3 that

9       we can go into.  We can address it now.

10                 COMMISSIONER SKOP:  No, we'll go back to

11       Issue 3 if we need to.

12                 CHAIRMAN CARTER:  That's the next one.  We

13       are on 10 now, we will go back to 3.

14                 COMMISSIONER SKOP:  That's fine.  Just two

15       more questions, Mr. Chair.  On Page 6 of the staff

16       recommendation in relation to the incremental

17       capacity, how would primary staff rebut the FGT

18       contention that FPL is asking for the 600 Mcf

19       initial capacity because the capacity is basically

20       benchmarked to the upstream pipeline provider, and

21       that was the smallest that the upstream pipeline was

22       willing to build?

23                 MR. BALLINGER:  I don't know that that was

24       determined during the hearing.  FPL's solicitation

25       asked for 400, 600, and 800 Mcf, I believe, per day

FLORIDA PUBLIC SERVICE COMMISSION

141

1       bids from a variety of people.  They got a pure

2       interstate proposal that came all the way from out

3       of state down to the plants, they got the Company E

4       proposal, which was just an interstate portion down

5       to the commencement point of this line, and the

6       total interstate one was the FGT proposal.

7                 COMMISSIONER SKOP:  Okay.  So now that we

8       know for all practical purposes that the FPL

9       proposed pipeline, the intrastate pipeline is sized

10       for 600 Mcf, why would it not be appropriate to

11       further definitize the solicitation and seek the

12       best price on that particular option?

13                 MR. BALLINGER:  I would suggest they did

14       because they asked for 400, 600, and 800 Mcf bids.

15                 COMMISSIONER SKOP:  But, I mean, that's

16       kind of open-ended.  That's not very, you know,

17       specific and concise to what you want to build.  You

18       know, I can say go build a luxury cruise ship or

19       build me a boat that will take me fishing and back

20       or something, you know, or whatever.

21                 MR. BALLINGER:  I take the other view that

22       it's more open-ended in letting the responders put

23       together their best project that they think can

24       serve your needs.

25                 COMMISSIONER SKOP:  Okay.  All right.

FLORIDA PUBLIC SERVICE COMMISSION

142

1       Fair enough.

2                 And then also one other question with

3       respect to, I think, a comment that you made that if

4       FPL ratepayers would be asked to pay for the

5       proposed pipeline, then certainly it would be built

6       to the 600 Mcf.  And I think that you stated that

7       that was consistent with what has been requested.

8       But I think also in a response to a question you

9       stated that if the proposed project would not be

10       allowed to be recovered through base rates, that

11       effectively that would change FPL's behavior to the

12       extent that the shareholders would be subject to

13       risk and they would size the pipeline based upon

14       necessary and current requirements as opposed to

15       excess capacity.  Can you distinguish those?

16                 MR. BALLINGER:  I don't think that was

17       FPL's contention that they would resize the project.

18       I think they contended that they would walk away

19       from this project.

20                 COMMISSIONER SKOP:  Okay.  But in terms of

21       the financial choices of who bears the risk, if FPL

22       were not allowed to recover this in rates and had to

23       do it on its own development, I think that you

24       mentioned that that would change the behavior to the

25       extent that it would be sized more appropriately to

FLORIDA PUBLIC SERVICE COMMISSION

143

1       what would be fully subscribed at this time with

2       room for later expansion.

3                 MR. BALLINGER:  I don't know that it would

4       be resized.  I think FPL, as they stated, would walk

5       away from this particular project.  Whether they

6       would go forth and build a 400 Mcf line on their

7       own, I don't know.

8                 MS. BANKS:  I think that was in response

9       when Mr. Ballinger was talking generically about how

10       pipelines are built and how they are structured, and

11       I do beg to differ.  In my view he said basically

12       that you will only build what you need, and I think

13       that is where the Commissioner was coming from, that

14       you only build what you need because you don't want

15       to be at risk.

16                 But I will tell you that the Sunshine

17       Pipeline, that while it was not built, the

18       Commission did here the need determination.  That

19       pipeline was sized much larger than it had precedent

20       agreements for, and the Commission when it did that

21       put a contingency upon it that it would be at risk

22       for the difference between what it had as precedent

23       agreements, confirmed capacity commitments, and how

24       big it sized the pipe.  So, pipelines do, in fact,

25       do build pipelines bigger than what they actually

FLORIDA PUBLIC SERVICE COMMISSION

144

1       have commitments for.

2                 COMMISSIONER ARGENZIANO:  Mr. Chair.

3                 CHAIRMAN CARTER:  Commissioner Argenziano

4       and then I'll come back to you, Commissioner Skop.

5                 Commissioner Argenziano.

6                 COMMISSIONER ARGENZIANO:  Thank you.

7                 It's apparent there are still definite

8       differences in staff, and let me ask this question

9       for better clarification for me.  And it may be

10       repeating it, but give me really -- I guess, cut to

11       the chase answer as to why would FPL walk away if it

12       wasn't -- from building the pipeline, it wasn't in

13       bate race -- rate base.  See, there's dyslexia.

14       (Laughter).  Backward.  I knew it would come out

15       sooner or later.  Why would they walk away from a

16       pipeline for something they need if it wasn't in

17       rate base?  And I want answers from maybe both

18       alternatives that we have.

19                 MR. DEVLIN:  I guess I'm on the

20       alternative team on this one.

21                 COMMISSIONER ARGENZIANO:  Which

22       alternative?

23                 MR. DEVLIN:  Cheryl's team.  It's sort of

24       a supposition on my part why FPL would take that

25       position other than putting these dollars in rate

FLORIDA PUBLIC SERVICE COMMISSION

145

1       base means, at least in my mind, that 100 percent of

2       the risk of this investment is now placed on

3       ratepayers' shoulders.  Whereas if it's with a

4       separate subsidiary there is at least some risk that

5       is going to be borne by the shareholders in the

6       event the contracts aren't such where they get

7       complete cost-recovery through the clause.  There is

8       some uncertainty when it's a separate subsidiary

9       versus putting it in rate base where there is very

10       little risk to FPL.

11                 COMMISSIONER SKOP:  If it were a separate

12       subsidiary and some risk was on the shareholder,

13       wouldn't that translate into, I guess, more scrutiny

14       for the best effectiveness and least risk that you

15       can get?

16                 MR. DEVLIN:  I would say yes.

17                 COMMISSIONER ARGENZIANO:  And the other

18       side?

19                 MR. BALLINGER:  We suggested some

20       ratemaking alternatives that do the same thing, if

21       you will, remove some of the assets from rate base

22       to incentivize the company to get these additional

23       revenues.  There's other ratemaking treatments you

24       can do to have the shareholders bear some risk.  So

25       you have those tools available for you even under

FLORIDA PUBLIC SERVICE COMMISSION

146

1       rate base treatment.

2                 COMMISSIONER ARGENZIANO:  What are the

3       other -- what better way -- let me ask this the only

4       way I know.  What better way than sharing some of

5       the risk with the shareholder to ensure that there

6       is the best scrutiny?  If all the risk is on the

7       ratepayer, I mean, who cares if you build it bigger

8       or it's not as cost-efficient?  It's going to be

9       paid for by the ratepayer.  But if the shareholder

10       takes some risk, there is a little bit more scrutiny

11       or scrutinizing on the effectiveness and what you

12       really need.

13                 MR. BALLINGER:  I agree, and I think that

14       you have two risks.  Even though you may certify a

15       need today, that is not a guarantee of cost-recovery

16       in the future.  The utility still has to justify it

17       prudently incurred those expenses, what they were,

18       how they spent them.  That's one risk that are borne

19       by shareholders.

20                 The second risk is at the juncture when it

21       comes on-line we may look at load forecasts.  There

22       may not be the gas needs at that time, and we may

23       question the utility, why did you go ahead and build

24       this line when you saw the load dropping off, things

25       of that nature.  We're removing half of the assets

FLORIDA PUBLIC SERVICE COMMISSION

147

1       out of rate base, and that puts it right back on the

2       stockholders.  So there is mechanisms that you can

3       do on the back end, I guess, is what I'm suggesting.

4                 COMMISSIONER ARGENZIANO:  But it is little

5       bit more difficult in retrospect, isn't it?

6                 MR. BALLINGER:  It may be.  I think you

7       can get the same results and, yes, it may be a

8       little bit more tenuous.

9                 COMMISSIONER ARGENZIANO:  Thank you.

10                 CHAIRMAN CARTER:  Commissioner Edgar and

11       then Commissioner Skop.

12                 COMMISSIONER EDGAR:  I didn't hear the

13       last thing that you said.  It may be a little more

14       what?

15                 MR. BALLINGER:  It might be a bit more

16       tenuous.  It's hard after it's spent, I agree, to

17       try to figure that, but that is regulation.  We look

18       back at actions that have occurred and judge.

19                 COMMISSIONER ARGENZIANO:  Saying that,

20       that's why we are here discussing both alternatives.

21                 MR. BALLINGER:  I absolutely agree.

22                 COMMISSIONER ARGENZIANO:  Regulation works

23       both ways.

24                 MR. BALLINGER:  I absolutely agree.

25                 COMMISSIONER EDGAR:  I do have some

FLORIDA PUBLIC SERVICE COMMISSION

148

1       comments and maybe questions, but I think

2       Commissioner Skop was ahead of me, so I will gladly

3       wait.

4                 CHAIRMAN CARTER:  Commissioner Skop,

5       you're recognized.

6                 COMMISSIONER SKOP:  Thank you, Mr.

7       Chairman.

8                 I guess if I could -- I guess Mr. Devlin

9       would probably be a good person to answer this one,

10       but could I ask you to look at Late-filed Exhibit

11       97, please.

12                 MR. BALLINGER:  Is that the rate

13       comparison?

14                 COMMISSIONER SKOP:  Yes.

15                 MR. BALLINGER:  Okay.

16                 CHAIRMAN CARTER:  Have you guys got an

17       extra copy of that?

18                 (Inaudible.  Microphone off.)

19                 COMMISSIONER EDGAR:  I don't know, because

20       I don't know what 97 is.

21                 COMMISSIONER ARGENZIANO:  (Inaudible.

22       Microphone off.) -- can I please ask a question?

23                 CHAIRMAN CARTER:  Yes.  While they are

24       doing that, Commissioner Argenziano, you're

25       recognized.

FLORIDA PUBLIC SERVICE COMMISSION

149

1                 COMMISSIONER SKOP:  Can I ask a question a

2       second time?  I guess I still need a better

3       understanding of why the company would say they

4       would walk away from something they need, especially

5       if they think they could do it more cost

6       efficiently.

7                 MS. BROWN:  Commissioner Argenziano, if I

8       might try to -- the explanation that FPL gave in the

9       hearing and in its post-hearing filings was that it

10       didn't want to be in the natural gas transmission

11       pipeline business.  There would be administrative

12       expenses to setting up a separate subsidiary, and

13       its primary intention was to serve the needs of its

14       power plants, and that's why it said it would not do

15       it.

16                 COMMISSIONER ARGENZIANO:  And I remember

17       that, but I don't know the amounts.  I don't know if

18       it's substantial enough to walk away from something

19       you need, and that's what I'm trying figure out.

20       Would you really walk away from something you need

21       that is not that substantial, you know, and not that

22       difficult to do?  And it is more competitive, but I

23       understand --

24                 MS. BROWN:  It's my understanding that

25       there is some record evidence, and I may need some

FLORIDA PUBLIC SERVICE COMMISSION

150

1       time to find it, but that the administrative costs

2       of setting up a separate subsidiary would not be

3       significant.  Isn't that right?

4                 COMMISSIONER ARGENZIANO:  That is kind of

5       the difficulty I'm having with it.  I don't

6       understand if the company has other reasons that I

7       didn't see, and if they are just -- I understand

8       they may not want to be in the business, you know,

9       of the pipeline.  Well, then maybe that's a decision

10       they need to rethink.

11                 MS. BANKS:  I would agree with that.  I

12       think that I personally questioned that, because if

13       you have a cost-effective project that you believe

14       in that will work, I am at a quandary as to why you

15       wouldn't do it anyway.  And I could not find any

16       kind of backup reasoning to support that premise of

17       why you want it, other than the facts that Martha

18       just alluded to.

19                 MR. TRAPP:  Staff 100 percent agrees on

20       that.  We're in agreement.  I further hold that if

21       you find a need for gas in this case, Power and

22       Light better come up with a solution.  So --

23                 COMMISSIONER ARGENZIANO:  I was trying to

24       see if I missed something.

25                 MS. BROWN:  It is our feeling that they

FLORIDA PUBLIC SERVICE COMMISSION

151

1       probably would come up with a solution.

2                 COMMISSIONER ARGENZIANO:  Okay.

3                 CHAIRMAN CARTER:  Commissioner Edgar.

4                 COMMISSIONER EDGAR:  Thank you.

5                 While we are waiting for 97, which gets

6       me, I think, back to where I was earlier today to

7       follow up on that.  Which is I think that I have

8       been convinced as to the need and the benefit to the

9       state of a third pipeline for all the reasons that

10       have been discussed and were discussed at hearing

11       for supply, and redundancy, and those types of

12       concerns.

13                 But I am just wondering if the two

14       proposals that we have before us, which is go

15       forward, as FPL had requested, or rebid, if there

16       isn't a third approach, which may be whatever is the

17       best way -- if this full Commission agrees to make a

18       determination of need and then direct the utility to

19       come back to us at some point in time with how they

20       will -- how they will propose under those

21       circumstances to meet that need.

22                 And, again, that may be overly simplistic,

23       but it just seems to me that we are getting wound

24       around lots and lots and lots of technical details,

25       all of which are important, some of which are more

FLORIDA PUBLIC SERVICE COMMISSION

152

1       interesting than others, but it still, in my mind,

2       comes down to is there a need, and if indeed there

3       is, how do we cost-effectively meet that need for

4       the best interest of the state cost-effectively.

5       And I'm just wondering if at some point once we

6       answer whatever more specific questions there are,

7       if there may be a way to think that through at

8       perhaps a little more general or higher level.

9                 COMMISSIONER SKOP:  Mr. Chair.

10                 CHAIRMAN CARTER:  Commissioner Skop.

11                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

12                 Just to comment on that possible third

13       option.  I will not be supporting that option.

14                 CHAIRMAN CARTER:  Say that again,

15       Commissioner?  I didn't --

16                 COMMISSIONER SKOP:  With respect to the

17       third possible option proposed by Commissioner

18       Edgar, I will not be supporting that option.  My

19       concern there would be it's putting the cart ahead

20       of the horse.  There's multiple ways to address

21       providing the required capacity for the two

22       modernization plants in the near term, which is

23       2014.  FGT has proposed a way that would avoid

24       building a pipeline and putting it in rate base and

25       perhaps might be more cost-effective.  The other

FLORIDA PUBLIC SERVICE COMMISSION

153

1       alternative, obviously as presented in this need

2       determination, would be to build the proposed

3       pipeline with additional capacity.  But I don't want

4       to certify a need on the basis of not feeling like I

5       have complete information as to what the most

6       cost-effective option is.

7                 I mean, it kind of centers around Issue

8       10.  I think alternate staff has identified some

9       concerns with respect to the transparency and

10       openness of the bidding process, proposing that

11       perhaps additional solicitation might be in order,

12       which would further definitize the scope of the

13       proposed project and allow interested parties to

14       openly compete and bid on what would be the best

15       proposed option to meet any additional capacity

16       needs.  And, frankly, I would like to see that

17       before setting forth committing ratepayers to a

18       $1.53 billion investment that won't show payback

19       until 2041, or 2040.

20                 So it seems to me that moving forward and

21       just granting a need -- do I think there's obviously

22       a need for some sort of additional capacity?  Yes,

23       but I don't know what project is positioned to best

24       serve that need, whether it be an extension of the

25       existing FGT facility, whether it would be an

FLORIDA PUBLIC SERVICE COMMISSION

154

1       independent third-party pipeline provider, not FGT,

2       to open up competition and open access with

3       additional competition in the state, or whether it

4       would be the proposed FPL pipeline project.

5                 So to me, trying to get into a situation

6       where we are blessing a need, I think is premature.

7       I think that the -- as the flow chart that staff has

8       articulated kind of looks at is that, you know,

9       basically it boils down to Issue 10.  If you support

10       the alternate staff recommendation, you require a

11       rebid or solicitation.  You move down and there's

12       nothing else further to possibly discuss, other than

13       if you want to step out on the limb, maybe you can

14       talk about whether the Commission would be inclined

15       to put it in rate base or not.  But I think that is

16       shaky ground.  I think that should the Commission

17       decide to want to get better cost proposals that,

18       you know, perhaps, you know, rebidding the project

19       along something that is now obviously better defined

20       than it was in the initial bid process that has been

21       subject to some scrutiny might improve the economics

22       of the proposed project for ratepayers to the extent

23       that it would put downward pressure on the project

24       cost estimates, whether it be to add additional --

25       meet the additional capacity through looping or

FLORIDA PUBLIC SERVICE COMMISSION

155

1       additional compression of existing pipelines.  And

2       maybe FGT, you know, looks at that as an opportunity

3       versus FPL looking at what they could do to lower

4       their prices versus a third party coming in and

5       doing it better, faster, cheaper than the other two

6       options.

7                 I don't know right now.  There seems to be

8       some -- a lot of uncertainty.  You know, do I think

9       making investments are a good thing?  Perhaps.  But,

10       again, this is a $1.53 billion project that really

11       kind of just came out of, you know, the fact that we

12       previously approved the modernization for Canaveral

13       and Riviera Beach and we knew we would need some

14       additional gas supplies, but no one said we are

15       going to go build a $1.53 billion pipeline.  That

16       kind of came up kind of late in the game.

17                 So I don't want to be put in a position

18       where I feel like I'm having a gun to my head and

19       being held hostage to do something that, you know,

20       under a branding of energy secure if we don't do

21       this the sky is going to fall and we're not going to

22       be energy secure.  That's clearly not the case.  We

23       have options.  We have the luxury of time.  Time is

24       not of the essence.  We could go through perhaps a

25       rebid process if the alternate staff recommendation

FLORIDA PUBLIC SERVICE COMMISSION

156

1       was adopted.  If not, we can accept the primary

2       staff recommendation.

3                 But to get into a third option of, you

4       know, identifying need and kind of decreeing that we

5       have to do something of this magnitude without

6       looking at all possible alternatives, I think is

7       fraught with peril.  And I'm personally not

8       comfortable doing that just on the, you know,

9       financial and technical basis and the impact to the

10       ratepayers.  I want to make sure that we are getting

11       the best deal for the ratepayers.

12                 Being fair to FPL, if their project at the

13       end of the day turns out to be what's in the best

14       interest of the ratepayers and the best interest of

15       the state, then by all means I will be the first

16       person to endorse it and approve it.  But I'm not

17       comfortable there yet.  I'm really not there in

18       light of some of the concerns that have been raised

19       in light of the fact that the proposal seeking

20       quotations was pretty much a laundry list of it

21       could be this, it could be that, it could be that.

22                 You know, now we are more definitized.  We

23       know we are looking at a 600 Mcf pipeline from Point

24       A to Point B with the interconnect on the -- I

25       forget what it's called, the lateral that FPL owns.

FLORIDA PUBLIC SERVICE COMMISSION

157

1       So we know about more what the project is going to

2       look like than possibly we did previously.  And my

3       question would be would that impact or improve the

4       economics if all the parties knew and were bidding

5       on common information.  And if so, then the consumer

6       clearly wins because they get the best deal.

7                 So, again, that would be my concern.  Not

8       to, you know, kibosh otherwise good ideas, but

9       technically I have got issues with that, and I don't

10       think that I would support it.  But I did want to

11       get back to Issue 97, if I could.  I mean, Late

12       Exhibit 97, if I could.  And if we have that before

13       us, I just wanted to kind of take a brief look at

14       that and ask Mr. Devlin some questions.

15                 COMMISSIONER ARGENZIANO:  97?

16                 CHAIRMAN CARTER:  It's the one that was

17       handed out.

18                 MR. GRAVES:  Commissioners, and only the

19       first page is Exhibit 97.

20                 CHAIRMAN CARTER:  Only the first page?

21                 MR. GRAVES:  Yes, sir.

22                 CHAIRMAN CARTER:  Okay.

23                 COMMISSIONER SKOP:  Mr. Devlin, do you

24       have Late-filed Exhibit 97 in front of you?

25                 MR. DEVLIN:  Yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

158

1                 COMMISSIONER SKOP:  Okay.  I guess on

2       that, you know, it shows the impact of not only what

3       customers will be expected to pay with respect to

4       the modernization projects of Riviera Beach and the

5       Canaveral plants that -- you know, about $3-1/2

6       billion total coming into service at that same time,

7       plus the proposed addition of the EnergySecure

8       Pipeline.  And I think that if you look at the

9       first, Table 1 on that sheet, it shows what the

10       customer bill impact might be for dollars per 1,000

11       kilowatts, and then it shows an alternative going

12       with the FGT proposal to meet the gas requirements

13       for those two modernization plants, is that correct?

14                 MR. DEVLIN:  That's what it appears.

15                 COMMISSIONER SKOP:  Okay.  So looking at

16       the 2015 number right after all of these plants

17       would come in service, and assuming that the cost of

18       the proposed pipeline would come into rates if the

19       Commission chose to allow it, the difference between

20       the FPL proposed option and doing it with the FGT

21       alternative, the difference between those for 2015

22       is approximately $2.08 per 1,000 kilowatts more

23       expensive for the FPL option, is that correct?  The

24       5.84 versus the 3.76?

25                 MR. DEVLIN:  That's what it appears.  It

FLORIDA PUBLIC SERVICE COMMISSION

159

1       looks like in Table 3 it says $1.88.

2                 COMMISSIONER SKOP:  I'm looking at Table 1

3       and Table 2 right now.

4                 MR. DEVLIN:  Comparing Tables 1 and 2?

5                 COMMISSIONER SKOP:  Yes, for 2015.

6                 MR. DEVLIN:  Okay.

7                 COMMISSIONER ARGENZIANO:  (Inaudible.)

8                 COMMISSIONER SKOP:  Yes.  These glasses

9       and the print on here --

10                 COMMISSIONER ARGENZIANO:  It may be mine,

11       I don't know.

12                 COMMISSIONER SKOP:  Yes, I see it pretty

13       well.  The type on this, I'm seeing like a 5.84

14       versus a 3.76, or 3.78, whichever it is.  I mean --

15                 MR. BALLINGER:  The differential is shown

16       in Table 3.

17                 MR. DEVLIN:  Yes.  Table 3, I think,

18       Commissioner, is the differential that you are

19       speaking to, which is $1.88, I believe.  I can

20       hardly read those numbers.  $1.86.

21                 COMMISSIONER SKOP:  Okay.  Unless my math

22       is wrong, but subject to check, I'll look at that

23       for the -- okay.  So let's stick with Table 3, then,

24       and just assume the math is correct.  So, basically,

25       looking at the -- for 2015 rates, the proposed

FLORIDA PUBLIC SERVICE COMMISSION

160

1       increase that consumers would see going with the

2       pipeline option on top of the two new plants would

3       result in a bill impact of $1.86 per 1,000 kilowatts

4       more expensive assuming that that data is correct.

5                 MR. DEVLIN:  That's what it says, and I

6       guess there is an assumption there that there would

7       be a base rate increase in 2014.

8                 COMMISSIONER SKOP:  Okay.  And that's why

9       I picked 2015 to show when all this would perhaps

10       hit rates, noting that, you know, other things may

11       come into play, that some of the plant may come into

12       rates sooner rather than later depending on things

13       the Commission has not yet decided.  But I'm just

14       trying to assess holistically right now absent any

15       resolicitation or whatever trying to get the best

16       rates for consumers.  Obviously there is a cost

17       impact with moving forward with the pipeline.  I

18       think that is kind of shown on the present value

19       revenue requirement graph, also.  But, I'm just

20       trying to understand and quantify what that impact

21       is.

22                 MR. DEVLIN:  It appears to be more

23       expensive to go the energy pipeline in the early

24       years, maybe all the way through 2021 if I'm reading

25       this graph correctly.

FLORIDA PUBLIC SERVICE COMMISSION

161

1                 COMMISSIONER SKOP:  Okay.  And then after

2       2021 there would be some initial benefit.  That's

3       when it crosses that inflection point, is that

4       correct?

5                 MR. DEVLIN:  That is what it appears to

6       tell us.

7                 COMMISSIONER SKOP:  Okay.  And but you

8       won't see complete, going back to the present value

9       revenue requirement, you won't see complete payback

10       and benefit until 2040 apparently; right?

11                 MR. DEVLIN:  I believe that's true.

12                 COMMISSIONER SKOP:  Okay.  All right.  I

13       just wanted to review that because I know that we

14       had talked about that in the hearing, and I think

15       that that kind of adds to the chart that we have

16       before us in terms of looking at in totality what

17       some of the ramifications of the decisions that the

18       Commission makes has upon rates and revenue

19       requirements.  So thank you.

20                 MR. BALLINGER:  Commissioners, if I may

21       add to --

22                 COMMISSIONER EDGAR:  Mr. Ballinger.

23                 MR. BALLINGER:  I'm sorry.  There has been

24       talk about requiring a rebid as an option that you

25       discussed.  I just want you to be aware that I, and

FLORIDA PUBLIC SERVICE COMMISSION

162

1       I think staff agrees, that if it's required by the

2       Commission for the company to go out and rebid,

3       you're basically authorizing a cost to go out under

4       that.  And FPL I think would be, have the right to

5       ask recovery of the cost of doing that rebid.

6                 You ran into a similar situation, if you

7       will, with the Glades project that came in for a

8       need determination and it was denied, and the

9       company sought recovery of a lot of the development

10       costs and things of that nature.  So I just want you

11       to be aware of that, that if you are directing the

12       company to go do other things, you're basically

13       directing them to spend additional monies.

14                 MR. DEVLIN:  Mr. Chairman, could I have a

15       statement on that point, please?  Comparing the

16       Glades case to this case, I would think there may be

17       some additional costs with the rebid, but they

18       should be insignificant.

19                 In the Glades case there were significant

20       costs because there were contracts that were entered

21       into by FPL and termination charges at stake.  And

22       that's why there was a lot of money at stake in the

23       Glades case.

24                 We really don't expect, and I could be

25       supplemented with my comments, but we really don't

FLORIDA PUBLIC SERVICE COMMISSION

163

1       expect the costs to be significant if there's a

2       rebid.

3                 MR. BALLINGER:  I agree.  I don't, I don't

4       think it would be huge numbers, but just to make you

5       aware of it, that if you are directing it, you're

6       basically authorizing those costs.

7                 MS. BROWN:  Well, there's some

8       disagreement on whether you are authorizing their,

9       their costs and whether they would be entitled to

10       recover them.  I'm not sure we're completely in

11       agreement with that.

12                 COMMISSIONER ARGENZIANO:  Mr. Chair.

13                 CHAIRMAN CARTER:  It's like you said,

14       Commissioner.

15                 COMMISSIONER ARGENZIANO:  We're not

16       100 percent sure that's true and how much it would

17       cost.  But then again is it wise to sanction

18       something that may not be specifically designed, as

19       Commissioner Skop said, that now we know, really

20       know what we're better dealing with now, and is it

21       wise to go ahead with something just in fear of the

22       possibility of extra costs to rebid?  So I'm not

23       sure if that's the way to go or not.

24                 COMMISSIONER SKOP:  Mr. Chair.

25                 CHAIRMAN CARTER:  And let me just, before

FLORIDA PUBLIC SERVICE COMMISSION

164

1       I forget it, Commissioners, excuse me for a second.

2       Is if it is -- I think -- I forgot which one of us

3       asked the question, which one of you guys asked the

4       question, but if FPL will not build the, will not

5       build the pipeline unless it goes into rate base,

6       they'll walk away from it, then I mean how do you

7       make the argument for cost-effectiveness?  I mean,

8       they're going, they're going to need gas anyway.

9       That's a given.  We know that.  They're going to

10       need gas; right?  But the question becomes what's

11       the least cost alternative?  So in the context of

12       the least cost alternative, it doesn't -- if it

13       really is the least cost alternative, then it

14       doesn't make sense to walk away from it.  But if you

15       don't get it in race bait, in bait rate -- in base

16       rates, you won't do it at all.  Did I read that

17       right?  Okay.  I just wanted to make sure I was on

18       the same plane as everyone else.

19                 That does give me concern, Commissioners.

20       That gives me a lot of concern.  I know we're not

21       there yet, but when you get to that point, I want to

22       voice my concerns on that.

23                 Commissioner Skop, you're recognized.

24                 COMMISSIONER SKOP:  Thank you, Mr.

25       Chairman.  I just wanted to, and I think Mr. Devlin,

FLORIDA PUBLIC SERVICE COMMISSION

165

1       I couldn't have said it any better myself in

2       response to Mr. Ballinger's concern that, you know,

3       that we're going to go down a slippery slope and

4       incur a whole bunch of costs should we choose to

5       require FPL to conduct a more definitized

6       solicitation of the proposed project.  Again, the

7       costs are going to be negligible.  I mean, we're

8       talking about negligible costs on top of, you know,

9       it's a percentage of the $1.53 billion, chump

10       change, you know, and that's probably not a good

11       word to use.  But, again, it's, it's -- comparing

12       that to Glades is like apples and oranges.

13                 In Glades, FPL was very far along with the

14       project, they had compended to long-lead materials,

15       they had acquired the property, a host of whole

16       other things.  I think the total cost there was

17       $32 million, whatever we awarded them, $40 million,

18       whatever it was.  And even that in relation to

19       $1.53 billion is almost getting to be nonmaterial.

20                 So, again, I'm not concerned about any

21       incremental costs associated with trying to get the

22       most accurate answers that would clearly benefit

23       this Commission in making a decision that affects

24       consumers over the next 30 something years.  So,

25       again, if it takes a little bit more time and a

FLORIDA PUBLIC SERVICE COMMISSION

166

1       little bit more incremental cost to get better,

2       better quality information that allows us to make a

3       decision based on the merits, I'm certainly in favor

4       of doing that.  So I don't find that to be

5       persuasive whatsoever, and I think I would agree

6       wholeheartedly with Mr. Devlin's characterization of

7       the situation.

8                 MR. TRAPP:  And if, if the Commission --

9                 CHAIRMAN CARTER:  Mr.,  Mr. Trapp.

10                 MR. TRAPP:  If the Commission wishes to go

11       down the rebid path, I think we kind of agree on a

12       recommendation to do that that would entail jumping

13       from Issue 10 down to the bottom of the page on the

14       flow chart regarding how to close this docket.  Is

15       that correct, Martha?

16                 MS. BROWN:  We could do it that way, if

17       you all want to.  You could vote on Issue 10.  And

18       if you decided to rebid, you would deny the need

19       determination with direction to go and rebid it,

20       perhaps, if you want, bring it back to staff to look

21       at before it was issued.  And then you would not

22       have to address any of the other issues in the case.

23       You wouldn't have to decide them at this point.

24                 And it would be my recommendation that

25       maybe you wouldn't want to decide them if you were

FLORIDA PUBLIC SERVICE COMMISSION

167

1       going to do the other because you would want the

2       fresher information and the, and the facts before

3       you.

4                 COMMISSIONER SKOP:  Mr. Chair.

5                 CHAIRMAN CARTER:  Commissioner Skop.

6                 COMMISSIONER SKOP:  Thank you, Mr.

7       Chairman.  And that's kind of along the thoughts

8       that I was thinking.  I mean, you know, we've had an

9       evidentiary hearing.  But the question is if there

10       is a new rebid or a solicitation as advanced in the

11       alternate staff recommendation, then certainly, you

12       know, we'd move forward with that.  It seems to me

13       that it would be premature to pre-decide issues.  It

14       would just basically get the, the newest and

15       updated, more definitized bids and go back into what

16       was a one and a half day hearing posture, create a

17       new evidentiary record as the basis for decision

18       perhaps after the first of the year and move forward

19       from there.

20                 CHAIRMAN CARTER:  And that just -- I'm

21       trying to think aloud before I lose it, have one of

22       my over 50 moments.  Then, staff, then what happens

23       is, based upon the way I read the, the chart here,

24       is that no on Issue 10 takes us down that line, down

25       that line to rebid and then determine whether or not

FLORIDA PUBLIC SERVICE COMMISSION

168

1       it was cost-effective.  Is that -- am I

2       re-reading -- am I reading it right or reading it

3       wrong?

4                 MR. BALLINGER:  On the flow chart, if you,

5       if you want to vote no on Issue 10, the alternative,

6       or vote for the alternative recommendation, I should

7       say, no, it's not the most cost-effective

8       alternative, that would take you right to -- you can

9       direct the company to rebid or not, you can be

10       silent, but I think all of us are agreeing that you

11       could take it down to close the docket, that you

12       don't have to answer these other issues of

13       reliability, integrity, the 368 versus 366, all

14       those other issues.

15                 CHAIRMAN CARTER:  Commissioner Argenziano.

16                 COMMISSIONER ARGENZIANO:  Well, at some

17       point I'd like to address some of those other

18       issues.  Would they still be addressed later on?

19                 MS. BROWN:  You would just be deferring

20       decision on them at this time.

21                 COMMISSIONER ARGENZIANO:  Yeah.  Okay.  I

22       just wanted to make that clear.

23                 MR. BALLINGER:  If a self-build option

24       came back with whatever, then, yes, they would be on

25       the table again.

FLORIDA PUBLIC SERVICE COMMISSION

169

1                 COMMISSIONER ARGENZIANO:  Right.  And it

2       could come back, you know, with, with more specified

3       information about the cost-effectiveness maybe and

4       more specific to the information we now know.

5                 CHAIRMAN CARTER:  Okay.  Commissioner

6       Edgar, you're recognized.

7                 COMMISSIONER EDGAR:  To staff, if we were

8       to direct a rebid, isn't that another way of finding

9       a need?  I mean, why would we direct a rebid if we

10       don't think there's a need?

11                 MR. TRAPP:  If I can speak first, Martha.

12                 MS. BROWN:  Sure.

13                 MR. TRAPP:  I'm, I'm a little

14       uncomfortable, quite frankly, ordering the company

15       to rebid.  I think that approach is micromanagement

16       of the company.  I think the company is responsible

17       for, for doing the best interest of their customers

18       by bringing a solution back to the Commission, but

19       I'm not sure I want to totally tie their hands.

20                 My only experience with this, quite

21       frankly, I go back to the Cypress case where the

22       Commission basically said, we recognize there's a

23       need for power here, and in this case it would be a

24       need for gas, but you haven't convinced us that

25       you've selected the most cost-effective alternative;

FLORIDA PUBLIC SERVICE COMMISSION

170

1       therefore, your need is denied.  And then there was

2       instructions, I think, in the order, Martha, that

3       said come back with a better, better idea.  But I

4       think --

5                 MS. BROWN:  And also in the Glades case

6       you pretty much ended up at that same place, but

7       your rationale was just things are too uncertain,

8       we're too unclear about the cost-effectiveness of

9       the project, so we're going to deny the need.  You

10       could do that as well.  But, you know --

11                 MR. TRAPP:  And the reason I go back to

12       the, to the older case is because that was a

13       situation where we -- the Commission found that the

14       limited solicitation process used by the company to

15       pick a power plant was not good.

16                 COMMISSIONER EDGAR:  If I may.  I'm sorry,

17       Mr. Trapp, but it was my question.

18                 MR. TRAPP:  Yes, ma'am.

19                 COMMISSIONER EDGAR:  The Glades I remember

20       very, very, very, very well.  Cypress I'm not

21       familiar with.  I just simply was not here.

22                 MR. TRAPP:  Okay.

23                 COMMISSIONER EDGAR:  And I do find it

24       helpful to be reminded of or educated about past

25       decisions to a point.

FLORIDA PUBLIC SERVICE COMMISSION

171

1                 MR. TRAPP:  Sure.

2                 COMMISSIONER EDGAR:  But today with what

3       we have before us, realizing that my understanding

4       is that much of this case is a first impression,

5       then I'm going to come back to my very again

6       probably simplistic question, which is if we were,

7       and I'm not completely there, so know that, but if

8       we were to vote no on Issue 10 and as either part of

9       that or next step direct a rebid, which does give me

10       some pause, why would we direct a rebid if we don't

11       think there is a need?  And I don't want to hear

12       about Cypress or Glades.  I want to hear why would

13       we direct a rebid if we aren't convinced there's a

14       need?

15                 MS. BROWN:  Well, I think, I think you're,

16       you're uncertain of whether there's a need or not,

17       certainly uncertain about whether there's a need for

18       this project.  I think there's some understanding

19       that there is a need for additional gas on FP&L's

20       system going forward, but it's unclear whether that

21       need, general need should be fulfilled by this

22       project.  I guess that's where I come from.  I don't

23       know why you couldn't say we think there's a need

24       for more gas, we just don't like this project, we

25       want you to rebid it.  That seems reasonable to me

FLORIDA PUBLIC SERVICE COMMISSION

172

1       on a general perspective, but Commissioner Skop

2       might feel differently.

3                 CHAIRMAN CARTER:  Hang on one second,

4       Commissioner.

5                 COMMISSIONER EDGAR:  Well, then --

6                 CHAIRMAN CARTER:  I'll let Commissioner

7       Edgar finish her question, and I'll come back to

8       you, and then Commissioner Argenziano.

9                 COMMISSIONER EDGAR:  I'm sorry.  I lost my

10       train of thought with that interruption.  I

11       completely lost my train of thought.  But I may ask

12       you to come back to me.

13                 CHAIRMAN CARTER:  I'll do that.  I'll do

14       that.

15                 COMMISSIONER EDGAR:  Thank you.

16                 CHAIRMAN CARTER:  Commissioner Argenziano,

17       are you ready, or should I go to Commissioner Skop?

18                 Commissioner Skop, you're recognized.

19                 COMMISSIONER SKOP:  Thank you, Mr.

20       Chairman.  I just want to add to Ms. Brown's

21       comment.  You know, I think that it's an issue of

22       semantics.  I think Ms. Brown was correct in, with

23       respect to the determination of need, it's specific

24       to this particular pipeline project.  Previously the

25       Commission approved need determinations for the

FLORIDA PUBLIC SERVICE COMMISSION

173

1       Riviera Beach plant and the Canaveral modernization

2       projects.  Inherent within those need determinations

3       was an affirmative statement by FPL that they were

4       still working on gas supply for those two projects.

5       So obviously there is a need to have fuel for those

6       two plants.  That itself is an issue that even, you

7       know, FPL recognized as far back as when it made its

8       previous filings.

9                 To me I view this as separate and

10       distinct, and it's, you know, is this project per se

11       the best way to meet the need?  And I'm not so sure

12       without additional, you know, rebid or solicitation

13       that I can answer that question in the affirmative.

14       You know, it would be nice if we didn't have

15       statutory time frames and we could perhaps dismiss

16       without prejudice and then go direction to go do

17       this and then come back, but I don't think that's a

18       clean option.

19                 But it seems to me that, you know, having

20       a more definitized solicitation gives you an apples

21       to apples comparison, a level playing field on

22       putting forth the best possible cost estimate to

23       meet the projected need and you go from there.

24                 But, you know, we, as a Commission, have

25       already previously recognized inherent with the need

FLORIDA PUBLIC SERVICE COMMISSION

174

1       determinations for Canaveral and Riviera that you

2       have to -- you know, plants don't run without gas.

3       That's the bottom line.  So we know that.  But I'm

4       not so sure that this $1.53 billion investment is

5       the best way for consumers to make sure those plants

6       have gas.  And at least for me, again, I'm going to

7       reiterate this, it would have been nice knowing that

8       if we were going to go down the pipeline route to

9       have had this as a parallel docket to the two need

10       determinations back then such that, you know, it's

11       not late in the game and we're being forced to make

12       a decision which frankly is a tough one.  It's a

13       tough judgment call, so.

14                 MS. BROWN:  If I might just add something.

15       I don't know if this will give you any comfort.

16                 COMMISSIONER EDGAR:  Are you going to tell

17       me it's 1.53?

18                 MS. BROWN:  No.

19                 COMMISSIONER EDGAR:  Okay.

20                 MS. BROWN:  I'm going to tell you that

21       there really, in the record there is no disagreement

22       between the parties that there is a need for 400

23       MMCF per day for the fuel in that, in those plants.

24       So what I'm suggesting is that the order could say

25       the parties are in agreement that there is a need

FLORIDA PUBLIC SERVICE COMMISSION

175

1       for this much, we just don't see that this project

2       fits that need, if that gives you some comfort.

3                 COMMISSIONER EDGAR:  Or fits it in the

4       best possible, most cost-effective.

5                 MS. BROWN:  Yes.

6                 CHAIRMAN CARTER:  Least cost alternative.

7                 MS. BROWN:  The best possible way.  Yeah.

8       Right.

9                 CHAIRMAN CARTER:  Commissioner Argenziano,

10       and then I'll come back to you, Commissioner Skop.

11                 Commissioner Argenziano.

12                 COMMISSIONER ARGENZIANO:  Well, that's --

13       thank you.  That's my take.  I don't know that this

14       is the best way to meet that need, so that's where

15       we go. And I don't know whether you want to call it

16       micromanaging.  I don't know that we'd have to tell

17       the company to go and rebid.  I think it would be

18       wise for them to do because if you come back again

19       and you don't have the specifics and I can't

20       determine which is the most cost-effective because I

21       don't have those specifics or feel like we have more

22       information as to maybe a definitive solicitation

23       and what you get back from that, I'd probably feel

24       the same way.  So I don't know that we have to tell

25       them to go and rebid.  It may be that, you know, we

FLORIDA PUBLIC SERVICE COMMISSION

176

1       discover today that we know there's that need right

2       now for 400, but I don't know that this specific

3       project is the way.

4                 So and then, then if we don't tell them to

5       go back and rebid and just say, no, you know, we

6       know there's a need, this is not the way, I guess

7       they would have to figure out another way to come

8       back with us, to us with additional information.

9                 MS. BROWN:  Well, another possibility

10       might be to say there's no contest really that

11       there's a need for gas.  This project we don't think

12       satisfactorily fits that need.  Go back and find --

13       so we deny the need determination, and go back and

14       find other options to supply, and perhaps they would

15       find other options that wouldn't need to be rebid.

16       But they would certainly have the option to do that,

17       if they wanted to.

18                 COMMISSIONER ARGENZIANO:  Uh-huh.

19                 CHAIRMAN CARTER:  Okay.  Commissioner

20       Skop.

21                 COMMISSIONER SKOP:  Thank you.  I agree

22       kind of what, or with what Ms. Brown just stated

23       with one exception.  I mean, that kind of went a

24       little bit far on the limb.  I think that, you know,

25       strictly speaking that the issue as framed in Issue

FLORIDA PUBLIC SERVICE COMMISSION

177

1       10, is it the most cost-effective alternative to

2       meet the need, and I'm comfortable with just

3       limiting it to that.

4                 You know, if -- I think that obviously

5       there's an inherent need for capacity.  But, again,

6       this is project specific.  Is this project the most

7       cost-effective alternative at this moment before the

8       Commission?  And I can't answer that in the

9       affirmative.  I'm not casting doubt that if the

10       solicitation comes in and, you know, the economics

11       are better, might I change my opinion?  I might.

12       I'm not precluding anything.  I'm just saying in

13       order to, to, you know, have a level playing field

14       and get the best possible data in terms of what the

15       actual true costs would be, it would be, you know,

16       it would behoove everyone to sharpen the pencil and

17       go out there and ask the specific question, you

18       know, here's a proposed project, Point A to Point B,

19       you know, 30 inches or 36 inches in diameter,

20       whatever it is, I think it's 30 inches, you know, we

21       need 600 MCF, you know, here's the lateral that FPL

22       will allow you to use, go bid the project, and the

23       economics are what they are.

24                 I mean, it all comes down to me making a

25       case on the merits, what's the best option for the

FLORIDA PUBLIC SERVICE COMMISSION

178

1       consumer.  And I'm open-minded and fair about

2       considering that.  So if FPL were to choose to rebid

3       and the economics resulted in a favorable benefit to

4       the consumer and out of all possible alternatives,

5       then certainly it would get due consideration.  Even

6       if it was not the most cost-effective but there were

7       some policy reasons for moving forward with one

8       project over another because of intangibles, that's

9       also open for consideration.

10                 So, again, I don't want to preclude or

11       shut the door on, on the pipeline option per se.

12       But, again, I think that right now in terms of

13       cost-effectiveness, I don't have all the options

14       before me or definitization of the cost with all the

15       options before me.  There may be in the interim a

16       more cost-effective way to meet the need for the 400

17       MCF for the 2014 time frame, only to build a

18       pipeline later when, you know, maybe there's a

19       better economy or what have you.

20                 So, again, I don't want to preclude

21       anything, but it just comes down to making the

22       judgment call is this the most cost-effective

23       alternative at the present time?  I can't answer

24       that for this project.

25                 MS. BROWN:  Well, how about this as

FLORIDA PUBLIC SERVICE COMMISSION

179

1       another option?  You vote on those initial planning

2       assumption issues, the ones that we've already

3       addressed, and then I -- if you vote no on the most

4       cost-effective alternative, then FP&L would have the

5       opportunity to rebid it if they want to bring it

6       back to us.

7                 COMMISSIONER SKOP:  I'm really actually

8       not comfortable with getting into deciding issues

9       that we otherwise wouldn't need to decide.  In terms

10       of the planning assumptions, again, I would say I

11       still have the same --

12                 MS. BROWN:  I was just trying to address

13       the concern about the understanding that there was a

14       need for certain gas.

15                 COMMISSIONER SKOP:  I don't want to bind

16       the Commission if I don't have to needlessly on

17       deciding issues that otherwise don't need to be

18       decided and disposed upon.  If it's simply a matter

19       of going to Issue 10, is this the most

20       cost-effective alternative following the flow chart,

21       or the alternative, if the answer is no, you require

22       a rebid.  End of story.  We come back and repeat the

23       process if that's what FPL chooses to do without

24       making any additional findings.  Or if you adopt the

25       primary staff recommendation, which it is, then we

FLORIDA PUBLIC SERVICE COMMISSION

180

1       have to obviously move down through all the issues.

2       So I do have some uncomfort with the planning

3       assumptions.

4                 Jumping ahead, if we could decide this

5       decisively on more limited grounds, basically a

6       determination on Issue 10, I think that's a cleaner

7       way to go about it.

8                 CHAIRMAN CARTER:  Let me, let me just say

9       this, Commissioners, is that I think that as we

10       address Issue 10, you know, I mean, from what I'm

11       hearing, unless I'm putting words in your mouths, is

12       that we're not convinced that it's the most

13       cost-effective alternative.  I don't think we have

14       to take the next step and tell the company what they

15       need to do in terms of how to get it done.  They

16       need to come tell us this is how we're going to get

17       it done.  Because from what we're saying, what we've

18       heard here is they're saying if we don't get the

19       pipeline in the rate base, we're not going to build

20       it.  We'll walk away from the deal.  But if they

21       need gas, they're going to get gas from someplace.

22       And I don't want to say let's require them to

23       rebuild.  Let them go out and find the best possible

24       price for the gas, best delivery price and all.  I

25       think that if we're going to deal with the high

FLORIDA PUBLIC SERVICE COMMISSION

181

1       level issue, Issue 10, I don't think we need to get

2       into the weeds on the rest of them.  That's just my

3       thinking, Commissioners.

4                 Commissioner Skop.

5                 COMMISSIONER SKOP:  Thank you.  I

6       wholeheartedly agree with that.  I think that's a

7       reasonable approach.  The only minor caveat would

8       be -- again, it gives FPL flexibility.  The only

9       caveat would be would they just not seek the most

10       cost-effective option at that point, just go with

11       whatever is offered and just say here it is, here's

12       our, here's our alternative for meeting -- okay.

13       I'm sorry.

14                 CHAIRMAN CARTER:  Commissioner Argenziano.

15                 COMMISSIONER ARGENZIANO:  I was going to

16       ask how do we then know what the most cost-effective

17       option is?

18                 CHAIRMAN CARTER:  Ms. Brown.

19                 MS. BROWN:  Well, they would have to come

20       back to us.

21                 COMMISSIONER ARGENZIANO:  Yeah.  But they

22       could come back with, with their own, with options

23       of their own choice and maybe not -- I mean, it

24       seems to me that, you know, it seems to me that in

25       one respect bidding is a fair process and you get,

FLORIDA PUBLIC SERVICE COMMISSION

182

1       you get an idea then of several different entities

2       and what their costs are.  And to me otherwise you

3       come back and say, well, okay, we'll come back and

4       here's, here's what we want.  And how do we know

5       then which is the most cost-effective if it's not

6       really bid?  So I don't want to be down the line and

7       then have to ask again, well, how do I know this is

8       the best way to go?

9                 MS. BANKS:  If, however, they just

10       contracted for supply with a pipeline --

11                 COMMISSIONER ARGENZIANO:  Uh-huh.

12                 MS. BANKS:  -- they would not come back to

13       the Commission.  Those costs would be recovered

14       through fuel and fuel staff reviews.

15                 COMMISSIONER ARGENZIANO:  Right.

16                 MS. BANKS:  Fuel would be going through

17       that.  You wouldn't see -- they wouldn't come back

18       and ask for a need determination or anything like

19       that.

20                 COMMISSIONER ARGENZIANO:  Okay.  Okay.

21                 MR. TRAPP:  No.  But if I may interject,

22       the question still would be posed to the company at

23       the time they request cost recovery, did you do the

24       most cost-effective thing?  Whether it's in the fuel

25       adjustment clause or base rates, this Commission has

FLORIDA PUBLIC SERVICE COMMISSION

183

1       a responsibility to the consumers of Florida to make

2       sure that every penny charged to them is prudently

3       incurred.  And so Power & Light just going out and

4       buying some power from somebody is not an automatic

5       cost recovery in my opinion.  You'll still have to

6       ask them was this the best deal or not, and they're

7       going to have to prove it.

8                 COMMISSIONER ARGENZIANO:  Let me ask you

9       this, and this may sound really --

10                 CHAIRMAN CARTER:  Turn your, get your

11       microphone on.

12                 COMMISSIONER ARGENZIANO:  Is that the best

13       tool we have?  Is there nothing that we can come up

14       with when a company comes in and say this is what we

15       want to do and gives us one alternative maybe, is

16       there nothing we can compare that to and say, well,

17       if you went over here, we probably could do this, we

18       could get this, this capacity that you need a lot

19       cheaper over here?  It seems to me that we always

20       revert back to, well, we can always go to did you

21       most prudently do that?  And of course that's very

22       important.  I'm not undermining that.  But it seems

23       to me that at the time it comes up, you know, you

24       want to almost go, oh, oh, oh, but I think you could

25       do it cheaper over here.  And it seems that we

FLORIDA PUBLIC SERVICE COMMISSION

184

1       never, we never do that unless another company comes

2       in and says, hey, we can do it cheaper.  How would

3       we know up-front?  We really wouldn't unless there

4       was a bid.

5                 MR. TRAPP:  It's -- right.  And as Mary

6       has reminded me, in need determinations we do

7       require them to show all alternatives.  And that's

8       what they've done in this case except we're finding

9       fault with it.

10                 I guess my response, Commissioner --

11                 COMMISSIONER ARGENZIANO:  But can't, can't

12       you shop for the alternatives you want?

13                 MR. TRAPP:  I guess my response,

14       Commissioner, is how do you know anything?  You have

15       to scrutinize the record that's before you.  And,

16       quite frankly, my experience with the Commission, I

17       think you just told the company what you think is

18       the right thing to do.  I think they're out there

19       listening.  I think if they don't rebid, they're

20       going to have to answer some questions about, well,

21       why didn't you rebid?  I don't think you need to put

22       it in the order.  I think they're smart enough to

23       know that they're under a microscope with respect to

24       this issue.  So hopefully they will come back with

25       the best alternative.

FLORIDA PUBLIC SERVICE COMMISSION

185

1                 CHAIRMAN CARTER:  Commissioner Skop.

2                 COMMISSIONER SKOP:  Thank you, Mr.

3       Chairman.  Like I say, I agree with Mr. Trapp to

4       some degree.  But, you know, it's kind of hit or

5       miss whether that message ever actually makes it

6       through to the powers to be.

7                 But I guess my concern again in the

8       interest of promoting enhanced competition, if you

9       will, it would be nice to see some comparative cost

10       estimates as opposed to what the most cost-effective

11       option is.  And at the end of the day if FPL is the

12       best option on the merits, then the pipeline should

13       logically be approved.  So, again, I see no

14       detriment in asking them within an order to seek

15       solicitation of bids, you know, on a level playing

16       field basis, which again I think the level playing

17       field is ensured by some of the protective measures

18       that alternate staff has suggested.  I don't view

19       that as micromanaging.  I view that as, as an apples

20       to apples comparison between the various options and

21       then picking the most, to facilitate choosing the

22       most cost-effective option for consumers on a

23       long-term basis.  I mean, this is a project -- the

24       proposed project is one with long payback, 2040,

25       that's 30 years from now, so that's a big issue.

FLORIDA PUBLIC SERVICE COMMISSION

186

1                 COMMISSIONER ARGENZIANO:  Well, I think --

2                 CHAIRMAN CARTER:  Commissioner Argenziano.

3                 COMMISSIONER ARGENZIANO:  -- I think I

4       tend to agree with the bidding.  Because after all,

5       we're, we are in charge of, you know -- ratepayers

6       are ultimately going to be paying.  So I don't think

7       it's too much to ask for to go out -- to bring us

8       back competitive bids or to provide more specifics.

9       And I don't think that's micromanaging.  I think

10       that's being a regulatory body.  I think it's part

11       of the job that we have.

12                 MS. BROWN:  Commissioners, if I might add,

13       we have a bidding rule to create a market proxy when

14       we're evaluating need determinations for electric

15       plants and electric facilities.

16                 COMMISSIONER ARGENZIANO:  Thank you.

17                 CHAIRMAN CARTER:  Commissioner Skop.

18                 COMMISSIONER SKOP:  And just adding, and I

19       didn't really get to finish my thought, but that's

20       in essence what, what I was trying to say is what

21       Commissioner Argenziano just articulated.  I see no

22       harm in having that competitive bidding process to

23       get the best deal for consumers.

24                 CHAIRMAN CARTER:  I think we should have

25       started with Issue 10.  I do, Commissioners, because

FLORIDA PUBLIC SERVICE COMMISSION

187

1       I'm saying, and I was going back to where we started

2       it seems like forever ago, Commissioner Argenziano

3       asking the questions related to what's the most

4       cost-effective alternative.  And based upon what we

5       have in front of us, we have to say no to Issue 10.

6       I mean that's, that's the way I read it, unless

7       y'all read it different.  Right.

8                 COMMISSIONER SKOP:  Mr. Chair.

9                 CHAIRMAN CARTER:  Commissioner Skop.

10                 COMMISSIONER SKOP:  Thank you.  And that's

11       where I didn't want to be misconstrued.  But, you

12       know, that's what I was kind of trying to hint at

13       under a perfect remedy for 6A.  I mean, I didn't

14       mean that to overlap or spill into the, the need

15       determination.  But, you know, perhaps the lengthy

16       discussion might have been avoided if we -- but,

17       again, it's kind of hard to get that without the

18       constructive discussion that we've had.  And I think

19       it has been beneficial to see the views of each of

20       my respective colleagues and the views of not only

21       primary staff and alternate staff on the various

22       issues, because that's how you ensure you're getting

23       to the optimal decision by thoroughly vetting the

24       issues.  And there's nothing wrong with however long

25       it takes to vet an issue that constitutes

FLORIDA PUBLIC SERVICE COMMISSION

188

1       expenditure of $1.53 billion.  I mean however long

2       it takes, it's the right thing to do, and I'm glad

3       that we had a very thorough, vetted discussion on

4       this.

5                 CHAIRMAN CARTER:  And, Commissioners,

6       before I ask for, for a disposition of this matter,

7       I'm going to, when I do that, I'm going to be asking

8       for a disposition of this matter pursuant to Item,

9       Issue 10.  But I do want to say, before we go

10       forward I do want to say to our staff, both the one

11       that had the primary recommendation and the

12       alternative recommendation, we sincerely appreciate

13       it.  It really does help us when we have different

14       opportunities and different options and all like

15       that.  And I think it's good for staff to have

16       different ideas.  You know, if everybody had an

17       idea, we wouldn't need a staff.  We'd just use some

18       robots.  And I see the passion that you have for the

19       perspective that you presented before us, and I

20       think that's good.  I think in that process we come

21       up with the best answer and the best possible

22       decision.  I think that's healthy, and you guys keep

23       on.  You don't really have to agree with everyone,

24       you know.

25                 But I think that based upon my reading of

FLORIDA PUBLIC SERVICE COMMISSION

189

1       the case, I, I think that the quality of the

2       product, both from the primary recommendation and

3       the alternative recommendation, are equal.  I don't

4       think there's any problem with the quality of the

5       work or anything like that.  So I just wanted to say

6       that, Commissioners.  Because I do think it gives us

7       the best possible opportunity when we, you know,

8       when we have staff going at it and saying, you know,

9       I disagree and then put it in paper, put it on paper

10       and say this is why we disagree.

11                 COMMISSIONER ARGENZIANO:  It's very

12       thought provoking.

13                 CHAIRMAN CARTER:  Absolutely.

14                 Okay.  Now let's go to Issue 10,

15       Commissioners.  Because I think from there we could

16       probably decide on where we're going next on this,

17       this case.  You want to take a stab at it,

18       Commissioner Edgar?

19                 COMMISSIONER EDGAR:  Mr. Chairman, I would

20       like to do that.  And if I may before I do that say

21       that I also, as I said earlier today, that I was

22       looking forward and hoping that we would have long

23       discussion and many questions about this item.  And

24       so I'm glad as well that we have had the opportunity

25       to do so.

FLORIDA PUBLIC SERVICE COMMISSION

190

1                 I will say that, as I've commented maybe a

2       few times today, that I still think there would

3       maybe be some value in issuing some type of finding

4       of need.  But I understand, I do listen, and I

5       understand that there is some discomfort with that.

6       But I also recognize that we've had a full

7       discussion on that point and have, have, in my

8       opinion have recognized if not this need but a need

9       for additional gas supply.  So with that -- and I

10       think that's an important statement.

11                 So with that, I will make an effort,

12       Mr. Chairman and Commissioners, to propose in the

13       form of a motion that we adopt the alternative

14       recommendation to Issue 10, and in keeping with that

15       would bring us then to Issue 17 to close the docket.

16       And I would put both of those into my motion.

17                 COMMISSIONER SKOP:  Second.

18                 CHAIRMAN CARTER:  Okay, Commissioners.

19       Now let's have some discussion.  Thank you,

20       Commissioner Edgar, for the, for the framing of

21       that.  I think it encapsulated what we were talking

22       about.

23                 Before we vote on it, Commissioners, any

24       further -- Commissioner Argenziano, you're

25       recognized.

FLORIDA PUBLIC SERVICE COMMISSION

191

1                 COMMISSIONER ARGENZIANO:  Is that with

2       the, including the request for bidding?  Is that

3       the -- is that what the motion is that Commissioner

4       Edgar --

5                 COMMISSIONER EDGAR:  I am looking directly

6       at, on Page 37, the alternative recommendation,

7       which says, "Staff recommends that FPL be required

8       to rebid the project."  And so the answer to that is

9       yes.

10                 COMMISSIONER ARGENZIANO:  Okay.  Got you.

11       Okay.  Thank you.

12                 CHAIRMAN CARTER:  Okay.  Good deal.

13                 Commissioner Skop, you're recognized in

14       debate.

15                 COMMISSIONER SKOP:  I think that the, the

16       adoption of the alternate staff recommendation

17       including the rebid and the, I guess the statement

18       in there that staff, as written in the

19       recommendation, that was the subject of the motion

20       and the second would include the ability for staff

21       to review the solicitation prior to issuance.  I

22       think that solves all the concerns, and I'm

23       comfortable moving forward with that.

24                 CHAIRMAN CARTER:  Okay.  Any further

25       debate?  Any further debate?  Hearing none, we have

FLORIDA PUBLIC SERVICE COMMISSION

192

1       a motion and a second on Issue 10, take an

2       alternative staff recommendation.

3                 COMMISSIONER EDGAR:  If I may make just

4       one final comment.

5                 CHAIRMAN CARTER:  Okay.

6                 COMMISSIONER EDGAR:  I am looking forward

7       to discussing in the future, hopefully not too far

8       in the future, the ways to address this need.  So

9       now I'm ready.

10                 CHAIRMAN CARTER:  Okay.  Okay.  Y'all

11       don't need me to restate the motion, do you?

12                 COMMISSIONER EDGAR:  No.

13                 CHAIRMAN CARTER:  Any further debate?

14                 COMMISSIONER SKOP:  Just, Mr. Chair, I

15       think the motion also encompasses closing the docket

16       on Issue 17.

17                 COMMISSIONER EDGAR:  Yes.

18                 CHAIRMAN CARTER:  And it also encloses --

19       it also includes Issue 17, which is closing the

20       docket.

21                 We have a motion and a second.  All in

22       favor, let it be known by the sign of aye.

23                 (Affirmative vote.)

24                 All those opposed, like sign.  Show it

25       done.

FLORIDA PUBLIC SERVICE COMMISSION

193

1                 Staff, I hope you took good notes.

2                 COMMISSIONER EDGAR:  Always.

3                 CHAIRMAN CARTER:  With that,

4       Commissioners, we are adjourned.

5                 (Agenda adjourned at 4:06 p.m.)

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

194

1       STATE OF FLORIDA   )

2                          :     CERTIFICATE OF REPORTERS

3       COUNTY OF LEON     )

4                 WE, JANE FAUROT, RPR, and LINDA BOLES,

RPR, CRR, Official Commission Reporters, do hereby

5       certify that the foregoing proceeding was heard at

the time and place herein stated.

6

IT IS FURTHER CERTIFIED that we

7       stenographically reported the said proceedings; that

the same has been transcribed under our direct

8       supervision; and that this transcript constitutes a

true transcription of our notes of said proceedings.

9

WE FURTHER CERTIFY that we are not a

10       relative, employee, attorney or counsel of any of

the parties, nor are we a relative or employee of

11       any of the parties' attorneys or counsel connected

with the action, nor are we financially interested

12       in the action.

13

14             DATED THIS 19th day of October, 2009.

15

16       ______________________  ____________________________

JANE FAUROT, RPR         LINDA BOLES, CRR, RPR

17       FPSC Official Commission FPSC Official Commission

Reporter                   Reporter

18       (850) 413-6732           (850) 413-6734

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION