## DEF Dashboard
Summary tables for all three sectors (Res/Com/Ind):
Table 1. Theoretical Technical Potential Savings for Residential and Non-Residential Sectors | [5 empty] | Results Compare from 2013 Revision |  |  |  |  | Results Compare from ITRON 2009
|  | Residential | Non-Residential | Total |  |  | Residential | Non-Residential | Total |  |  | Residential | Non-Residential | Total
| 2020 Summer Peak (MW) | 4998.0812 | 3227.1855 | 8225.2667 |  | Summer Peak (MW) | 4713 | 2277 | 6990 |  | Summer Peak (MW) | 4698 | 2307 | 7005
| Technical Summer Peak Savings (MW) | 1434.4158 | 1857.31 | 3291.7258 |  | Summer Peak Savings (MW) | 735 | 270 | 1005 |  | Summer Peak Savings (MW) | 734 | 272 | 1006
| % of Summer Peak | 28.7% | 57.55% | 40.02% |  | % of Summer Peak | 15.6% | 11.86% | 14.38% |  | % of Summer Peak | 15.62% | 11.79% | 14.36%
| 2020 Winter Peak (MW) | 5651.7587 | 3024.9349 | 8676.6936 |  | Winter Peak (MW) | 5262 | 1546 | 6808 |  | Winter Peak (MW) | 5175 | 1599 | 6774
| Technical Winter Peak Savings (MW) | 2626.5018 | 1788.152 | 4414.6538 |  | Winter Peak Savings (MW) | 868 | 89 | 957 |  | Winter Peak Savings (MW) | 856 | 92 | 948
| % of Winter Peak | 46.47% | 59.11% | 50.88% |  | % of Winter Peak | 16.5% | 5.757% | 14.06% |  | % of Winter Peak | 16.54% | 5.754% | 13.99%
Table 2. Summer Peak Demand by Segment by Sector
| Residential |  |  |  | GS |  |  |  | GSD
| Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak
| Single Family | 3575.2133 | 71.53% |  | 0-15,000 kWh | 152.9699 | 47.25% |  | 0-50 kW | 677.3736 | 23.33%
| Multi-Family | 909.5485 | 18.2% |  | 15,001-25,000 kWh | 63.3734 | 19.58% |  | 51-300 kW | 957.2484 | 32.97%
| Mobile Home/Other | 513.3194 | 10.27% |  | 25,001-50,000 kWh | 56.2095 | 17.36% |  | 301-500 kW | 350.0426 | 12.06%
[5 empty] | 50,000 kWh+ | 51.1701 | 15.81% |  | 501 kW+ | 918.7981 | 31.64%
| Total | 4998.0812 | 100% |  | Total | 323.7229 | 100% |  | Total | 2903.4626 | 100%
Table 3. Winter Peak Demand by Segment by Sector
| Residential |  |  |  | GS |  |  |  | GSD
| Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak |  | Segment | MW | % of Sector Peak
| Single Family | 4062.549 | 71.88% |  | 0-15,000 kWh | 125.7671 | 46.43% |  | 0-50 kW | 636.2549 | 23.1%
| Multi-Family | 958.8842 | 16.97% |  | 15,001-25,000 kWh | 56.7445 | 20.95% |  | 51-300 kW | 822.8466 | 29.88%
| Mobile Home/Other | 630.3255 | 11.15% |  | 25,001-50,000 kWh | 50.0811 | 18.49% |  | 301-500 kW | 314.599 | 11.42%
[5 empty] | 50,000 kWh+ | 38.2607 | 14.13% |  | 501 kW+ | 980.3811 | 35.6%
| Total | 5651.7587 | 100% |  | Total | 270.8534 | 100% |  | Total | 2754.0816 | 100%
Table 4. Summer Peak Potential by End Use by Sector (UNADJUSTED)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 0 | 0% |  | Space Heating | 0 | 0% |  | All | 2902.7193 | 99.97%
| Space Cooling | 2931.5905 | 58.65% |  | Space Cooling | 143.1881 | 44.23%
| Water Heater | 338.1067 | 6.765%
| Pool Pump | 287.2627 | 5.747%
| Total | 3556.96 | 71.17% |  | Total | 143.1881 | 44.23% |  | Total | 2902.7193 | 99.97%
Table 5. Winter Peak Potential by End Use by Sector (UNADJUSTED)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 3669.1328 | 64.92% |  | Space Heating | 86.1462 | 31.81% |  | All | 2753.7559 | 99.99%
| Space Cooling | 0 | 0% |  | Space Cooling | 0 | 0%
| Water Heater | 650.8813 | 11.52%
| Pool Pump | 218.3331 | 3.863%
| Total | 4538.3472 | 80.3% |  | Total | 86.1462 | 31.81% |  | Total | 2753.7559 | 99.99%
Table 6. Summer Peak Potential by End Use by Sector (ADJUSTED FOR EXISTING DR)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 0 | 0% |  | Space Heating | 0 | 0% |  | All | 2266.2029 | 78.05%
| Space Cooling | 2126.5782 | 42.55% |  | Space Cooling | 143.1876 | 44.23%
| Water Heater | 245.9707 | 4.921%
| Pool Pump | 208.914 | 4.18%
| Total | 2581.463 | 51.65% |  | Total | 143.1876 | 44.23% |  | Total | 2266.2029 | 78.05%
Table 7. Winter Peak Potential by End Use by Sector (ADJUSTED FOR EXISTING DR)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 2663.1779 | 47.12% |  | Space Heating | 86.146 | 31.81% |  | All | 1950.2172 | 70.81%
| Space Cooling | 0 | 0% |  | Space Cooling | 0 | 0%
| Water Heater | 473.5125 | 8.378%
| Pool Pump | 158.7845 | 2.809%
| Total | 3295.4748 | 58.31% |  | Total | 86.146 | 31.81% |  | Total | 1950.2172 | 70.81%
Table 8. Summer Peak Potential by End Use by Sector (ADJUSTED FOR EE MEASURES AND FOR EXISTING DR)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 0 | 0% |  | Space Heating | 0 | 0% |  | All | 1753.728 | 60.4%
| Space Cooling | 1065.5078 | 21.32% |  | Space Cooling | 103.582 | 32%
| Water Heater | 187.827 | 3.758%
| Pool Pump | 181.081 | 3.623%
| Total | 1434.4158 | 28.7% |  | Total | 103.582 | 32% |  | Total | 1753.728 | 60.4%
Table 9. Winter Peak Potential by End Use by Sector (ADJUSTED FOR EE MEASURES AND FOR EXISTING DR)
| Residential |  |  |  | GS |  |  |  | GSD
| End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak |  | End Use | MW | % of Sector Peak
| Space Heating | 2195.8488 | 38.85% |  | Space Heating | 72.974 | 26.94% |  | All | 1715.178 | 62.28%
| Space Cooling | 0 | 0% |  | Space Cooling | 0 | 0%
| Water Heater | 354.273 | 6.268%
| Pool Pump | 76.38 | 1.351%
| Total | 2626.5018 | 46.47% |  | Total | 72.974 | 26.94% |  | Total | 1715.178 | 62.28%
Residential
| End Use | Summer MW | Winter MW |  | End Use | Summer MW | Winter MW |  | GSD
| Space Heating | 0 | 2195.8488 |  | Space Heating | 0 | 72.974 |  | Segment | Summer MW | Winter MW
| Space Cooling | 1065.5078 | 0 |  | Space Cooling | 103.582 | 0 |  | 0-50 kW | 503.124 | 537.123
| Water Heater | 187.827 | 354.273 | [5 empty] | 51-300 kW | 702.432 | 684.147
| Pool Pump | 181.081 | 76.38 | [5 empty] | 301-500 kW | 174.068 | 160.325
| Total | 1434.4158 | 2626.5018 |  | Total | 103.582 | 72.974 |  | 501 kW+ | 374.104 | 333.583
[9 empty] | Total | 1753.728 | 1715.178
|  | Residential | Non-Residential | Total
| 2020 Summer Peak (MW) | 4998.0812 | 3227.1855 | 8225.2667
| Technical Summer Peak Savings (MW) | 1434.4158 | 1857.31 | 3291.7258
| % of Summer Peak | 28.7% | 57.55% | 40.02%
| 2020 Winter Peak (MW) | 5651.7587 | 3024.9349 | 8676.6936
| Technical Winter Peak Savings (MW) | 2626.5018 | 1446.26 | 4072.7618
| % of Winter Peak | 46.47% | 47.81% | 46.94%
|  | 2020 Summer Peak (MW) | Technical Summer Peak Savings (MW) | % of Summer Peak | 2020 Winter Peak (MW) | Technical Winter Peak Savings (MW) | % of Winter Peak
| Residential | 4998.0812 | 1434.4158 | 28.7% | 5651.7587 | 2626.5018 | 46.47%
| Non-Residential | 3227.1855 | 1857.31 | 57.55% | 3024.9349 | 1446.26 | 47.81%
| Total | 8225.2667 | 3291.7258 | 40.02% | 8676.6936 | 4072.7618 | 46.94%

## DEF Inputs
DEF Technical Potential - 2018 Study (Scaled to 2020)
| Res Curtailable Load (MW) | GS Curtailable Load (MW) | GSD Curtailable Load (MW) | Non-Res Curtailable | Total Curtailable Load (MW) | System Load (MW) | % of System Load
Summer | 2581.4627 | 143.1881 | 2502 | 2645.1881 | 5510.2812 | 9192.9501 | 56.9%
Winter | 3295.4756 | 86.1462 | 2352 | 2438.1462 | 6023.9336 | 9537.0625 | 60.1%
DEF Technical Potential - 2009 Study
| Res Curtailable Load (MW) | GS Curtailable Load (MW) | GSD Curtailable Load (MW) | Non-Res Curtailable | Total Curtailable Load (MW) | Res Baseline | NonRes Baseline | System Load (MW) | % of System Load
Summer | 734 | 252 | 20 | 272 | 1006 | 4698 | 2307 | 7005 | 14.36%
Winter | 856 | 86 | 6 | 92 | 948 | 5175 | 1599 | 6773 | 14%
DEF Technical Potential - 2014 Study
| Res Curtailable Load (MW) | GS Curtailable Load (MW) | GSD Curtailable Load (MW) | Non-Res Curtailable | Total Curtailable Load (MW) | Res Baseline | NonRes Baseline | System Load (MW) | % of System Load
Summer | 735 | 250 | 20 | 270 | 1005 | 4713 | 2277 | 6990 | 14.38%
Winter | 868 | 83 | 6 | 89 | 957 | 5262 | 1546 | 6809 | 14.05%
Winter Peak Loads (kW)
| Res Segments Heating Load (kW) |  | GS Segments Heating Load (kW) |  | GSD Segments Total Load (kW) |  | Residential Pool Pump and Water Heater Load
Population | Single Family | 1452979 | 0-15,000 kWh | 33176 | 0-50 kW | 492510.7497 | SF Pool Pump | - | SF Water Heater | 222274
| Multi-Family | 424913 | 15,001-25,000 kWh | 15473 | 51-300 kW | 627323.7391 | MF Pool Pump | - | MF Water Heater | 115215
| Mobile Home/Other | 269782 | 25,001-50,000 kWh | 12912 | 301-500 kW | 147008.4 | MH Pool Pump | - | MH Water Heater | 44367
| Total | 2147674 | 50,001 kWh + | 7911 | 501 kW + | 305876.2 | Total Pool Pump | 128049 | Total Water Heater | 381856
|  |  | Total | 69471 | Total | 1572719.0888
Summer Peak Loads by End Use (kW)
| Res Segments Cooling Load (kW) |  | GS Segments Cooling Load (kW) |  | GSD Segments Total Load (kW) |  | Residential Pool Pump and Water Heater Load
Population | Single Family | 1410266 | 0-15,000 kWh | 83177 | 0-50 kW | 613870.2614 | SF Pool Pump | - | SF Water Heater | 135188
| Multi-Family | 342967 | 15,001-25,000 kWh | 22811 | 51-300 kW | 857048.9155 | MF Pool Pump | - | MF Water Heater | 70074
| Mobile Home/Other | 254687 | 25,001-50,000 kWh | 13982 | 301-500 kW | 212382.805 | MH Pool Pump | - | MH Water Heater | 26984
| Total | 2007919 | 50,001 kWh + | 15228 | 501 kW + | 456450.8308 | Total Pool Pump | 197257 | Total Water Heater | 232246
|  |  | Total | 135198 | Total | 2139752.8127
2016 Technical Potential with DR Adjustment
| Peak Day | Peak Hour (HE) | Residential Curtailable Load (MW) | Total Residential Load (MW)* | GS Curtailable Load (MW) | GS Total Load (MW) | GSD Curtailable Load (MW) | Total Curtailable Load (MW) | System Load (MW) | % of System Load
Summer | 2016-08-22 | 17 | 2437.4217 | 4677.866 | 135.1984 | 322.295 | 2139.7528 | 4712.373 | 8680 | 54.29%
Winter | 2016-01-25 | 8 | 2657.5796 | 4773.67 | 69.4711 | 228.46 | 1572.7191 | 4299.7698 | 7691 | 55.91%
2016 Technical Potential Without DR Adjustment
| Peak Day | Peak Hour (HE) | Residential Heating/Cooling Curtailable Load (MW) | Residential Water Heater Curtailable Load | Residential Pool Pump Curtailable Load | GS Heating/Cooling Curtailable Load | GSD Curtailable Load (MW)
Summer | 2016-08-22 | 17 | 2768.013 | 319.241 | 271.234 | 135.1984 | 2740.7528
Winter | 2016-01-25 | 8 | 2958.909 | 524.892 | 176.071 | 69.4711 | 2220.7191
ADJUSTED TP RESULTS for Both EE and DR
RES | [6 empty] | SMB |  |  | LCI
Housing Type | Winter Res Heating (kW) | Summer Res Cooling (kW) | Summer Res Pool Pump (kW) | Summer Res Water Heater (kW) | Winter Res Pool Pump (kW) | Winter Res Water Heater (kW) | Segment | SMB Heating (kW) | SMB Cooling (kW) | Segment | LCI Winter kW | LCI Summer kW
Single Family | 1485571.0203 | 748361.5454 | 181081 | 109332 | 76380 | 206218 | 0-15,000 kWh | 34849 | 63726 | 0-50 kW | 537123 | 503124
Multi Family | 434444.2609 | 181996.1076 |  | 56672 |  | 106893 | 15,001-25,000 kWh | 16253 | 17477 | 51-300 kW | 684147 | 702432
Mobile Home/Other | 275833.5466 | 135150.1097 |  | 21823 |  | 41162 | 25,001-50,000 kWh | 13563 | 10712 | 301-500 kW | 160325 | 174068
[7 empty] | 50,001 kWh + | 8309 | 11667 | 501 kW + | 333583 | 374104
%Diff between 2016 and 2020 system peak (from 10 year site plan):
Summer: | 5.91% |  | 2016 Peak Load By Segments (No Disaggregation)
Winter: | 24% |  | Customer Counts (ALL CUSTOMERS INCL. DR) |  | Avg Winter Peak | Avg Summer Peak | Winter Peak Load | Summer Peak Load
|  |  | Single Family | 924706 | 3.5429 | 3.6506 | 3276172.7898 | 3375722.8464
|  |  | Multi-Family | 431225 | 1.7932 | 1.9915 | 773275.6455 | 858797.3518
|  |  | Mobile Home/Other | 168898 | 3.0096 | 2.8696 | 508315.1506 | 484677.0648
|  |  | Total | 1524829 |  |  | 4557763.5858 | 4719197.2629
0-50 kW | 44937.7222 |  | 0-15,000 kWh | 124529 | 0.81445 | 1.1598 | 101422.6988 | 144434.4501
51-300 kW | 10922.2617 |  | 15,001-25,000 kWh | 14816 | 3.0886 | 4.0387 | 45760.6013 | 59837.2947
301-500 kW | 1067.3152 |  | 25,001-50,000 kWh | 7474 | 5.4037 | 7.101 | 40387.0311 | 53073.093
501 kW + | 1160.0799 |  | 50,001 kWh + | 3032 | 10.1764 | 15.935 | 30854.6993 | 48314.9352
Total | 58087.379 |  | Total | 149851 |  |  | 218425.0305 | 305659.773
|  |  | 0-50 kW | 44937.7222 | 11.418 | 14.2325 | 513096.8 | 639577.3445
|  |  | 51-300 kW | 10922.2617 | 60.7539 | 82.7517 | 663570.4757 | 903835.6361
|  |  | 301-500 kW | 1067.3152 | 237.702 | 309.6656 | 253702.9683 | 330510.8231
|  |  | 501 kW + | 1160.0799 | 681.5147 | 747.8199 | 790611.4586 | 867530.7884
|  |  | Total | 58087.379 |  |  | 2220981.7026 | 2741454.5922
Table 4-7: 2013 Forecast Refresh of iTron DR Technical Potential Study
[13 empty] | Summer System Peak |  |  |  |  | Winter System Peak
[13 empty] | Baseline | High |  | Low |  | Baseline | High |  | Low
[13 empty] | (MW) | (MW) | (%) | (MW) | (%) | (MW) | (MW) | (%) | (MW) | (%)
Table 4-7: 2009 DR Technical Potential in PEF by Sector, DR Enabling Technology/Tariff, and Scenario | [13 empty] | 98.973 | 2.1% | 174.381 | 3.7% |  | 105.2459 | 2% | 189.4425 | 3.6%
Sector | DR-Enabling Technology and Tariff | Summer System Peak | [5 empty] | Winter System Peak | [5 empty] | 155.529 | 3.3% | 282.7799 | 6% |  | 173.6557 | 3.3% | 310.4753 | 5.9%
|  | Baseline | High |  |  | Low |  | Baseline | High |  | Low |  |  | 282.7799 | 6% | 56.556 | 1.2% |  | 310.4753 | 5.9% | 63.1475 | 1.2%
|  | (MW) | (MW) |  | (%) | (MW) | (%) | (MW) | (MW) | (%) | (MW) | (%) |  | 65.982 | 1.4% | 14.139 | 0.3% |  | 184.1803 | 3.5% | 36.8361 | 0.7%
Residential | A/C Cycling Switch w/ flat rate |  | 97 |  | 2.1% | 175 | 3.7% |  | 105 | 2% | 189 | 3.6% |  | 51.843 | 1.1% | 9.426 | 0.2% |  | 10.5246 | 0.2% | 2.1049 | 0.04%
| A/C Shedding Switch w/ flat rate |  | 157 |  | 3.3% | 282 | 6% |  | 169 | 3.3% | 304 | 5.9% |  | 80.121 | 1.7% | 14.139 | 0.3% |  | 89.459 | 1.7% | 15.7869 | 0.3%
| Smart Thermostats for A/C w/ CPP |  | 282 |  | 6% | 56 | 863.5328 |  | 304 | 5.9% | 61 | 1.2% | 4712.9991 | 735.2279 | 15.6% | 556.1339 | 11.8% | 5262.2929 | 868.2783 | 16.5% | 620.9506 | 11.8%
| On-Off Switching via low-power wireless networks for water heating w/ CPP |  | 65 |  | 1.4% | 13 | 0.3% |  | 180 | 3.5% | 36 | 0.7% |  | 107.5053 | 6.2% | 31.2112 | 1.8% |  | 52.8865 | 4.7% | 14.6282 | 1.3%
| On-Off Switching via low-power wireless networks for pool systems w/ CPP |  | 51 |  | 1.1% | 10 | 0.2% |  | 10 | 0.2% | 2 | 0% |  | 142.1845 | 8.2% | 142.1845 | 8.2% |  | 30.3816 | 2.7% | 30.3816 | 2.7%
| In-home displays and pre-set control strategies w/ CPP |  | 82 |  | 1.7% | 16 | 0.3% |  | 89 | 1.7% | 18 | 0.3% | 1733.9567 | 249.6898 | 14.4% | 171.6617 | 9.9% | 1125.2444 | 83.2681 | 7.4% | 45.0098 | 4%
| Total Residential | 4698 | 734 |  | 15.6% | 553 | 11.8% | 5175 | 856 | 16.5% | 609 | 11.8% |  | 8.6846 | 1.6% | 2.7139 | 0.5% |  | 4.2097 | 1% | 1.2629 | 0.3%
Commercial | Automated control strategies w/ CPP |  | 109 |  | 6.2% | 31 | 1.8% |  | 55 | 4.7% | 16 | 1.3% |  | 10.8557 | 2% | 10.8557 | 2% |  | 1.6839 | 0.4% | 1.6839 | 0.4%
| Direct load control system |  | 144 |  | 8.2% | 144 | 8.2% |  | 31 | 2.7% | 31 | 2.7% | 542.7867 | 19.5403 | 3.6% | 13.0269 | 2.4% | 420.9699 | 5.8936 | 1.4% | 2.9468 | 0.7%
| Total Commercial | 1757 | 252 |  | 14.4% | 175 | 9.9% | 1166 | 86 | 7.4% | 47 | 4% | 6989.7425 | 1004.4579 | 14.4% | 740.8225 | 10.6% | 6808.5072 | 957.44 | 14% | 668.9071 | 9.7%
Industrial | Automated control Strategies w/ CPP |  | 9 |  | 1.6% | 3 | 0.5% |  | 4 | 1% | 1 | 0.3%
| Direct load control system |  | 11 |  | 2% | 11 | 2% |  | 2 | 0.4% | 2 | 0.4%
| Total Industrial | 550 | 20 |  | 3.6% | 13 | 2.4% | 433 | 6 | 1.4% | 3 | 0.7%
TOTAL |  | 7005 | 1006 |  | 14.4% | 741 | 10.6% | 6773 | 948 | 14% | 659 | 9.7%
DEF Peak Demand Forecast (from 10 year site plan)
Note on A36: Stephanie Bieler: Curtailable Load from DR customers added to Curtailable load from customers not enrolled in DR

## NOTES
NOTES ON TABLES FOR DASHBOARD
Table 1 Peak demand (Row 6 and Row 9) includes all customers in each segment (both customers enrolled in DR and customers not enrolled in DR), TP (Row 7 and Row 10) is adjusted to exclude DR customers and make EE adjustments
Tables 2-3 Record system peaks for all customers in each segment, this is the total demand for each customer segment during the DEF system peak
Tables 4-5 Record TP for all customers including DR customers - this is not the true TP for DEF, it is just for reference
Tables 6-7 Record TP excluding existing DR customers, but do not include EE adjustment
Tables 8-9 Record TP excluding existing DR customers and include EE adjustment
Peak demands include all customers and have not been adjusted for EE measures