## Summertree
252/414 (625) Summertree 2019 (Sewer Treatment by Pasco County)
Hyperlinks!A1
Sewer Treatment By Pasco County
Pasco County Utilities Services Branch |  |  |  | (Billing cycle for sewer purchased is the 22nd - 27th of the month
Acct: 0080930 |  |  |  | following the 'service to date')
| Service Dates |  |  | Meter Read |  |  |  |  | Master L/S Totalizer Reads
| From | To | No. of Cons. Days | Previous | Current | Gallons Used | UIF Flow |  | Start Read | To | Total | WW
2019-12-01 |  | 2018-12-28 | [5 empty] | 2019-12-01 |  | 160091 |  | Billed | Total RF
2019-01-01 | 2018-12-28 | 2019-01-29 | 32 | 159762 | 163232 | 3.47 | 3.369 | 2019-01-01 | 160091 | 163202 | 3.111 | 2.779 | 11.8
February | 2019-01-29 | 2019-02-28 | 30 | 163232 | 166459 | 3.227 | 3.13 | February | 163202 | 166332 | 3.13 | 2.9303 | 1.1
March | 2019-02-28 | 2019-03-29 | 29 | 166459 | 169354 | 2.895 | 3.113 | March | 166332 | 169445 | 3.113 | 2.537 | 0.8
April | 2019-03-29 | 2019-04-29 | 31 | 169354 | 172407 | 3.053 | 2.975 | April | 169445 | 172420 | 2.975 | 2.5498 | 4.1
May | 2019-04-29 | 2019-05-31 | 32 | 172407 | 175135 | 2.728 | 2.66 | May | 172420 | 175080 | 2.66 | 2.22 | 4.3
June | 2019-05-31 | 2019-06-28 | 28 | 175135 | 177839 | 2.704 | 2.752 | June | 175080 | 177898 | 2.818 | 2.3254 | 10.3
July | 2019-06-28 | 2019-07-30 | 32 | 177839 | 180435 | 2.596 | 2.61 | July | 177898 | 180442 | 2.544 | 2.0225 | 10.5
August | 2019-07-30 | 2019-08-30 | 31 | 180435 | 183818 | 3.383 | 2.582 | August | 180442 | 183173 | 2.731 | 1.9339 | 15.8
September | 2019-08-30 | 2019-09-30 | 31 | 183818 | 186819 | 3.001 | 3.813 | September | 183173 | 186837 | 3.664 | 1.9343 | 1.8
October | 2019-09-30 | 2019-10-30 | 30 | 186819 | 189707 | 2.888 | 2.854 | October | 186837 | 189705 | 2.868 | 2.3125 | 8.9
November | 2019-10-30 | 2019-11-27 | 28 | 189707 | 192253 | 2.546 | 2.551 | November | 189705 | 192502 | 2.797 | 2.3279 | 2.4
December | 2019-11-27 | 2019-12-27 | 30 | 192253 | 195161 | 2.869 | 2.896 | December | 192502 | 195578 | 3.076 | 2.2395 | 4.5
[5 empty] | Total | 35.36 | 35.305 |  |  | YTD | 35.487 | 28.1121 | 76.3
Formulas:
Service Dates = [To, row above]
Note on B14: Pulled from Purchased Water and Sewer workbook (invoice data).
Note on E14: Pulled from Purchased Water and Sewer workbook. (invoice details)
Note on D15: Pulled from Purchased Water and Sewer worksheets (invoice details)
Note on G15: Pulled from Purchase Water-Sewer workbook.(invoice details)

## Summertree Flow Summary
Summertree 2019Totalizer Reads/Flow
Hyperlinks!A1
Meter Reads | Prev: | 160091
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 | 160196 | 160292 | 160393 | 160619 | 160730 |  | 160785 | 160947 | 160993 | 161133 | 161207 | 161333 |  | 161611 | 161644 | 161736 | 161827 | 161892 | 162034 |  | 162272 | 162370 | 162480 | 162602 | 162702 | 162834 |  | 163097 | 163202 | 163352 | 163460
February | 163460 | 163581 | 163720 |  | 163925 | 164040 | 164131 | 164241 | 164315 | 164464 |  | 164672 | 164765 | 164858 | 164954 | 165068 | 165211 |  | 165385 | 165525 | 165596 | 165695 | 165834 | 165945 |  | 166154 | 166250 | 166332 | 166468
March | 166568 | 166683 |  | 166852 | 166960 | 167076 | 167227 | 167322 | 167385 |  | 167636 | 167734 | 167852 | 167964 | 168030 | 168163 |  | 168379 | 168478 | 168576 | 168641 | 168738 | 168873 |  | 169034 | 169156 | 169265 | 169362 | 169445 | 169576
April | 169741 | 169854 | 169950 | 170039 | 170120 | 170243 |  | 170439 | 170496 | 170588 | 170675 | 170769 | 170896 |  | 171065 |  |  | 171347 | 171445 | 171583 |  | 171779 | 171839 | 171945 | 172011 | 172118 | 172257 |  | 172420 | 172512
May | 172583 | 172638 | 172754 | 172883 |  | 173041 | 173126 | 173232 | 173321 | 173366 | 173463 |  |  | 173713 | 173802 | 173887 | 173980 | 174099 | [12 empty] | 175080
June | 175193 |  | 175355 | 175441 | 175559 | 175616 | 175689 | 175783 |  | 175966 | 176060 | 176106 | 176196 | 176289 | 176389 |  | 176652 | 176765 | 176874 | 177066 | 177177 | 177280 |  |  | 177582 | 177667 | 177740 | 177832 | 177898
July | 178100 | 178195 | 178250 | 178342 | 178422 | 178513 |  | 178725 |  | 178933 | 179016 | 179088 | 179177 |  | 179367 | 179445 | 179608 | 179670 |  |  |  |  | 179752 | 179837 | 179934 | 180044 | 180158 |  | 180368 | 180442 | 180500
August | 180609 | 180686 | 180776 |  | 180959 | 181064 | 181127 | 181211 | 181309 | 181360 |  | 181553 | 181665 | 181770 | 181944 | 182192 | 182476 |  | 182872 | 183030 | 183157 | 183288 | 183316 | 183459 |  | 183650 | 183748 | 183842 | 183957 | 183024 | 183173
September | 183315 | 183470 | 183573 | 184645 | 184766 | 184835 | 185015 |  | 185015 | 185117 | 185204 |  | 185409 | 185466 |  | 185650 | 185745 | 185844 | 185925 | 185986 | 186066 |  | 186224 | 186323 | 186375 | 186469 | 186535 | 186663 |  | 186837
October | 186907 | 186989 | 187058 | 187127 | 187178 |  | 187381 | 187461 | 187552 | 187609 | 187731 | 187826 |  | 187980 | 188072 | 188153 | 188222 | 188347 | 188435 |  | 188724 | 188795 | 188905 | 189003 | 189144 | 189202 |  | 189386 | 189500 |  | 189705
November | 189835 | 189929 |  | 190157 | 190216 | 190332 | 190413 | 190516 | 190569 |  | 190765 | 190863 | 190949 | 191052 | 191115 | 191222 |  | 191424 | 191513 |  | 191598 | 191791 | 191847 |  | 192053 | 192144 | 192256 | 192325 | 192425 | 192502
December |  | 192731 | 192783 | 192871 | 192962 | 193101 | 193201 |  | 193376 | 193430 | 193522 | 193649 | 193705 | 193823 |  | 193984 | 194078 | 194212 | 194293 | 194403 | 194499 |  | 194730 | 194832 | 194947 | 195084 | 195152 | 195266 |  | 195464 | 195578
Flow
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total
2019-01-01 | 0.105 | 0.096 | 0.101 | 0.226 | 0.111 | 0.0275 | 0.0275 | 0.162 | 0.046 | 0.14 | 0.074 | 0.126 | 0.139 | 0.139 | 0.033 | 0.092 | 0.091 | 0.065 | 0.142 | 0.119 | 0.119 | 0.098 | 0.11 | 0.122 | 0.1 | 0.132 | 0.1315 | 0.1315 | 0.105 | 0.15 | 0.108 |  | 3.369
February | 0.121 | 0.139 | 0.103 | 0.1025 | 0.115 | 0.091 | 0.11 | 0.074 | 0.149 | 0.104 | 0.104 | 0.093 | 0.093 | 0.096 | 0.114 | 0.143 | 0.087 | 0.087 | 0.14 | 0.071 | 0.099 | 0.139 | 0.111 | 0.105 | 0.1045 | 0.096 | 0.082 | 0.136 |  |  |  |  | 3.009
March | 0.1 | 0.115 | 0.0845 | 0.0845 | 0.108 | 0.116 | 0.151 | 0.095 | 0.063 | 0.1255 | 0.1255 | 0.098 | 0.118 | 0.112 | 0.066 | 0.133 | 0.108 | 0.108 | 0.099 | 0.098 | 0.065 | 0.097 | 0.135 | 0.0805 | 0.0805 | 0.122 | 0.109 | 0.097 | 0.083 | 0.131 | 0.083 |  | 3.191
April | 0.0825 | 0.113 | 0.096 | 0.089 | 0.081 | 0.123 | 0.098 | 0.098 | 0.057 | 0.092 | 0.087 | 0.094 | 0.127 | 0.0845 | 0.0845 | 0.094 | 0.094 | 0.094 | 0.098 | 0.138 | 0.098 | 0.098 | 0.06 | 0.106 | 0.066 | 0.107 | 0.139 | 0.0815 | 0.0815 | 0.092 |  |  | 2.8535
May | 0.071 | 0.055 | 0.116 | 0.129 | 0.079 | 0.079 | 0.085 | 0.106 | 0.089 | 0.045 | 0.097 | 0.083333 | 0.083333 | 0.083333 | 0.089 | 0.085 | 0.093 | 0.119 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 | 0.075462 |  | 2.568
June | 0.113 | 0.081 | 0.081 | 0.086 | 0.118 | 0.057 | 0.073 | 0.094 | 0.092 | 0.0915 | 0.094 | 0.046 | 0.09 | 0.093 | 0.1 | 0.132 | 0.1315 | 0.113 | 0.109 | 0.192 | 0.111 | 0.103 | 0.101 | 0.101 | 0.10067 | 0.085 | 0.073 | 0.092 | 0.066 | 0.101 |  |  | 2.9207
July | 0.101 | 0.101 | 0.095 | 0.055 | 0.092 | 0.08 | 0.091 | 0.106 | 0.106 | 0.104 | 0.104 | 0.083 | 0.072 | 0.089 | 0.095 | 0.095 | 0.078 | 0.163 | 0.062 | 0.0164 | 0.0164 | 0.0164 | 0.0164 | 0.0164 | 0.085 | 0.097 | 0.11 | 0.114 | 0.105 | 0.105 | 0.074 | 0.058 | 2.544
August | 0.109 | 0.077 | 0.09 | 0.0915 | 0.0915 | 0.105 | 0.063 | 0.084 | 0.098 | 0.051 | 0.0965 | 0.0965 | 0.112 | 0.105 | 0.174 | 0.248 | 0.284 | 0.198 | 0.198 | 0.158 | 0.127 | 0.131 | 0.028 | 0.143 | 0.0955 | 0.0955 | 0.098 | 0.094 | 0.115 | 0.067 | 0.149 |  | 3.673
September | 0.142 | 0.155 | 0.103 | 1.072 | 0.121 | 0.069 | 0.18 | 0 | 0 | 0.102 | 0.087 | 0.1025 | 0.1025 | 0.057 | 0.092 | 0.092 | 0.095 | 0.099 | 0.081 | 0.061 | 0.08 | 0.079 | 0.079 | 0.099 | 0.052 | 0.094 | 0.066 | 0.128 | 0.087 | 0.087 |  |  | 3.664
October | 0.07 | 0.082 | 0.069 | 0.069 | 0.051 | 0.102 | 0.1015 | 0.08 | 0.091 | 0.057 | 0.122 | 0.095 | 0.077 | 0.077 | 0.092 | 0.081 | 0.069 | 0.125 | 0.088 | 0.145 | 0.1445 | 0.071 | 0.11 | 0.098 | 0.141 | 0.058 | 0.092 | 0.092 | 0.114 | 0.103 | 0.1025 |  | 2.8695
November | 0.13 | 0.094 | 0.114 | 0.114 | 0.059 | 0.116 | 0.081 | 0.103 | 0.053 | 0.098 | 0.098 | 0.098 | 0.086 | 0.103 | 0.063 | 0.107 | 0.101 | 0.101 | 0.089 | 0.0425 | 0.0425 | 0.193 | 0.056 | 0.103 | 0.103 | 0.091 | 0.112 | 0.069 | 0.1 | 0.077 |  |  | 2.797
December | 0.1145 | 0.1145 | 0.052 | 0.088 | 0.091 | 0.139 | 0.1 | 0.0875 | 0.0875 | 0.054 | 0.092 | 0.127 | 0.056 | 0.118 | 0.0805 | 0.0805 | 0.094 | 0.134 | 0.081 | 0.11 | 0.096 | 0.1155 | 0.1155 | 0.102 | 0.115 | 0.137 | 0.068 | 0.114 | 0.099 | 0.099 | 0.114 |  | 3.076
|  | Date | Read | Usage | Formated
|  | 30 | 192502 |  | 0
|  | 1 |  | 114.5 | 0.1145
|  | 2 | 192731 | 114.5 | 0.1145
|  | 3 | 192783 | 52 | 0.052
|  | 4 | 192871 | 88 | 0.088
|  | 5 | 192962 | 91 | 0.091
|  | 6 | 193101 | 139 | 0.139
|  | 7 | 193201 | 100 | 0.1
|  | 8 |  | 87.5 | 0.0875
|  | 9 | 193376 | 87.5 | 0.0875
|  | 10 | 193430 | 54 | 0.054
|  | 11 | 193522 | 92 | 0.092
|  | 12 | 193649 | 127 | 0.127
|  | 13 | 193705 | 56 | 0.056
|  | 14 | 193823 | 118 | 0.118
|  | 15 |  | 80.5 | 0.0805
|  | 16 | 193984 | 80.5 | 0.0805
|  | 17 | 194078 | 94 | 0.094
|  | 18 | 194212 | 134 | 0.134
|  | 19 | 194293 | 81 | 0.081
|  | 20 | 194403 | 110 | 0.11
|  | 21 | 194499 | 96 | 0.096
|  | 22 |  | 115.5 | 0.1155
|  | 23 | 194730 | 115.5 | 0.1155
|  | 24 | 194832 | 102 | 0.102
|  | 25 | 194947 | 115 | 0.115
|  | 26 | 195084 | 137 | 0.137
|  | 27 | 195152 | 68 | 0.068
|  | 28 | 195266 | 114 | 0.114
|  | 29 |  | 99 | 0.099
|  | 30 | 195464 | 99 | 0.099
|  | 30 | 195578 | 114 | 0.114
|  |  | 3076 | 3076 | 3.076