## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Lake Tarpon | 0.0005 | 0 | 0.0005 | 0 | 0.0005 | 0 | 0.0005 | 0 | 0.0005 | 0 | 0.02522 | 0 | 0.0005 | 0 | 0.0005 | 0 | 0.0003 | 0 | 0.0005 | 0 | 0.0005 | 0 | 0.0005 | 0 | 0.03052
Total | 0.0005 |  | 0.0005 |  | 0.0005 |  | 0.0005 |  | 0.0005 |  | 0.02522 |  | 0.0005 |  | 0.0005 |  | 0.0003 |  | 0.0005 |  | 0.0005 |  | 0.0005

## Lake Tarpon
252/421 Lake Tarpon
PWS ID No. 6521000
CUP No. 20-10350-001 |  | Exp. 01/27/34
FDEP Permitted Max Day Capacity of Plant - .720 mgd |  |  |  |  | Keep Patrick, Mike and Lee informed of AFW% -
Purchased Water (Emergency Interconnect)
Hyper Links'!A1 | [5 empty] | Total Water Used/Loss |  |  | Source Meter Error Adj. Badger 33474580 6" 12/07/18 -5% | [7 empty] | Pinellas County Acct. No.: 100108869396 Meter No.: 031978992
| Total Pumped | Pumped Daily Avg. | Pumped Daily Max. | Purchased Gallons (Emerg. Intc) | Pumped + Purchased | Gallons Used | Gallons Loss | Total Used/ Loss | Meter Adj. % | Well 1 Pumped Meter Adj. | Pumped + Source Mtr Error, Less Gals Loss/Use | Billed Consumption | Total AFW(Totall Used/Loss + Billed | AFW % plus source mtr. error | Avg. Daily WL/Conn. | 2018 AFW % | Billing Period |  | # of Days in Cycle | Meter Reading |  | Meter Reading |  | Consumption
[17 empty] | From Date | To Date |  | Prior High | Current High | Prior Low | Current Low
2019-01-01 | 1.408 | 0.045419 | 0.1 | 0 | 1.408 | 0.0005 | 0 | 0.0005 | -5% | -0.0704 | 1.3371 | 1.305 | 1.3055 | 97.6% | 9.6154e-07 | 84.98% |  | 2018-12-27 |  |  | 16473000 |  | 5010000
February | 1.505 | 0.05375 | 0.156 | 0 | 1.505 | 0.0005 | 0 | 0.0005 | -5% | -0.07525 | 1.4292 | 1.3521 | 1.3526 | 94.6% | 9.6154e-07 | 93.03% | 2018-12-28 | 2019-02-27 | 61 | 16473000 | 16473000 | 5010000 | 5010000 | 0
March | 1.489 | 0.048032 | 0.119 | 0.1022 | 1.5912 | 0.0005 | 0 | 0.0005 | -5% | -0.07445 | 1.5163 | 1.5325 | 1.533 | 101.1% | 9.6154e-07 | 95.27%
April | 1.453 | 0.048433 | 0.102 | 0 | 1.453 | 0.0005 | 0 | 0.0005 | -5% | -0.07265 | 1.3799 | 1.325 | 1.3255 | 96.02% | 9.6154e-07 | 89.66% | 2019-02-28 | 2019-04-29 | 60 | 1647300 | 16542000 | 5010000 | 5042000 | 0.101
May | 1.319 | 0.042548 | 0.078 | 0 | 1.319 | 0.0005 | 0 | 0.0005 | -5% | -0.06595 | 1.2526 | 1.1821 | 1.1826 | 94.37% | 9.6154e-07 | 93.87%
June | 1.056 | 0.0352 | 0.086 | 0 | 1.056 | 0.02522 | 0 | 0.02522 | -5% | -0.0528 | 0.97798 | 0.99662 | 1.0218 | 101.9% | 4.85e-05 | 85.53% | 2019-04-30 | 2019-06-27 | 59 | 16542000 | 16563000 | 5042000 | 5043000 | 0.022
July | 1.008 | 0.032516 | 0.073 | 0 | 1.008 | 0.0005 | 0 | 0.0005 | -5% | -0.0504 | 0.9571 | 0.88484 | 0.88534 | 92.45% | 9.6154e-07 | 92.32%
August | 0.941 | 0.030355 | 0.077 | 0.006 | 0.947 | 0.0005 | 0 | 0.0005 | -5% | -0.04705 | 0.89945 | 0.82489 | 0.82539 | 91.72% | 9.6154e-07 | 90.4% | 2019-06-28 | 2019-08-28 | 61 | 16563000 | 16563000 | 5043000 | 5043000 | 0
September | 1.07 | 0.035667 | 0.094 | 0 | 1.07 | 0.0003 | 0 | 0.0003 | -5% | -0.0535 | 1.0162 | 0.93576 | 0.93606 | 92.09% | 5.7692e-07 | 96.91%
October | 1.198 | 0.038645 | 0.083 | 0 | 1.198 | 0.0005 | 0 | 0.0005 | -5% | -0.0599 | 1.1376 | 1.159 | 1.1595 | 101.9% | 9.6154e-07 | 84.76% | 2019-08-29 | 2019-10-28 | 60 | 16563000 | 16563000 | 5043000 | 5043000 | 0
November | 1.271 | 0.042367 | 0.106 | 0 | 1.271 | 0.0005 | 0 | 0.0005 | -5% | -0.06355 | 1.2069 | 1.1415 | 1.142 | 94.58% | 9.6154e-07 | 82.99%
December | 1.371 | 0.0457 | 0.103 | 0 | 1.371 | 0.0005 | 0 | 0.0005 | -5% | -0.06855 | 1.3019 | 1.2269 | 1.2274 | 94.23% | 9.6154e-07 | 97.43% | 2019-10-29 | 2019-12-27 | 59 | 16563000 | 16563000 | 5043000 | 5043000 | 0
YTD Total/Avg/Max | 15.089 | 0.041553 | 0.156 | 0.1082 | 15.1972 | 0.03052 | 0 | 0.03052 |  | -0.75445 | 14.4122 | 13.8662 | 13.8967
| 15.089 | 0.1082 | [7 empty] | -0.75445 |  |  | 13.8967 |  |  |  | (Pinellas County Billing cycle for water purchased is the 8th - 13th of the month following the 'billing period to date'.)
| 0 | Proof to Daily Flow |  | 0 | IC Proof to Daily Flow | [5 empty] | Proof to Total Billed | 0 | YTD AFW % Jan-Dec |  | 96.22%
Water Loss-Use'!A1 | [6 empty] | Water Loss/Use Proof | 0 |  | Verif. W/UIWtrMn WLU wrksht & WAF Input
AFW% Email Notification
2019-03-25
2019-04-17
2019-05-17
2019-06-17
2019-07-17
2019-09-26
Note on B7: Picked up from Daily Flow. Total daily flow, Column AH
Note on C7: Picked up from Daily Flow AVG, Column AI
Note on D7: Picked up from Daily Flow MAX, Column AJ
Note on E7: Lead Operator will provide I/C usage. (Steve H.)
Note on G7: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the used detail.
Note on H7: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the loss detail.
Note on T6: pjhanks: Billed every 2 months

## Daily Flow-421
252/421 - Lake Tarpon |  |  |  |  | MWAF - link to AH(x) |  |  |  |  | Hyper Links'!A1
(000)
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg. | Max | Proof
January | 0.044 | 0.037 | 0.058 | 0.035 | 0.047 | 0 | 0.069 | 0.065 | 0.043 | 0.035 | 0.034 | 0.051 | 0 | 0.097 | 0.056 | 0.03 | 0.046 | 0.048 | 0.049 | 0 | 0.1 | 0.051 | 0.041 | 0.044 | 0.043 | 0.051 | 0 | 0.091 | 0.044 | 0.056 | 0.043 |  | 1.408 | 0.045419 | 0.1 | 0
February | 0.044 | 0.041 | 0 | 0.103 | 0.052 | 0.04 | 0.05 | 0.06 | 0.044 | 0 | 0.115 | 0.049 | 0.046 | 0.051 | 0.046 | 0.065 | 0 | 0.156 | 0.053 | 0.054 | 0.065 | 0.055 | 0.057 | 0 | 0.114 | 0.058 | 0.047 | 0.04 |  |  |  |  | 1.505 | 0.05375 | 0.156 | 0
March | 0.056 | 0.045 | 0 | 0.102 | 0.056 | 0.048 | 0.05 | 0.04 | 0.061 | 0 | 0.099 | 0.059 | 0.049 | 0.065 | 0.054 | 0.038 | 0 | 0.119 | 0.049 | 0.049 | 0.052 | 0.067 | 0.037 | 0 | 0.109 | 0.061 | 0.057 | 0.008 | 0 | 0.059 | 0 |  | 1.489 | 0.048032 | 0.119 | 0
April | 0.091 | 0.049 | 0.048 | 0.05 | 0.051 | 0.05 | 0 | 0.102 | 0.05 | 0.054 | 0.053 | 0.047 | 0.034 | 0 | 0.099 | 0.06 | 0.041 | 0.052 | 0.036 | 0.046 | 0 | 0.095 | 0.048 | 0.053 | 0.045 | 0.035 | 0.036 | 0 | 0.085 | 0.043 |  |  | 1.453 | 0.048433 | 0.102 | 0
May | 0.053 | 0.045 | 0.035 | 0.038 | 0 | 0.078 | 0.047 | 0.035 | 0.053 | 0.038 | 0.029 | 0 | 0.078 | 0.06 | 0.045 | 0.053 | 0.036 | 0.039 | 0 | 0.075 | 0.033 | 0.047 | 0.042 | 0.037 | 0.046 | 0 | 0.076 | 0.062 | 0.05 | 0.038 | 0.051 |  | 1.319 | 0.042548 | 0.078 | 0
June | 0.041 | 0 | 0.077 | 0.037 | 0.047 | 0.036 | 0.039 | 0.033 | 0 | 0.072 | 0.024 | 0.033 | 0.061 | 0.028 | 0.032 | 0 | 0.067 | 0.026 | 0.03 | 0.036 | 0.033 | 0.027 | 0 | 0.086 | 0.039 | 0.039 | 0.036 | 0.041 | 0.036 | 0 |  |  | 1.056 | 0.0352 | 0.086 | 0
July | 0.073 | 0.033 | 0.038 | 0.046 | 0.029 | 0.031 | 0 | 0.058 | 0.03 | 0.024 | 0.035 | 0.035 | 0.023 | 0 | 0.058 | 0.032 | 0.028 | 0.037 | 0.032 | 0.028 | 0 | 0.058 | 0.038 | 0.029 | 0.033 | 0.015 | 0.038 | 0 | 0.059 | 0.027 | 0.041 |  | 1.008 | 0.032516 | 0.073 | 0
August | 0.019 | 0.034 | 0.027 | 0 | 0.057 | 0.034 | 0.029 | 0.041 | 0.025 | 0.026 | 0 | 0.077 | 0.037 | 0.027 | 0.029 | 0.027 | 0.025 | 0 | 0.07 | 0.026 | 0.026 | 0.032 | 0.025 | 0.031 | 0 | 0.065 | 0.032 | 0.027 | 0.026 | 0.036 | 0.031 |  | 0.941 | 0.030355 | 0.077 | 0
September | 0 | 0.042 | 0.041 | 0.022 | 0.034 | 0.027 | 0.031 | 0 | 0.072 | 0.037 | 0.04 | 0.026 | 0.041 | 0.03 | 0 | 0.074 | 0.047 | 0.03 | 0.039 | 0.041 | 0.029 | 0 | 0.077 | 0.042 | 0.042 | 0.043 | 0.036 | 0.033 | 0 | 0.094 |  |  | 1.07 | 0.035667 | 0.094 | 0
October | 0.035 | 0.04 | 0.039 | 0.032 | 0.036 | 0 | 0.062 | 0.041 | 0.03 | 0.04 | 0.03 | 0.03 | 0 | 0.077 | 0.037 | 0.044 | 0.047 | 0.037 | 0.037 | 0 | 0.083 | 0.041 | 0.043 | 0.038 | 0.043 | 0.042 | 0 | 0.08 | 0.044 | 0.046 | 0.044 |  | 1.198 | 0.038645 | 0.083 | 0
November | 0.046 | 0.042 | 0 | 0.08 | 0.051 | 0.046 | 0.053 | 0.046 | 0.045 | 0 | 0.106 | 0.046 | 0.039 | 0.04 | 0.046 | 0.035 | 0 | 0.076 | 0.035 | 0.037 | 0.044 | 0.042 | 0.031 | 0 | 0.093 | 0.035 | 0.043 | 0.032 | 0.038 | 0.044 |  |  | 1.271 | 0.042367 | 0.106 | 0
December | MGD | 0.103 | 0.048 | 0.036 | 0.053 | 0.034 | 0.042 | 0 | 0.093 | 0.049 | 0.034 | 0.052 | 0.041 | 0.04 | 0 | 0.087 | 0.05 | 0.047 | 0.052 | 0.039 | 0.041 | 0 | 0.078 | 0.047 | 0.036 | 0.036 | 0.057 | 0.05 | 0 | 0.07 | 0.056 |  | 1.371 | 0.0457 | 0.103 | 0
[32 empty] | Grand Total | 15.089
Interconnect
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg. | Max | Proof
January | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1022 | 0 | 0 |  | 0.1022 | 0.0032968 | 0.1022 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.006 | 0.00019355 | 0.006 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[32 empty] | Grand Total | 0.1082
6" (High) Interconnect Reads
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
January | 16472000 | 16472000 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0
February | 16472000 | 16472000 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0
March | 16472000 | 16472000 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0 | 0 | 0 | 16472000 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0
April | 16542000 | 16542000 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0
May | 16542000 | 16542000 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0
June | 16542000 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000
July | 16542000 | 16542000 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0 | 0 | 0 | 0 | 16542000 | 0 | 0 | 0
August | 16542000 | 16542000 | 0 | 1652000 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0
September | 1656300 | 1656300 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0
October | 1656300 | 1656300 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0
November | 1656300 | 1656300 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0
december | 1656300 | 1656300 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0 | 0 | 0 | 0 | 0 | 1656300 | 0 | 0
2" (Low) Interconnect Reads
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
January | 5010000 | 5010000 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0
February | 5010000 | 5010000 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0
March | 5010000 | 5010000 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0 | 0 | 0 | 5010000 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0
April | 5042200 | 5042200 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0
May | 5042200 | 5042200 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0
June | 5042200 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200
July | 5042200 | 5042200 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5042200 | 0 | 0 | 0
August | 5042200 | 5042200 | 0 | 5042200 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0
September | 5043900 | 5043900 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0
October | 5043900 | 5043900 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0
November | 5043900 | 5043900 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0
December | 5043900 | 5043900 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0 | 0 | 0 | 0 | 0 | 5043900 | 0 | 0

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Lake Tarpon | 1408000 | 1505000 | 1489000 | 1453000 | 1319000 | 1056000 | 1008000 | 941000 | 1070000 | 1198000 | 1271000 | 1371000