## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Orangewood/BV Manor | 0.01271 | 0 | 0.01868 | 0 | 0.01271 | 0.007 | 0.0123 | 0 | 0.01851 | 0 | 0.0309 | 0 | 0.01271 | 0 | 0.03067 | 0.0005 | 0.0203 | 0 | 0.01711 | 0 | 0.0223 | 0 | 0.01771 | 0.005 | 0.23911
Total | 0.01271 |  | 0.01868 |  | 0.01971 |  | 0.0123 |  | 0.01851 |  | 0.0309 |  | 0.01271 |  | 0.03117 |  | 0.0203 |  | 0.01711 |  | 0.0223 |  | 0.02271

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Orangewood-BV Manor | 2647700 | 2250400 | 1982400 | 2120000 | 2179200 | 2380700 | 3120700 | 2616100 | 2453300 | 2605700 | 2576200 | 2378600
Buena Vista Mobile Home Park | 3263600 | 3255400 | 3999000 | 3555100 | 3869800 | 4093600 | 4205900 | 4463300 | 4222400 | 3889600 | 3832700 | 4267300

## Orangewood-Wisbar-BVTP
252/307 Orangewood Incls: 252/497 Buena Vista Manor & 252/036 Buena Vista MHP
PWS ID No. 6511311 |  | Combined FDEP Permitted Max Day Capacity of Plants Orgwd and BV - 1.238
CUP No. 20-4668-005 : Expires 09/12/33
[7 empty] | Total Max Day Capacity: |  |  |  | 211,000 gpd |  | Total Avg. Day Capacity: |  |  | 170,000 gpd
| Well 1 | .240 gpd |  |  | Well #1 | BVTP | .0232 gpd
| Well 2 | .210 gpd |  |  | Well #2 | BVTP | .0127 gpd | [9 empty] | AM: Lee Neal
| Wells 3 & 4 | .075 gpd per well |  |  | Well #3 | BVTP | .1752 gpd
| Permitted Max Day - .785 mgd |  |  |  | Permitted Max Day = .453 mgd |  |  |  | Permitted Max Day = N/A - it is a consecutive system
Hyper Links'!A1
| Well 1-Orangewood |  |  | Well 2 - Orangewood |  |  | Wells 3 & 4 Orangewood |  |  |  | Well 1 BVMHP |  |  | Well 2 BVMHP |  |  | Well 3 BVMHP |  |  |  |  | Gallons Used/Loss Orgwod-BVManor |  |  | Gallons Used/Loss BVMHP | [8 empty] | Orangewood Source Meter Error Adj. | [6 empty] | BVMHP Source Meter Error Adj.
| Pumped | Pumped Daily Avg. | Pumped Daily Max. | Pumped | Pumped Daily Avg. | Pumped Daily Max. | Pumped | Pumped Daily Avg. | Pumped Daily Max. | Total Pumped Orgwd | Pumped | Daily Avg. | Daily Max. | Pumped | Pumped Daily Avg. | Pumped Daily Max. | Pumped | Pumped Daily Avg. | Pumped Daily Max. | Total Pumped BVMHP | Total Pumped Orgwd & BVMHP | Gallons Used | Gallons Loss | Total Used/ Loss | Gallons Used | Gallons Loss | Total Used/ Loss | Not Used | N/A BVMHP Pumped, Less Gallons Lost/ Used | Billed Consumption -Orangewood | Billed Consumption - BV Manor | Billed Consumption - BV MHP | Total Billed Consumption | Well 1 Meter Adj. % 12/15/18 -0.20% 03/11/19 +1.40% | Well 1 Pumped Meter Adj. | Well 2 Meter Adj. % 12/15/18 -2.20 03/11/19 +3.30% | Well 2 Pumped Meter Adj. | Well 3-4 Meter Adj. % 12/15/18 -0.90% 05/28/19 -2.00% | Well 3-4 Pumped Meter Adj. | Total Orgwd. Pumped Meter Adj. Adj. | Well 1 Meter Adj. % 03/01/18 +1.00% 03/11/19 0.00% | Well 1 Pumped Meter Adj. | Well 2 Meter Adj. % 03/01/18 +2.00% 06/11/19 -1.00% | Well 2 Pumped Meter Adj. | Well 3 Meter Adj. % 3/1/18 0.5% 05/20/19 -27% 06/11/19 0% | Well 3 Pumped Meter Adj. | Total BVMHP Pumped Meter Adj. | Total BVHMP / Orgwd. Pumped Meter Adj. | Pumped + Source Mtr Error, Less Gals Loss/Use | Total AFW(Total Used/Loss + Billed) | AFW % plus source mtr. error | Unacct. For Water % | 2018 AFW %
January 2019 | 1.3086 | 0.0424 | 0.1163 | 1.0784 | 0.037186 | 0.1056 | 0.2607 | 0.0084103 | 0.0319 | 2.6477 | 0.9198 | 0.028662 | 0.0812 | 0.2208 | 0.0071138 | 0.0154 | 2.123 | 0.068103 | 0.164 | 3.2636 | 5.9113 | 0.01271 | 0 | 0.01271 | [5 empty] | 2.3066 | 0.36425 | 3.8372 | 6.508 | -0.2% | -0.0026172 | -2.2% | -0.023725 | -0.9% | -0.0023463 | -0.028688 | 1% | 0.009198 | 2% | 0.004416 | 0.5% | 0.010615 | 0.024229 | -0.0044593 | 5.8941 | 6.5207 | 110.4% | -10.39% | 81.96%
February | 0.9953 | 0.035138 | 0.0766 | 0.9613 | 0.032954 | 0.0809 | 0.2938 | 0.010488 | 0.0312 | 2.2504 | 0.4479 | 0.016592 | 0.0461 | 0.2195 | 0.0079269 | 0.0191 | 2.588 | 0.094077 | 0.212 | 3.2554 | 5.5058 | 0.01868 | 0 | 0.01868 | [5 empty] | 1.8395 | 0.34272 | 3.5878 | 5.77 | -0.2% | -0.0019906 | -2.2% | -0.021149 | -0.9% | -0.0026442 | -0.025783 | 1% | 0.004479 | 2% | 0.00439 | 0.5% | 0.01294 | 0.021809 | -0.0039744 | 5.4831 | 5.7887 | 105.2% | -5.214% | 84.66%
March | 1.2865 | 0.041841 | 0.1074 | 0.319 | 0.0087034 | 0.1017 | 0.3769 | 0.012283 | 0.0446 | 1.9824 | 0.5866 | 0.019124 | 0.0706 | 0.2294 | 0.0073759 | 0.0161 | 3.183 | 0.10334 | 0.301 | 3.999 | 5.9814 | 0.01271 | 0.007 | 0.01971 | [5 empty] | 2.0654 | 0.40409 | 4.0227 | 6.4922 | -0.2% & 1.4% | 0.011438 | -2.2% & 3.30% | -0.007018 | -0.9% | -0.0033921 | 0.0010281 | +1.0% & 0% | 0.001918 | 2% | 0.004588 | 0.5% | 0.015915 | 0.022421 | 0.023449 | 5.9851 | 6.5119 | 108.4% | -8.444% | 87.52%
April | 1.3235 | 0.043936 | 0.1039 | 0 | 0 | 0 | 0.7965 | 0.027771 | 0.0842 | 2.12 | 0.4627 | 0.014739 | 0.0444 | 0.2174 | 0.00705 | 0.0146 | 2.875 | 0.089286 | 0.279 | 3.5551 | 5.6751 | 0.0123 | 0 | 0.0123 | [5 empty] | 2.0812 | 0.35422 | 3.7988 | 6.2342 | 1.4% | 0.018529 | 3.3% | 0 | -0.9% | -0.0071685 | 0.011361 | 0% | 0 | 2% | 0.004348 | 0.5% | 0.014375 | 0.018723 | 0.030083 | 5.6929 | 6.2465 | 109.5% | -9.487% | 88.24%
May | 1.3205 | 0.042538 | 0.0886 | 0.0058 | 0.0002 | 0.0058 | 0.8529 | 0.02731 | 0.0753 | 2.1792 | 0.4814 | 0.015607 | 0.0429 | 0.2224 | 0.0072103 | 0.0156 | 3.166 | 0.10259 | 0.218 | 3.8698 | 6.049 | 0.01851 | 0 | 0.01851 | [5 empty] | 2.1341 | 0.33874 | 3.8669 | 6.3397 | 1.4% | 0.018487 | 3.3% | 0.0001914 | -0.90% & -2.0% | -0.00894 | 0.0097384 | 0% | 0 | 2% | 0.004448 | 0.5% & -27.0% | -0.30207 | -0.29762 | -0.28788 | 5.7426 | 6.3582 | 110.4% | -10.36% | 87.34%
June | 0.7402 | 0.024879 | 0.0886 | 0.721 | 0.025736 | 0.0773 | 0.9195 | 0.030786 | 0.093 | 2.3807 | 0.5908 | 0.020121 | 0.0586 | 0.2058 | 0.0069964 | 0.017 | 3.297 | 0.11379 | 0.251 | 4.0936 | 6.4743 | 0.0309 | 0 | 0.0309 | [5 empty] | 2.2549 | 0.30035 | 3.6263 | 6.1816 | 1.4% | 0.010363 | 3.3% | 0.023793 | -2% | -0.01839 | 0.015766 | 0% | 0 | +2.0% & -1.0% | 0.000345 | -27.0% & 0% | 0.31266 | 0.31301 | 0.32877 | 6.7722 | 6.2125 | 91.32% | 8.682% | 86.38%
July | 0.8531 | 0.02631 | 0.0557 | 1.339 | 0.04261 | 0.0907 | 0.9286 | 0.029521 | 0.0609 | 3.1207 | 0.8309 | 0.025841 | 0.0568 | 0.301 | 0.0094 | 0.0188 | 3.074 | 0.095931 | 0.195 | 4.2059 | 7.3266 | 0.01271 | 0 | 0.01271 | [5 empty] | 2.523 | 0.2925 | 3.4462 | 6.2617 | 1.4% | 0.011943 | 3.3% | 0.044187 | -2% | -0.018572 | 0.037558 | 0% | 0 | -1% | -0.00301 | 0% | 0 | -0.00301 | 0.034548 | 7.3484 | 6.2744 | 85.24% | 14.76% | 90.14%
August | 0 | 0 | 0 | 1.7394 | 0.05691 | 0.1416 | 0.8767 | 0.027207 | 0.0946 | 2.6161 | 0.4146 | 0.012497 | 0.0603 | 0.2897 | 0.009369 | 0.0234 | 3.759 | 0.12214 | 0.326 | 4.4633 | 7.0794 | 0.03067 | 0.0005 | 0.03117 | [5 empty] | 2.4766 | 0.28857 | 3.2441 | 6.0093 | 1.4% | 0 | 3.3% | 0.0574 | -2% | -0.017534 | 0.039866 | 0% | 0 | -1% | -0.002897 | 0% | 0 | -0.002897 | 0.036969 | 7.0852 | 6.0404 | 84.88% | 15.12% | 94.09%
September | 0 | 0 | 0 | 1.6805 | 0.056668 | 0.1373 | 0.7728 | 0.026611 | 0.0584 | 2.4533 | 0.9079 | 0.030993 | 0.0702 | 0.3385 | 0.011539 | 0.068 | 2.976 | 0.09775 | 0.241 | 4.2224 | 6.6757 | 0.0203 | 0 | 0.0203 | [5 empty] | 2.1147 | 0.27197 | 3.2058 | 5.5925 | 1.4% | 0 | 3.3% | 0.055457 | -2% | -0.015456 | 0.040001 | 0% | 0 | -1% | -0.003385 | 0% | 0 | -0.003385 | 0.036616 | 6.692 | 5.6128 | 83.62% | 16.38% | 93.47%
October | 0 | 0 | 0 | 1.7322 | 0.056066 | 0.143 | 0.8735 | 0.027976 | 0.0555 | 2.6057 | 0.9157 | 0.02951 | 0.0588 | 0.2879 | 0.0093862 | 0.0265 | 2.686 | 0.086448 | 0.164 | 3.8896 | 6.4953 | 0.01711 | 0 | 0.01711 | [5 empty] | 2.2342 | 0.32219 | 3.3324 | 5.8888 | 1.4% | 0 | 3.3% | 0.057163 | -2% | -0.01747 | 0.039693 | 0% | 0 | -1% | -0.002879 | 0% | 0 | -0.002879 | 0.036814 | 6.515 | 5.9059 | 90.41% | 9.586% | 97.75%
November | 0 | 0 | 0 | 1.7223 | 0.057739 | 0.1508 | 0.8539 | 0.028454 | 0.062 | 2.5762 | 0.9523 | 0.031671 | 0.0772 | 0.3154 | 0.010543 | 0.0274 | 2.565 | 0.084786 | 0.175 | 3.8327 | 6.4089 | 0.0223 | 0 | 0.0223 | [5 empty] | 2.1154 | 0.32368 | 3.3103 | 5.7494 | 1.4% | 0 | 3.3% | 0.056836 | -2% | -0.017078 | 0.039758 | 0% | 0 | -1% | -0.003154 | 0% | 0 | -0.003154 | 0.036604 | 6.4232 | 5.7717 | 89.55% | 10.45% | 108.1%
December | 0 | 0 | 0 | 1.8424 | 0.058541 | 0.1447 | 0.5362 | 0.016697 | 0.054 | 2.3786 | 1.317 | 0.042414 | 0.111 | 0.2203 | 0.0075966 | 0.027 | 2.73 | 0.088207 | 0.182 | 4.2673 | 6.6459 | 0.01771 | 0.005 | 0.02271 | [5 empty] | 2.1175 | 0.33062 | 3.4372 | 5.8853 | 1.4% | 0 | 3.3% | 0.060799 | -2% | -0.010724 | 0.050075 | 0% | 0 | -1% | -0.002203 | 0% | 0 | -0.002203 | 0.047872 | 6.6711 | 5.908 | 88.26% | 11.74%
YTD Total/Avg/Max | 7.8277 | 0.02142 | 0.1163 | 13.1413 | 0.036109 | 0.1508 | 8.342 | 0.022793 | 0.0946 | 29.311 | 8.8276 | 0.023981 | 0.111 | 3.0681 | 0.0084589 | 0.068 | 35.022 | 0.095537 | 0.326 | 46.9177 | 76.2287 | 0.22661 | 0.0125 | 0.23911 | [5 empty] | 26.263 | 3.9339 | 42.7157 | 72.9126 |  | 0.066153 |  | 0.30393 |  | -0.13972 | 0.23037 |  | 0.015595 |  | 0.005007 |  | 0.064435 | 0.085037 | 0.31541 | 76.305 | 73.1517
[10 empty] | 0 | Proof to Daily Flow | [7 empty] | Proof to Daily flow | 0 | 0 |  |  | Proof to Billing | [5 empty] | 0 | 0 | 0 | [15 empty] | 0.31541 |  | 73.1517
Water Loss-Use'!A1 | [20 empty] | 76.2287 | [27 empty] | YTD AFW% Jan - Dec |  |  | 95.57%
Verif. W/UIWtrMn WLU wrksht & WAF Input
[22 empty] | Water Loss/Use Proof | 0 | [25 empty] | BVTP Well 3 | Source Mtr Error Adjust
[49 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[49 empty] | 05/01-05/20/19 | 0.5% | 2.01 | 0.01005
[49 empty] | 05/21-05/31/19 | -27% | 1.156 | -0.31212
-0.30207
[20 empty] | Orange 1 | Source Mtr Error Adjust | [9 empty] | Orange 2 | Source Mtr Error Adjust |  |  |  | Orange 3-4 | Source Mtr Error Adjust |  |  |  | BVTP Well 1 | Source Mtr Error Adjust |  |  | BVTP Well 2 | Source Mtr Error Adjust |  |  | BVTP Well 3 | Source Mtr Error Adjust
[20 empty] | Dates | Meter Adj. % | Pumped | Adjusted | [7 empty] | Dates | Meter Adj. % | Pumped | Adjusted |  | Dates | Meter Adj. % | Pumped | Adjusted |  | Dates | Meter Adj. % | Pumped | Adjusted | Dates | Meter Adj. % | Pumped | Adjusted | Dates | Meter Adj. % | Pumped | Adjusted
[20 empty] | 03/01-03/11/19 | -0.2% | 0.4108 | -0.0008216 | [7 empty] | 03/01-03/11/19 | -2.2% | 0.319 | -0.007018 |  | 05/01-05/28/19 | -0.9% | 0.738 | -0.006642 |  | 03/01-03/11/19 | 1% | 0.1918 | 0.001918 | 06/01-06/11 | 2% | 0.0801 | 0.001602 | 06/01-06/11 | 27% | 1.158 | 0.31266
[20 empty] | 03/12-03/31/19 | 1.4% | 0.8757 | 0.01226 | [7 empty] | 03/12-03/31/19 | 3.3% | 0 | 0 |  | 05/29-05/31/19 | -2% | 0.1149 | -0.002298 |  | 03/12-03/31/19 | 0% | 0.3948 | 0 | 06/12-06/30 | -1% | 0.1257 | -0.001257 | 06/12-06/30 | 0% | 2.139 | 0
[23 empty] | 0.011438 | [10 empty] | -0.007018 |  |  |  |  | -0.00894 |  |  |  |  | 0.001918 |  |  |  | 0.000345 |  |  |  | 0.31266
Note on Z12: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the used detail.
Note on AA12: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the loss detail.
Note on AI12: Peggy J. Hanks: 04/19/17 LN email - Mtr replaced 03/14/17
Note on AR12: Peggy J. Hanks: 04/28/17 Well #2 flow meter replaced.
Note on AT17: Jacquee Chandler: Meter was found to be registering ONLY 73% accurate! This accounts for prior months issues.

## Daily Flow-307
252/307 Orangewood 252/497 Buena Vista Manor and 252/036 Buena Vista MHP | [14 empty] | MWAF - linJ to AH(x) |  |  | Hyper Links'!A1
(Buena Vista Manor Flow included in Orangewood Flow)
Orangewood Plant 1 - Well 1 (00) | [31 empty] | Orangewood Plant 1 - Well 1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof | Orangewood Total |  | BVTP Total |  | Combined Total
2019-01-01 | 0.04 | 0.039 | 0.0536 | 0.052 | 0.0461 | 0 | 0.109 | 0.0461 | 0.05 | 0.0438 | 0.0544 | 0.0431 | 0 | 0.1163 | 0.0399 | 0.0443 | 0.0532 | 0.0021 | 0.0382 | 0 | 0.0849 | 0.0345 | 0.029 | 0.0426 | 0.0342 | 0.0329 | 0 | 0.0654 | 0.0349 | 0.0366 | 0.0425 | 1.3086 | 0.0424 | 0.1163 | 0 | January | 2.6477 | January | 3.2636 | January | 5.9113
February | 0.041 | 0.0407 | 0 | 0.0761 | 0.0358 | 0.0393 | 0.0304 | 0.0427 | 0.0374 | 0 | 0.0766 | 0.0197 | 0.0265 | 0.0308 | 0.0379 | 0.0294 | 0 | 0.0736 | 0.021 | 0.0154 | 0.0429 | 0.06 | 0.0337 | 0 | 0.0702 | 0.0514 | 0.0325 | 0.0303 |  |  |  | 0.9953 | 0.035138 | 0.0766 | 0 | February | 2.2504 | February | 3.2554 | February | 5.5058
March | 0.0441 | 0.029 | 0 | 0.0992 | 0.0369 | 0.0314 | 0.0321 | 0.0347 | 0.0389 | 0 | 0.0645 | 0.0251 | 0.0386 | 0.0597 | 0.0578 | 0.043 | 0 | 0.1074 | 0.0494 | 0.0411 | 0.0437 | 0.0443 | 0.0485 | 0 | 0.1039 | 0.0515 | 0.0369 | 0.0456 | 0.0404 | 0.0388 | 0 | 1.2865 | 0.041841 | 0.1074 | 0 | March | 1.9824 | March | 3.999 | March | 5.9814
April | 0.0635 | 0.0298 | 0.0528 | 0.057 | 0.0539 | 0.0478 | 0 | 0.1039 | 0.0432 | 0.042 | 0.0539 | 0.0461 | 0.0441 | 0 | 0.0959 | 0.034 | 0.0355 | 0.0349 | 0.0397 | 0.034 | 0 | 0.0583 | 0.0382 | 0.0438 | 0.0439 | 0.0473 | 0.0447 | 0 | 0.0923 | 0.043 |  | 1.3235 | 0.043936 | 0.1039 | 0 | April | 2.12 | April | 3.5551 | April | 5.6751
May | 0.038 | 0.0489 | 0.0409 | 0.0438 | 0 | 0.072 | 0.0345 | 0.0276 | 0.0438 | 0.0323 | 0.0423 | 0 | 0.0883 | 0.0464 | 0.0408 | 0.0607 | 0.0289 | 0.0521 | 0 | 0.0886 | 0.042 | 0.0435 | 0.0459 | 0.0373 | 0.0511 | 0 | 0.0797 | 0.0478 | 0.0501 | 0.0419 | 0.0513 | 1.3205 | 0.042538 | 0.0886 | 0 | May | 2.1792 | May | 3.8698 | May | 6.049
June | 0.0436 | 0 | 0.0886 | 0.0346 | 0.0449 | 0.0354 | 0.0235 | 0.0343 | 0 | 0.0345 | 0.0084 | 0.0198 | 0.014 | 0.0163 | 0.0201 | 0 | 0.027 | 0.0135 | 0.0158 | 0.0191 | 0.0209 | 0.0164 | 0 | 0.0547 | 0.0352 | 0.0282 | 0.0291 | 0.0286 | 0.0337 | 0 |  | 0.7402 | 0.024879 | 0.0886 | 0 | June | 2.3807 | June | 4.0936 | June | 6.4743
July | 0.0542 | 0.0359 | 0.0428 | 0.0369 | 0.0296 | 0.0365 | 0 | 0.0557 | 0.0261 | 0.0264 | 0.0263 | 0.0268 | 0.031 | 0 | 0.0547 | 0.0281 | 0.0252 | 0.0326 | 0.036 | 0.03 | 0 | 0.0518 | 0.028 | 0.0243 | 0.0251 | 0.0211 | 0.0203 | 0 | 0.0477 | 0 | 0 | 0.8531 | 0.02631 | 0.0557 | 0 | July | 3.1207 | July | 4.2059 | July | 7.3266
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | August | 2.6161 | August | 4.4633 | August | 7.0794
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | September | 2.4533 | September | 4.2224 | September | 6.6757
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | October | 2.6057 | October | 3.8896 | October | 6.4953
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | November | 2.5762 | November | 3.8327 | November | 6.4089
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | December | 2.3786 | December | 4.2673 | December | 6.6459
[36 empty] | YTD Total | 29.311 |  | 46.9177 |  | 76.2287
Orangewood Plant 2 - Well 2 (00) | [31 empty] | Orangewood Plant 2 - Well 2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0 | 0.0316 | 0.0474 | 0.0336 | 0 | 0.0049 | 0.034 | 0.0413 | 0.0277 | 0.0347 | 0.0385 | 0 | 0.081 | 0.0298 | 0.036 | 0.0399 | 0.0005 | 0.0545 | 0 | 0.1056 | 0.0587 | 0.0518 | 0.0624 | 0.0576 | 0.0234 | 0 | 0.0704 | 0.0416 | 0.0275 | 0.044 | 1.0784 | 0.037186 | 0.1056 | 0
February | 0.0482 | 0.0563 | 0 | 0.0589 | 0.034 | 0 | 0.0403 | 0.0421 | 0.0472 | 0 | 0 | 0.0435 | 0.0323 | 0.0312 | 0.0097 | 0.0521 | 0 | 0.0793 | 0.041 | 0.0388 | 0.0416 | 0.0467 | 0.0263 | 0 | 0.0809 | 0.0449 | 0.0384 | 0.0276 |  |  |  | 0.9613 | 0.032954 | 0.0809 | 0
March | 0.0429 | 0.0237 | 0 | 0.1017 | 0.023 | 0.0494 | 0.028 | 0.047 | 0.0033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.319 | 0.0087034 | 0.1017 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0058 | 0.0058 | 0.0002 | 0.0058 | 0
June | 0.0004 | 0 | 0.0044 | 0.0046 | 0.001 | 0.0007 | 0.0045 | 0 | 0 | 0.0016 | 0.0152 | 0.0459 | 0.0321 | 0.0401 | 0.0385 | 0 | 0.0612 | 0.0305 | 0.0487 | 0.0173 | 0.0358 | 0.0291 | 0 | 0.0773 | 0.0414 | 0.0355 | 0.0611 | 0.0309 | 0.0632 | 0 |  | 0.721 | 0.025736 | 0.0773 | 0
July | 0.0665 | 0.0368 | 0.0691 | 0.0237 | 0 | 0.0564 | 0 | 0.0605 | 0.0479 | 0.0211 | 0.0504 | 0.0219 | 0.0547 | 0 | 0.0907 | 0.0693 | 0.0436 | 0.0717 | 0.0759 | 0.0503 | 0 | 0.0519 | 0.0292 | 0.0571 | 0.0166 | 0.0291 | 0.052 | 0 | 0.0595 | 0.0551 | 0.078 | 1.339 | 0.04261 | 0.0907 | 0
August | 0.0401 | 0.0489 | 0.0596 | 0 | 0.1107 | 0.0314 | 0.0289 | 0.0468 | 0.0496 | 0.027 | 0 | 0.1208 | 0.0307 | 0.0438 | 0.0676 | 0.0552 | 0.0525 | 0 | 0.087 | 0.0426 | 0.0478 | 0.0588 | 0.0854 | 0.0736 | 0 | 0.1349 | 0.0432 | 0.0667 | 0.1169 | 0.1416 | 0.0273 | 1.7394 | 0.05691 | 0.1416 | 0
September | 0 | 0.0938 | 0.0594 | 0.0439 | 0.0474 | 0.0406 | 0.062 | 0 | 0.1292 | 0.0528 | 0.0464 | 0.0513 | 0.0658 | 0.0603 | 0 | 0.1169 | 0.0465 | 0.0519 | 0.0414 | 0.0579 | 0.0761 | 0 | 0.1373 | 0.0395 | 0.052 | 0.0692 | 0.0547 | 0.0672 | 0 | 0.117 |  | 1.6805 | 0.056668 | 0.1373 | 0
October | 0.0616 | 0.0447 | 0.0615 | 0.0523 | 0.0778 | 0 | 0.1129 | 0.056 | 0.0303 | 0.0571 | 0.0358 | 0.0496 | 0 | 0.143 | 0.0592 | 0.0631 | 0.0534 | 0.0553 | 0.0476 | 0 | 0.1126 | 0.0516 | 0.0492 | 0.0476 | 0.0542 | 0.0767 | 0 | 0.1257 | 0.0517 | 0.0597 | 0.042 | 1.7322 | 0.056066 | 0.143 | 0
November | 0.052 | 0.0536 | 0 | 0.132 | 0.0435 | 0.0487 | 0.044 | 0.0618 | 0.0563 | 0 | 0.1234 | 0.0373 | 0.0621 | 0.0594 | 0.0252 | 0.0777 | 0 | 0.1322 | 0.0545 | 0.0563 | 0.0525 | 0.0521 | 0.046 | 0 | 0.1508 | 0.0527 | 0.0369 | 0.0669 | 0.0689 | 0.0755 |  | 1.7223 | 0.057739 | 0.1508 | 0
December | 0 | 0.1447 | 0.0524 | 0.0559 | 0.0739 | 0.0534 | 0.0517 | 0 | 0.1315 | 0.0738 | 0.0298 | 0.07 | 0.0676 | 0.0582 | 0 | 0.1143 | 0.0503 | 0.0509 | 0.0318 | 0.0576 | 0.0386 | 0 | 0.125 | 0.061 | 0.0591 | 0.0552 | 0.0562 | 0.0819 | 0 | 0.1446 | 0.053 | 1.8424 | 0.058541 | 0.1447 | 0
Orangewood Plant 3 Wells 3 and 4 (00) | [31 empty] | Orangewood Plant 3 Wells 3 and 4
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0.0168 | 0.0063 | 0 | 0 | 0 | 0.0044 | 0.0057 | 0 | 0 | 0.0319 | 0 | 0 | 0.0115 | 0 | 0.0135 | 0.0041 | 0.003 | 0.0119 | 0 | 0.028 | 0.0126 | 0.0189 | 0.0206 | 0.019 | 0.0083 | 0 | 0.0221 | 0.0088 | 0.0072 | 0.0061 | 0.2607 | 0.0084103 | 0.0319 | 0
February | 0.0119 | 0.0092 | 0 | 0.0231 | 0.0117 | 0.0117 | 0.0145 | 0.0165 | 0.0072 | 0 | 0 | 0.0149 | 0.01 | 0.0097 | 0.0312 | 0 | 0 | 0 | 0.0149 | 0.0094 | 0.0105 | 0.0124 | 0.0086 | 0 | 0.0269 | 0.0152 | 0.0089 | 0.0154 |  |  |  | 0.2938 | 0.010488 | 0.0312 | 0
March | 0.015 | 0.0057 | 0 | 0.0281 | 0.0138 | 0.0081 | 0.0093 | 0.0142 | 0.0254 | 0 | 0.0446 | 0.0275 | 0.03 | 0.0389 | 0.0116 | 0.0044 | 0 | 0.0162 | 0.0075 | 0.0076 | 0.0081 | 0.0074 | 0.0097 | 0 | 0.0166 | 0.0021 | 0.0081 | 0.0062 | 0.0052 | 0.0056 | 0 | 0.3769 | 0.012283 | 0.0446 | 0
April | 0.0139 | 0.005 | 0.0073 | 0 | 0.0263 | 0.0465 | 0 | 0.0654 | 0.0389 | 0.0173 | 0.0371 | 0.0129 | 0.0347 | 0 | 0.0842 | 0.0143 | 0.0273 | 0.0305 | 0.0223 | 0.0282 | 0 | 0.0555 | 0.0374 | 0.0192 | 0.0364 | 0.0211 | 0.0205 | 0 | 0.0634 | 0.0309 |  | 0.7965 | 0.027771 | 0.0842 | 0
May | 0.0401 | 0.0208 | 0.0331 | 0.0353 | 0 | 0.0579 | 0.0178 | 0.0061 | 0.035 | 0.0087 | 0.004 | 0 | 0 | 0.0187 | 0.0232 | 0.0365 | 0.0275 | 0.0438 | 0 | 0.0753 | 0.0249 | 0.0259 | 0.035 | 0.0287 | 0.0397 | 0 | 0.0565 | 0.0435 | 0.0306 | 0.0456 | 0.0387 | 0.8529 | 0.02731 | 0.0753 | 0
June | 0.0575 | 0 | 0.0705 | 0.0269 | 0.0455 | 0.0159 | 0.0527 | 0.0508 | 0 | 0.0647 | 0.0265 | 0.0201 | 0.0219 | 0.019 | 0.0332 | 0 | 0.0439 | 0.0279 | 0.0208 | 0.022 | 0.0209 | 0.0418 | 0 | 0.093 | 0.0306 | 0.0288 | 0.0395 | 0.0186 | 0.0265 | 0 |  | 0.9195 | 0.030786 | 0.093 | 0
July | 0.0446 | 0.0279 | 0.0294 | 0.0483 | 0.0381 | 0.0466 | 0 | 0.0609 | 0.0266 | 0.015 | 0.0222 | 0.0291 | 0.0222 | 0 | 0.0575 | 0.0445 | 0.0461 | 0.0447 | 0.0262 | 0.0304 | 0 | 0.0324 | 0.03 | 0.0258 | 0.0205 | 0.0183 | 0.0212 | 0 | 0.0461 | 0.0421 | 0.0319 | 0.9286 | 0.029521 | 0.0609 | 0
August | 0.0428 | 0.0449 | 0.057 | 0 | 0.0743 | 0.037 | 0.0425 | 0.0366 | 0.0332 | 0.0307 | 0 | 0.0946 | 0.0249 | 0.0002 | 0.036 | 0.0236 | 0.0254 | 0 | 0.0197 | 0.016 | 0.0064 | 0.0231 | 0.027 | 0.0148 | 0 | 0.0201 | 0.011 | 0.0059 | 0.0468 | 0.0678 | 0.0144 | 0.8767 | 0.027207 | 0.0946 | 0
September | 0 | 0.0277 | 0.0054 | 0.023 | 0.0215 | 0.0228 | 0.0193 | 0 | 0.0391 | 0.0342 | 0.0256 | 0.0333 | 0.03 | 0.0346 | 0 | 0.0462 | 0.0322 | 0.027 | 0.0302 | 0.0267 | 0.0318 | 0 | 0.0584 | 0.0316 | 0.0293 | 0.0287 | 0.028 | 0.0288 | 0 | 0.0574 |  | 0.7728 | 0.026611 | 0.0584 | 0
October | 0.0315 | 0.0307 | 0.0314 | 0.0305 | 0.0269 | 0 | 0.0538 | 0.028 | 0.0244 | 0.0318 | 0.0236 | 0.0314 | 0 | 0.0523 | 0.0306 | 0.0258 | 0.0297 | 0.0285 | 0.0215 | 0 | 0.0502 | 0.0311 | 0.0305 | 0.0301 | 0.0241 | 0.0335 | 0 | 0.0555 | 0.0285 | 0.0287 | 0.0289 | 0.8735 | 0.027976 | 0.0555 | 0
November | 0.0374 | 0.0198 | 0 | 0.0566 | 0.0329 | 0.0357 | 0.0278 | 0.0302 | 0.0433 | 0 | 0.0351 | 0.0335 | 0.0291 | 0.0289 | 0.0299 | 0.0294 | 0 | 0.062 | 0.0242 | 0.0255 | 0.0409 | 0.0292 | 0.0267 | 0 | 0.0559 | 0.0253 | 0.0217 | 0.0292 | 0.0206 | 0.0231 |  | 0.8539 | 0.028454 | 0.062 | 0
December | 0 | 0.052 | 0.0355 | 0.0306 | 0.0276 | 0.028 | 0.0267 | 0 | 0.05 | 0.0265 | 0.0309 | 0.0313 | 0.0282 | 0.0386 | 0 | 0.0371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0013 | 0 | 0 | 0 | 0.0103 | 0 | 0.054 | 0.0276 | 0.5362 | 0.016697 | 0.054 | 0
Buena Vista TP (BVTP) Plant 4 Well 1 BVTP (00) | [31 empty] | BVTP Plant 4 Well 1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.051 | 0.0376 | 0.0371 | 0.0295 | 0.043 | 0 | 0.0812 | 0.0465 | 0.0365 | 0.0361 | 0.0393 | 0.0271 | 0 | 0.0788 | 0.0326 | 0.0365 | 0.0346 | 0.0779 | 0.0273 | 0 | 0.0583 | 0.0202 | 0 | 0 | 0.0072 | 0.0129 | 0 | 0.0274 | 0.013 | 0.0113 | 0.0169 | 0.9198 | 0.028662 | 0.0812 | 0
February | 0.0038 | 0.0127 | 0 | 0.0307 | 0.0152 | 0.0178 | 0.0153 | 0.0219 | 0.0123 | 0 | 0.0461 | 0.0072 | 0.0201 | 0.0199 | 0.0089 | 0.0182 | 0 | 0.035 | 0.0113 | 0.0191 | 0.0161 | 0.0179 | 0.0125 | 0 | 0.0322 | 0.018 | 0.0218 | 0.0139 |  |  |  | 0.4479 | 0.016592 | 0.0461 | 0
March | 0.0083 | 0.0237 | 0 | 0.0381 | 0.0125 | 0.0116 | 0.0206 | 0.0116 | 0.0303 | 0 | 0.0351 | 0.0182 | 0.0091 | 0.0134 | 0.0411 | 0.0104 | 0 | 0.0589 | 0.0218 | 0.0128 | 0.0281 | 0.0215 | 0.0129 | 0 | 0.0706 | 0.0126 | 0.0161 | 0.0153 | 0.0075 | 0.0245 | 0 | 0.5866 | 0.019124 | 0.0706 | 0
April | 0.0396 | 0.0104 | 0.0128 | 0.0211 | 0.0084 | 0.0155 | 0 | 0.0444 | 0.0099 | 0.0176 | 0.0146 | 0.0139 | 0.0067 | 0 | 0.0347 | 0.0124 | 0.0084 | 0.0145 | 0.0148 | 0.0138 | 0 | 0.0301 | 0.0139 | 0.013 | 0.0169 | 0.0147 | 0.0066 | 0 | 0.0436 | 0.0104 |  | 0.4627 | 0.014739 | 0.0444 | 0
May | 0.0163 | 0.0125 | 0.0117 | 0.0132 | 0 | 0.0393 | 0.0075 | 0.0138 | 0.0104 | 0.0186 | 0.0122 | 0 | 0.0424 | 0.016 | 0.0133 | 0.0229 | 0.0061 | 0.0111 | 0 | 0.0429 | 0.0141 | 0.0142 | 0.0198 | 0.0146 | 0.0257 | 0 | 0.0246 | 0.0154 | 0.0203 | 0.0067 | 0.0158 | 0.4814 | 0.015607 | 0.0429 | 0
June | 0.0274 | 0 | 0.0331 | 0.0199 | 0.0102 | 0.0243 | 0.0096 | 0.0224 | 0 | 0.0297 | 0.0142 | 0.02 | 0.0221 | 0.013 | 0.0149 | 0 | 0.025 | 0.018 | 0.021 | 0.0118 | 0.0137 | 0.0209 | 0 | 0.0586 | 0.0408 | 0.0305 | 0.0305 | 0.0261 | 0.0331 | 0 |  | 0.5908 | 0.020121 | 0.0586 | 0
July | 0.0513 | 0.0302 | 0.0313 | 0.0361 | 0.0267 | 0.0342 | 0 | 0.0411 | 0.031 | 0.0327 | 0.0312 | 0.0222 | 0.0338 | 0 | 0.0568 | 0.0009 | 0.0003 | 0.0003 | 0.0293 | 0.0323 | 0 | 0.0435 | 0.033 | 0.0344 | 0.0245 | 0.0298 | 0.0282 | 0 | 0.0524 | 0.0282 | 0.0352 | 0.8309 | 0.025841 | 0.0568 | 0
Aug | 0.0237 | 0.0285 | 0.0266 | 0 | 0.0497 | 0.0241 | 0.0388 | 0.0193 | 0.0363 | 0.0186 | 0 | 0.0603 | 0.018 | 0.042 | 0.0006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0033 | 0.0005 | 0 | 0.0243 | 0.4146 | 0.012497 | 0.0603 | 0
September | 0 | 0.0401 | 0.0251 | 0.0324 | 0.0387 | 0.0277 | 0.0294 | 0 | 0.0597 | 0.0335 | 0.0242 | 0.0332 | 0.0423 | 0.0272 | 0 | 0.0702 | 0.0237 | 0.0398 | 0.0267 | 0.0301 | 0.0349 | 0 | 0.0511 | 0.0272 | 0.0332 | 0.0365 | 0.0347 | 0.0239 | 0 | 0.0624 |  | 0.9079 | 0.030993 | 0.0702 | 0
October | 0.0288 | 0.0311 | 0.0306 | 0.0332 | 0.0322 | 0 | 0.0538 | 0.0267 | 0.0337 | 0.0247 | 0.0273 | 0.0311 | 0 | 0.0541 | 0.0372 | 0.0217 | 0.0284 | 0.0336 | 0.0345 | 0 | 0.0558 | 0.0285 | 0.0317 | 0.0273 | 0.0332 | 0.0293 | 0 | 0.0588 | 0.0233 | 0.0366 | 0.0285 | 0.9157 | 0.02951 | 0.0588 | 0
November | 0.0313 | 0.0342 | 0 | 0.0515 | 0.0258 | 0.0389 | 0.0292 | 0.0432 | 0.03 | 0 | 0.0657 | 0.0307 | 0.0329 | 0.0218 | 0.0421 | 0.033 | 0 | 0.0696 | 0.0267 | 0.028 | 0.0324 | 0.0231 | 0.0283 | 0 | 0.0772 | 0.0301 | 0.0237 | 0.0291 | 0.0406 | 0.0332 |  | 0.9523 | 0.031671 | 0.0772 | 0
December | 0 | 0.087 | 0.0351 | 0.0199 | 0.0419 | 0.0266 | 0.0303 | 0 | 0.0798 | 0.0477 | 0.0401 | 0.0396 | 0.0442 | 0.0538 | 0 | 0.0758 | 0.0529 | 0.0288 | 0.0362 | 0.0449 | 0.031 | 0 | 0.111 | 0.0497 | 0.054 | 0.0388 | 0.0568 | 0.0618 | 0 | 0.0849 | 0.0444 | 1.317 | 0.042414 | 0.111 | 0
Buena Vista TP (BVTP) Plant 5 Well 2 BVTP (00) | [31 empty] | BVTP Plant 5 Well 2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.0075 | 0.007 | 0.007 | 0.0068 | 0.0075 | 0 | 0.0154 | 0.0077 | 0.0062 | 0.0068 | 0.0063 | 0.0068 | 0 | 0.0143 | 0.0063 | 0.0074 | 0.0069 | 0.0124 | 0.0072 | 0 | 0.0113 | 0.0069 | 0.0057 | 0.0067 | 0.0063 | 0.0077 | 0 | 0.0146 | 0.0064 | 0.0067 | 0.009 | 0.2208 | 0.0071138 | 0.0154 | 0
February | 0.0062 | 0.0072 | 0 | 0.0154 | 0.0078 | 0.0076 | 0.0066 | 0.0093 | 0.0072 | 0 | 0.0191 | 0.0059 | 0.0083 | 0.0077 | 0.0088 | 0.0071 | 0 | 0.0163 | 0.0067 | 0.0077 | 0.0077 | 0.0093 | 0.0077 | 0 | 0.016 | 0.0083 | 0.0078 | 0.0078 |  |  |  | 0.2195 | 0.0079269 | 0.0191 | 0
March | 0.0061 | 0.0094 | 0 | 0.0161 | 0.0074 | 0.0076 | 0.0085 | 0.008 | 0.0094 | 0 | 0.0161 | 0.01 | 0.0085 | 0.0057 | 0.0091 | 0.0065 | 0 | 0.0161 | 0.0078 | 0.0061 | 0.0081 | 0.007 | 0.0059 | 0 | 0.0149 | 0.0061 | 0.0075 | 0.0077 | 0.0045 | 0.0093 | 0 | 0.2294 | 0.0073759 | 0.0161 | 0
April | 0.0146 | 0.0054 | 0.0078 | 0.0064 | 0.0071 | 0.0087 | 0 | 0.0144 | 0.0059 | 0.0085 | 0.007 | 0.0071 | 0.0061 | 0 | 0.0146 | 0.0058 | 0.007 | 0.0068 | 0.0064 | 0.0087 | 0 | 0.0143 | 0.007 | 0.0068 | 0.0072 | 0.0066 | 0.0052 | 0 | 0.0144 | 0.0076 |  | 0.2174 | 0.00705 | 0.0146 | 0
May | 0.0071 | 0.0062 | 0.0068 | 0.0087 | 0 | 0.0153 | 0.0052 | 0.0057 | 0.0072 | 0.0077 | 0.008 | 0 | 0.0147 | 0.0081 | 0.0077 | 0.0087 | 0.0052 | 0.0078 | 0 | 0.0156 | 0.0072 | 0.0063 | 0.007 | 0.0076 | 0.0089 | 0 | 0.0118 | 0.0089 | 0.0072 | 0.0057 | 0.0061 | 0.2224 | 0.0072103 | 0.0156 | 0
June | 0.0099 | 0 | 0.0136 | 0.0071 | 0.005 | 0.0093 | 0.0067 | 0.0077 | 0 | 0.0137 | 0.0071 | 0.006 | 0.0047 | 0.0052 | 0.0062 | 0 | 0.0087 | 0.0052 | 0.0059 | 0.0068 | 0.0052 | 0.0077 | 0 | 0.017 | 0.0102 | 0.0087 | 0.0093 | 0.0087 | 0.0102 | 0 |  | 0.2058 | 0.0069964 | 0.017 | 0
July | 0.0188 | 0.0096 | 0.0107 | 0.0097 | 0.0119 | 0.0108 | 0 | 0.0163 | 0.0091 | 0.0094 | 0.0089 | 0.0091 | 0.0103 | 0 | 0.0168 | 0.0108 | 0.0102 | 0.0117 | 0.0096 | 0.009 | 0 | 0.0154 | 0.0113 | 0.0097 | 0.0092 | 0.0092 | 0.0089 | 0 | 0.0172 | 0.0096 | 0.0078 | 0.301 | 0.0094 | 0.0188 | 0
August | 0.008 | 0.01 | 0.0101 | 0 | 0.0158 | 0.0072 | 0.0098 | 0.0086 | 0.0104 | 0.0054 | 0 | 0.0199 | 0.0062 | 0.0102 | 0.0095 | 0.0124 | 0.0103 | 0 | 0.0208 | 0.0116 | 0.0097 | 0.0118 | 0.0138 | 0.0111 | 0 | 0.0234 | 0.0093 | 0.0113 | 0.0017 | 0.0006 | 0.0108 | 0.2897 | 0.009369 | 0.0234 | 0
September | 0 | 0.0154 | 0.0106 | 0.0077 | 0.0088 | 0.0088 | 0.0083 | 0 | 0.0164 | 0.0091 | 0.008 | 0.0125 | 0.0121 | 0.0088 | 0 | 0.0189 | 0.0092 | 0.0113 | 0.0082 | 0.0111 | 0.012 | 0 | 0.068 | 0.0297 | 0.0005 | 0.0103 | 0.0069 | 0.0097 | 0 | 0.0162 |  | 0.3385 | 0.011539 | 0.068 | 0
October | 0.009 | 0.0067 | 0.0073 | 0.0081 | 0.0068 | 0 | 0.0161 | 0.0074 | 0.0064 | 0.0092 | 0.01 | 0.0089 | 0 | 0.019 | 0.01 | 0.0061 | 0.0044 | 0.0108 | 0.0093 | 0 | 0.0203 | 0.0112 | 0.0089 | 0.0122 | 0.0105 | 0.0097 | 0 | 0.0265 | 0.009 | 0.0122 | 0.0119 | 0.2879 | 0.0093862 | 0.0265 | 0
November | 0.0094 | 0.0108 | 0 | 0.02 | 0.01 | 0.013 | 0.0105 | 0.0142 | 0.0115 | 0 | 0.0228 | 0.0126 | 0.0116 | 0.0097 | 0.0121 | 0.0113 | 0 | 0.021 | 0.0086 | 0.0093 | 0.0111 | 0.0118 | 0.007 | 0 | 0.0274 | 0.01 | 0.0097 | 0.009 | 0.011 | 0 |  | 0.3154 | 0.010543 | 0.0274 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0014 | 0 | 0.0019 | 0.0139 | 0 | 0.0218 | 0.0125 | 0.0102 | 0.0128 | 0.012 | 0.0094 | 0 | 0.0231 | 0.0144 | 0.0112 | 0.009 | 0.0148 | 0.013 | 0 | 0.027 | 0.0119 | 0.2203 | 0.0075966 | 0.027 | 0
Buena Vista TP (BVTP) Plant 6 Well 3 BVTP (000) | [31 empty] | BVTP Plant 6 Well 3
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.087 | 0.061 | 0.062 | 0.039 | 0.059 | 0 | 0.128 | 0.078 | 0.031 | 0.056 | 0.05 | 0.05 | 0 | 0.129 | 0.039 | 0.053 | 0.058 | 0.141 | 0.066 | 0 | 0.146 | 0.08 | 0.083 | 0.072 | 0.078 | 0.083 | 0 | 0.164 | 0.102 | 0.056 | 0.072 | 2.123 | 0.068103 | 0.164 | 0
February | 0.065 | 0.077 | 0 | 0.16 | 0.092 | 0.096 | 0.091 | 0.085 | 0.081 | 0 | 0.212 | 0.113 | 0.101 | 0.098 | 0.086 | 0.103 | 0 | 0.208 | 0.12 | 0.112 | 0.077 | 0.067 | 0.09 | 0 | 0.181 | 0.095 | 0.088 | 0.09 |  |  |  | 2.588 | 0.094077 | 0.212 | 0
March | 0.079 | 0.107 | 0 | 0.153 | 0.09 | 0.086 | 0.099 | 0.096 | 0.146 | 0 | 0.191 | 0.146 | 0.083 | 0.083 | 0.132 | 0.105 | 0 | 0.214 | 0.117 | 0.083 | 0.127 | 0.114 | 0.104 | 0 | 0.301 | 0.061 | 0.116 | 0.125 | 0.102 | 0.123 | 0 | 3.183 | 0.10334 | 0.301 | 0
April | 0.279 | 0.096 | 0.096 | 0.103 | 0.075 | 0.08 | 0 | 0.16 | 0.075 | 0.074 | 0.081 | 0.093 | 0.083 | 0 | 0.184 | 0.091 | 0.089 | 0.102 | 0.103 | 0.1 | 0 | 0.189 | 0.089 | 0.078 | 0.106 | 0.111 | 0.05 | 0 | 0.202 | 0.086 |  | 2.875 | 0.089286 | 0.279 | 0
May | 0.094 | 0.097 | 0.101 | 0.09 | 0 | 0.174 | 0.093 | 0.135 | 0.111 | 0.124 | 0.11 | 0 | 0.218 | 0.071 | 0.09 | 0.1 | 0.108 | 0.093 | 0 | 0.201 | 0.106 | 0.097 | 0.108 | 0.102 | 0.11 | 0 | 0.188 | 0.125 | 0.113 | 0.097 | 0.11 | 3.166 | 0.10259 | 0.218 | 0
June | 0.111 | 0 | 0.198 | 0.111 | 0.095 | 0.116 | 0.104 | 0.118 | 0 | 0.191 | 0.114 | 0.144 | 0.141 | 0.138 | 0.125 | 0 | 0.251 | 0.144 | 0.156 | 0.12 | 0.151 | 0.078 | 0 | 0.208 | 0.092 | 0.088 | 0.108 | 0.12 | 0.075 | 0 |  | 3.297 | 0.11379 | 0.251 | 0
July | 0.17 | 0.122 | 0.082 | 0.1 | 0.119 | 0.098 | 0 | 0.159 | 0.101 | 0.126 | 0.109 | 0.054 | 0.11 | 0 | 0.18 | 0.123 | 0.095 | 0.137 | 0.104 | 0.068 | 0 | 0.195 | 0.076 | 0.076 | 0.098 | 0.105 | 0.099 | 0 | 0.167 | 0.107 | 0.094 | 3.074 | 0.095931 | 0.195 | 0
August | 0.113 | 0.104 | 0.103 | 0 | 0.197 | 0.096 | 0.114 | 0.108 | 0.114 | 0.08 | 0 | 0.215 | 0.103 | 0.137 | 0.121 | 0.204 | 0.124 | 0 | 0.316 | 0.16 | 0.154 | 0.137 | 0.131 | 0.128 | 0 | 0.326 | 0.156 | 0.152 | 0.023 | 0 | 0.143 | 3.759 | 0.12214 | 0.326 | 0
sept | 0 | 0.239 | 0.153 | 0.105 | 0.103 | 0.121 | 0.108 | 0 | 0.241 | 0.104 | 0.085 | 0.093 | 0.117 | 0.084 | 0 | 0.185 | 0.098 | 0.083 | 0.101 | 0.095 | 0.077 | 0 | 0.16 | 0.094 | 0.085 | 0.086 | 0.1 | 0.074 | 0 | 0.185 |  | 2.976 | 0.09775 | 0.241 | 0
October | 0.1 | 0.079 | 0.1 | 0.097 | 0.102 | 0 | 0.159 | 0.097 | 0.079 | 0.092 | 0.093 | 0.09 | 0 | 0.155 | 0.09 | 0.095 | 0.08 | 0.095 | 0.089 | 0 | 0.164 | 0.096 | 0.065 | 0.094 | 0.091 | 0.085 | 0 | 0.149 | 0.083 | 0.076 | 0.091 | 2.686 | 0.086448 | 0.164 | 0
November | 0.094 | 0.097 | 0 | 0.162 | 0.095 | 0.079 | 0.085 | 0.088 | 0.108 | 0 | 0.17 | 0.081 | 0.074 | 0.093 | 0.106 | 0.089 | 0 | 0.175 | 0.08 | 0.071 | 0.095 | 0.084 | 0.07 | 0 | 0.171 | 0.083 | 0.072 | 0.078 | 0.074 | 0.091 |  | 2.565 | 0.084786 | 0.175 | 0
December | 0 | 0.172 | 0.076 | 0.076 | 0.102 | 0.074 | 0.077 | 0 | 0.164 | 0.083 | 0.088 | 0.08 | 0.072 | 0.101 | 0 | 0.132 | 0.135 | 0.075 | 0.122 | 0.09 | 0.103 | 0 | 0.182 | 0.118 | 0.088 | 0.085 | 0.094 | 0.106 | 0 | 0.157 | 0.078 | 2.73 | 0.088207 | 0.182 | 0
Total Pumped - Orangewood | [31 empty] | Total Pumped - Orangewood
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max
2019-01-01 | 0.04 | 0.0558 | 0.0915 | 0.0994 | 0.0797 | 0 | 0.1183 | 0.0858 | 0.0913 | 0.0715 | 0.121 | 0.0816 | 0 | 0.2088 | 0.0697 | 0.0938 | 0.0972 | 0.0056 | 0.1046 | 0 | 0.2185 | 0.1058 | 0.0997 | 0.1256 | 0.1108 | 0.0646 | 0 | 0.1579 | 0.0853 | 0.0713 | 0.0926 | 2.6477 | 0.08541 | 0.2185
February | 0.1011 | 0.1062 | 0 | 0.1581 | 0.0815 | 0.051 | 0.0852 | 0.1013 | 0.0918 | 0 | 0.0766 | 0.0781 | 0.0688 | 0.0717 | 0.0788 | 0.0815 | 0 | 0.1529 | 0.0769 | 0.0636 | 0.095 | 0.1191 | 0.0686 | 0 | 0.178 | 0.1115 | 0.0798 | 0.0733 |  |  |  | 2.2504 | 0.080371 | 0.178
March | 0.102 | 0.0584 | 0 | 0.229 | 0.0737 | 0.0889 | 0.0694 | 0.0959 | 0.0676 | 0 | 0.1091 | 0.0526 | 0.0686 | 0.0986 | 0.0694 | 0.0474 | 0 | 0.1236 | 0.0569 | 0.0487 | 0.0518 | 0.0517 | 0.0582 | 0 | 0.1205 | 0.0536 | 0.045 | 0.0518 | 0.0456 | 0.0444 | 0 | 1.9824 | 0.063948 | 0.229
April | 0.0774 | 0.0348 | 0.0601 | 0.057 | 0.0802 | 0.0943 | 0 | 0.1693 | 0.0821 | 0.0593 | 0.091 | 0.059 | 0.0788 | 0 | 0.1801 | 0.0483 | 0.0628 | 0.0654 | 0.062 | 0.0622 | 0 | 0.1138 | 0.0756 | 0.063 | 0.0803 | 0.0684 | 0.0652 | 0 | 0.1557 | 0.0739 |  | 2.12 | 0.070667 | 0.1801
May | 0.0781 | 0.0697 | 0.074 | 0.0791 | 0 | 0.1299 | 0.0523 | 0.0337 | 0.0788 | 0.041 | 0.0463 | 0 | 0.0883 | 0.0651 | 0.064 | 0.0972 | 0.0564 | 0.0959 | 0 | 0.1639 | 0.0669 | 0.0694 | 0.0809 | 0.066 | 0.0908 | 0 | 0.1362 | 0.0913 | 0.0807 | 0.0875 | 0.0958 | 2.1792 | 0.070297 | 0.1639
June | 0.1015 | 0 | 0.1635 | 0.0661 | 0.0914 | 0.052 | 0.0807 | 0.0851 | 0 | 0.1008 | 0.0501 | 0.0858 | 0.068 | 0.0754 | 0.0918 | 0 | 0.1321 | 0.0719 | 0.0853 | 0.0584 | 0.0776 | 0.0873 | 0 | 0.225 | 0.1072 | 0.0925 | 0.1297 | 0.0781 | 0.1234 | 0 |  | 2.3807 | 0.079357 | 0.225
July | 0.1653 | 0.1006 | 0.1413 | 0.1089 | 0.0677 | 0.1395 | 0 | 0.1771 | 0.1006 | 0.0625 | 0.0989 | 0.0778 | 0.1079 | 0 | 0.2029 | 0.1419 | 0.1149 | 0.149 | 0.1381 | 0.1107 | 0 | 0.1361 | 0.0872 | 0.1072 | 0.0622 | 0.0685 | 0.0935 | 0 | 0.1533 | 0.0972 | 0.1099 | 3.1207 | 0.10067 | 0.2029
August | 0.0829 | 0.0938 | 0.1166 | 0 | 0.185 | 0.0684 | 0.0714 | 0.0834 | 0.0828 | 0.0577 | 0 | 0.2154 | 0.0556 | 0.044 | 0.1036 | 0.0788 | 0.0779 | 0 | 0.1067 | 0.0586 | 0.0542 | 0.0819 | 0.1124 | 0.0884 | 0 | 0.155 | 0.0542 | 0.0726 | 0.1637 | 0.2094 | 0.0417 | 2.6161 | 0.08439 | 0.2154
September | 0 | 0.1215 | 0.0648 | 0.0669 | 0.0689 | 0.0634 | 0.0813 | 0 | 0.1683 | 0.087 | 0.072 | 0.0846 | 0.0958 | 0.0949 | 0 | 0.1631 | 0.0787 | 0.0789 | 0.0716 | 0.0846 | 0.1079 | 0 | 0.1957 | 0.0711 | 0.0813 | 0.0979 | 0.0827 | 0.096 | 0 | 0.1744 |  | 2.4533 | 0.081777 | 0.1957
October | 0.0931 | 0.0754 | 0.0929 | 0.0828 | 0.1047 | 0 | 0.1667 | 0.084 | 0.0547 | 0.0889 | 0.0594 | 0.081 | 0 | 0.1953 | 0.0898 | 0.0889 | 0.0831 | 0.0838 | 0.0691 | 0 | 0.1628 | 0.0827 | 0.0797 | 0.0777 | 0.0783 | 0.1102 | 0 | 0.1812 | 0.0802 | 0.0884 | 0.0709 | 2.6057 | 0.084055 | 0.1953
November | 0.0894 | 0.0734 | 0 | 0.1886 | 0.0764 | 0.0844 | 0.0718 | 0.092 | 0.0996 | 0 | 0.1585 | 0.0708 | 0.0912 | 0.0883 | 0.0551 | 0.1071 | 0 | 0.1942 | 0.0787 | 0.0818 | 0.0934 | 0.0813 | 0.0727 | 0 | 0.2067 | 0.078 | 0.0586 | 0.0961 | 0.0895 | 0.0986 |  | 2.5762 | 0.085873 | 0.2067
December | 0 | 0.1967 | 0.0879 | 0.0865 | 0.1015 | 0.0814 | 0.0784 | 0 | 0.1815 | 0.1003 | 0.0607 | 0.1013 | 0.0958 | 0.0968 | 0 | 0.1514 | 0.0503 | 0.0509 | 0.0318 | 0.0576 | 0.0386 | 0 | 0.125 | 0.0623 | 0.0591 | 0.0552 | 0.0562 | 0.0922 | 0 | 0.1986 | 0.0806 | 2.3786 | 0.076729 | 0.1986
Total Pumped -BVMHP | [31 empty] | Total Pumped - BVMHP
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max
2019-01-01 | 0.1455 | 0.1056 | 0.1061 | 0.0753 | 0.1095 | 0 | 0.2246 | 0.1322 | 0.0737 | 0.0989 | 0.0956 | 0.0839 | 0 | 0.2221 | 0.0779 | 0.0969 | 0.0995 | 0.2313 | 0.1005 | 0 | 0.2156 | 0.1071 | 0.0887 | 0.0787 | 0.0915 | 0.1036 | 0 | 0.206 | 0.1214 | 0.074 | 0.0979 | 3.2636 | 0.10528 | 0.2313
February | 0.075 | 0.0969 | 0 | 0.2061 | 0.115 | 0.1214 | 0.1129 | 0.1162 | 0.1005 | 0 | 0.2772 | 0.1261 | 0.1294 | 0.1256 | 0.1037 | 0.1283 | 0 | 0.2593 | 0.138 | 0.1388 | 0.1008 | 0.0942 | 0.1102 | 0 | 0.2292 | 0.1213 | 0.1176 | 0.1117 | 0 |  |  | 3.2554 | 0.11226 | 0.2772
March | 0.0934 | 0.1401 | 0 | 0.2072 | 0.1099 | 0.1052 | 0.1281 | 0.1156 | 0.1857 | 0 | 0.2422 | 0.1742 | 0.1006 | 0.1021 | 0.1822 | 0.1219 | 0 | 0.289 | 0.1466 | 0.1019 | 0.1632 | 0.1425 | 0.1228 | 0 | 0.3865 | 0.0797 | 0.1396 | 0.148 | 0.114 | 0.1568 | 0 | 3.999 | 0.129 | 0.3865
April | 0.3332 | 0.1118 | 0.1166 | 0.1305 | 0.0905 | 0.1042 | 0 | 0.2188 | 0.0908 | 0.1001 | 0.1026 | 0.114 | 0.0958 | 0 | 0.2333 | 0.1092 | 0.1044 | 0.1233 | 0.1242 | 0.1225 | 0 | 0.2334 | 0.1099 | 0.0978 | 0.1301 | 0.1323 | 0.0618 | 0 | 0.26 | 0.104 |  | 3.5551 | 0.1185 | 0.3332
May | 0.1174 | 0.1157 | 0.1195 | 0.1119 | 0 | 0.2286 | 0.1057 | 0.1545 | 0.1286 | 0.1503 | 0.1302 | 0 | 0.2751 | 0.0951 | 0.111 | 0.1316 | 0.1193 | 0.1119 | 0 | 0.2595 | 0.1273 | 0.1175 | 0.1348 | 0.1242 | 0.1446 | 0 | 0.2244 | 0.1493 | 0.1405 | 0.1094 | 0.1319 | 3.8698 | 0.12483 | 0.2751
June | 0.1483 | 0 | 0.2447 | 0.138 | 0.1102 | 0.1496 | 0.1203 | 0.1481 | 0 | 0.2344 | 0.1353 | 0.17 | 0.1678 | 0.1562 | 0.1461 | 0 | 0.2847 | 0.1672 | 0.1829 | 0.1386 | 0.1699 | 0.1066 | 0 | 0.2836 | 0.143 | 0.1272 | 0.1478 | 0.1548 | 0.1183 | 0 |  | 4.0936 | 0.13645 | 0.2847
July | 0.2401 | 0.1618 | 0.124 | 0.1458 | 0.1576 | 0.143 | 0 | 0.2164 | 0.1411 | 0.1681 | 0.1491 | 0.0853 | 0.1541 | 0 | 0.2536 | 0.1347 | 0.1055 | 0.149 | 0.1429 | 0.1093 | 0 | 0.2539 | 0.1203 | 0.1201 | 0.1317 | 0.144 | 0.1361 | 0 | 0.2366 | 0.1448 | 0.137 | 4.2059 | 0.13567 | 0.2539
August | 0.1447 | 0.1425 | 0.1397 | 0 | 0.2625 | 0.1273 | 0.1626 | 0.1359 | 0.1607 | 0.104 | 0 | 0.2952 | 0.1272 | 0.1892 | 0.1311 | 0.2164 | 0.1343 | 0 | 0.3368 | 0.1716 | 0.1637 | 0.1488 | 0.1448 | 0.1391 | 0 | 0.3494 | 0.1653 | 0.1666 | 0.0252 | 0.0006 | 0.1781 | 4.4633 | 0.14398 | 0.3494
September | 0 | 0.2945 | 0.1887 | 0.1451 | 0.1505 | 0.1575 | 0.1457 | 0 | 0.3171 | 0.1466 | 0.1172 | 0.1387 | 0.1714 | 0.12 | 0 | 0.2741 | 0.1309 | 0.1341 | 0.1359 | 0.1362 | 0.1239 | 0 | 0.2791 | 0.1509 | 0.1187 | 0.1328 | 0.1416 | 0.1076 | 0 | 0.2636 |  | 4.2224 | 0.14075 | 0.3171
October | 0.1378 | 0.1168 | 0.1379 | 0.1383 | 0.141 | 0 | 0.2289 | 0.1311 | 0.1191 | 0.1259 | 0.1303 | 0.13 | 0 | 0.2281 | 0.1372 | 0.1228 | 0.1128 | 0.1394 | 0.1328 | 0 | 0.2401 | 0.1357 | 0.1056 | 0.1335 | 0.1347 | 0.124 | 0 | 0.2343 | 0.1153 | 0.1248 | 0.1314 | 3.8896 | 0.12547 | 0.2401
November | 0.1347 | 0.142 | 0 | 0.2335 | 0.1308 | 0.1309 | 0.1247 | 0.1454 | 0.1495 | 0 | 0.2585 | 0.1243 | 0.1185 | 0.1245 | 0.1602 | 0.1333 | 0 | 0.2656 | 0.1153 | 0.1083 | 0.1385 | 0.1189 | 0.1053 | 0 | 0.2756 | 0.1231 | 0.1054 | 0.1161 | 0.1256 | 0.1242 |  | 3.8327 | 0.12776 | 0.2756
December | 0 | 0.259 | 0.1111 | 0.0959 | 0.1439 | 0.1006 | 0.1073 | 0 | 0.2438 | 0.1307 | 0.1295 | 0.1196 | 0.1181 | 0.1687 | 0 | 0.2296 | 0.2004 | 0.114 | 0.171 | 0.1469 | 0.1434 | 0 | 0.3161 | 0.1821 | 0.1532 | 0.1328 | 0.1656 | 0.1808 | 0 | 0.2689 | 0.1343 | 4.2673 | 0.13765 | 0.3161
Orangewood-BVMHP Combined | [31 empty] | Orangewood-BVMHP Combined
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max
2019-01-01 | 0.1855 | 0.1614 | 0.1976 | 0.1747 | 0.1892 | 0 | 0.3429 | 0.218 | 0.165 | 0.1704 | 0.2166 | 0.1655 | 0 | 0.4309 | 0.1476 | 0.1907 | 0.1967 | 0.2369 | 0.2051 | 0 | 0.4341 | 0.2129 | 0.1884 | 0.2043 | 0.2023 | 0.1682 | 0 | 0.3639 | 0.2067 | 0.1453 | 0.1905 | 5.9113 | 0.19069 | 0.4341
February | 0.1761 | 0.2031 | 0 | 0.3642 | 0.1965 | 0.1724 | 0.1981 | 0.2175 | 0.1923 | 0 | 0.3538 | 0.2042 | 0.1982 | 0.1973 | 0.1825 | 0.2098 | 0 | 0.4122 | 0.2149 | 0.2024 | 0.1958 | 0.2133 | 0.1788 | 0 | 0.4072 | 0.2328 | 0.1974 | 0.185 | 0 |  |  | 5.5058 | 0.18986 | 0.4122
March | 0.1954 | 0.1985 | 0 | 0.4362 | 0.1836 | 0.1941 | 0.1975 | 0.2115 | 0.2533 | 0 | 0.3513 | 0.2268 | 0.1692 | 0.2007 | 0.2516 | 0.1693 | 0 | 0.4126 | 0.2035 | 0.1506 | 0.215 | 0.1942 | 0.181 | 0 | 0.507 | 0.1333 | 0.1846 | 0.1998 | 0.1596 | 0.2012 | 0 | 5.9814 | 0.19295 | 0.507
April | 0.4106 | 0.1466 | 0.1767 | 0.1875 | 0.1707 | 0.1985 | 0 | 0.3881 | 0.1729 | 0.1594 | 0.1936 | 0.173 | 0.1746 | 0 | 0.4134 | 0.1575 | 0.1672 | 0.1887 | 0.1862 | 0.1847 | 0 | 0.3472 | 0.1855 | 0.1608 | 0.2104 | 0.2007 | 0.127 | 0 | 0.4157 | 0.1779 |  | 5.6751 | 0.18917 | 0.4157
May | 0.1955 | 0.1854 | 0.1935 | 0.191 | 0 | 0.3585 | 0.158 | 0.1882 | 0.2074 | 0.1913 | 0.1765 | 0 | 0.3634 | 0.1602 | 0.175 | 0.2288 | 0.1757 | 0.2078 | 0 | 0.4234 | 0.1942 | 0.1869 | 0.2157 | 0.1902 | 0.2354 | 0 | 0.3606 | 0.2406 | 0.2212 | 0.1969 | 0.2277 | 6.049 | 0.19513 | 0.4234
June | 0.2498 | 0 | 0.4082 | 0.2041 | 0.2016 | 0.2016 | 0.201 | 0.2332 | 0 | 0.3352 | 0.1854 | 0.2558 | 0.2358 | 0.2316 | 0.2379 | 0 | 0.4168 | 0.2391 | 0.2682 | 0.197 | 0.2475 | 0.1939 | 0 | 0.5086 | 0.2502 | 0.2197 | 0.2775 | 0.2329 | 0.2417 | 0 |  | 6.4743 | 0.21581 | 0.5086
July | 0.4054 | 0.2624 | 0.2653 | 0.2547 | 0.2253 | 0.2825 | 0 | 0.3935 | 0.2417 | 0.2306 | 0.248 | 0.1631 | 0.262 | 0 | 0.4565 | 0.2766 | 0.2204 | 0.298 | 0.281 | 0.22 | 0 | 0.39 | 0.2075 | 0.2273 | 0.1939 | 0.2125 | 0.2296 | 0 | 0.3899 | 0.242 | 0.2469 | 7.3266 | 0.23634 | 0.4565
August | 0.2276 | 0.2363 | 0.2563 | 0 | 0.4475 | 0.1957 | 0.234 | 0.2193 | 0.2435 | 0.1617 | 0 | 0.5106 | 0.1828 | 0.2332 | 0.2347 | 0.2952 | 0.2122 | 0 | 0.4435 | 0.2302 | 0.2179 | 0.2307 | 0.2572 | 0.2275 | 0 | 0.5044 | 0.2195 | 0.2392 | 0.1889 | 0.21 | 0.2198 | 7.0794 | 0.22837 | 0.5106
September | 0 | 0.416 | 0.2535 | 0.212 | 0.2194 | 0.2209 | 0.227 | 0 | 0.4854 | 0.2336 | 0.1892 | 0.2233 | 0.2672 | 0.2149 | 0 | 0.4372 | 0.2096 | 0.213 | 0.2075 | 0.2208 | 0.2318 | 0 | 0.4748 | 0.222 | 0.2 | 0.2307 | 0.2243 | 0.2036 | 0 | 0.438 |  | 6.6757 | 0.22252 | 0.4854
October | 0.2309 | 0.1922 | 0.2308 | 0.2211 | 0.2457 | 0 | 0.3956 | 0.2151 | 0.1738 | 0.2148 | 0.1897 | 0.211 | 0 | 0.4234 | 0.227 | 0.2117 | 0.1959 | 0.2232 | 0.2019 | 0 | 0.4029 | 0.2184 | 0.1853 | 0.2112 | 0.213 | 0.2342 | 0 | 0.4155 | 0.1955 | 0.2132 | 0.2023 | 6.4953 | 0.20953 | 0.4234
November | 0.2241 | 0.2154 | 0 | 0.4221 | 0.2072 | 0.2153 | 0.1965 | 0.2374 | 0.2491 | 0 | 0.417 | 0.1951 | 0.2097 | 0.2128 | 0.2153 | 0.2404 | 0 | 0.4598 | 0.194 | 0.1901 | 0.2319 | 0.2002 | 0.178 | 0 | 0.4823 | 0.2011 | 0.164 | 0.2122 | 0.2151 | 0.2228 |  | 6.4089 | 0.21363 | 0.4823
December | 0 | 0.4557 | 0.199 | 0.1824 | 0.2454 | 0.182 | 0.1857 | 0 | 0.4253 | 0.231 | 0.1902 | 0.2209 | 0.2139 | 0.2655 | 0 | 0.381 | 0.2507 | 0.1649 | 0.2028 | 0.2045 | 0.182 | 0 | 0.4411 | 0.2444 | 0.2123 | 0.188 | 0.2218 | 0.273 | 0 | 0.4675 | 0.2149 | 6.6459 | 0.21438 | 0.4675
| 0.4106 | 0.4557 | 0.4082 | 0.4362 | 0.4475 | 0.3585 | 0.3956 | 0.3935 | 0.4854 | 0.3352 | 0.417 | 0.5106 | 0.3634 | 0.4309 | 0.4565 | 0.4372 | 0.4168 | 0.4598 | 0.4435 | 0.4234 | 0.4341 | 0.39 | 0.4748 | 0.5086 | 0.507 | 0.5044 | 0.3606 | 0.4155 | 0.4157 | 0.4675 | 0.2469 | 76.2287
[30 empty] | Max Day | 0.5106
|  |  |  | Orangewood Well Meters | [5 empty] | Orangewood-BVTP Well Meters
|  |  |  | Well 1 | Badger | 4" | ????? |  |  | Well 1 | Badger |  | 4" | 34039180
|  |  |  | Well 2 | ABB | 4" | 12766562 |  |  | Well 2 | Badger |  | 4" | ???????
|  |  |  | Well 3-4 | Badger | 4" | 36798633 |  |  | Well 3-4 | Water Specialte |  | 4" | ???????