109

1

2                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

3

4                                    DOCKET NO. 010503-WU

5             In the Matter of

6

APPLICATION FOR INCREASE IN WATER

7   RATES FOR SEVEN SPRINGS SYSTEM IN

PASCO COUNTY BY ALOHA UTILITIES, INC.

8   _____________________________________/

9

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

10                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

11            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

12                              VOLUME 2

13                        Pages 109 through 239

14

PROCEEDINGS:        HEARING

15

BEFORE:             CHAIRMAN BRAULIO L. BAEZ

16                       COMMISSIONER J. TERRY DEASON

COMMISSIONER RUDOLPH "RUDY" BRADLEY

17                       COMMISSIONER CHARLES M. DAVIDSON

COMMISSIONER LISA P. EDGAR

18

DATE:               Tuesday, March 8, 2005

19

TIME:               Commenced at 9:30 a.m.

20

PLACE:              Betty Easley Conference Center

21                       Hearing Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23   REPORTED BY:        LINDA BOLES, RPR

Official FPSC Hearings Reporter

24                       (850) 413-6734

25   APPEARANCES:        (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

110

1                              I N D E X

2                              WITNESSES

3

NAME:                                               PAGE NO.

4

5   DR. V. ABRAHAM KURIEN

6        Voir Dire Examination by Mr. Wharton            123

Examination by Mr. Beck                         133

7        Direct Examination by Mr. Beck                  145

Prefiled Direct Testimony Inserted              150

8        Cross Examination by Mr. Wharton                173

Cross Examination by Mr. Jaeger                 188

9

10   DR. AUDREY D. LEVINE

11        Direct Examination by Mr. Deterding             188

Prefiled Direct Testimony Inserted              191

12        Cross Examination by Mr. Beck                   196

Cross Examination by Mr. Jaeger                 215

13        Redirect Examination by Mr. Deterding           233

14

15

16

17

18

19

20

21   CERTIFICATE OF REPORTER                              239

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

111

1                              EXHIBITS

2   NUMBER:                                        ID.    ADMTD.

3   1    VAK-1                                     146

4   2    VAK-2                                     146

5   3    VAK-3                                     146

6   4    VAK-4                                     146

7   5    VAK-5                                     146

8   6    VAK-6                                     146

9   7    VAK-7                                     146

10   8    VAK-8                                     146

11   9    VAK-9                                     146

12   10   VAK-10                                    146

13   11   VAK-11                                    146

14   12   VAK-12                                    146

15   13   VAK-13                                    146

16   14   VAK-14                                    146

17   15   VAK-15                                    146

18   16   VAK-16                                    146

19   17   VAK-17                                    146

20   18   VAK-18                                    146

21   19   Reference Map of Aloha Well Locations     147

22   20   Resum?

21        A    Well, yeah.  I attached it to it, but I didn't

22   prepare it just for that.

23             MR. DETERDING:  Okay.  Commissioners, I request that

24   Dr. Levine's testimony be inserted in the record as though

25   read.

FLORIDA PUBLIC SERVICE COMMISSION

190

1             CHAIRMAN BAEZ:  Mr. Beck.

2             MR. BECK:  Mr. Chairman, if I heard correctly, Dr.

3   Levine said it's most likely her testimony would be the same,

4   her answers would be the same today.

5             THE WITNESS:  I should have just said yes.  Sorry.

6             CHAIRMAN BAEZ:  And based on that adjustment to her

7   response --

8             MR. BECK:  I have no objection.

9             CHAIRMAN BAEZ:  -- you don't have any objection?

10             Without objection, show the direct testimony of Dr.

11   Levine entered into the record as though read.

12             MR. DETERDING:  Commissioners, should we make the

13   resum of Dr. Audrey Levine

20   marked as Exhibit 20.

21             (Exhibit 20 marked for identification.)

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

196

1             MR. DETERDING:  And we'd tender the witness.

2             CHAIRMAN BAEZ:  Dr. Levine, you don't have an opening

3   statement?

4             THE WITNESS:  No.

5             MR. DETERDING:  A summary.

6             CHAIRMAN BAEZ:  A summary, I'm sorry, of your

7   testimony.

8             THE WITNESS:  No.

9             CHAIRMAN BAEZ:  It's okay if you don't.  I don't want

10   to put you on the spot.  I just wanted to make sure that -- go

11   ahead, Mr. Beck.

12             MR. BECK:  Thank you, Mr. Chairman.

13                          CROSS EXAMINATION

14   BY MR. BECK:

15        Q    Good afternoon, Dr. Levine.

16        A    Good afternoon.

17        Q    You're appearing on behalf of Aloha Utilities today;

18   is that correct?

19        A    That's correct.

20        Q    Are they paying you to, to testify on their behalf

21   today?

22        A    They are not paying me, no.

23        Q    And why is that?

24        A    I'm doing a project for Aloha through the university,

25   and when I work for the university, I can only get paid by the

FLORIDA PUBLIC SERVICE COMMISSION

197

1   university.  So it would -- so I can't be paid by an entity

2   who's also funding research.

3        Q    Is that because there would be a conflict if you were

4   to take money from the company at the same time that you're

5   performing research for the company?

6        A    That's correct.

7        Q    How is there a difference between there being a

8   conflict if you were to take money from them as opposed to

9   appearing before or for them and on their behalf today before

10   the Public Service Commission?

11        A    I'm not quite sure what you're --

12        Q    Well, you're doing research through the university

13   for Aloha Utilities; is that correct?

14        A    That's correct.

15        Q    And yet today you're appearing today as an advocate

16   of their positions; isn't that right?

17        A    I -- well, I'm here to -- yeah, I guess.  I guess

18   that's a good way -- I don't -- I'm not sure what you're trying

19   to ask me.

20        Q    Okay.  Well, wouldn't appearing as an advocate on

21   behalf of the company be a conflict just the same as if you

22   were to take money from them?

23        A    I'm here just to, just to present the facts.  I

24   don't, you know, I don't -- I mean, I don't think it's a

25   conflict in the least.  It's, you know, it's --

FLORIDA PUBLIC SERVICE COMMISSION

198

1             MR. DETERDING:  Commissioner, I want to object.  I

2   don't think Ms. Levine has said she's an advocate for anything.

3   She's an expert witness on areas related to this matter.  I

4   think there's a real distinction there.

5             CHAIRMAN BAEZ:  I'm not, I'm not sure what the

6   objection is.  We're going to have to make -- put it in --

7             MR. DETERDING:  Well, I don't believe she has stated

8   that she is an advocate for Aloha Utilities.  She has stated

9   she is an expert.

10             MR. BECK:  She's answering the questions.  I don't

11   know what the objection is.

12             MR. DETERDING:  Well, has he established that she is

13   an advocate for Aloha Utilities?

14             CHAIRMAN BAEZ:  Let me, let me just, let me just

15   short circuit this, Mr. Beck.  You did ask her a question if

16   she was appearing as an advocate for Aloha Utilities.

17             Dr. Levine, not to put words in your mouth, but I did

18   see you hesitate because it may be, it may be -- my impression

19   is that you don't know how to handle that, that question.  So

20   if you'll just take a moment -- Mr. Beck, I'd like you to ask

21   her that question again so that she can clearly answer what

22   her -- we're going to take one more crack at this because I

23   need that cleared up.  Because I -- Mr. Beck, I've got to tell

24   you I agree with Mr. Deterding.  I'm not sure, I'm not sure if

25   that question is --

FLORIDA PUBLIC SERVICE COMMISSION

199

1             MR. BECK:  I'll try to reword my question.

2             CHAIRMAN BAEZ:  If you would, please.

3   BY MR. BECK:

4        Q    And you are appearing on behalf of Aloha Utilities

5   today; is that right?

6        A    I was asked to come here by Aloha Utilities.  I, you

7   know, I'm not necessarily appearing on behalf of anybody except

8   for, I guess, the university or myself or, you know, but I'm --

9   I was asked to come here by them.

10        Q    Uh-huh.  And, and you are working through the

11   university for Aloha Utilities on a project for them; is that

12   correct?

13        A    I'm working on a project that's being funded by Aloha

14   Utilities.  I wouldn't say I'm working -- I don't work directly

15   for them.  I'm working on trying to, trying to answer a

16   research question.

17        Q    At one time in the past you were hired by the Office

18   of Public Counsel to do a project for the Office of Public

19   Counsel, weren't you?

20        A    That's correct.

21        Q    Do you recall the dates that you worked for the

22   Office of Public Counsel?

23        A    Not offhand I don't.

24             MR. BECK:  Mr. Chairman, I have two exhibits I

25   thought I'd hand out at the same time just to move it along.

FLORIDA PUBLIC SERVICE COMMISSION

200

1             Mr. Chairman, I'd like to ask that the first exhibit

2   to be marked for identification would be the bills for

3   professional services.

4             CHAIRMAN BAEZ:  We'll mark that -- I have 21.

5             (Exhibit 21 marked for identification.)

6             MR. BECK:  And the second exhibit would be the fixed

7   price agreement between Aloha Utilities and USF.

8             CHAIRMAN BAEZ:  And we'll mark that Exhibit 22.

9             (Exhibit 22 marked for identification.)

10   BY MR. BECK:

11        Q    Dr. Levine, do you have Exhibit 21 for identification

12   in front of you?

13        A    Uh-huh.

14        Q    And do you recognize that exhibit as consisting of

15   bills you provided to the Office of Public Counsel?

16        A    That's correct.

17        Q    Would you agree that you began work for the Office of

18   Public Counsel in about the beginning of the Year 2003?

19        A    Uh-huh.  Yes.

20        Q    And on the first page of this exhibit is a bill from

21   you dated June 8th, 2004; is that correct?

22        A    That's correct.

23        Q    Is that the last bill that you sent to the Office of

24   Public Counsel?

25        A    That is.

FLORIDA PUBLIC SERVICE COMMISSION

201

1        Q    And do you agree that your last bill was on June 8th?

2   Maybe I didn't hear.

3        A    Yes.

4        Q    Okay.  And had you been relieved of your duties or

5   your contract with the Office of Public Counsel at that point?

6        A    That was with Steve Burgess, and actually I think

7   that was the date or right around the date when we had a

8   meeting at USF, and as far as I know I was.

9        Q    Okay.

10        A    There's no formal writing that says that.

11        Q    Okay.  When you submitted the bill on June 8th, did

12   you feel that you were still employed by their -- or under

13   contract with the Office of Public Counsel?

14        A    I was under the impression that I was done with what

15   I was, had set out to do.

16        Q    Okay.  And the total amount that was paid to you by

17   the Office was $24,200; would you agree?

18        A    That's correct.

19        Q    Now Exhibit 22 for identification, do you recognize

20   that?

21        A    Uh-huh.  Yes.

22        Q    Okay.  And that consists of a cover letter as well as

23   the Fixed Price Agreement between Aloha Utilities and the

24   University of South Florida; is that right?

25        A    That's right.

FLORIDA PUBLIC SERVICE COMMISSION

202

1        Q    Uh-huh.  And under that agreement Aloha is to pay the

2   University of South Florida $198,811; is that right?

3        A    That's right.

4        Q    And this agreement with Aloha Utilities was effective

5   beginning on June 1st, 2004; is that right?

6        A    No, I don't think it's right.  I think it's sort

7   of -- I think it began at the beginning of July.

8        Q    Could you look --

9        A    It says on the first line, it says it was entered

10   into on the 24th day of June, so.

11        Q    Could you look at the first, what's marked Page 1 of

12   5 on the bottom, and it's deposition exhibit Page 4.  Do you

13   have that?

14        A    Uh-huh.

15        Q    Do you see the first paragraph, period of

16   performance.

17        A    Yeah.  But if you look at the first line, it says,

18   "This agreement is made and entered into on this 24th day of

19   June."

20        Q    And period of performance they asked you about says

21   that it begins on June 1st, 2004, does it not?

22        A    It does say that, but I don't -- that contradicts the

23   first statement on the, on the sheet.

24        Q    Did you inquire of the Office of Public Counsel

25   whether they thought there would be a conflict with you

FLORIDA PUBLIC SERVICE COMMISSION

203

1   entering into an agreement through the University of South

2   Florida to work for Aloha Utilities?

3        A    I did not.

4        Q    Okay.  On the first page of this exhibit is a letter

5   dated June 11th, 2004, to Dr. Carnahan from Mr. Stephen

6   Watford.  Do you see that?

7        A    Uh-huh.

8        Q    And June 11th is three days after you sent your last

9   bill to the Office of Public Counsel, isn't it?

10        A    That's correct.

11        Q    You see where Mr. Watford says, "There's no conflict

12   of interest in Dr. Levine helping us implement the chosen

13   recommendation"?  Do you see that?

14        A    Uh-huh.

15        Q    Do you have any knowledge why, why Mr. Watford was

16   telling the university there's no conflict?

17        A    I, you know, I didn't write this letter, so I don't

18   --

19        Q    Okay.  You don't know?

20        A    Not off -- no, I don't really.

21        Q    Okay.  And you don't recall anybody at the Office of

22   Public Counsel telling you there would be a conflict of

23   interest either; is that right?

24        A    That's correct.  I mean, my main contact was Steve

25   Burgess, and --

FLORIDA PUBLIC SERVICE COMMISSION

204

1        Q    Did you have a chosen recommendation, as stated by

2   Mr. Watford?

3        A    In evaluating the system, I looked at various options

4   but I didn't select one particular one.

5        Q    Right.  You listed a whole series of possible options

6   for the company, did you not, in your --

7        A    That's correct.  Uh-huh.

8        Q    And you didn't have any one that was chosen; is that

9   right?

10        A    That's correct.

11        Q    So do you have any knowledge why Mr. Watford was

12   talking about a chosen recommendation?

13        A    No, I don't.

14        Q    On your exhibit or, Dr. Levine, on the second to the

15   last page of the exhibit there's a list of the budget.  Do you

16   see that?

17        A    Uh-huh.

18        Q    And there's an amount listed for you, for Dr. Audrey

19   Levine, three months, $27,720; is that right?

20        A    That's correct.

21        Q    And how -- is that amount to benefit you personally?

22        A    No.  I get paid by the university for nine months of

23   the year, and so that money doesn't come to me directly.

24        Q    How, how will that amount be used?

25        A    It'll be used either to, to offset teaching time or

FLORIDA PUBLIC SERVICE COMMISSION

205

1   to, you know -- so sort of -- since I'm paid by the university

2   to, you know, to sort of pay back the university for time I use

3   for research versus teaching.

4        Q    Uh-huh.  You could also use that to pay yourself

5   during the summer when you're not on contract with the

6   university, couldn't you?

7        A    I could, right.

8        Q    And that's at your option how you use that?

9        A    That's correct.

10        Q    And this also provides a payment for graduate

11   students as well as tuition waivers and undergraduate

12   assistance; is that right?

13        A    That's correct.

14        Q    And is that beneficial for you to be able to bring

15   that sort of thing to the university?

16        A    Well, that's my job.  I do research and I bring

17   contracts in to do research.  That's -- and I help students get

18   their degrees.  That's what universities do.

19        Q    Uh-huh.  Do you expect to write any papers as a

20   result of your, this agreement between Aloha and the University

21   of South Florida?

22        A    It's possible.

23        Q    Do you think that's likely that you will be doing

24   that?

25        A    Well, generally when you're, when you're doing

FLORIDA PUBLIC SERVICE COMMISSION

206

1   research, that's kind of an objective of -- well, that's how

2   you, how you -- that's how technology is transferred.  When you

3   find things out, you try to disseminate the information, and so

4   you write papers or participate in conferences, that sort of

5   thing.

6        Q    Have you finished, have you finished this contract

7   between USF and Aloha Utilities?

8        A    No.  It's an ongoing effort.

9        Q    So you're engaged in that activity right now with

10   Aloha.

11        A    That's correct.

12        Q    Let me ask you a few questions about your testimony,

13   if I could, and shift a little bit.  At Page 2 of your

14   testimony on Line 7 --

15        A    I don't have it here, but.

16        Q    -- you state that the hydrogen sulfide monitoring

17   approach that has been proposed by Aloha or -- is similar to

18   the approach used by Tampa Bay Water; is that right?

19        A    I don't have a copy of it here, but, yeah, that's

20   what it says.

21        Q    Okay.  Would you agree that the Tampa -- you don't

22   have your testimony?

23        A    No, I don't.

24             (Document handed to witness.)

25        Q    Can you turn to Page 2, Line 7?

FLORIDA PUBLIC SERVICE COMMISSION

207

1        A    Uh-huh.

2        Q    You're essentially agreeing with Aloha's

3   interpretation of the Tampa Bay Water Standard; is that right?

4        A    Yeah.

5        Q    Okay.  And the Tampa Bay Water Standard is applied at

6   the point of connection to the systems of the member

7   governments, is it not?

8        A    Uh-huh.

9        Q    Tampa Bay has a number of ways that they provide

10   water to its member governments, do they not?

11        A    They derive water from a variety of different sources

12   that's treated in a variety of different ways, and -- so is

13   that what your question is?

14        Q    Yes.  Would wells be one of the ways that they do

15   that?

16        A    Sure.  Yeah.  There's -- I forget, I forget the

17   breakdown, but a significant amount of the water is well water.

18        Q    And then when they, they draw it from a well, they

19   treat the water near, at or near the well site, do they not?

20        A    Not necessarily.  Sometimes it's pumped to a

21   centralized plant, sometimes it's pumped at the well site.  It

22   really varies depending on a variety of different factors.

23        Q    And then after it's treated, it's transported to a

24   place where it meets the facilities of its member governments,

25   is it not?

FLORIDA PUBLIC SERVICE COMMISSION

208

1        A    That's true.

2        Q    And it could be a short length of distance through

3   pipes to get there or a long, or a longer length of pipe to get

4   there, is it not?

5        A    That's true.  And it can mingle with other sources of

6   water as well.  So the water -- the -- as the water moves

7   through the system, its, its connection to its source is less

8   direct.

9        Q    Okay.  And where is the goal of .1 milligrams of

10   sulfides per liter, where is it?  It's at the point of

11   connection to the member government systems; is that right?

12        A    I'm not 100 percent sure how they do that, but that's

13   the, that's what's implied in the way the rule is written.  I

14   don't -- you know, so I'm not sure, I don't know exactly.  I've

15   never seen how they do their monitoring, so I don't, I don't

16   know exactly.

17        Q    But in any event, it's not, by definition it's not

18   going to be at the treatment site.  It's going to be at the

19   point of connection to the, to the member governments, is it

20   not?

21        A    Well, they don't really treat the water.  They're --

22   you know, they purchase water from different entities and

23   they're a wholesale provider.  So it's a different -- they're a

24   different kind of facility or a different kind of an entity.

25        Q    But the point of connection is where the facilities

FLORIDA PUBLIC SERVICE COMMISSION

209

1   of Tampa Bay Water connect to the systems of their member

2   governments, is it not?

3        A    Yes.

4        Q    Isn't that point of connection essentially where

5   Tampa Bay Water delivers the water to its customers which are

6   the, which are the member government systems?

7        A    Well, it's where, it's where -- it's a passthrough.

8   It's where their jurisdiction ends.  And so at that point the

9   water is no longer their water, it's whoever's water they've

10   sold it.  So their, their, their responsibility, you know, goes

11   to that point.

12        Q    And it's at that point, is it not, where the

13   .1 milligram of sulfides per liter, that's where it's being

14   measured, is it not?

15        A    Well, it's not, it's not measured that frequently.  I

16   mean, at the most it's measured a few times a year.  But I, I

17   really don't know exactly where they measure it.  I've not been

18   involved in how they, how and where they measure it, so I

19   really don't know.

20        Q    You don't know where they measure it?

21        A    I don't, no.  Personally I do not know.  I know, I

22   know a fair amount about the system, but I don't know where

23   they measure hydrogen sulfide.

24        Q    Well, if you don't know where they measure it, how

25   can you be agreeing with Aloha's interpretation of where the

FLORIDA PUBLIC SERVICE COMMISSION

210

1   point of connection is?

2        A    Well, that is the point of connection.  But I don't

3   know, I don't know physically what they do at that, at that

4   point of connection.  So I don't, I don't know enough about how

5   they, you know, what their, what their strategy is for

6   monitoring, when they monitor, what -- I don't know, really

7   don't know how -- I've never seen their data, I guess, is what

8   I can say.

9        Q    Well, I guess my question is how do you know Aloha is

10   interpreting it correctly if you don't know how Tampa Bay Water

11   is interpreting it?

12        A    I don't -- well, maybe I don't know then.  I'm not

13   sure what the point of this -- I don't know what you're trying

14   to get at here.

15        Q    Well, let me ask you this, Dr. Levine.  Didn't you

16   just mention that they, that you thought that they measured

17   several times a year?  Is that what you said?

18        A    According to my knowledge of Schedule D, which is

19   where this is all derived from, it's -- the wording says that

20   it's based on an average of, I think it's quarterly

21   measurements or four -- I don't, I don't know specifically what

22   it says.  But, but it's not, it's not that they measure it

23   continuously.

24        Q    Okay.

25        A    It's, it's -- to me, that's not -- you know, four

FLORIDA PUBLIC SERVICE COMMISSION

211

1   times a year is not, you know, excessive monitoring.

2        Q    Is that Aloha's position that they should measure it

3   four times a year, or do you know what Aloha's position is?

4        A    I don't know.  That's not -- I'm really -- no, I

5   don't know what their position is.

6        Q    So you're not in a position to support or oppose

7   Aloha's position in this case; is that right?

8        A    Perhaps that's true.  I mean, the question in my mind

9   is, is if you're going to monitor, you should have some

10   rationale for monitoring and you should be able to use that

11   information for some reason.  So you either monitor water

12   because there's a potential health problem associated with it

13   or because you're trying to control the process.  But to -- you

14   know, so that's -- you know, but as far as where they monitor,

15   that's, I'm not familiar with that.

16        Q    Okay.  And it's your belief they do it more than once

17   at year at least, although you're not sure how many times?

18        A    That's correct.

19        Q    At Page 2 of your testimony beginning at Line 3,

20   referring to the Tampa Bay Water goal, you state that this

21   goals provides a reasonable target level for hydrogen sulfide

22   of .1 milligrams per liter for quality entering the retail

23   distribution system.  Do you see that?

24        A    Uh-huh.

25        Q    Do you believe that that would be a reasonable target

FLORIDA PUBLIC SERVICE COMMISSION

212

1   for water exiting the distribution system as well?

2        A    Well, the problem is this .1 has no -- there's no

3   relationship in my mind between this number .1 and the

4   potential -- and the issues associated with, with hydrogen

5   sulfide.  And so the reason why .1 is selected is because

6   that's about the level that it can be measured with, not even

7   with, with -- the accuracy of the measurement is difficult.  So

8   the .1 -- I think it's useful to have some, you know, some

9   benchmark of what the hydrogen sulfide is.  But what the, what

10   the number is I don't think makes a -- I don't think --

11        Q    Let me --

12        A    I don't think there's any relationship between that

13   number and the hydrogen sulfide in the system or the impacts of

14   the hydrogen sulfide in the system.

15        Q    Dr. Levine, let me try again.  In your testimony you

16   state that you believe that's a reasonable target for, for

17   water entering the retail distribution system; is that right?

18        A    Correct.  Right.

19        Q    My question to you is, I think, simple.  Do you think

20   that's a reasonable target for water exiting the distribution

21   system?

22        A    Sure.  If it's reasonable going in, it's reasonable

23   coming out.  Right.

24        Q    At Page 3 of your testimony, beginning at Line 5 --

25   would you turn to that, please?  You state that the only --

FLORIDA PUBLIC SERVICE COMMISSION

213

1   this is referring to your study for the Office of Public

2   Counsel; is that right?

3        A    Uh-huh.

4        Q    You state that the only location in which detectable

5   hydrogen sulfide was observed was at the inflow to the ground

6   storage tank.

7             CHAIRMAN BAEZ:  Mr. Beck, can you give us a line

8   reference, please?

9             MR. BECK:  Lines 5 through 7 on Page 3.

10             CHAIRMAN BAEZ:  5 through 7 on Page 3?

11             MR. BECK:  Yes.

12             CHAIRMAN BAEZ:  Thank you.  Sorry.  Can you restate

13   your question?

14   BY MR. BECK:

15        Q    Okay.  First of all, I think at this point I've only

16   asked -- you state that the only location in which you detected

17   hydrogen sulfide was at the inflow to the ground storage tank.

18   That's right, is it not?

19        A    Uh-huh.  Right.

20        Q    Okay.  Now that's water coming from a well, is it

21   not?

22        A    That's correct.

23        Q    And it --

24        A    But it's not water that's going into the

25   distribution.  It gets chlorinated downstream of this point.

FLORIDA PUBLIC SERVICE COMMISSION

214

1        Q    Okay.  It's all -- the water that goes into the tank,

2   as it were, it's treated with chlorine before it goes into the

3   pipes that go into the storage tank, is it not?

4        A    It's treated, but with a different end point because

5   it's not treated to the -- it doesn't have to maintain the same

6   level of chlorine as the water exiting the ground storage tank,

7   which is, I think, why that plant is there, to, to provide the

8   opportunity to, to, you know, to add chlorine.

9        Q    Aloha pumps water from, what, eight different wells?

10        A    Right.

11        Q    And the water at each of those wells is treated with

12   chlorine, is it not?

13        A    That's correct.

14        Q    Okay.  And is the, the treatment method at each of

15   those wells comparable?

16        A    Yeah.  It's more or less the same.

17        Q    Okay.  And in this instance you detected hydrogen

18   sulfide essentially in the pipes after it had been treated with

19   chlorine at the well, but before it enters the storage tank; is

20   that right?

21        A    That's true.  But it's a -- yeah.  That's true.

22        Q    And then it's treated with chlorine again at the

23   storage tank; is that right?

24        A    Right.

25             MR. BECK:  Okay.  I think that's all I have.  Thank

FLORIDA PUBLIC SERVICE COMMISSION

215

1   you.

2             CHAIRMAN BAEZ:  Mr. Wood or Mr. Hawcroft?

3             MR. HAWCROFT:  No.

4             CHAIRMAN BAEZ:  No questions?  Okay.  Mr. Jaeger.

5                          CROSS EXAMINATION

6   BY MR. JAEGER:

7        Q    Good afternoon, Dr. Levine.  Do you remember in our

8   deposition I discussed about what a field test for sulfide

9   would be like?

10        A    Uh-huh.

11        Q    And you described a container where you draw water up

12   the side of the container and then you suck some off after it's

13   filled; is that correct?

14        A    It's a, it's a, sort of a vertical tube where the

15   water enters at the bottom and exits at the top and you pull

16   the water out somewhere between the two so there's no free

17   water, so the water doesn't contact the air.

18        Q    But you get an immediate reading of the, a sulfide

19   level?

20        A    Well, you get an immediate sample, and then you run a

21   test which gives you a reading.

22        Q    But you do that in the field right then and there?

23        A    That's correct.

24        Q    I believe in your report you basically indicated that

25   there was more treatment needed, that chlorination alone was

FLORIDA PUBLIC SERVICE COMMISSION

216

1   not sufficient; is that correct?

2        A    I don't know that I, I don't know that I said that

3   chlorination alone was not sufficient.  One of the, one of the

4   things that's happening is that the type of chlorination system

5   is being converted from gaseous chlorine to liquid chlorine.

6   And so the, so the, so the, the ability to dose chlorine has

7   changed, but I don't think I exactly -- I don't remember

8   exactly saying that it was -- the problem or the problem that I

9   perceive is that the water -- there needs to be a way to ensure

10   the stability of the water.  And the way the system was

11   operated, because of the lack of, of online monitoring and

12   things like that, you know, I thought it needed improvement.

13        Q    I asked the question, "Okay.  I believe, in your

14   report" -- this is on Page 77, Line 6, of your deposition.  "I

15   believe in your report, I'm not sure if it's February or

16   January or both, but you are basically saying that, you know,

17   that there was more treatment needed; is that correct?"

18        A    Right.

19        Q    And you said, "Right."  Is that --

20        A    Yeah.  But that, but that's not saying that

21   chlorination alone isn't, isn't adequate treatment.

22        Q    And so what you're saying, that chlorination was not

23   adequate in and of itself, that was my next question.  And you

24   say, "Well, the system as it currently exists, you know, is in

25   need of upgrading."

FLORIDA PUBLIC SERVICE COMMISSION

217

1        A    Right.

2        Q    Okay.

3        A    And so by that, I mean there's lots of issues.  You

4   know, the monitoring capability and the ability to respond to

5   changes in water quality are upgrades that are currently going

6   on but they weren't in place then.

7        Q    Are you aware that Aloha has 30 bacteriological

8   testing sites?

9        A    That's for the Total Coliform Rule; right?

10        Q    Right.

11        A    And I've not, I've not gone to those sites, so I

12   don't know exactly.

13        Q    You're aware that they do have 30 sites?

14        A    Right.  Right.  Every, every utility has to have

15   those.

16        Q    And could you test for hydrogen sulfide at those same

17   spots?

18        A    Without having seen them, it's hard to, it's hard to

19   say.  But, for sure, if you can withdraw water from a location,

20   you can, you know, you could, you could set up to test for

21   whatever you choose to test.

22             Some utilities, you know, test at people's, you know,

23   hoses or taps.  Testing for bacteria, you don't have to be so

24   concerned about having, contacting, having the water contact

25   air.  So grabbing a bacterial sample requires, well, it

FLORIDA PUBLIC SERVICE COMMISSION

218

1   requires significant training and skill.  It's different.  If

2   you try to measure sulfide on the same sample as you're

3   measuring bacteria, you won't get an accurate reading because

4   of the, because the sulfide can be volatile.

5        Q    Clearly it's a separate test, but you could still --

6   if you can draw water, then you can do the --

7        A    Right.  Wherever you can take water, you can test

8   whatever you choose to test at that point.

9        Q    Now these 30 or these bacteriological testing sites,

10   is that sort of so you can keep an overall viewpoint of what's

11   happening out in the system, sort of keep track of what's going

12   on bacteriologically in the water system?

13        A    It's the Total Coliform Rule.  And what that requires

14   is that every utility monitors for bacteria because there

15   are -- because bacteria can -- you know, if the system is

16   contaminated with bacteria, people can get sick.  And so every

17   utility is required to monitor -- collect a certain number of

18   samples per month for, for bacteria.  And so the location of

19   those samples, of those sample sites is supposed to be

20   distributed throughout the system.

21        Q    And are you aware that for Aloha's Seven Springs

22   division there was only one point of interconnection with the

23   county?

24        A    I'm -- I really don't know where that -- yeah.  I

25   haven't really looked into that, but.

FLORIDA PUBLIC SERVICE COMMISSION

219

1        Q    But if the county water is not treated to the goal of

2   the .1 milligrams per liter, then there would be no way for

3   Aloha to know that if they didn't test the county water as it

4   came in?

5        A    That's correct.  If you don't test it, there's no way

6   you would know.

7        Q    So do you think it would be wise to test at that

8   interconnect?

9        A    I think so because then you know what you're getting.

10   You're -- I mean, then you know what's entering the system.

11   The problem is the sample, you know, a 100-milliliter sample is

12   only one snapshot in time as millions of gallons of water

13   moving through the pipe.  So, you know, so having a measurement

14   is certainly better than none, but whether it's -- you know,

15   it's not going to reflect real-time data.

16        Q    Do you know if Aloha could do anything if it tested,

17   I think it's at Little Road and State Road 54 that they have

18   this interconnect, do you know if Aloha could do anything if

19   the county water did not meet the 0.1 milligrams per liter?

20        A    Unless there's some capacity to treat the water

21   there, there's not much you could do.  So you're just getting a

22   measurement, but there's not much that would -- I don't know if

23   there's a plan to put any additional treatment capability there

24   or not.

25        Q    But basically Aloha doesn't have any control over the

FLORIDA PUBLIC SERVICE COMMISSION

220

1   county water, they can only treat their own; is that correct?

2        A    The county doesn't even have control of it because

3   they get it from Tampa Bay Water.  So they're, you know,

4   they're -- the water that they don't treat on their own is

5   regional water, so.

6        Q    Did you review or see the interrogatories propounded

7   by staff to Aloha?

8        A    When was that?

9        Q    That was the 20 interrogatories that staff sent to

10   Aloha.  Let me see.  That was the only set of interrogatories

11   we sent to them this past -- early this year.

12        A    Early in 2005?

13        Q    Yes.  I'm sorry.  Let me get to the -- I was looking

14   at the wrong one.  The interrogatories I'm talking about are

15   the first set, it's Numbers 1 through 20.  They were sent on

16   the 5th day of October, 2004.

17        A    Yeah.  I think I, I think I did see those.

18        Q    And referring to staff interrogatory Number 4, the

19   utility estimates that to extract 30 hydrogen sulfide samples

20   per month, it would cost about $3,200.  Are you familiar with

21   that figure?

22        A    Right.

23        Q    So that would be about $107 per sample, just doing

24   the math?

25        A    Uh-huh.  Well, I think there's some setup in there.

FLORIDA PUBLIC SERVICE COMMISSION

221

1   I mean, I think, because you have to have the people, you know,

2   have the people come and have all the equipment.  So I don't

3   know if it's -- but I don't know exactly.

4        Q    But somewhere around $100 per sample after you get it

5   going would be about right?

6        A    Uh-huh.

7        Q    And you're aware that Aloha has two divisions, Aloha

8   Gardens and Seven Springs?

9        A    Right.

10        Q    Did you do any work in the Aloha Gardens area?

11        A    A little bit of work in terms of looking at the water

12   quality and, yeah, just --

13        Q    So do you know if they have a black water problem in

14   Aloha Gardens?

15        A    I'm not familiar with whether they do or they don't.

16        Q    And I'm not sure that -- I didn't hear your response

17   to Charlie's question, Mr. Beck's question.  How often do you

18   think the test for hydrogen sulfide should be made?

19        A    It depends on what the, what the purpose of the

20   testing is.  Like I was saying before, for bacterial testing

21   that's important because there's a health impact.  If you're

22   trying to optimize the treatment, then it's important to test

23   so you understand how the treatment is working.  So I guess

24   it -- to me it depends on why you're, why you're -- what the

25   goal of the testing is.

FLORIDA PUBLIC SERVICE COMMISSION

222

1        Q    What if you're trying to find out if it's coming back

2   out a solution somewhere out in the system, how often then?

3        A    Well, I think some of those things could be better

4   tested by working with the water as opposed to just random -- I

5   mean, basically you're picking a random location and you're

6   taking a small volume of water.  If you really want to

7   understand what's going on with the water, it's better to, to

8   run tests on a batch basis and see what's going on with it.

9        Q    But in the beginning there might be a need to, like,

10   test more often until you get the system planed out, is the

11   word I'll use, to see if the system is working right?

12        A    Well, for sure you need to see how a system is

13   working.  I'm not sure hydrogen sulfide is the best tool to

14   use.  I think chlorine residual and other, other parameters

15   might be more useful in terms of trying to optimize a system.

16   Hydrogen sulfide -- there's not a lot of hydrogen sulfide data

17   that's generated because it's not that accurate of a test.  And

18   so I'm not convinced that that would give you insight into how

19   well the system is working.

20        Q    Well, would you agree if they met the 0.1 milligram

21   -- say they were on monthly testing.

22        A    Right.

23        Q    And if they met the 0.1 milligrams per liter standard

24   on a regular basis, would you think it appropriate to, say,

25   scale it back to quarterly testing?

FLORIDA PUBLIC SERVICE COMMISSION

223

1        A    So you -- I guess I'm not -- so you're suggesting

2   that you start with monthly testing and then scale back to

3   quarterly testing, is that what you --

4        Q    If they meet the standard.

5        A    Right.  If you, I mean, if you -- yeah.  As long

6   as -- you need to have some, you know, some rationale for, for,

7   for setting up a testing program if you want meaningful data,

8   so.

9        Q    In past proceedings one OPC witness talked about the

10   overcoming of the chlorine by what he thought was hydrogen

11   sulfide spikes.  Is that possible with hydrogen peroxide also,

12   that it will be overcome by hydrogen sulfide spikes?

13        A    The -- when you have a chemical reaction occurring in

14   water, the, the ratio of the two reactants varies.  But I guess

15   in my experience with these wells, you mainly see a gradual

16   change in, in hydrogen sulfide.  You don't see it, you know,

17   jump up and down.  You see it more gradually change one way or

18   another.

19             So it's not, it -- but as long as you have good

20   process control, you can run any kind of process.  And so if --

21   whether you're using chlorine or hydrogen peroxide or ozone or

22   whatever, whatever you choose to use, as long as you have a

23   process control where you're running the treatment, then you

24   should be able to compensate for variations in water quality.

25        Q    I believe in your deposition you used the word

FLORIDA PUBLIC SERVICE COMMISSION

224

1   "seasonal" or something about these spikes come on gradually

2   and it was seasonal.

3        A    Right.

4        Q    Now --

5        A    Yeah.  We see -- like this year where we've had a lot

6   of rain, we see lower levels than, than, say, a year ago.  And

7   during the drought the levels seemed to creep up higher.  So

8   there is some -- you know, the ground, the groundwater responds

9   to the environment.

10        Q    So rain is usually good and drought is bad for

11   hydrogen sulfide -- I mean, to make you have hydrogen sulfide?

12        A    Well, it's, you know, you just think about it that

13   the rain is diluting what's, what's in the ground, but it takes

14   a while to get down there.

15        Q    I'm not sure if this is appropriate for you.  In

16   Interrogatory Number 11 staff asked, "Will tests be conducted

17   in a sealed pipe of a type used by Aloha to supply water in its

18   distribution system to determine whether the oxidized hydrogen

19   sulfide will convert back to hydrogen sulfide?"  Has that been

20   done?

21        A    We're working on really a whole, a whole slew of

22   different tests to look at the stability of the water under

23   different conditions:  You know, ambient temperature

24   conditions, warm water conditions.  So -- but it's, you know,

25   it's -- these pipes have been there for years and you can't

FLORIDA PUBLIC SERVICE COMMISSION

225

1   just on a short-term really predict -- I mean, if something

2   goes wrong, you can see it right away.  But if something

3   doesn't go wrong, you need to, you need to work with it, so.

4        Q    So you're still doing this pilot testing, this

5   hydrogen peroxide --

6        A    That's correct.  Right.

7        Q    And have you tested for the condition similar to what

8   you might find in hot water heaters?

9        A    We're working on that.

10        Q    But you still have nothing at this time?

11        A    What do you mean by "have nothing"?

12        Q    Well, I mean, you know, you don't have what's

13   happening, you know, in similar pipes or in the hot water

14   heater, you don't have any results?

15        A    Well, the problem is the, the treatment system is

16   changing, and so you need to set up your test to, to simulate

17   what's going on in the treatment system.  But, but we've been

18   working on tests for, well, since we, since last summer.  So --

19        Q    What do those tests show in relationship to the

20   stability of the hydrogen sulfide treatment?

21        A    Well, so far we're not seeing any reversion

22   occurring, but, but we're trying to push the system.  So we

23   want a -- you know, ideally the goal would be to find out what

24   causes these reactions to occur so that you can, you can figure

25   out a way to prevent them, and we haven't gotten to that point

FLORIDA PUBLIC SERVICE COMMISSION

226

1   yet.

2        Q    Well, when do you expect to get to that point or to

3   get the results?

4        A    We'll probably need a couple more months of running

5   tests, and hopefully we'll --

6        Q    Is there any way it could be done as early as 30

7   days?

8        A    Huh?

9        Q    Could you do the test within 30 days or get some kind

10   of, you know, results within 30 days?  You said a couple of

11   months.  Can you shorten that at all?

12        A    I guess it depends on, it depends on what, what

13   you're trying to produce.  And so if -- so I guess what kind

14   of -- I'm not sure what kind of results you're looking for or

15   what you're, what you're meaning.

16        Q    Dr. Kurien in his testimony talked about the

17   difference between sulfur and sulfate; basically said sulfur is

18   bad, it's ready to come right back out and start the corrosion.

19   Sulfate is safer, more stable and it takes a lot more energy.

20   Do you agree with that?

21        A    To convert sulfate to sulfide versus converting

22   elemental -- or the way sulfate reacts with pipes, is that what

23   --

24        Q    Yeah.  Convert sulfate back to sulfide or sulfur back

25   to sulfide, sulfur is a much easier conversion process?

FLORIDA PUBLIC SERVICE COMMISSION

227

1        A    I think it really varies.  There's -- both of those

2   are mediated by bacteria.  So it sort of -- it varies.  I

3   don't, I don't think, I don't think -- I think you can find

4   evidence of both of those reaction pathways occurring, and I

5   don't, I don't necessarily think one is -- the rate of the

6   reaction depends on many other parameters, you know, than, than

7   just the sulfur and the, and the sulfate.  So things like the

8   pH of the water, other, other, other parameters affect the

9   reactions that occur, whether there's oxygen or the presence or

10   absence of oxygen.  So -- and the problem is it's, there's not

11   good methods to measure all of the intermediate species.  So

12   it's -- so to really get to the bottom of that is not a trivial

13   matter.  And whether that's, whether that's important in the

14   bigger picture or not, I'm not sure.  I think the important

15   thing is to, is to make sure that the water is stable, and

16   whatever form the sulfur is in is that it's not reverting back

17   or reactive.

18        Q    But you wouldn't agree that -- I think Dr. Kurien

19   actually quantified it, said something about it taking four

20   times the energy to convert sulfate back to sulfide as opposed

21   to converting sulfur back to sulfide?

22        A    You're starting -- when your -- it depends on -- I

23   couldn't, I couldn't answer that off the top of my head.  But

24   just, just qualitatively you're starting with a solid surface.

25   The bacteria would have to, I guess, colonize that solid

FLORIDA PUBLIC SERVICE COMMISSION

228

1   surface to then, to then accomplish that reaction.  So I

2   don't -- you know, there's a difference between the amount of

3   energy it takes and the rate of the reaction.  They're not

4   really -- so there's -- the thermodynamics describes the energy

5   balance and kinetics describes the rate, and they're not --

6   just because it takes four times the amount of energy doesn't

7   mean one happens faster or slower than the other one.  And the

8   reality is they, they all happen together.  So it's not -- the

9   bacteria don't, are not -- are -- there's a community of

10   bacteria that exists in water, and so it's not that one

11   reaction is happening and the other one is not.  The whole, the

12   whole soup is reacting in whatever way -- you know, bacteria

13   are opportunistic.  They take advantage of the opportunity to

14   do, to accomplish whatever the reactions are.

15             So I think it would be almost impossible to

16   differentiate what's happening.  You can measure the products,

17   but I'm not sure it would be that easy or maybe, or necessarily

18   a worthwhile effort at this point to, to say, to try to

19   identify which one is causing the reaction.  But we are doing

20   some tests to try to get at that, but it's, it's not as simple

21   as it might sound.

22        Q    Now can you tell me what happens to chlorine in a hot

23   water heater and how the sulfur reducing bacteria reacts in the

24   hot water heater?

25        A    Okay.  So chlorine is a, is considered to be an

FLORIDA PUBLIC SERVICE COMMISSION

229

1   oxidizing chemical and it's, it's an unstable chemical.  So

2   chlorine decomposes over time and, and forms chloride, which is

3   nonreactive.  And so that's why people have to add chlorine to

4   swimming pools and things like that.

5             The chlorine, the function of the chlorine though is

6   to prevent bacteria from growing in the distribution system.

7   As the chlorine decomposes, then its ability to prevent

8   bacterial growth also decreases, and so bacteria can start to

9   grow.

10             In a hot water tank, if the temperature is not high

11   enough, you have warm water conditions, bacteria grow faster

12   under warmer water conditions.  And so as the chlorine

13   dissipates, there's no, there's no mechanism to prevent

14   bacteria from growing, and the bacteria will use available

15   materials there for, for metabolism.  So if there's

16   sulfur-reducing bacteria, then sulfur, sulfur-reducing bacteria

17   can mediate the reaction to convert sulfate to hydrogen

18   sulfide, and that can happen in a hot water tank more than

19   other places because the water sits a lot longer in a hot water

20   tank, so it doesn't turn over very quickly, the temperatures

21   are elevated and the chlorine dissipates.  So all, all the

22   conditions are favoring the growth of the bacteria.

23        Q    Is lack of use such as a back bathroom the same

24   result, rate of turnover causes that sulfur-reducing bacteria

25   to --

FLORIDA PUBLIC SERVICE COMMISSION

230

1        A    The longer the water is stagnant and the higher the

2   temperature, if there are bacteria present in the system,

3   then -- so if you -- so -- then the absence of chlorine will

4   certainly promote the growth of these, of these, promote these

5   reactions.

6        Q    Are you familiar with the EPA's Disinfection

7   Byproduct Rule or proposed rule, let me -- I'm sorry.  Strike

8   that.

9        A    The DD -- yes.

10        Q    And what would the draft rule require the utility to

11   test?

12        A    In that case they're testing disinfection byproducts.

13   Is that what you're asking?

14        Q    Yes.

15        A    So those, the byproducts that are currently regulated

16   are called trihalomethanes or haloacetic acids, and those are

17   formed from chlorine reacting with organic compounds in water.

18        Q    And where and what would be the frequency of the

19   test?

20        A    I'm not, I'm not 100 percent familiar with, with

21   that.  I think that's actually a -- I'm not, I'm not sure.

22        Q    Going back to those 30 bacteriological sites, and

23   those -- I think you said some or most of those could be used

24   for the hydrogen sulfide; is that correct?

25        A    Like I said, I don't know what the sample taps are

FLORIDA PUBLIC SERVICE COMMISSION

231

1   like, but if you can get a sample, then you can figure out a

2   way to sample test for whatever you want, whatever is needed.

3        Q    In response to staff's first set of interrogatories,

4   on Page 2, Paragraph 2, of the attachment to Mr. Deet's

5   (phonetic) letter dated June 24th, 2004, he states that, "In

6   all of the testing data collected to date by many entities,

7   hydrogen sulfide levels have never exceeded 0.1 milligrams per

8   liter at any customer meters."  Are you familiar with that

9   history of Aloha?

10        A    Right.  I've reviewed a lot of those studies.

11        Q    And how do they know that at the meter it is showing

12   this level?  What kind of tests have been done?

13        A    I wasn't -- I don't know, in fact, I don't think it

14   even said in the reports what, how they monitored that.  But

15   like I said before, collecting the sample in a, in a, in a

16   systematic way can, can help.  But I don't know what method

17   they used or -- but I do know that samples were -- the

18   distribution system was sampled, and I don't -- but I wasn't

19   part of all that.

20        Q    Now Aloha is going to start using a chloramine

21   process to make its water compatible with the county's water;

22   is that correct?

23        A    That's correct.

24        Q    Has that been done yet?

25        A    That's in the process, yeah.  So part, parts of it

FLORIDA PUBLIC SERVICE COMMISSION

232

1   have been done and parts of it are being done.

2        Q    And is the chloramine process the adding of ammonia

3   and something to do with the pH or what is that?

4        A    Well, as part of the conversion, Aloha has been using

5   chlorine gas, which is an acid.  And as part of the -- and

6   which is also kind of a safety risk at some of these well

7   sites.  As part of the conversion, they're switching to liquid

8   chlorine, which is also known as sodium hypochlorite, which is

9   a base.  So it has a high pH.  When you add the liquid chlorine

10   to the water, the pH of the water goes up.  The ammonia that's

11   added is ammonium hydroxide, which is also a base.  And so that

12   also causes a slight increase in pH, both of which, I think,

13   are beneficial from the perspective of, of control of sulfide

14   and also odors because the higher pH has less likelihood to

15   have odors associated with it.

16        Q    Going back to sulfur and sulfate, you reminded me,

17   does sulfate smell?  Does it have an odor?

18        A    Sulfate, no.

19        Q    What about elemental sulfur?

20        A    No.

21        Q    Elemental sulfur doesn't have an odor either?

22        A    There's only one form of the -- well, there's only

23   one form of inorganic sulfur that has an odor, and that's the,

24   it's the H2S or the nonionized form.  And that odor is more, it

25   has a higher potential to have an odor at a lower pH because

FLORIDA PUBLIC SERVICE COMMISSION

233

1   that's where more of the sulfur is in that, is in that

2   nonionized form.  As the pH increases, the fraction that's,

3   that has odor potential decreases, I guess you could say.

4        Q    And this hydrogen peroxide treatment that you're

5   recommending, that's just an additional treatment in addition

6   to the chlorine or --

7        A    Exactly.  That's, that provides an additional

8   oxidation step so that way there's more oxidation capacity to,

9   to stabilize the water.

10             MR. JAEGER:  I have no further questions.

11             CHAIRMAN BAEZ:  Commissioners, questions?  Redirect?

12             MR. DETERDING:  Thank you, Mr. Chairman.

13                        REDIRECT EXAMINATION

14   BY MR. DETERDING:

15        Q    Dr. Levine, do you recall Senator Fasano raising an

16   issue concerning a conflict in the newspaper and with the

17   administration of USF?

18             MR. BECK:  Objection.  This is beyond any cross-exam

19   that I recall.

20             MR. DETERDING:  No.  It is, it is directly related to

21   cross-examination by Mr. Beck concerning Mr. Watford's letter,

22   and it's raising an issue of a conflict.  And I want to find

23   out from this witness what she knows about why Mr. Watford

24   addressed that issue.

25             CHAIRMAN BAEZ:  Ask your question again.

FLORIDA PUBLIC SERVICE COMMISSION

234

1   BY MR. DETERDING:

2        Q    Are you familiar with Senator Fasano having raised

3   the issue of conflict in the media and with the University of

4   South Florida administration?

5             CHAIRMAN BAEZ:  I'll allow it.

6             THE WITNESS:  I was told about that by Dr. Carnahan,

7   but I, I actually never saw the, whatever was in the media.

8   There might have been some voice messages on my phone from

9   reporters, but I don't -- but I actually never saw what was

10   said.

11   BY MR. DETERDING:

12        Q    Okay.  So you're not familiar with how the

13   administration dealt with that issue?

14        A    I know the administration looked into it and

15   determined there was no conflict of interest.

16        Q    Okay.  Have you used your best judgment and expertise

17   in attempting to find a solution to the customers' concern with

18   Aloha's water?

19        A    I've been trying to.  The goal is to try to be able

20   to produce a water that is stable and doesn't cause water

21   quality problems in the, you know, at the point of use.

22        Q    And have you done so when you were working with the

23   Office of Public Counsel?

24        A    That's -- yeah.  I've done, I've done that regardless

25   of, of what the -- where the, where the sources of funding are

FLORIDA PUBLIC SERVICE COMMISSION

235

1   coming.

2        Q    Okay.  Do you intend, intend to continue to do so?

3        A    For sure.  Yeah.  I mean, to me this, this is a

4   problem that should be solved, and I think, you know, I think

5   it needs to -- so, yes.

6        Q    Aren't Tampa Bay Water customers its member

7   governments?

8        A    Tampa Bay Water is a wholesale provider of water, so,

9   yes, its customers would be its, would be the member

10   governments.

11        Q    And only its member governments?

12        A    As far as I know.  I don't think they, I don't think

13   they provide direct service to any citizens.

14        Q    I believe you indicated that you thought that

15   monitoring should be undertaken where you can use that

16   information for control and adjustment of the treatment

17   processes; is that --

18        A    That's correct.  To me, if you're monitoring, there

19   has to be some reason to monitor.  And like I said before, if

20   you're -- you know, the first line of defense is you want to

21   make sure the water is safe.  And hydrogen sulfide doesn't have

22   any real direct health effects.  And so the point of monitoring

23   it from my perspective would be to try to make sure that the

24   treatment is working effectively, and then to have the ability

25   to respond if it isn't.  So if you, if you find an elevated

FLORIDA PUBLIC SERVICE COMMISSION

236

1   level, you can respond directly if you monitor where you're

2   treating it.

3        Q    So if you monitor or test for hydrogen sulfide at

4   some extremity of the system farthest away from the treatment

5   plant, how does that assist you in, in adjusting your process,

6   your treatment process?

7        A    The problem, the problem with, not necessarily only

8   with Aloha Utilities, with all utilities, is that the water at

9   any one point in the system reflects inputs from many sources.

10   And so if you test at some random point, there's no way of

11   knowing exactly the genesis of that water, which wells it was

12   originated from.  And so, therefore, a reading at that point is

13   really just a snapshot in time at that location, but it's not

14   possible to then use that information to make a change because

15   it's hard to know where that water came from.

16        Q    Okay.  So then the, the monitoring at the point of

17   entry into the distribution system right at the treatment

18   facility is useful in that sort of process control.

19        A    Well, for sure, yeah.  And then also just from a

20   sampling and accuracy point of view it's a controlled

21   environment, so it's simpler to get better results than being

22   out in some, some remote part of the system.  But more

23   importantly, it's giving you useful data that you can then use

24   to make sure the process is working or to improve it, if it's

25   not.

FLORIDA PUBLIC SERVICE COMMISSION

237

1             MR. DETERDING:  That's all I have.  Thank you.  May

2   this witness be excused?

3             CHAIRMAN BAEZ:  I have one --

4             MR. DETERDING:  Or if you questions.

5             CHAIRMAN BAEZ:  I have some exhibits.

6             MR. DETERDING:  Yes, sir, her resum, Exhibit

10   20.

11             CHAIRMAN BAEZ:  I have 20.  Without objection, show

12   Exhibit 20 admitted.

13             (Exhibit 20 admitted into the record.)

14             MR. BECK:  Mr. Chairman, I'd move Exhibits 21 and 22.

15             CHAIRMAN BAEZ:  Exhibits 21 and 22 are admitted

16   without objection.

17             (Exhibits 21 and 22 admitted into the record.)

18             CHAIRMAN BAEZ:  Very well.  Dr. Levine, you're

19   excused.  Thank you very much.

20             THE WITNESS:  Okay.  Thank you.

21             CHAIRMAN BAEZ:  Commissioners, let's take five

22   minutes and we'll bring Dr. Kurien back.

23             MR. JAEGER:  Chairman Baez, excuse me, I hate to do

24   this.  It won't take long to finish Kurien and that would be

25   fine.  But the parties had said we could take Mr. John Sowerby

FLORIDA PUBLIC SERVICE COMMISSION

238

1   out of turn also.  He's here from DEP and has been here since

2   1:30.

3             CHAIRMAN BAEZ:  If there's no objection from the

4   parties, we can take Dr. Sowerby as well.  Dr. Kurien -- all

5   right.  We'll break for five minutes and let Dr., Mr. Sowerby

6   get to the stand.

7             (Recess taken.)

8             (Testimony continues in sequence with Volume 3.)

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

239

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ____ DAY OF MARCH, 2005.

13

14                 __________________________________

LINDA BOLES, RPR

15                 FPSC Official Commission Reporter

850/413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION