1195

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3                                      DOCKET NO. 070098-EI

4   In the Matter of:

5   PETITION FOR DETERMINATION OF NEED

FOR GLADES POWER PARK UNITS 1 AND

6   2 ELECTRICAL POWER PLANTS IN GLADES

COUNTY, BY FLORIDA POWER & LIGHT

7   COMPANY.

_____________________________________/

8

9

10             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

11               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

12

13                              VOLUME 9

14                       Pages 1195 through 1384

15   PROCEEDINGS:   HEARING

16

BEFORE:        CHAIRMAN LISA POLAK EDGAR

17                  COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. MCMURRIAN

18

19   DATE:          Thursday, April 26, 2007

20   PLACE:         Betty Easley Conference Center

Room 148

21                  4075 Esplanade Way

Tallahassee, Florida

22

REPORTED BY:   JANE FAUROT, RPR

23                  Official FPSC Reporters

(850) 413-6732

24

25   APPEARANCES:   (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

1196

1                              I N D E X

2                              WITNESSES

3   NAME:                                     PAGE NO.

4   STEVEN R. SIM

5        Continued Cross Examination by

Ms. Brubaker                          1198

6        Redirect Examination by Mr. Anderson    1250

7   WILLIAM H. DAMON, II

8        Prefiled Direct Testimony Inserted      1260

9

HECTOR J. SANCHEZ

10

Prefiled Direct Testimony Inserted      1294

11

JOSE COTO

12

Prefiled Direct Testimony Inserted      1327

13

GERALD YUPP

14

Prefiled Direct Testimony Inserted      1367

15

16

17

18

19

20

21

22

23

CERTIFICATE OF REPORTERS                            1384

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1197

1                                 EXHIBITS

2   NUMBER:                                      ID.   ADMTD.

3   185       (Late-filed) Corrected Numbers to  1217

Interrogatory Number 94

4

186       Schedule 6.2, Progress and TECO's  1239   1258

5             2007 Ten-Year Site Plan

6   187       Example of Operations              1244   1258

7   188       SRS-1 with Additional Information  1244   1258

8   189       Excerpt of TECO 2007 Ten-Year

Site Plan                          1251   1258

9

46-60                                               1257

10

182                                                 1257

11

183                                                 1258

12

63-72                                               1259

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1198

1                        P R O C E E D I N G S

2             (Transcript continues in sequence from Volume 8.)

3                            STEVEN R. SIM

4   continues his testimony under oath from Volume 8:

5                     CONTINUED CROSS EXAMINATION

6        Q    Exhibit 155, Page 2.  And this is taken from FPL's

7   response to Staff Interrogatory 82.  I want you to have a

8   chance to look at it, or if you are ready to answer questions,

9   we will move on.

10        A    I'm familiar with it.

11        Q    Okay.

12             MR. GUEST:  Madam Chairman, I think I may want to

13   interpose an objection to the introduction of this exhibit.

14             MS. BRUBAKER:  Madam Chairman, the exhibit has

15   already been identified.  I'm not seeking to move it into the

16   record.  It is used for the purpose of administrative ease in

17   discussing information with the witness.

18             MR. GUEST:  It looks to me like it's a summary

19   exhibit.

20             MS. BRUBAKER:  That's correct.

21             MR. GUEST:  With summary exhibits you have to provide

22   the underlying data and a reasonable opportunity to check it.

23             MS. BRUBAKER:  And actually that information has been

24   provided.  The complete response is provided in staff's

25   composite exhibit, which you have stipulated to.

FLORIDA PUBLIC SERVICE COMMISSION

1199

1             MR. GUEST:  Well, I guess my deeper objection, if I

2   might be heard, is that this looks like advocacy of FPL's

3   position.  This looks like a repeat of what is in their

4   petition itself.  You had asked me before when -- the reason I

5   am raising this is that I had sought to recross at one point in

6   the past, and you had said that you don't generally do that.

7             CHAIRMAN EDGAR:  But I allowed.

8             MR. GUEST:  You did.  And what you directed me to do

9   was to articulate objections at the time of the questioning.

10             CHAIRMAN EDGAR:  Yes, I did.

11             MR. GUEST:  I'm doing that here.  And what I had

12   raised then at the time was that, well, it is not really

13   cross-examination if what you are doing is bolstering or

14   supporting the witness' testimony.  And if you are doing

15   something like that, it doesn't feel like cross, it feels like

16   direct.  And if it's direct, then we should get one shot at

17   responding to every piece of the direct.  And that was the

18   question I raised with you.  And your response was that I

19   should really raise it at the time.  Well, it's the time and

20   I'm raising it.

21             CHAIRMAN EDGAR:  I understand.  Mr. Harris.

22             MR. HARRIS:  My initial response is staff has never,

23   to my knowledge and time at the Commission, been perceived as a

24   party who would be asking questions to bolster the testimony of

25   one side or the other.  The purpose of staff's questions, as I

FLORIDA PUBLIC SERVICE COMMISSION

1200

1   understand them, is to clarify points in the record to allow

2   staff to explore issues that either are raised by the parties

3   and staff believes requires further fleshing out in order to

4   draft the recommendation or to address areas that the parties

5   have failed to bring up.

6             I suppose that we need to ask Ms. Brubaker if she

7   intends for these questions to bolster FPL's case in chief.  If

8   her answer is no, that she needs it in order to obtain

9   information that staff will use to prepare the recommendation

10   to you, then I think that it is appropriate for you to allow

11   that line of questioning.  That is the role of your staff,

12   which is to seek information that they believe is relevant in

13   making a recommendation to you.  So I believe the correct

14   inquiry would be to ask Ms. Brubaker if she believes that she

15   is attempting some kind of friendly support for a case, or if

16   she is seeking information that staff will use to prepare a

17   recommendation.

18             CHAIRMAN EDGAR:  Ms. Brubaker, are your questions

19   intended to advocate one position or another?

20             MS. BRUBAKER:  They are certainly not.  They are not

21   meant to bolster any party's position.  Staff always has its

22   responsibility, in its professional judgment, to look at those

23   issues that it believes needs clarification, or have not been

24   explored previously.  And honestly in light of the preceding

25   cross-examination for Doctor Sim, I think pretty much that

FLORIDA PUBLIC SERVICE COMMISSION

1201

1   qualifies all of my questions.

2             MR. GUEST:  May I have an opportunity to respond?

3             CHAIRMAN EDGAR:  You may.

4             MR. GUEST:  Well, I don't think that one person's

5   perception or another should really control about what it is or

6   what it isn't.  I think that is a decision for the Chairperson.

7   And, so, I think it is; staff doesn't think it is.  I think

8   that one can look objectively and make a decision.  What is in

9   play, one of the contests here is what is practical doing DSM.

10             CHAIRMAN EDGAR:  I'm sorry.

11             MR. GUEST:  Demand-side -- is there a way that you

12   could enhance demand-side management.  And as you know from the

13   prefiled testimony, there are other places that have a much

14   larger investment in DSM than Florida, dramatically larger

15   investments that produce much higher yields, and that is the

16   substance of our testimony.  So what we have here is we have a

17   summary exhibit that is basically taking the advocated position

18   of FPL about how far they can go and what the maximums are and

19   then saying that that's what it is.  And that is as if we don't

20   have a case here.

21             CHAIRMAN EDGAR:  Okay.  As you said, one sometimes

22   can have different perceptions, and my perception is not as you

23   have just described it.  So, with that, I'm going to allow the

24   questioning.  I have no problem with you raising the objection,

25   of course, and with you reminding me of my previous rulings.

FLORIDA PUBLIC SERVICE COMMISSION

1202

1   However, I'm going to allow the questioning, and at the

2   appropriate time we will take up whether the documents are to

3   be entered or not.

4             MR. GUEST:  Thank you.

5             CHAIRMAN EDGAR:  Thank you.

6   BY MS. BRUBAKER:

7        Q    Doctor Sim, if I could have you please refer to

8   Exhibit 155, Page 2.  This is taken from FPL's response to

9   Interrogatory Number 82, and if you could look at that second

10   table appearing on that page, the one titled information

11   regarding firm purchased contracts with changes in this time

12   period, please.  Now, is it correct that this indicates that

13   FPL currently has 1,087 megawatts of firm capacity contracts

14   that are due to expire during the period of 2009 through 2012?

15        A    That's correct.

16        Q    And of this amount, 143 megawatts are from municipal

17   solid waste facilities, is that correct?

18        A    That's correct, the Broward South, Broward North, and

19   Palm Beach Solid Waste is shown in this table.

20        Q    And in FPL's response to Staff Interrogatory Number

21   82 -- and if you would like to look at that page, it appears on

22   the Blue 156 Exhibit, hand-numbered Number 7.  And my question

23   is it is indicated in that response there that FPL has

24   contacted, had contact discussions with representatives from

25   the Palm Beach County Solid Waste Authority, is that correct?

FLORIDA PUBLIC SERVICE COMMISSION

1203

1        A    That's correct.

2        Q    And that would be regarding a contract extension of

3   their municipal solid waste energy project expiring in 2010?

4        A    That's correct.

5        Q    Were the other two MSW facilities not contacted

6   regarding renewals of their contracts?

7        A    I do not know.

8        Q    Do you have any knowledge whether FPL intends to

9   pursue renewing these types of contracts?

10        A    I have no direct knowledge, but my understanding is

11   that the parties would be approached and a potential new

12   agreement may be discussed.

13        Q    What avoided cost are you using to evaluate the

14   cost-effectiveness of renewing these types of renewable

15   contracts?

16        A    At present, to my knowledge, we are not doing

17   analysis on evaluating the cost-effectiveness of these

18   contracts.

19        Q    Is it correct that FPL has submitted a proposed

20   standard offer contract that would be made available to these

21   renewable waste-to-energy plants?

22        A    That's my understanding, yes.

23        Q    And in that standard offer contract filing, is it

24   indicated that FPL would be willing to negotiate a coal-based

25   contract with these renewable generators?

FLORIDA PUBLIC SERVICE COMMISSION

1204

1        A    I don't deal with the standard offer contract.  I

2   believe Mr. Silva, among our witnesses, would be the best one

3   to ask that question of.

4        Q    Okay, thank you.  Now, FPL didn't issue an FPL for

5   the Glades units, is that correct?

6        A    Could you repeat the question, please.

7        Q    Certainly.  FPL did not issue an RFP, a request for

8   proposal for the Glades units, is that correct?

9        A    That is correct.  We came before the Commission and

10   requested a waiver versus an RFP, and it was granted by the

11   Commission.

12        Q    In brief, what was the reason for requesting the

13   waiver?

14        A    In brief, it was to facilitate the implementation of

15   coal-based capacity and energy on our system to maintain and

16   enhance system fuel diversity.

17        Q    So fuel diversity was the primary driving factor?

18        A    I would say the speed with which we could implement

19   coal-based capacity in order to maintain system fuel diversity

20   would be the reason, yes.

21        Q    If I could again refer you, please, to Exhibit 155,

22   Page 1 of that exhibit.

23        A    Okay.

24        Q    And specifically I'm going to be discussing the

25   middle table that appears there, estimated impact on FPL's

FLORIDA PUBLIC SERVICE COMMISSION

1205

1   summer reserve margin due to purchased power contracts to

2   expire.  And then let me just kind of briefly walk you through

3   that table.  Some of that information is -- well, specifically

4   it's the second table there, reserve margin without FGPP

5   assuming purchased power contracts renewed.  And there are some

6   calculations there that I prepared, and let me just kind of

7   walk you through how I got to those calculations.  And in order

8   to do that I would like to refer you, please, to your Prefiled

9   Direct Exhibit SRS-1.

10        A    Okay.

11        Q    Now, on SRS-1, if you will look at the table -- there

12   are two tables listed there, one says summer and one says

13   winter, and it is a discussion of the projection of FPL's 2007

14   through 2015 capacity needs without new resource additions.

15   That's the title of that exhibit.  Specifically, I started with

16   Column 7, and for summer of 2013, the forecast of summer

17   reserves, that number is 3,421 megawatts, correct?

18        A    Yes.

19        Q    Now, I added in on a hypothetical the 1,087 megawatts

20   of purchased power, which we previously discussed, to get a sum

21   total of 4,508, and then I divided that amount by the firm peak

22   forecast in Column 6, which for 2013 for summer is

23   23,074 megawatts.  And I resulted in 19.5 percent and so on for

24   years 2014 and 2015 as shown on Exhibit 155.

25             Now, we understand that it's a hypothetical of adding

FLORIDA PUBLIC SERVICE COMMISSION

1206

1   in the 1,087 megawatts, but would it be correct that the

2   percentages that are shown on the reserve margin without FGPP

3   assuming purchased power contracts renewed appearing in the

4   center of Page 1 of Hearing Exhibit 155, is it correct that

5   those would be the resulting reserve margins if the 187

6   megawatts of firm capacity contracts were extended through the

7   year 2015?

8        A    You mentioned 187; you mean 1,087?

9        Q    I'm sorry, 1,087.

10        A    Assuming your math is correct, yes, those would be

11   the percent reserve margins.

12        Q    Okay.  If one were to accept what the numbers show

13   here for the sake of argument, do the numbers also show or

14   indicate that FPL's need might shift one year to 2014?

15        A    I think I would have to say no, because I would

16   disagree with the premise of the question for a couple of

17   reasons.  If I may?

18        Q    Certainly.

19        A    Turning back to Page 2, which has the table of the

20   expiring contracts.  There are two contracts there, the third

21   and fourth labeled Progress Energy Ventures and Williams, which

22   FPL attempted to extend beyond the current expiration date, but

23   was unable to do so.  The reason for that is these contracts

24   are based on excess capacity for co-ops in Georgia for which

25   that capacity bubble, so to speak, was ending near the term of

FLORIDA PUBLIC SERVICE COMMISSION

1207

1   these contracts, and the parties were unwilling to extend the

2   contracts, therefore, beyond the time frame.  So the

3   105 megawatts and 106 megawatts, or 211 megawatts would,

4   therefore, not be available to FPL and, therefore, could not be

5   counted even hypothetically in the calculation you did on

6   Page 1.

7             Now, if we take that for a moment and go back to Page

8   1 and look at your first year of 2013, where you have

9   calculated a 19.5 percent reserve margin.  As a rule of thumb,

10   FPL has about a 200-megawatt level which brings the reserve

11   margin up or down about a percentage point.  So, subject to

12   check, this 19-1/2 would move down to about 18-1/2.  So,

13   therefore, physically we could not do this.

14             And I think there is a second reason why we couldn't

15   do it, because we would then be at an 18-1/2 percent reserve

16   margin.  And I refer you to the Commission order in the

17   Hines 3 case in 2003.  And if I may, let me read the

18   appropriate points.  It's discussing the stipulation reached

19   between the three IOUs back in 1999 regarding setting a

20   20 percent reserve margin.  And I quote, "By approving the

21   stipulation proposed by the IOUs and issuing the above order,

22   we have already determined that 20 percent is the appropriate

23   reserve margin criteria, and the IOUs are required to utilize

24   this criteria unless modified in a subsequent proceeding."

25             It then goes on to say that, "The proper forum to

FLORIDA PUBLIC SERVICE COMMISSION

1208

1   address what minimum reserves are necessary should be in a

2   generic docket as was previous done and not in a particular

3   utility's power plant need determination docket."  Therefore,

4   based on that, FPL is required to use a 20 percent margin.

5   Since the highest we could do, even assuming that you could

6   sign up all of the rest of these parties other than Williams

7   and Progress, the closest we could come is approximately 18-1/2

8   percent.

9             Now, if we move beyond the question of could we do

10   this, I think the question is should we do this in regard to or

11   in relation to comparing it to FGPP.  And my answer would be no

12   for a couple of reasons.  If you go back to the table on Page

13   2 of Exhibit 155, you will see, as was pointed out, that there

14   are 143 megawatts of the waste-to-energy facilities which will

15   bring some fuel diversity to our system.  Of the 1,087 megawatt

16   total, that equates to roughly 13 percent of the total capacity

17   would bring fuel diversity to our system, which means that the

18   remaining 87 percent, even assuming you could get them, is

19   fossil fuel, primarily combustion turbine and oil-fired units.

20   Therefore, in comparison to FGPP, we would be bringing a very

21   small amount of fuel diversity to our system, certainly much,

22   much less than 2,000 megawatts of highly efficient coal

23   technology.

24             The second question moving beyond fuel diversity is

25   cost-effectiveness.  These capacity contracts on Page 2,

FLORIDA PUBLIC SERVICE COMMISSION

1209

1   several of them, the Indian River, the second item, which makes

2   up the bulk of the 1,087 megawatts of 576 megawatts to be

3   specific, as well as the Progress Energy Venture and Williams

4   were signed due to this 2005 very high load that I mentioned

5   earlier.  Therefore, they were economical as short-term stopgap

6   measures, but may not and probably will not be cost-effective

7   on a longer term basis compared to something like FGPP.

8             To showcase that a bit, I will take a look at Indian

9   River, which as I mentioned makes up the bulk of the

10   1,087 megawatts.  It is a short-term contract.  It is an

11   oil-fired unit, well over a 10,000 heat rate, and the capacity

12   factor at which it was operated on in FPL's system last year

13   was approximately 5 percent.  So it operates like a combustion

14   turbine.  Oleander down below, a combustion turbine.

15             So what we are seeing is fairly inefficient, very low

16   capacity, and nonfuel diversity options here that would not be

17   cost-effective on FPL's system in the long-term in my opinion.

18   So, in trying to sum up this lengthy answer, I would say that

19   two of these projects simply are not available.  The Commission

20   order requires us to use a 20 percent reserve margin criteria

21   in our planning, and without those two projects the closest we

22   could get is 18-1/2, so we couldn't satisfy the Commission

23   requirement.

24             These would do very little to bring any fuel

25   diversity on our system.  These would almost certainly not be

FLORIDA PUBLIC SERVICE COMMISSION

1210

1   cost-effective in the long-term.  In fact, as an analogy the

2   only thing I could think of that -- maybe not the only thing,

3   but one of the things on a simplified example basis that might

4   even be worse than this would be if we were to satisfy all of

5   this with combustion turbine capacity, which would do nothing

6   for our fuel diversity.  It certainly would not be

7   cost-effective on our system, and, therefore, would be

8   something that would be analogous to this extension of --

9   hypothetical extension of the purchased power contracts.

10        Q    And you referenced a 20 percent reserve margin that

11   you use for your projected reserve margin, correct?  And that

12   is based on a Commission order for FPL, Progress, and TECO, if

13   I remember correctly?

14        A    That's correct.

15        Q    And that was pursuant to a stipulation by various

16   parties in that docket, the agreement to use the 20 percent,

17   correct?

18        A    And approved by the Commission.

19        Q    And approved by the Commission, of course.  Do you

20   recall at your deposition we had some discussion about that

21   order, and I had asked whether you were aware to your knowledge

22   whether FPL or any other party involved in that docket had

23   performed a report, or study, or cost analysis of the use of

24   the 20 percent reserve margin value; do you recall that?

25        A    Generally, yes.

FLORIDA PUBLIC SERVICE COMMISSION

1211

1        Q    And your answer at deposition was that to your

2   knowledge no such study, or report, or analysis was done?

3        A    I am certainly not aware of any that has been brought

4   forward by the other utilities, that's correct.

5        Q    Are you aware of any such studies being conducted or

6   performed since the approval of that stipulation?  In other

7   words, since the time the stipulation has been approved, to

8   your knowledge has FPL specifically made any assessment

9   regarding cost-effectiveness or the effective reliability of

10   using a 20 percent reserve margin?

11        A    I'm sorry, what was the last part of your question?

12        Q    I'm sorry.  Actually let me back that up.  Let me lay

13   a little foundation for the question.  FPL is a member of the

14   FRCC, correct?

15        A    Yes.

16        Q    And what reserve margin do they use for their

17   planning purposes?

18        A    For planning purposes, the FRCC uses a 15 percent

19   reserve margin.

20        Q    With that in mind, since the time the 20 percent

21   stipulation was approved by the Commission, has FPL to your

22   knowledge done any analysis or study about the appropriateness

23   of the 20 percent versus the 15 percent reserve margins?

24        A    We have completed no such analyses.

25        Q    Okay.  Now, with regard to the FRCC reserve, if I

FLORIDA PUBLIC SERVICE COMMISSION

1212

1   could refer you, please, to Page 1 of Exhibit Number 155?

2        A    I'm sorry, which page?

3        Q    The first page.  And if I could refer you, please, to

4   the last table on that page, the one titled estimated impact on

5   FRCC summer reserves.  Now, the source for that information

6   comes from FPL's response to Staff Interrogatory Number 9, and

7   if you would like to refer to that, it's Attachment 1 to that

8   response.  It is the first two columns, summer reserve margin

9   projection.  If you are willing to take those numbers subject

10   to check, I am happy to move on, or if you would like to see

11   the source, I'm happy to --

12        A    Subject to check, we will accept them, yes.

13        Q    Very good.  Now, is it correct that the information

14   shown on this last table on Page 1 of Exhibit 155 shows that

15   the projected reserves for the Florida Reliability Coordinating

16   Council, FRCC, are at or above 20 percent during the period

17   2010 through 2013?

18        A    That's what it shows.  Again, pointing out that this

19   does not reflect units that the utilities are committed to, it

20   merely -- especially the longer one goes out in this time frame

21   it reflects projections of the utilities that were circa about

22   a year ago when the utilities did their planning and reported

23   to the FRCC.

24        Q    Now, you mentioned units in the FRCC region that are

25   not committed to being built during this period.  Could you

FLORIDA PUBLIC SERVICE COMMISSION

1213

1   identify for me, if you know, what units those are?

2        A    I would say any unit that was identified in each

3   individual utility's site plan or submittal to the FRCC which

4   has not received a determination of need, those would be the

5   units.  They would be far too numerous to mention here.

6        Q    Now, we have already discussed the FRCC uses a

7   15 percent reserve margin planning criteria, correct?

8        A    Yes.

9        Q    To your knowledge, do you know whether that

10   15 percent reserve margin was based on any study, report, or

11   analyses performed either by or through the FRCC?  In other

12   words, how that number, 15 percent, was arrived at?

13        A    The number has been in place for a fair number of

14   years, and I don't recall exactly how it was created.  I don't

15   recall a specific study that was designed to create the

16   15 percent.  There have been what I will say complementary

17   analyses that the FRCC has done from time to time, both on

18   loss-of-load probability as well as on what I will call an

19   early warning system, or a trip wire to LOLP that looks

20   annually at megawatt-weighted forced outage rates for the

21   Peninsular Florida utilities, as well as megawatt-weighted

22   availability.  And what those have shown is from an LOLP basis

23   and what these trip wire studies are designed to do is to show

24   whether it may be necessary to do an LOLP study because it is

25   so time-consuming and so exhaustive an exercise to do an LOLP

FLORIDA PUBLIC SERVICE COMMISSION

1214

1   study for the entire peninsula.  Those have shown that from an

2   LOLP or probabilistic basis that Peninsular Florida, as a

3   whole, is reliable.

4        Q    Let me ask one more question, if I could, about the

5   units that aren't committed for the FRCC region up through the

6   2013 period.  I'm going to name some units, and if you would,

7   you say you don't know specifically, but if it rings any bells

8   that these might be some of the noncommitted units, if you

9   would let me know, please.  Glades, the FGPP project?

10        A    I would say FPL is committed to it, and upon approval

11   by the Commission and site certification application will

12   absolutely be a committed unit.

13        Q    The Taylor County project that is co-sponsored by the

14   City of Tallahassee, JEA, FMPA, and Reedy Creek?

15        A    I think, in general, I would put in the same category

16   as the Glades unit.

17        Q    What about Gainesville's Deerhaven 3 Unit?

18        A    Not familiar with the status of it.

19        Q    TECO's IGCC?

20        A    Not familiar with the status of it.

21        Q    Progress' coal unit?

22        A    Subject to check, I don't recall that unit showing up

23   in this year's ten-year site plan for Progress, therefore, I

24   would say that is definitely not a committed unit.

25        Q    Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

1215

1             If I could refer you, again, to Exhibit Number 155,

2   Page 3 of that exhibit.  And the table there is titled

3   comparison of FPL's generation alternatives.  And I'll identify

4   for you the source of that information.  It comes from Appendix

5   H of the need study.  Specifically, Page H-1 of 1, and the

6   second is FPL's response to Staff Interrogatory Number 94.

7             So if you're willing to look at those numbers subject

8   to check, we will move on, or I would be happy to show you the

9   source documents?

10        A    I believe there's a couple of corrections that would

11   need to be made.  I looked at this before.

12        Q    And certainly on the first day of the hearing I did

13   mention that on the third column, 2012 gas CC, the 750 that is

14   located there, it is the first number appearing on the

15   right-hand side, should be 734.  And if you are aware of

16   others, please go ahead and identify them.

17        A    On the third column, the 1,115 megawatt in the

18   subtitle, I believe, should be 1,219 megawatts.  And on the

19   first row, the total installed cost without the AFUDC, I

20   believe the 4,197 for IGCC is with AFUDC and not without.  And

21   I might note that the table does omit several important program

22   costs or performance characteristics here, but, subject to

23   check, the rest of it appears to be accurate.

24        Q    Now, you mentioned the 4,197 number, that is without

25   AFUDC.  Do you happen to know the number with?

FLORIDA PUBLIC SERVICE COMMISSION

1216

1        A    No.  I believe what I said is that number is with

2   AFUDC, and I don't know off the top of my head what the AFUDC

3   number is that you would need to subtract to get a without

4   AFUDC number.

5        Q    Okay.  With regard to the number that appears in the

6   column 2013 USCPC, the 2,796, can I get confirmation that is

7   without AFUDC?

8        A    You are correct, that is without AFUDC.

9             MS. BRUBAKER:  If I could take just a second.

10             CHAIRMAN EDGAR:  Ms. Brubaker and others, it is about

11   that time.  I would like a stretch.  Let's take about a

12   ten-minute break and then we will come back and proceed.

13             (Recess.)

14             CHAIRMAN EDGAR:  Okay.  We'll go back on the record.

15             Ms. Brubaker.

16             MS. BRUBAKER:  I will do the best I can with this.

17   BY MS. BRUBAKER:

18        Q    Doctor Sim, I'm referring to Interrogatory Number 94,

19   FPL's response to that.  If you could look in Exhibit 156,

20   that's the hand-numbered Page 12.

21        A    Okay.

22        Q    And I'm looking specifically at the row titled

23   construction grand total cost in-service year with AFUDC, and

24   the number there, 4,197,440.  Would it be possible to get as a

25   late-filed exhibit what the appropriate number there would be

FLORIDA PUBLIC SERVICE COMMISSION

1217

1   without AFUDC?

2        A    Yes.

3             MS. BRUBAKER:  I would like to have that identified.

4             (Phone ringing.)

5             CHAIRMAN EDGAR:  I would note for the record that was

6   Mr. Harris and not my child.  (Laughter.)

7             MS. BRUBAKER:  Madam Chairman, I would move Mr.

8   Harris out of order.

9             MR. HARRIS:  Sustained.

10             CHAIRMAN EDGAR:  Okay.  So we will have 185, which

11   will be a late-filed amendment to correct numbers contained

12   within Exhibit 155.

13             MS. BRUBAKER:  Well, if we could make it the

14   Interrogatory Number 94.

15             CHAIRMAN EDGAR:  Okay.

16             MS. BRUBAKER:  That would be fine.

17             CHAIRMAN EDGAR:  And, again, that would be 185.

18             MS. BRUBAKER:  And that will be late-filed.

19             (Late-filed Exhibit 185 marked for identification.)

20   BY MS. BRUBAKER:

21        Q    If I could next refer you, Doctor Sim, to Exhibit

22   Number 155, again, Page 3.

23        A    Okay.

24        Q    Specifically, I'm looking at the emission rates that

25   are indicated at the lower half of that table.  Now, is it

FLORIDA PUBLIC SERVICE COMMISSION

1218

1   correct that the information indicates that SO2, NOx, and CO2

2   are comparable for the Glades project versus an IGCC plant?

3        A    Yes, that is what the data on this page knows.

4        Q    Were you present during Mr. Hicks' cross-examination?

5        A    I was present during portions of it.

6        Q    Do you recall he was asked some questions regarding

7   SO2 and CO2 values that are shown here?

8        A    I don't recall that discussion, no.

9        Q    He indicated you might able to answer a question.  It

10   appears that those numbers are identical for the USCPC and

11   IGCC.  Can you explain to me why that's the case?

12        A    In part, I'll try.  The numbers were handed to us by

13   FPL's engineering and construction group, and to my knowledge,

14   the emission rate numbers for the ultra-supercritical were

15   based on the numbers that were filed in our site certification

16   application.  In regard to the IGCC, my understanding is that

17   those numbers were selected to be representative of IGCC

18   filings or projections that were around the country, those

19   units that have been projected, not currently built.

20        Q    If I could refer you next, please, to Page 4 of

21   Exhibit 155.  And just for clarity sake, this has been

22   excerpted from FPL's response to Staff Interrogatory Number

23   93, Attachment 1.  And is it correct this table shows the total

24   cost and total differentials for the 16 scenarios discussed in

25   your testimony?

FLORIDA PUBLIC SERVICE COMMISSION

1219

1        A    That's correct.  It shows those costs for the two

2   resource plans.  It does not include the cost for the plan

3   without coal of the comparable LNG gas storage.

4        Q    Now, this table indicates that FGPP is not always the

5   most cost-effective option as compared to a plan without coal,

6   is that correct?

7        A    That's correct, and that was expected before we even

8   started the analysis.

9        Q    And why is that?

10        A    Because when we're looking at different types of

11   units, such as coal and gas-fired units that have significantly

12   different capital costs, significantly different heat rates,

13   and depend upon entirely different fuels, when you are looking

14   at fuel forecasts over the time period, as well as

15   environmental compliance costs forecasts over 16 scenarios, it

16   would be very surprising, to say the least, where you have got

17   one technology that was a winner in all of the scenarios.  So

18   it was expected that you would get some scenarios in which one

19   resource plan won and some scenarios in which another resource

20   plan won.

21        Q    Now, the scenarios you discussed in your testimony,

22   they offer a range of years.  I think it is 2006 to 2054, is

23   that correct?

24        A    I believe that's is correct.

25        Q    Forty years from basically the in-service date?

FLORIDA PUBLIC SERVICE COMMISSION

1220

1        A    Correct.

2        Q    And the table here on Page 4, that indicates that

3   there is a fair range of net savings, approximately

4   2.8 billion, or 1.7 percent of total system cost to a net cost

5   of 4 billion, or 3.8 percent of total system cost, correct?

6        A    That's what the table shows, yes.

7        Q    Would you agree that in weighing and evaluating these

8   16 scenarios discussed in your testimony that a lot would

9   depend on what one believes will happen regarding the price of

10   fuel and environmental compliance costs?

11        A    I'm sorry, can you repeat the first part of the

12   question?

13        Q    Certainly.  When one is to weigh and evaluate the

14   different 16 scenarios about what is likely to happen about

15   what one might put forward as the most likely scenario?

16        A    I would think one would view the total data involved

17   and should recognize, as FPL did, that no one knows what the

18   fuel forecasts are going to be over this time frame, and no one

19   knows what the environmental compliance costs are going to be

20   over this time frame.  Furthermore, there is uncertainty as to

21   how the environmental compliance costs will impact the fuel

22   costs over the time period.  So we have uncertainty in fuel, we

23   have uncertainty in environmental compliance costs, and then we

24   have the impact of the compliance costs on the fuel costs, and

25   essentially uncertainty compounding upon itself.

FLORIDA PUBLIC SERVICE COMMISSION

1221

1             And that's why FPL took the view that this was a

2   scenario analysis.  It wasn't the type of analysis where we

3   said here is the most likely set of forecasts and we will work

4   sensitivities off of that.  FPL was very careful to say

5   correctly that the correct way to look at this is through a

6   scenario analysis.

7             Now, what this shows to me is you are getting roughly

8   an even split of cases in which the case with coal is the

9   economic winner versus the case without coal.  And, again,

10   these set of costs for the resource plan without coal do not

11   account for the approximately 1.4 billion CPVRR cost of

12   comparable gas storage which would allow these two plans to be

13   truly comparable both in terms of reliability for reserve

14   margin as well as reliability of fuel supply.

15             Another item I would mention is that -- well, before

16   I leave that one, the addition of those costs as indicated in

17   Mr. Silva's testimony would change it from a case of, I

18   mentioned before, 7 out of 16 cases with coal being the

19   economic winner to 10 out of 16 being the economic winner.

20             Furthermore, in those cases in which the plan without

21   coal is the economic choice, you typically are looking at very

22   low natural gas prices; and that is shown, Commissioners, in

23   Columns 3 and 4 here.  As you look at these in terms of, say,

24   blocks of four rows each, you will see that the first set of

25   costs start at 159 and 162 and then those are with the Fuel

FLORIDA PUBLIC SERVICE COMMISSION

1222

1   Forecast 1, Scenario 1A, 1B, 1C, 1D.  That is the high gas/coal

2   differential forecast.

3             As you drop down -- well, let me back up.  Before

4   leaving this 1A, 1B in all of those cases coal was the winner,

5   recognizing that with high gas costs, coal is clearly the

6   economic choice.  If you take the other extreme and go down to

7   the bottom four rows, and take the lowest gas/coal differential

8   case, the 4A, 4B through 4D, you see that the 159 and 160,000

9   numbers drop significantly to a total cost of 87 to, say,

10   110,000 in this view, which means that FPL's customers would be

11   exceedingly better off in regard to total cost due to low gas

12   costs.

13             So even with the FGPP units on its system, if you

14   take the differential it is roughly on the order of $70 billion

15   CPVRR moving from high gas forecasts to low gas forecasts, and

16   yet the differential on Column 5, the highest penalty, so to

17   speak, for the coal units is only on the order of $4 billion.

18   So FPL's customers would receive the benefits of the low gas

19   due to the significant number of gas units on our system on the

20   order of $70 billion versus a $4 billion penalty.  And we view

21   that as showing that the coal units are a very effective

22   economic hedge against gas prices, because FPL's customers will

23   still be significantly well off due to -- well, benefit

24   significantly from low gas prices if they were to occur.

25        Q    In your direct testimony you state that FPL's plan

FLORIDA PUBLIC SERVICE COMMISSION

1223

1   with coal acts as a hedge or insurance against higher natural

2   gas costs, correct?

3        A    That is correct.

4        Q    And would you agree that FGPP could be characterized

5   as a capital intensive project?

6        A    Yes.  I would say any coal project, for that matter

7   any nuclear project would be a capital intensive project

8   compared to other generating alternatives such as combustion

9   turbines or combined cycles.

10        Q    Is it correct to say that over time FPL expects that

11   there will be fuel savings associated with the FGPP project?

12        A    Most definitely.  Significant fuel savings.

13        Q    And is it also correct to say that given a capital

14   intensive project, like FGPP, that it may take a certain amount

15   of time to allow those fuel savings to offset those increased

16   capital costs?

17        A    Yes, that's fair to say.  And that is not unexpected.

18   In fact, if you look at virtually any resource comparison you

19   are going to see more often than not the more capital intensive

20   projects take a number of years before the fuel savings kick in

21   and result in a net cumulative savings.  And we see that not

22   only in power plants.  We see delays in one project being more

23   cost-effective than another on a rolling cumulative basis.  For

24   example, when we view DSM versus generating units, DSM must be

25   signed up, for example, over a number of years before it can

FLORIDA PUBLIC SERVICE COMMISSION

1224

1   reach a stage where it is of a size to avoid or defer a block

2   of capacity.

3             We are incurring costs for DSM in all of those early

4   years and it is only after the avoided unit would have gone in

5   service, and typically several years after that before the net

6   savings from DSM overcome the initial upfront cost of it.  So,

7   it's not unusual.  And, in fact, it's to be expected that it

8   will take a number of years before one resource decision,

9   especially a capital intensive one, the cost disadvantage is

10   made up for with the fuel savings.

11        Q    Now, if the fuel cost differential between natural

12   gas and coal should become very small, or if environmental

13   costs should become very high, is it correct or would you agree

14   that fuel savings may never necessarily offset the capital cost

15   of coal units?

16        A    I view that as two questions.  I would agree with the

17   first and not the second.  And let me try to explain.  If

18   natural gas prices compared to coal remain very low for an

19   extended time period, then with perfect hindsight one can look

20   back and say the coal unit was not the economic choice.

21   However, we don't know that today.

22             The second part of your question is high

23   environmental costs.  It is FPL's contention, and I think those

24   of several of our witnesses that the likelihood of high

25   environmental compliance costs and low gas prices just isn't

FLORIDA PUBLIC SERVICE COMMISSION

1225

1   going to happen.  That the higher the environmental compliance

2   costs goes, the more demand there will be for natural gas and,

3   therefore, the price of natural gas will be driven up.

4             For example, in this table I have in front of me,

5   Page 4, I think what that would say is the last four rows, or

6   at least several of the last four rows, the 4D, 4C, and 4B I

7   would view as very unlikely to occur simply because they have

8   the highest environmental compliance costs and yet assume low

9   natural gas prices.  I just don't think that's a likely

10   occurrence.

11        Q    Do you recall during your deposition we had a few

12   questions regarding looking at the difference in CPVRR between

13   the plan with coal and the plan without coal through the year

14   2027?

15        A    Yes.

16        Q    And is it correct that only two of the 16 scenarios

17   explored show a positive net benefit for the FGPP through that

18   period 2027?

19        A    I think our discussion focused on the plan with coal

20   and the plan without coal without adding the LNG natural gas

21   storage.  I think that analysis, which we would term a somewhat

22   incomplete picture of the total cost, would show what you

23   indicated.  But I think as some of our later filed exhibits and

24   interrogatory responses showed that when you include the LNG

25   storage cost that the length of time it takes before, we will

FLORIDA PUBLIC SERVICE COMMISSION

1226

1   call it, crossover of the coal plan and the natural gas plan is

2   shortened considerably.

3        Q    By how much, do you know?

4        A    I don't have the document in front of me.  I think we

5   filed that as a late-filed exhibit.

6        Q    Okay.  Those two scenarios I was referring to, to

7   your memory are they Scenarios 1A and 1B?

8        A    If you could show me the document, I would be happy

9   to take a look at it.

10        Q    Well, I can either refer you to your deposition

11   transcript if you would like, or --

12        A    I don't have my deposition transcript.

13        Q    That's all right.  I can refer you to the

14   interrogatory.

15             MS. BRUBAKER:  What I'm passing out is a copy, it is

16   a full copy of FPL's response to Interrogatory Number 25.  It

17   is part of Staff's Composite 2.

18             MR. GUEST:  Madam Chairwoman.

19             CHAIRMAN EDGAR:  Mr. Guest.

20             MR. GUEST:  I have seen Advil bottles with larger

21   type than this.  And maybe it's my age, but the top line

22   appears to have writing on it.

23             CHAIRMAN EDGAR:  The one that's darker?

24             MR. GUEST:  Yes.

25             CHAIRMAN EDGAR:  Let's see, fuel cost forecast.

FLORIDA PUBLIC SERVICE COMMISSION

1227

1             MS. BRUBAKER:  I can read that for you, Madam

2   Chairman.  It's Fuel Forecast 1, and that actually is the

3   column I will be referring to.

4             CHAIRMAN EDGAR:  So going across it's Fuel Cost

5   Forecast 1, Fuel Cost Forecast 2, then 3, then 4.

6             MS. BRUBAKER:  That is correct.

7             CHAIRMAN EDGAR:  Does that help, Mr. Guest?

8             MS. BRUBAKER:  It basically serves to cross-reference

9   the four fuel scenarios with the four environmental scenarios.

10   The columns are 1, 2, 3, and 4 for the fuel cost; and it is

11   cross-referenced with the row below it, Environmental

12   Compliance Scenarios A, B, C, D; A, B, C, D.

13             MR. GUEST:  Is there a unit that is shown here for

14   what these numbers are?  I mean, are they -- oh, they are in

15   millions of dollars.

16             MS. BRUBAKER:  Yes.

17             CHAIRMAN EDGAR:  2006.

18   BY MS. BRUBAKER:

19        Q    Doctor Sim, have you had a chance to review the

20   interrogatory response?

21        A    To the extent I could read it, yes.

22        Q    My apologies for the eye strain.  Again, I'm just

23   looking for confirmation.  This was something we had discussed

24   in the deposition.  Looking for the period 2006 through 2007,

25   is it correct that -- or, I'm sorry, 2027 -- is it correct that

FLORIDA PUBLIC SERVICE COMMISSION

1228

1   the two scenarios, and the only two scenarios of the 16 listed

2   here that show a positive benefit for the plan with coal are

3   Scenarios 1A and 1B?

4        A    I'm sorry, could you repeat the question?

5        Q    Certainly.  Looking at the various 16 scenarios

6   listed here, is it correct that the two scenarios, and it is

7   the only two scenarios for the period 2006 through 2027 that

8   show a positive benefit for the plan with coal are Scenarios 1A

9   and 1B?

10        A    Subject to check, I'll accept that.  I'm having a

11   tough time reading it myself.

12        Q    Again, my apologies.  Is it correct that Scenarios 1A

13   and 1B both represent a high fuel cost differential and low

14   environmental costs?

15        A    Yes, a high gas/coal differential and low net

16   environmental compliance costs.

17             MS. BRUBAKER:  Thank you.

18             If I may, I would like to go ahead and hand out two

19   documents.  I have the source documents if anybody wishes to

20   refer them, but rather than put the entire Progress and TECO

21   2007 year site plan into the record, I was hoping that the

22   parties would be willing to consider an excerpt.  However, I do

23   have those full documents available if that is the preference.

24             What they consist of is Schedule 6.2 from, again,

25   Progress and TECO's 2007 year site plans.  And the reason I'm

FLORIDA PUBLIC SERVICE COMMISSION

1229

1   passing them out is those items were not previously entered

2   into the record through staff's composite exhibit, so I just

3   wanted to make sure everybody had a clear source.

4   BY MS. BRUBAKER:

5        Q    Now, Doctor Sim, if I could, please, refer you to

6   Page 5 of Exhibit 155.

7        A    Okay.

8        Q    And this page we have captioned as system fuel mix

9   projections, and the source for this information, again, comes

10   from Schedule 6.2 for Progress Energy and TECO's Ten-Year Site

11   Plan for 2007, and it is also pulled from information in your

12   Exhibit SRS-15, Page 1 of 1.  And, again, if you would like to

13   look at those sources, that's fine, or if you are willing to

14   take the numbers subject to check, we can move on with the

15   question.

16        A    We'll assume they are correct.

17        Q    I'm sorry?

18        A    We'll assume they are correct.

19        Q    Thank you.  Now, does this page indicate that FPL's

20   fuel mixes is more heavily dependent on natural gas than either

21   Progress or TECO?

22        A    Yes, definitely.

23        Q    And for the time frame that is represented here, 2012

24   through 2016, is there a substantial difference in FPL's

25   relative fuel mix between coal and petcoke, natural gas,

FLORIDA PUBLIC SERVICE COMMISSION

1230

1   whether you are looking at FPL's plan with or without FGPP?  In

2   other words, looking at the first two tables, FPL with Glades

3   plant, FPL without Glades plant, looking at the relative

4   distribution between coal and petcoke and natural gas, is there

5   a significant large difference in the percentages shown there

6   in those two tables?

7        A    Yes.

8        Q    What I'm looking at is, for instance, the year 2012

9   and the coal/petcoke column.  They both represent 11.5, so I

10   see no difference there.  And I'm looking at a maximum

11   difference in 2016, 60.4 percent with natural gas, 71.1 percent

12   with natural gas, and that is with Glades plant and without

13   Glades plant.  Do you consider that roughly 11 percent to be a

14   substantial difference?

15        A    On a system the size of FPL, absolutely.  Both in

16   terms of the energy that is produced and in terms of the system

17   reliability that is engendered by the addition of coal on the

18   system.

19        Q    If I could refer you next, please, to Page 6 of

20   Exhibit 155.  And for the sake of reference, this is Attachment

21   1 from FPL's response to Staff Interrogatory Number 79.  Now,

22   this chart shows the average residential electric price versus

23   the percentage of net energy load for natural gas, correct?

24        A    That's correct.

25        Q    Now, looking at the year 1990 when the percentage of

FLORIDA PUBLIC SERVICE COMMISSION

1231

1   NEL from gas was around 18 percent, FPL's residential rate was

2   approximately 8 cents per kilowatt hour, correct?

3        A    That's what it shows, yes.

4        Q    And if I could have you next look at the year 1995,

5   and it looks like FPL's generation from gas was approximately

6   30 percent at that time, correct?

7        A    Yes.

8        Q    And the residential rate was still approximately 8

9   cents per hour, maybe just a tad less, correct?

10        A    Yes, roughly equivalent.

11        Q    Okay.  Would you agree that according to this graph

12   residential rates didn't really start to increase or climb

13   until the percent of NEL from gas reached about the 40 percent

14   mark?

15        A    I would agree that's what the graph shows.  I think

16   there are two factors here.  Number one is a greater reliance

17   in terms of the percentage of energy supplied by natural gas as

18   well as a significant run-up in the cost of natural gas during

19   the same time period.

20        Q    Doctor Sim, do you have a copy of the need study, and

21   more specifically the appendices to the need study available to

22   you?

23        A    I have a copy of the need study itself.  I do not

24   have a copy of the appendix with me.  I'm sure we could get

25   one.

FLORIDA PUBLIC SERVICE COMMISSION

1232

1             MS. BRUBAKER:  With counsel's permission, I'm happy

2   to pass out the single page I am interested in.

3             CHAIRMAN EDGAR:  Okay.

4             MS. BRUBAKER:  We will go ahead and do that then.

5   What I am handing out is a page from Appendix M of the need

6   study.  Specifically, it's Page 1-13.  I will go ahead and let

7   everybody get a copy of that and, Doctor Sim, give you a chance

8   to review.

9   BY MS. BRUBAKER:

10        Q    Just so we are clear, this is a study performed by

11   Black & Veatch comparing solid fuel technologies, correct?

12        A    I believe it was performed by Black & Veatch in

13   collaboration with FPL.  And I might point out that I believe

14   that Mr. Hicks is sponsoring the Appendix M in the need study

15   and he might be a more appropriate person to ask these

16   questions.

17             MS. BRUBAKER:  With counsel's indulgence, the

18   questions aren't so much on the particular information, but how

19   these types of analyses are typically used.

20             THE WITNESS:  Okay.

21   BY MS. BRUBAKER:

22        Q    And if, as I question, it seems like it should be

23   deferred, I am happy to accept that.

24             Now, the graph that is shown here is a typical

25   screening curve used in electrical generation expansion plans,

FLORIDA PUBLIC SERVICE COMMISSION

1233

1   correct?

2        A    I would clarify slightly not in terms of expansion

3   plans.  It's what's called a screening curve of resource

4   options is more typically used, and it is typically used to

5   screen out options that would operate in similar capacity

6   factors on a utility's system by trying to clearly identify

7   which units are the economic winners or losers within a select

8   group of resource options.

9        Q    Okay.  Now, in your time and experience with FPL,

10   have these types of screening curves been used for an

11   appreciable length of time?

12        A    They have been used since I have been in the planning

13   department, probably 15 years or so off and on, yes.

14        Q    And is it correct that this type of screening curve

15   is commonly used by utilities to compare the like technologies

16   before you perform a more detailed system revenue requirement

17   analysis?

18        A    Yes, that's generally how they are used.

19        Q    And a similar screening process would be used, would

20   be done for other types of technologies, such as gas-fired

21   combined cycle or peaking capacity additions, correct?

22        A    Yes.  For example, we might look at different

23   combined cycle units in which the turbines were supplied by GE,

24   Mitsubishi, et cetera, in different configurations, and we

25   would use a screening curve analysis to compare the competing

FLORIDA PUBLIC SERVICE COMMISSION

1234

1   combined cycle options or the similar peaking capacity options.

2        Q    Does a base load unit typical run at full capacity

3   whenever it's available to run?

4        A    Yes.  Generally to the extent of its availability it

5   will typically run.

6        Q    And does this mean that the capacity factor and

7   availability factor for these units are similar?

8        A    They are pretty close, if not identical, yes.

9        Q    Is it correct looking at this, the graph that I

10   provided you that it also shows that a USCPC unit is more

11   cost-effective than IGCC?

12        A    That's correct through all of the capacity factors

13   shown on the graph.

14        Q    And that is true then even at the lower availability

15   and capacity factors levels, then?

16        A    At the lower capacity factor levels, yes.

17        Q    Lastly, I'm hoping you have this available to you.

18   Do you have at your station, it's been identified as Exhibit

19   161?  It's FPL's supplemental response to Staff's Fifth Set of

20   Interrogatories, Number 112?

21        A    Does it have a cover on it?

22        Q    It is an odd lavenderish gray cover.  We will

23   provider an extra copy.  And when you have had a chance to

24   review, Doctor Sim, if I could refer you specifically to the

25   last page of that.  I believe it is numbered Page 11.

FLORIDA PUBLIC SERVICE COMMISSION

1235

1        A    Okay.

2        Q    Now, I am looking at -- from going from Appendix M to

3   this discovery response, can you explain for me what this

4   discovery response, this page, Page 11 signifies, what it

5   demonstrates?

6        A    Yes.  It's a screening curve analysis comparing the

7   advanced technology coal, which is the lower line on the graph,

8   to various perspectives of IGCC units.  The 50/50 or

9   0/100 refers to the mix of fuel.  The first number refers to

10   the percentage of the fuel mix that is coal.  The second number

11   is that of petcoke, so the 50/50 is 50 percent coal, 50 percent

12   petcoke.  The 0/100 is 100 percent petcoke.

13             There are also variations in regard to emission

14   rates, and those emission rates were examined, I believe, in

15   regard to Mr. Hicks' deposition in which there was a question

16   or two in regard to the emission rates chosen for the IGCC.  So

17   in response to a request for a late-filed exhibit, we went back

18   and reexamined IGCC with several different emission rates and

19   the different fuel forecasts or fuel mixes that you see here.

20             MS. BRUBAKER:  Okay.  And with that staff has no

21   further questions.

22             CHAIRMAN EDGAR:  Doctor Sim, earlier you answered

23   some questions regarding the reserve margin.  Has that

24   20 percent proven to be efficient?

25             THE WITNESS:  It has certainly proven to be

FLORIDA PUBLIC SERVICE COMMISSION

1236

1   effective.

2             CHAIRMAN EDGAR:  That was going to be my next

3   question, actually.

4             THE WITNESS:  Okay.  And let me try to explain, Madam

5   Chairman.  FPL's system has certainly evolved from, say, ten

6   years or so ago when we were operating at a 15 percent reserve

7   margin.  And I think there are two aspects of that that I could

8   touch on.  Number one is we have a much larger number of units

9   on our system than we had before, and back about ten years or

10   so ago we had, I think, four advanced combustion turbines on

11   our system as part of a couple of combined cycle units at

12   Martin and Fort Lauderdale.  Excuse me, eight advanced

13   combustion turbines.  And those combustion turbines are

14   different than the old traditional steam generating units in

15   that they must come out for maintenance at very specific times.

16   At a number of run hours you have to take them out or you will

17   have catastrophic failures of the turbines.

18             Today, looking at where we will be at the end of even

19   2011 with the West County Units coming in, we will have shifted

20   from eight of those advanced combustion turbines to 42 advance

21   combustion turbines, which makes it much more difficult to

22   schedule maintenance for those units due to the fact that there

23   are very well-defined lines of running hours over which those

24   units can only go before you have to take them out.  So it is

25   more difficult to schedule maintenance.

FLORIDA PUBLIC SERVICE COMMISSION

1237

1             The 20 percent reserve margin has assisted us in

2   finding time to do maintenance for those and other units.  It

3   has also allowed us to add more fuel efficient capacity on our

4   system, which has allowed us to back off of some of our older

5   conventional less efficient units and decrease their run times

6   thus resulting in fuel savings.

7             CHAIRMAN EDGAR:  I think in response to one of the

8   questions from Ms. Brubaker you answered something along the

9   lines of a comprehensive analysis on that 20 percent not having

10   been done, and I guess that leads me to my next question.

11   Realizing that that order approving the stipulation was issued

12   prior to my being on the Commission, was there then or has

13   there since been analysis, or thinking, or exploration -- let

14   me begin again, I'm sorry.

15             Why 20 percent rather than 17 or 18 or 19 or some

16   other number between 15 and 20 or between 15 and 25?

17             THE WITNESS:  It's a question that I think it is safe

18   to say FPL has considered.  And let me go back to my earlier

19   explanation of the very high load forecasts or load that we

20   experienced in 2005.  We have taken or had taken some steps to

21   begin an analysis of reserve margin back in those time frames,

22   but I guess the flow of our thinking and the flow of our

23   analysis was kind of brought to a halt when we experienced that

24   very significant load.

25             Frankly, we have only had one summer since then in

FLORIDA PUBLIC SERVICE COMMISSION

1238

1   which to look at an additional data point and try to see how

2   much of an aberration that 2005 was.  For us to feel

3   comfortable in going forward with an analysis of what the

4   appropriate reserve margin was, frankly, the most recent and

5   significant data point is that 2005 load which showed how much

6   uncertainty there was in our load forecast.

7             For that reason and for others, FPL believes it is

8   certainly appropriate to hang onto the 20 percent reserve

9   margin.  In regard to analysis we have done, I believe Mr.

10   Silva has introduced in his rebuttal testimony a simple but

11   powerful example of why a 15 percent reserve margin simply does

12   not work for FPL, and I will be happy to discuss that now if

13   you would like.

14             CHAIRMAN EDGAR:  Could you do it briefly?

15             THE WITNESS:  We have an example on a handout.  If we

16   could show you that, I could walk through it pretty quickly, I

17   believe.

18             MS. BRUBAKER:  May I take advantage of the brief lull

19   while we are putting up information?  My apologies, Madam

20   Chairman, I had meant to ask to have the Schedule 6.2 for

21   Progress and TECO identified as Exhibit 186.  May I do so at

22   this time?  My apologies for the interruption.

23             CHAIRMAN EDGAR:  Let me get there.  Okay.  So that

24   will be 186.  And, I'm sorry, a title for me again, if you

25   would?

FLORIDA PUBLIC SERVICE COMMISSION

1239

1             MS. BRUBAKER:  Certainly.  Schedule 6.2, Progress and

2   TECO's 2007 Ten-Year Site Plan.

3             CHAIRMAN EDGAR:  Okay.

4             (Exhibit 186 marked for identification.)

5             THE WITNESS:  I will try to walk through this

6   quickly.  What this document examines is going back as a

7   starting point to my Exhibit SRS-1 where we looked at what

8   would happen in 2013 in regard to our capacity needs and

9   reserve margin if we did not add FGPP.  The reserve margin I

10   showed in that exhibit was a 14.8 percent reserve margin.  So

11   we are looking roughly at a 15 percent reserve margin for 2013.

12   And what it shows in the first row is identical to what I have

13   presented in SRS-1.

14             It shows that we had no units in Column B out on

15   planned maintenance in August as scheduled.  It showed in

16   Column E, how much of our total reserves were generating

17   capacity reserves, which is 905 megawatts, which would

18   represent a reserve margin generator only of 3.5 percent.  So

19   instead a 14.8 percent reserve margin, we would be down a

20   3.5 percent reserve margin counting only generation options.

21             Column F shows the DSM that is available, and none of

22   it would be needed because we would have generation available

23   on that date.  And our total reserves are over on the last

24   column of 3,421.  So what the first row basically shows is of a

25   14.8 reserve margin in that year our generation reserves are

FLORIDA PUBLIC SERVICE COMMISSION

1240

1   3.5 percent reserve margin.

2             Now, the point that was made in Mr. Silva's testimony

3   is that we are uncertain in regard to both the timing of when

4   our loads occur, they can occur not only in August, but also in

5   June and July.  And we are also uncertain of the magnitude of

6   our load.  As I mentioned earlier, in 2005 we saw such an

7   unexpectedly high load.

8             So Row 2 says what happens if that exact same load

9   that we projected for August were to occur in June.  Now, in

10   June, as shown in Column B, we do have scheduled maintenance,

11   so we would be taking out 799 megawatts in June, which would

12   reduce in Column E our generation capacity reserves from the

13   905 minus 799 down to 106.  So we would be essentially at a

14   zero percent generation reserves on our system if that were to

15   occur.  Again, in the last three columns we still have DSM

16   available.  Slightly less in June than we do in August because

17   of the monthly accumulation of sign-ups, but essentially the

18   same number.

19             And Column 3 shows what would happen if not only the

20   peak load occurred in June, but that the peak load was

21   significantly higher than what was projected.  And in this

22   example we have used the percent variance that we observed over

23   the last three years, which is almost 11 percent and have

24   increased the load in Column D.  What that would show is if you

25   look at generation only in Column E, we would have a deficit of

FLORIDA PUBLIC SERVICE COMMISSION

1241

1   generation available to serve the load of 2,676 megawatts.  And

2   even if you applied all of the 2,500 megawatts in Column F of

3   DSM, our total reserves would be a negative 176.

4             So, therefore, without even assuming forced outages

5   or breakages of units, without talking about fuel supply

6   interruptions, transmission interruptions, or providing any

7   assistance to another utility that was experiencing a high load

8   on that date, a 15 percent reserve margin simply does not

9   protect FPL from variances in both the timing and the magnitude

10   of the load forecast.  So, this example is a very good one that

11   shows that a 15 percent reserve margin is simply viewed as

12   unsuitable for FPL's system in order to provide reliable

13   service.

14             CHAIRMAN EDGAR:  Commissioners?  Commissioner Carter.

15             COMMISSIONER CARTER:  Madam Chairman, I would like to

16   make a comment.  Is that okay?

17             CHAIRMAN EDGAR:  You may.

18             COMMISSIONER CARTER:  I went back because for awhile

19   I thought maybe I was on another planet here.

20             CHAIRMAN EDGAR:  I can't imagine why.

21             COMMISSIONER CARTER:  And I went back to the

22   beginning on this need determination at the basic positions of

23   the parties, and I see where FPL has requested for the Glades

24   Power Park Units 1 and 2, 1960 megawatts on this 4900-acre site

25   in Glades County.  And I see where they have taken into

FLORIDA PUBLIC SERVICE COMMISSION

1242

1   consideration DSM, gone with the solid fuel as opposed to

2   natural gas.  I looked at OPC's position, and they are saying

3   that in order to determine whether or not ultra-supercritical

4   pulverized coal plants are the most cost-effective alternative

5   available you need to take into account the very high

6   probability of carbon dioxide emission regulation during the

7   lives of the plant.  They also say that there is a significant

8   probability of this occurring.

9             I looked at the position of the Sierra Club and

10   others, and they are saying that while they are against any

11   kind of coal plant whatsoever, but certainly if one is built it

12   should be an IGCC, and said also that FPL could be expected to

13   intensify and accelerate their efforts with DSM and would,

14   therefore, not require additional generation.

15             And what I'm trying to say, Madam Chairman, and

16   Mr. Krasowski is saying that based upon the population

17   projections in Florida there are some questions, and those

18   questions are until there is a clear understanding of all the

19   energy options being achieved, that no single project of the

20   magnitude of this should be accomplished.  And I'm just kind of

21   thinking aloud of where I am looking for the parties that made

22   these representation to stick to the issues that they have

23   announced here.  And I think we are getting way, way beyond the

24   position of the parties.  Either they meant what they said when

25   they applied or they did not mean that.

FLORIDA PUBLIC SERVICE COMMISSION

1243

1             So just from a point of reference, Madam Chairman,

2   that I think that it would be helpful to all of us concerned,

3   we have given additional time, and I think that the time should

4   be spent on the issues that were raised instead of obfuscation,

5   walks in the park, and things of that nature.  And I just

6   wanted to raise that just as a statement.  Thank you.

7             CHAIRMAN EDGAR:  Are you saying that my questions are

8   too far afield?

9             COMMISSIONER CARTER:  I would never say that your

10   questions are -- in fact, your questions actually made sense

11   based upon the positions of the parties, Madam Chair.

12             CHAIRMAN EDGAR:  Thank you.  I hear you, Commissioner

13   Carter.

14             Commissioner McMurrian, questions?

15             COMMISSIONER McMURRIAN:  Thank you.

16             Actually, I, too, have looked back at the prehearing

17   order and was looking at FPL's position with regard to Issue 1,

18   and within that there is a statement about approximately

19   76 percent of the reserves in 2013 would be supplied by DSM

20   megawatts and approximately 88 percent of the reserves in 2014

21   would be supplied by DSM megawatts.  This means that load

22   control would be exercised frequently.

23             And at the risk of asking you something that is

24   somewhere elsewhere in the record, I wanted to get a handle on

25   what the current situation is.  So can you tell me what the

FLORIDA PUBLIC SERVICE COMMISSION

1244

1   percent of reserves, what percent of reserves are supplied by

2   DSM currently, or some kind of number that gets us close to

3   current?

4             THE WITNESS:  Yes, Commissioner.  In fact, we have

5   another handout which walks you through that calculation, if

6   you would care to see it.

7             COMMISSIONER McMURRIAN:  Sure.

8             THE WITNESS:  And while this is being handed out, let

9   me explain that the handout is based, again, on my Exhibit

10   SRS-1 which calculated reserve margins without FGPP; and SRS-4,

11   which calculated them with FGPP.  And I have added a couple of

12   columns to the right-hand side of that exhibit which answers

13   your question.

14             MR. ANDERSON:  Madam Chairman, while things are being

15   passed out, could we mark the first document we looked at?  I

16   think it is 187.  And the one that is coming around, 188, I

17   think.

18             CHAIRMAN EDGAR:  These are not in previous exhibits?

19             MR. ANDERSON:  That's correct.

20             CHAIRMAN EDGAR:  Okay.  All right.  Then the document

21   example of operations that Doctor Sim just discussed will be

22   187, and this document that is headed SRS-1 with additional

23   information will be 188.

24             (Exhibit 187 and 188 marked for identification.)

25             COMMISSIONER McMURRIAN:  I think Mr. Sim was going to

FLORIDA PUBLIC SERVICE COMMISSION

1245

1   walk us through what this shows in response to my question,

2   which I believe I had posed originally to Mr. Brandt and they

3   told me to save it for you.

4             THE WITNESS:  Let me first state that Columns

5   1 through 9 are identical to what was in SRS-1.  That is the

6   top series of calculations.  And then at the bottom of the page

7   1 through 9 is identical to what was presented in SRS-4.

8             So, to try to explain the calculation, if you look in

9   Column 8 at the top for 2007, you see a 22.6 percent reserve

10   margin.  Now, that includes both generation as well as DSM.  So

11   what I have done, Commissioner, is I have essentially removed

12   or zeroed out Column 5 to take away all of the DSM.  And then I

13   have recalculated what our forecast of summer reserves are

14   without DSM.  That appears in Column 10.  Using that lower

15   reserves, generation only reserves, I calculated what the new

16   summer reserve margin is without DSM, and that is 12.8 percent.

17             Then, I look at the original 22.6 percent of reserves

18   with generation and DSM, look at the 12.8 percent reserve

19   margin without DSM, and then calculate what the complementary

20   reserve margin is that DSM contributes, which in this case is

21   43 percent.  So, in other words, the 12.8 percent reserve

22   margin is 43 percent of the original 22.6.

23             COMMISSIONER McMURRIAN:  So that means the 43.1

24   percent is the current percent of reserves supplied by DSM and

25   can be compared to what, at least in the position statement, I

FLORIDA PUBLIC SERVICE COMMISSION

1246

1   believe it is --

2             THE WITNESS:  Yes, we will come to the position

3   statement momentarily.

4             COMMISSIONER McMURRIAN:  Okay.

5             THE WITNESS:  You had asked what it was currently and

6   that is what we show in 2007.  If you go down to 2013, the same

7   calculation on the far right column, Number 12, shows that

8   DSM's percentage contribution to FPL's total reserve margin is

9   76.1 percent, and for the next year, 2014, it would be

10   88.3 percent.

11             COMMISSIONER McMURRIAN:  Okay.  That's helpful.  And

12   with respect to the sentence that reads this means that load

13   control will be exercised frequently, I guess a similar

14   question.  How frequently is load control being used today, or

15   in 2007?

16             THE WITNESS:  It is being used relatively

17   infrequently, which is, I think, another advantage of the

18   20 percent reserve margin.  Because with the 20 percent reserve

19   margin we have a reasonable amount of generating reserves which

20   allows us not to call on load control except under conditions

21   in which we have an unexpected number of units out for

22   maintenance, both planned and forced, or the load is

23   significantly higher than what would otherwise be expected on

24   that day.

25             COMMISSIONER McMURRIAN:  Thank you.  And I had one

FLORIDA PUBLIC SERVICE COMMISSION

1247

1   other question that was a follow-up to a question, I think, Ms.

2   Brubaker was asking you.  And it was within the Exhibit

3   155 with the yellow sheet, and I believe Ms. Brubaker was

4   asking you about the comparison of the SO2 numbers with respect

5   to USCPC versus the IGCC.  And I think she asked about why

6   those numbers were identical, and I believe your answer -- and

7   I don't want to mischaracterize it, so correct me, was that the

8   IGCC part was representative of IGCC filings with projected SO2

9   amounts.

10             THE WITNESS:  That's my understanding, yes.

11             COMMISSIONER McMURRIAN:  Okay.  Could you tell me

12   what the number would be if it was based on current IGCC

13   projects and the SO2 numbers that they show, or is that

14   somewhere elsewhere in the record?

15             THE WITNESS:  Give me just a moment.  I thought we

16   had that in our answer to Interrogatory 112, but I don't seem

17   to find that in front of me at the moment.  But I'm sure we can

18   provide that as a late-filed exhibit if after checking it's not

19   the numbers that you're requesting.

20             MR. ANDERSON:  We would also indicate, Commissioner,

21   that either Mr. Jenkins or Mr. Kosky would be able to provide

22   that information on current SO2 emissions for IGCC.

23             CHAIRMAN EDGAR:  Ms. Brubaker.

24             MS. BRUBAKER:  Whatever your preference,

25   Commissioners.  We could either defer the question to the

FLORIDA PUBLIC SERVICE COMMISSION

1248

1   appropriate witness, or if you prefer to have it as a

2   late-filed.  I don't know that I see it in the answer to 112,

3   but then it was a very brief scan of the document.

4             CHAIRMAN EDGAR:  Okay.  Then how about we wait until

5   the next witness, Commissioner, that you would like to pose

6   your question to, or more than one, and if not at that point we

7   can do a late-filed then if it is still needed.

8             COMMISSIONER McMURRIAN:  That's perfectly fine.  That

9   was all my questions.

10             CHAIRMAN EDGAR:  Okay.  Mr. Anderson, about how much

11   do you have on redirect?

12             MR. ANDERSON:  Probably 20 minutes.

13             CHAIRMAN EDGAR:  Mr. Guest.

14             MR. GUEST:  Well, of course, that creates timing

15   issues now because we had had fantasies yesterday about

16   finishing today.

17             CHAIRMAN EDGAR:  Actually, my fantasy initially was

18   that we were going to get done with Mr. Sim yesterday.

19             MR. GUEST:  Yes, that's true.  Well, we had had a

20   representation that we were going to have about 20 minutes of

21   questions.  It is over an hour now, and we flew Mr. Plunkett in

22   in the wee hours of the morning, and he has to leave, of

23   course, today.  I think if we can get through him today, things

24   are going to work out.  But we really need a commitment to try

25   to do that.

FLORIDA PUBLIC SERVICE COMMISSION

1249

1             I, in response to your suggestion, had foregone a

2   number of questions about emission controls even though that

3   came up, and about a number of other items that also came up.

4   But I think since there is another witness coming up on

5   rebuttal, I'm going to heed your suggestion and narrow my

6   questions to one person whenever possible.  And would hope that

7   we would get the same courtesy on redirect here, that if these

8   are questions that can be asked of another witness we won't

9   replow the same ground.

10             CHAIRMAN EDGAR:  I will expect mutual courtesies.

11             MR. GUEST:  Thank you.

12             CHAIRMAN EDGAR:  Does that mean, Mr. Guest, that your

13   reference is to take up Mr. Plunkett before Mr. Furman?

14             MR. GUEST:  Most definitely.

15             CHAIRMAN EDGAR:  And, Mr. Anderson, I think you

16   indicated yesterday that you were amenable to that.

17             MR. ANDERSON:  That's fine.  Thank you.

18             CHAIRMAN EDGAR:  Okay.  Then at some point we will

19   need to take a lunch break.  We can take an abbreviated one.

20   I'm going to look to make sure, Commissioners, that works for

21   each of your schedules, we take an abbreviated lunch.  Okay.

22             Mr. Anderson, I can go either way.  Since you are up

23   next, I'm going to look to you first.  We can push through now

24   or we can take a short lunch break now and come back with you.

25             MR. ANDERSON:  If it's all right, let's just ask our

FLORIDA PUBLIC SERVICE COMMISSION

1250

1   witness how he's feeling.  If he wants to --

2             CHAIRMAN EDGAR:  Absolutely.

3             THE WITNESS:  Twenty minutes, let's finish, please.

4             MR. ANDERSON:  We will do our best together.

5                        REDIRECT EXAMINATION

6   BY MR. ANDERSON:

7        Q    Mr. Sim, you were given a document by Mr. Guest

8   entitled Exhibit 183, future options for generation of

9   electricity from coal?

10        A    That's correct.

11        Q    He asked you some questions about certain portions of

12   that document.  Are there any other portions of that document

13   that you would like to provide information concerning?

14        A    Yes.  Having had a chance to review the document a

15   little bit more thoroughly, I find that there are two pages

16   upon which there is information that was not included in the

17   question and answer session.  The first of those has to do

18   with, again, the gentleman, Mr. Black, the president of Tampa

19   Electric, stating that barriers to IGCC units include, quoting,

20   higher capital costs and higher operations and maintenance

21   costs.

22             I note that that is certainly consistent with the

23   document that we were discussing earlier where we were looking

24   at the three columns of Staff's Exhibit 155 or 156, in which we

25   had the ultra-supercritical and the IGCC side-by-side.  And

FLORIDA PUBLIC SERVICE COMMISSION

1251

1   even after adjusting for the AFUDC being included on the

2   capital cost side of the IGCC, my estimate is we are going to

3   see capital costs about 40 percent higher, we are going to see

4   operating cost numbers on that page about 40 percent higher, as

5   well.  Which, again, is consistent with Mr. Black's paper here

6   on Page 6.

7             The other thing that I noted is that on Page 4, the

8   first line of Mr. Black's document, he quotes the efficiency of

9   Polk's IGCC unit or heat rate is approximately 9,500 Btu per

10   kilowatt hour.  And I will note that that is also consistent

11   with the analyses numbers that FPL has been using.  In fact, we

12   have been generous to IGCC in using a heat rate of 9,400

13   instead of the higher 9,500.  And that, again, points out the

14   advantage of the ultra-supercritical unit with our heat rate of

15   8,800.

16        Q    Very good.  Mr. Guest was asking you some questions

17   concerning comparative dollars per kW and asserting that there

18   is about $2,600 per kW capital costs for the proposed TECO

19   plant.  Could you please take a look at this document which

20   will be delivered to you.

21             MR. ANDERSON:  If we could mark this, please.  I

22   think we are up to 189 now.

23             CHAIRMAN EDGAR:  Yes.

24             (Exhibit 189 marked for identification.)

25   BY MR. ANDERSON:

FLORIDA PUBLIC SERVICE COMMISSION

1252

1        Q    Doctor Sim, we heard yesterday that the TECO plant is

2   not even in a preliminary design stage, and cost estimates

3   haven't been done, and all of that homework to figure out

4   actual costs, but what is Document 189, and what does it show

5   as being reported with respect to dollars per kW?

6        A    The document is an excerpt from Tampa Electric's

7   2007, its most recent Ten-Year Site Plan, and it is showing

8   Schedule 9 on which the utilities are required to report their

9   best projections for future units.  And what it shows down in

10   Row 13, the third row there, total installed cost in-service

11   year of $3,180 per kW with a footnote.  And the footnote says

12   that this is a preliminary cost estimate subject to change

13   based on overnight construction cost of 1.6 billion.

14             The way I would interpret that is not only is this

15   number of almost $3,200 a kW significantly higher than the

16   number that we were discussing in my cross-examination earlier,

17   it is probably a low number and will be revised upward as the

18   preliminary costs are tightened up.

19        Q    Doctor Sim, Ms. Brubaker discussed reserve margin,

20   and we talked about the Hines 3 order.  Did the Hines 3 order

21   also address the effect of greater reliance on load control for

22   meeting reserves?

23        A    Yes, it did.  In fact, I will read the appropriate

24   portion.  FPC has relied heavily in the past on demand-side

25   management, DSM, to meet its reserve requirements.  FPC cannot

FLORIDA PUBLIC SERVICE COMMISSION

1253

1   use DSM as often or with the same duration as physical

2   generation without eventually affecting customer participation

3   levels, as was demonstrated by FPC's customer attrition from

4   its DSM programs in 1998 and 1999.  The record indicates FPC's

5   DSM programs are becoming less cost-effective compared to the

6   cost of generation.  For these reasons, FPC is attempting to

7   build up its physical reserve percentage.

8        Q    There were some questions about the FRCC reserve

9   margins.  Do you remember those?

10        A    Yes.

11        Q    Should FPL rely on the FRCC reserve margin?

12        A    No, it shouldn't.  The FRCC margin really has nothing

13   directly to do with FPL's reserve margin.  FPL is obligated to

14   serves its customers reliably and, therefore, needs to develop

15   plans and reserves to do just that.  Whether the FRCC other

16   member utilities are operating at a particular reserve margin

17   or not, and the state and the peninsular as a whole is

18   operating at a particular reserve margin has no direct effect

19   upon FPL and its projected reserves.

20             I also note going back to the document that was put

21   in front of me that we showed the FRCC was showing or

22   projecting reserves of significantly higher than 20 percent.

23   And what that would indicate to me, based on my knowledge of

24   the contribution of the three IOUs to the Peninsular Florida,

25   which is roughly in the 75 to 80 percent contribution level for

FLORIDA PUBLIC SERVICE COMMISSION

1254

1   the peninsular as a whole, is that if FPL, TECO, and Progress

2   Energy Florida all were exactly at 20 percent, and each of the

3   other member utilities was at 15 percent, we would see an FRCC

4   reserve margin of 19 percent.  What we are seeing on that

5   document are reserve margins of 22 to 25 percent in many years,

6   which indicates to me that a number of the member utilities

7   which are required by the FRCC to operate at a 15 percent

8   reserve margin, believe that a 15 percent reserve margin isn't

9   sufficient for them.  And, therefore, they are projecting

10   reserve margins significantly higher than 15 percent.  It would

11   have to be so in order to get Peninsular Florida reserve

12   margins in the 22 to 25 percent range.

13        Q    Ms. Brubaker asked you about the capital costs

14   associated with the FGPP.  If in the future an opportunity

15   arose where FPL was able to spread the fixed costs of FGPP over

16   a greater number of billing determinants, what would the effect

17   of that be on the cost-effectiveness of FGPP?

18        A    I'm sorry, what was the end of the question, please?

19        Q    What would the effect be on the cost-effectiveness of

20   FGPP?

21        A    I think I would answer in two parts.  I'm not sure it

22   would effect the cost-effectiveness of the unit one way or

23   another in regard to any other type of technology, but it would

24   result in a lower electric rate impact to our customers if it

25   were spread over a greater number of units.

FLORIDA PUBLIC SERVICE COMMISSION

1255

1             MR. ANDERSON:  We may be done even quicker.  Let me

2   just consult with my colleague for a moment.

3   BY MR. ANDERSON:

4        Q    Doctor Sim, what do you think would happen if the

5   reserve margin were reduced to 15 percent as it relates to

6   reliance on DSM and load control for maintaining adequate

7   reserves?

8        A    I think there are two things that would happen.  I

9   think, number one, if FPL were directed to go to a 15 percent

10   reserve margin, despite our belief that that is not the

11   adequate level of reserves for our company, and we followed

12   through with a 15 percent reserve margin, we would have to

13   examine the need for all resources, whether they are generation

14   or DSM, because DSM competes with generating resources.

15             We would clearly be adding less resources to our

16   system.  We may well end up that the most cost-effective thing

17   to do is to reduce the DSM that we are currently planning on

18   implementing.  We may end up with less generation than what we

19   are currently planning, but there is no guarantee that we would

20   stay with the same level of either generation or DSM.

21   Something would have to give, we are not sure which.  It would

22   have to be analyzed in order to determine which would be the

23   most cost-effective move to make in terms of reducing

24   resources.

25             In regard to the existing load control programs that

FLORIDA PUBLIC SERVICE COMMISSION

1256

1   we have, I think it is safe to say that the frequency of usage

2   of those programs would have to increase as the exhibit that we

3   discussed earlier showed in regard to having enough capacity

4   on-line in order to perform maintenance.

5        Q    Did the Hines 3 order that you looked at a minute ago

6   also discuss load control?

7        A    Yes, it did.  And I think I read the relevant

8   passage.  In the Commission's order they were referring to

9   cannot use DSM.  I take that to mean dispatchable DSM, which

10   would be load control.  And it stated that they cannot use DSM

11   as often or with the same duration as physical generation.

12        Q    Would use of a 15 percent reserve margin effect the

13   company's reliance on DSM, and what do you think the effect

14   would be on customer participation in DSM?

15        A    We would certainly be relying more on the usage of

16   load control than we do now.  If the frequency of that usage

17   got to the point where it did for Progress Energy Florida in

18   1998 and 1999, in which 70,000 of their residential load

19   control participants bailed out of the program almost overnight

20   due to an overreliance of it over a summer, we could experience

21   similar, if not even greater, dropout rates.  And that would

22   also make it exceedingly difficult to sign up replacement or

23   new customers if word got out that FPL was pushing the button

24   with much greater frequency than they had before.

25        Q    So what we are really talking about is the difference

FLORIDA PUBLIC SERVICE COMMISSION

1257

1   between having operating generating reserve to provide power

2   versus the ability to basically push a button, interrupt

3   service, have people stop using electricity, right?

4        A    Yes.  Each has its role, and I don't think anyone

5   would operate a system in which there was a heavy reliance upon

6   interruption of customers even though it were a voluntary

7   sign-up for those customers, because you could quickly reach

8   the point, as Progress Energy Florida did, where they simply

9   begin losing those customers in large blocks.

10             MR. ANDERSON:  That's all we have.  Thank you.

11             CHAIRMAN EDGAR:  Okay.  Let's take up exhibits.  We

12   will start with Exhibits 46 through 60.  Seeing no objection,

13   46 through 60 will be entered into the record.

14             (Exhibit 46 through 60 admitted into the record.)

15             CHAIRMAN EDGAR:  Exhibit 182 was the need study and

16   appendices.  Seeing no objection, we will enter that into the

17   record.

18             (Exhibit 182 admitted into the record.)

19             CHAIRMAN EDGAR:  Which brings us to 183 and 184,

20   which were put forth by Mr. Guest.  Any objection?

21             MR. ANDERSON:  We are fine with 183.  We would ask

22   that 184 be taken up with Mr. Jenkins before a ruling.  That

23   was the one that was the subject of extensive discussion.

24             CHAIRMAN EDGAR:  Okay.  183 will be entered into the

25   record and we will discuss 184 later in the proceeding.

FLORIDA PUBLIC SERVICE COMMISSION

1258

1             (Exhibit 183 admitted into the record.)

2             CHAIRMAN EDGAR:  And 185 was going to be late-filed.

3   186 was offered by Ms. Brubaker.

4             MS. BRUBAKER:  Yes, and I would move both 185 and

5   186 into the record.

6             CHAIRMAN EDGAR:  You have received 185?

7             MS. BRUBAKER:  Well, you're right, no.  My apologies.

8             CHAIRMAN EDGAR:  Okay.  185 to be late-filed, and

9   186 to be entered into the record.  And then 187 and 188 were

10   passed out, Mr. Anderson.  Any objection?  And 189.  Seeing no

11   objection, 187, 188, and 189 entered into the record.  The

12   witness is excused.

13             Thank you, Doctor Sim.

14             (Exhibits 186 through 189 admitted into the record.)

15             CHAIRMAN EDGAR:  Okay.  The next four witnesses were

16   stipulated.  Let's go ahead and take up entering that testimony

17   and exhibits into the record so that we will know where we are

18   then, I think, for the next few steps.

19             Ms. Brubaker, am I correct that the next thing we

20   need to do is enter the prefiled testimony of Witness Damon?

21             MS. BRUBAKER:  That is correct.  It would be

22   Witnesses Damon, Sanchez, Coto, and Yupp.  We could take up Mr.

23   Damon first.

24             CHAIRMAN EDGAR:  Any objection?

25             MR. GUEST:  No objection.

FLORIDA PUBLIC SERVICE COMMISSION

1259

1             CHAIRMAN EDGAR:  Okay.  Then we will enter the

2   prefiled testimony of Witness Damon into the record.

3             MS. BRUBAKER:  And I would notice that Mr. Damon does

4   not have any prefiled direct exhibits.

5             CHAIRMAN EDGAR:  With no exhibits, thank you.  And

6   Witness Sanchez.  We will enter the prefiled direct testimony

7   of Witness Sanchez into the record, and Exhibits 63 through 66.

8   Seeing no objection, those exhibits will be entered into the

9   record, as well.

10             Which brings me to Witness Coto.  The prefiled

11   testimony of Witness Coto will be entered into the record, as

12   well as Exhibits 67 through 72.

13             (Exhibits 63 through 72 admitted into the record.)

14             MS. BRUBAKER:  That is correct.

15             CHAIRMAN EDGAR:  And Witness Yupp's prefiled

16   testimony will be entered into the record.  I see no exhibits,

17   is that correct?

18             MS. BRUBAKER:  That is correct.

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1382

1             CHAIRMAN EDGAR:  Okay.  It is approximately 1:00

2   o'clock.  We will come back -- I hate to have short lunches

3   because there's so little opportunities for everybody, but

4   30 minutes?  Do you want to do 30 minutes to keep things

5   moving?

6             Mr. Guest, it is your witness.

7             MR. GUEST:  I think our next witness is going to be

8   Richard Furman.  I think we are going to have to just let

9   Mr. Plunkett go back home for a second time here, unless we

10   can -- I know you can't control that.  We have had, as I said

11   earlier, we had representation we were going to have about

12   20 minutes of cross from the staff.  We had a relatively short

13   cross as you saw, that would have landed us around

14   11:00 o'clock, which would have been enough time to do the

15   cross-examination of Mr. Plunkett.  I don't see a reasonable

16   possibility of them getting done, and so I think it might be --

17             CHAIRMAN EDGAR:  Hang on.  Excuse me just a moment.

18             Ms. Brubaker, does the staff, excuse me, have

19   questions for Witness Plunkett?

20             MS. BRUBAKER:  In the interest of moving time along,

21   we are happy to waive any questions for Mr. Plunkett.

22             CHAIRMAN EDGAR:  Mr. Anderson.

23             MR. ANDERSON:  We have a short cross-exam.

24             CHAIRMAN EDGAR:  Mr. Beck.

25             MR. BECK:  (Indicating no.)

FLORIDA PUBLIC SERVICE COMMISSION

1383

1             CHAIRMAN EDGAR:  Mr. Krasowski.

2             MR. KRASOWSKI:  Yes, I have quite a few questions for

3   Mr. Plunkett.  A lot of my evidence is based on some of his

4   comments, the whole DSM issue.

5             CHAIRMAN EDGAR:  I understand.  This is what I would

6   suggest that we do.  Commissioners, can you do about

7   30 minutes?  Let's take 30 minutes for a very fast lunch.  We

8   don't want anybody passing out this afternoon from low blood

9   sugar, and we will come back at about 1:35 by the clock on the

10   wall, and I will try to keep to that myself.

11             And before we all step out in different directions,

12   we're going to break now, but let's gather for just a few

13   minutes and talk schedules.  And so we are on lunch break.

14             (Transcript continues in sequence with Volume 10.)

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1384

1

2   STATE OF FLORIDA    )

3                                      :    CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

7   herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 27th day of April, 2007.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk

18                            (850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION