1

1                            BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. UNDOCKETED

3

4     In the Matter of

5   INTERCONNECTION OF SMALL PHOTOVOLTAIC

SYSTEMS; NET-METERING OF CUSTOMER-OWNED

6   RENEWABLE RESOURCES AND INTERCONNECTION

OF CUSTOMER-OWNED RENEWABLE RESOURCES

7                                            /

8

9

10

11

12

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

13                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

14            THE .PDF VERSION INCLUDES PREFILED TESTIMONY

15

16                              VOLUME 2

17                        Pages 101 through 139

18

PROCEEDINGS:        STAFF WORKSHOP

19

DATE:               Monday, October 15, 2007

20

TIME:               Commenced at 9:30 a.m.

21                       Concluded at 5:45 p.m.

22   PLACE:              Betty Easley Conference Center

Room 148

23                       4075 Esplanade Way

Tallahassee, Florida

24

REPORTED BY:        JANE FAUROT, RPR

25                       Official FPSC Reporter

(850) 413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1                         P R O C E E D I N G S

2             MR. FUTRELL:  Okay.  If everybody will take their

3   seats we will resume the workshop here.

4             Okay.  We left off in Section 5(a), Sub 4, which is

5   the indemnification language.  Staff has tried to clarify that

6   by specifying in the first sentence that the customer shall

7   hold harmless.  That was our, as I understand, our main change

8   there to try to clarify that situation.  We would like to

9   have -- get some input on this statement, especially the idea

10   we heard in some of the comments about a symmetrical, this

11   needs to be symmetrical.  I'd like to get some comments about

12   that.

13             And, Jason, I know you had some thoughts on that,

14   too.  Could you talk about that, please?

15             MR. KEYES:  Sort of two items.  Usually where there

16   is indemnification language in the rules it is bidirectional,

17   so the utility indemnifies the customer as well.  But, also,

18   when you're talking about indemnification, you're usually

19   talking about holding harmless and indemnifying the person

20   against third-party claims.  So as this language reads, we're

21   saying -- if I've got a solar installation, I'm not going to

22   blame the utility unless they have been negligent, and usually

23   you would have to prove some sort of negligence anyway.

24             But you usually don't refer to the other person, to

25   the other party when you are talking about indemnification.

FLORIDA PUBLIC SERVICE COMMISSION

3

1   It's about third-party indemnification.  So what that means is

2   I'm running my solar system, my neighbor has a problem, my

3   neighbor goes to sue the utility, the utility wants

4   indemnification that I say I won't blame the utility, and I

5   will hold you harmless and I'll defend you against the claims

6   by my neighbor against the utility.

7             And, the other way around, if I've got a great big

8   system and I've got money and my neighbor wants to go after me

9   when they have a problem, that the utility will indemnify me

10   and say, yes, if it's our fault, and I didn't do anything wrong

11   that they will indemnify me.  So for some reason this language

12   is broad and it doesn't -- the way to fix it is to say

13   indemnify the investor-owned utility for all losses to third

14   parties resulting from the operation of the customer-owned

15   renewable generation.

16             And it comes up a bit, actually up in the previous

17   section where they say that there will be a statement in the

18   interconnection agreement that you won't blame the utility for

19   damage from normal and abnormal conditions.  And I would want

20   to say something there about abnormal conditions not caused by

21   the negligence of the utility.  So, for instance, if the

22   utility didn't install a surge protector and a surge destroyed

23   my system, I think that I'm within my rights to blame the

24   utility for having just fried my million dollar system.

25             MR. FUTRELL:  Any comments?

FLORIDA PUBLIC SERVICE COMMISSION

4

1             MS. CLARK:  Is he proposing language?  I mean, I'm

2   not sure --

3             MR. FUTRELL:  I'm not sure.

4             Are you proposing language in the previous section,

5   Sub 3?

6             MR. KEYES:  Yes, Sub 3.  By the way, on the

7   numbering, just when you go back to it, there's a 5.A, there

8   isn't a 5.B, so it makes sense instead of having 5.A --

9             MR. FUTRELL:  We've already picked that up.  We

10   caught that.

11             MS. CLARK:  Is there a page and a line that I can

12   look at?

13             MR. KEYES:  Page 5, Line 1, so damage from the normal

14   and abnormal conditions not caused by the utility's negligence.

15   And I suppose it will come after operations, abnormal

16   conditions and operations not caused by the utility's

17   negligence that occur on the electric utility system.

18             MR. FUTRELL:  Could you repeat that?

19             MR. KEYES:  And other system components from damage

20   from the normal and abnormal conditions and operations, not

21   caused by the utility's negligence, that occur on the electric

22   utility system in delivering and restoring power.

23             So if it is the utility's negligence that caused the

24   problem, then it would still be liable for that.

25             MR. FUTRELL:  Does everybody have that language?  Any

FLORIDA PUBLIC SERVICE COMMISSION

5

1   reaction to that proposed language?

2             MR. KEYES:  Then you've got the language for

3   Section 4 there, just adding a provision that the customer

4   shall hold harmless and indemnify the investor-owned utility

5   for all loss to third parties resulting from the operation.

6             MS. CLARK:  Mark, I don't know that I have an initial

7   reaction to them, a concern, but to me those are the things

8   that we need time to look at and think about and their

9   implications and compare them to other rule provisions to make

10   sure we can be comfortable with those changes.

11             MR. TRAPP:  Can that be embraced in your

12   post-workshop comments?

13             MS. CLARK:  Yes.

14             MR. TRAPP:  Thank you.

15             MR. HINTON:  Could you also address the matter of

16   Subsection 4, I guess it's 5.4, the indemnification language,

17   making that symmetrical, or is the customers indemnifying the

18   utility for loss of third parties due to operating their

19   system, but also the utility indemnifying the customer for the

20   loss to a third party?

21             MR. TRAPP:  Do we have a sentence for that or is this

22   just a concept we want to address?

23             MR. HINTON:  I know that in IREC's model they have it

24   going both ways, so I am going to punt to him to come up with

25   some good symmetrical language.

FLORIDA PUBLIC SERVICE COMMISSION

6

1             MR. KEYES:  I will be happy to.  And, actually,

2   IREC's language is good.  We just went through this in New

3   Mexico, and that language gets so thick when you try to do a

4   bidirectional.  You say one party identifies the other party

5   against the first party, it gets confusing.

6             MR. HINTON:  I already made one attempt and failed

7   miserably.

8             MR. KEYES:  And it works pretty well if you just

9   break it out into two separate clauses, so there is what you've

10   got here and then a second sentence that says a provision that

11   the utility shall hold harmless and indemnify the customer for

12   all losses to third parties resulting from the operation of the

13   utility's electric distribution system except when the loss

14   occurs due to the negligent actions of the customer.  And I'd

15   be happy to write that out, but, basically, it's a lot cleaner

16   to just have a second sentence to say that, instead of trying

17   to somehow force it all into one sentence.

18             The other thing that happens in indemnification

19   language is the standard in contracting has been that you

20   indemnify everybody.  So it's not just the utility, you would

21   be indemnifying the utility and their directors and their

22   shareholders and anybody else you can think of, and the same

23   would go for the customer.  And so you can add a third sentence

24   to the language, and I'll provide that, what we have in New

25   Mexico, that says when we talk about -- in this section when we

FLORIDA PUBLIC SERVICE COMMISSION

7

1   talk about this customer or the utility, we mean everybody

2   associated with it.

3             MR. FUTRELL:  Any other comments on the

4   indemnification?

5             MS. CLARK:  Comments on what?

6             MR. FUTRELL:  The indemnification provisions.

7             Good.  Okay.

8             Let's move on to Section 5, Line 9, where you get

9   into the insurance requirements.  We touched on that earlier

10   where it would be one million dollars for Tier 2 and no more

11   than two million for Tier 3, and that the utilities would

12   recommend but not require insurance for Tier 1.

13             Yes, sir.

14             MS. SHEEHAN:  Mike Sheehan with IREC.  I guess -- let

15   me give you a little background on who I am so you'll

16   understand the context of my next statement.

17             First off, I have worked for three different

18   utilities, Commonwealth Edison Chicago, Virginia Power, Puget

19   Sound Energy.  I have 30 years of utility experience, plus I

20   work with IREC, as a consultant to IREC.  But I was also a

21   member of IEEE 1547, and under that context this question of

22   liability is very perplexing to me because I'm not quite sure

23   in the 30,000 systems that are out there on photovoltaics in

24   the system in the United States, I know of no instance where

25   photovoltaics or inverter-based systems have caused a problem

FLORIDA PUBLIC SERVICE COMMISSION

8

1   on the utility.  So I would like to know the cause of why this,

2   the cause being what level of insurance and why insurance is so

3   onerous in this section.

4             MR. FUTRELL:  Again, we recognize that to try to

5   encourage small systems -- we understand for residential most

6   of it is covered in general liability insurance.  For larger

7   systems, it appears that for business owners, good general

8   liability insurance it's wise to have levels of this amount.

9   We checked into the availability.  In areas that availability

10   is not an issue; affordability doesn't appear to be an issue;

11   it appears to be good sound business practice to have this.  We

12   also, by increasing Tier 3, by doubling Tier 3, we felt we

13   needed to recognize that by increasing the insurance

14   requirements for those larger systems.

15             MS. SHEEHAN:  Yes, but I'm still perplexed by what

16   problems are they going to be fixing by having this reliability

17   on the systems.  And, first off, I'll have to have a context of

18   what problem exists from a PV system that could feedback to the

19   utility system and cause that kind of a problem.  And the

20   analogy I would use is in the northwest, you have the Grand

21   Cooley Dam behind you, and this a 10 kW or a 100 kW system.

22   I'm not quite sure I understand the kind of system as what is

23   going to drive what here as far as cause a problem.  And most

24   of these inverter-based systems don't have any kind of

25   capability.  Again, the 30,000 that are in existence today,

FLORIDA PUBLIC SERVICE COMMISSION

9

1   I've never heard of one -- as a member of the EEI Committee on

2   Distributed Generation, I've never heard of a PV or

3   inverter-based system causing problems.  Is this really

4   proportional to the kind of problem that's out there?

5             MR. FUTRELL:  So in your mind there is -- do you

6   support no requirements for insurance provisions?

7             MS. SHEEHAN:  Well, at a much higher level than

8   what's here in the Tier 1 and Tier 2.  And I would say in the

9   New Mexico arrangement 250 kW is where the insurance started

10   kicking in.

11             MR. FUTRELL:  Okay.

12             MS. SHEEHAN:  So it is a much higher level than here.

13   And I'm just sort of perplexed by how the number got to where

14   it is here.  What is the basis of how it was started and why it

15   was such a level.

16             MR. HINTON:  I can tell you the original PV rule had

17   a requirement for $100,000 of liability insurance.  That rule

18   only went up to 10 kW.  Looking at a number of states, some

19   states don't require anything, some states require more than

20   what we are requiring here.  We kind of came down in the

21   middle.  And, frankly, that is one of the questions that I was

22   going to raise, as well, you know, asking the utilities what

23   are they looking to guard against by having this liability

24   insurance and does the indemnification language that's already

25   in here now obviate the need for liability insurance in the

FLORIDA PUBLIC SERVICE COMMISSION

10

1   eyes of the utilities, and if you can give me some specific

2   examples of why you think it should --

3             MS. CLARK:  Here is what I think people seem to be

4   forgetting, at least what I hear the question being asked is,

5   is the damage from this facility to the utility system or the

6   utility system to this system.  What about the third parties?

7   This liability is also designed to cover damage to third

8   parties' property or person.  And it seems to me that it is

9   entirely appropriate to require that kind of insurance when you

10   operate these kind of generation systems, even if they are

11   inverter based.

12             And with respect to the indemnification, I don't

13   think that cuts it for this reason:  You may be responsible,

14   but if you don't have the assets to pay for that

15   responsibility, what good is it to the person who was injured?

16   That is what insurance does for you.  It provides the funds

17   that if there is damage to a third party, either property or

18   person, that the insurance is there to cover it.

19             Along those lines, it seems to me that the rule

20   suggests it's good for customers, even small customers, to have

21   the insurance, 100,000 in insurance.  And I think we heard at

22   the last workshop that's not a significant amount.  It's what

23   people seem to normally carry anyway.  We heard from one

24   gentleman regarding how much it cost for him.  I think they

25   have $2 million worth of coverage, and it was not significant.

FLORIDA PUBLIC SERVICE COMMISSION

11

1   But it does have the effect of having the money there if there

2   is damage, not just to the two parties in this contract, but

3   also to third parties.  For that reason, we would also suggest

4   that it not be just a recommendation, but for Tier 1 it be a

5   requirement that they carry the 100,000 in liability insurance.

6             MR. HINTON:  Just a little commentary before I let

7   you guys respond, too.  As somebody who used to run a small

8   business, from my perspective you have got to be crazy not to

9   carry liability insurance when you are running a business.  And

10   from the small business I was involved with, we carried a

11   million dollars worth of insurance, and that's why I didn't see

12   this as very onerous at all.  Because we already had this, and

13   we were a very small business.

14             So just from me approaching this, you know,

15   personally, I wouldn't install anything that generated

16   electricity if I didn't have liability insurance just because

17   of the potential of, you know, causing injury or damage to some

18   third party.  And the state of things these days, everything is

19   going to go to court in that situation.  So that was just my

20   own personal perspective in looking at this.

21             MR. GRANIERE:  I have a question.  On this liability

22   insurance, what protection is the utility getting against

23   action by the customer?  I'm not quite understanding that.

24             MS. CLARK:  You're asking what protection the utility

25   is getting from an action by the customer?

FLORIDA PUBLIC SERVICE COMMISSION

12

1             MR. GRANIERE:  Right.  The customer has the

2   insurance.

3             MS. CLARK:  Right.

4             MR. GRANIERE:  Okay.  And presumably the customer

5   does something that kicks in the insurance.  How does that

6   impact the utility?

7             MS. CLARK:  Well, to my way of thinking would be what

8   if something happened to the utility's distribution system

9   because of something that happened, maybe it didn't island

10   (global phonetic) or something like that.  And then the

11   insurance is there to cover that damage that the customer has

12   caused to the utility system.  It also covers when that damage

13   occurs to a third party.

14             MR. GRANIERE:  Okay.  Presumably, then, the utilities

15   are self-insured.  So if it were to go the other way, then the

16   claim could go against the utility, is that correct?

17             MS. CLARK:  Yes.  If the utilities are liable for

18   their negligence, there would be a claim against the utilities

19   for that.

20             MR. GRANIERE:  So, basically, the utilities carry

21   self-insurance, and so this is just a symmetry for the other

22   people to have insurance.

23             MS. CLARK:  Bob, I'm not sure if they are

24   self-insured.  I'm not sure how they would cover these kind of

25   things, but they would be liable, and presumably it's fair to

FLORIDA PUBLIC SERVICE COMMISSION

13

1   say that they would be considered a deep pocket, the one to go

2   after.  And by the customers having this insurance, it will

3   hopefully have the advantage of having those claims being able

4   to be paid by those insurance rather than having a lot of

5   incentive to go after the utility as opposed to the real entity

6   that was liable.

7             MR. GRANIERE:  And then this indemnification

8   language, if I understand it right, that takes care of a third

9   party going after the utility if it was the generator's

10   problem, and vice versa, it prevents a third party from going

11   against the generator if it was the utility problem.  Is that

12   basically what we have got there?

13             MR. KEYES:  That's correct.  I believe that

14   Ms. Clark's point is that that doesn't help the utility if the

15   customer doesn't have insurance to cover the damages.  And my

16   point is that there hasn't been a case.

17             MR. GRANIERE:  You know insurance -- I mean, this is,

18   you know, insurance is like insurance.  There is actually some

19   people out there in the world who never have a car accident,

20   but they have insurance all the time.  So, you know, I don't

21   think that's a reason for not having insurance, but I am just

22   trying to figure out what it actually does and, you know,

23   because as far as insurance is concerned, I think that most

24   insurance arrangements to avoid adverse selection require a

25   whole lot of symmetry to make sure that all of the parties

FLORIDA PUBLIC SERVICE COMMISSION

14

1   aren't gaming the system, and that's what I'm just talking

2   about.

3             MR. KEYES:  It is unlike car insurance, and there are

4   lots of car accidents.  I mean, I don't have asteroid insurance

5   in case one hits my home, because while it has happened

6   probably sometime, it is very, very, very unlikely.  Well, it

7   is about unlikely as a PV system causing damage to my neighbor.

8             MR. GRANIERE:  Taking the chance of jinxing myself, I

9   haven't had a car accident in 25 years, but I pay that every

10   year, far too much, of course, but I pay that every year.  So

11   that's just the way it is.

12             MS. CLARK:  I'm not sure that I was answering a

13   question when I made my point about the fact that we think that

14   Tier 1 customers shouldn't -- you shouldn't just make the

15   recommendations, you should also have it as a requirement in

16   the rule that they carry that, liability insurance.

17             MR. HANSEN:  I don't know where I read this, but it

18   was a government document stating that solar photovoltaic

19   systems were very, very safe and they have never had an

20   accident which would require some kind of a lawsuit.  That's in

21   government documents, if you look it up on the Internet, but I

22   don't have it in hand right now.  And I agree with the

23   gentleman down there, that having insurance for the sake of

24   having insurance is ridiculous.  Like he said, a meteor could

25   hit you on the head, but I don't know if I would buy insurance

FLORIDA PUBLIC SERVICE COMMISSION

15

1   for that.  Thank you.

2             MR. JONES:  Dell Jones.  I guess what I would like to

3   know is just, if possible, the utility could just point to a

4   case in a worst-case scenario from an actual occurrence that

5   actually happened to justify some of these insurance

6   requirements.  Because as we have heard already that, you know,

7   there is no known cases.  I have a hard time understanding

8   from -- especially the small systems, I mean, 10, 20 kilowatts.

9   I mean, if I try to imagine the worst-case scenario, I can't

10   imagine how I could cause harm to a neighbor or the

11   distribution system with that small of a load.  Like I say, it

12   just doesn't follow logic with -- I mean, just show some

13   support of the fact that insurance is needed based on some

14   actuarial information where occurrences have happened, and then

15   we can take up the issue.  But just to have insurance for

16   something that could, maybe, possibly, sort of, might happen

17   doesn't really make a lot of sense to me.

18             MR. FUTRELL:  Would you like to respond?

19             MS. CLARK:  You know, I guess I go back to the notion

20   that I was reading in a case or something where electricity and

21   the generation of electricity is an inherently dangerous

22   business to be in.  It seems to me that one of the issues we

23   have talked about is the need to make sure these things get

24   islanded so there is no feedback.  I can't tell you the things

25   that may, in fact, occur.  But it seems to me that the amounts

FLORIDA PUBLIC SERVICE COMMISSION

16

1   of insurance that you are looking at are things that

2   residential customers and businesses should be carrying anyway.

3   And for that reason, I don't see it as onerous, and it does

4   protect not just the utility and the customers, but third

5   parties who likewise may be injured by whatever accident may

6   occur, or negligence.

7             MR. FUTRELL:  Mike, I would like to ask you a

8   question.  You referenced 250 kW as kind of a break point, what

9   levels of insurance would be, if any, in your mind.

10             MS. SHEEHAN:  Well, before I answer that question,

11   let me step back and say within the question of insurance and

12   doing damage, the IEEE 1547 requirement is for 30 kW and

13   smaller to have the anti-islanding.  And the question of

14   insurance is if the inverter doesn't work, the inverter

15   manufacturer is on the hook.  I mean, the customer is not going

16   to be on the hook.  They will be sued, but they will go right

17   to the inverter manufacturer who didn't perform, and then the

18   UL process kicks in.

19             So I think there is a whole question of how that

20   insurance and the revenue is going to be captured and how it is

21   going to be paid back.  So I think to assume that the customer

22   is going to be paying all of that back is probably a notion

23   that sounds good, but in reality the inverter manufacturer has

24   to be the one that stands behind that, and the UL process and

25   all the testing and all the requirements that went into

FLORIDA PUBLIC SERVICE COMMISSION

17

1   determining what was safe and what was not safe.  So that is

2   the first statement of where that fits in.

3             And I think the number I remember was a million

4   dollars in New Mexico.  I think that was -- for the 250 kW

5   system that was the number that they used.  And, again, that

6   250 kW in New Mexico was the number.  Below that you are

7   talking about a system that is not -- I mean, it is very

8   unlikely for any kind of system to be feeding back and causing

9   problems with the utility system.

10             Remember, the utility system is a very robust system.

11   And to assume that a PV system can go back and hurt the utility

12   or impact the utility -- and I agree with the comment that

13   third party is an issue, but there is a complicated issue when

14   you come back to inverter-based technologies that have been UL

15   approved.  And, again, 30,000 of them out there in space.  We

16   are not talking about accidents that happen every day.  We're

17   talking about accidents that have never happened.  So what are

18   we trying to insure for, what are we paying for and what is the

19   customer getting for the benefit?  And I think, you know, the

20   risk aversion part of the utility, I understand the basis for

21   that, and I appreciate what they are trying to get at, but I

22   think the question has to be where is it prudent to be making

23   those decisions?  And I think that is where you step back and

24   say 30,000 systems in the U.S., there is a lot of places where

25   this is not required, at what break point do you make it,

FLORIDA PUBLIC SERVICE COMMISSION

18

1   30 kW, 250?  I think there are a lot of different numbers you

2   can choose and they may be arbitrary at times, but you may want

3   to go back and revisit this as you get more and more

4   comfortable with that line or where that demarcation can take

5   place.

6             MR. REEDY:  A technical contribution to the

7   discussion is that one of the challenges with the islanding

8   protections and testing of that is that it is almost impossible

9   to create a scenario in the laboratory where a system will

10   island.  I mean, you can do it in the laboratory, obviously,

11   but if you start applying any of the real world to it, it

12   becomes a challenge to even test the capability of it.  San

13   Deao Labs (phonetic) has done most of the work in this area,

14   and it's just almost inconceivable in the real world for a

15   small system to create an island that gets beyond the building

16   that it's in.

17             MR. TRAPP:  I'm just curious.  I thought of a crazy

18   hypothetical out here.  We seemed to be focusing on islanding

19   problems and things of that nature, but it seems to me we get

20   complaints all the time about somebody picking an avocado out

21   of their in neighbor's yard and getting fouled up with the

22   electric lines and winding up suing the electric utility.  If

23   you are commingling electrons on that power line from a

24   customer source or the utility source, doesn't that make you a

25   party to that lawsuit?

FLORIDA PUBLIC SERVICE COMMISSION

19

1             MR. REEDY:  It's an interesting question, but I think

2   if you say yes, and so pro rata, the eastern interconnection is

3   one party and you are the other.  The eastern interconnection

4   is some, you know, several hundred thousand -- somebody tell

5   me, it's huge -- gigawatts, and that is one logical way to do

6   it.  Say, yeah, you are one one-millionth of a party to this

7   damage, that might be a rational way to do it.

8             MR. PALECKI:  I gave an avocado seed to my brother

9   ten years ago, and I made sure he planted it in his backyard

10   away from the power lines, and it produces good fruit and it's

11   safe.

12             MR. REEDY:  In Miami it is mangoes.

13             MR. GRANIERE:  I have a question.  Oh, go ahead.

14             MR. TOTH:  Bill Toth.  One thing I don't see in the

15   language for liability insurance, many companies especially

16   some of them that are going to be putting in the larger systems

17   will be able to self-insure for these amounts.  I don't see any

18   provisions in here for allowing self-insurance.

19             MR. FUTRELL:  So that would be self-insurance in --

20             MR. TOTH:  They have asked us to back up that amount.

21             MR. FUTRELL:  Right.

22             MR. TOTH:  I know that is done frequently in the

23   environmental industry.

24             MR. FUTRELL:  Uh-huh.

25             Jason.

FLORIDA PUBLIC SERVICE COMMISSION

20

1             MR. KEYES:  There is language like that in the FERC

2   rules as well, that if the customer can show evidence of

3   ability to self-insure, then the utility won't be unreasonable

4   about allowing them to self-insure.

5             MR. FUTRELL:  Is there some sort of a means test or

6   something they have to show?

7             MS. KIESLING:  Actually, it doesn't go into any great

8   detail.  There is some discussion of it in Order 2006, FERC

9   Order 2006.  So you could prove that through your balance sheet

10   or through evidence of some letter of credit or something.

11             MR. TOTH:  Or assets, things of that nature.

12             MR. FUTRELL:  Right.

13             MR. KEYES:  One other point.  When you asked

14   Mr. Sheehan about the anticipated costs, he responded that in

15   New Mexico they require a million dollars of insurance for

16   systems over 250 kW.  The discussion at that point is what sort

17   of costs could we anticipate?  And the worst scenario that the

18   utilities came up with was that a transformer got blown, a

19   major transformer got blown, and that would be on the order of

20   100,000 or $150,000.

21             And the other scenario is that you have a utility

22   lineman out there who gets hurt because the islanding didn't

23   work.  There are two parts to that one, as Mr. Sheehan pointed

24   out.  The inverter manufacturer is in big trouble then.  But,

25   also, for the lineman to get hurt, the lineman ignored the

FLORIDA PUBLIC SERVICE COMMISSION

21

1   first rules of operating on a line.  You always assume that the

2   line is live, and you ground yourself.  So that was generally

3   accepted as not something that would be the fault of the

4   customer.

5             MR. FUTRELL:  Any comments on the self-insurance,

6   idea of self-insurance?

7             MS. CLARK:  You know, I think it would depend on what

8   is adequate evidence of self-insurance.  I wouldn't imagine

9   that would be a problem as long as the money is there and

10   available for the payment of any claims.

11             MR. FUTRELL:  I would ask if you have got some ideas

12   on language to provide that in your comments.

13             Yann.

14             MR. BRANDT:  Yann Brandt.  I have a general question

15   about -- you know, the example Mr. Hinton pointed out is that,

16   yes, most businesses have general liability.  Are we talking

17   about a general liability policy or are we talking in specific

18   an interconnection liability insurance specifically naming the

19   utility as an additional insured under that policy?  If we're

20   talking about the latter, yeah, every business has general

21   liability insurance for daily business.

22             I'm sure that if you bring to an insurance company I

23   want an interconnection liability insurance, naming the utility

24   as an additionally insured, for an insurance company that

25   really knows nothing about UL standards, IEEE standards, it's

FLORIDA PUBLIC SERVICE COMMISSION

22

1   going to be a bigger problem.  And I'm actually going through

2   this exact example right now where I'm asking for my insurance

3   to name FPL as an additional insured under my interconnection

4   agreement.  I'm going through a series of technical questions.

5   Why do we have to do this?  What can go wrong?  They need to

6   know what the extent of the possibility of the damage is to

7   assess what the increase in cost is going to be before they can

8   just issue that insurance.

9             If we are talking about just a general liability

10   insurance, that's day-to-day stuff that we can get.  But if we

11   are talking specifically to that interconnection, we have to be

12   more specific in, one, the language of the rulemaking, and,

13   two, that the insurance companies are aware of the lack of

14   possibility of damage to the grid and to the utility.  Before

15   we go down that road, we are going to cause a whole backlog of

16   insurance training and education before we are able to get that

17   insurance.

18             MR. HINTON:  In our mind at this point we are just

19   discussing general liability insurance, not a specific policy,

20   although we may be disagreeing up here.

21             MR. BRANDT:  Is that the same thing that the

22   utilities are looking at or are the utilities thinking it's a

23   specific interconnection insurance naming them as an additional

24   insured?

25             MR. TRAPP:  I guess, I was under a different

FLORIDA PUBLIC SERVICE COMMISSION

23

1   understanding than Cayce may be, because I'm relying on the

2   provision of this in our current interconnection and standard

3   rule, Rule 17.087, which is referenced both in our cogeneration

4   rules and in our renewables rules for purchased power contracts

5   between renewables and/or QFs and utilities.  And I thought we

6   were paralleling that here to some degree in that it's pretty

7   specific in that language that this holds the utility harmless,

8   has them specifically listed as an insured under the policy,

9   and it's an interconnection policy.  So I thought that is what

10   we were doing, was basically doing an interconnection general

11   liability policy.

12             MR. HINTON:  Bob, from my perspective --

13             MR. TRAPP:  Am I wrong?

14             MR. HINTON:  Well, I was looking at the original

15   small PV rule and the insurance requirements there that

16   requires $100,000 for these 10K systems.  And it states the

17   homeowner's policy that furnishes at least this level of

18   liability coverage will meet the requirements of insurance.  To

19   me that was going toward the liability policy already attached

20   to a regular homeowner's policy, not specifically designated

21   for an interconnection.  And so I just extrapolated that out to

22   the business general liability, as well.

23             MR. FUTRELL:  We carried forward that I have a

24   general liability policy.  We carried that forward into this

25   rule.

FLORIDA PUBLIC SERVICE COMMISSION

24

1             MR. TRAPP:  I guess I assume, though, that the people

2   that -- because I was not a party to that rulemaking.  The

3   staff that were involved in that rulemaking, I just assumed had

4   researched that a homeowner's policy would meet the

5   requirements of the basic insurance interconnection standard

6   requirement here, and there was a parallel and carryover there.

7   If we're talking about a different type of insurance, I think

8   we need to make that clear.

9             MR. HINTON:  Yeah, from my understanding, it wasn't.

10   From my understanding, it was the $100,000 liability policy

11   that you generally get with your homeowner's policy is what

12   they were talking about here.

13             MR. TRAPP:  To cover what situations, though?

14             MR. HINTON:  Just general and any liability

15   situations.

16             MR. TRAPP:  Anything that happens.  And then are you

17   carrying that concept over into the million and two million

18   dollar policies?  I think that may be the question that the

19   parties are putting before you here.  Are the one and two

20   million dollars the same concept, or just general liability for

21   anything that happens?

22             MR. HINTON:  Well, that was --

23             MR. TRAPP:  Or was it more specific to

24   interconnection?

25             MR. HINTON:  Well, we may need to address that.  In

FLORIDA PUBLIC SERVICE COMMISSION

25

1   my mind it was -- I had in my mind the general liability policy

2   that a business would carry.  I spoke with my own homeowner's

3   policy provider, and I also contacted the insurance provider

4   that I used to have a business liability policy with a decade

5   ago or so, and asked them specifically if I had a PV system on

6   my roof is this policy going to cover occurrences that result

7   from me having this PV system.  Both of them said, yes, at this

8   point it's not being excluded from general liability policies.

9   They said that may change, but right now it is not being

10   excluded so it would be covered.

11             I know that the people at the Department of Insurance

12   that we spoke to about this had some concerns that even though

13   it is not specifically excluded, that insurance companies would

14   start to try do exclude after the fact.  You know, a claim

15   comes in, and the insurance company would say, well, no, we

16   never contemplated that.  So they have that concern.  But right

17   now -- I mean, in my mind going forward that this was just a

18   general liability policy.  If we need to change that, we need

19   to change it.

20             MR. TRAPP:  Well, I think that clarifies things well.

21   And if that's our starting point, that's our starting point.

22   And if that is what staff is intending, if we were at agenda

23   today, if that was the explanation for this rule language,

24   that's is what you all need to comment against.  Because,

25   again, I thought we had adopted some looser language, but still

FLORIDA PUBLIC SERVICE COMMISSION

26

1   captured the intent of this rule.  And you're saying that's

2   different, and I think everybody needs to know that.

3             MR. FUTRELL:  Any other comments on insurance before

4   we move to the next section?

5             Okay.  First, Section 6 is the section on manual

6   disconnect switch, and we have combined language from different

7   sections into one.

8             MS. CLARK:  I'm sorry, Mark, I was sort of distracted

9   by you talking about insurance.  We did have a question on

10   5.B.1, not necessarily related to the insurance issue.  Oh, I'm

11   sorry.  What are --

12             MR. FUTRELL:  5.B.1?

13             MS. CLARK:  B.1.  Let me see.

14             MR. FUTRELL:  We're not there anymore.

15             MS. CLARK:  The old 5.B.1.  I'm on Page 5, Lines

16   22 and 23.  Are we beyond that or not?

17             MR. HINTON:  That's the new Section 6, we are about

18   to discuss it.

19             MR. FUTRELL:  Manual disconnect switch.

20             MS. CLARK:  Then I am not too late.  I will wait

21   until you finish talking about that, and I'll jump in.  Thank

22   you.

23             MR. FUTRELL:  Again, we have combined language on the

24   disconnect switch.  Lee Colson with our staff has put together

25   a line diagram to try to capture our understanding exactly

FLORIDA PUBLIC SERVICE COMMISSION

27

1   where the disconnect switch is.  We have gotten some mixed

2   signals from different sources.  We would like to have a little

3   discussion today about how it's implemented, try to get an

4   understanding of it.  Obviously, from our research and from the

5   previous workshop there was a discussion about the need for the

6   disconnect switch.  It is inconsistent across the states.  Some

7   have good reasons not to require it; some have good reasons to

8   require it.

9             We talked with an engineer at National Renewable Lab,

10   and he understood both sides of it.  He seemed to think it was

11   a good idea, but, again, there are good engineers out there on

12   either side of the issue.  We want to talk about that and also

13   talk about using this diagram as a basis to try to understand

14   exactly where the disconnect is happening, who it's

15   benefitting, understand how it is set up and what parties are

16   benefitting from the inclusion of the disconnect switch.

17             So, Lee, would you mind walking us through your

18   diagram?

19             MR. COLSON:  Yes.

20             Lee Colson, Commission staff.

21             What I did was I put together, as he said, a

22   simplified schematic of a photovoltaic installation.  You can

23   see that we started at the photovoltaic array.  What I

24   understand is that there is a manual optional disconnect for

25   the DC side.  It goes into the inverter.  The inverter is an

FLORIDA PUBLIC SERVICE COMMISSION

28

1   automatic AC disconnect.  And on the -- form the inverter I put

2   in what I labeled -- it's optional, it's may be a meter,

3   because some of the customers were concerned, they wanted to

4   know how much of the PV system that they were using and how

5   much was being supplied to the utility.  So that's an optional

6   meter, a monitor.  And then it goes into the customer panel.

7   The customer panel will distribute it to the customer, or if

8   you have any excess it will go out to a smart meter, which is

9   optional, or to a directional meter owned by the utility.  And

10   that's what we are understanding is happening there.  If you

11   all would have comments, we would gladly appreciate it.

12             MR. TRAPP:  Let me focus this by going to the IOUs

13   first, because I think you all are the ones that want the

14   switch.

15             Do you still want the switch?

16             MS. CLARK:  Yep.

17             MR. TRAPP:  Arkansas and California say, yes, except

18   for systems with inverters complying with IEEE 1547.  And then

19   there are a couple of other states that take that viewpoint to

20   IEEE 1547 pretty well covers it for the manual disconnect.  And

21   then based on the chart that Karen put together, it looks like

22   it's yes or no; yes or no; yes or no; yes or no.

23             MS. CLARK:  Bob, I was kidding you when I said yep.

24   I'm looking at that and trying to digest it.  I'm not an

25   engineer, and I'm hoping one of our folks that's helping us --

FLORIDA PUBLIC SERVICE COMMISSION

29

1             MR. TRAPP:  The first question is if you have got one

2   of those IEEE things that we adopted earlier --

3             MS. CLARK:  Say that again.

4             MR. TRAPP:  If you've got one of those IEEE standard

5   island inverter, utility approved inverter thingies has a

6   switch in it already, do we need a redundant switch?

7             MS. CLARK:  Tom Sanders is going to come up and talk

8   to you about this.

9             MR. SANDERS:  Thank you.  Tom Sanders, Florida Power

10   and Light.  It's my understanding that the visible disconnect

11   switch, where visible is the important word, is what is needed.

12   The inverter may provide the isolation and theoretically

13   provides that isolation automatically, but it is not a visible

14   break that you can see.  And I think that's a problem that our

15   people would have, and the fire department, for example, has,

16   and that is why currently the standard is to have a visible

17   disconnect switch.

18             MR. TRAPP:  Is it your standard or is it the fire

19   department's standard?

20             MR. SANDERS:  I'm not that familiar with the fire

21   department.  It is just my understanding that that would be

22   their need, to see the visible break as our people do, as I

23   understand most people that work with electrical appliances are

24   interested in seeing a visible break.

25             MR. TRAPP:  I understand the concern, but I'm trying

FLORIDA PUBLIC SERVICE COMMISSION

30

1   to get at jurisdiction here.  My understanding is based on

2   copies of the 1547 standard that staff got, it makes reference

3   in there to local building codes, things of that nature, which

4   I assume would cover fire concerns about the PV, you know.

5             Okay.  The utility comes out, they pull the meter, no

6   electricity to the facility, except there is a PV in there

7   doing something.  That's the fire department's problem.  If

8   it's covered by the code, and they have required the switch.

9   So I guess what I am getting down to, why do you need the

10   switch?

11             MR. SANDERS:  Well, our interest there is to

12   disconnect it.  If there is a problem with the PV system, and

13   we have a need to disconnect, then we want to be able to

14   isolate the device and still be able to provide the customer

15   power.

16             MR. TRAPP:  So you are not satisfied taking the meter

17   out?

18             MR. SANDERS:  Well, if we take the meter out, then we

19   don't have to provide power at all.

20             MR. TRAPP:  Right.

21             Your turn.

22             MS. SHEEHAN:  Mike Sheehan, again, with IREC.  I

23   guess I have four -- the best practice is what I would like to

24   start off with.  First off, I think you put your finger on it.

25   The first question is jurisdiction.  Having the utility go on

FLORIDA PUBLIC SERVICE COMMISSION

31

1   the customer's side and require equipment on the customer's

2   side of the meter is problematic from a jurisdictional point of

3   view, because that is National Electric Code, and that's not

4   part of their privy.  Again, the fire department has the

5   requirement to do that on a PV system, and most PV systems have

6   a disconnect on themselves.

7             Second, I think there is a liability question that

8   most utilities have not recognized.  And, basically, if you

9   look at the California utilities because they have gone through

10   it so many times, the liability question is once you put that

11   switch on the other side, the customer's side of the meter, the

12   linemen or the person that puts that lock on, that is a

13   qualified worker.  A qualified worker walking into a customer's

14   facility, and if there is anything not in compliance with code,

15   they are now liable for what is going on within that facility.

16             I think the utilities had better think twice about

17   requiring a qualified worker to walk onto somebody's place, put

18   a lock on there and then say, hey, this is required, because

19   the third question is the precedent.  You set the need to open

20   and close this switch, if something goes wrong and you don't

21   open and close that switch every time, and you have thousands

22   of these on the system, I think you are going to have another

23   precedent where you have to open and close these systems every

24   time you have an outage, and that is something I don't think

25   they want to be doing.

FLORIDA PUBLIC SERVICE COMMISSION

32

1             And the last system is best practices, and it goes

2   back to your comment about who does it and doesn't do it.  You

3   will find out that the utilities that have a lot of these

4   systems figure out, hey, at some point there is a break point

5   we want to have this where we can feed back in the system.

6   Whether that is 100 kW, 200 kW, you want to have a switch

7   there, but you're going to operate that at a lot higher level

8   than at the customer's site like this.  And it is typically not

9   a 10, 20 or 30.  It is way up a lot higher than that.

10             MR. TRAPP:  How high?

11             MS. SHEEHAN:  Again, each state does it differently.

12   I would say 100 kW or 50 kW, in that range is where it

13   typically would take place.

14             MR. TRAPP:  So Tier 2, Tier 3?

15             MS. SHEEHAN:  Again, you do that at the transformer.

16   You wouldn't do it at the customer site.  You might do it at

17   the transformer, just disconnect them at the transformer.

18             MR. TRAPP:  Which takes the whole customer load out.

19             MS. SHEEHAN:  Right.

20             MR. FUTRELL:  Yes, sir.

21             MR. CASTRO:  Orlando Allen Castro (phonetic) with the

22   Orlando Utilities Commission.  Just to clarify.  I mean, I

23   think we also note that -- we should note that we need to be

24   talking also about all renewable generation.  Because we have

25   been focusing a lot on inverter-based technologies, which, of

FLORIDA PUBLIC SERVICE COMMISSION

33

1   course, there are the unlikely events that these inverter-based

2   technologies, as you mentioned before, which would fail to

3   operate and would island.  But we need to look also beyond that

4   and look at the other types of technologies that may require

5   the manual disconnect.

6             On the other side of that, I do agree with you as

7   well with the fact that once you get beyond a meter you are

8   looking at NEC requirements, or guidelines, or codes versus the

9   National Electric Safety Code.  So, you're right, once you go

10   beyond the meter, you need to start looking out whether we are

11   qualified to even work beyond the meter.  So those are just

12   some comments.

13             MR. TOTH:  Bill Toth.  My question would be if you're

14   going to put a system on, it has to meet with the requirements

15   of Section 3.  In Section 3, those various IEEE and UL codes,

16   do those cover the issues that we are talking about in those

17   standards?  Is it already covered?  Are we beating a dead horse

18   here?

19             MR. CASTRO:   Again, I think IEEE does address manual

20   disconnects, visual open breaks.  But, again, as to the details

21   as to what side, I'm not very familiar with that.  But I do

22   remember seeing in IEEE 1547 addressing manual or visual open

23   breaks.

24             MR. TOTH:  I can agree with that.  I don't know if it

25   was a requirement, though.  Do you remember whether it was

FLORIDA PUBLIC SERVICE COMMISSION

34

1   actually required?

2

3             MR. CASTRO:  No, I don't, sorry.

4             MS. SHEEHAN:  It is not required in 1547.

5             MR. JONES:  And on the manual DC disconnect that

6   powers up the inverter, basically, that's a code requirement.

7   So there is the DC disconnect to the inverter that would shut

8   the whole inverter down.  So you have a disconnect that's

9   usually located right at the inverter, and it's an open-air

10   disconnect as, you know, the code requires.  So, you know, to

11   have one on the AC side of the inverter and one on the DC is

12   just redundant.

13             MR. HINTON:  Well, I think the problem at the DC

14   disconnect is that's going to likely be up on the roof, would

15   it not?

16             MR. JONES:  No, they are typically located within

17   arm's length of the inverter.

18             MR. HINTON:  The inverter is down at ground level,

19   not up on the roof?

20             MR. JONES:  Well, they could be, but it's not typical

21   to have it up on the roof.  In a residential system, a large

22   commercial system that inverter could be located up on the roof

23   or it could be located down below.

24             MR. HINTON:  Okay.  Because I think the utility's

25   concern is they want it accessible, so they could walk up to

FLORIDA PUBLIC SERVICE COMMISSION

35

1   the house and flip the switch.

2             MR. JONES:  Well, a surefire way is just pull the

3   meter.

4             MR. HINTON:  And that leads to another question that

5   I had, if I could.  You mentioned the problem with pulling the

6   meter is that you can't provide service to the customer if you

7   pull the meter to disconnect the PV system or the renewable

8   system, is that correct?  I thought you just said that.

9             MR. SANDERS:  Yes.  Just looking at this diagram, if

10   you pull the meter, you have disconnected the customer in

11   addition to the PV system.

12             MR. CASTRO:  With the manual disconnects, all they do

13   is lock out the renewable generation; the customer would still

14   be able to receive electricity from the utility?

15             MR. SANDERS:  Right.  Just as it is shown here in the

16   diagram.

17             MR. FUTRELL:  So your understanding is that diagram

18   accurately captures how you are understanding the systems are

19   being installed, and where these disconnect switches are

20   located?

21             MR. SANDERS:  That's right.

22             MR. FUTRELL:  And it is your understanding it is

23   consistently installed in that manner?

24             MR. SANDERS:  That's right.

25             MS. SHEEHAN:  Going back to my point earlier, I think

FLORIDA PUBLIC SERVICE COMMISSION

36

1   if you step back and ask the liability question, once you have

2   got a utility worker on the other side of the meter, and they

3   are a qualified electrical worker, there is a certain liability

4   that they are going to be taking on.  Then the second part of

5   that equation is if you now operate or require that switch to

6   be operated, and you don't operate that switch, every time

7   there is an outage or every time there is an event, what kind

8   of liability are you setting yourself up for?

9             MR. TRAPP:  Could I ask the question this way?  If we

10   just leave this out of the rule, does that prevent a utility

11   from addressing it in their standard interconnect contract with

12   some kind of case-by-case consideration?

13             MS. SHEEHAN:  I would consider that to be very

14   onerous, because that is a very haphazard way of doing it,

15   because you don't know what your costs are going to be.

16             MR. TRAPP:  Well, I guess what I'm saying is, is this

17   an issue that needs to be completely litigated and all the Ts

18   crossed and the Is dotted in the rule format, or is it

19   something that could go on as an implementation issue in

20   contracts?

21             MS. SHEEHAN:  Well, from the best practices point of

22   view, I think if you look at where the utilities are that have

23   the most PV, I would say New Jersey and California, and in

24   those examples you will find that this disconnect is not

25   required.

FLORIDA PUBLIC SERVICE COMMISSION

37

1             MR. TRAPP:  But how do they address it in the

2   rulemaking?  Do they say in the rule it's not required or do

3   they just omit any mention of it at all?

4             MS. SHEEHAN:  They omit the requirement.

5             MR. TRAPP:  This is what I'm getting to.  If we omit

6   it, if we completely omit it from the rule, it's not a rule

7   requirement, does that prohibit a utility from addressing

8   specific problems they may have with a certain type of

9   installation in their tariff?  For instance, the gentleman -- I

10   missed your name.  But the gentleman mentioned --

11             MR. CASTRO:  Orlando Castro.

12             MR. TRAPP:  Mr. Castro mentioned that this may not be

13   a problem for solar inverter type applications.  But what if it

14   is a problem for a rotating machine application?  Is that

15   something that can be addressed on on that type of case-by-case

16   basis in the standard interconnect tariff as opposed to having

17   to address it in the rulemaking?  That's my question.

18             MS. SHEEHAN:  I would say that that should be a

19   practice if you are going to have a synchronous machine, you

20   would want to have that as a disconnect, you would want to have

21   that there.  But, you know, as a photovoltaic or any kind of

22   asynchronous generator that goes through an inverter-based

23   system, I don't think there is a requirement to have it.  There

24   is no need to have it.  But, you know, the question is going to

25   be if somebody has a Honda generator in the backyard, do they

FLORIDA PUBLIC SERVICE COMMISSION

38

1   have a requirement to have that?  There is no requirement to

2   put one of those on, and yet there are lots of people out there

3   who have Honda generators in their yard.

4             MR. TRAPP:  There were a lot of problems with people

5   plugging those Honda generators into their house circuits, too,

6   and creating all kind of havoc that I think the government was

7   trying to address, too.  I think what I'm hearing you say is if

8   we put a solar exemption in here, you're all right.

9             MS. SHEEHAN:  I would say inverter based.

10             MR. TRAPP:  An inverter exception, similar to the way

11   California and Arkansas have done.

12             MS. SHEEHAN:  Yes.

13             MR. GRANIERE:  I have a question on the -- Bob

14   Graniere -- on the idea that you can't pull the meter because

15   you want to keep giving service, but can you give me an example

16   as to when that would happen?  When would there be a situation

17   where you want to keep giving the house service, but you would

18   want to go out and do the manual disconnect?

19             MR. SANDERS:  Well, in the event that you had a

20   problem on the system or any of the other reasons that is

21   listed that would allow the utility to disconnect the

22   customer's generation and lock that switch in the open

23   position.  So for any reason that's currently in the rule that

24   would give us the right to disconnect the generation, you would

25   want to still be able to, and I think the customer would still

FLORIDA PUBLIC SERVICE COMMISSION

39

1   want to receive service.

2             MR. GRANIERE:  So I would guess that that benefitted

3   you guys, and so why wouldn't you want to pay for that?

4             MR. SANDERS:  Well, it also benefits the customer.

5   You can receive service.

6             MR. GRANIERE:  Well, then, how about sharing the

7   payment?

8             MS. SHEEHAN:  Can I step in the middle of this

9   discussion just as a third party to the discussion?  I think

10   there -- and this is my utility hat speaking, so I'm speaking

11   in terms of using a meter as a disconnect switch is not

12   considered to be proper and safe, because it's not a load break

13   switch.  It's okay to disconnect the meter when there is no

14   load on it, but it is not okay to be doing it while it is under

15   load.  And there is a safety issue with pulling meters under

16   load, and that is kind of the question that's on the table that

17   hasn't been spoken to.

18             And I want to make sure it is clear that using the

19   meter as a switch -- there are states that say less than five

20   kW, they have done testing and all of that kind of stuff, of

21   when they can pull it, but that is for like small wind and

22   small hydro systems.  So I would be concerned about doing that

23   as a disconnect switch in thinking it's safe and it's the

24   customer power.  It's not the customer power issue, it's a

25   safety issue related to the meter.

FLORIDA PUBLIC SERVICE COMMISSION

40

1             MR. SANDERS:  I would like to add to that as someone

2   who actually has pulled meters before earlier in my career.

3   And you can draw quite an arc.  As a matter of fact, it's

4   standard practice when you pull the meter is to grab the meter

5   and yank it out quickly to the side of your head just in case

6   you do draw an arc.  It's not a load break device.

7             MR. REEDY:  On that subject, I have looked at the --

8   Bob Reedy.  I have looked at the reasons listed.  The first two

9   are emergencies.  The first is emergencies.  The second one is

10   a hazardous condition.  I don't think that saying that we are

11   going to keep the customer in service because there is a

12   hazardous condition, but we are going to keep them in service

13   is a particularly rational way to go at it.  And with those two

14   conditions, I would say the proper way to disconnect the house

15   would be to pull the jack and the transformer, which would, in

16   turn, turn off the neighbors.  But we are still talking about a

17   hazardous condition or an emergency.

18             And we are talking about something that, as we have

19   seen before, has never happened in the history of these

20   systems, especially with inverter-based systems.  Then we go on

21   and we say, okay, we are going to exercise this switch if there

22   is a power quality problem.  Now, power quality problems, if

23   you have worked in that area of the utilities, are very

24   mysterious, they take a lot of research and investigation to

25   determine where that harmonic is coming from and what we're

FLORIDA PUBLIC SERVICE COMMISSION

41

1   going to do about it.  And we often find it is something, an

2   insulator that's cracked and causing some noise or something of

3   that nature.  But we certainly don't go start shutting off

4   systems because there's a power quality complaint.  It's a due

5   process.  It's a long and lengthy thing.  So we have time to

6   engage the customer, discuss it.  And, ultimately, if they are

7   found to be the source of it, they can be ordered to turn it

8   off, and there is a process for doing that.

9             Then the fourth one is failure to maintain insurance

10   requirements.  And I find it hard to believe that we are going

11   to not follow some sort of process that involves discussion and

12   lawyers and everything rather than going and shutting off

13   somebody.  Because, I will tell you, if I have a system that is

14   worth a lot of money to me, and it's generating, and you don't

15   agree that I have the right kind of insurance and you shut me

16   off and it costs me a lot of money, I'm going to have something

17   to say about that.

18             So the reason I work through these four conditions is

19   to say if there's an emergency, and if there's a problem that

20   warrants shutting off the PV system, then it warrants shutting

21   off the entire load.  And there's a way to do that now that is

22   safe, and we don't have to even pull the meter.  We can

23   disconnect the transformer.  Because these disconnects have to

24   be, as written here, near the meter for the load.  Sometimes

25   that can involve a lot of money because the system may be

FLORIDA PUBLIC SERVICE COMMISSION

42

1   remote and require a lot of wiring.  So it is not a cavalier

2   thing that we are talking about.  And we look at the other

3   states, look at the experience they have, they found the

4   solution, is you don't need to do that on an inverter-based

5   system.

6             MR. HANSEN:  I have that exact same problem right

7   now.  If you require the disconnect switch to be next to the

8   meter, it's going cost me another $1,000 for my little system

9   because the system is not located close to the meter, and I

10   have to run a separate wire.  Otherwise, I use the existing

11   wire that feeds that area and that feeds that wire.  So it

12   would cost me an extra $1,000 at the meter if the disconnect

13   has to be located near the meter.  Thank you.

14             MR. FUTRELL:  There are several states -- there are

15   some states that require a disconnect switch except for the

16   inverter-based systems compliant with 1547.  Is that something

17   that anyone has particular heartburn about, that concept?  And,

18   again, requiring a disconnect switch except for inverter-based

19   systems that are compliant with 1547.

20             MS. CLARK:  I heard Bob Trapp ask that question about

21   carving out an exception for the inverter-based, and I don't

22   know that the potential installers have -- if that is what

23   would satisfy what they are concerned about.

24             MR. TRAPP:  My understanding was they nodded their

25   heads yes, so I think it's in your court.

FLORIDA PUBLIC SERVICE COMMISSION

43

1             MR. SANDERS:  That still doesn't give us the

2   opportunity to lock the device open if there's a problem.

3             MS. CLARK:  And I do recall in one of the workshops

4   somebody from the utilities talking about an instance where

5   they did want to lock out the system but continue to provide

6   the customer with electricity because there was something wrong

7   with the system, and there was a need to be able to just

8   isolate that portion of the service, but I don't remember the

9   particulars of it.

10             MR. TRAPP:  Well, I'm disturbed a little bit because

11   I'm hearing what I think is an entire industry over here saying

12   that, you know, they think they have demonstrated their case in

13   other states, that they have such a problem-free record that

14   they really don't need this extra expense.  But then I'm

15   hearing my local utilities over here saying in an abundance of

16   caution, because we are going to act like -- is it Missouri

17   that makes you show things?  Show me, show me, show me.

18             So I don't know what to do other than to challenge

19   you again, if you could come up with some examples of

20   horrendous things that have happened because somebody did not

21   have one of these switches.  That would help me a whole lot.

22             MR. FUTRELL:  Okay.  Bob Reedy talked about the

23   conditions --

24             MS. SHEEHAN:  I just wanted to add one more comment,

25   and I just want to make sure it is a clarification.  One of the

FLORIDA PUBLIC SERVICE COMMISSION

44

1   reasons why inverter-based systems are so much more inherently

2   safe is they are injections as current based, as opposed to

3   synchronous generators that generate voltage.  And being a

4   voltage device, I think the synchronous generators require an

5   open disconnect for a safety reason, that's why they can feed

6   back and control the system.  So islanding is a lot more --

7   it's a possibility -- there's a higher probability of islanding

8   with a synchronous generator than there is with an asynchronous

9   generator.  So if you just keep that in mind, the asynchronous

10   generation is inherently only in just current.  It doesn't

11   inject voltage.  That is the reason why inverter-based systems

12   are so much more inherently safer.

13             MR. CASTRO:  But going back to the question of

14   whether leaving it up to the standard, the IEEE 1547, it does

15   state when required by the area EPS operating practices and

16   readily accessible, lockable, visible break isolation device

17   shall be located between the area EPS and the DR unit, which is

18   essentially saying between the utility and the photovoltaic

19   system.  It doesn't mention or doesn't specify exactly where,

20   but it is just saying somewhere along the lines in between.

21   The only problem I see with that is that if you -- here it's

22   vaguely saying that it's up to the utilities.  So if you don't

23   address it in this rule, you are going to have an issue with

24   consistency across the board with different standards.

25             MR. TRAPP:  Would you read that statement again?

FLORIDA PUBLIC SERVICE COMMISSION

45

1             MR. CASTRO:  Under IEEE 1547, 4.1.7, isolation

2   device.  When required by the area EPS operating practices a

3   readily accessible, lockable, visible break isolation device

4   shall be located between the area EPS and the DR unit, DR

5   referring to distributed resources, and the area EPS referring

6   essentially to local utility electric power system.

7             MR. TRAPP:  That is the point of clarification I was

8   looking for.  The authority there is referenced when required

9   by the utility.

10             MR. CASTRO:  When required by the utility, which I'm

11   assuming that means it's up to the utilities under IEEE.

12             MR. TOTH:  Excuse me.  Bill Toth.  And where does it

13   say that it needs to be located between what and what?

14             MR. CASTRO:  Between the area EPS, which is the

15   electric power system, essentially, the local utility power

16   system, which would be under the guidelines of the National

17   Electric Safety Code, which is up to the point of meter, that's

18   the area EPS, and the DR, which is the distributed resources,

19   which is any type of distributed generation or renewable

20   generation.  But it doesn't specify exactly where, whether it

21   would be beyond the meter, after the meter, or before the

22   meter.

23             And, again, it goes into the issue, which I would

24   argue is that the visual break or whatever kind of break it is,

25   so that we are not violating National Electric Code, would have

FLORIDA PUBLIC SERVICE COMMISSION

46

1   to be before the meter.  Whether it's beyond the meter, right

2   after the inverter, you know, you raise a good argument.  You

3   know, you can't sit there -- how can the utility come in and

4   lock it?  I mean, we're not going to -- from my perspective, we

5   wouldn't want to make ourselves subject to those type of

6   liabilities.

7             MR. TRAPP:  And that is part of the conflict I'm

8   having with this whole thing, because my recollection of our

9   rules say that the utilities are to establish a point of

10   delivery, and that's a precise point.  Anything on the

11   customer's side of the point of delivery is inside wiring.

12   Anything on the other side of the point of delivery is

13   utility-owned operations.  And it seems difficult to me to

14   install a switch that effects inside wiring that is a utility

15   piece of equipment.  Although, I do recognize the meter is kind

16   of floating in that equation sometimes, depending on whether

17   you have got an overhead or an underground situation.

18             So it seems to me from a practical sense you want

19   that piece of equipment to be under the National Electric

20   Safety Code, not the National Electric Code.  And at the same

21   time, you don't want it interrupting necessarily the full load

22   of the customer.  So I've got kind of a definitional problem.

23             MS. SHEEHAN:  And if I could add some comment.

24   Basically, in 1547 it's a consensus document.  And so in the

25   consensus process there is a need to recognize that it was

FLORIDA PUBLIC SERVICE COMMISSION

47

1   inverter-based technologies and synchronous generators and

2   asynchronous generators.  And I think the question is how you

3   harmonize all of those.  And the answer here is leaving it up

4   to the local area utility was the way it was harmonized to

5   agree upon -- as you stated, there was a whole bunch of states

6   that are in some cases, some states in another case.  And the

7   point is that with this amount of information, with 30,000 of

8   these things out there, and not having a problem with

9   inverter-based technology, I think that the disconnect switch

10   is going to be a thing of the past.

11             MR. TRAPP:  Uh-huh.  And therein lies part of my

12   problem.  Because we have taken great pains, I think, in this

13   proposed rule to recognize and basically assume as our own the

14   1547 standard.  Yet here I'm hearing an argument that says, no,

15   on this specific issue let's vary from the standard and write

16   something that differs from that consensus viewpoint.

17             My understanding of this proposed rule is it's almost

18   exactly the same language that is in the standard, let the

19   utility decide whether they need a disconnect switch.  But you

20   are saying for PV, no, we don't need one.

21             MR. REEDY:  I would suggest that Orlando's -- excuse

22   me, I should ask for recognition.  The point that Orlando

23   brought out is well met, absolutely with the scenario we

24   propose.  If there is a hazardous condition or an emergency,

25   pull the transformer, go to the house that is offending, pull

FLORIDA PUBLIC SERVICE COMMISSION

48

1   the meter, boot it, lock it, they're disconnected, end of

2   story.  The other customers are fine.  We meet the objective of

3   that, and we meet the requirements of the utility.

4             MR. TRAPP:  And you contend that's in conformance

5   with 1547?

6             MS. SHEEHAN:  Yes.

7             MR. REEDY:  Our expert says yes.

8             MR. HINTON:  I thought 1547 said somewhere between

9   the distributed resource and the electric power system.  That

10   would seem to well into the local electric power system if you

11   are going to the transformer to do the disconnect.

12             MR. REEDY:  Well, the mechanism was to -- because

13   it's not correct to pull the meter on the house under load, it

14   is just a sequence.  You just use the transformer to disconnect

15   that house and all the others that are on that transformer

16   because it's an emergency.  And then we disconnect the -- pull

17   the meter, boot it, and put it back in and lock it, which

18   disconnects that house, and then we re-energize the

19   transformer.  That is the sequence that meets everyone's

20   requirements.  The utilities pull transformers off all the

21   time.

22             MR. FUTRELL:  I just want to go back with Orlando, if

23   you would.  Is that your understanding, that the transformer

24   would meet the requirements of 1547, the scenario Bob has

25   described?

FLORIDA PUBLIC SERVICE COMMISSION

49

1             MR. CASTRO:  In my opinion, I don't think so, just

2   because, like you mentioned, you are going further into the EPS

3   system.  I mean, I agree that under emergency operation that

4   would be something that a utility can do and certainly has

5   exercised before.

6             I guess my understanding, the way I interpret the

7   1547 standard is essentially trying to put those measures so

8   that you are not affecting other customers while operating the

9   system for one particular customer.  And so it goes back to,

10   you know, I guess for lack of better words, you are going to

11   have the other customers suffer for something they don't have

12   in place.  That's just an opinion.

13             I would suggest having it closer to the meter, but,

14   again, would the meter suffice as a visual break.  But

15   considering the fact that you cannot pull that meter under

16   load, that's is where I think they are going with the

17   recommendation of having a visual, lockable, readily accessible

18   disconnect.

19             MR. FUTRELL:  Questions?

20             MR. REEDY:  I have a question, Orlando.  How do you

21   disconnect a nonpaying customer?

22             MR. CASTRO:  In those procedures -- because I'm not

23   very familiar with that.  I don't work in the RPS section or in

24   the metering section of our department, but my understanding is

25   if not under the opening up a transformer, you know -- it's a

FLORIDA PUBLIC SERVICE COMMISSION

50

1   good question.  I don't know.

2             MR. REEDY:  I would suggest you pull the meter.  And

3   the person doing that work would tend to listen to make sure

4   air conditioners are not running and minimize the load and

5   probably knock on the door, that's the courtesy part, and see

6   if anyone is home.  But there is a provision, and it's done

7   every day, hundreds of times a day around the state of Florida,

8   and I think that we're creating quite a convoluted scenario

9   here that says we can't do this under an emergency or hazardous

10   condition, and I don't believe it.  So I think we are covered.

11             MR. HANSEN:  I think I answered my own question.  I

12   was going to say why don't you just throw the main and lock the

13   panel.  My main happens to be outside, and the question -- I

14   guess most of them are probably inside, I don't know, but that

15   is okay.

16             MR. FUTRELL:  Any other comments on the disconnect?

17   Okay.  Comments on the conditions for disconnect.

18             MR. SANDERS:  Excuse me.  Just one other comment on

19   the switch location.  Mr. Trapp had commented about the point

20   of interconnection, and the point of interconnection generally

21   is at the meter.  And in this case where we have the

22   distributed resource connected on the customer side of the

23   meter, we look at that point as a common point where one leg is

24   coming in from the utility to the meter, and another point is

25   to the service to the house, and at the same point the switch

FLORIDA PUBLIC SERVICE COMMISSION

51

1   then goes to the distributed resource.

2             So in this case in the picture, it's on the opposite

3   side of the service box as the meter which, you know, gives

4   benefit to the connection for the customer where he can

5   disconnect the distributed resource and still receive service.

6   And it all kind of meets at a common point, which is why we

7   want the switch as close as possible to that common point.  I

8   know in some existing locations that may not be the case, but

9   going forward it makes sense to do that.

10             MR. TRAPP:  And I believe what you have just

11   described is required in the Chapter 17 rule for

12   interconnection of a location very close to the point of

13   delivery.  But, again, that rule was designed, I think, for

14   very large, I mean, very large interconnections in the tens and

15   20s and 30-megawatt or higher range.

16             I think the question that I'm struggling with here is

17   for these small systems, very small systems down to the

18   residential, Tier 1 in particular.  Do we need that level of,

19   you know, engineering precision?  And then how far into Tier 2

20   and Tier 3 do we have to reach to get to that level of

21   engineering precision?  And I'll be honest with you, I'm

22   struggling with it; I don't know what the answer is.

23             MR. SANDERS:  Well, I do know for a number of people

24   that have installed generators for hurricane emergencies, they

25   have switches that they have put in place so that when power is

FLORIDA PUBLIC SERVICE COMMISSION

52

1   lost, you know, they throw the switch and they take the power

2   from the unit.  So there is that switch there that they use in

3   those cases.

4             MR. TRAPP:  But do you control it?  Do you control

5   that switch?

6             MR. SANDERS:  No, that's a customer-controlled

7   switch, but it is still a switch.

8             MR. TRAPP:  A switch.

9             MR. SANDERS:  A visible switch.

10             MR. TRAPP:  Right.

11             MR. COLSON:  Bob, I have one question for the

12   utility, for the investor-owned utility.  In the diagram that I

13   drew up I put in a smart meter, and the question I would like

14   for you to answer is if the utilities are now installing smart

15   meters, would you still need that disconnect switch?

16             MR. SANDERS:  That smart meter is a utility meter?

17             MR. COLSON:  Yes.

18             MR. SANDERS:  We only have one meter that's a smart

19   meter that can register all the power that needs to be

20   monitored going and coming in the utility's service territory

21   as opposed to going into the customer's service.  So I'm not

22   familiar with having series meters, unless one of them isn't a

23   smart meter and we need one to monitor the power going in and

24   the other to monitor the power going out.

25             MR. COLSON:  It would be just one meter.  I just had

FLORIDA PUBLIC SERVICE COMMISSION

53

1   the smart meter as an option.  If there was no smart meter, you

2   would have a regular meter.

3             MR. SANDERS:  If we had a smart meter, we probably

4   wouldn't need a regular meter.

5             MR. COLSON:  Right.

6             MR. GRANIERE:  I have one question.  Maybe I can get

7   my head around this, because I'm really having a little trouble

8   with this one.

9             I saw two disconnects up there.  There was the DC

10   disconnect and then there was this AC disconnect.  Right?  Now,

11   if you push the DC disconnect button, the solar panels shut

12   off, right?  They just go away.  If you push the AC disconnect

13   button, what happens?

14             MR. REEDY:  The solar panels also go away unless you

15   have a battery storage system.

16             MR. GRANIERE:  So the solar panels go away no matter

17   which button you push?

18             MR. REEDY:  Either one.  You have to have synchronous

19   connection.

20             MR. GRANIERE:  So why do you need two buttons?

21             MS. SHEEHAN:  Because you may want to work on the

22   solar panels and leave everything else in place.  You may want

23   to work on one set of arrays and you want to shut that off.

24   There are different arrangements you can set up.  Schematically

25   just one array, but you may want to set up and work on one set

FLORIDA PUBLIC SERVICE COMMISSION

54

1   of the array.

2             MR. HINTON:  You could also continue charging

3   batteries, too.

4             MR. GRANIERE:  Yeah.  I mean, if you are charging

5   batteries, but homes generally don't charge batteries, one

6   thing.  But that's okay.  If they do; they do.

7             But from what I'm trying to understand is the idea

8   was that if it wasn't an emergency the reason you need this

9   switch is so that the utility can continue to send power into

10   the house, but disconnect the photovoltaic system from doing

11   anything, right?

12             MS. SHEEHAN:  (Indicating yes.)

13             MR. GRANIERE:  Well, if you push the manual DC

14   button, that's exactly what happens.  So why do you need the

15   other button?

16             MR. JONES:  Dell Jones.

17             In addition to that, many inverters have -- here's an

18   idea, an on/off switch.  So right on the face of the inverter

19   you can turn off the inverter as well.  So to go with a DC

20   disconnect and an on/off switch on the inverter and then an AC

21   disconnect -- and a lot of inverters now have little small bus

22   fuses up underneath the inverter, where if you pull the bus

23   fuse out of the bottom of the inverter, the inverter also goes

24   off.  So you have really got four means of shutting this thing

25   off.

FLORIDA PUBLIC SERVICE COMMISSION

55

1             MR. TRAPP:  But what we are really dealing with here

2   is an issue of control.  Who has control over those switches

3   and buttons?  Who's going to put the lock on them?  And that's

4   why I need more clarification from the investor-owned utilities

5   as to why they need this level of control over whatever switch

6   or button we've got.

7             MR. CASTRO:  Orlando Allen Castro.

8             One comment about that.  I mean, you're right.  You

9   have all of those measures in place to turn off the

10   photovoltaic array, but I think what's important is the visual

11   break.  You know, could you use the removable fuse as a visual

12   break?  Possibly.  But I think that's from a utility

13   standpoint.  As you guys may know, I mean, that's what they are

14   looking for, is that visual break.

15             Going back to Bob's comment about, you know, just

16   pulling the meter as a visual break, that certainly suffices,

17   meets the criteria of the visual break.  And I guess it just

18   goes back to how you want to -- you know, the question whether

19   the practices of pulling that meter under, whether it's load or

20   not under load, I guess if you can turn off the main disconnect

21   from outside and then pull the meter, if you didn't want to

22   pull it under load, then you could possibly do that as well.

23   So I think that might answer the question as far as meeting the

24   requirement.

25             But I go back to how you word it in here in the rule,

FLORIDA PUBLIC SERVICE COMMISSION

56

1   because if you don't put anything regarding manual disconnects,

2   and you leave it up to the IEEE, for the utilities to follow

3   the IEEE standard, then I can see -- you know, as we have

4   already seen it where a customer will come in and say, well, we

5   want to do this, this, and this; and we say, well, we are going

6   to require, as an example, we will require this manual

7   disconnect, because we are not required by this rule to do it,

8   but it's up to our discretion under IEEE.

9             And the customer is going to say, well, wait a

10   second, FPL didn't require this or Progress Energy didn't

11   require this.  So what's going to happen is, again, it goes to

12   a matter of consistency.  Somehow you've got to address whether

13   the manual disconnect, whether it's going to be required or

14   not, something should be mentioned in the rule.

15             MR. GRANIERE:  Just a suggestion on that.  If it's

16   truly a matter of control, as Bob suggests, and I kind of agree

17   with him, it would seem to me that when you want control you

18   pay for it.  So you want a meter, pay for it, or whatever it

19   is.  You know, you want the switch, pay for it.

20             MR. KEYES:  One way to address this is to say that --

21   to address FPL's concern about being able to access the visible

22   break is to require that there be a map at the meter and a sign

23   that says there is a photovoltaic system disconnect switch map

24   below.  And, you know, for the gentleman down at the end to

25   say, go behind the house, there's is a big switch, and use the

FLORIDA PUBLIC SERVICE COMMISSION

57

1   DC disconnect.

2             MR. HANSEN:  That's what I want.

3             MS. CLARK:  Mark, we had a question.

4             We had asked about a three-phase system, that the

5   switch be gang operated.  I think maybe we can address that

6   concern as well when we respond to you about the need for the

7   manual switch.  We had tentatively thought of a way to address

8   that, and that would be on Page 5, Line 23, to refer to an open

9   position with a single utility padlock, just somewhere where

10   you see that everything you have to turn off is in one

11   location.  And we thought that may be a way to address that.

12   But we will cover those in our comments on the need for the

13   manual switch.

14             MR. FUTRELL:  Thanks.

15             We're going to take a little break, short break.  We

16   will come at 3:15, and we will finish up the conditions for

17   disconnect and move on.

18             (Recess.)

19             MR. FUTRELL:  Let's take our seats and try to finish

20   this up.

21             MS. CLARK:  Mark, Bob had committed that maybe we

22   could come up with some language over lunch, and when it's your

23   pleasure to do that, I'm prepared to suggest some language.

24             MR. FUTRELL:  Great.  Let's go ahead and do that.

25             MS. CLARK:  This was on Page 4, and it was Lines

FLORIDA PUBLIC SERVICE COMMISSION

58

1   21 through 23.  I guess let's start reading the sentence and

2   pick up on some of the language Bob gave and some that we may

3   be tweaking it just a little bit.  It would read, "The customer

4   shall notify the investor-owned utility at least ten days prior

5   to initially placing the customer equipment and protective

6   apparatus in service.  And the investor-owned utility shall

7   have the right to have personnel present on that date," period.

8             Then to address the previous suggestion we had with

9   respect to annual testing, to insert at the end of that

10   sentence, "Upon reasonable notice and at reasonable times, the

11   utility may, at its own expense, inspect customer equipment and

12   protective apparatus."  That would be an additional sentence to

13   follow the sentence that ends on line -- I'm sorry, Page 4,

14   Line 23.  Did I misspeak before and say Page 5?

15             MR. FUTRELL:  Could you repeat that, please?

16             MS. CLARK:  So the two sentences would read, "The

17   customer shall notify the investor-owned utility at least ten

18   days prior to initially placing the customer equipment and

19   protective apparatus in service, and the investor-owned utility

20   shall have the right to have personnel present on that date,"

21   period.

22             And then the next sentence would be, "Upon reasonable

23   notice and at reasonable times, the utility may, at their own

24   expense, inspect the customer equipment and protective

25   apparatus."

FLORIDA PUBLIC SERVICE COMMISSION

59

1             We had another conversation about the other device

2   that islands, that performs an islanding function or the

3   automatic isolating function.  This would be on Page 3, Lines

4   15 through 18.  Upon looking at it again, we think if on Page

5   16 that comma is taken out, so there is not a comma after

6   Subsection 4.A, and take that comma out and make it clear that

7   what you're talking about is the device performing that

8   function.  That clarifies for us the understanding that not

9   only must the equipment comply with Paragraph A, it must also

10   comply with Paragraph B, that Paragraph B is not meant to be

11   separate in any way.  The two run in tandem.  That was all I

12   had.

13             MR. FUTRELL:  Anybody have any comments on

14   Ms. Clark's proposed language?  If not, let's move on to the

15   disconnect switch, the provisions for conditions for allowing

16   disconnect.  Bob Reedy touched on those earlier.  Does anybody

17   else have any comments on those provisions?

18             MR. HANSEN:  I have a comment.

19             MR. FUTRELL:  Yes, sir, Mr. Hansen.

20             MR. HANSEN:  On Page 5, Line 21 and 22, I would

21   suggest crossing out the "but in close proximity to," all

22   right?  And then on Line 24, right after padlock period, add

23   this sentence:  A map to show the location of the disconnect

24   switch shall be provided at the utility meter location.  The

25   idea of this is that you could have the meter at some remote

FLORIDA PUBLIC SERVICE COMMISSION

60

1   location and then the utility would know exactly where it was.

2   Thank you.

3             MR. FUTRELL:  Any comments on Mr. Hansen's idea?  Any

4   comments on the conditions for disconnect?

5             MR. TRAPP:  If there's no comments on Mr. Hansen's

6   suggestion, do I take that to mean concurrence?

7             MS. CLARK:  I am glad you asked, Mr. Trapp.  What I

8   would like to do is I think we had commented to get back to you

9   on that whole issue of the manual switch and whether it's

10   needed for the inverter, and at that point we would comment on

11   that suggestion as well.

12             MR. TRAPP:  What about the solar folks down here?

13             MR. REEDY:  Bob Reedy.  Where I was headed in my mind

14   was for the smaller systems there was no manual disconnect

15   requirement on inverter-based systems, and then larger tiered,

16   Tier 3 certainly maybe would be.

17             MR. TRAPP:  So, we can expect a proposed carve-out

18   from you in your post-workshops comments, is that --

19             MR. REEDY:  Absolutely.

20             MR. TRAPP:  -- fair?

21             MR. REEDY:  Yes.

22             MR. TRAPP:  Okay.

23             MR. FUTRELL:  Okay.  Cayce had a few questions to

24   close this out.

25             MR. HINTON:  And going towards when the manual

FLORIDA PUBLIC SERVICE COMMISSION

61

1   disconnect switch is actually utilized, I was curious about how

2   the utility notifies the customer that the manual disconnect

3   switch has been opened, and when does the utility generally

4   reconnect that, and should we have provisions in this rule that

5   lay that out with specificity stating that, you know, you need

6   to contact.  Let the customer know that you have opened this

7   switch, and when you plan on reconnecting.

8             MS. CLARK:  Cayce, you would like information on how

9   that is done now?

10             MR. HINTON:  Yes.  That was brought to my attention

11   over the phone this week, that that is, you know, another hole

12   that we haven't necessarily addressed is if this switch is

13   utilized, how does the customer find out that their PV system

14   isn't working anymore.  And when, you know, do you let them

15   know when you are plan on reconnecting.

16             MS. CLARK:  I don't have the answer for that question

17   right here, but we will answer it in post-hearing comments and

18   get back to you, as well.

19             MR. FUTRELL:  Let's move on to Section 7, the new

20   Number 7, the administrative requirements.  Cayce went through

21   several of the changes in his summary earlier, providing a copy

22   of the application on the web site, and also some of the notice

23   requirements, provisions that are in there for going back and

24   forth between the applicant and the utility.  Any comments or

25   concerns on the way we have changed Section 7?

FLORIDA PUBLIC SERVICE COMMISSION

62

1             MS. CLARK:  Let me start out with one question.  We

2   had suggested that the customer begin parallel operations

3   within 180 days after they execute the agreement.  Our concern

4   there was not having an end time when parallel operations must

5   begin results in a stale application.  The circumstances and

6   conditions on the grid may have changed or the distribution

7   system may have changed making that parallel operation maybe

8   something that should be looked at again.  We still think that

9   should be in the rule and are curious as to what your thoughts

10   were in not including that suggestion.

11             MR. FUTRELL:  Part of our thinking was that it just

12   seemed like there was a lot of moving pieces into getting a

13   system like this up and running that the customer has to deal

14   with, and it may not be feasible to meet that deadline.

15   Hopefully, they will be able to, but there are a lot of other

16   things happening.  There's local code review.  There is getting

17   the system installed, the various contractors they have to

18   juggle.  There may be instances where that 180 may not be met.

19   And it just seemed onerous to us to put that on the customer.

20             Bill.

21             MR. TOTH:  Yes.  Bill Toth.  The other thing is many

22   of these systems are guaranteed for, at least the ones that we

23   deal with, for 20 years.  If the system is on, and if it's

24   going to change in 180 days, am I going to have to change in

25   180 days?  Am I going to have to revamp my entire system after

FLORIDA PUBLIC SERVICE COMMISSION

63

1   I have already put it up?

2             MS. CLARK:  I don't think that's what we are

3   suggesting.  We're suggesting that within 180 days of the

4   application being made that the system be up and running.  In

5   other words, you can't wait three or four years from the time

6   you've made your application and it has been executed by the

7   utility to actually bring your system up and running.  We

8   weren't talking about when it was already running.

9             MR. TOTH:  Bill Toth again.  I understand that, but

10   the principle is still the same.  I mean, if it is stale in 180

11   days, that means my system is no longer compatible.  I don't

12   see why the 180-day requirement is there, because there are

13   many things that can affect when that system is -- you know,

14   labor shortages, material shortages.  We have those pesky

15   little things called hurricanes that can, you know, affect

16   contracting and the ability to put that up there.  I think that

17   180-day time frame is not really reasonable, considering the

18   fact that once I have gotten my system on there it's going to

19   be operating under those conditions for 20 years or more.

20             MS. CLARK:  Let me be a little more specific, then.

21   I think we had in mind a situation where you have somebody come

22   in and say they are going to put on a 100 kW system, you know,

23   maybe on one of these stores.  You're in an area where there

24   are a number of stores that could do the same thing.

25   Currently, if you put one or two on there, you could

FLORIDA PUBLIC SERVICE COMMISSION

64

1   accommodate it.  And if those are up and running, then the

2   third one you might have to do something different.

3             What happens if you have an outstanding application,

4   you have the other ones applied for and running, and you need

5   to do something in order to be able to put that third system

6   on.  There ought to be a time frame within which you know what

7   your system is -- it looks like, and you are not concerned that

8   there is another application out there that has been executed

9   and may come on-line at some future time.  It's just giving

10   certainty to planning as to when a particular customer system

11   may come on-line.

12             MR. TRAPP:  What if instead of such an absolute

13   cutoff, I mean, what if you were to start the sentence with

14   normally 180 days and then describe what happens next.  We can

15   revisit, the utility may revisit, or the utility may express

16   concerns or may -- the utility may evaluate change case, or a

17   door opener, in other words, as opposed to a door closed.

18             MS. CLARK:  I think that's --

19             MR. TRAPP:  For your consideration.

20             MS. CLARK:  I think that's one thing that we could

21   think about, how to address the concern about a stale

22   application that may affect -- because the system has changed,

23   if they, in fact, put it in, you might run into problems.

24             MR. HINTON:  Something along the lines of normally

25   systems must be up and running within 180 days of a completed

FLORIDA PUBLIC SERVICE COMMISSION

65

1   application.  After 180 days the utility has the right to

2   request an updated application, something along those lines.

3             MS. SHEEHAN:  Mike Sheehan from IREC.  I guess the

4   question I have is the application is one thing, but I think

5   the signed contract is really where the time clock needs to

6   start, not at the point of the application.  And, clearly,

7   contracts sort of mean things to people, and so at that point

8   that is something that I think should be -- and whether 180

9   days is reasonable is, and with material the way it is today, I

10   would think that is pretty unreasonable.  But some time frame

11   may be worthwhile at least considering.

12             MS. CLARK:  This is Susan Clark.  We had referenced

13   it with when the contract is executed by -- when the agreement

14   is executed by the utility.  So it would be at the time of

15   contract, not application.

16             MR. HINTON:  Yes.  I misspoke in what I said.

17             You mentioned some time frame may be appropriate, but

18   180 days might not be it.  Do you have an alternative

19   suggestion?

20             MS. SHEEHAN:  I'll look into it.

21             MR. GRANIERE:  Does this 180 days, or whatever the

22   time frame, have something to do with the service drop

23   capacities or something like that, something about -- if I

24   understood the example, there were three people there who

25   wanted to put 100 kW on their roof, and they all presumably use

FLORIDA PUBLIC SERVICE COMMISSION

66

1   the same facilities or some facilities that were common.  And I

2   think the example was if the first two come on, like when the

3   first two come on, everything is okay, but if the third one

4   were to come on, something would happen back farther that would

5   require some upgrades or something, is that the idea?

6             MS. CLARK:  I guess I'm just -- I think that those

7   applications would be done with reference to the system as it

8   is currently configured.  And if you wait awhile, has that

9   configuration of the system changed or have there been other

10   customer-located systems that have come on that would affect --

11   maybe bringing another one on would affect the quality of the

12   service in there.

13             Bob, don't take that to mean this is true.  I mean,

14   this is definitely what would happen.  It's more an example of

15   why you would be concerned that you don't have an extremely

16   stale agreement out there that had you been looking at it at

17   the time they intend to start parallel operations, you would

18   have required something else for the safety of the operation of

19   the system.

20             MR. GRANIERE:  Yeah, that's what I was trying to get

21   to.  Once again, Bob Graniere.  Because I was going back to

22   that part of the rule that says 90 percent of the service thing

23   which gets you to their meter, I think.  And so, if it is

24   always just 90 percent of that, right -- well, that pushes back

25   a certain distance.  But from what I'm thinking you're saying,

FLORIDA PUBLIC SERVICE COMMISSION

67

1   it's somewhere even deeper in there that will require something

2   to change if there is too many of these things on-line.  Is

3   that the general idea of what might happen?

4             MS. CLARK:  I think that is the possibility.

5             MR. GRANIERE:  So that's what you're trying to get

6   to?

7             MS. CLARK:  Yes, that's an example.

8             MR. GRANIERE:  So that is what we are trying to get

9   to.  Okay.  Thank you.

10             MS. SHEEHAN:  Mike Sheehan from IREC again.  I guess

11   that is a queuing question that almost fits into the FERC

12   requirements of when people get on-line and what the sequence

13   of events are, and on one feeder if they reach a certain level.

14   So there is a whole queuing question that leads you down a path

15   of keeping track of what's in the queue.

16             MR. TOTH:  Bill Toth.  What if all three of those

17   systems actually come in at the same time or within a week or

18   two of each other?  The first two systems are going to have one

19   requirement, and then in order to fulfill the agreement or

20   complete the agreement for the third one, those changes are

21   going to have to be anticipated prior to that agreement being

22   made or the first two can't come on-line.  I mean, that has to

23   be anticipated or in that third agreement.  Because what if all

24   three of them come on within 180 days, as they are going to,

25   you know, as they are made, and the first two change the

FLORIDA PUBLIC SERVICE COMMISSION

68

1   circumstances for the third one?

2             MS. CLARK:  I think --

3             MR. TOTH:  It would already have -- my point here is

4   that situation or that requirement would have already been

5   dealt with.  Am I missing something here?

6             MS. CLARK:  I think the idea is how long do you have

7   to anticipate, sort of, the one system for which you have a

8   contract out there still has to be accounted for in some way in

9   your planning.  I mean, if they haven't come on-line in three

10   years, is it reasonable to assume that they are not going to

11   come on-line?  It just seems that there should be some end date

12   beyond which the utility doesn't have to plan for that being

13   part of the load or part of the configuration of the system.

14             MR. TOTH:  Bill Toth again.  I would agree that three

15   years is unreasonable on the other end of the scope, but I

16   believe 180 days is also unreasonable.  There has to be some

17   middle ground that we can reach with that.  With construction

18   being what it is down here, or at least down in the Bonita,

19   Fort Myers, Naples area, that 180 days could be a difficult

20   burden to meet.

21             MR. FUTRELL:  Bill, what would be a reasonable number

22   of days that you would consider acceptable?

23             MR. TOTH:  Off the top of my head, that would be

24   difficult.  We will work on that.  I know 180 days -- for

25   instance, okay, several years ago if you wanted to build a

FLORIDA PUBLIC SERVICE COMMISSION

69

1   house, you bought preconstruction and they told you they were

2   going to build your house in a year.  Well, a year came around,

3   then they were saying, well, no, it is going to be 18 months.

4   It's not that way now, but it was that way several years ago.

5   So it's hard to put an exact number on that type of thing.

6             MS. CLARK:  We would agree it needs to be a

7   reasonable time frame.

8             MR. TRAPP:  I, for one, hope we have these congestion

9   problems, and I look forward to the next rulemaking where we

10   address allocating system resources and things of that nature.

11   I would encourage the parties, for the purposes of this

12   rulemaking, to put something out there that we can deal with in

13   the next few days.

14             MR. FUTRELL:  Jason.

15             MR. KEYES:  Personally, I think that a year is plenty

16   of time.  I agree, a half a year is kind of short.  And I don't

17   know what we are going to find by going back and reviewing it

18   in any great detail, but a year seems like enough time to me.

19             And I believe that Mr. Toth's situation about the

20   third system coming on-line in the same line section was

21   addressed by Ms. Clark.  I think she has got it just right,

22   that the screen actually in FERC and in the IREC screens is

23   15 percent of line section peak load.  So a line section is

24   often -- peak load will be somewhere around 10 megawatts.  And

25   so if you get up to a megawatt and a half of systems on the

FLORIDA PUBLIC SERVICE COMMISSION

70

1   same line section, then you ought to look at that next one.

2             So if there was half a megawatt, a half megawatt and

3   then another a little more than half a megawatt, that that

4   third one, even though they came in -- you know, it was Monday,

5   Tuesday, Wednesday, the guy that came in Wednesday is out of

6   luck, and he will have to pay to upgrade the system or at least

7   to have the study.  And so I think it's a reasonable suggestion

8   to say, well, if number one drops out, and you don't need to

9   have the extra protection for that third customer, you should

10   not make the third customer go through all of that.  And so at

11   some point somebody ought to drop out of the queue.  And I

12   think a year is plenty, or is reasonable.

13             MR. TOTH:  Bill Toth.  If I had to pull a number off

14   the top of my head, I was going to say a year, also.  I think

15   that's reasonable.

16             MR. TRAPP:  We have got two one years.  How about it,

17   Susan?

18             MS. CLARK:  We'll certainly address that in our

19   post-hearing workshop comments.  I do understand the concern

20   with the ability to build and be on line in that deadline.  And

21   I think the utilities, you know, have the same idea that you

22   need to make it match what is likely to be out there and what

23   is the time period after which it becomes stale that you do

24   want to relook at it.

25             MR. FUTRELL:  Okay.  If there is nothing else on

FLORIDA PUBLIC SERVICE COMMISSION

71

1   Section 7, the requirements --

2             Do you have something?

3             MS. CLARK:  No, I think this is just a clarification.

4   And this is on the rescheduling of the inspection.  We don't

5   understand that ability to reschedule to allow that 30-day

6   period to be shortened.  It has reference to when you can't

7   schedule it in the 30 days, and you want it sometime after

8   that.  In other words, you couldn't have the customer request

9   it be rescheduled and you wind up having to meet a 20-day

10   deadline to do that inspection.

11             MR. TOTH:  What section is that?

12             MS. CLARK:  I'm on 7.D, and this would be Page 7,

13   Lines 13 through 17, particularly the last sentence where it

14   says the investor-owned utility shall reschedule the inspection

15   within 10 business days of the customer request.  In other

16   words, on Day 10, suppose they have set a time for the

17   inspection on the 28th day.  The customer can't come in on the

18   10th day and say, you know, I want it rescheduled and get it

19   rescheduled to within -- on the 20th day.

20             MR. HINTON:  I think the intent of this is

21   inspections have to be completed within 30 days.

22             MS. CLARK:  Right.

23             MR. HINTON:  Now, the customer may run into a problem

24   getting their local code officials out there, and so they will

25   say, well, I need you guys to come out later, because I'm still

FLORIDA PUBLIC SERVICE COMMISSION

72

1   getting these local code guys, and so I will give you a call

2   when that is done.  And then once they give you a call, then

3   within 10 days you need to go ahead and get in there and

4   inspect.

5             MS. CLARK:  Then we are on the same page.

6             MR. HINTON:  Okay.

7             MR. FUTRELL:  If there is nothing else, we will move

8   to net metering.

9             As Karen summarized earlier, we made a couple of

10   changes to recognize the customers continue to pay their

11   customer charge or their applicable demand charge, and also

12   changing at the end of the 12-month period the customer will be

13   paid for any excess energy delivered at the utilities as

14   available energy tariff.  And, also, that also carries forward

15   to when the customer leaves the system, any unused credits are

16   paid at that same rate.

17             Comments on the net metering provisions.

18             Gwen.

19             MS. ROSE:  Gwen Rose with Vote Solar.  If I'm

20   interpreting the met metering rules in general correctly, I

21   think they are actually very good.  And I want to thank you for

22   drafting a sound net metering policy.  I did have a question,

23   hoping for clarification on the metering requirements.

24   Generally, the nice thing about net metering is customers can

25   use the meter they already have, it spins in both directions,

FLORIDA PUBLIC SERVICE COMMISSION

73

1   and then you look at the net.  And I'm not sure if I'm reading

2   this as it requiring a dual register meter or not.  Does it

3   still allow customers to use their bidirectional meter as

4   already installed?

5             MR. TRAPP:  Do you want an opinion?

6             MR. FUTRELL:  I think it does.

7             MR. TRAPP:  My opinion is yes.  However, I think the

8   state is under certain federal and state, if not mandates,

9   encouragements, to move toward smart metering.  And I think

10   some of our larger investor-owned utilities have taken steps

11   toward that end.  My belief, quite frankly, is the old

12   mechanical kilowatt hour meter, if not currently demising, is

13   going to be demised pretty soon.  But I don't think this rule

14   is requiring that there will be automatic replacement of those

15   kilowatt hour meters.  I think this rule only acknowledges the

16   fact that the world is moving toward smart meters.  That's all

17   that was intended, and that those costs should be borne by the

18   utility.

19             MS. ROSE:  Right, as part of a general migration, all

20   customers would --

21             MR. FUTRELL:  Dell.

22             MR. JONES:  Dell Jones.  Actually, to that point, a

23   single five-dial meter that spins forward and backwards, I

24   don't know that it would really meet this requirement, capable

25   of measuring the difference between electricity supplied to the

FLORIDA PUBLIC SERVICE COMMISSION

74

1   customer from the electric utility and the electricity

2   generated by the customer.  Because a standard five-dial meter

3   that spins forward and backward, at the point in time that you

4   read the meter, it will actually read the net difference, but

5   not a cumulative total of the amount of electricity generated

6   from the renewable device.  Because you would have to look at

7   net, how much went out and net how much came back at all points

8   in time, as opposed to some end-of-the month reading.

9             MR. TRAPP:  I stand corrected.  This rule requires

10   net metering -- I mean, requires smart metering.

11             MR. JONES:  Right.  And that's what I am saying.  To

12   Gwen's point, then that would either be a dual registering

13   meter or two separate meters.  One meter as shown in this

14   diagram that could actually measure the amount of energy being

15   produced by the solar system and read in this diagram as meter

16   sensor optional to smart meter.  And that would calculate the

17   total amount of renewable energy generated.  And then, again,

18   you've got the other meter all the way over to the right-hand

19   side of the diagram that is not going to really capture just

20   the net that went to the customer, because some is going to go,

21   again, back into the grid.

22             MR. TRAPP:  I stand corrected again.  This may

23   require two of those meters.  I guess the point is the utility

24   is going to pay for them, and pay for that metering, and the

25   billing is going to be as if they had a single old register

FLORIDA PUBLIC SERVICE COMMISSION

75

1   kilowatt hour meter.

2             MR. HINTON:  It states that the meter has to measure

3   the difference between the two.  Wouldn't a single meter that

4   is spinning forward and backwards still end up measuring the

5   difference between the two, the net?

6             MR. JONES:  Well, the way I read this is that it is

7   the -- well, if it's the -- and delivered to the electric grid.

8   So let's say one -- today I might put two -- my air conditioner

9   is not working, it's a nice cool day, I might put two kilowatt

10   hours back on the grid.  But tomorrow if it is really warm, I

11   might pull all of that back again.  So, maybe it's semantics,

12   but it is really whether it is a cumulative total that went

13   back on the grid and a cumulative total that came to the

14   customer's house.

15             MR. HINTON:  Yeah.  I think this could be read both

16   directions.  I read this and I see the key being the word

17   difference, meaning it's going to be net.

18             MR. JONES:  Well, that would be a calculation between

19   reading -- you know, that's not really embedded within the

20   meter.  That's a calculation that you would make after you make

21   two meter readings.

22             MR. HINTON:  If you had dual metering capability.

23   But if it's spinning, you have a spinning meter, it spins

24   forwards and backwards, what you end up with is the difference

25   between the two.

FLORIDA PUBLIC SERVICE COMMISSION

76

1             MR. JONES:  Right.  And I'm just pointing out that it

2   seems subject to interpretation here.

3             MS. SHEEHAN:  Mike Sheehan from IREC.  Jumping a

4   little bit ahead, if you go to Line 24 on Page Number 9, it

5   says one of the requirements is that total kilowatt hour

6   customer-owned renewable generation delivered to the electric

7   utility.  That would sort of imply that that has a separate

8   meter on the PV system or on the renewable system.  So I think

9   there is a little bit of clarification that needs to go into

10   how many meters there are and where the meter locations are.

11             MR. HINTON:  Yeah.  Taking into account the reporting

12   requirements, I agree with Bob now.  This does require smart

13   metering.

14             MR. TRAPP:  Smart metering, whether it's a smart

15   meter or a calculation from old meters, I guess what I thought

16   we were doing here was requiring the utilities to account for

17   what generation was being produced by a renewable so we knew.

18   Because I think it is important for us to know, but not to let

19   that be a burden with respect to the net metered customer;

20   hence the requirement for the payment by the utilities for the

21   metering arrangement.  I think the intent is, again, from a

22   billing standpoint just to allow the customer to offset at

23   retail his generation against his consumption.  We view that as

24   an extended means of conservation.

25             The problem comes in when you get beyond the meter

FLORIDA PUBLIC SERVICE COMMISSION

77

1   and get on the grid, and then we have made other changes,

2   proposed changes to price that are more akin to the way we do

3   other cogeneration that enters the grid.  But with respect to

4   the metering, I think my intent was to know what was generated

5   and what was consumed, so that we could track the progress of

6   the program, and that that metering and tracking be accounted

7   for by and paid for by the utilities and general body of

8   ratepayers.

9             MR. FUTRELL:  Karen.

10             MS. WEBB:  Forgive me if I'm wrong, but it was my

11   understanding from prior workshops and from talking with

12   internal staff that there was some disagreement as to what type

13   of meter would be required, so the wording was generic on

14   purpose to put the onus on the utility to find the way to do

15   this.  If it is your existing equipment, that's fine; if you

16   need something further, then see to that.

17             MR. TRAPP:  That's fair.

18             MR. JONES:  I was going to say, within most smaller

19   and certainly larger inverters there is a calculation of the

20   total energy that has been produced by the photovoltaic system

21   embedded typically within the inverter.  And again you have

22   also got the standard old five-dial meter that can come right

23   off of the inverter itself.  And I believe that if we have a

24   robust REC market, anybody that wants to participate in that

25   REC market, you are going to account for how much total energy

FLORIDA PUBLIC SERVICE COMMISSION

78

1   was produced and when and from what service address.  And one

2   of the things that I also see, if it's a reporting requirement

3   that the PSC has that requires the utilities to come up with

4   how much total renewable energy was generated through renewable

5   energy resources, and it's only the IOUs that have to do this

6   and not the municipal utilities, then you are really not

7   capturing all of the renewable energy that was produced within

8   the state of Florida.

9             MR. FUTRELL:  I want to just interrupt you.  The

10   reporting requirements apply to all utilities.

11             MR. JONES:  Okay.

12             MR. FUTRELL:  We have made that clarification.

13             MR. JONES:  All right.  But I was going to say, I

14   think that a REC market -- I mean, if it's just a simple

15   five-dial meter that comes off of a system, those metering

16   costs aren't really that onerous, and then a lot of inverters

17   also have that in there.  The question might be whether that --

18   accuracy and that complies with the, you know, whatever

19   standards are going to be required for that meter to measure

20   the total kilowatt hours received by the interconnected

21   customer from the electric utility.

22             MR. TRAPP:  Are we discussing Section 8 or are we

23   discussing the REC section, because it seems to me your

24   arguments seem to be more directed -- where is that section,

25   Mark?

FLORIDA PUBLIC SERVICE COMMISSION

79

1             MR. FUTRELL:  Section 9, Line 24.

2             MR. TRAPP:  Yeah.  It seems to me a lot of your

3   comments may be directed more toward that section than the one

4   we are on, or is there so much commonality between the two that

5   we need to discuss them together?

6             MR. JONES:  Well, it would be nice, at least from a

7   system integrator's point of view to know whether, you know,

8   there is going to be a requirement for a bidirectional meter

9   that only accounts for how much goes out onto the grid and back

10   again.  And then it seems for a REC person or somebody who

11   wants to account for how much total renewable energy they

12   generated, they are going to have another meter in a different

13   location, as well.  So, I don't really have any comments on

14   what's the better way to do it, but they are hand in glove.

15             MR. TRAPP:  I agree with you, and staff has had a lot

16   of discussion about these two sections, about how to put them

17   together.  You know, quite frankly, right now there is not

18   particularly a REC market in Florida.  There may be.  We have

19   got an RPS workshop process going on, and there is certainly

20   legislation and gubernatorial interest in it.  So Section 9 may

21   be a look ahead type of section.  But I agree with you, it can

22   mesh very easily with Section 8, and the metering requirements,

23   what the utility decides to do in Section 8 can have some

24   influence and affect on your costs in Section 9.

25             MR. KEYES:  I just want to chime in that I had the

FLORIDA PUBLIC SERVICE COMMISSION

80

1   same reading of that, going back to where we were, Section 8(b)

2   that Mr. Hinton had, that if you're just measuring the

3   difference, that you can do that with a single meter.  You

4   know, a bidirectional meter at the end of the month will tell

5   you the difference between generation and load.  Given all of

6   this discussion, I think it would be worthwhile to clarify that

7   and say it measures the difference over the course of the month

8   or something.

9             And then in 9(c) and (d), if you have got -- if you

10   have got a requirement that the utilities will report the kW

11   capacity of the systems, you can say for (c) and (d) that those

12   numbers can be estimated based on available data.  Because

13   you're going to have an awful lot of systems.  I would guess at

14   least half of the systems will have some sort of production

15   meter to measure the generation of the system.  If you've got

16   the measurement of the generation, then for half of the systems

17   out there you can say, well, the other half probably works just

18   about as well as the first half, and so you can get that 9(d),

19   the total generation.  And if you have that, just a

20   mathematical formula, but it is really simple, to get to 9(c)

21   about the total energy that was used by the interconnection

22   customers.

23             MR. ZAMBO:  I have got some comments on Section 8 if

24   you are still on.

25             MR. FUTRELL:  Rich, go ahead.  We're still in this

FLORIDA PUBLIC SERVICE COMMISSION

81

1   section.

2             MR. ZAMBO:  Okay.  Rich Zambo on behalf of the

3   renewable QFs.

4             To be honest with you, this hasn't gelled to the

5   point of it being an issue yet, because I just became aware of

6   it this morning.  So it's more in the nature of a concern.  So

7   I just wanted to share it with you and see what we can do.  I'm

8   on Page 8, Lines 18 through 20, and I'm thinking in terms of a

9   commercial customer who is taking service under a demand rate,

10   a non-time-of-day demand rate.  It says regardless of whether

11   the customer is selling electricity or delivering electricity

12   to the grid, the customer shall continue to pay the customer

13   charge or demand charge.  How do you decide which one he pays?

14   That would be one question.

15             And then another is there are stand-by tariffs out

16   there, and I apologize, I haven't had a chance to research

17   this, because as I said, this issue or concern just came to me

18   this morning.  The utilities typically have stand-by service

19   for self-generating customers that requires you to take service

20   under those tariffs if you generate, I think, 20 percent or

21   more of your electrical needs.

22             So I'm concerned with how that is going to interplay

23   with this rule.  I know the rules are in different sections of

24   the Commission's rules, but I'm not sure that is enough of a

25   delineation.  And so I'm just kind of raising this ahead of

FLORIDA PUBLIC SERVICE COMMISSION

82

1   time, rather than we wait until we get too far down the road

2   and then find out we have got a customer who is maybe paying a

3   customer charge, a demand charge, and a stand-by charge, or

4   none of the above, which would be the preference.

5             I guess customer charge makes sense, but -- and the

6   other issue is if you are a -- our other concern is that if you

7   are a general service customer, who doesn't have access to a

8   time-of-day rate, you can theoretically totally eliminate your

9   on-peak demand and yet have to pay a full demand charge under

10   this wording.  I would just offer that as food for thought,

11   because I think that is ignoring benefits that these net

12   metering customers are bringing to the system and potentially,

13   you know, acting as a disincentive because they may not earn as

14   much money as they think they would if it's only applied

15   against their energy charge.  And that's all I have.

16             MR. TRAPP:  Do you want to respond or do you want me

17   to?  I'll take a whack at it, if you want.

18             Again, my own personal opinion of the rule draft was

19   that with regard -- if I can get them in order, Rich.  Your

20   first point I think was the otherwise applicable demand charge

21   and customer charge.  I think that was intended to -- I think

22   the rules are intended to look at residential, commercial and

23   industrial customers and their imposition on the system and

24   they would be, for the power they use, billed under the

25   applicable retail rate schedule.

FLORIDA PUBLIC SERVICE COMMISSION

83

1             With respect to your question on stand-by -- and I

2   would note, however, that the impact of a generating source on

3   the customer side of the meter may impact your customer

4   classification, may put you in a different customer

5   classification.  So to me maybe some clarification.  The

6   otherwise applicable says to pay the applicable.  Maybe it

7   should say to pay the otherwise applicable, or maybe that

8   doesn't clarify, I don't know.  But I think the intent was to

9   charge you the rate schedule that your resulting demand and

10   energy charges put you into, whatever that may be.

11             With respect to the stand-by charges, I don't think

12   that staff -- at least I didn't contemplate that this rule

13   would charge you stand-by rates, that this rule would waive you

14   from the stand-by rate requirements that are over in the cogen

15   side of things, because this is -- again, the customer side

16   carve-out rule.  And then with respect to the customer who was

17   not a time-of-day meter customer, maybe not getting the full

18   benefit of the coincident peak impact of his generation, I

19   suggest to you that the customer's best interest is to get on

20   the right rate schedule.  And maybe he ought to get on a

21   time-of-day rate schedule.

22             MR. ZAMBO:  Well, that's if there is one for that

23   customer class.  I haven't looked at the tariff books.  I don't

24   know if all customer classes have access to time-of-day rates.

25   But your point is well-taken, Bob, it would behoove the

FLORIDA PUBLIC SERVICE COMMISSION

84

1   customer to take a look at the schedule.  But as far as

2   changing rate classes in the case of a PV system, for example,

3   I mean, by definition they are not going to be generating at

4   night.  So if they are not on a time-of-day schedule, and they

5   don't have batteries, they're going to have -- I'm sorry.  If

6   you are looking at the off-peak periods, they are going to

7   still be setting a demand that they are going to get charged

8   for.

9             MR. TRAPP:  But if this is a residential account,

10   most -- I mean, again, if you believe that solar tracks air

11   conditioning and sun load and everything, it would seem to me

12   their peak demand would be lower with a solar installation than

13   it otherwise would have been.

14             MR. ZAMBO:  Possibly yes.

15             MR. TRAPP:  And the same thing with commercial to the

16   extent that you're -- well, I don't know, Wal-Mart runs its

17   refrigeration at night, but it probably doesn't have as much

18   refrigerating load.  It certainly has the same lighting load.

19   Again, the air conditioner is variable.  Industrial,

20   two-megawatt industrial, that is the one I surely don't have a

21   feel for.

22             MR. ZAMBO:  They would probably be better off going

23   back to a non-demand rate.  You may end up getting people

24   mitigating to different --

25             MR. TRAPP:  Again, if their new load characteristics

FLORIDA PUBLIC SERVICE COMMISSION

85

1   qualify them for a nondemand rate, I would think that that

2   would be the rate they would be put on.  I think that was the

3   staff's intent.  Please correct me if I'm wrong, anybody down

4   there.

5             MR. GRANIERE:  Bob Graniere.  There is a tariff

6   person here.  When do the demand charges generally kick in in

7   Florida?

8             MR. ASHBURN:  Well, for us a demand rate kicks in at

9   50 kW.  I think some of the other ones are at different levels.

10   Some are at 25 or 20.  It just depends.  Each utility has a

11   different spot.

12             MR. GRANIERE:  And that applies to the peak demand?

13             MR. ASHBURN:  Billing demand, yeah, which is monthly

14   billing demand.

15             MR. GRANIERE:  Oh, monthly billing demand.  Okay.  So

16   that would apply to some of Tier 2 and all of Tier 3, then?

17             MR. ASHBURN:  Well, we're talking about load rather

18   than size of the generator, so it's hard to say.

19             MR. GRANIERE:  Okay.  How would that differ, then?

20             MR. ASHBURN:  Well, it depends on how big the load is

21   and how big the generator is.

22             MR. GRANIERE:  Let's say you have a two megawatt

23   system, and just for the sake of argument, there's someone that

24   has a two-megawatt renewable system out there, and it meets all

25   of the requirements, and it's being used primarily for its own

FLORIDA PUBLIC SERVICE COMMISSION

86

1   consumption, okay?  What is the load that we are talking about

2   that would get charged the demand charge?

3             MR. ASHBURN:  The part that comes in from the

4   utility.

5             MR. GRANIERE:  The part that comes in from the

6   utility would be the part.  So if that was under 50 kW, there

7   wouldn't be one?

8             MR. ASHBURN:  Right.  Now, what we typically do is

9   look over a period of time, Bob.  I mean, you know, we start

10   putting demand meters at lower than 50 kW to start looking at

11   peak load.  And usually there is a part in the rule that says

12   if you hit 50 kW so many times in the last six months, or

13   something like that.  There is a variety of different tariff

14   provisions depending on the utility.

15             MR. GRANIERE:  So in that example from the fellow who

16   sent in the letter, I'm just thinking of that example, where he

17   was putting a system on his rooftop, but if was an empty

18   warehouse, if you remember that letter.  I'm just trying to get

19   a sense for what the load would be that the utility supplied.

20             MR. ASHBURN:  I didn't read the letter, so I don't

21   know.

22             MR. GRANIERE:  Oh, you didn't read that one.

23             MR. ASHBURN:  It really depends on how big the

24   generator is, how it's going to run, how big the load is, how

25   much -- I think what Bob is suggesting is you look at what the

FLORIDA PUBLIC SERVICE COMMISSION

87

1   service is from the utility into the building.  And whatever

2   that load shape is or demand would determine what tariff it

3   would fall under.  And I don't know, but I would think,

4   depending on the renewable generator, how reliable it is, how

5   much it operates, all of this stuff, is going to depend.  If it

6   is a PV, it is only going to run during the day for so many

7   hours.  So if it goes off because the sun went down, and it's a

8   manufacturing building, the load goes right back up to what it

9   was during periods you are going to get the full demand charge.

10             MR. GRANIERE:  Okay.  I'm just trying to get a feel

11   for how it is done, so there is an idea for how that charge is

12   kicking in.

13             MR. ASHBURN:  It will affect the load factor.  We can

14   have very, very low load factor large customers, because they

15   are using power at different times.

16             MR. GRANIERE:  But none of that would affect the net

17   metering part, would it?

18             MR. ASHBURN:  No.

19             MR. GRANIERE:  No.  Okay.

20             MR. ASHBURN:  No, I don't think so.

21             MR. GRANIERE:  Yeah.  I didn't think it would affect

22   the net metering part.  These would just be -- you know, this

23   is the customer's characteristics determines whether it needs

24   to get a demand charge.  And if it does need to get the demand

25   charge, then its usage characteristics determine what it might

FLORIDA PUBLIC SERVICE COMMISSION

88

1   be.

2             MR. ASHBURN:  Right.  I think that is how I read the

3   rule.  That is how we interpreted it.

4             MR. TRAPP:  That is the clarification I was seeking

5   from you, Bill, in particular, since you are more

6   rate-oriented.  Did anything I say sound foul?

7             MR. ASHBURN:  Well, I wouldn't ever say anything you

8   said sounded foul, Bob.

9             MR. TRAPP:  You're so gracious.

10             MR. ASHBURN:  I don't know, I'm trying to go over all

11   the things you've said recently about it.

12             MR. TRAPP:  Basically, the fact that you have got a

13   generating source on your side of the meter is going to change

14   your billing characteristics for the purposes of the sales from

15   the utility to the customer.  And you're going to assess that

16   as if it was any other customer with those kind of billing

17   characteristics.

18             MR. ASHBURN:  Right.

19             MR. TRAPP:  That would apply to the generator part of

20   it.

21             MR. ASHBURN:  I think the one question you might have

22   brought up in your conversation, because it is not here, is

23   whether they would be on stand-by or not.

24             MR. TRAPP:  And that's the one I was most interested

25   in your opinion on, because, I mean, I think we have been going

FLORIDA PUBLIC SERVICE COMMISSION

89

1   all along assuming that these would not invoke the stand-by

2   rates, but I would be interested to --

3             MR. ASHBURN:  I think all of the utilities have the

4   same number of 20 percent.  If you're generating in excess of

5   20 percent of your load with your own generation, you fall

6   under the stand-by tariffs.  I think all the tariffs -- I think

7   all the utilities -- that goes back to stand-by.

8             MR. TRAPP:  So you think these rules could kick in

9   the stand-by?

10             MR. ASHBURN:  Absolutely.  I think they could.

11             MR. TRAPP:  Do you think they should?

12             MR. ASHBURN:  I think they should.  They are still

13   stand-by.  I mean, the renewable generator still could be off

14   and we have to serve it.  So I'm not sure how it is different

15   from the cogen, if it's off for maintenance or something else.

16             MR. TRAPP:  Rich has identified as a major issue that

17   hasn't been identified to date in this docket, then.

18             MR. ZAMBO:  I have tried my best to distinguish this,

19   but I didn't make any sense out of it, so I'm --

20             MR. TRAPP:  You know, I'll have to be honest with

21   you, I think staff, at least my dumb perspective, I just

22   assumed that stand-by was out of the picture in these rules.

23   But you're saying that they could -- I think we need to address

24   that, everybody.

25             MR. ZAMBO:  Well, in that case the applicable demand

FLORIDA PUBLIC SERVICE COMMISSION

90

1   charge would then be the stand-by charge, not the normal

2   billing.

3             MR. ASHBURN:  That's for a demand customer, right?

4   You are talking about a small residence there is no demand

5   charge, so it's, you know --

6             MR. ZAMBO:  Right.  But would the stand-by rates

7   apply to them?  I don't know if the tariff is specific about a

8   demand customer or not.

9             MR. ASHBURN:  Well, ours says that if you are a GS or

10   RS customer and you are stand-by, then you go onto the

11   time-of-use rate.

12             MR. ZAMBO:  Okay.

13             MR. ASHBURN:  Which for a PV might be very

14   beneficial, actually.  But, you know, that's what our tariffs

15   say.  But for the demand rates, you're right, there is, you

16   know, a demand based stand-by rate that is very specific,

17   different.  It has all the different demand charges, and I

18   don't know that it would be different.  I mean, you would just

19   look at the load, again, going in, and we have a whole set of

20   rules about those have been developed for a long time.

21             MR. ZAMBO:  Right.

22             MR. TRAPP:  But are they in -- are they in 17,

23   Chapter 17 in reference to stand-by rates in the cogen tariffs

24   in Chapter 17?

25             MR. ZAMBO:  It is in 17, but it's a very vague

FLORIDA PUBLIC SERVICE COMMISSION

91

1   reference.

2             MR. ASHBURN:  The utilities came in for dockets and

3   had their stand-by rates approved.  There was a lot of

4   rulemaking that went on back in the '80s about stand-by rates.

5             MR. TRAPP:  You've got authorizing language in the

6   rules, and then you've got the specific tariff

7   implementation --

8             (Simultaneous conversation.)

9             MR. ASHBURN:  And it may be a little different,

10   depending on their own tariff structure, and so forth.

11             MR. ZAMBO:  My recollection is that it ties it back

12   to the FERC regulations.  They have to be consistent with the

13   FERC requirements.  And I don't think the Commission has a

14   specific rule.  It was implemented by an order back in, gosh,

15   '87, '88, '89, somewhere around there.

16             MR. TRAPP:  Do you have a recommendation at this

17   time, Rich, as to what you would prefer the rule to say?

18             MR. ZAMBO:  I do not, because as I said, this just

19   became a concern this morning.  And so let me -- if I could, I

20   would put that in some post-workshop comments.  And I'm sorry

21   to have raised it.

22             MR. TRAPP:  Susan, do you know if the IOUs have a

23   position?

24             MS. CLARK:  You know, I think that as we were looking

25   at this, we looked at the order.  There was actually an order I

FLORIDA PUBLIC SERVICE COMMISSION

92

1   think that required customers to be on the stand-by rate, and I

2   don't -- sitting here now, thinking why the logic of that would

3   change.

4             MR. TRAPP:  And do you all?

5             UNIDENTIFIED SPEAKER:  No.

6             MR. GRANIERE:  Okay.  I think I can think why the

7   logic of that would change.  Let me see if I understand.  My

8   recollection of stand-by rates was generally for a customer

9   that was doing most of their own generation, and they were more

10   or less separated from the grid.

11             MR. ZAMBO:  No.

12             MR. GRANIERE:  Well, just let me finish.  And then

13   get to a point is that if all of a sudden they fell down and

14   they went off the system, that they needed to have power.

15   Okay.  That's not it?

16             MR. ASHBURN:  No, that is not it.

17             MR. GRANIERE:  Okay.  So stand-by is that when they

18   are not generating they draw power?

19             MR. ASHBURN:  Right.  That is the basis of it, and it

20   is not even all.  It's more than 20 percent of their load.

21             MR. GRANIERE:  Yeah.  And then you said that in order

22   for that to happen, they actually have to be generating more

23   than 20 percent of their load.

24             MR. ASHBURN:  They have to have self-generation for

25   20 percent or more of their load.

FLORIDA PUBLIC SERVICE COMMISSION

93

1             MR. GRANIERE:  Oh, 20 percent or more of their load.

2             MR. ASHBURN:  Yes.

3             MR. GRANIERE:  Okay.  So in this world, then, it

4   would seem to me that what happens is that the stand-by rate

5   becomes whatever the normal rate is that they would have been

6   on if they weren't doing anything, because that is -- so their

7   stand-by rate would be their normal rate as if they weren't

8   actually doing anything, so you wouldn't have to do anything.

9             MR. ASHBURN:  No.  The stand-by rate is intended to

10   say that when you are taking the service that Bob was talking

11   about, the normal service that you take, even though you are

12   running your generator, you pay exactly what the otherwise

13   applicable rate is for all the other customers.  Then there is

14   some conditions within the rate to deal with the fact that we

15   are standing by to serve the load when your generator doesn't

16   work.

17             MR. GRANIERE:  So it is doing that.  The stand-by

18   thing is doing that?

19             MR. ASHBURN:  Yes, but it only has components

20   associated with the part serving that generator.  Now, again,

21   we're talking about the demand type, the large demand stand-by

22   rates.  Again, for RS and GS customers it's just the time of

23   use rate.

24             MR. GRANIERE:  It would just be the rate they --

25             MR. ASHBURN:  Right.  So there is no actual payment

FLORIDA PUBLIC SERVICE COMMISSION

94

1   for -- you know, when the generator is down, otherwise, if

2   it's -- when it's down, you pay whatever the time-of-use rate

3   level is.

4             MR. GRANIERE:  It becomes business as usual.

5             MR. ASHBURN:  That's right.

6             MR. GRANIERE:  Okay.

7             MR. ASHBURN:  But it requires you, in that case, to

8   be -- at least for Tampa, I don't know if all the utilities are

9   that way, but it requires you to be on the time-of-use rate.

10             MR. GRANIERE:  Right.  But that's a tariff decision.

11   The Commission can say yes, no, whatever.  Right?

12             MR. ASHBURN:  The Commission always retains that

13   power, as you know, Bob.

14             MR. GRANIERE:  I know.  That's what I'm saying.

15             MR. ZAMBO:  Well, let me just jump in here.  If you

16   get to some of those Tier 2 and Tier 3 customers, it's not

17   going to be true that they would fall into RS or GS time of

18   day.  They will fall into a stand-by tariff.

19             MR. ASHBURN:  The large demand one, right.

20             MR. ZAMBO:  And the demand charge is based on their

21   coincidence.  So their coincident peak demand probability.  And

22   that was litigated 20 years ago through extensive hearings, and

23   those numbers were based on the technology that was out there

24   in those days.  Maybe it needs to be relooked at.

25             MR. ASHBURN:  What was designed at the time was it

FLORIDA PUBLIC SERVICE COMMISSION

95

1   turned into a daily demand charge.  So what happened was the

2   Commission determined a certain percentage and said this much

3   percentage is what you're standing by for, and I forget what it

4   was, 17 percent or something like that.  And they said, okay,

5   that is sort of the typical amount that won't be around, and

6   you will pay that every month, regardless of whether you take

7   or not.  And then if you used more than that, you pay that much

8   every month.  It turned out to be about two and a half days

9   worth of demand charge.  And then if your generator is down and

10   you go into stand-by mode, you just pay a daily demand charge,

11   which is the monthly demand charge divided by the 20 days, or

12   whatever is, the billing days, and it just accumulates through

13   the month.  So it is not like you get hit with a full demand

14   charge for the whole month.  You pay a little bit and then it

15   is a daily increment if your generator doesn't run very much.

16             MR. ZAMBO:  Well, that's not exactly right, as I

17   recall it.  I'm questioning your description, but as I recall

18   there is a demand ratchet in there, too, right?  So if you set

19   a demand -- if your generator was down for an entire month and

20   you continued to do business as usual, you would set a stand-by

21   demand that would then be yours for the next 24 months, I

22   believe.

23             MR. ASHBURN:  It could be.

24             MR. ZAMBO:  I haven't looked at these tariffs for a

25   while, but a lot of these things are -- this could become a

FLORIDA PUBLIC SERVICE COMMISSION

96

1   real can of worms.  This could become a real significant issue.

2             MR. GRANIERE:  But are we in agreement that this

3   might only be as significant issue for the large Tier 3s?

4             MR. ZAMBO:  Bob, I haven't looked at those tariffs.

5   Tom indicated as low as 25 kW, but I'm not sure if it's

6   mandatory to go to a demand rate at 25 or it becomes optional.

7   I just haven't --

8             MR. ASHBURN:  Each utility is at a different point

9   where it starts, and then you are into a demand rate.

10             MR. ZAMBO:  Yeah.  But it certainly could pick up

11   some of these commercials, some of these commercial

12   installations.

13             MR. ASHBURN:  Right.

14             MR. ZAMBO:  I will try to address that in

15   post-workshop comments as best we can.  Thank you.

16             MR. KEYES:  So one issue I would see with the

17   stand-by charge is, obviously, our solar generator goes down

18   every time it's a cloudy day.  So that doesn't seem appropriate

19   to have that same sort of charge when it's a different sort of

20   system than a cogenerator that you are counting on being there

21   all the time.

22             And the other comment was on the demand charge.  If

23   my peak that is the basis of my demand charge for the next

24   month was 100 kilowatts, that's something I did last month, and

25   now I put in a solar system that's a 100 kW solar system, there

FLORIDA PUBLIC SERVICE COMMISSION

97

1   should be some way of saying, gosh, my demand, my peak demand

2   in the future is probably going to be a lot lower than it was

3   before.  It is probably not -- I'm probably not going to hit

4   100 kW again, to say as soon as the system gets installed, the

5   demand charge ought to be adjusted down by maybe half the

6   capacity of the system.  So, for instance, in my example you

7   would say, a 100 kW system just went in, we're going to say the

8   demand charge is going to be based on 50 kW until proven

9   otherwise, if it turns out the load is higher.

10             MR. ZAMBO:  I would think it has less likelihood of

11   having an effect on a PV generally, particularly a larger PV,

12   say putting it on a store, like a Wal-Mart or something like

13   that, because the load is going to come right back up at night

14   when the PV is not running, and you are going to pay your full

15   demand charge and there won't be any stand-by, because it goes

16   away.  So I think PV has less risk of the stand-by rate kicking

17   in and causing any concerns whatsoever under the way this has

18   been drafted.  It may for something that is a much higher load

19   factor.

20             Really, the stand-by rates were designed for things

21   like Steve does, the high, high load factor renewable

22   generators or other QFs that ran all the time, 90 percent load

23   factors, that kind of thing, and would just go off occasionally

24   on a weekend.  But for a PV, I just don't think it's a big

25   significant difference, because as the PV goes down, and it's

FLORIDA PUBLIC SERVICE COMMISSION

98

1   on a big one, on a big store or a school, the likelihood is the

2   school is still going to be running at night with a lot of

3   load.  And I just don't know that you are going to see a very

4   big difference.

5             MR. KEYES:  A school is actually the one example I

6   could think of where it is closed down at night, and so you

7   probably would affect demand on a school --

8             MR. ZAMBO:  Perhaps, but they are also on in the

9   morning when the sun isn't up yet.

10             MR. KEYES:  Right.  So I can imagine maybe it

11   wouldn't affect the demand in a huge way.  I would think it

12   would go down, you know, if it went anywhere.  I guess I need

13   to understand better what happens with the stand-by tariffs,

14   and it seems simpler from your explanation to say that stand-by

15   rates won't apply to these systems or something.

16             MR. GRANIERE:  Just an observation -- Bob Graniere.

17             It would seem that the stand-by rate doesn't really

18   fall in when you are talking about intermittent power, that

19   would be wind, solar, because, you know, it goes on and off

20   every day.

21             MR. ASHBURN:  If it's intermittent enough they won't

22   hit 20 percent, so they won't be required to be on it.

23             MR. GRANIERE:  Okay.  Would that happen to solar

24   because they go on and off?

25             MR. ASHBURN:  I don't know.

FLORIDA PUBLIC SERVICE COMMISSION

99

1             MR. GRANIERE:  Okay.  Maybe it won't.  How about one

2   those digesters?  What do you think would happen with one of

3   those, because, you know, in general they are always --

4             MR. ASHBURN:  I would think a digester would be a

5   higher load factor, assuming the fuel was more around and

6   available and wasn't relying on an intermittent source like

7   solar or wind.  I would think it's a higher load factor, but I

8   don't know how big a digester could get.

9             MR. GRANIERE:  But that would be a candidate perhaps

10   for a stand-by charge is what you are saying?

11             MR. ASHBURN:  Yes.

12             MR. GRANIERE:  Okay.  How about combined heat and

13   power, how would that work?

14             MR. ASHBURN:  Well, talk to Steve.  He has basically

15   combined heat and power.  He has been on it for 20 years or so.

16   Again, it depends on the size and how high a load factor it is

17   on what the impact would be.

18             MR. DAVIS:  Steve Davis from Mosaic.  For our

19   combined heat and power systems, we are already on a contract

20   stand-by type of demand and we do pay it.  You know, there are

21   some advantages, believe it or not, is that one of the things

22   if you really do need to be able to pull in power off from the

23   system and know that it's going to be there.  To the extent

24   that you are just pulling power from the grid to replace what

25   you would normally have supplied from your generator, that's

FLORIDA PUBLIC SERVICE COMMISSION

100

1   actually billed on Tampa Electric's system anyway, and probably

2   on everybody's at a slightly lower unit cost than what

3   supplemental power is billed at.

4             But, you know, it's sort of a -- just something for

5   people, especially, you know, like sort of commercial type of

6   endeavors to be aware of if you were going go out and install,

7   let's say, a solar cell on top of a commercial operation

8   building.  I guess when I read this, the concern that hit me

9   would be that the interpretation could be that you would still

10   pay the full demand charge as if you -- you know, let's say you

11   do have a good month where there is nothing going on as far

12   as -- you know, you could almost just balance out total kWh

13   coming in the door versus total kWh going out the door and

14   still have to pay your demand charge, which would, I think,

15   radically impact the economics of these systems that you are

16   contemplating installing.

17             MR. TOTH:  Bill Toth.  I had a conversation with

18   staff, and let me just see if I understand, and I'm dealing

19   with a commercial building here, okay, the example that you

20   gave.  The commercial building operates from 8:00 to 5:00,

21   let's say.  Those are its normal operating hours.  Peak demand

22   is going to be during that time, because they're going to be

23   shut down 6:00 o'clock or so for the next, you know, 12 hours

24   or so, 12, 16 hours.  That is also the peak generating time for

25   my solar system.

FLORIDA PUBLIC SERVICE COMMISSION

101

1             Now, if I'm a commercial building that has a demand

2   charge, and I'm producing energy down to a level where I'm not

3   incurring those demand charges during the day, I'm not paying

4   demand charges.  I'm only paying for what I'm using.  And if

5   I'm not using enough to be in a demand situation, then I don't

6   have to pay the demand charges for that period of time when I

7   am not using that demand.

8             In the evening when I shut things down, I'm not in a

9   demand situation.  I'm using very little energy for the next 16

10   hours, you know, 15, 14, whatever it is, and I'm not paying

11   demand charges because I'm not at a level -- so I can actually

12   reduce my demand charges to zero, let's just say for the sake

13   of this discussion under the scenario.  What I'm hearing here,

14   or what I think I'm hearing is now I've got to go to a stand-by

15   rate, or am I incorrect in my interpretation of my conversation

16   with staff on how this is going to work?

17             MR. FUTRELL:  Bill, if you have some thoughts on

18   that, but it's my understanding that even if you have some --

19   at night there is some draw on the system demand at night, then

20   you would pay a demand charge based upon what you -- the demand

21   in the evening.

22             MR. TOTH:  For the draw in the evening, correct.  But

23   I'm saying if you don't.

24             MR. ASHBURN:  Or the early morning.  If the building

25   starts up or 7:00 or 8:00 in the morning, the sun may not be up

FLORIDA PUBLIC SERVICE COMMISSION

102

1   in the winter, for example, and there could be a demand there,

2   yes.

3             MR. TOTH:  No, but my question is if my solar

4   during -- let's just say it's a six-hour period which is when

5   my big demand time is, and I'm offsetting that kilowatt hour

6   usage that is now putting me in a non-demand situation, it

7   could even be I'm producing more putting back into the grid at

8   this point where I will be taking it out later.  I understand

9   if I am taking it out later and I'm demand, I'm still paying

10   the demand.  But I'm not paying any demand charges during that

11   period of my peak performance when I am putting back into the

12   grid.  Is that understanding correct?

13             MR. ASHBURN:  The demand charge is based on a

14   30-minute measurement, that's typically for all utilities,

15   30-minute measurement in the month.  So if any 30-minute period

16   during the month, during the demand area, assuming you're not

17   on a time-of-use rate, it gets a little complicated.  But on a

18   standard rate we pick a 30-minute period, and the highest

19   demand that we see from you is what is multiplied times the

20   demand rate, whether it's at 7:00 in the morning, 3:00 in the

21   afternoon, 4:00 in the morning, it doesn't matter.

22             MR. TRAPP:  But, Bill, I think -- to try to clarify

23   here.  I think what I heard you say, at least for the Tampa

24   Electric Company system, was that if the customer produces

25   20 percent of his consumption with his own generation, the

FLORIDA PUBLIC SERVICE COMMISSION

103

1   applicable rate tariff he now qualifies for is not a retail

2   residential/commercial/industrial GS or GSD, but stand-by

3   rates.

4             MR. ASHBURN:  That's right.

5             MR. TRAPP:  So you have just transformed yourselves

6   from a GSD customer to a stand-by customer, and those rates

7   will be applicable.

8             MR. ASHBURN:  Right.

9             MR. TRAPP:  If you are at less than 20 percent for

10   the TECO system, total generation relative to total

11   consumption, then you would be on the otherwise applicable

12   residential/commercial/industrial rate schedule, which could be

13   a general service or a general service demand rate, and the

14   demand charge you're going to be charged is going to be based

15   on your -- what is it, a 12-month peak?

16             MR. ASHBURN:  Well, we look at a 30-minute period in

17   the month, and that gets applied by the bill.  You can also

18   choose, if you want to be, to be on the stand-by rate.  This

19   confuses people an awful lot of times.  Sometimes people win

20   going on the stand-by rate.  That happens.  It depends on your

21   load shape and a variety of factors.  So we have actually had

22   customers who we went in and showed them if you went to the

23   stand-by rate, you would actually save money.  And most of the

24   time they just are afraid of it and don't do it.  But it is

25   possible to save money.

FLORIDA PUBLIC SERVICE COMMISSION

104

1             MR. TRAPP:  So all the rule really says is that, you

2   know, warning, warning, you could be in a new rate

3   classification by putting in your solar.  And we're not making

4   any policy decisions, I don't guess, in this rule one way or

5   the other.  We are just saying that your new load

6   characteristics with your generation is going to determine what

7   rate schedule you're in.  And there is a whole, you know, list

8   of rate schedules you need to be looking at.

9             MS. ROSE:  Hi, this is Gwen, Vote Solar.

10             This is our particular concern, and particularly if

11   stand-by rates end up becoming an economic disincentive for

12   installing solar.  And what some other states have done through

13   a net metering rule is provide a sort of safe harbor exemption

14   from moving to stand-by fees.  And it is difficult to talk

15   about this without assigning some numbers and looking at load

16   factors.  But if this becomes an economic disincentive, I would

17   suggest -- I would encourage looking at safe harbor language to

18   protect customers from --

19             (Simultaneous conversation.)

20             MR. TRAPP:  I don't know what the impact is now,

21   because this is really the first real discussion, I think, we

22   have had on it.  But I agree with you that we need to keep our

23   eyes open if it becomes a problem and address.

24             MR. ZAMBO:  And I'd like to just raise or make two

25   points.  One is I'm not sure it is 20 percent of generation.  I

FLORIDA PUBLIC SERVICE COMMISSION

105

1   think it is capacity -- I think it is demand.  So if you have

2   got a one megawatt load and you install 200 kW, I think that is

3   the trigger.

4             MR. ASHBURN:  Everyone's tariff is different.  Our

5   tariff says load, and we've interpreted that as energy in the

6   past.

7             MR. ZAMBO:  Okay.  But if it says load, does that

8   mean you are saying --

9             MR. ASHBURN:  We have in the past interpreted that as

10   energy.

11             MR. ZAMBO:  Okay.  And the second thing, I forget.

12   Excuse me.

13             MR. GRANIERE:  Bob Graniere.  Would it be fair to say

14   that everyone who is on stand-by rates doesn't necessarily pay

15   a kW rate?  Because that's what I seem to be finding as to

16   being the situation.  Not everybody would have to pay.  I mean,

17   merely going on stand-by rates doesn't mean that you must pay a

18   kW rate.

19             MR. ASHBURN:  Right.  We have a stand-by -- we have a

20   stand-by application for every level of service.  So we have

21   stand-by application for residential and all the way up

22   through, except for lighting, they don't typically have their

23   own generators.  But for any of the RS, GS level, interruptible

24   tariffs we have, we have a stand-by application.

25             MR. GRANIERE:  Now, are these kW rates, as I heard

FLORIDA PUBLIC SERVICE COMMISSION

106

1   you speak of, they aren't hourly kW rates, they're are --

2             MR. ASHBURN:  The stand-by demand portion is a daily

3   demand, but it is measured on 30-minute periods.

4             MR. GRANIERE:  And it doesn't matter if you are

5   drawing demand for 24 hours or only 12 hours?

6             MR. ASHBURN:  Right.

7             MR. GRANIERE:  Okay.  So it doesn't make the

8   adjustment that Mr. Toth was talking about or he was alluding

9   to, that there was a time that he put no demand on the system

10   during the day, but on the other times he did put a demand on

11   the system.  And I guess what he was getting to, and correct me

12   if I'm wrong, he was saying that he didn't want to pay any

13   demand charge for those eight hours or six hours.  Am I right?

14             MR. TOTH:  This is Bill Toth.

15             No, I was asking the question trying to clarify my

16   understanding based on discussions I had with staff.  I was

17   trying to find out exactly how it is going to work.

18             MR. GRANIERE:  So does it bother you that you would

19   pay a demand charge that was a daily demand charge?

20             MR. TOTH:  I don't know.  I would have to look at the

21   numbers and see if it looked like it was a fair situation or

22   not.

23             MR. GRANIERE:  Okay.

24             MR. FUTRELL:  Rich.

25             MR. KEYES:  So just to reiterate what Gwen Rose said,

FLORIDA PUBLIC SERVICE COMMISSION

107

1   that it is almost impossible to go out as a solar installer and

2   try and convince somebody to put solar on their roof, and they

3   say, "oh, am I going to save money?"  And you say, "Well, it

4   depends.  See, there are these stand-by charges, and here is

5   how it kind of works."  If you can't show them that they are

6   going to save money by putting solar up, then they're not going

7   to go for it.  And so what is useful to have is the safe harbor

8   language that says you are not going to go to some other rate,

9   you are not going to go to stand-by charges if you wouldn't

10   have been on -- if stand-by charges wouldn't have applied to

11   you otherwise.

12             It would be very helpful to be able to say you'll

13   save money because you are consuming less energy, but you also

14   might save even more if you're going to a different tariff

15   schedule or something, you know, or a lower demand charge.  But

16   the safe harbor language would help a lot.

17             MR. HINTON:  Well, could you all present some

18   potential safe harbor language in your post-hearing comments,

19   not just citing to another state that has done it, but an

20   actual sentence that deals with it?

21             MR. KEYES:  Absolutely.

22             MR. FUTRELL:  Rich.

23             MR. ZAMBO:  I would just comment that with the

24   language as it is, if you are a demand customer you are going

25   to pay a demand charge, and that demand charge is going to be

FLORIDA PUBLIC SERVICE COMMISSION

108

1   higher than what you would pay as a stand-by customer unless

2   you are very unreliable.  My experience with my clients has

3   been the stand-by rate is lower.  It's a discounted demand

4   rate, and it's not paid hourly.  You pay a monthly charge for

5   it, and in exchange for that you are allowed to use it for a

6   certain period of time.  When you go above that amount of time,

7   then you do pay a daily demand charge.  But if you have got a

8   reliable system, you need to look at the rates and analyze

9   them.  But if you have got to take what is in this rule and

10   take your ordinary demand charge versus a stand-by charge, you

11   may be better off with a stand-by rate.  So I'm not sure a safe

12   harbor would solve your problems or your concerns.

13             MS. ROSE:  Gwen here.  I think the question is an

14   issue of choice.  If the stand-by rate is going to save you

15   money, that's a choice, and that's customer education.  But

16   being switched automatically to a different tariff is more my

17   concern.

18             MR. HINTON:  I was going to ask this question a

19   little earlier.  If somebody's usage characteristics would

20   change through self-generation, does the utility automatically

21   switch their rate class, the rate class you have them under, or

22   do you approach the customer and say this is where we think you

23   should be?

24             MR. ASHBURN:  That's a complicated question.  It

25   depends, as I like to say at work, and they all say, "That's

FLORIDA PUBLIC SERVICE COMMISSION

109

1   all you ever say."  For example, your load shape might change

2   so that you would be better off on a time-of-use rate.  The

3   common use rates in Florida are optional.  So we will go to a

4   customer and say, "Look, your load pattern has changed.  You

5   would be better off with a time-of-use rate."  Sometimes they

6   go; sometimes they don't.  It's optional.

7             Some customers have their load grow and suddenly they

8   have moved out of one tariff into another, say, from a

9   non-demand rate to a demand rate level.  And we will go to them

10   and say, "Look, your load grew and you are now above 50 kW,

11   say, and you should be on a demand rate."  And they will say,

12   "Whoa, it was a one-time thing, and this happened and that

13   happened, and it will never happen again."  So we might let

14   them slide.  And then they go back down, and we leave them

15   where they are.  So it just depends on what the circumstances

16   are whether we make them change or not change on whether it is

17   an option that they have or whether it is a requirement that

18   they move.  And it's just every circumstance is slightly

19   different.

20             MR. TRAPP:  I'm a little confused, I guess, by what

21   is meant by safe harbor.  And I guess maybe I would like,

22   before we see it in written comments, a little more explanation

23   of that.  Is that something that just says the utility has to

24   put the customer on the most favorable rate schedule available,

25   or is that something that says that -- what does it say?

FLORIDA PUBLIC SERVICE COMMISSION

110

1             MR. KEYES:  It says if the customer didn't have solar

2   on the roof, what rate schedule would they be under?  They can

3   either go with that rate schedule or they can go with something

4   better.  If the fact of the solar system is up there qualifies

5   them for some other rate schedule, then they have the choice to

6   go to that.  But the default setting would be whatever they

7   would have been on if they didn't have a solar system.

8             MR. FUTRELL:  So is the point to give the customer

9   the choice, put in the customer's hands to make the choice as

10   opposed to the utility making some sort of observation of

11   changed characteristics and then it making the change, is that

12   the point?

13             MR. KEYES:  Right.

14             MR. FUTRELL:  To give the customer the authority to

15   make its decision on which rate schedule to go onto.

16             MR. KEYES:  This became a big issue with switching to

17   time-of-use rates in California, and there were a sizeable

18   number of customers that when they went to time-of-use rates

19   which was supposedly going to help the people install solar,

20   some of them were large customers who had fairly small PV

21   arrays, and it ended up on their time-of-use rates they were

22   paying more than they used to or that they would have if they

23   didn't have the array.  And so they were pretty upset about

24   that.  And you would like to have some sort of language that

25   says you are not going to be worse off because you've put in

FLORIDA PUBLIC SERVICE COMMISSION

111

1   solar.  We are not going to charge you more because you have

2   solar.

3             MR. ASHBURN:  So is that suggesting they would pick

4   the lower of the two?  Is that how it works, or no one

5   switches.

6             MR. KEYES:  You would pick the lower of the two up

7   front.  It is not like a month-to-month.  You have to say,

8   okay, so here is your rate on this one, here is your rate on

9   this one.  You would get to say up front.

10             MR. TRAPP:  The rate they otherwise would have had

11   without solar, so that means you have to back out the solar

12   generation for purposes of calculating the demand charges?

13             MR. KEYES:  I would think that you would need to.  So

14   then you would need to get some sort of coincident peak, which

15   can be done.

16             UNIDENTIFIED SPEAKER:  That's complicated and messy.

17   I wouldn't know how to do that for a forecasted test year with

18   billing determinants if you have a changing load profile.

19             MR. TRAPP:  I would be interested in seeing the

20   comments.

21             MR. FUTRELL:  Any other comments on the net metering

22   section?

23             MS. CLARK:  Yes, Mark.

24             As we had indicated in our post-workshop comments,

25   Gulf and Progress suggested the elimination of the waiver of

FLORIDA PUBLIC SERVICE COMMISSION

112

1   the metering costs.  As I said with respect to the application

2   fee, Gulf and Progress continue to believe that costs should

3   not be waived since such waivers result in other customers

4   subsidizing the expenses attributed to net metering customers.

5             Now, with regard to the changes to Subsection 8(e)

6   through (g), Gulf and Progress had suggested paying for excess

7   energy on a monthly as opposed to annual basis, and this was

8   not incorporated.  The rule does change the payment for unused

9   energy credits to the COG-1 as available tariff, but still has

10   the reconciliation at the end of the calendar year based on an

11   average annual rate.  This is a move in the right direction,

12   but Gulf and Progress continue to believe that the

13   reconciliation should be done on a monthly as opposed to annual

14   basis.

15             While the monthly approach still results in a subsidy

16   to net metered customers, the subsidy is not as significant as

17   with the annual approach.  Further, from an administrative

18   standpoint, the utility can best reconcile and pay for excess

19   energy on a monthly basis rather than annual, and FPL agrees

20   that from an administrative standpoint, it is preferable.

21             So we wanted to make those comments with regard to

22   the changes you have made for net metering.

23             MR. GRANIERE:  I have a question.  Would Progress, or

24   Gulf, or FPL be happy with monthly excess payments at the

25   retail rate?

FLORIDA PUBLIC SERVICE COMMISSION

113

1             MS. CLARK:  Let me be clear that in the post-workshop

2   comments it was Gulf Power and Progress that focused in on the

3   rate being at the avoided cost rate --

4             MR. GRANIERE:  Okay.

5             MS. CLARK:  -- as opposed to net metering.

6             MR. GRANIERE:  So the answer would be no.  So,

7   basically, this approach eliminates the carry forward benefit

8   of net metering, right?

9             MS. CLARK:  It eliminates carrying it forward to the

10   next month and then reconciling it at the end of the year.  And

11   I think there were some net metered customers who preferred

12   that.

13             MR. HANSEN:  I have a comment.  I would just like to

14   clarify something I said before, where I was all for the 10 kW

15   as the level for Tier 1.  That was only, basically, to help

16   isolate Tier 1 from Tier 2 and 3.  If you want to raise it up,

17   that is fine, but in order for the individual to put in a solar

18   system, there has to be an incentive.  Right now in Florida, as

19   I understand it, there is only 34 solar systems put in for

20   individuals.  And I was talking to a gentleman that sells these

21   systems, and they don't even deal with individuals because it

22   is not worth it.  And it's the individual, the homeowner which

23   this net metering was made a law 20 years ago for.  It wasn't

24   for the commercial people and 90 percent of our discussions

25   here are for the commercial people.

FLORIDA PUBLIC SERVICE COMMISSION

114

1             So, if I put a system in, there should be a way that

2   I can at least pay off this system within a reasonable amount

3   of time.  The way the system works right now, it would take me

4   75 years to pay off my system.  If we adopt the way that you

5   are going to do it, with the excess being paid off at the COG-1

6   rate, it may take 20 or 30 years.  So the emphasis for the

7   homeowner must be on trying to get some excess, and if he does,

8   he should get retail price for that.

9             If that would happen, then the homeowner, you'll see

10   many, many people get involved in this.  And if it doesn't

11   happen, they won't because you can't afford it.  So my

12   suggestion is, that on Line 24 on Page 8, between the word

13   credits and the little word at, that you just insert this

14   sentence, this phrase, "For Tier 1 at retail rate and for Tier

15   2 and 3," and that's all.  You just insert that between those

16   two little lines, and that will give Tier 1 retail rate across

17   the board.  And that is as far as I can understand -- and I am

18   putting in a system now, and anything I've figured out, that is

19   the only way that I could pay this system off within a

20   reasonable time being 6, 10, 12, 15 years.

21             MS. ROSE:  From our perspective the monthly carry

22   over of net excess generation is critical.  First, I think that

23   the way you have characterized in here is correct.  You

24   basically say it is a one-for-one kilowatt hour swap.  There is

25   not really a sale of electricity happening.  And if we can

FLORIDA PUBLIC SERVICE COMMISSION

115

1   carry that over for a year, what happens beyond a year with

2   annual net excess generation, whether it is paid at avoided

3   cost, or whether it is donated to the utility, or in Oregon

4   whether it is donated to low income programs, that's what they

5   do there, is, I think, a separate question.  But for a

6   customer -- let me back up.

7             We talked about the subsidization of net metering,

8   but there is an implicit bias there that forgets to look at

9   what the benefits of net metering or net metered generation

10   provides.  So you have a customer that is paying usually a flat

11   rate for their power.  When they are producing excess, it's

12   generally going to be during peak times.  That's going to be

13   going into the grid, and that's high value peak power that the

14   utility gets to, basically, sell to the neighbor.  But then

15   they get to sell power or they get to give power back to that

16   customer at off-peak periods, which is a lower cost.

17             So it's a benefit to the utility, and, you know, we

18   could run through what the benefits are of photovoltaic

19   generation, but I think preserving the ability for customers to

20   carry over those credits from month-to-month allows them to

21   size their system to take advantage of the seasonal

22   differentiation of the way solar produces power.  Without it,

23   you're going to have customers sizing system to meet winter

24   load rather than maximizing it for the course of the year to

25   offset their consumption.

FLORIDA PUBLIC SERVICE COMMISSION

116

1             MR. JONES:  I was just going to concur with Gwen.  As

2   a small system owner myself, it's so nice this time of the year

3   when the air conditioner is off.  You can end up with, you

4   know, maybe two months in the spring and two months in the fall

5   where you have a net, you know, negative feedback.  I would

6   just like to get that power back again, you know, for the

7   winter or the summertime.  And, you know, it really would take

8   a lot of the wind out of the sails for, you know, potential

9   system owners to know that, you know, they put that power out

10   during, like Gwen said, those peak summertime periods when the

11   utility sees a real advantage to having that generation

12   created, and yet is not given consideration for the value of

13   that at other times of the year.

14             So as a small system owner and certainly as an

15   industry person, I can convey that that's an important issue in

16   a sales process or a justification for a homeowner that they

17   sort of net out on an annualized basis, not, not a month to

18   month to month.  And it is a real critical issue, I believe.

19             MR. TOTH:  Bill Toth.  I just want to concur with

20   what they said as far as the carry over.  I like the

21   gentleman's idea down there.  I'm sorry, I forget your name.

22             MR. GRANIERE:  Bob.

23             MR. TOTH:  Bob.  Monthly is good as long as it is at

24   the retail rate.  That would work fine.

25             MR. FUTRELL:  Jason, you had a comment?

FLORIDA PUBLIC SERVICE COMMISSION

117

1             MR. KEYES:  One other practical consideration there

2   is that part of the reason why lots of states have gone from

3   monthly to an annual process is because people are sizing their

4   systems to at most meet their own load.  And so in any given

5   month they are not exceeding their load by much if they do at

6   all.  And so when you have any sort of payout like this, like

7   they're suggesting, you end up with a lot of administrative

8   expense for something very small.  You know, cut a check for

9   four dollars kind of thing.  And it's just easier

10   administratively to just carry it over month-to-month.

11             In fact, several states have now gone to saying it is

12   too much of a hassle to keep track of it over the course of a

13   year.  You know, they can just keep it rolling it over to the

14   next year.  We are never going to pay them much.  We are going

15   to pay them avoided cost, or some states don't pay at all, but

16   they let them roll it over on an ongoing basis.  So, at least a

17   year makes sense.

18             MR. HANSEN:  One other point is I don't know how many

19   snowbirds would actually put a system up, but if they did, the

20   power company could be using that power for six months out of

21   the year.  That would be a direct benefit to them.  It would be

22   distributed power and it would allow them to be selling this

23   power for the whole six-month period, and it would also provide

24   the snowbird, when they come back, to enjoy a very low electric

25   bill.  But for the period when the generation is at maximum,

FLORIDA PUBLIC SERVICE COMMISSION

118

1   they are not even here.  So if they could get retail price for

2   everything that they generate, it would help the distribution

3   of power throughout Florida and it would eliminate a lot of the

4   line losses and it would prevent the electric utilities from

5   being overloaded in the summertime.  This is one of the big

6   advantages of the solar voltaic system.

7             MR. FUTRELL:  If there's nothing else, let's move on

8   to Section 9, the renewable energy certificates, or RECs.  We

9   got into this a little bit on the metering discussion.  Again,

10   staff is anticipating the possibility that markets may develop

11   in Florida.  RECs are being sold in Florida.  We are trying to

12   anticipate that.  We have done that in the renewable generator

13   standard offer contracts that Bob mentioned earlier.  We had

14   provisions there for RECs, and we are trying to be proactive on

15   this and get out ahead.  Any comments on the language we have

16   here?

17             Bill.

18             MR. TOTH:  Yes.  Bill Toth.  The requirements in --

19   where is it -- 12, 13, 14, and 15 where it talks about the --

20   well, it is in direct conflict with -- you have got to go down

21   to 10 -- 24 and 25.  Who's going to decide the purpose of the

22   meter that's going to measure those two things, because they

23   are both measuring the same thing, and one is a reporting

24   requirement of the utility and the other is a REC requirement,

25   but it is the same measurement.

FLORIDA PUBLIC SERVICE COMMISSION

119

1             MR. HINTON:  Actually, did you say Line 24 and 25, is

2   that what you were referring to?

3             MR. TOTH:  Yes, under reporting requirements.

4             MR. HINTON:  Right.  That's customer-owned renewable

5   generation delivered to the electric utility.  Under Subsection

6   9 dealing with renewable energy certificates, that's talking

7   about total electricity generated by the renewable energy.

8   That's what is delivered to the utility and what is consumed by

9   the customer.  The reporting requirement is just what's going

10   back into the grid on Line 24 and 25.  But to get the

11   certificate, the customer will need to be able to account for

12   what their total generation was, even what the utility never

13   knows about because they just consume it.

14             MR. TOTH:  Okay.  Then what about Line 21?

15             MR. HINTON:  That's the nameplate capacity of the

16   customer-owned renewable generation system.

17             MR. TOTH:  So if you have got, like, a 6 kW system,

18   that is what that would be reported as?  Okay.

19             MS. CLARK:  Mark, this is Susan Clark.  We are in

20   disagreement with the provisions in 9.  It seems to us that

21   what you are proposing here to the net metering and through the

22   payments you have provided for excess energy as well as the

23   waiver of fees result in net metered customers being subsidized

24   by other customers.  And for that reason the RECs associated

25   with them should belong to the general body of ratepayers.

FLORIDA PUBLIC SERVICE COMMISSION

120

1             One of the concerns we would like to raise is the

2   notion of addressing this in the rule, the ownership of the

3   RECs.  When you have had discussions of setting up a REC

4   system, under what conditions should ownership be retained, if

5   you are paying more than avoided cost, shouldn't the other

6   customers have some claim to those RECs?

7             I would urge you not to address that in this rule

8   given the fact that I have seen in the past where you make

9   these small decisions dealing with specific areas and don't

10   address the larger policy decision that you should make which

11   is if you were going to pay above avoided cost, what is the

12   fair way to deal with RECs.  And I think that should be done as

13   an overall assessment of what the policy should be.

14             Rather than making a decision here while it's only

15   these small facilities, it would be appropriate as an added

16   incentive to allow them to retain the RECs, and then you go to

17   the next decision you have to make relative to this, and the

18   suggestion is made, well, you have done it here, you have

19   allowed that ownership to stay, why not do it here.  I think

20   the better policy is to look at it from an overall standpoint

21   as to what is fair when you have the other customers paying

22   more than avoided cost.

23             MR. JONES:  Just for clarification, are you saying

24   that all of the RECs associated with the production from a

25   photovoltaics system belong to the entire rate base or only

FLORIDA PUBLIC SERVICE COMMISSION

121

1   that energy that was netted back to the utility?

2             MS. CLARK:  And I think that's one of the issues to

3   me that really needs to be addressed in an overall policy,

4   because I think you can have other instances where the entire

5   ownership of the REC maybe should be split for one reason or

6   another because of -- I don't know how it is being paid for,

7   but I just think that the idea of who has ownership of the REC

8   and when payment in excess of avoided cost by some level should

9   require that ownership to shift should be looked at in a global

10   consideration of an RPS policy.

11             MR. JONES:  Well, I don't know that you are really

12   paying for the RECs, I mean, if you are being compensated for

13   full retail value.  I guess you could make a distinction that

14   if I don't have a photovoltaic system and I reduce my energy

15   load in my home, you know, I have created the same effect as

16   if -- if I have reduced my load consumption in my house by two

17   kilowatts or I have a two kilowatt photovoltaic system, the

18   effect is the same to the grid, and I don't know that you

19   deserve those RECs.

20             MS. CLARK:  And I understand that there are some

21   states that attach RECs to what you were talking about, that

22   energy efficiency.  What I'm suggesting is I think the whole

23   sort of gambit of what might generate RECs needs to be looked

24   at.  And in generating those RECs, if there is subsidization

25   either through tax credits or anything like that, then some

FLORIDA PUBLIC SERVICE COMMISSION

122

1   thought needs to be what should be the policy of the state with

2   regard to ownership of those RECs.  Does the fact that there is

3   subsidization being provided from all the other customers or

4   taxpayers change who should claim ownership and be able to

5   count them as credits towards an RPS.

6             MR. TRAPP:  If staff were to accept your position

7   that it's premature to address this now and, therefore, not

8   include this paragraph in the rule, would your clients commit

9   not to include that paragraph in their tariffs?

10             MS. CLARK:  To not address the --

11             MR. TRAPP:  Not address who owns the RECs in their

12   tariffs until this RPS policy is settled?  I mean, quite

13   frankly, that's the experience we have seen is we enunciated

14   this policy in the cogeneration side of the equation, and we

15   had a big fight about it because you all kept putting it in the

16   tariff and we kept having to fight it in the tariff.  And then

17   the Commission finally did enunciate policy in that rulemaking

18   that basically --

19             MS. CLARK:  It gives them the right of first refusal.

20             MR. TRAPP:  No, it doesn't.

21             MS. CLARK:  I'm sorry, Bob, I was thinking about the

22   renewable cogeneration rules.

23             MR. TRAPP:  Yes.  That's what I'm referring to, too.

24             MS. CLARK:  They are allowed to put in their tariff

25   the right of first refusal, I thought.

FLORIDA PUBLIC SERVICE COMMISSION

123

1             MR. TRAPP:  No.  Rule 25-17.280, tradeable renewable

2   energy credits.  Tradeable renewable energy credits and tax

3   credits shall remain the exclusive property of the renewable

4   generating facility.  A utility shall not reduce its payment of

5   full avoided cost or place any other conditions upon such

6   government incentives in a negotiated or standard offer

7   contract unless agreed to by the renewable generating facility.

8             Now, granted these rules are based on avoided cost.

9   I think your argument is based on some above avoided cost

10   consideration --

11             MS. CLARK:  Right.

12             MR. TRAPP:  -- to assign some portion of the RECs

13   to the utility, so I understand the difference there.  But I

14   just don't want to acquiesce to a position that is premature to

15   address this now, and then have it come up in the tariffs and

16   have to fight it on a tariff basis by basis.  Sometimes you can

17   win the battle and lose the war.  And so if we are going to

18   address it, let's address it.  If we are not going to address

19   it, let's agree not to address it until the proper time when

20   the RPS is resolved either by statute or by this Commission.

21             MS. CLARK:  I think if the agreement is to address it

22   as some part of the RPS and looking at it from a global

23   standpoint, then we would not put it in the tariffs having

24   suggested that be the approach you take.  But I do think that

25   the difference between what you were discussing was the fact

FLORIDA PUBLIC SERVICE COMMISSION

124

1   that it was based on avoided cost, not paying in addition.  And

2   I believe the rule had in there that there was a discussion

3   about not giving the right of first refusal.  And as I recall,

4   there was some statement at agenda that that could be included

5   in the tariffs.

6             MR. TRAPP:  Well, I hope you are listening to the

7   comments on the other side of the room, and they strike me as

8   if there is a fairness issue here with regard to you getting

9   all the RECs when we only may be talking about some netting

10   involved here.  I mean, some of the proposals I've heard, at

11   least on the RPS side of the workshops we have been having,

12   will assign great value to these RECs.  I mean, great value to

13   these RECs.  And I'm more inclined to say we are premature to

14   assign that great value at this point in time in the

15   recommendation than I am to just give them away willy-nilly.

16   And you know my longstanding position is that at least based on

17   the avoided cost principles, RECs belong to the customer; they

18   can do what they want to with them.

19             MS. CLARK:  As long as it is based on avoided cost.

20             MR. TRAPP:  I grant you we begin negotiating once we

21   get above avoided cost, determining the balance between subsidy

22   and equity or fairness.

23             MS. CLARK:  And what I'm suggesting is that the same

24   sort of issues will come up in other applications that RECs may

25   be generated and available, and the question is to the extent

FLORIDA PUBLIC SERVICE COMMISSION

125

1   there is incentive subsidization that are provided to the

2   customers, should there be some allocation of those RECs to

3   those customers/entities that provided the incentives.

4             MR. TRAPP:  I certainly appreciate your arguments,

5   and I hope that they come forward in the discussions before the

6   full Commission because I think they need to hear these and

7   weigh them.  They vote, we don't.  But I have to also tell you

8   that if you start out with the basis that what we are trying to

9   do here is essentially promote active conservation, and the

10   principal reason for this rule is offset, then I have to side

11   more with the concept that any additional benefits that are

12   generated by that conservation belong to that customer.  And

13   perhaps only the net that goes to the grid that gets on our

14   cogen side, maybe we can talk about that, but it seems to me

15   the lion's share of the RECs belong to the customer.  That's

16   just my opinion.

17             MR. BRANDT:  Yann Brandt.  Just a quick comment on

18   the RECs.  I think the way the paragraph is written is right

19   on.  We're discussing the value of the electricity right now

20   that we are net metering, and that was one of the previous

21   paragraphs.  When we get into renewable energy credits, we can

22   talk all day long about the value of renewable energy credits,

23   and if you think that -- we need to distinguish that there is

24   two items in that energy that we are producing.  There is the

25   actual electricity that we are putting back onto the grid that

FLORIDA PUBLIC SERVICE COMMISSION

126

1   is being resold at a retail rate to another customer, and then

2   there is the intangible renewable energy credit which we are

3   going to use towards the RPS.

4             I would welcome the utilities to purchase the

5   renewable energy credits at whatever multiplier they propose

6   towards that value, because if we are going to assign a

7   multiplier or an extended value to that renewable energy credit

8   and the electricity from that, then we can't just buy it for

9   whatever little value we are assigning to it by doing what you

10   are asking for.  I think we really need to separate the two and

11   discuss, one, the value of the electricity here, and then we

12   are going to assign the value of the renewable energy credit at

13   the RPS workshop or whatever other function.  We really need to

14   separate the two and keep it the way it is here.

15             MR. TOTH:  Bill Toth.

16             I would agree with what he said 100 percent.  I

17   believe if we are doing it on a cost avoidance basis, as you

18   said, the RECs belong to the small system or the customer, not

19   the utility.  I keep hearing that the other ratepayers are

20   going to be subsidizing the solar customers, but I have not

21   seen any evidence, numbers to substantiate this claim.  I would

22   like to challenge the utilities to provide some proof that

23   there will actually be subsidizing going on under the

24   circumstances that we are talking about, including the

25   benefits.  And they can't just look at the negative side of

FLORIDA PUBLIC SERVICE COMMISSION

127

1   this, they have got to look at the positive side of the not

2   lost, you know, in transmission, the on-site generation and not

3   having to build future plants.  I mean, I know they don't want

4   to look at this side of it, but I would like to see some

5   numbers to substantiate the claim I keep hearing that other

6   ratepayers are subsidizing the renewable energy purchasers.  I

7   have not seen any numbers to substantiate this, any evidence.

8             MS. ROSE:  This is Gwen Rose.  I wondered if I could

9   just add a little bit to that.  I haven't seen studies done in

10   Florida, but I can point to at least three studies that were

11   done to quantify the value of distributed renewable energy

12   according to peak generation, peak demand, deferred T&D

13   upgrades, or avoided T&D upgrades and then transmission losses,

14   which can run between -- depending on obviously location, you

15   know, between 7 to 10 percent, or 13 percent.  Those numbers

16   change, but even during peak periods transmission losses go up

17   even more.

18             So, anyway, when they looked at this study in Austin,

19   Texas, they found the distributed generation benefit to be 11

20   cents; when they looked at it in New York, they found it to be

21   16 cents; and when they looked at it in California, they found

22   it to be 23 cents.  And those are all values that aren't being

23   captured when we talk about distributed generation.  So, again,

24   just to reiterate, when we are talking about the cost of net

25   metering, let's talk about the benefits provided by that power

FLORIDA PUBLIC SERVICE COMMISSION

128

1   to the ratepayers and to the utility.

2             MS. CLARK:  You know, I would just point out that's

3   what you do when you develop your avoided costs.  You look at

4   those things and you come up with what customers would

5   otherwise pay for the energy to be generated by the utility.

6   And to the extent you're paying above avoided cost, there is

7   some subsidization going on.

8             MR. TOTH:  And I would like to see evidence to

9   substantiate that statement.  Based on what she said just down

10   there, I don't know that that's true.

11             MS. CLARK:  That's what we do when we put out the

12   standard offer contracts and do the need determinations as to

13   what the cost is going to be to provide that generation.  Those

14   are where you find that information.

15             MR. GRANIERE:  Just an observation on the avoided

16   cost issue.  It really kind of boils down at the end as to how

17   you measure it.  That's what it finally boils down to at the

18   end.  And probably if it went to the avoided costs, then the

19   discussion would be what is and is not included in the avoided

20   cost.  And I think that we are talking of the subsidy, it can

21   either occur in one of two ways.  It can be the avoided cost

22   way, is that is there a net benefit involved from a traditional

23   economics point of view, or are we talking about a situation of

24   really the potential for lost sales that may have to be made up

25   from someone else.

FLORIDA PUBLIC SERVICE COMMISSION

129

1             I would point out that the second argument for

2   subsidy, the lost sales argument, does, in my opinion, carry

3   much more traction in a system that is either losing sales or

4   is stationery.  If, however, that system has growing sales,

5   that argument has much less traction because there's people

6   replacing there.  So, unfortunately, it seems to me, and this

7   is my personal opinion, that the lost sales argument has less

8   traction in Florida than I would say in a place like Michigan

9   or Indiana.

10             But the other issue, the avoided cost issue, that's a

11   much more ticklish issue because the discussion really boils

12   down to what is the time frame within which to measure the

13   avoided cost.  If the time frame is very short, it's as

14   available energy.  If the time frame is kind of longer, it's

15   building a new plant.  I don't know which one you want to use,

16   but that is what the argument becomes down the road.

17             MR. FUTRELL:  Let's take five.

18             (Recess.)

19             MR. FUTRELL:  Let's get started.  We have got just a

20   little bit more to go, and if we can get into Section 10 on the

21   reporting requirements.  We have made these applicable to all

22   of the utilities, muni, co-op, and investor-owned utilities.

23   We have made one clarification on 10(e) that would be specified

24   about the previous calendar year.  Any comments on the

25   reporting requirements?

FLORIDA PUBLIC SERVICE COMMISSION

130

1             MS. CLARK:  One question, Mark.  On Page 9, Lines

2   20 and 21, when you say the total number of customers and total

3   kW, do you want that reported as of the end of the previous

4   calendar year?  The report is due April 1st, and I would

5   presume that the totals you would want are also as of the

6   previous calendar year.  Not just for that calendar year, but

7   the total will be run every December 31st.

8             MR. HINTON:  Yes.  And it's not for the previous

9   calendar year, but we could set a deadline, as of this date

10   what is the total.

11             MR. TRAPP:  Well, on Line 19, would you like to add

12   the words, "Shall report the following for the previous

13   calendar year by April 1st of each year," is that what you are

14   getting at, Susan?

15             MS. CLARK:  Yes.

16             MR. HINTON:  Well, I don't know if that will get to

17   the total.

18             MR. ASHBURN:  I mean, customers come and go during

19   the year, so --

20             MR. HINTON:  For (a) and (b), if you did that it

21   would just be for the previous year.

22             (Simultaneous conversation.)

23             MR. TRAPP:  Cumulative totals?

24             MR. HINTON:  Cumulative, a running tally of what we

25   have total.

FLORIDA PUBLIC SERVICE COMMISSION

131

1             MR. ASHBURN:  So, for 20, for example, you want the

2   number that were connected during the year, but some came on

3   and some came off, or do you want them as of the end of the

4   year, or what do you want?

5             MR. TRAPP:  All of the above sounds good to me.

6             MR. HINTON:  There you go.

7             MR. FUTRELL:  Specify that it would be effective as

8   of the end of the calendar year.

9             MR. ASHBURN:  That's fine; just which, that's all.

10             MR. HINTON:  It would be a total interconnection.

11             MR. ASHBURN:  If you clarify it might be better to

12   say that, particularly for (a) and (b) if you had said as of

13   December 31st of the prior year or something like that, that

14   would help.

15             MS. CLARK:  As of the end of the previous calendar

16   year.

17             MR. TRAPP:  I think that was the intent to capture

18   calendar year data.  Now, whether or not we want the end of the

19   year, or average for the year, if we have any additional data

20   requests we will send them.

21             MR. HINTON:  The reason why we have, you know,

22   because you look down on (c) and (d), it does specifically say

23   for the previous calendar year.  (A) and (b) were designed to

24   be running tallies, so we can say as of the end of the previous

25   calendar year, but it is meant to be cumulative for all

FLORIDA PUBLIC SERVICE COMMISSION

132

1   previous years.

2             MR. TRAPP:  No, wait a minute.  I don't think so,

3   Cayce.  You want to know the total number of customers you had

4   on-line at the end of the year.

5             MR. ASHBURN:  I think you want them at the end of the

6   year, because then (f) is asking for information about each one

7   of them, and I would assume you would want the count as of the

8   end of the year to have the information about what do they use,

9   and what their ratings were, and that kind of thing.

10             MS. CLARK:  I think we're saying that the reporting

11   will be total number of customers on renewable generation

12   interconnection as of the end of the previous calendar year.

13             MR. FUTRELL:  Right.  The effective stop date is

14   December 31st, whatever the world looks like on that day.

15             MR. ASHBURN:  Right.  And that would apply to (a),

16   (b), and (f).

17             MR. FUTRELL:  And (a), (b), and (f) would be for

18   whatever is accumulated from when they first got on the system

19   to that date.

20             Anything else on reporting?

21             MR. TRAPP:  Michelle came back.  Can I ask my one

22   co-op question that I always ask?

23             I can't get through a workshop without calling you to

24   the mike.

25             MS. HERSHEL: I knew I should have left.

FLORIDA PUBLIC SERVICE COMMISSION

133

1             MR. TRAPP:  We started the workshop with you and we

2   now end the workshop with you, so I have to ask for the record,

3   do you have a problem with the shift to basically reporting

4   that we have done in the rule?

5             MS. HERSHEL:  No.

6             MR. TRAPP:  Thank you.

7             MR. FUTRELL:  Moving on to 11, dispute resolution.

8   We have tried to simplify that.  Referring to two processes,

9   one the less formal customer complaint process, and one a more

10   formal process where a party can initiate a formal proceeding

11   with the Commission and give the customer the option of

12   selecting the process they would like to pursue.

13             MR. JONES:  Excuse me, Mark.  I just had one comment.

14   Just going back, again, I was just thinking, on the information

15   collected it might be helpful, again, for conveying RECs and

16   identifying a generating ID, or a unique ID associated if we

17   ever go to a registry on RECs, if you are going to collect

18   (inaudible) information, renewable energy, gross power rating,

19   geographic location by county, it might be interesting either

20   to get -- you don't want to have published a person's address,

21   maybe a unique generator ID which could be maybe a meter

22   number, or a meter number that the system is tied to, at least

23   for purposes in the REC reporting that it might be helpful, so

24   that you can facilitate, you know, good accounting of the RECs

25   and you don't end up with double counting for a system.  So

FLORIDA PUBLIC SERVICE COMMISSION

134

1   just a suggestion, you know, if you're going to collect all of

2   that information, maybe, again, a site ID or something along

3   those lines.

4             MR. FUTRELL:  I guess we didn't contemplate getting

5   into -- that that would be more on the order of the RPS and

6   data requirements for the RPS.  We just looked at this as more

7   as overall high-level data so we wouldn't get into any kind of

8   confidentiality concerns and high-level data on what has been

9   happening with these as a result of these rules.

10             MR. HINTON:  Sooner or later we're going to have to

11   talk to the legislature about this, so we've got to start

12   gathering the information.

13             MR. FUTRELL:  Okay.  I think at the beginning of the

14   workshop -- I'm sorry, Mr. Hansen.

15             MR. HANSEN:  I just have a real simple question.  In

16   the overall scheme of things, what is your projection that you

17   think that this will be clarified and enacted into law or

18   regulation?

19             MR. FUTRELL:  And I may need some help from Ms.

20   Gervasi, but as I said earlier, we are going to take a

21   recommendation to the Commissioners at the December 18th agenda

22   conference where they will decide whether or not to propose a

23   rule.

24             And at that agenda they can take the rule staff gives

25   to them, recommends to them, make changes to it, or make some

FLORIDA PUBLIC SERVICE COMMISSION

135

1   other decision about going forward.  But if they choose to

2   propose a rule, then there will be opportunities for public

3   comment on it.  Also there will be opportunities to request a

4   hearing if someone has a concern with the rule.  That will

5   determine how quickly a rule becomes final if a party decides

6   to request a hearing, but it's hard to forecast out beyond the

7   early part of the year.  It's very dependent upon actions taken

8   by the parties and their level of concern with the rule.

9             MR. TRAPP:  Let me just elaborate, if I may, in a

10   supervisor's position.

11             We're staff; we don't vote.  We just advise and

12   recommend to our Commissioners.  Obviously, we are going to

13   have to come up with a proposed draft to put before them, and

14   that proposed draft is not going to -- we haven't reached

15   consensus here on many issues, so staff is going to have to

16   pick a preferred approach.

17             It is our practice, however, for staff to put forth

18   to the Commission a full narrative of the record, if you would,

19   in the case, and that's why the post-hearing comments for this

20   particular workshop are to me really important because, you

21   know, what I intend to -- I've challenged you throughout the

22   day, what I intend to now challenge my staff to do is to take

23   those written comments and to go through them point-by-point

24   and say we accept, we reject, we propose modification, and here

25   is why to be part of the recommendation that we give to our

FLORIDA PUBLIC SERVICE COMMISSION

136

1   Commissioners.

2             So, I think, you know, the draft that we give our

3   Commissioners will be a working model, if you would, of a rule

4   that we think from a staff perspective would best work.  We may

5   not agree.  Where we don't agree, there will be alternatives in

6   the REC saying, you know, Bob thinks this should be done this

7   way and Mark thinks it should be done that way, and here are

8   our reasons for it.

9             But in addition to that, I hope that we are able, and

10   I am going to challenge my staff to go through the written

11   comments from this workshop and say, you know, Party A, B, C,

12   D, E, F, G said this, this, this.  We have incorporated it in

13   the rule, or we have not, and here is why.  So that is what we

14   will be doing to present to our Commissioners.

15             Mark is correct, though, we have been told that the

16   December 18th agenda is when that recommendation will be voted

17   on by our Commissioners.  Now, when it comes to them, they

18   vote, we don't.  They control the docket from then on.

19             MR. HANSEN:  Thank you very much.

20             MR. TRAPP:  Sure.

21             MS. CLARK:  Are you going to reiterate the dates?  I

22   think you said the 19th for the transcripts.

23             MR. FUTRELL:  Right.  We are looking at the

24   transcript will be available on October 19th, and we'll make

25   sure that it is put upon our website, on the Commission's

FLORIDA PUBLIC SERVICE COMMISSION

137

1   website.  Also, you can contact staff if you would like a copy

2   of it to get that out quickly.  We are looking for comments on

3   October 26th.  And then, again, the agenda would be on

4   December 18th.

5             MS. CLARK:  Have you set any tentative dates for the

6   public hearing, if requested, or is that too much in the

7   future?

8             MS. GERVASI:  We don't have shadow dates, I don't

9   believe.

10             MS. CLARK:  Okay.

11             MR. FUTRELL:  We would request, again, on the theme,

12   we have heard a lot today, specific rule language and as much

13   detailed justification as you can provide will be very helpful

14   to staff so we will fully understand what you are proposing and

15   why.  So if you can do that, that would be helpful.

16             If there are no other questions, thank you very much

17   for coming.  Have a good day.

18             (The staff workshop concluded at 5:45 p.m.)

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

138

1   STATE OF FLORIDA    )

2                       :              CERTIFICATE OF REPORTER

3   COUNTY OF LEON      )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

5   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

6   herein stated.

7             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

8   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

9   proceedings.

10             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

11   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

12   the action.

13             DATED THIS 19th day of October, 2007.

14

15             ___________________________________________

JANE FAUROT, RPR

16                   Official FPSC Hearings Reporter

(850) 413-6732

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION