1

1                            BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 100404-EI

3       In the Matter of:

4       PETITION BY FLORIDA POWER &

LIGHT COMPANY TO RECOVER SCHERER

5       UNIT 4 TURBINE UPGRADE COSTS

THROUGH ENVIRONMENTAL COST

6       RECOVERY CLAUSE OR FUEL COST

RECOVERY CLAUSE.

7       __________________________________/

8

9

10

11

12

PROCEEDINGS:    COMMISSION CONFERENCE AGENDA

13                       ITEM NO. 11

14

COMMISSIONERS

15       PARTICIPATING:  CHAIRMAN ART GRAHAM

COMMISSIONER LISA POLAK EDGAR

16                       COMMISSIONER RONALD A. BRISÉ

COMMISSIONER EDUARDO E. BALBIS

17                       COMMISSIONER JULIE I. BROWN

18

DATE:           Tuesday, January 11, 2011

19

PLACE:          Betty Easley Conference Center

20                       Room 148

4075 Esplanade Way

21                       Tallahassee, Florida

22       REPORTED BY:    JANE FAUROT, RPR

Official FPSC Reporter

23                       (850) 413-6732

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                      P R O C E E D I N G S

2                 CHAIRMAN GRAHAM:  Let's move to Item 11.

3                 MR. BUTLER:  Mr. Chairman, on the next

4       item, we have a handout that we actually used with

5       staff and the other parties back in August that I'd

6       like to have copies distributed to you and any of

7       the staff or parties who wanted to see it.  We will

8       be making some brief reference to it.  So while we

9       are shifting, if I can have that done, I would

10       appreciate it.

11                 CHAIRMAN GRAHAM:  This is a handout that

12       was already handed out one time before?

13                 MR. BUTLER:  Handed out to the parties and

14       to staff at an informal workshop that staff held

15       back in August of 2010 on the matter that we are

16       about to move to.

17                 CHAIRMAN GRAHAM:  We will get someone from

18       staff to hand it out for you.

19                 MR. BUTLER:  Yes.  Thank you.

20                 CHAIRMAN GRAHAM:  Ms. Brown, where's your

21       name tag?  (Laughter.)

22                 MS. BROWN:  There it is, Mr. Chairman.

23                 CHAIRMAN GRAHAM:  Now I know who you are.

24                 MS. BROWN:  I have forgotten it twice

25       already.

FLORIDA PUBLIC SERVICE COMMISSION

3

1                 Good afternoon, Commissioners.  I'm Martha

2       Brown with the General Counsel legal staff.

3                 Item 11 is staff's recommendation

4       regarding FPL's request to recover the costs

5       associated with its Scherer Unit 4 upgrade through

6       either the environmental cost-recovery clause or the

7       fuel cost-recovery clause.

8                 In Issue 1, staff recommends that the

9       costs are not eligible for recovery through the ECRC

10       because they are not environmental compliance costs.

11       They are discretionary and not required to comply or

12       remain in compliance with any environmental

13       regulation.

14                 In Issue 2, staff recommends that the

15       costs are not eligible for recovery through the fuel

16       clause either, because they are not incurred to

17       lower the delivered price of fuel.  We are prepared

18       to answer any questions.  It's your discretion how

19       you would like to proceed, if you want to lump this

20       will altogether or separate issue-by-issue.  The

21       parties are here to address you, as well; however

22       you would like to proceed.

23                 CHAIRMAN GRAHAM:  Thank you, Ms. Brown.

24                 I think I'm going to go with the

25       intervenors, and then I will let FPL speak, and then

FLORIDA PUBLIC SERVICE COMMISSION

4

1       we will go to the board and see if they want to do

2       it all at once or piece-by-piece.  Let's start

3       with -- who wants to go first?  Ms. Kaufman, go

4       ahead.

5                 MS. KAUFMAN:  Yes.  Thank you, Mr.

6       Chairman.

7                 Commissioners, Vicki Gordon Kaufman on

8       behalf of the Florida Industrial Power Users Group.

9       And we are here to support the staff's

10       recommendation.  As they tell you, Florida Power and

11       Light wants to recover the costs of a turbine

12       upgrade at their Scherer 4 coal unit through either

13       the fuel clause or the environmental cost-recovery

14       clause.

15                 Just as an aside, I think it is

16       interesting that it seems to me they are saying,

17       well, it might not fit here, but it might fit here.

18       Just put it one place or the other.  We are here to

19       suggest to you that this is a base rate item and

20       that is where it ought to be recovered.

21                 Before I comment specifically on the

22       project, I just want to say that in regard to the

23       fuel adjustment clause and the other clauses, we

24       talked some about them in a prior item, we suggest

25       to you that costs that go through these clauses need

FLORIDA PUBLIC SERVICE COMMISSION

5

1       to be strictly scrutinized and construed.  I think,

2       as a little bit of background, I believe we started

3       out with the fuel clause adjustment mechanism, I

4       don't know, many, many years ago, and the idea

5       behind that was that there should not be great

6       regulatory lag in utilities recovering their costs

7       for coal, gas, or whatever, because those are very

8       volatile costs and they change from year to year.

9                 And, in fact, at one point in the not too

10       distant past we used to have the fuel adjustment every

11       six months.  Since then we have the environmental

12       cost-recovery clause; we have the capacity

13       cost-recovery clause; we have the nuclear cost-recovery

14       clause.  And I think it is important to point out, and

15       we heard in the right last cases last year, that over

16       50 percent of the utilities' costs generally are

17       flowing through these clauses as opposed to base rates.

18       So we think it is important that the requirements be

19       met before costs are flowed through these clauses.

20       And, as I said, we agree with you that -- we agree with

21       staff, excuse me, that the criteria is not met for

22       either clause in this case.

23                 First of all, I think staff has done a

24       good job in telling you the history of the clauses

25       and analyzing the orders.  They have an attachment

FLORIDA PUBLIC SERVICE COMMISSION

6

1       on the back of their recommendation.  Clearly this

2       project does not meet the requirements for recovery

3       through the environmental cost-recovery clause.  It

4       is not being undertaken to meet any environmental

5       requirement and there are no environmental statute,

6       rule, or law, and, therefore, under your own orders

7       it is not eligible for recovery through that clause.

8                 Similarly, it is not eligible for recovery

9       in the fuel clause, either.  Because as Ms. Brown

10       mentioned to you, it does nothing to lower the

11       recovered cost of fuel.  Now, I want to be clear,

12       because I have a feeling, having sat through the

13       meeting from this handout, that FPL is going to tell

14       you that this is a good project for ratepayers, it's

15       something they should do.  And, you know, I don't

16       take issue with that.  I think what we are talking

17       about is do they get to recover for it right this

18       second?

19                 Does it meet the requirements for clause

20       recovery, or is it something that they recover as

21       they do with lot of projects, and it is covered by

22       their base rates.  That is what we suggest to you.

23       If this is the right thing to do for ratepayers, you

24       know, they should do it, but they should recover it

25       in the appropriate way and that is not through

FLORIDA PUBLIC SERVICE COMMISSION

7

1       either one of these clauses.  And so we would urge

2       you to adopt your staff's recommendation on this

3       issue.

4                 Thank you.

5                 MR. BECK:  Thank you, Mr. Chairman.

6       Charlie Beck, again, Office of Public Counsel.

7                 We are here to support staff.  We think

8       they are exactly right on; they are spot on for the

9       reasons they said.  This is an -- we have no doubt,

10       as Ms. Kaufman said, that this is an economic

11       project and a good project.  We agree with FPL on

12       that.  But that is not the issue.  The issue is does

13       it qualify under the ECRC or the fuel clause, and it

14       does not for the reasons staff said.  So we are

15       going to support staff and oppose Florida Power and

16       Light on this issue.  Thank you.

17                 CHAIRMAN GRAHAM:  Thank you.

18                 Mr. Butler.

19                 MR. BUTLER:  Thank you, Mr. Chairman.  I

20       will start out by observing, perhaps to your relief,

21       that thus ends the Entente Cordiale.

22                 FPL understands and appreciates staff's

23       concern about limiting clause recovery to projects

24       that clearly meet established eligibility

25       requirements or criteria.  However, we respectfully

FLORIDA PUBLIC SERVICE COMMISSION

8

1       and strongly disagree with staff's conclusion that

2       the Scherer 4 turbine upgrade project does not meet

3       the eligibility criteria for recovery under the

4       environmental and fuel clauses.

5                 With me today is John Hamp (phonetic) of

6       FPL's Environmental Services Group.  Before I

7       discuss why FPL believes that this project is

8       recoverable under the clauses, I would like Mr. Hamp

9       to briefly describe the project, what is motivating

10       its timing, and how it will benefit FPL's generation

11       fleet and our customers.  And to facilitate that, we

12       handed out the presentation that had been given to

13       staff and the parties back in August when we were

14       initially discussing the project.  And Mr. Hamp will

15       refer to a few numbered pages in there that will

16       hopefully speed along that part of our presentation.

17                 Mr. Hamp.

18                 MR. HAMP:  Good afternoon, Commissioners.

19                 Today I want to talk about the project

20       that FPL is pursuing, and this all ties in together

21       with FPL's CAIR compliance project.  It's the

22       installation of flue controls on our Scherer Unit 4

23       to comply with what was a federal rule as the most

24       cost-effective approach for compliance, and then

25       subsequent to that a Georgia state rule that

FLORIDA PUBLIC SERVICE COMMISSION

9

1       required installation of those controls be completed

2       by December 31st of 2012.

3                 If you move to the second or third page of

4       the presentation, you will see that essentially

5       there are three large blocks that are the subject of

6       the installation of controls at Plant Scherer.  And

7       at that time those projects were proposed and

8       approved by the Commission.  That resulted in the

9       installation of an SCR, a wet scrubber, and a

10       baghouse sorbant injection system for removal of the

11       pollutants that were then governed by, and still

12       are, by the Georgia state rule.

13                 In addition to that, the installation of

14       this control equipment represents a loss in the net

15       output of the facility as a result of the operation

16       of those controls.  In essence, additional motors

17       and pumps and fans and equipment that consume

18       electricity at the unit and thereby reducing the net

19       output to the grid that would then go to our

20       customers.  In this case we are talking about a net

21       loss of 35 megawatts of unit output.

22                 Briefly, on Page 4 the point I want to

23       make is that this steam turbine upgrade that FPL is

24       pursuing became available subsequent to the projects

25       that we had proposed for the compliance with the

FLORIDA PUBLIC SERVICE COMMISSION

10

1       CAIR program.  In other words, at that time this was

2       not known to be available to us, nor the other

3       owners of Plant Scherer.  And that following the

4       implementation of the controls and construction, it

5       was provided by Hitachi as a way for us to not only

6       recover those megawatts that were being lost by the

7       installation of the controls, but also by improving

8       unit heat rate efficiency through this upgrade of

9       the HP section of the steam turbine.

10                 A really important part on Page 5 is that

11       the timing of this is critical, the installation of

12       these steam turbine upgrades.  Under the Clean Air

13       Act there is a provision called new source review

14       which requires during construction of new major

15       facilities, major emissions and major modifications

16       of existing facilities to look at those emissions

17       from the facility and to avoid substantial or net

18       significant increases in emissions.  And to do so, a

19       look under NSR requires you look at your past actual

20       and then your future projected actual emissions.

21                 And, in essence, if this project had been

22       done prior to the installation of these controls, or

23       if FPL had pursued this after installation of

24       controls, we would be subject to New Source Review

25       requirements, and for Scherer Unit 4 that would

FLORIDA PUBLIC SERVICE COMMISSION

11

1       represent a repermitting of the facility,

2       implementation of additional costs in reduced

3       operational flexibility for the operation of Scherer

4       Unit 4.  So to avoid that, the timing was critical

5       that we had to do this project almost simultaneous

6       with the implementation of these controls.

7                 On Page 6, the steam turbine upgrade that

8       we are pursuing, not only through the gaining of the

9       35 megawatts that we would have lost to station

10       service, not only does it replace that lost

11       generation that results in about 215 gigawatt hours

12       per year of coal-fired generation for Florida Power

13       and Light, that coal-fire generation is part of our

14       fuel flexibility.  With the modest investment of

15       $7 million, we will avoid or save the customers

16       $240 million through the life of that project.

17                 Additionally, the steam turbine upgrade

18       also maintains our system capability and reserve

19       margins.  And with that, I will ask (sic) any

20       questions that you may have of the project, but I

21       will let John continue.

22                 MR. BUTLER:  Mr. Chairman, if it is okay,

23       let me finish my presentation, and then if you have

24       questions for either of us we will be available.

25                 Let me turn to the issue of eligibility

FLORIDA PUBLIC SERVICE COMMISSION

12

1       for cost-recovery.  I want to first talk about the

2       environmental clause.  Staff's argument against

3       recovery through the environmental clause is that

4       the turbine upgrade isn't required to comply with

5       environmental requirements.  FPL doesn't agree.

6       However, whether or not the turbine upgrade is

7       required by itself to meet environmental

8       requirements shouldn't be the end of the inquiry.

9       It hasn't been the end of the inquiry in prior

10       Commission evaluations of environmental projects,

11       and we believe that consistency in your

12       decision-making is fundamental to constructive

13       regulation.

14                 In at least one prior instance, which

15       happened to involve Progress Energy, the Commission

16       has allowed environmental clause recovery for a

17       project that the utility clearly could have forgone

18       without violating any environmental requirements,

19       yet the Commission approved ECRC recovery for the

20       project because it was the most cost-effective and

21       efficient way to comply with those requirements.

22                 The project I'm referring to is discussed

23       in the staff recommendation.  It involves the

24       installation of modular cooling towers by Progress

25       Energy Florida at the Crystal River Power Plant.  An

FLORIDA PUBLIC SERVICE COMMISSION

13

1       environmental requirement limited the temperature of

2       cooling water discharge from the plant.  Due to an

3       increase in the inlet water temperature, Progress

4       was put to a choice.  You could either install

5       modular cooling towers so that the Crystal River

6       units could continue operating at their normal

7       output levels, or it could have cut the power output

8       of the units in order to reduce the temperature gain

9       in the cooling water.

10                 Progress chose to install the cooling

11       towers because their cost was much less than the

12       replacement power cost that Progress would have

13       incurred if it had derated the units instead.  FPL

14       believes that this is precisely analogous to what we

15       are proposing with the Scherer 4 turbine upgrade.

16       FPL can meet the applicable air emission

17       requirements at Scherer 4 without the turbine

18       upgrade, but there would be a significant reduction

19       in the unit's net power output that would require

20       expensive replacement power, or FPL can perform the

21       turbine upgrade and avoid those expensive

22       replacement power costs.

23                 FPL proposes to perform the turbine

24       upgrade because it is a highly cost-effective way to

25       comply with the air emission requirements.  In other

FLORIDA PUBLIC SERVICE COMMISSION

14

1       words, FPL faces the same trade-off that Progress

2       faced, and FPL is making the same choice that

3       Progress made.  In both instances the utilities are

4       taking steps that they could have foregone and still

5       been in environmental compliance, but in both

6       instances customers would have been worse off if the

7       utilities had not taken those steps.

8                 There is no legitimate reason to deny

9       environmental clause recovery for FPL's turbine

10       upgrade when the Commission approved recovery of the

11       Progress cooling towers just three years ago.

12       Approval of cost-recovery for the Scherer turbine

13       upgrade costs would be consistent with the precedent

14       the Commission established in the Progress decision,

15       which is what is expected under Section 120.68(7) of

16       the Florida Statutes.

17                 Now, let me turn to the fuel clause,

18       because the Scherer 4 turbine upgrade is also, or

19       alternatively clearly eligible for cost-recovery

20       through that mechanism.  The staff recommendation

21       cites Order Number 14546, which FPL agrees is

22       controlling.  That order lists several categories of

23       costs that are properly considered in the

24       computation of average inventory price of fuel used

25       in the development of fuel expense in the utility's

FLORIDA PUBLIC SERVICE COMMISSION

15

1       fuel cost-recovery clauses.  Item 10 in that list is

2       for, quote, fossil fuel related costs normally

3       recovered through base rates, but which were not

4       recognized or anticipated in the cost levels used to

5       determine current base rates, and which, if

6       expended, will result in fuel savings to customers,

7       end quote.

8                 The Scherer 4 turbine upgrade fits Item

9       10 precisely.  Scherer 4 is a coal-fired plant.

10       Coal is a fossil fuel by common understanding and

11       dictionary definition.  For example, the American

12       Heritage Dictionary of the English Language defines

13       a fossil fuel as, quote, a hydrocarbon deposit such

14       as petroleum, coal, or natural gas, end quote.

15                 The cost of the Scherer 4 turbine upgrade

16       is not reflected in FPL's current base rates.  FPL

17       prepared the 2010 test year forecast upon which

18       current base rates were set in late -- it prepared

19       that forecast in late 2008.  Scherer 4 didn't

20       receive the environmental permit for the upgrade

21       until February 2010.  FPL did not anticipate and

22       could not reasonably have anticipated the turbine

23       upgrade when it prepared the rate case test year.

24                 And, finally, as Mr. Hamp had indicated,

25       the turbine upgrade will result in substantial fuel

FLORIDA PUBLIC SERVICE COMMISSION

16

1       savings.  $240 million on a net present value basis

2       compared to a project cost of about $7 million.  In

3       its recommendation, staff argues that Item 10 should

4       be interpreted to apply only for project's fuel

5       savings result from lowering the delivered price of

6       fuel or otherwise result in burning lower priced

7       fuel at the plant where the project is undertaken.

8       This restrictive interpretation is inconsistent with

9       the Commission's history of applying Item 10.

10                 Attachment A to the staff recommendation

11       summarizes the orders in which the Commission has

12       previously considered for eligibility on projects

13       under Item 10 of the fuel clause.  None states or

14       even suggests staff's restrictive interpretation.

15       To the contrary, the orders reflect a wide range of

16       circumstances where cost-recovery has been approved

17       pursuant to Item 10.  These include the following:

18       A gas pipeline lateral dedicated to delivering

19       natural gas to a plant; rail cars devoted to

20       delivering coal to a coal-fired plant; modifications

21       at an oil-fired plant to allow it to burn an

22       emulsion of solid fossil fuel and water called

23       orimulsion; modifications to oil-fired plants to

24       allow them to burn natural gas; modifications to

25       oil-fired plants to allow them to burn higher sulfur

FLORIDA PUBLIC SERVICE COMMISSION

17

1       oil or heavier oil; incremental power plant security

2       measures taken so that nuclear plants can continue

3       to generate low-cost power.

4                 And, finally, staff's proposed restrictive

5       interpretation of Item 10 is most directly at odds

6       with the Commission's approval of fuel cost-recovery

7       for the thermal uprate at FPL's Turkey Point nuclear

8       units.  That decision is almost precisely on point

9       here.  FPL proposed to spend approximately

10       $10 million on modifications that it would allow

11       Turkey Point Units 3 and 4 to increase their thermal

12       output and therefore ultimately their electric

13       output.  By increasing the output of low-cost

14       nuclear power, the project reduced the amount of

15       higher cost fossil fuel generation needed to meet

16       FPL's load.  This saved FPL's customers about

17       $97 million on a net present value basis.

18                 The Scherer 4 turbine upgrade also will

19       increase the output of a generating unit with low

20       fuel costs.  It, too, will reduce the overall fuel

21       costs that customers pay, and it does so at a cost

22       of about $7 million while saving customers about

23       $240 million.  Needless to say, this is a tremendous

24       benefit to our customers, and it proves to be about

25       3.5 times more cost-effective for FPL's customers

FLORIDA PUBLIC SERVICE COMMISSION

18

1       than the Turkey Point thermal uprate which the

2       Commission previously approved for Item 10 fuel

3       clause recovery.

4                 In summary, the Scherer 4 turbine upgrade

5       meets the established eligibility criteria for both

6       the environmental clause and the fuel clause.  The

7       Commission properly uses those clauses to encourage

8       utilities to be proactive in identifying and

9       implementing measures that will reduce costs to

10       customers.

11                 The turbine upgrade is a clear winner in

12       this regard.  The Commission should reject the staff

13       recommendation and approve clause recovery of the

14       project to send the signal that it is still in the

15       business of encouraging utilities to be proactive in

16       reducing environmental compliance and fuel costs for

17       their customers.  Thank you.

18                 MS. KAUFMAN:  Mr. Chairman, I wonder if I

19       might have a brief moment of rebuttal?

20                 (Inaudible.)

21                 MS. KAUFMAN:  I thought I would ask.

22                 CHAIRMAN GRAHAM:  But somebody may call on

23       you.

24                 MS. KAUFMAN:  Thank you.

25                 CHAIRMAN GRAHAM:  We are back here to the

FLORIDA PUBLIC SERVICE COMMISSION

19

1       board.

2                 If nobody wants to speak, can I get a

3       motion?

4                 Commissioner Brown.

5                 COMMISSIONER BROWN:  This is a question

6       for staff.  Are there any other -- I know they

7       talked about base rate in the recommendation, and

8       this is probably for you, Ms. Brown, about the

9       recommendation about it's under the fuel clause, per

10       se, under Issue 2 that it is recovered -- can be

11       recovered through base rate adjustment.

12                 Are there any other recovery mechanisms

13       for these costs?

14                 MS. BROWN:  I think those would be the

15       three, that either the environmental clause, the

16       fuel clause, or just incorporated in base rates,

17       those are the only three.

18                 COMMISSIONER BROWN:  Okay.

19                 MS. BROWN:  And it's our opinion that

20       really the base rate incorporation route is the best

21       way to go.

22                 COMMISSIONER BROWN:  Okay.  Thank you.

23                 CHAIRMAN GRAHAM:  Commissioner Edgar.

24                 COMMISSIONER EDGAR:  I am learning all

25       about that button now.  A question for FPL.  As you

FLORIDA PUBLIC SERVICE COMMISSION

20

1       have noted, the costs that are before us are not

2       included in base rates.  But yet, also, we have had

3       ample discussion earlier today about the fact that

4       the utility has some flexibility to -- let me just

5       say some flexibility under the settlement agreement.

6       And I also, and I would expect you to, as well,

7       recognize that not every item is specifically

8       included in base rates.  That there is some leeway

9       in there to address items as they occur, and also

10       to -- et cetera.  It has been a long day already.

11                 So, with that, the first question, is it

12       FPL's position that this item is required under an

13       environmental regulation by some governmental

14       entity?

15                 MR. BUTLER:  It is not the only way to

16       meet the environmental compliance requirement.  We

17       can meet it without doing this project, and in so

18       doing we'll have the output penalty that Mr.

19       Hamp had described.  So it is the most

20       cost-effective way to comply with the environmental

21       requirement, which is what we always try to achieve.

22       It is not the only way to comply with the

23       requirement.

24                 COMMISSIONER EDGAR:  So some action by the

25       utility in order to address -- in order to meet an

FLORIDA PUBLIC SERVICE COMMISSION

21

1       environmental requirement is necessary, and this is

2       the option selected by the utility in order to be

3       cost-effective?

4                 MR. BUTLER:  I think that's right.  I

5       mean, on this particular item, not to get too far,

6       spread the answer out too far, but fundamentally FPL

7       has the alternative to seek to acquire emission

8       credits, to install emission controls so that it

9       doesn't need the emission credits or needs fewer of

10       them.  And then if it installs the controls, which,

11       you know, consume power either to try to take some

12       measures to restore that power output or not, that

13       pretty well defines the range of alternatives here.

14                 FPL investigated all of them and found

15       that the option chosen here, which is to install the

16       emission control equipment and then offset the

17       parasitic load of that equipment with this turbine

18       upgrade was the most cost-effective way to meet the

19       environmental requirements.  But any of those three

20       in that range of options would have met the

21       environmental requirements.  So here, as in most

22       instances, you don't have just a single way to

23       comply with an environmental requirement, and we

24       look for whatever is the most cost-effective way to

25       do it.

FLORIDA PUBLIC SERVICE COMMISSION

22

1                 COMMISSIONER EDGAR:  Okay.  Then can I --

2       thank you.  Can I go to staff and say in the staff

3       recommendation, is the staff interpreting the

4       criteria that this Commission has adopted before in

5       order to be eligible for cost-recovery under the

6       environmental clause that a specific action is

7       required by a regulation, or is it somewhat broader

8       than that in that if an action is taken in order to

9       meet a requirement, that, indeed, would also

10       qualify?

11                 MS. BROWN:  I think I've got it.

12                 COMMISSIONER EDGAR:  Good.

13                 MS. BROWN:  It's the second.  The history

14       of the Commission's decision-making, as Mr. Butler

15       pointed out, is broad and reflects a lot of

16       different facts and circumstances.  And in past

17       decisions the Commission has approved recovery of

18       projects that were not specifically required by a

19       particular environmental regulation, but would allow

20       the company then to comply with that regulation.

21       The turtle net example is one.  TECO's reliability

22       project that wasn't required by their consent

23       decree, but it allowed them to continue to comply

24       with the requirements of that consent decree.  The

25       same way with the turtle net.

FLORIDA PUBLIC SERVICE COMMISSION

23

1                 But, to my mind, the thing that FPL is

2       missing in its argument is the connection that every

3       single one of these projects were undertaken to

4       comply with an environmental regulation.  And to

5       allow something that isn't necessary to comply as

6       FPL, itself, has said in its interrogatory

7       responses, if I might quote, "Not proceeding with

8       the upgrade of the steam turbine would not violate

9       any federal, state, or local environmental rule or

10       regulation."

11                 In the cooling towers order, the

12       Commission approved Progress' adoption of the

13       modular cooling tower project in order to remain in

14       compliance with the water cooling, its water

15       temperature requirements.  Not just because it

16       wanted to do it, or it was going to make something

17       more effective, but it would have to shut its plants

18       down, run them less effectively in order to remain

19       in compliance with that.

20                 In this case, FPL can continue to be in

21       compliance with its environmental requirements if it

22       doesn't ever conduct this turbine upgrade.  The

23       turbine upgrade project is not a compliance cost,

24       and the environmental cost-recovery statute requires

25       that -- hold on a minute -- "An electric utility may

FLORIDA PUBLIC SERVICE COMMISSION

24

1       submit to the Commission a petition describing the

2       utility's proposed environmental compliance

3       activities and projected environmental compliance

4       costs."  It defines environmental compliance costs

5       to include all costs or expenses incurred by an

6       electric utility in complying with environmental

7       laws or regulations.  And then it goes into a long

8       laundry list that is fairly extensive.

9                 The way the Commission has interpreted

10       that is as long as these costs are environmental

11       compliance costs and they are prudent, they can be

12       recovered, but if they are voluntary or

13       discretionary they are not to be recovered.  These,

14       in our view, are voluntary discretionary costs at

15       least in terms of what the environmental

16       cost-recovery statute says.

17                 And just one more thing, and then I'll be

18       quiet.  In the cooling tower order, the Commission

19       took a different position from OPC that wanted to

20       restrict the scope of the Commission's application

21       of the eligibility requirements for environmental

22       compliance recovery.  And the Commission said, no,

23       we're restricting it more than the statute allows,

24       and we can't do that.  We can't modify, restrict,

25       amplify, increase a statutory requirement.  So this

FLORIDA PUBLIC SERVICE COMMISSION

25

1       clearly -- the cooling towers project was reasonable

2       and the Commission approved it.

3             Here we have the flip side.  We are expanding the

4       eligibility requirements required by the statute to

5       include costs that are not required or not

6       environmental compliance costs, and I think we may be

7       going too far outside of our statutory authority to

8       approve those costs in this instance.  This statute is

9       pretty clear.  We have interpreted it in a fairly clear

10       but expansive and reasonable way, and this decision,

11       unlike what Mr. Butler said, our recommendation really

12       is consistent with the way the Commission has

13       interpreted these cases in the past.

14                 COMMISSIONER EDGAR:  Mr. Hinton.

15                 MR. HINTON:  I hate to add to that,

16       because Martha did a really good job, but I wanted

17       to address how Mr. Butler has discussed the cooling

18       tower order and compared it to here.  In the case of

19       the cooling tower, what you had were actual two

20       choices for compliance, either we need to turn down

21       the generator or we need to install some piece of

22       equipment to cool the water.

23                 Here we are not talking about two choices

24       for compliance.  We are talking about one choice for

25       compliance, which has already been made and

FLORIDA PUBLIC SERVICE COMMISSION

26

1       approved, and that is what you see on Page 3, which

2       is the different pieces of equipment that FPL showed

3       you.  This is how they are complying with their

4       environmental regs.  What we are talking about here

5       in this case is the choice to make up the parasitic

6       load or not.  That is not -- that is not addressing

7       the environmental requirements in any way.  It is a

8       great decision.  We support it.  We believe that --

9       I believe they should get cost-recovery for it.  It

10       is a great choice to make to upgrade these turbines.

11       It's just not environmental regulation that should

12       flow through this clause.  It is also not a fuel

13       clause type of recovery item, either.  You know, we

14       agree it's a great project, it's just a base rate

15       item.

16                 COMMISSIONER EDGAR:  Ms. Kaufman.

17                 MS. KAUFMAN:  I was simply shaking my head

18       in agreement.  And I also wanted to say, as Mr.

19       Hinton, I think, intimated, is the choice is not as

20       Mr. Butler said, let us recover and we will do the

21       project.  If we don't recover, we can't do it.  As

22       others have mentioned, if it is a good idea for the

23       ratepayer, they certainly should do it, and they

24       will recover it in base rates.  Thank you.

25                 COMMISSIONER EDGAR:  Mr. Chairman, I may

FLORIDA PUBLIC SERVICE COMMISSION

27

1       have a similar question or along the same lines, but

2       as to the request under the other clause.  So if

3       there is further question or discussion under the

4       environmental, I would offer to proceed on that.

5                 CHAIRMAN GRAHAM:  We have one other

6       question.

7                 Commissioner Brisé.

8                 COMMISSIONER BRISÉ:  Yes.  I think I was

9       going to do down the line down to fuel cost-recovery

10       clause.  I think, from what I'm reading, it's pretty

11       clear that it is difficult to make that argument for

12       the environmental clause.  But showing some of the

13       examples that were provided by the company, would we

14       be stretching completely out of where we can go if

15       we looked at attempting to recover -- provide a

16       recovery through the fuel recovery clause, and if

17       you can go down that route for me, please.

18                 MS. BROWN:  I'm going defer to Mr. Hinton

19       on that one.  My answer is yes, but I will let him

20       answer.

21                 MR. HINTON:  Well, I'm never shy about

22       answering questions, but I wanted to give Kenneth

23       Franklin an opportunity to answer the question, if

24       he would prefer.

25                 MR. FRANKLIN:  With regards to the fuel

FLORIDA PUBLIC SERVICE COMMISSION

28

1       clause, Mr. Butler mentioned quite a few projects

2       that were done through the fuel clause that staff

3       had put in Attachment A with their recommendation.

4       With respect to Mr. Butler's comments, a lot of

5       those items that were passed through the fuel clause

6       actually, indeed, produced fuel savings via a cost

7       reduction in fuel.  Whether that be switching to a

8       natural gas fossil fuel from an oil plant fossil

9       fuel that was a switching to a lower cost fossil

10       fuel, so they were allowed through the fuel clause.

11                 There have been two instances within this

12       attachment that have been allowed through the fuel

13       clause that did not specifically meet the

14       requirements that staff feels is appropriate through

15       Order 14546.  One of those was the nuclear thermal

16       uprate from FPL.  That was an exception to the rule

17       in its own stance.  This was a thermal power uprate

18       to a nuclear plant which is a non-fossil fuel

19       related generating plant.  So by that own merit,

20       maybe it doesn't meet the requirements to go through

21       the fuel clause in its ownself.  The other was after

22       the September 11th terrorist attacks security costs

23       was allowed through the fuel clause at that time to

24       promote a pass-through of costs to promote the

25       utilities to be able to go ahead and start

FLORIDA PUBLIC SERVICE COMMISSION

29

1       recovering costs for that security because they

2       wanted to protect, you know, the nuclear power

3       plants at that time.

4                 But those are the only two that have gone

5       through the fuel clause in Attachment A that have

6       been an exception to the rule.

7                 MS. BROWN:  If I might just add one thing

8       to that.  That order allowing the uprates through

9       the nuclear clause specifically said it would be

10       done on a case-by-case basis and the decision in

11       that case was limited to those facts.

12                 MR. HINTON:  And, Commissioner, now to

13       throw my two cents in.  What we are talking about

14       here with this project, and Mr. Franklin alluded to

15       it, that most of these projects that you see here

16       what you are doing is you are decreasing the input

17       price of the fuel.  Either you are switching to a

18       cheaper fuel, you're purchasing rail cars that allow

19       you to get the fuel cheaper to the plant, that type

20       of thing.  There is a couple of exceptions that we

21       could talk about, but what we are talking about with

22       this project is it does provide fuel savings, but

23       it's through making the plant more efficient.

24                 There are a lot of ways that you can make

25       a plant more efficient.  And staff believes that if

FLORIDA PUBLIC SERVICE COMMISSION

30

1       you open the door to allowing efficiency measures

2       through the fuel clause, that is a door that can be

3       swung very wide because there is a lot of different

4       ways you can save in fuel costs by making the plant,

5       you know, produce more kilowatt hours per unit of

6       fuel.  It is not changing the price of the fuel,

7       it's just making the plant more efficient, and staff

8       doesn't believe we should open that door.

9                 MR. BUTLER:  Mr. Chairman, may I briefly

10       respond?  It's Mr. Butler.  Sorry.

11                 CHAIRMAN GRAHAM:  Well, none of my lights

12       are on, so sure.

13                 MR. BUTLER:  Thank you, Mr. Chairman.

14                 Just very briefly.  I do not believe that

15       this case can be distinguished from the FPL Turkey

16       Point 3 and 4 thermal power uprate case under the

17       fuel clause.  I mean, in that instance it wasn't

18       about efficiency, it was an increase in the output

19       of the unit.  The way that it was a measure of fuel

20       savings is that because nuclear fuel costs are low

21       and you are replacing more expensive fossil fuel

22       power with that extra nuclear output, it reduced the

23       overall fuel cost for customers.  That is exactly

24       what is happening here.

25                 The only other point I would make is that

FLORIDA PUBLIC SERVICE COMMISSION

31

1       if you look at Item 10, you know, nothing in it in

2       the words of the Commission's own decision express

3       the distinction that staff is trying to draw between

4       projects that save fuel costs in a variety of

5       measures versus ones that somehow reduce the invoice

6       price of the fuel.  And, again, you know, the item

7       is for fossil fuel related costs normally recovered

8       through base rates, but which were not recognized or

9       recovered in the cost levels used to determine

10       current base rates, and which if expended will

11       result in fuel savings to customers.  And I won't go

12       back through it, but we clearly meet each of the

13       elements of the test as I just described.  Thank

14       you.

15                 CHAIRMAN GRAHAM:  Commission Balbis.

16                 COMMISSIONER BALBIS:  Thank you, Mr.

17       Chair.  I had one question previously, but that was

18       answered by staff, and it was concerning the

19       comparison of the Progress Energy cooling tower

20       project and how it does not compare to this case.

21       And then I guess the question procedurally I believe

22       in the past we have voted individually on each

23       issue, and it seems like the comments from the

24       Commission that Issue 1 as far as whether or not it

25       is eligible for the environmental cost-recovery

FLORIDA PUBLIC SERVICE COMMISSION

32

1       clause or not, but procedurally we can move forward

2       on a motion on that issue, then I would like to make

3       a motion to agree with staff's recommendation on

4       Issue Number 1.

5                 COMMISSIONER EDGAR:  Second.

6                 CHAIRMAN GRAHAM:  So your motion is move

7       staff recommendation on Issue 1, is that correct?

8                 COMMISSIONER BALBIS:  Correct.

9                 CHAIRMAN GRAHAM:  And seconded.

10                 Any further discussion on that motion?

11       All in favor say aye.

12                 (Vote taken.)

13                 CHAIRMAN GRAHAM:  Those opposed?

14                 By your action you have approved the staff

15       recommendation on Issue 1.

16                 Commissioner Edgar, did you have

17       something?

18                 COMMISSIONER EDGAR:  And my light wasn't

19       even on.  I did, and thank you for remembering.

20                 Mr. Butler, and I know you have discussed

21       this, but sometimes I need to hear things more than

22       once.  Why is it your position that this -- okay.

23       First of all, if something -- I can understand a

24       desire to have a cost go through a cost-recovery

25       clause, but separate from that preference, why would

FLORIDA PUBLIC SERVICE COMMISSION

33

1       it be more appropriate for this item to go through

2       cost-recovery for the fuel clause rather than to be

3       absorbed or addressed as part of base rates?

4                 MR. BUTLER:  Commissioner Edgar, I think

5       the answer to that question goes to what at least I

6       understand was the purpose of Item 10 in the

7       Commission's order many years ago in the first

8       place, which is that I think the Commission wants to

9       have an incentive or at least to remove the

10       disincentives for a utility to incur costs of the

11       sort that normally would go through base rates that

12       will have the effect of saving fuel costs so that

13       the utility is making sort of a neutral decision on

14       whether those projects should be pursued.

15                 I mean, fundamentally you have this issue

16       that there is two different pots of recovery, and if

17       you do some sort of capital improvement that would

18       normally be base rate recoverable, the reason for

19       doing it and the consequence of it is fuel savings,

20       what ends up happening is all the fuel savings flow

21       immediately through to customers through the fuel

22       clause, but you don't have immediate cost-recovery

23       for the project that the base rate element of that

24       project in order to facilitate the fuel clause, so

25       there is this sort of disconnect.

FLORIDA PUBLIC SERVICE COMMISSION

34

1                 Now, I will say in the instance of this

2       project, you know, we are going forward with it.

3       You know, this isn't something that we won't do but

4       for the clause recovery, but I think what we are

5       talking about here is the importance of maintaining

6       the consistency with the practice you had for quite

7       a few years now of providing that sort of parallel

8       and compatible recovery that where you recover or

9       you expend costs in order to save fuel dollars that

10       you don't have this differential in the recovery

11       mechanism such that the utility has to wait until

12       the next base rate proceeding before it sees any

13       recovery for the project costs, yet all of the

14       savings from that project flow immediately through

15       the fuel clause to customers.

16                 And as I understand Item 10, you know,

17       that was what it was trying to address, and I think

18       that, you know, the theory of that attempt to put

19       things on a level playing field would apply to

20       exactly this sort of project.

21                 COMMISSIONER EDGAR:  So is it a shorter

22       way of saying perhaps some of the same thing to say

23       that you believe it's more appropriate to go through

24       the clause in order to avoid regulatory lag?

25                 MR. BUTLER:  That's right.  It's sort of a

FLORIDA PUBLIC SERVICE COMMISSION

35

1       one-sided regulatory lag, that you have the lack of

2       any regulatory lag on the passing of the savings

3       through on the fuel side, but the regulatory lag on

4       the recovery of the project costs that make those

5       fuel savings possible.

6                 So, yes, that is a good way to summarize

7       it.

8                 COMMISSIONER EDGAR:  Mr. Chairman, can I

9       ask a few more questions?

10                 CHAIRMAN GRAHAM:  Sure.

11                 COMMISSIONER EDGAR:  Thank you.

12                 You have mentioned, Mr. Butler, that it is

13       past practice and probably still -- probably

14       accurate also to say even a goal of this Commission

15       to incentivize decisions by utilities that will

16       ultimately save fuel, save costs, et cetera.  But

17       you also, and I appreciate your candor, noted that

18       this is a project that will occur regardless of

19       whether cost-recovery is included.

20                 From a policy standpoint, or a

21       philosophical, or some other standpoint, how do I

22       rationalize the requirement of the utility under the

23       regulatory compact to take actions that will reduce

24       costs, and will be more efficient, and will be to

25       the benefit of ratepayers whether or not there is

FLORIDA PUBLIC SERVICE COMMISSION

36

1       there is separate cost-recovery?

2                 MR. BUTLER:  Well, utilities certainly

3       have an obligation to run their business as

4       cost-effectively.  And, in general, I think that is

5       a principle that regardless of the recovery

6       mechanisms, FPL and other utilities strive to

7       achieve that goal.  But I think that what the fuel

8       clause does that is a little bit different than what

9       is often the case is to have these two different

10       mechanisms that apply to the costs and the savings

11       and the attempt of Item 10 was to put them on the

12       same footing.

13                 Let's take an example of a capital project

14       that could make it more efficient and cheaper to

15       trim trees.  You spend money now on a capital

16       project that may be it's just better tree-trimming

17       equipment and, therefore, you reduce your O&M

18       expense to trim the trees.  In the period in between

19       base rates being set, the utility is actually seeing

20       both sides of that.  They spend the money on the

21       capital project, it wasn't projected in the original

22       base rates, so it is out of pocket for that, but it

23       also sees the savings that are resulting from that

24       as a reduction in its current expenses and that

25       helps its earnings until the next time that its base

FLORIDA PUBLIC SERVICE COMMISSION

37

1       rates are set, and then sort of both the costs and

2       the benefits of that capital improvement project are

3       taken into account in the new base rates.

4                 What is different, and what I think Item

5       10 is trying to address here is that with respect to

6       projects that mainly are implemented to save fuel

7       costs, you don't have that same sort of parallel

8       impact of the recovery.  The utility is spending the

9       money on the capital project.  It does not get

10       immediate recovery for it, but the fuel savings that

11       result from it, it doesn't keep those as sort of an

12       offset to its expenditure.  They are all flowed

13       100 percent through to customers.

14                 And I agree with you that notwithstanding

15       that sort of unlevel playing field, utilities have

16       an obligation to be reasonable and prudent in their,

17       you know, management of their businesses, but I also

18       think it is true that the Commission has recognized

19       that it is instances like that where the playing

20       field isn't level.  That sometimes it is appropriate

21       to provide a mechanism that levels the playing

22       field, and that's what I understand Item 10 to do.

23       Applying it in this instance, I think, would level

24       the playing field.

25                 COMMISSIONER EDGAR:  One more question.

FLORIDA PUBLIC SERVICE COMMISSION

38

1                 In your opinion, is there a relationship

2       or some interplay between the cost recovery or rate

3       base accounting between -- let me start over.  Is

4       there an interplay between this project with the

5       settlement agreement and the flexibility that the

6       utility now has as far as managing earnings.

7                 MR. BUTLER:  I guess there is.  I mean, I

8       guess that -- and I'm sort of just thinking this up

9       off the top of my head.

10                 COMMISSIONER EDGAR:  Me, too.

11                 MR. BUTLER:  And that is dangerous, but

12       presumably if you don't allow cost recovery through

13       the fuel clause here, what we will have is an

14       increased base rate recovery requirement for the

15       cost of the project that will, to some extent, you

16       know, reduce our earnings from what they would

17       otherwise be, and that we would end up having the

18       mechanism of the settlement agreement to use some

19       additional portion of, you know, the reserve surplus

20       amortization to offset that.  Of course in doing so,

21       we would thereby increase rate base down the road

22       for the reasons we were talking about earlier.  So I

23       suppose there is that, you know, there is some

24       measure of interaction between them in that regard.

25       So, yes, I guess that's the answer to your question.

FLORIDA PUBLIC SERVICE COMMISSION

39

1                 I think that the mechanism that we have in

2       Item 10 is intended to establish symmetry.  I think

3       that it does a lot clearer and more direct job of

4       doing it than what you just described, but there is

5       some measure of sort of second order effect under

6       the settlement agreement, as you suggest.

7                 COMMISSIONER EDGAR:  And I would just ask

8       if any of the other participants would like to

9       comment on any of that, Mr. Beck or Ms. Kaufman, or

10       both?

11                 MR. BECK:  Just briefly, Commissioner.  I

12       think I generally agree with what Mr. Butler said,

13       but I think it is important to point out that as

14       long as the company is earning within its range, it

15       is recovering that plant.  So, you know, the premise

16       that it is not recovering that, I think, is false.

17       As long as it is earning a reasonable rate of return

18       it is recovering the cost of that plant.

19                 MS. KAUFMAN:  And I don't have anything to

20       add other than to say that I do agree with Mr. Beck,

21       and to have you think as Mr. Beck and I discussed

22       previously is what we are talking about here is a

23       turbine, a big piece of equipment that is typically

24       recovered as a capital item through base rates, and

25       I think that there is no exception that I'm aware of

FLORIDA PUBLIC SERVICE COMMISSION

40

1       for this particular project.  But to your question

2       about the settlement, I do think there is interplay

3       between that, just as Mr. Butler has described.

4                 CHAIRMAN GRAHAM:  Commissioner Balbis.

5                 COMMISSIONER BALBIS:  Thank you, Mr.

6       Chair.

7                 I just want to focus a little bit on the

8       cost-recovery from Mr. Butler.  You made the

9       statement that this is an unanticipated expense that

10       wasn't included in the rate case, so, therefore, you

11       wouldn't be able to recover it through traditional

12       base rates, et cetera.  The question is couldn't you

13       argue that this is more of a replacement of a piece

14       of equipment, which should be, one, included in your

15       plant-in-service costs, so therefore it is

16       recoverable, or there is some other contingency fund

17       that you would have for R&R type projects like this

18       where you are already collecting for that and by

19       definition would be recoverable.  And why couldn't

20       you not consider this a replacement rather than a

21       new piece of capital equipment that you weren't

22       anticipating?

23                 MR. BUTLER:  Well, it is not a repair or a

24       replacement in the sense of a component that has

25       either failed or degraded and needs to be replaced.

FLORIDA PUBLIC SERVICE COMMISSION

41

1       My understanding is the existing high pressure

2       turbine works just fine.  It just doesn't generate

3       as much output as efficiently as the new one would.

4       So this is one of those purely elective capital

5       upgrade projects that FPL has chosen to undertake in

6       order to increase the output and offset the

7       parasitic loads as Mr. Hamp described.

8                 So it is the sort of thing that

9       conventionally would be recovered through base

10       rates, and I would note that is what Item 10 is

11       addressed to is things that are conventionally

12       recovered through base rates, but which because of

13       the timing, and just reiterating here, we projected

14       the 2010 test year in late 2008.  It really wasn't

15       until early 2010 that this window of opportunity

16       that Mr. Hamp had described became apparent where we

17       could do this project without running afoul of the

18       environmental requirements that would otherwise

19       apply when you upgrade the turbine.

20                 And so we did not have anything in our

21       base rate filing for this item.  And, therefore,

22       focusing on that particular item, there was no

23       recovery built into base rates.  And Mr. Beck had

24       noted that if we are earning within our authorized

25       return that we recover on whatever is in base rates,

FLORIDA PUBLIC SERVICE COMMISSION

42

1       and at some level that is true, but I would just go

2       back to, again, my understanding of the purpose of

3       Item 10 is symmetry, that you are wanting to have a

4       mechanism that is as sensitive and responsive on the

5       base rate side with respect to the capital projects

6       as the expense side is on the fuel savings once they

7       are beginning to flow through to customers.  And

8       that is really what this is about is the symmetry of

9       the recovery.

10                 COMMISSIONER BALBIS:  Okay.  And then one

11       follow-up on the discussion on the flexibility with

12       the stipulation.

13                 MR. BUTLER:  Uh-huh.

14                 COMMISSIONER BALBIS:  Again, what is the

15       total cost of this project for the turbines is

16       approximately --

17                 MR. BUTLER:  $7 million.

18                 COMMISSIONER BALBIS:  $7 million.  The

19       question is, so, theoretically, FPL if there is a

20       month where there is potential overearnings in lieu

21       of having additional depreciation during that month,

22       they could recover the costs for the $7 million or a

23       portion of which over a period of time.  Again, just

24       clarifying that there is flexibility with the

25       stipulation to do those types of things.

FLORIDA PUBLIC SERVICE COMMISSION

43

1                 MR. BUTLER:  That is true.  I mean, just

2       to be precise, this is a capital expenditure so what

3       really happens is it goes into rate base.  There are

4       return requirements on it, and depreciation on it is

5       what would be showing up monthly in the surveillance

6       report as one of the revenue requirements for the

7       company.  But to the extent they are higher because

8       it is in there and not recovered through the fuel

9       clause or the environmental clause, that would pull

10       down our return from where it otherwise would be.

11       And as we discussed earlier, the settlement

12       agreement has the provision for varying the amount

13       of reserve surplus that's taken.

14                 COMMISSIONER BALBIS:  Okay.  And you made

15       a good point.  I'm glad you brought that up.  Since

16       this will be an asset that I assume will be

17       depreciated over the life of the asset, so the

18       overall $7 million over a 10, 15, 20-year life, or

19       what it may be, it should be an insignificant,

20       relatively insignificant monthly cost to the books,

21       et cetera, and gives you maybe more flexibility,

22       rather than a $7 million hit, and maybe much less

23       than that per month.

24                 MR. BUTLER:  It certainly wouldn't be

25       $7 million per month.  I mean, it is a significant

FLORIDA PUBLIC SERVICE COMMISSION

44

1       amount, because when you take into account both the

2       return requirement, the taxes on the return

3       requirement, and the depreciation, I always think of

4       something in the order of 15 to 20 percent of the

5       capital amount as what gets recovered in the revenue

6       requirement each year, so it's certainly a seven

7       figure number, but it is not as large as 7 million

8       if you took it just as a lump sum recovery.

9                 COMMISSIONER BALBIS:  Okay.  Thank you.

10       No further questions.

11                 CHAIRMAN GRAHAM:  No lights are on.  Can I

12       get a motion from somebody?  Somebody want the

13       gavel?

14                 (Laughter.)

15                 CHAIRMAN GRAHAM:  I move staff

16       recommendation on Issue Number 2.

17                 COMMISSIONER EDGAR:  Commissioners, we

18       have a motion on Issue 2.  Is there a second for

19       discussion?

20                 COMMISSIONER BALBIS:  I will second for

21       purposes of discussion.

22                 COMMISSIONER EDGAR:  A motion has been

23       made and seconded.  Is there discussion?  I don't

24       have any button lights, or anything, so just wave at

25       me.

FLORIDA PUBLIC SERVICE COMMISSION

45

1                 COMMISSIONER BALBIS:  I just want to,

2       again, clarify from Ms. Brown on the Attachment A

3       that is included in the staff recommendation.

4       Again, it lists the 15 other projects where capital

5       costs were recovered through the fuel clause.  And,

6       again, not to summarize the summary recommendation,

7       but staff's position is that of the two items that

8       were truly capital costs that they are really not

9       comparable to this turbine project, is that correct?

10                 MS. BROWN:  Yes, I think that would be

11       correct.  If you want more specifics on that, I

12       would defer to Mr. Lester or Mr. Hinton.

13                 MR. HINTON:  Mr. Butler has pointed to the

14       nuclear plant turbine upgrade as directly applicable

15       in this case, and it would seem to be very similar

16       because in both cases you are talking about a

17       turbine.  But that case in and of itself -- I'm not

18       sure I should be saying this, but I don't believe

19       that was a good decision to allow a nonfossil fuel

20       related capital expenditure through the fuel clause.

21       And I certainly wouldn't recommend that that

22       decision and that rationale be repeated here.

23                 There is also the security costs.  That

24       was truly an anomaly.  That was quickly put into a

25       different -- it was put into capacity cost-recovery

FLORIDA PUBLIC SERVICE COMMISSION

46

1       clause.  Everything else that you have on that list

2       deals with either changing to a lower priced fuel or

3       capital item that was going to decrease the price of

4       fuel coming to the plant.

5                 You know, the project that we have here

6       has nothing to do with the purchase of fuel, the

7       storage of fuel, the transportation of fuel.  It's

8       about the efficiency of the plant.

9                 COMMISSIONER BALBIS:  Thank you.  Just a

10       follow up, as well.  From a precedent standpoint, I

11       know you made the comment on the improved efficiency

12       project.  Just speculating, what other types of --

13       if we set this precedent now, what other types of

14       efficiency projects do you see possibly people

15       trying to push through in this manner?

16                 MR. HINTON:  Not to give a lot ideas,

17       but --

18                 MS. BROWN:  Everything.

19                 MR. HINTON:  There are all kinds of

20       different projects.  Any turbine blade upgrade will

21       result in more efficient plant.  I don't know if we

22       have got an engineer up here that can answer more

23       specifics.

24                 MR. LESTER:  Pete Lester with staff.  Any

25       improvement to the nuclear plant is going to be a

FLORIDA PUBLIC SERVICE COMMISSION

47

1       low cost generation compared to fossil fuel.  It

2       would displace fossil fuel generation, so it could

3       be interpreted as being something that could go

4       through the fuel clause.  It would be pretty wide

5       open to any nuclear plant improvement.

6                 COMMISSIONER BALBIS:  Okay.  Thank you.

7                 COMMISSIONER BROWN:  I just have a comment

8       since we don't have the button.

9                 CHAIRMAN GRAHAM:  I'm sorry, I've got the

10       gavel back.

11                 COMMISSIONER BROWN:  Oh, good.  Thank you.

12                 I just have a comment.  While it does at

13       first flush, looking at the fuel clause, it does

14       seem that there is more latitude obviously in this

15       particular matter versus the ECRC.  At further

16       review, it just appears that this -- that there is

17       another mechanism for recovery of the costs

18       associated with it.  That combined with the

19       settlement agreement, I'm just offering some comment

20       for discussion, I'm inclined to support staff's

21       recommendation, because I do feel that it would not

22       be fitting if you read the fine lines of recovery

23       under the fuel clause.  I think there is another

24       mechanism that would support those costs.  So just

25       offering up conversation for discussion here.

FLORIDA PUBLIC SERVICE COMMISSION

48

1                 CHAIRMAN GRAHAM:  Anyone else?

2                 Commissioner Brisé.

3                 COMMISSIONER BRISÉ:  Thank you, Mr.

4       Chairman.

5                 I think I concur with my colleagues in

6       that I think even one of the clauses that was

7       presented is probably not the most appropriate

8       avenue to attempt to recover these costs.  But then

9       more importantly is the potential of setting

10       precedent for a wide open door, and I think that

11       that concerns me more than this particular instance.

12       I think the other decisions in the past have

13       actually predicated this particular situation, and

14       if we do this today we will open the door for

15       further situations.  So with that, I think I'm

16       inclined to support staff's recommendation on this

17       issue.

18                 CHAIRMAN GRAHAM:  Seeing no other lights

19       on, all in favor say aye.

20                 (Vote taken.)

21                 CHAIRMAN GRAHAM:  Those opposed?

22                 By your action you have approved staff

23       recommendation on Issue Number 2.

24                 Issue Number 3.  Can I get someone to move

25       staff recommendation?

FLORIDA PUBLIC SERVICE COMMISSION

49

1                 COMMISSIONER EDGAR:  So moved.

2                 CHAIRMAN GRAHAM:  And second?

3                 COMMISSIONER BROWN:  Second.

4                 CHAIRMAN GRAHAM:  All in favor say aye.

5                 (Vote taken.)

6                 CHAIRMAN GRAHAM:  Those opposed?

7                 By your action you have approved staff

8       recommendation on Issues 1, 2, and 3, which

9       concludes Item Number 11.  And unless I have missed

10       something, staff, we are adjourned.

11                        * * * * * * * * *

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

50

1       STATE OF FLORIDA   )

2                          :     CERTIFICATE OF REPORTER

3       COUNTY OF LEON     )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter

5       Services Section, FPSC Division of Commission Clerk, do

hereby certify that the foregoing proceeding was heard

6       at the time and place herein stated.

7             IT IS FURTHER CERTIFIED that I

stenographically reported the said proceedings; that

8       the same has been transcribed under my direct

supervision; and that this transcript constitutes a

9       true transcription of my notes of said proceedings.

10             I FURTHER CERTIFY that I am not a relative,

employee, attorney or counsel of any of the parties,

11       nor am I a relative or employee of any of the parties'

attorney or counsel connected with the action, nor am I

12       financially interested in the action.

13             DATED THIS 14th day of January, 2010.

14

15

___________________________________________

16                         JANE FAUROT, RPR

Official FPSC Hearings Reporter

17                          (850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

51

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION