## Slide 1: Gulf Power Company June 10, 2010 Storm Hardening Workshop

## Slide 2: The Ten Initiatives Overview
  Vegetation Management Plan
    Three-year trim cycle on main line feeders
    Six-year trim cycle on laterals
    Danger Tree Removal
  Joint-Use Attachment Audits
  Inspection Cycle of Transmission Structures
  Storm Hardening Activities for Transmission Structures
  Geographic Information Systems

## Slide 3: The Ten Initiatives Overview
  Post-Storm data Collection and Forensic activities
  Outage Data Differentiating Between Overhead and Underground Systems
  Coordination with Local Governments
  Collaborative Research
  Disaster Preparedness and Recovery Plans

## Slide 4: Approved Plan vs. Updated plan
4
  Vegetation Management Plan
    Three-year trim cycle on main line feeders
    Six-year trim cycle on laterals - changing to Four-year cycle
    Danger tree Removal – reduce emphasis in residential areas
  Joint-Use Attachment Audits – discontinue third party strength analysis
  Inspection Cycle of Transmission Structures
  Storm Hardening Activities for Transmission Structures
  Geographic Information Systems
Notes: 4

## Slide 5: Approved Plan vs. Updated plan
5
  Post-Storm data Collection and Forensic activities
  Outage Data Differentiating Between Overhead and Underground Systems
  Coordination with Local Governments
  Collaborative Research
  Disaster Preparedness and Recovery Plans
Notes: 5

## Slide 6: Approved Plan vs. Updated plan
6
  Eight-year Wood Pole Inspection process
    1% Sample of Non-excavated CCA poles program – discontinue
  Compliance with National Electric Safety Code (NESC)
  Extreme Wind Loading Standards
  Mitigation of Damage to Underground Facilities and supporting T&D facilities due to flooding and storm surges
  Placement of new and replacement distribution facilities to facilitate access
Notes: 6

## Slide 7: Approved Plan vs. Updated plan
7
  Other Key Elements
    Feeder patrols
    Infrared patrols
    Wind Monitors
    Additional Proposed Storm Hardening Initiatives
      Conversion of 4kV Distribution Feeders
      Distribution Automation
      Strategic Installation of automated Fault Circuit Indicators
      Development of a Distribution Supervisory Control and Data Acquisition System (DSCADA)
Notes: 7

## Slide 8: Approved Plan Costs vs. Updated Plan Costs
8
Approved Plan | 2007 | 2008 | 2009 | Total Cost | Cost per Customer per Year
Estimated Costs | $19,218,504 | $20,106,312 | $20,345,837 | $59,670,653 | $46
Actual Costs | $26,633,997 | $26,334,845 | $35,814,695 | $88,783,537 | $71
Updated Plan | 2010 | 2011 | 2012 | Total Cost | Cost per Customer per Year
Estimated Costs | $35,814,695 | $35,455,157 | $36,332,586 | $107,602,438 | $84
Notes: 8

## Slide 9
9
Notes: 9

## Slide 10: Struggles Towards Achieving the Ten Initiatives
10
  Uncertainty related to material and labor
  City ordinances
Notes: 10

## Slide 11: How Restoration and Hardening is Improving Overall System
11
  Analysis of actual storm data collected over time is needed to determine benefits
  Vegetation Management Plan
    Reduced tree-related outages
  T & D Inspections
Notes: 11

## Slide 12
QUESTIONS?