## Pennbrooke
260/451 (691) - Pennbrooke 2019
| Operating Permit No.: | FLA010570 | [5 empty] | Expires: | 2025-10-01
| Plant Permitted Capacity: | 0.180 mgd AADF
| Perc Ponds/Surf Discharge: | 0.030 mgd | [8 empty] | From Daily Flow Worksheet
| Reuse/Public Access: | 0.045 mgd | [8 empty] | Manual data entry from DMR
Hyperlinks!A1
Public Access Reuse - Including Influent
| Total Flow through Treatment Plant (FLW-1) |  |  |  | Public Access Reuse GC RIB (FLW-2) |  | Flow, To RIBs 3 & 4 (FLW-3) |  | CBOD5 |  |  | TSS | pH |  | Fecal Coliform |  | TRC | CBOD5 | TSS
| Mo Flow | An Avg | Mo Avg | Peak | An Avg | Mo Avg | An Avg | Mo Avg | An Avg | Mo Avg | Max | Max | Min | Max | Mo. | Max | Min | Max | Max
| mgd | mgd | Flow | mgd | Flow | Flow | Flow | Flow | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | Total | #/100ml | mg/L | mg/L | mg/L
Limit | Total | 0.18 | Report | Report | 0.18 | Report | 0.08 | Report | 20 | 30 | 60 | 5 | 6 | 8.5 | 75 | 25 | 1 | INF-1 | INF-1
2019-01-01 | 1.928 | 0.056 | 0.062194 | 0.097 | 0.062 | 0.0038387 | 0.011 | 0.030452 | 9 | 8 | 8 | <1.0 | 7.7 | 8 | 100% | <1.0 | 1 | 233 | 210
February | 1.774 | 0.055 | 0.063357 | 0.074 | 0.063 | 0.00028571 | 0.01 | 0.016357 | 8.3 | 8 | 8 | <1.0 | 7.7 | 7.9 | 100% | <1.0 | 1 | 219 | 230
March | 2.166 | 0.055 | 0.069871 | 0.084 | 0.031 | 0.05971 | 0.01 | 0 | 8.4 | 9 | 9 | 3.2 | 7.8 | 8 | 100% | <1.0 | 1 | 230 | 212
April | 1.905 | 0.064 | 0.0635 | 0.08 | 0.032 | 0.0494 | 0.009 | 0 | 8.5 | 9 | 10 | 0.5 | 7.7 | 8 | 100% | 0.5 | 1.2 | 218 | 224
May | 1.638 | 0.055 | 0.052839 | 0.062 | 0.041 | 0.041806 | 0.008 | 0.009 | 9 | 9 | 9 | 0.5 | 7.8 | 8 | 100% | <1.0 | 1 | 212 | 256
June | 1.539 | 0.056 | 0.0513 | 0.063 | 0.031 | 0.026933 | 0.009 | 0.0166 | 8.4 | 7.5 | 8 | 0.5 | 7.7 | 8 | 100% | <1.0 | 1 | 217 | 210
July | 1.666 | 0.056 | 0.053742 | 0.067 | 0.033 | 0.04271 | 0.008 | 0.0093226 | 8.4 | 8 | 8 | 0.5 | 7.7 | 8 | 100% | 0.5 | 1 | 226 | 188
August | 2.24 | 0.058 | 0.072258 | 0.117 | 0.031 | 0.016871 | 0.012 | 0.048452 | 9 | 9 | 9 | <1.0 | 7.7 | 7.9 | 100% | <1.0 | 1 | 213 | 230
September | 1.759 | 0.059 | 0.058633 | 0.075 | 0.032 | 0.046967 | 0.011 | 0 | 8.4 | 9 | 9 | 3.2 | 7.8 | 8 | 100% | 0.5 | 1 | 219 | 232
October | 1.766 | 0.06 | 0.056968 | 0.072 | 0.033 | 0.03129 | 0.011 | 0.019774 | 9 | 9 | 9 | 5 | 7.7 | 7.9 | 100% | 0.5 | 1 | 221 | 222
November | 1.833 | 0.061 | 0.0611 | 0.071 | 0.056 | 0.016833 | 0.011 | 0.0407 | 8.5 | 8.5 | 9 | 2.8 | 7.7 | 7.9 | 100% | 0.5 | 1 | 229 | 205
December | 1.996 | 0.061 | 0.064387 | 0.092 | 0.033 | 0.031935 | 0.011 | 0.024161 | 8.6 | 9 | 9 | 5 | 7.1 | 7.8 | 100% | <1.0 | 1.8 | 217 | 250
Total | 22.21
Average |  | 0.058 | 0.060846 | 0.0795 | 0.039833 | 0.030715 | 0.010083 | 0.017902 | 8.625 | 8.5833 | 8.75 | 2.3556 | 7.675 | 7.95 |  | 0.5 | 1.0833 | 221.1667 | 222.4167
Minimum |  | 0.055 | 0.0513 |  |  |  | 0.008 | 0 | 8.3 | 7.5 |  |  | 7.1 |  |  |  | 1 |  | 212
Maximum |  | 0.064 | 0.072258 | 0.117 | 0.063 | 0.05971 | 0.012 | 0.048452 | 9 | 9 | 10 | 5 |  | 8 |  | 0.5 |  |  | 233
FLW-4 Percolation Ponds 1 & 2 (Flow RIBS #1 and #2)
Flow FLW-4
| Mo Flow | Mo Avg | Max Day
| mgd | mgd | mgd
Limit | Total | 0.03 | Report
2019-01-01 | 0.984 | 0.031742 | 0.097
February | 1.314 | 0.046929 | 0.072
March | 0.315 | 0.010161 | 0.032
April | 0.423 | 0.0141 | 0.072
May | 0.063 | 0.0020323 | 0.019
June | 0.233 | 0.0077667 | 0.047
July | 0.22 | 0.0070968 | 0.056
August | 0.216 | 0.0069677 | 0.096
September | 0.35 | 0.011667 | 0.071
October | 0.183 | 0.0059032 | 0.059
November | 0.106 | 0.0035333 | 0.058
December | 0.261 | 0.0084194 | 0.065
Total | 4.668
Average |  | 0.013026 | 0.062
Minimum |  | 0.0020323
Maximum |  | 0.046929 | 0.097
| 3 Month Running Average | [5 empty] | Monthly Total Flow
| FLW-1 | FLW-2 | FLW-3 | FLW-4 |  |  | FLW-1 | FLW-2 | FLW-3 | FLW-4
January 2018 | 1.6813 | 1.0684 | 0.040667 | 0.57233 |  | January 2018 | 2.804 | 1.429 | 0.122 | 1.253 | Jacquee - Copy/paste/value the 2019 mthly flows from this table in 2019 DMR Summaries
February | 1.6343 | 0.78533 | 0.30833 | 0.54067 |  | February | 2.099 | 0.927 | 0.803 | 0.369
March | 2.2967 | 1.444 | 0.30833 | 0.54433 |  | March | 1.987 | 1.976 | 0 | 0.011
April | 1.951 | 1.4013 | 0.39367 | 0.156 |  | April | 1.767 | 1.301 | 0.378 | 0.088
May | 1.8163 | 1.424 | 0.29833 | 0.094 |  | May | 1.695 | 0.995 | 0.517 | 0.183
June | 1.633 | 1.1537 | 0.34233 | 0.137 |  | June | 1.437 | 1.165 | 0.132 | 0.14
July | 1.5907 | 0.997 | 0.42433 | 0.16933 |  | July | 1.64 | 0.831 | 0.624 | 0.185
August | 1.541 | 1.0827 | 0.26967 | 0.18867 |  | August | 1.546 | 1.252 | 0.053 | 0.241
September | 1.4953 | 0.95767 | 0.29267 | 0.245 |  | September | 1.3 | 0.79 | 0.201 | 0.309
October | 1.4333 | 0.99033 | 0.084667 | 0.35833 |  | October | 1.454 | 0.929 | 0 | 0.525
November | 1.4267 | 1.035 | 0.067 | 0.338 |  | November | 1.526 | 1.386 | 0 | 0.18
December | 1.6003 | 1.037 | 0.10267 | 0.474 |  | December | 1.821 | 0.796 | 0.308 | 0.717
2019-01-01 | 1.7583 | 0.767 | 0.41733 | 0.627 |  | 2019-01-01 | 1.928 | 0.119 | 0.944 | 0.984
February | 1.841 | 0.30767 | 0.57 | 1.005 |  | February | 1.774 | 0.008 | 0.458 | 1.314
March | 1.956 | 0.65933 | 0.46733 | 0.871 |  | March | 2.166 | 1.851 | 0 | 0.315
April | 1.9483 | 1.1137 | 0.15267 | 0.684 |  | April | 1.905 | 1.482 | 0 | 0.423
May | 1.903 | 1.543 | 0.093 | 0.267 |  | May | 1.638 | 1.296 | 0.279 | 0.063
June | 1.694 | 1.1953 | 0.259 | 0.23967 |  | June | 1.539 | 0.808 | 0.498 | 0.233
July | 1.6143 | 1.1427 | 0.35533 | 0.172 |  | July | 1.666 | 1.324 | 0.289 | 0.22
August | 1.815 | 0.885 | 0.763 | 0.223 |  | August | 2.24 | 0.523 | 1.502 | 0.216
September | 1.8883 | 1.0853 | 0.597 | 0.262 |  | September | 1.759 | 1.409 | 0 | 0.35
October | 1.9217 | 0.96733 | 0.705 | 0.24967 |  | October | 1.766 | 0.97 | 0.613 | 0.183
November | 1.786 | 0.96133 | 0.61133 | 0.213 |  | November | 1.833 | 0.505 | 1.221 | 0.106
December | 1.865 | 0.82167 | 0.861 | 0.18333 |  | December | 1.996 | 0.99 | 0.749 | 0.261
Note on J10: From page 1 of DMR 'BOD, Carbonaceous 5 day, 20C PARM Code 80082 EFA-1'
Note on M10: From page 1 of DMR 'Solids, Total Suspended PARM Code 00530 B EFB-1
Note on N10: From page 2 of DMR Ph PARM Code 00400 A EFA-1
Note on R10: From page 2 of DMR Total Residual Chlorine (For Disinfection) PARM Code 50060 EFA-1
Note on S10: From page 2 of the DMR BOD, Carbonaceous 5 day, 20C PARM Code 80082
Note on T10: From page 2 of the DMR Solids, Total Suspended PARM Code 00530 INF-1
Note on C11: From page 2 of the DMR Flow PARM Code 50050 FLW-1'
Note on F11: From page 1 of the DMR 'Flow, Public access reuse PARM Code 50050 FLW-2'
Note on H11: From page 1 of the DMR 'Flow, to RIBs 3 and 4 PARM Code 50050 FLW-3
Note on P11: From page 2 of DMR Coliform, Fecal, %less than detection PARM Code 51005 EFA-1
Note on Q11: From page 2 of DMR Coliform, Fecal PARM Code 74055 EFA-1
Note on A32: Data can be found starting on page 3 of the DMR
Note on B56: Peggy J. Hanks: Copy/paste/value this 2017 3mth Running Avg values from the 2017 DMR Summaries

## Pennbrooke Flow Summary
2019 Pennbrooke DMR Flow Summary
Hyperlinks!A1
Note: Daily flows can be found in 'Central Fl Operations/Pennbrooke/DMRs/2019 DMRs folder. Copy from Page 8 of the 'Word' doc to this worksheet (see row 71 below)
If month needed is not in the above referenced folder, email Ray Parrish with a reminder to save to this folder.
FLW-01 Plant | [31 empty] | FLW-01 Plant
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.051 | 0.051 | 0.062 | 0.043 | 0.079 | 0.066 | 0.06 | 0.097 | 0.065 | 0.065 | 0.053 | 0.052 | 0.055 | 0.053 | 0.067 | 0.074 | 0.062 | 0.067 | 0.047 | 0.069 | 0.069 | 0.058 | 0.052 | 0.058 | 0.042 | 0.052 | 0.07 | 0.078 | 0.071 | 0.067 | 0.073 | 1.928 | 0.062194 | 0.097
February | 0.062 | 0.068 | 0.056 | 0.072 | 0.066 | 0.064 | 0.054 | 0.062 | 0.063 | 0.06 | 0.07 | 0.064 | 0.061 | 0.071 | 0.074 | 0.064 | 0.071 | 0.067 | 0.064 | 0.072 | 0.069 | 0.056 | 0.053 | 0.053 | 0.059 | 0.049 | 0.065 | 0.065 |  |  |  | 1.774 | 0.063357 | 0.074
March | 0.068 | 0.059 | 0.064 | 0.066 | 0.063 | 0.073 | 0.076 | 0.068 | 0.073 | 0.076 | 0.065 | 0.072 | 0.083 | 0.074 | 0.061 | 0.072 | 0.072 | 0.084 | 0.074 | 0.077 | 0.066 | 0.073 | 0.069 | 0.078 | 0.063 | 0.063 | 0.059 | 0.072 | 0.065 | 0.074 | 0.064 | 2.166 | 0.069871 | 0.084
April | 0.065 | 0.067 | 0.065 | 0.064 | 0.074 | 0.068 | 0.062 | 0.062 | 0.057 | 0.072 | 0.06 | 0.059 | 0.08 | 0.069 | 0.078 | 0.059 | 0.07 | 0.068 | 0.061 | 0.076 | 0.061 | 0.057 | 0.059 | 0.054 | 0.06 | 0.054 | 0.06 | 0.056 | 0.054 | 0.054 |  | 1.905 | 0.0635 | 0.08
May | 0.059 | 0.056 | 0.053 | 0.05 | 0.062 | 0.058 | 0.056 | 0.053 | 0.051 | 0.059 | 0.054 | 0.056 | 0.054 | 0.06 | 0.06 | 0.048 | 0.053 | 0.056 | 0.051 | 0.049 | 0.05 | 0.05 | 0.05 | 0.045 | 0.047 | 0.05 | 0.053 | 0.052 | 0.05 | 0.047 | 0.046 | 1.638 | 0.052839 | 0.062
June | 0.05 | 0.048 | 0.052 | 0.045 | 0.051 | 0.052 | 0.044 | 0.046 | 0.056 | 0.059 | 0.048 | 0.063 | 0.059 | 0.061 | 0.059 | 0.053 | 0.05 | 0.058 | 0.056 | 0.06 | 0.047 | 0.053 | 0.042 | 0.043 | 0.051 | 0.051 | 0.038 | 0.044 | 0.045 | 0.055 |  | 1.539 | 0.0513 | 0.063
July | 0.047 | 0.044 | 0.046 | 0.05 | 0.048 | 0.053 | 0.054 | 0.052 | 0.051 | 0.048 | 0.051 | 0.057 | 0.052 | 0.051 | 0.05 | 0.047 | 0.056 | 0.06 | 0.056 | 0.055 | 0.051 | 0.054 | 0.05 | 0.058 | 0.067 | 0.061 | 0.058 | 0.056 | 0.059 | 0.058 | 0.066 | 1.666 | 0.053742 | 0.067
August | 0.065 | 0.066 | 0.067 | 0.067 | 0.068 | 0.068 | 0.066 | 0.073 | 0.065 | 0.066 | 0.062 | 0.069 | 0.069 | 0.076 | 0.069 | 0.09 | 0.117 | 0.104 | 0.108 | 0.095 | 0.078 | 0.053 | 0.057 | 0.06 | 0.051 | 0.061 | 0.06 | 0.064 | 0.062 | 0.097 | 0.067 | 2.24 | 0.072258 | 0.117
September | 0.06 | 0.065 | 0.063 | 0.074 | 0.067 | 0.065 | 0.057 | 0.053 | 0.056 | 0.061 | 0.066 | 0.049 | 0.056 | 0.026 | 0.075 | 0.059 | 0.067 | 0.058 | 0.071 | 0.066 | 0.059 | 0.063 | 0.056 | 0.059 | 0.051 | 0.045 | 0.052 | 0.054 | 0.053 | 0.053 |  | 1.759 | 0.058633 | 0.075
October | 0.059 | 0.042 | 0.052 | 0.052 | 0.046 | 0.052 | 0.057 | 0.059 | 0.05 | 0.059 | 0.058 | 0.049 | 0.049 | 0 | 0.054 | 0.062 | 0.066 | 0.062 | 0.067 | 0.069 | 0.059 | 0.072 | 0.063 | 0.057 | 0.064 | 0.063 | 0.071 | 0.06 | 0.064 | 0.07 | 0.059 | 1.766 | 0.056968 | 0.072
November | 0.063 | 0.057 | 0.061 | 0.066 | 0.064 | 0.071 | 0.063 | 0.054 | 0.069 | 0.061 | 0.06 | 0.059 | 0.054 | 0.063 | 0.065 | 0.066 | 0.064 | 0.069 | 0.056 | 0.063 | 0.06 | 0.059 | 0.057 | 0.059 | 0.06 | 0.058 | 0.063 | 0.057 | 0.057 | 0.055 |  | 1.833 | 0.0611 | 0.071
December | 0.065 | 0.065 | 0.057 | 0.069 | 0.089 | 0.075 | 0.062 | 0.06 | 0.061 | 0.056 | 0.062 | 0.056 | 0.063 | 0.054 | 0.065 | 0.057 | 0.062 | 0.064 | 0.092 | 0.057 | 0.062 | 0.058 | 0.058 | 0.059 | 0.092 | 0.062 | 0.057 | 0.08 | 0.064 | 0.047 | 0.066 | 1.996 | 0.064387 | 0.092
FLW-02 Public Access | [31 empty] | FLW-02 Public Access
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005 | 0 | 0.025 | 0.03 | 0.025 | 0.034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.119 | 0.0038387 | 0.034
February | 0 | 0 | 0 | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0.008 | 0.00028571 | 0.006
March | 0.052 | 0.039 | 0.034 | 0.034 | 0.041 | 0.044 | 0.047 | 0.065 | 0.07 | 0.072 | 0.065 | 0.071 | 0.083 | 0.072 | 0.06 | 0.064 | 0.071 | 0.083 | 0.074 | 0.072 | 0.057 | 0.061 | 0.059 | 0.067 | 0.055 | 0.054 | 0.049 | 0.062 | 0.055 | 0.07 | 0.049 | 1.851 | 0.05971 | 0.083
April | 0.061 | 0.067 | 0.064 | 0.058 | 0.007 | 0.063 | 0 | 0 | 0.016 | 0 | 0 | 0.059 | 0.078 | 0.044 | 0.073 | 0.057 | 0.07 | 0.066 | 0.061 | 0.07 | 0.061 | 0.056 | 0.059 | 0.054 | 0.06 | 0.054 | 0.06 | 0.056 | 0.054 | 0.054 |  | 1.482 | 0.0494 | 0.078
May | 0.058 | 0.056 | 0.052 | 0.05 | 0.059 | 0.058 | 0.055 | 0.052 | 0.05 | 0.056 | 0.053 | 0.056 | 0.054 | 0.06 | 0.06 | 0.048 | 0.051 | 0.055 | 0.009 | 0 | 0.04 | 0.047 | 0.031 | 0.003 | 0 | 0 | 0 | 0.048 | 0.046 | 0.046 | 0.043 | 1.296 | 0.041806 | 0.06
June | 0.047 | 0.048 | 0.052 | 0.042 | 0.051 | 0.046 | 0.04 | 0.032 | 0.056 | 0.059 | 0.043 | 0.053 | 0.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051 | 0.014 | 0.035 | 0.038 | 0.038 | 0.055 |  | 0.808 | 0.026933 | 0.059
July | 0.047 | 0.044 | 0.046 | 0.05 | 0.048 | 0.053 | 0.054 | 0.052 | 0.042 | 0.039 | 0.042 | 0.044 | 0.052 | 0.051 | 0.05 | 0.04 | 0.045 | 0.006 | 0.047 | 0.044 | 0.051 | 0.043 | 0.042 | 0.045 | 0.011 | 0.061 | 0.058 | 0.056 | 0.059 | 0.002 | 0 | 1.324 | 0.04271 | 0.061
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.051 | 0.061 | 0.06 | 0.064 | 0.062 | 0.097 | 0.067 | 0.523 | 0.016871 | 0.097
September | 0.06 | 0.065 | 0.063 | 0.074 | 0.067 | 0.065 | 0.057 | 0.053 | 0.056 | 0.061 | 0.033 | 0.049 | 0.056 | 0.026 | 0.013 | 0 | 0 | 0 | 0 | 0.066 | 0.059 | 0.063 | 0.056 | 0.059 | 0.051 | 0.045 | 0.052 | 0.054 | 0.053 | 0.053 |  | 1.409 | 0.046967 | 0.074
October | 0.053 | 0.042 | 0.052 | 0.052 | 0.046 | 0.052 | 0.057 | 0.054 | 0.05 | 0.052 | 0.054 | 0.046 | 0.049 | 0 | 0.054 | 0.062 | 0.066 | 0.062 | 0.067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97 | 0.03129 | 0.067
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.042 | 0.057 | 0.059 | 0.06 | 0.058 | 0.06 | 0.057 | 0.057 | 0.055 |  | 0.505 | 0.016833 | 0.06
December | 0.065 | 0 | 0 | 0.069 | 0.089 | 0.075 | 0.062 | 0.06 | 0 | 0 | 0.06 | 0.053 | 0.06 | 0.054 | 0.065 | 0.057 | 0.062 | 0.064 | 0.092 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99 | 0.031935 | 0.092
FLW-03 Perc Ponds RIBs 3 & 4 | [31 empty] | FLW-03 Perc Ponds RIBs 3 & 4
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.051 | 0.05 | 0.062 | 0.043 | 0.025 | 0 | 0.041 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0.05 | 0.052 | 0.069 | 0.027 | 0.03 | 0.025 | 0.034 | 0.058 | 0.05 | 0.047 | 0.056 | 0.04 | 0.05 | 0 | 0 | 0 | 0.043 | 0.001 | 0.944 | 0.030452 | 0.069
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.056 | 0.057 | 0.053 | 0.057 | 0.064 | 0.057 | 0.06 | 0.054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0.458 | 0.016357 | 0.064
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.042 | 0.041 | 0 | 0 | 0 | 0.042 | 0.047 | 0.05 | 0.053 | 0.004 | 0 | 0 | 0 | 0.279 | 0.009 | 0.053
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051 | 0.058 | 0.059 | 0.053 | 0.05 | 0.058 | 0.056 | 0.06 | 0.047 | 0.006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.498 | 0.0166 | 0.06
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.058 | 0.056 | 0 | 0.047 | 0.006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.056 | 0.066 | 0.289 | 0.0093226 | 0.066
August | 0.065 | 0.066 | 0.067 | 0.067 | 0.068 | 0.068 | 0.004 | 0.072 | 0.065 | 0.066 | 0.062 | 0.069 | 0.069 | 0.076 | 0.069 | 0.09 | 0.021 | 0.047 | 0.108 | 0.095 | 0.078 | 0.053 | 0.057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.502 | 0.048452 | 0.108
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.018 | 0.071 | 0.029 | 0.053 | 0.057 | 0.053 | 0.069 | 0.06 | 0.064 | 0.07 | 0.059 | 0.613 | 0.019774 | 0.071
November | 0.063 | 0.057 | 0.061 | 0.066 | 0.064 | 0.071 | 0.063 | 0.05 | 0.037 | 0.061 | 0.06 | 0.059 | 0.05 | 0.062 | 0.065 | 0.065 | 0.064 | 0.069 | 0.056 | 0.005 | 0.056 | 0.017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.221 | 0.0407 | 0.071
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.057 | 0.058 | 0.058 | 0.058 | 0.091 | 0.062 | 0.057 | 0.08 | 0.064 | 0.047 | 0.066 | 0.749 | 0.024161 | 0.091
FLW-04 Perc Ponds RIBs 1 & 2 | [31 empty] | FLW-04 Perc Ponds RIBs 1 & 2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0 | 0.001 | 0 | 0 | 0.054 | 0.066 | 0.019 | 0.097 | 0.065 | 0.065 | 0.053 | 0.052 | 0.015 | 0.003 | 0.015 | 0.005 | 0.035 | 0.037 | 0.022 | 0.035 | 0.011 | 0.008 | 0.005 | 0.002 | 0.002 | 0.002 | 0.07 | 0.078 | 0.071 | 0.024 | 0.072 | 0.984 | 0.031742 | 0.097
February | 0.062 | 0.068 | 0.056 | 0.07 | 0.066 | 0.064 | 0.054 | 0.062 | 0.063 | 0.06 | 0.014 | 0.007 | 0.008 | 0.014 | 0.01 | 0.007 | 0.011 | 0.013 | 0.064 | 0.072 | 0.069 | 0.056 | 0.053 | 0.053 | 0.058 | 0.049 | 0.065 | 0.066 |  |  |  | 1.314 | 0.046929 | 0.072
March | 0.016 | 0.02 | 0.03 | 0.032 | 0.022 | 0.029 | 0.029 | 0.003 | 0.003 | 0.004 | 0 | 0.001 | 0 | 0.002 | 0.001 | 0.008 | 0.001 | 0.001 | 0 | 0.005 | 0.009 | 0.012 | 0.01 | 0.011 | 0.008 | 0.009 | 0.01 | 0.01 | 0.01 | 0.004 | 0.015 | 0.315 | 0.010161 | 0.032
April | 0.004 | 0 | 0.001 | 0.006 | 0.067 | 0.005 | 0.062 | 0.062 | 0.041 | 0.072 | 0.06 | 0 | 0.002 | 0.025 | 0.005 | 0.002 | 0 | 0.002 | 0 | 0.006 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.423 | 0.0141 | 0.072
May | 0.001 | 0 | 0.001 | 0 | 0.003 | 0 | 0.001 | 0.001 | 0.001 | 0.003 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.001 | 0 | 0.008 | 0.01 | 0.003 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0.001 | 0.003 | 0.063 | 0.0020323 | 0.019
June | 0.003 | 0 | 0 | 0.003 | 0 | 0.006 | 0.004 | 0.014 | 0 | 0 | 0.005 | 0.01 | 0 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047 | 0.042 | 0.043 | 0 | 0.037 | 0.003 | 0.006 | 0.007 | 0 |  | 0.233 | 0.0077667 | 0.047 | Waiting on corrrected Part B from Ray
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009 | 0.009 | 0.009 | 0.013 | 0 | 0 | 0 | 0.007 | 0.011 | 0.054 | 0.009 | 0.011 | 0 | 0.011 | 0.008 | 0.013 | 0.056 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22 | 0.0070968 | 0.056
August | 0 | 0 | 0 | 0 | 0 | 0 | 0.062 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.096 | 0.057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.216 | 0.0069677 | 0.096
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.033 | 0 | 0 | 0 | 0.062 | 0.059 | 0.067 | 0.058 | 0.071 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.35 | 0.011667 | 0.071
October | 0.006 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005 | 0 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.059 | 0.041 | 0.001 | 0.034 | 0.004 | 0.007 | 0.01 | 0.002 | 0 | 0 | 0 | 0 | 0.183 | 0.0059032 | 0.059
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0.032 | 0 | 0 | 0 | 0.004 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0.058 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0.003 | 0 | 0 | 0 |  | 0.106 | 0.0035333 | 0.058
December | 0 | 0.065 | 0.057 | 0 | 0 | 0 | 0 | 0.004 | 0.061 | 0.056 | 0.001 | 0.003 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0.005 | 0 | 0 | 0.001 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0.261 | 0.0084194 | 0.065
(1) Copy from DMR (Central Fl/Pennbrooke/DMRs). (2) Format copied cells to Arial 10. (3) copy from FLW Column and 'Paste Special/Transpose' to the applicable FLW-X row.
(4). Delete data from rows 73 - 31 once daily flows have been copied to above FLW rows.
| FLW-1 | FLW-2 | FLW-3 | FLW-4 |  |  |  | FLW-1 |  | FLW-2 |  | FLW-3 |  | FLW-4
1 | 0.065 | 0.065 | 0 | 0 |  | 1 | 62 | 0.062 | 0 | 0 | 0 | 0 | 62 | 0.062
2 | 0.065 | 0 | 0 | 0.065 |  | 2 | 68 | 0.068 | 0 | 0 | 0 | 0 | 68 | 0.068
3 | 0.057 | 0 | 0 | 0.057 |  | 3 | 56 | 0.056 | 0 | 0 | 0 | 0 | 56 | 0.056
4 | 0.069 | 0.069 | 0 | 0 |  | 4 | 72 | 0.072 | 2 | 0.002 | 0 | 0 | 70 | 0.07
5 | 0.089 | 0.089 | 0 | 0 |  | 5 | 66 | 0.066 | 0 | 0 | 0 | 0 | 66 | 0.066
6 | 0.075 | 0.075 | 0 | 0 |  | 6 | 64 | 0.064 | 0 | 0 | 0 | 0 | 64 | 0.064
7 | 0.062 | 0.062 | 0 | 0 |  | 7 | 54 | 0.054 | 0 | 0 | 0 | 0 | 54 | 0.054
8 | 0.06 | 0.06 | 0 | 0.004 |  | 8 | 62 | 0.062 | 0 | 0 | 0 | 0 | 62 | 0.062
9 | 0.061 | 0 | 0 | 0.061 |  | 9 | 63 | 0.063 | 0 | 0 | 0 | 0 | 63 | 0.063
10 | 0.056 | 0 | 0 | 0.056 |  | 10 | 60 | 0.06 | 0 | 0 | 0 | 0 | 60 | 0.06
11 | 0.062 | 0.06 | 0.001 | 0.001 |  | 11 | 70 | 0.07 | 0 | 0 | 56 | 0.056 | 14 | 0.014
12 | 0.056 | 0.053 | 0 | 0.003 |  | 12 | 64 | 0.064 | 0 | 0 | 57 | 0.057 | 7 | 0.007
13 | 0.063 | 0.06 | 0 | 0.003 |  | 13 | 61 | 0.061 | 0 | 0 | 53 | 0.053 | 8 | 0.008
14 | 0.054 | 0.054 | 0 | 0 |  | 14 | 71 | 0.071 | 0 | 0 | 57 | 0.057 | 14 | 0.014
15 | 0.065 | 0.065 | 0 | 0 |  | 15 | 74 | 0.074 | 0 | 0 | 64 | 0.064 | 10 | 0.01
16 | 0.057 | 0.057 | 0 | 0 |  | 16 | 64 | 0.064 | 0 | 0 | 57 | 0.057 | 7 | 0.007
17 | 0.062 | 0.062 | 0 | 0 |  | 17 | 71 | 0.071 | 0 | 0 | 60 | 0.06 | 11 | 0.011
18 | 0.064 | 0.064 | 0 | 0 |  | 18 | 67 | 0.067 | 6 | 0.006 | 54 | 0.054 | 13 | 0.013
19 | 0.092 | 0.092 | 0 | 0 |  | 19 | 64 | 0.064 | 0 | 0 | 0 | 0 | 64 | 0.064
20 | 0.057 | 0.003 | 0.05 | 0.004 |  | 20 | 72 | 0.072 | 0 | 0 | 0 | 0 | 72 | 0.072
21 | 0.062 | 0 | 0.057 | 0.005 |  | 21 | 69 | 0.069 | 0 | 0 | 0 | 0 | 69 | 0.069
22 | 0.058 | 0 | 0.058 | 0 |  | 22 | 56 | 0.056 | 0 | 0 | 0 | 0 | 56 | 0.056
23 | 0.058 | 0 | 0.058 | 0 |  | 23 | 53 | 0.053 | 0 | 0 | 0 | 0 | 53 | 0.053
24 | 0.059 | 0 | 0.058 | 0.001 |  | 24 | 53 | 0.053 | 0 | 0 | 0 | 0 | 53 | 0.053
25 | 0.092 | 0 | 0.091 | 0.001 |  | 25 | 59 | 0.059 | 0 | 0 | 0 | 0 | 58 | 0.058
26 | 0.062 | 0 | 0.062 | 0 |  | 26 | 49 | 0.049 | 0 | 0 | 0 | 0 | 49 | 0.049
27 | 0.057 | 0 | 0.057 | 0 |  | 27 | 65 | 0.065 | 0 | 0 | 0 | 0 | 65 | 0.065
28 | 0.08 | 0 | 0.08 | 0 |  | 28 | 65 | 0.065 | 0 | 0 | 0 | 0 | 66 | 0.066
29 | 0.064 | 0 | 0.064 | 0 |  | 29
30 | 0.047 | 0 | 0.047 | 0 |  | 30
31 | 0.066 | 0 | 0.066 | 0 |  | 31
| 1.996 | 0.99 | 0.749 | 0.261 |  |  | Total | 1.774 | Total | 0.008 | Total | 0.458 | Total | 1.314