## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Lake Saunders | 0.07542 | 0 | 0.09394 | 0.0148 | 0.09417 | 0 | 0.14984 | 0 | 0.06714 | 0 | 0.08163 | 0 | 0.05243 | 0 | 0.05321 | 0 | 0.06014 | 0 | 0.07276 | 0 | 0.05913 | 0 | 0.05911 | 0 | 0.93372
Total | 0.07542 |  | 0.10874 |  | 0.09417 |  | 0.14984 |  | 0.06714 |  | 0.08163 |  | 0.05243 |  | 0.05321 |  | 0.06014 |  | 0.07276 |  | 0.05913 |  | 0.05911

## Lake Saunders
251/226 (664) - Lake Saunders | [9 empty] | Hyper Links'!A1
PWS ID No. 3354695
CUP No. 50094 |  | Exp. 05/05/2038
FDEP Permitted Max Day Capacity of Plant - .432 mgd
Hyper Links'!A1
|  |  |  | Total Water Used/Loss |  |  |  |  | Source Mtr Error Adj.
| Pumped | Pumped Daily Avg. | Pumped Daily Max | Gallons Used | Gallons Loss | Total Used/ Loss | Pumped, Less Gallons Loss/ Used | Billed Consumption | Meter Adj. % | Pumped Meter Adj. | Pumped + Source Mtr Error, Less Gals Loss/ Use | Total AFW (Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW % | Source Meter Error Adj.
January 2019 | 0.2532 | 0.0081677 | 0.013905 | 0.07542 | 0 | 0.07542 |  | 0.16359 | 2.92% | 0.0073934 | 0.18517 | 0.23901 | 91.72% | 91.49% |  | Meter Error % | Pumped Meter Error
February | 0.26132 | 0.0093329 | 0.02151 | 0.09394 | 0.0148 | 0.10874 |  | 0.16927 | 2.92% | 0.0076305 | 0.16021 | 0.27801 | 103.4% | 87.06% | 03/01-03/26/19 | 2.92% | 0.0095093
March | 0.40711 | 0.013133 | 0.01977 | 0.09417 | 0 | 0.09417 |  | 0.28298 | 2.92%&-0.67% | 0.0089636 | 0.3219 | 0.37715 | 90.65% | 91.39% | 03/27-03/31/19 | -0.67% | -0.00054572
April | 0.39963 | 0.013321 | 0.06503 | 0.14984 | 0 | 0.14984 |  | 0.23284 | -0.67% | -0.0026775 | 0.24711 | 0.38268 | 96.4% | 94.98% |  |  | 0.0089636
May | 0.35343 | 0.011401 | 0.02073 | 0.06714 | 0 | 0.06714 |  | 0.2565 | -0.67% | -0.002368 | 0.28392 | 0.32364 | 92.19% | 96.54%
June | 0.40025 | 0.013342 | 0.03132 | 0.08163 | 0 | 0.08163 |  | 0.28401 | -0.67% | -0.0026817 | 0.31594 | 0.36564 | 91.97% | 70.48%
July | 0.28439 | 0.0091739 | 0.0148 | 0.05243 | 0 | 0.05243 |  | 0.20669 | -0.67% | -0.0019054 | 0.23005 | 0.25912 | 91.73% | 92.11%
August | 0.26958 | 0.0086963 | 0.01412 | 0.05321 | 0 | 0.05321 |  | 0.15379 | -0.67% | -0.0018062 | 0.21457 | 0.207 | 77.3% | 73.54%
September | 0.33929 | 0.01131 | 0.02002 | 0.06014 | 0 | 0.06014 |  | 0.29303 | -0.67% | -0.0022733 | 0.27688 | 0.35317 | 104.8% | 115.3%
October | 0.36481 | 0.011768 | 0.02182 | 0.07276 | 0 | 0.07276 |  | 0.25939 | -0.67% | -0.0024442 | 0.28961 | 0.33215 | 91.66% | 90.32%
November | 0.30236 | 0.010079 | 0.015 | 0.05913 | 0 | 0.05913 |  | 0.21528 | -0.67% | -0.0020258 | 0.24121 | 0.27441 | 91.37% | 91.37%
December | 0.28431 | 0.0091713 | 0.02551 | 0.05911 | 0 | 0.05911 |  | 0.19118 | -0.67% | -0.0019049 | 0.2233 | 0.25029 | 88.63% | 92.61%
YTD Total/Avg/Max | 3.9197 | 0.010741 | 0.06503 | 0.91892 | 0.0148 | 0.93372 |  | 2.7086 |  | 0.0039005 | 2.9899 | 3.6423
| 3.9197 | [8 empty] | 0.0039005 |  | 3.6423
| 0 | Proof to Daily Flow |  |  |  | Proof to Total Billed |  | 0 |  |  |  | YTD AFW% Jan-Dec | 92.83%
Water Loss-Use'!A1 |  |  |  |  | Water Loss/Use Proof | 0
Verif. W/UIWtrMn WLU wrksht & WAF Input

## Daily Flow-226
251/226 - Lake Saunders | [9 empty] | Hyper Links'!A1
MWAF - link to AH(x)
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.00495 | 0.01144 | 0.00672 | 0.00408 | 0.008615 | 0.008615 | 0.0054 | 0.00807 | 0.0089 | 0.00908 | 0.00788 | 0.013905 | 0.013905 | 0.00944 | 0.00368 | 0.00903 | 0.00917 | 0.00594 | 0.00973 | 0.00973 | 0.00559 | 0.00546 | 0.01036 | 0.00693 | 0.00503 | 0.010095 | 0.010095 | 0.0058 | 0.00791 | 0.0102 | 0.00745 | 0.2532 | 0.0081677 | 0.013905 | 0
February | 0.00781 | 0.01039 | 0.01039 | 0.00947 | 0.00691 | 0.00876 | 0.00932 | 0.00801 | 0.01052 | 0.01052 | 0.00716 | 0.00528 | 0.02151 | 0.00801 | 0.00567 | 0.01477 | 0.01477 | 0.00857 | 0.00665 | 0.00817 | 0.00795 | 0.00627 | 0.01213 | 0.01213 | 0.00526 | 0.00836 | 0.0092 | 0.00736 |  |  |  | 0.26132 | 0.0093329 | 0.02151 | 0
March | 0.00824 | 0.00969 | 0.00969 | 0.00877 | 0.00713 | 0.01275 | 0.00748 | 0.00985 | 0.01652 | 0.01652 | 0.01977 | 0.01102 | 0.01154 | 0.01465 | 0.01229 | 0.01529 | 0.01529 | 0.00457 | 0.01553 | 0.01538 | 0.01067 | 0.01463 | 0.01696 | 0.01696 | 0.01075 | 0.01372 | 0.01893 | 0.00905 | 0.01526 | 0.019105 | 0.019105 | 0.40711 | 0.013133 | 0.01977 | 0
April | 0.00972 | 0.0072 | 0.00966 | 0.00629 | 0.01053 | 0.01673 | 0.01673 | 0.00794 | 0.01404 | 0.013 | 0.01299 | 0.01139 | 0.01654 | 0.01654 | 0.00838 | 0.00813 | 0.01179 | 0.0119 | 0.01065 | 0.00845 | 0.00845 | 0.00735 | 0.06503 | 0.01353 | 0.01274 | 0.0132 | 0.014995 | 0.014995 | 0.00867 | 0.01207 |  | 0.39963 | 0.013321 | 0.06503 | 0
May | 0.01447 | 0.01311 | 0.0074 | 0.014715 | 0.014715 | 0.00382 | 0.00868 | 0.0156 | 0.01007 | 0.0085 | 0.013055 | 0.013055 | 0.00341 | 0.00978 | 0.01188 | 0.01652 | 0.00811 | 0.007795 | 0.007795 | 0.00892 | 0.00564 | 0.00783 | 0.00814 | 0.01138 | 0.01478 | 0.01478 | 0.01218 | 0.00895 | 0.01811 | 0.01951 | 0.02073 | 0.35343 | 0.011401 | 0.02073 | 0
June | 0.015175 | 0.015175 | 0.00972 | 0.01407 | 0.01501 | 0.01395 | 0.01226 | 0.01261 | 0.01261 | 0.00522 | 0.01215 | 0.02638 | 0.01284 | 0.00601 | 0.01209 | 0.01209 | 0.00639 | 0.03132 | 0.0078 | 0.00862 | 0.01341 | 0.014215 | 0.014215 | 0.01015 | 0.01337 | 0.02033 | 0.01307 | 0.0114 | 0.0143 | 0.0143 |  | 0.40025 | 0.013342 | 0.03132 | 0
July | 0.01102 | 0.01195 | 0.01328 | 0.0148 | 0.01202 | 0.011085 | 0.011085 | 0.00475 | 0.01025 | 0.00961 | 0.00872 | 0.00518 | 0.009605 | 0.009605 | 0.00479 | 0.00736 | 0.01121 | 0.01004 | 0.00427 | 0.0093 | 0.0093 | 0.00446 | 0.01042 | 0.00616 | 0.00708 | 0.00764 | 0.012555 | 0.012555 | 0.00344 | 0.00813 | 0.01272 | 0.28439 | 0.0091739 | 0.0148 | 0
August | 0.00984 | 0.0072 | 0.01043 | 0.01043 | 0.00446 | 0.00992 | 0.00581 | 0.00666 | 0.00982 | 0.008615 | 0.008615 | 0.00736 | 0.00613 | 0.00946 | 0.01412 | 0.00462 | 0.00979 | 0.00979 | 0.00412 | 0.00853 | 0.01116 | 0.00819 | 0.00994 | 0.01129 | 0.01129 | 0.00554 | 0.00953 | 0.0065 | 0.00984 | 0.00969 | 0.010895 | 0.26958 | 0.0086963 | 0.01412 | 0
September | 0.010895 | 0.00457 | 0.00591 | 0.00847 | 0.00501 | 0.00591 | 0.005985 | 0.005985 | 0.01499 | 0.01243 | 0.01054 | 0.00978 | 0.00762 | 0.011455 | 0.011455 | 0.00769 | 0.00785 | 0.01186 | 0.01189 | 0.0137 | 0.016475 | 0.016475 | 0.00775 | 0.01816 | 0.02002 | 0.00936 | 0.01715 | 0.019725 | 0.019725 | 0.01046 |  | 0.33929 | 0.01131 | 0.02002 | 0
October | 0.02182 | 0.01184 | 0.01112 | 0.01698 | 0.0195 | 0.0195 | 0.00823 | 0.00659 | 0.00668 | 0.01514 | 0.0117 | 0.01769 | 0.01769 | 0.01691 | 0.00513 | 0.0096 | 0.01139 | 0.00705 | 0.01061 | 0.01061 | 0.00456 | 0.00585 | 0.01273 | 0.01164 | 0.00771 | 0.01353 | 0.01353 | 0.00523 | 0.01065 | 0.00991 | 0.01369 | 0.36481 | 0.011768 | 0.02182 | 0
November | 0.00916 | 0.015 | 0.015 | 0.00725 | 0.0045 | 0.01369 | 0.00862 | 0.00849 | 0.0106 | 0.0106 | 0.00469 | 0.0145 | 0.00885 | 0.0089 | 0.0091 | 0.009215 | 0.009215 | 0.00586 | 0.00984 | 0.0093 | 0.01361 | 0.0076 | 0.014435 | 0.014435 | 0.00406 | 0.00772 | 0.01344 | 0.01304 | 0.00889 | 0.012755 |  | 0.30236 | 0.010079 | 0.015 | 0
December | 0.02551 | 0.00484 | 0.00794 | 0.00989 | 0.01237 | 0.00973 | 0.012075 | 0.012075 | 0.00661 | 0.007 | 0.01023 | 0.01091 | 0.00438 | 0.010125 | 0.010125 | 0.00476 | 0.00892 | 0.00748 | 0.00752 | 0.00875 | 0.009915 | 0.009915 | 0.00657 | 0.01044 | 0.00759 | 0.00796 | 0.00636 | 0.010435 | 0.010435 | 0.00782 | 0.00563 | 0.28431 | 0.0091713 | 0.02551 | 0
[32 empty] | 3.9197 | Grand Total

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Lake Saunders | 253200 | 261320 | 407110 | 399630 | 353430 | 400250 | 284390 | 269585 | 339295 | 364810 | 302365 | 284310