## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Little Wekiva | 0.00242 | 0 | 0.00239 | 0 | 0.02257 | 0 | 0.02139 | 0 | 0.02645 | 0 | 0.00241 | 0 | 0.00395 | 0 | 0.00409 | 0 | 0.00343 | 0 | 0.00245 | 0 | 0.01987 | 0 | 0.00245 | 0 | 0.11387

## Little Wekiva
252/247 - Little Wekiva
PWS ID No. 3590762
CUP No. 20-117-8349-3 |  | Exp. 11/15/20
FDEP FDEP Permitted Max Day Capacity of Plant - .047 mgd
Hyper Links'!A1
|  |  |  | Total Water Used/Loss |  |  |  |  | Source Mtr Error Adj. 02/21/19 2.44% 11/21/19 -1.14%
| Pumped | Pumped Daily Avg. | Pumped Daily Max. | Gallons Used | Gallons Loss | Total Used/ Loss | Pumped, Less Gallons Loss/ Used | Billed Consumption | Meter Adj. % | Pumped Meter Adj. | Pumped + Source Mtr Error, - Gals Loss/Use | Total AFW (Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW %
January 2019 | 0.2875 | 0.0092742 | 0.0121 | 0.00242 | 0 | 0.00242 | 0.28508 | 0.27368 | -1.01% | -0.0029038 | 0.28218 | 0.2761 | 97.01% | 89.93%
February | 0.2546 | 0.0090929 | 0.0157 | 0.00239 | 0 | 0.00239 | 0.25221 | 0.23051 | 04-19-18 -1.01% 02/21/19 2.44% | 0.000276 | 0.25249 | 0.2329 | 91.38% | 92.78%
March | 0.3203 | 0.010332 | 0.0149 | 0.02257 | 0 | 0.02257 | 0.29773 | 0.28018 | 2.44% | 0.0078153 | 0.30555 | 0.30275 | 92.27% | 89.32%
April | 0.3251 | 0.010837 | 0.0188 | 0.02139 | 0 | 0.02139 | 0.30371 | 0.29245 | 2.44% | 0.0079324 | 0.31164 | 0.31384 | 94.24% | 85.41%
May | 0.3802 | 0.012265 | 0.024 | 0.02645 | 0 | 0.02645 | 0.35375 | 0.32614 | 2.44% | 0.0092769 | 0.36303 | 0.35259 | 90.53% | 99.88%
June | 0.3193 | 0.010643 | 0.0178 | 0.00241 | 0 | 0.00241 | 0.31689 | 0.30207 | 2.44% | 0.0077909 | 0.32468 | 0.30448 | 93.09% | 83.73%
July | 0.3128 | 0.01009 | 0.0173 | 0.00395 | 0 | 0.00395 | 0.30885 | 0.27521 | 2.44% | 0.0076323 | 0.31648 | 0.27916 | 87.12% | 94.8%
August | 0.2851 | 0.0091968 | 0.0159 | 0.00409 | 0 | 0.00409 | 0.28101 | 0.25558 | 2.44% | 0.0069564 | 0.28797 | 0.25967 | 88.91% | 89.57%
September | 0.2977 | 0.0099233 | 0.0134 | 0.00343 | 0 | 0.00343 | 0.29427 | 0.26594 | 2.44% | 0.0072639 | 0.30153 | 0.26937 | 88.33% | 92.28%
October | 0.4403 | 0.014203 | 0.0303 | 0.00245 | 0 | 0.00245 | 0.43785 | 0.39028 | 2.44% | 0.010743 | 0.44859 | 0.39273 | 87.07% | 91.98%
November | 0.4746 | 0.01582 | 0.0292 | 0.01987 | 0 | 0.01987 | 0.45473 | 0.4447 | 02/21/19 2.44% 11/21/19 -1.14% | 0.0082974 | 0.46303 | 0.46457 | 96.2% | 91.8%
December | 0.2893 | 0.0093323 | 0.0138 | 0.00245 | 0 | 0.00245 | 0.28685 | 0.24711 | -1.14% | -0.003298 | 0.28355 | 0.24956 | 87.26% | 88.48%
YTD Total/Avg/Max | 3.9868 | 0.010917 | 0.0303 | 0.11387 | 0 | 0.11387 |  | 3.5838 |  | 0.067783 | 3.9407 | 3.6977
| 3.9868 | [8 empty] | 0.067783 |  | 3.6977
| 0 | Proof to Daily Flow |  |  |  |  | Proof to Total Billed | 0 |  |  |  | YTD AFW% Jan-Dec | 91.2%
Water Loss-Use'!A1 | [6 empty] | Water Loss/Use Proof | 0
Verif W/UIWtrMn WLU wrksht & WAF Input
Source Mtr Error Adj. 04-19-18 -1.01% 02/21/19 2.44%
[9 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[9 empty] | 02/01-02/21 | -1.01% | 0.1872 | -0.0018907
[9 empty] | 02/22-02/28 | 2.44% | 0.0888 | 0.0021667
0.000276
Source Mtr Error Adj. 02/21/19 2.44% 11/21/19 -1.14%
[9 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[9 empty] | 11/01-11/20/19 | 2.44% | 0.3829 | 0.0093428
[9 empty] | 11/21-11/30 | -1.14% | 0.0917 | -0.0010454
0.0082974
Note on B7: Picked up from Daily Flow. Total daily flow, Column AH
Note on C7: Picked up from Daily Flow AVG, Column AI
Note on D7: Picked up from Daily Flow MAX, Column AJ
Note on E7: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the used detail.
Note on F7: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the loss detail.

## Daily Flow-247
252/247 - Little Wekiva | [5 empty] | MWAF - link to AH(x) |  |  |  | Hyper Links'!A1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.0091 | 0.0078 | 0.0112 | 0.0083 | 0.0104 | 0.0104 | 0.0083 | 0.0079 | 0.0098 | 0.0087 | 0.0096 | 0.0075 | 0.0121 | 0.0088 | 0.0112 | 0.0098 | 0.0089 | 0.0089 | 0.0096 | 0.0109 | 0.0095 | 0.0095 | 0.01 | 0.0097 | 0.008 | 0.0086 | 0.0086 | 0.0089 | 0.0081 | 0.0084 | 0.009 | 0.2875 | 0.0092742 | 0.0121 | 0
February | 0.0091 | 0.009 | 0.0116 | 0.0085 | 0.0097 | 0.0083 | 0.0101 | 0.0065 | 0.008 | 0.0118 | 0.0078 | 0.0077 | 0.0097 | 0.0072 | 0.0081 | 0.0076 | 0.0105 | 0.009 | 0.0091 | 0.0089 | 0.009 | 0.0089 | 0.0077 | 0.0157 | 0.0092 | 0.0103 | 0.0073 | 0.0083 |  |  |  | 0.2546 | 0.0090929 | 0.0157 | 0
March | 0.0096 | 0.0097 | 0.0118 | 0.0096 | 0.0114 | 0.0105 | 0.0115 | 0.0102 | 0.0109 | 0.0131 | 0.011 | 0.0086 | 0.0081 | 0.0085 | 0.0097 | 0.0076 | 0.0131 | 0.0075 | 0.0097 | 0.009 | 0.0079 | 0.0093 | 0.0104 | 0.0137 | 0.01 | 0.0111 | 0.0149 | 0.0101 | 0.0101 | 0.0085 | 0.0132 | 0.3203 | 0.010332 | 0.0149 | 0
april | 0.0083 | 0.0086 | 0.0082 | 0.0086 | 0.0113 | 0.0094 | 0.0112 | 0.0081 | 0.0087 | 0.0085 | 0.0074 | 0.0161 | 0.0159 | 0.014 | 0.0084 | 0.0108 | 0.0083 | 0.0113 | 0.0094 | 0.0095 | 0.0168 | 0.0089 | 0.0111 | 0.0126 | 0.0088 | 0.0101 | 0.0162 | 0.0188 | 0.0101 | 0.0097 |  | 0.3251 | 0.010837 | 0.0188 | 0
May | 0.0109 | 0.0149 | 0.0093 | 0.0154 | 0.024 | 0.0086 | 0.0101 | 0.0099 | 0.0134 | 0.0129 | 0.0089 | 0.0118 | 0.0099 | 0.0089 | 0.0094 | 0.0103 | 0.0089 | 0.0116 | 0.0158 | 0.009 | 0.0118 | 0.01 | 0.0125 | 0.0115 | 0.0118 | 0.0176 | 0.0106 | 0.0179 | 0.0113 | 0.0168 | 0.0145 | 0.3802 | 0.012265 | 0.024 | 0
June | 0.0178 | 0.0157 | 0.012 | 0.0144 | 0.0147 | 0.0129 | 0.0087 | 0.0074 | 0.0112 | 0.0073 | 0.0167 | 0.009 | 0.0087 | 0.008 | 0.009 | 0.0123 | 0.0072 | 0.0085 | 0.0078 | 0.0097 | 0.0075 | 0.0105 | 0.012 | 0.0073 | 0.0143 | 0.0059 | 0.0112 | 0.0106 | 0.0079 | 0.0131 |  | 0.3193 | 0.010643 | 0.0178 | 0
July | 0.0114 | 0.0072 | 0.0142 | 0.0083 | 0.0103 | 0.01 | 0.0145 | 0.011 | 0.0001 | 0.0173 | 0.0134 | 0.0125 | 0.0084 | 0.0108 | 0.0092 | 0.0082 | 0.0163 | 0.0093 | 0.0098 | 0.0087 | 0.0124 | 0.0086 | 0.0084 | 0.0089 | 0.0094 | 0.0066 | 0.0089 | 0.012 | 0.0088 | 0.0092 | 0.0087 | 0.3128 | 0.01009 | 0.0173 | 0
August | 0.0097 | 0.0082 | 0.0078 | 0.0105 | 0.0081 | 0.0159 | 0.008 | 0.0077 | 0.0083 | 0.011 | 0.0089 | 0.0102 | 0.0096 | 0.0075 | 0.0087 | 0.0082 | 0.0088 | 0.0114 | 0.0131 | 0.0116 | 0.0065 | 0.0081 | 0.0093 | 0.0072 | 0.0085 | 0.0123 | 0.0087 | 0.0064 | 0.0095 | 0.0085 | 0.0069 | 0.2851 | 0.0091968 | 0.0159 | 0
September | 0.0116 | 0.0084 | 0.0074 | 0.0118 | 0.0071 | 0.0102 | 0.0102 | 0.0107 | 0.0082 | 0.0112 | 0.0081 | 0.0098 | 0.0081 | 0.0089 | 0.0107 | 0.0094 | 0.0132 | 0.0064 | 0.0106 | 0.0134 | 0.0084 | 0.0109 | 0.0109 | 0.0089 | 0.0097 | 0.0099 | 0.0114 | 0.0109 | 0.0114 | 0.0099 |  | 0.2977 | 0.0099233 | 0.0134 | 0
October | 0.0096 | 0.0115 | 0.0113 | 0.0077 | 0.011 | 0.0147 | 0.0082 | 0.0116 | 0.0092 | 0.0089 | 0.0087 | 0.0092 | 0.0116 | 0.0097 | 0.0135 | 0.0133 | 0.0177 | 0.0177 | 0.0122 | 0.0241 | 0.0105 | 0.0303 | 0.0151 | 0.0163 | 0.0168 | 0.0167 | 0.0196 | 0.0164 | 0.019 | 0.0189 | 0.0193 | 0.4403 | 0.014203 | 0.0303 | 0
November | 0.0187 | 0.0207 | 0.0223 | 0.0243 | 0.0183 | 0.0256 | 0.0201 | 0.0243 | 0.0187 | 0.0249 | 0.019 | 0.0292 | 0.0166 | 0.0236 | 0.0168 | 0.0172 | 0.0129 | 0.0099 | 0.0093 | 0.0105 | 0.0096 | 0.0098 | 0.008 | 0.0104 | 0.0087 | 0.0079 | 0.0088 | 0.0093 | 0.0108 | 0.0084 |  | 0.4746 | 0.01582 | 0.0292 | 0
December | 0.0108 | 0.0129 | 0.0054 | 0.01 | 0.008 | 0.0099 | 0.0088 | 0.0138 | 0.0072 | 0.0102 | 0.0092 | 0.0093 | 0.0083 | 0.0077 | 0.0101 | 0.0109 | 0.0116 | 0.0064 | 0.008 | 0.0086 | 0.0067 | 0.0099 | 0.009 | 0.0086 | 0.0094 | 0.0109 | 0.0107 | 0.007 | 0.0093 | 0.0095 | 0.0112 | 0.2893 | 0.0093323 | 0.0138 | 0
[32 empty] | 3.9868 | Grand Total

## Sheet1
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Little Wekiva | 287500 | 254600 | 320300 | 325100 | 380200 | 319300 | 312800 | 285100 | 297700 | 440300 | 474600 | 289300