## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Ravenna Park/Lincoln Heights | 0.07196 | 0 | 0.06902 | 0 | 0.07552 | 0 | 0.06779 | 0 | 0.06607 | 0 | 0.06452 | 0 | 0.06144 | 0 | 0.05654 | 0 | 0.05501 | 0 | 0.06607 | 0 | 0.06689 | 0 | 0.06607 | 0.003 | 0.7899
Phillips | 0.03257 | 0 | 0.02754 | 0 | 0.02274 | 0 | 0.01982 | 0 | 0.03034 | 0 | 0.02768 | 0 | 0.02 | 0 | 0.02991 | 0 | 0.00053 | 0 | 0.03034 | 0 | 0.03034 | 0 | 0.03034 | 0 | 0.30215
Total | 0.03257 |  | 0.02754 |  | 0.02274 |  | 0.01982 |  | 0.03034 |  | 0.02768 |  | 0.02 |  | 0.02991 |  | 0.00053 |  | 0.03034 |  | 0.03034 |  | 0.03034

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Ravenna Park | 2941600 | 2844000 | 3241600 | 3373000 | 4062600 | 3486800 | 3357100 | 3049600 | 3400400 | 3375400 | 3215200 | 3201900
Ravnna Pk I/C (Purch) | 0 | 1000 | 0 | 1000 | 200 | 0 | 100 | 500 | 700 | 200 | 500 | 8000
Phillips | 255016 | 174050 | 104373 | 67284 | 21644 | 356 | 0 | 376849 | 280 | 567 | 0 | 0
Phillips - I/C (Purch) | 0 | 0 | 0 | 80 | 80 | 1170 | 1840 | 1310 | 1050 | 1140 | 1110 | 1060
Note on A3: pjhanks: Service Crystal Lake customers

## Phillips Ravenna Combined
252/344 - Ravenna Park
PWS ID No. 3591061
CUP No. 20-117-8352-3 |  | Exp. 11/15/20
FDEP Permitted Max Day Capacity of Plant - .360 mgd
Phillips interconnected with Ravenna on 07-25-18 |  |  |  | **Phillips PWSID dissolved 02-13-19
Hyper Links'!A1 | Ravenna |  |  | Phillips | [6 empty] | Total Water Used/Loss Ravenna |  |  | Total Water Used/Loss Phillips | [7 empty] | Ravenna Source Mtr Error Adj. (Flow Mtr) 04/19/18 +1.32% 02/21/19 -0.50% |  | City of Sanford 4" Source Mtr Error Adj. 05/22/19 -1.01% & 04/05/19 100% |  | City of Sanford 6" Source Mtr Error Adj. 04/19/18 +0.99% 02/21/19 +1.48% |  | Ravenna Source Mtr & I/C Error | Phillips Source Mtr Error Adj. 04/19/18 +3.45% 02/21/19 +1.62% |  | Phillips I/C Mtr. Error Adj. 05/22/19 3.23% 04/19/18 -3.09%
| Pumped | Pumped Daily Avg. | Pumped Daily Max. | Pumped | Pumped Daily Avg. | Pumped Daily Max. | Total Pumped | City of Sanford Emergency I/C | Lake Mary Emergency I/C | Total I/C | Gallons Used | Gallons Loss | Total Used/ Loss | Gallons Used | Gallons Loss | Total Used/ Loss | Total Gallons Loss/Used | Pumped + I/C, Less Gallons Loss/ Used | Ravenna & Crystal Billed Consumption | Phillips Billed Consumption | Combined Billed Consumption | Meter Adj. % | Pumped Meter Adj. | Meter Adj. % | Pumped Meter Adj. | Meter Adj. % | Pumped Meter Adj. | Total Adj. | Meter Adj. % | Pumped Meter Adj. | Meter Adj. % | Pumped Meter Adj. | Source Mtr.(s) Error Total | Pumped + Source Mtr Error, - Gals Loss/Use | Total AFW (Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW %
January 2019 | 2.9416 | 0.09489 | 0.1298 | 0.25502 | 0.0082263 | 0.019915 | 3.1966 | 0 | 0 | 0 | 0.07196 | 0 | 0.07196 | 0 | 0.02274 | 0.02274 | 0.0947 | 3.1019 | 2.5599 | 0.43036 | 2.9903 | 1.32% | 0.038829 | 0% | 0 | 0.99% | 0 | 0.038829 | 3.45% | 0.0087981 | -3.09% | 0 | 0.047627 | 3.1495 | 3.085 | 95.09% | N/A
February | 2.844 | 0.10157 | 0.1561 | 0.17405 | 0.0062161 | 0.015701 | 3.018 | 0.001 | 0 | 0.001 | 0.06902 | 0 | 0.06902 | 0 | 0.01982 | 0.01982 | 0.08884 | 2.9302 | 2.3544 | 0.34101 | 2.6954 | 1.32% & -0.5% | 0.023833 | 0% | 0 | 0.99% & 1.48% | 0 | 0.023833 | 3.45% & +1.62% | 0.0052055 | -3.09% | 0 | 0.029038 | 2.9592 | 2.7842 | 91.34% | N/A
March | 3.2416 | 0.10457 | 0.1451 | 0.10437 | 0.0033669 | 0.011412 | 3.346 | 0 | 0 | 0 | 0.07552 | 0 | 0.07552 | 0 | 0.03034 | 0.03034 | 0.10586 | 3.2401 | 2.7612 | 0.44649 | 3.2076 | -0.5% | -0.016208 | 0% | 0 | 1.48% | 0 | -0.016208 | 1.62% | 0.0016908 | -3.09% | 0 | -0.014517 | 3.2256 | 3.3135 | 99.46% | N/A
April | 3.373 | 0.11243 | 0.146 | 0.067284 | 0.0022428 | 0.012044 | 3.4403 | 0.001 | 8e-05 | 0.00108 | 0.06779 | 0 | 0.06779 | 0 | 0.02768 | 0.02768 | 0.09547 | 3.3459 | 2.7657 | 0.47848 | 3.2442 | -0.5% | -0.016865 | 0% | 0 | 1.48% | 0 | -0.016865 | 1.62% | 0.00109 | -3.09% | -2.472e-06 | -0.015777 | 3.3301 | 3.3397 | 97.49% | N/A
May | 4.0626 | 0.13105 | 0.1909 | 0.021644 | 0.00069819 | 0.003355 | 4.0842 | 0.0002 | 8e-05 | 0.00028 | 0.06607 | 0 | 0.06607 | 0 | 0.02 | 0.02 | 0.08607 | 3.9985 | 3.1749 | 0.5798 | 3.7547 | -0.5% | -0.020313 | 05/22/19 -1.01% & 04/05/19 100% | 9.899e-05 | 1.48% | 0 | -0.020214 | 1.62% | 0.00035063 | -3.09% & 3.23% | -2.472e-06 | -0.019866 | 3.9786 | 3.8408 | 94.49% | N/A
June | 3.4868 | 0.11623 | 0.2117 | 0.000356 | 1.1867e-05 | 0.000215 | 3.4872 | 0 | 0.00117 | 0.00117 | 0.06452 | 0 | 0.06452 | 0 | 0.02991 | 0.02991 | 0.09443 | 3.3939 | 2.9248 | 0.45394 | 3.3787 | -0.5% | -0.017434 | -1.01% | 0 | 1.48% | 0 | -0.017434 | 1.62% | 5.7672e-06 | 3.23% | 3.7791e-05 | -0.01739 | 3.3765 | 3.4731 | 100.1% | N/A
July | 3.3571 | 0.10829 | 0.1491 | 0 | 0 | 0 | 3.3571 | 0.0001 | 0.00184 | 0.00194 | 0.06144 | 0 | 0.06144 | 0 | 0.00053 | 0.00053 | 0.06197 | 3.2971 | 2.7107 | 0.41688 | 3.1276 | -0.5% | -0.016786 | -1.01% | -1.01e-06 | 1.48% | 0 | -0.016787 | 1.62% | 0 | 3.23% | 5.9432e-05 | -0.016727 | 3.2803 | 3.1896 | 95.43% | 89.36%
August | 3.0496 | 0.098374 | 0.1671 | 0.37685 | 0.012156 | 0.051406 | 3.4264 | 0.0005 | 0.00131 | 0.00181 | 0.05654 | 0 | 0.05654 | 0 | 0.03034 | 0.03034 | 0.08688 | 3.3414 | 2.7455 | 0.41619 | 3.1617 | -0.5% | -0.015248 | -1.01% | -5.05e-06 | 1.48% | 0 | -0.015253 | 1.62% | 0.006105 | 3.23% | 4.2313e-05 | -0.0091058 | 3.3323 | 3.2485 | 95.01% | 93.82%
September | 3.4004 | 0.11335 | 0.1631 | 0.00028 | 9.3333e-06 | 0.00028 | 3.4007 | 0.0007 | 0.00105 | 0.00175 | 0.05501 | 0 | 0.05501 | 0 | 0.03034 | 0.03034 | 0.08535 | 3.3171 | 2.7289 | 0.51642 | 3.2453 | -0.5% | -0.017002 | -1.01% | -7.07e-06 | 1.48% | 0 | -0.017009 | 1.62% | 4.536e-06 | 3.23% | 3.3915e-05 | -0.016971 | 3.3001 | 3.3306 | 98.38% | 95%
October | 3.3754 | 0.10888 | 0.1352 | 0.000567 | 1.829e-05 | 0.000567 | 3.376 | 0.0002 | 0.00114 | 0.00134 | 0.06607 | 0 | 0.06607 | 0 | 0.03034 | 0.03034 | 0.09641 | 3.2809 | 2.7777 | 0.47991 | 3.2576 | -0.5% | -0.016877 | -1.01% | -2.02e-06 | 1.48% | 0 | -0.016879 | 1.62% | 9.1854e-06 | 3.23% | 3.6822e-05 | -0.016833 | 3.2641 | 3.354 | 99.81% | 91.78%
November | 3.2152 | 0.10717 | 0.1338 | 0 | 0 | 0 | 3.2152 | 0.0005 | 0.00111 | 0.00161 | 0.06689 | 0 | 0.06689 | 0 | 0.30215 | 0.30215 | 0.36904 | 2.8478 | 2.5962 | 0.40218 | 2.9984 | -0.5% | -0.016076 | -1.01% | -5.05e-06 | 1.48% | 0 | -0.016081 | 1.62% | 0 | 3.23% | 3.5853e-05 | -0.016045 | 2.8317 | 3.3674 | 105.2% | 97.35%
December | 3.2019 | 0.10329 | 0.1348 | 0 | 0 | 0 | 3.2019 | 0.008 | 0.00106 | 0.00906 | 0.06607 | 0.003 | 0.06907 | 0 | 0 | 0 | 0.06907 | 3.1419 | 2.603 | 0.42767 | 3.0307 | -0.5% | -0.01601 | -1.01% | -8.08e-05 | 1.48% | 0 | -0.01609 | 1.62% | 0 | 3.23% | 3.4238e-05 | -0.016056 | 3.1258 | 3.0998 | 97.02% | 95%
YTDTotal/Avg/Max | 39.5492 | 1.3001 | 1.8627 | 1.0004 | 0.032946 | 0.11489 | 40.5496 | 0.0122 | 0.00884 | 0.02104 | 0.7869 | 0.003 | 0.7899 | 0 | 0.54419 | 0.54419 | 1.3341 | 39.2366 | 32.7028 | 5.3893 | 38.0921 |  | -0.10616 |  | -2.01e-06 |  | 0 |  |  | 0.023259 |  | 0.00027542 | -0.082623 | 39.1539 | 39.4262 | 97.38%
[20 empty] | Proof | 0
[23 empty] | Ravenna Source Mtr Error Adj. (Flow Mtr) 04/19/18 +1.32% 02/21/19 -0.50% | [6 empty] | Phillips Source Mtr Error Adj. 04/19/18 +3.45% 02/21/19 +1.62%
[22 empty] | Dates | Meter Adj. % | Pumped | Adjusted |  |  |  | Dates | Meter Adj. % | Pumped | Adjusted
[22 empty] | 02/01-02/21 | 1.32% | 2.0908 | 0.027599 |  |  |  | 02/01-02/21 | 3.45% | 0.13038 | 0.004498
[22 empty] | 02/22-02/28 | -0.5% | 0.7532 | -0.003766 |  |  |  | 02/22-02/28 | 1.62% | 0.043672 | 0.00070749
[25 empty] | 0.023833 | [6 empty] | 0.0052055
[23 empty] | City of Sanford 6" Error Adj. 04/19/18 +0.99% 02/21/19 +1.48% | [6 empty] | Phillips IC Mtr Error Adj. 05/22/19 3.23% 04/19/18 -3.09%
[22 empty] | Dates | Meter Adj. % | Pumped | Adjusted |  |  |  | Dates | Meter Adj. % | Pumped | Adjusted
[22 empty] | 02/01-02/21 | 1.32% | 0 | 0 |  |  |  | 05/01-05/21 | -3.09% | 8e-05 | -2.472e-06
[22 empty] | 02/22-02/28 | 1.48% | 0 | 0 |  |  |  | 05/22-05/31 | 3.23% | 0 | 0
[25 empty] | 0 | [6 empty] | -2.472e-06
City of Sanford 4" Error Adj. 05/22/19 -1.01% & 04/05/19 100%
[22 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[22 empty] | 05/01-05/21 | 100% | 0.0001 | 0.0001
[22 empty] | 05/22-05/31 | -1.01% | 0.0001 | -1.01e-06
9.899e-05

## Daily Flow-320
252/320 - Phillips |  |  |  | MWAF - link to AH(x) | [5 empty] | Hyper Links'!A1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.008026 | 0.019915 | 0.007924 | 0.015919 | 0.014532 | 0.004086 | 0.009106 | 0.007982 | 0.003518 | 0.000808 | 0.001315 | 0.00351 | 0.008538 | 0.008538 | 0.003599 | 0.001388 | 0.00119 | 0.013771 | 0.012577 | 0.016314 | 0.016314 | 0.007629 | 0.016459 | 0.014295 | 0.01043 | 0.00922 | 0.000948 | 0.000948 | 0.004027 | 0.008548 | 0.003642 | 0.25502 | 0.0082263 | 0.019915 | 0
February | 0.009927 | 0.010136 | 0.009718 | 0.009718 | 0.00481 | 0.006294 | 0.006573 | 0.000808 | 0.007312 | 0.002475 | 0.002475 | 0.005551 | 0.001866 | 0.00142 | 0.015701 | 0.001302 | 0.005386 | 0.005389 | 0.003978 | 0.014507 | 0.005032 | 0.007757 | 0.008479 | 0.007803 | 0.007803 | 0.004778 | 0.003806 | 0.003246 |  |  |  | 0.17405 | 0.0062161 | 0.015701 | 0
March | 0.003744 | 0.007053 | 0.007843 | 0.007843 | 0.008076 | 0.00014 | 0.00452 | 0.005677 | 0.009832 | 0.003112 | 0.003112 | 0.001475 | 0.000622 | 0.00291 | 0.001522 | 0.000814 | 0.000162 | 0.000161 | 0.00846 | 0.000353 | 0.000255 | 0.000332 | 0 | 0 | 0 | 0.009077 | 0.011412 | 0.000981 | 0.003697 | 0.000594 | 0.000594 | 0.10437 | 0.0033669 | 0.011412 | 0
April | 0.000915 | 2.4e-05 | 0.006506 | 0.002014 | 0.001399 | 0.000563 | 0.00099 | 0.000901 | 0.001052 | 0.001825 | 0.000248 | 0.009305 | 0.002572 | 0.000998 | 0.000998 | 0.00357 | 0.012044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002235 | 0.005064 | 0.002148 | 0.005507 | 0.005507 | 0.000899 |  | 0.067284 | 0.0022428 | 0.012044 | 0
May | 0.003355 | 0.000445 | 0 | 0.001452 | 0.000996 | 0.000996 | 0.000373 | 0.000995 | 0.00119 | 0.000257 | 0.001164 | 0.000726 | 0.000726 | 0 | 0 | 0 | 0.001148 | 0.000776 | 0.001137 | 0.001137 | 0.000561 | 0.000128 | 0 | 0 | 6.6e-05 | 0.00125 | 0.00125 | 0.001003 | 0.000512 | 0 | 1e-06 | 0.021644 | 0.00069819 | 0.003355 | 0
June | 0.000215 | 0 | 0.000141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.000356 | 1.1867e-05 | 0.000215 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.037009 | 0.014358 | 0 | 0 | 0 | 0.017366 | 0.040079 | 0.035874 | 0.039655 | 0.039655 | 0.008757 | 0.042516 | 0.051406 | 0.035936 | 0.014238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37685 | 0.012156 | 0.051406 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00028 | 0 | 0 | 0 | 0 |  | 0.00028 | 9.3333e-06 | 0.00028 | 0
October | 0 | 0 | 0.000567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.000567 | 1.829e-05 | 0.000567 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[32 empty] | 1.0004 | Grand Total
Interconnect
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8e-05 |  | 8e-05 | 2.6667e-06 | 8e-05 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8e-05 | 2.5806e-06 | 8e-05 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00083 |  | 0.00117 | 3.9e-05 | 0.00083 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00044 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0006 | 0 | 0 | 0.00016 | 0 | 0 | 0 | 0 | 0 | 0.00029 | 0 | 0.00012 | 0 | 0 | 0 | 0 | 0.00023 | 0.00184 | 5.9355e-05 | 0.0006 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00069 | 0 | 0 | 0 | 0 | 0.00025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00037 | 0 | 0.00131 | 4.2258e-05 | 0.00069 | 0
September | 0 | 0 | 0 | 0.0002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0002 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00034 |  | 0.00105 | 3.5e-05 | 0.00034 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00056 | 0.00114 | 3.6774e-05 | 0.00058 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0006 |  | 0.00111 | 3.7e-05 | 0.0006 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00054 | 0.00106 | 3.4194e-05 | 0.00054 | 0
[32 empty] | 0.00884 | Grand Total
UIF I/C Reads
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660
February | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660
March | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 4040660 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
April | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 146
May | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154
June | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 271
July | 271 | 271 | 271 | 271 | 271 | 271 | 271 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 375 | 375 | 375 | 391 | 391 | 391 | 391 | 391 | 391 | 420 | 420 | 432 | 432 | 432 | 432 | 432 | 455
August | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 524 | 524 | 524 | 524 | 524 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 586 | 586
September | 586 | 586 | 586 | 606 | 606 | 606 | 606 | 606 | 606 | 606 | 606 | 626 | 626 | 626 | 626 | 626 | 626 | 626 | 657 | 657 | 657 | 657 | 657 | 657 | 657 | 657 | 657 | 657 | 657 | 691
October | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 749 | 805
November | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 916
December | 916 | 916 | 916 | 916 | 916 | 916 | 916 | 916 | 916 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 968 | 1022

## Daily Flow-344
252/344 - Ravenna Park |  |  |  |  | MWAF - link to AH(x) - RvnaPk Wells 1-2 are ganged | [6 empty] | Hyper Links'!A1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.062 | 0.1155 | 0.0674 | 0.083 | 0.0875 | 0.1122 | 0.1122 | 0.0923 | 0.0995 | 0.0972 | 0.1078 | 0.0988 | 0.1118 | 0.1118 | 0.1298 | 0.1033 | 0.0729 | 0.0957 | 0.0876 | 0.1003 | 0.1003 | 0.0807 | 0.0891 | 0.0951 | 0.0875 | 0.0738 | 0.0988 | 0.0989 | 0.0929 | 0.0841 | 0.0918 | 2.9416 | 0.09489 | 0.1298 | 0
February | 0.1061 | 0.0829 | 0.0956 | 0.0956 | 0.122 | 0.1065 | 0.1 | 0.0725 | 0.1072 | 0.1024 | 0.1024 | 0.0844 | 0.1154 | 0.0643 | 0.0927 | 0.1117 | 0.1161 | 0.1162 | 0.0667 | 0.1228 | 0.1073 | 0.1005 | 0.0844 | 0.0984 | 0.0984 | 0.0924 | 0.1561 | 0.123 |  |  |  | 2.844 | 0.10157 | 0.1561 | 0
March | 0.0588 | 0.1095 | 0.1069 | 0.1069 | 0.1249 | 0.0779 | 0.1451 | 0.0913 | 0.0916 | 0.1159 | 0.1159 | 0.1097 | 0.1129 | 0.1419 | 0.095 | 0.1353 | 0.0957 | 0.0957 | 0.1091 | 0.0853 | 0.0901 | 0.0871 | 0.0777 | 0.1327 | 0.1327 | 0.0693 | 0.1002 | 0.1059 | 0.1243 | 0.0822 | 0.1141 | 3.2416 | 0.10457 | 0.1451 | 0
April | 0.1141 | 0.1109 | 0.146 | 0.0693 | 0.1275 | 0.1043 | 0.1032 | 0.1032 | 0.0908 | 0.12 | 0.0856 | 0.1168 | 0.1103 | 0.1065 | 0.1065 | 0.0971 | 0.1125 | 0.1184 | 0.1392 | 0.108 | 0.1046 | 0.1046 | 0.1067 | 0.1353 | 0.1216 | 0.1026 | 0.1394 | 0.1145 | 0.1145 | 0.139 |  | 3.373 | 0.11243 | 0.146 | 0
May | 0.1595 | 0.1187 | 0.0806 | 0.1143 | 0.1177 | 0.1177 | 0.1094 | 0.1176 | 0.1512 | 0.0946 | 0.1178 | 0.134 | 0.134 | 0.0937 | 0.1226 | 0.1079 | 0.1492 | 0.0998 | 0.1345 | 0.1345 | 0.1377 | 0.1606 | 0.1785 | 0.1104 | 0.156 | 0.1909 | 0.1909 | 0.1282 | 0.1704 | 0.1165 | 0.1132 | 4.0626 | 0.13105 | 0.1909 | 0
June | 0.1296 | 0.1362 | 0.1362 | 0.1363 | 0.2117 | 0.0808 | 0.1058 | 0.143 | 0.1242 | 0.1242 | 0.1278 | 0.091 | 0.0921 | 0.0957 | 0.1006 | 0.1095 | 0.1095 | 0.1087 | 0.09 | 0.0756 | 0.1174 | 0.0893 | 0.1315 | 0.1315 | 0.0898 | 0.0958 | 0.1486 | 0.0872 | 0.1452 | 0.122 |  | 3.4868 | 0.11623 | 0.2117 | 0
July | 0.122 | 0.083 | 0.0999 | 0.1232 | 0.1068 | 0.1083 | 0.122 | 0.1221 | 0.0874 | 0.0891 | 0.0919 | 0.1008 | 0.1087 | 0.108 | 0.108 | 0.1059 | 0.1348 | 0.1066 | 0.0853 | 0.1081 | 0.1124 | 0.1124 | 0.1491 | 0.0686 | 0.1239 | 0.1104 | 0.1385 | 0.1208 | 0.1208 | 0.1083 | 0.07 | 3.3571 | 0.10829 | 0.1491 | 0
August | 0.115 | 0.1164 | 0.1001 | 0.0998 | 0.0998 | 0.1003 | 0.1153 | 0.0841 | 0.1049 | 0.0736 | 0.103 | 0.103 | 0.1003 | 0.0969 | 0.0776 | 0.0803 | 0.0879 | 0.077 | 0.077 | 0.0811 | 0.0584 | 0.0971 | 0.0759 | 0.0862 | 0.1164 | 0.1164 | 0.1671 | 0.0879 | 0.1092 | 0.1163 | 0.1253 | 3.0496 | 0.098374 | 0.1671 | 0
September | 0.1203 | 0.1203 | 0.0993 | 0.1064 | 0.0909 | 0.1631 | 0.0554 | 0.1527 | 0.1527 | 0.108 | 0.1178 | 0.0815 | 0.1038 | 0.1208 | 0.1115 | 0.1115 | 0.1177 | 0.0979 | 0.1518 | 0.0756 | 0.1215 | 0.1225 | 0.1225 | 0.1543 | 0.1091 | 0.0666 | 0.0666 | 0.1111 | 0.1336 | 0.1336 |  | 3.4004 | 0.11335 | 0.1631 | 0
October | 0.1105 | 0.119 | 0.1218 | 0.1228 | 0.1251 | 0.1129 | 0.113 | 0.0965 | 0.0864 | 0.1086 | 0.1082 | 0.128 | 0.108 | 0.108 | 0.1156 | 0.1248 | 0.1352 | 0.0674 | 0.0982 | 0.1061 | 0.1061 | 0.0953 | 0.1288 | 0.1029 | 0.0752 | 0.1115 | 0.1087 | 0.1087 | 0.0981 | 0.1141 | 0.1099 | 3.3754 | 0.10888 | 0.1352 | 0
November | 0.0961 | 0.1274 | 0.1141 | 0.1141 | 0.1009 | 0.1045 | 0.1083 | 0.0922 | 0.1235 | 0.1018 | 0.1018 | 0.1338 | 0.1236 | 0.0621 | 0.1053 | 0.1217 | 0.1202 | 0.1201 | 0.0966 | 0.1063 | 0.1158 | 0.0714 | 0.1272 | 0.1016 | 0.1016 | 0.0894 | 0.1002 | 0.1132 | 0.1055 | 0.1149 |  | 3.2152 | 0.10717 | 0.1338 | 0
December | 0.1087 | 0.1087 | 0.1024 | 0.1179 | 0.0978 | 0.1318 | 0.1012 | 0.1175 | 0.1175 | 0.1027 | 0.1348 | 0.0991 | 0.1064 | 0.0905 | 0.1133 | 0.1133 | 0.0665 | 0.112 | 0.0817 | 0.1114 | 0.0975 | 0.0926 | 0.0926 | 0.0945 | 0.1098 | 0.1326 | 0.0914 | 0.0771 | 0.0953 | 0.0953 | 0.088 | 3.2019 | 0.10329 | 0.1348 | 0
[32 empty] | 39.5492 | Grand Total
City of Sanford Total I/C For Crystal Lake & Ravenna Park
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
January 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | jan
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0.001 | 3.5714e-05 | 0.001 |  | feb
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | mar
April | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.001 | 3.3333e-05 | 0.001 |  | apl
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0.0002 | 6.4516e-06 | 0.0001 |  | may
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | june
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 3.2258e-06 | 0.0001 |  | jly
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 | 0 | 0.0005 | 1.6129e-05 | 0.0005 |  | aug
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0007 |  | 0.0007 | 2.3333e-05 | 0.0007 |  | sept
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0002 | 0.0002 | 6.4516e-06 | 0.0002 |  | oct
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 |  | 0.0005 | 1.6667e-05 | 0.0005 |  | nov
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008 | 0.008 | 0.00025806 | 0.008 |  | dec
City of Sanford 4" I/C For Crystal Lake
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.001 | 3.3333e-05 | 0.001 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0.0002 | 6.4516e-06 | 0.0001 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 3.2258e-06 | 0.0001 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 | 0 | 0.0005 | 1.6129e-05 | 0.0005 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0007 |  | 0.0007 | 2.3333e-05 | 0.0007 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0002 | 0.0002 | 6.4516e-06 | 0.0002 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 |  | 0.0005 | 1.6667e-05 | 0.0005 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008 | 0.008 | 0.00025806 | 0.008 | 0
City of Sanford 6" I/C For Ravenna Park
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0.001 | 3.5714e-05 | 0.001 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ravenna 4" I/C
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509
February | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509
March | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509 | 42509
April | 42509 | 42509 | 42509 | 42510 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
May | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 500
June | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
July | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600
August | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 1100 | 1100
September | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1800
October | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 2000
November | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2500
December | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 3300
Ravenna 6" I/C
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481
February | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12481 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
March | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
April | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
May | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
June | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
July | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
August | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
September | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
October | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
November | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482
December | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482 | 12482