## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Weathersfield | 0.03176 | 0.03826 | 0.031935 | 0.0144 | 0.05801 | 0.0605 | 0.05459 | 0.00135 | 0.02476 | 0.04468 | 0.05863 | 0.017 | 0.06592 | 0.00335 | 0.05314 | 2e-05 | 0.05467 | 0 | 0.076233 | 0.015 | 0.165 | 0 | 0.042355 | 0.03168 | 0.94324
Total | 0.07002 |  | 0.046335 |  | 0.11851 |  | 0.05594 |  | 0.06944 |  | 0.07563 |  | 0.06927 |  | 0.05316 |  | 0.05467 |  | 0.091233 |  | 0.165 |  | 0.074035

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Weathersfield | 6013000 | 5576000 | 6533000 | 6496000 | 7262000 | 6456000 | 6064000 | 6212000 | 6408000 | 6270000 | 5179000 | 6146000
Weathersfield- I/C (Purch) | 0 | 0 | 0 | 0 | 0 | 0 | 499000 | 0 | 0 | 0 | 893000 | 0

## Weathersfield
252/470 - Weathersfield
PWS ID No. 3591451
SJWMD CUP No.8346-6 Expires: 07/07/36
FDEP FDEP Permitted Max Day Capacity of Plant - .864 mgd
Hyper Links'!A1
[6 empty] | Total Water Used/Loss |  |  |  |  | Source Mtr. Error Adj. 04/19/18 +0.99% 05/22/19 1.48% | [5 empty] | Purchased Water - Emergency Interconnt City of Altamonte Springs, Meter # P6945631 (Account #117450-252820)
| Total Pumped | Pumped Daily Avg. | Pumped Daily Max. | Purchased Water (Mstr Mtr 1 I/C from Daily Log) | Pumped + Purchased | Gallons Used | Gallons Loss | Total Used/ Loss | Pumped + Purch, Less Gallons Loss/Used | Billed Consumption | Meter Adj. % | Pumped Meter Adj. | Pumped + Purch, + Source Mtr Error, - Gals Loss/Use | Total AFW (Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW % |  | Service Period From | Service Period To | No. of Service Period Days | Previous Meter Read | Current Meter Read | Gallons Used | Weathersfeild UIF Read
January 2019 | 6.013 | 0.19397 | 0.236 | 0 | 6.013 | 0.03176 | 0.03826 | 0.07002 | 5.943 | 5.6057 | 0.99% | 0.059529 | 6.0025 | 5.6757 | 93.47% | 93.07% | 2019-12-01 |  | 2019-01-02 |  | 35878
February | 5.576 | 0.19914 | 0.241 | 0 | 5.576 | 0.031935 | 0.0144 | 0.046335 | 5.5297 | 5.1484 | 0.99% | 0.055202 | 5.5849 | 5.1947 | 92.25% | 95.56% | January 2019 | 2019-01-02 | 2019-01-31 | 29 | 35878 | 35878 | 0 | 0
March | 6.533 | 0.21074 | 0.288 | 0 | 6.533 | 0.05801 | 0.0605 | 0.11851 | 6.4145 | 6.208 | 0.99% | 0.064677 | 6.4792 | 6.3265 | 95.89% | 95.04% | February | 2019-01-31 | 2019-03-01 | 29 | 35878 | 35878 | 0 | 0
April | 6.496 | 0.21653 | 0.284 | 0 | 6.496 | 0.05459 | 0.00135 | 0.05594 | 6.4401 | 6.0717 | 0.99% | 0.06431 | 6.5044 | 6.1276 | 93.4% | 102.8% | March | 2019-03-01 | 2019-04-02 | 32 | 35878 | 35878 | 0 | 0
May | 7.262 | 0.23426 | 0.298 | 0 | 7.262 | 0.02476 | 0.04468 | 0.06944 | 7.1926 | 6.7607 | 0.99% &1.48% | 0.084345 | 7.2769 | 6.8302 | 92.97% | 95.08% | April | 2019-04-02 | 2019-05-01 | 29 | 35878 | 35878 | 0 | 0
June | 6.456 | 0.2152 | 0.292 | 0 | 6.456 | 0.05863 | 0.017 | 0.07563 | 6.3804 | 6.1271 | 1.48% | 0.095549 | 6.4759 | 6.2028 | 94.68% | 91.82% | May | 2019-05-01 | 2019-06-03 | 33 | 35878 | 35878 | 0 | 0
July | 6.064 | 0.19561 | 0.248 | 0.499 | 6.563 | 0.06592 | 0.00335 | 0.06927 | 6.4937 | 6.2072 | 1.48% | 0.089747 | 6.5835 | 6.2765 | 94.34% | 90.96% | June | 2019-06-03 | 2019-07-03 | 30 | 35878 | 35878 | 0 | 0
August | 6.212 | 0.20039 | 0.259 | 0 | 6.212 | 0.05314 | 2e-05 | 0.05316 | 6.1588 | 5.977 | 1.48% | 0.091938 | 6.2508 | 6.0302 | 95.66% | 92.33% | July | 2019-07-03 | 2019-07-30 | 27 | 35878 | 35878 | 0 | 0.499
September | 6.408 | 0.2136 | 0.272 | 0 | 6.408 | 0.05467 | 0 | 0.05467 | 6.3533 | 6.079 | 1.48% | 0.094838 | 6.4482 | 6.1337 | 94.32% | 93.9% | August | 2019-07-30 | 2019-08-28 | 29 | 35878 | 36377 | 0.499 | 0
October | 6.27 | 0.20226 | 0.259 | 0 | 6.27 | 0.076233 | 0.015 | 0.091233 | 6.1788 | 5.9533 | 1.48% | 0.092796 | 6.2716 | 6.0445 | 95% | 94.69% | September | 2019-08-28 | 2019-09-30 | 33 | 36377 | 36377 | 0 | 0
November | 5.179 | 0.17263 | 0.228 | 0.893 | 6.072 | 0.165 | 0 | 0.165 | 5.907 | 5.6616 | 1.48% | 0.076649 | 5.9836 | 5.8266 | 94.76% | 93.82% | October | 2019-09-30 | 2019-11-01 | 32 | 36377 | 36377 | 0 | 0
December | 6.146 | 0.19826 | 0.246 | 0 | 6.146 | 0.042355 | 0.03168 | 0.074035 | 6.072 | 5.7833 | 1.48% | 0.090961 | 6.1629 | 5.8574 | 93.91% | 93.59% | November | 2019-11-01 | 2019-12-02 | 31 | 36377 | 37270 | 0.893 | 0.893
YTD Total/Avg/Max | 74.615 | 0.20438 | 0.298 | 1.392 | 76.007 | 0.717 | 0.22624 | 0.94324 | 75.0638 | 71.5832 |  | 0.96054 | 76.0243 | 72.5264 |  |  | December | 2019-12-02 | 2020-01-02 | 31 | 37270 | 37270 | 0 | 0
| 74.615 |  |  | 1.392 | [7 empty] | 0.96054 |  | 72.5264 | [7 empty] | Total | 1.392 | 1.392
| 0 | Proof to Daily Flow |  | 0 | Proof to Daily Flow | [8 empty] | YTD AFW% Jan-Dec | 94.23% |  | (Billing cycle for purchased water is the 7th thru 10th of the month)
[9 empty] | Trailwoods | Wthrsfld |  | Total Billed
Water Loss-Use'!A1 |  |  |  |  | Water Loss/Use Proof | 0 |  | January | 1.3549 | 4.2508 |  | 5.6057
|  |  |  | Verif W/UIWtrMn WLU wrksht & WAF Input |  |  |  | February | 1.2242 | 3.9241 |  | 5.1484
[8 empty] | March | 1.5482 | 4.6598 |  | 6.208
[8 empty] | April | 1.537 | 4.5347 |  | 6.0717
[8 empty] | May | 1.8373 | 4.9234 |  | 6.7607
[8 empty] | June | 1.6711 | 4.456 |  | 6.1271
[8 empty] | July | 1.5302 | 4.677 |  | 6.2072
[8 empty] | August | 1.5034 | 4.4736 |  | 5.977
[8 empty] | September | 1.5133 | 4.5656 |  | 6.079
[8 empty] | October | 1.5139 | 4.4395 |  | 5.9533
[8 empty] | November | 1.4032 | 4.2584 |  | 5.6616
[8 empty] | December | 1.4725 | 4.3108 |  | 5.7833
[8 empty] | Grand Total | 18.1093 | 53.4739 |  | 0 | Proof to Billed Total
71.5832
[8 empty] | Proof to Billed Total | 0 | 0
Source Mtr. Error Adj. 05/22/19 1.48% 04/19/18 +.99%
[7 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[7 empty] | 05/01-05/21 | 0.99% | 4.721 | 0.046738
[7 empty] | 05/22-05/31 | 1.48% | 2.541 | 0.037607
0.084345

## Daily Flow-470
252/470 - Weathersfield | [5 empty] | MWAF - link to AH(x) |  |  |  |  | Hyper Links'!A1
XXX = Interconnect
Master Flow Meter
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max. | Proof
January | 0.159 | 0.227 | 0.185 | 0.181 | 0.198 | 0.198 | 0.199 | 0.197 | 0.191 | 0.178 | 0.197 | 0.14 | 0.235 | 0.236 | 0.205 | 0.151 | 0.203 | 0.217 | 0.153 | 0.221 | 0.221 | 0.186 | 0.186 | 0.195 | 0.208 | 0.157 | 0.212 | 0.212 | 0.204 | 0.178 | 0.183 | 6.013 | 0.19397 | 0.236 | 0
February | 0.185 | 0.174 | 0.24 | 0.241 | 0.159 | 0.221 | 0.197 | 0.201 | 0.139 | 0.229 | 0.23 | 0.177 | 0.207 | 0.179 | 0.211 | 0.129 | 0.237 | 0.237 | 0.167 | 0.223 | 0.192 | 0.194 | 0.161 | 0.241 | 0.241 | 0.174 | 0.212 | 0.178 |  |  |  | 5.576 | 0.19914 | 0.241 | 0
March | 0.213 | 0.167 | 0.231 | 0.231 | 0.195 | 0.186 | 0.186 | 0.196 | 0.169 | 0.248 | 0.249 | 0.2 | 0.186 | 0.288 | 0.205 | 0.174 | 0.24 | 0.24 | 0.209 | 0.173 | 0.23 | 0.192 | 0.206 | 0.242 | 0.242 | 0.19 | 0.214 | 0.19 | 0.162 | 0.23 | 0.249 | 6.533 | 0.21074 | 0.288 | 0
April | 0.249 | 0.168 | 0.219 | 0.219 | 0.183 | 0.182 | 0.248 | 0.248 | 0.216 | 0.155 | 0.218 | 0.207 | 0.13 | 0.27 | 0.27 | 0.192 | 0.228 | 0.195 | 0.204 | 0.163 | 0.239 | 0.239 | 0.208 | 0.172 | 0.27 | 0.218 | 0.178 | 0.284 | 0.284 | 0.24 |  | 6.496 | 0.21653 | 0.284 | 0
May | 0.214 | 0.233 | 0.154 | 0.224 | 0.256 | 0.255 | 0.276 | 0.206 | 0.207 | 0.218 | 0.209 | 0.255 | 0.256 | 0.183 | 0.181 | 0.193 | 0.255 | 0.194 | 0.271 | 0.272 | 0.209 | 0.223 | 0.244 | 0.231 | 0.238 | 0.273 | 0.272 | 0.298 | 0.233 | 0.289 | 0.24 | 7.262 | 0.23426 | 0.298 | 0
June | 0.289 | 0.248 | 0.248 | 0.211 | 0.292 | 0.199 | 0.187 | 0.16 | 0.227 | 0.227 | 0.172 | 0.193 | 0.2 | 0.204 | 0.22 | 0.239 | 0.239 | 0.194 | 0.161 | 0.237 | 0.146 | 0.193 | 0.244 | 0.245 | 0.231 | 0.18 | 0.199 | 0.213 | 0.219 | 0.239 |  | 6.456 | 0.2152 | 0.292 | 0
July | 0.239 | 0.243 | 0.149 | 0.24 | 0.225 | 0.171 | 0.212 | 0.211 | 0.194 | 0.213 | 0.227 | 0.223 | 0.193 | 0.248 | 0.248 | 0 | 0 | 0.193 | 0.172 | 0.202 | 0.237 | 0.237 | 0.172 | 0.247 | 0.175 | 0.179 | 0.167 | 0.218 | 0.218 | 0.198 | 0.213 | 6.064 | 0.19561 | 0.248 | 0
August | 0.181 | 0.201 | 0.13 | 0.235 | 0.235 | 0.136 | 0.229 | 0.159 | 0.179 | 0.201 | 0.259 | 0.259 | 0.201 | 0.2 | 0.171 | 0.229 | 0.164 | 0.244 | 0.244 | 0.169 | 0.216 | 0.151 | 0.239 | 0.138 | 0.248 | 0.248 | 0.2 | 0.153 | 0.213 | 0.212 | 0.168 | 6.212 | 0.20039 | 0.259 | 0
September | 0.219 | 0.219 | 0.206 | 0.229 | 0.203 | 0.186 | 0.154 | 0.243 | 0.242 | 0.159 | 0.192 | 0.272 | 0.19 | 0.156 | 0.24 | 0.241 | 0.183 | 0.232 | 0.215 | 0.213 | 0.149 | 0.269 | 0.269 | 0.182 | 0.241 | 0.209 | 0.166 | 0.214 | 0.258 | 0.257 |  | 6.408 | 0.2136 | 0.272 | 0
October | 0.203 | 0.209 | 0.226 | 0.202 | 0.179 | 0.224 | 0.224 | 0.195 | 0.188 | 0.192 | 0.232 | 0.149 | 0.259 | 0.259 | 0.19 | 0.213 | 0.154 | 0.209 | 0.212 | 0.195 | 0.195 | 0.214 | 0.156 | 0.214 | 0.206 | 0.152 | 0.225 | 0.224 | 0.177 | 0.21 | 0.183 | 6.27 | 0.20226 | 0.259 | 0
November | 0.19 | 0.169 | 0.225 | 0.225 | 0.209 | 0.2 | 0.155 | 0.197 | 0.198 | 0.211 | 0.225 | 0 | 0 | 0 | 0 | 0.156 | 0.221 | 0.221 | 0.199 | 0.19 | 0.205 | 0.16 | 0.207 | 0.228 | 0.227 | 0.197 | 0.147 | 0.206 | 0.218 | 0.193 |  | 5.179 | 0.17263 | 0.228 | 0
December | 0.246 | 0.245 | 0.126 | 0.246 | 0.182 | 0.169 | 0.183 | 0.238 | 0.237 | 0.16 | 0.22 | 0.195 | 0.185 | 0.153 | 0.24 | 0.239 | 0.194 | 0.183 | 0.18 | 0.159 | 0.185 | 0.229 | 0.229 | 0.146 | 0.189 | 0.18 | 0.191 | 0.2 | 0.217 | 0.218 | 0.182 | 6.146 | 0.19826 | 0.246 | 0
[32 empty] | 74.615 | Grand Total
Interconnect
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max. | Proof
January | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.241 | 0.258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.499 | 0.016097 | 0.258 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.191 | 0.278 | 0.195 | 0.229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.893 | 0.029767 | 0.278 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[32 empty] | 1.392 | Grand Total
UIF I/C Reads | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
January | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878
February | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878
March | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878
April | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878
May | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878
June | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878
July | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 35878 | 36119 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377
August | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377
September | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377
October | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377
November | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36377 | 36568 | 36846 | 37041 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270
December | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270 | 37270