## Feeder Hardening
ProgramID | ProjectID | Circuit Number | Benefits | Project_Costs | BCR | SPP 2021 Year
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60071612 | 13892 | 5430365.7924 | 181582 | 29.9059 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60089566 | 13414 | 6974698.7318 | 455346 | 15.3174 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60084114 | 14042 | 5222925.3106 | 355183 | 14.7049 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60049915 | 13230 | 7579301.6373 | 520573 | 14.5595 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60055127 | 13417 | 11272424.5178 | 812739 | 13.8697 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60013388 | 13008 | 6935265.0364 | 545483 | 12.714 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Recloser-92357154 | 14042 | 10180947.6539 | 840829 | 12.1082 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60075196 | 13753 | 8694158.5139 | 736076 | 11.8115 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60320300 | 13299 | 5389035.702 | 540104 | 9.9778 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60067752 | 13308 | 9975277.4502 | 1027706 | 9.7064 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60067708 | 13311 | 6849703.1612 | 770070 | 8.8949 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60084101 | 14040 | 3490285.392 | 404267 | 8.6336 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60075477 | 13633 | 8430740.6752 | 1017614 | 8.2848 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Recloser-91847101 | 14040 | 5995457.7309 | 794904 | 7.5424 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60063798 | 13227 | 4683255.4191 | 636617 | 7.3565 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Recloser-92204970 | 13414 | 3759573.4584 | 513014 | 7.3284 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60095496 | 13807 | 5706648.0766 | 787267 | 7.2487 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60068564 | 13737 | 3990162.418 | 580134 | 6.878 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60083955 | 13457 | 3951680.9437 | 581008 | 6.8014 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Recloser-92203202 | 13807 | 2683387.1197 | 438085 | 6.1253 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60055353 | 13028 | 2407374.189 | 420395 | 5.7265 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-92300431 | 13077 | 3907837.209 | 699528 | 5.5864 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60075458 | 13187 | 3960493.9399 | 744923 | 5.3166 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Recloser-92018434 | 13687 | 2008905.8751 | 556112 | 3.6124 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60070711 | 13438 | 151718.3973 | 45745 | 3.3166 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60066896 | 13695 | 1579189.2214 | 485582 | 3.2522 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60083992 | 13687 | 1908781.2763 | 614592 | 3.1058 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60068434 | 13364 | 128867.3121 | 53082 | 2.4277 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-72901595 | 14083 | 103982.2079 | 79623 | 1.3059 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-90939808 | 14014 | 49514.7866 | 79623 | 0.62187 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Recloser-92477860 | 13008 | 187821.3336 | 529601 | 0.35465 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Recloser-93280362 | 13299 | 181872.8768 | 513126 | 0.35444 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-76251434 | 13343 | 10345.677 | 49314 | 0.20979 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60066663 | 13944 | 1434.063 | 8847 | 0.1621 | 2023
Distribution Feeder Hardening | Distribution Feeder Hardening-Breaker-60078488 | 13039 | 7904239.7661 | 504716 | 15.6608 | 2023

## FLISR
ProgramID | ProjectID | Circuit Number | Benefits | Project_Costs | BCR | Mid-Cycle Discounted Project Cost | SPP 2021 Year | Recommended Path
FLISR | FLISR-13308 | 13308 | 13986823.6159 | 276000 | 45.9891 | 28133.4771 | 2023 | Full FLISR
FLISR | FLISR-13077 | 13077 | 8543630.9062 | 456053.877 | 16.6024 | 58547.2142 | 2023 | Full FLISR
FLISR | FLISR-13633 | 13633 | 5848330.0906 | 350000 | 15.4663 | 28133.4771 | 2023 | Full FLISR
FLISR | FLISR-13807 | 13807 | 4825147.0241 | 322000 | 13.7809 | 28133.4771 | 2023 | Full FLISR
FLISR | FLISR-13695 | 13695 | 8269798.129 | 532000 | 13.5556 | 78062.9522 | 2023 | Full FLISR
FLISR | FLISR-13417 | 13417 | 4824749.3441 | 380000 | 11.514 | 39031.4761 | 2023 | Full FLISR
FLISR | FLISR-13227 | 13227 | 5061073.6634 | 414000 | 11.4469 | 28133.4771 | 2023 | Full FLISR
FLISR | FLISR-13737 | 13737 | 3286138.3761 | 380000 | 7.8422 | 39031.4761 | 2023 | Full FLISR
FLISR | FLISR-13311 | 13311 | 2470570.8709 | 380000 | 5.8959 | 39031.4761 | 2023 | Full FLISR
FLISR | FLISR-13753 | 13753 | 2630028.0931 | 478002.263 | 5.0868 | 39031.4761 | 2023 | Full FLISR
FLISR | FLISR-13892 | 13892 | 4702747.8202 | 901660.9856 | 4.8976 | 58547.2142 | 2023 | Full FLISR
FLISR | FLISR-13230 | 13230 | 5198359.2994 | 1013972.554 | 4.8469 | 58547.2142 | 2023 | Full FLISR
FLISR | FLISR-13687 | 13687 | 5063315.7604 | 977660.9856 | 4.7961 | 78062.9522 | 2023 | Full FLISR
FLISR | FLISR-13028 | 13028 | 2786046.2493 | 608000 | 3.9486 | 97578.6903 | 2023 | Full FLISR
FLISR | FLISR-13187 | 13187 | 3925604.9677 | 1136791.5036 | 3.2841 | 58547.2142 | 2023 | Full FLISR
FLISR | FLISR-13457 | 13457 | 764032.1144 | 380000 | 1.8233 | 39031.4761 | 2023 | Full FLISR
FLISR | FLISR-14040 | 14040 | 1916330.7477 | 1053660.9856 | 1.6646 | 97578.6903 | 2023 | Full FLISR
FLISR | FLISR-13299 | 13299 | 2133043.39 | 1209969.2333 | 1.6313 | 97578.6903 | 2023 | Full FLISR
FLISR | Lake Juliana-13772-Protection Upgrade | 13772 | 0 | 120000 | 1 | 0 | 2023
FLISR | Lake Silver N-13292-Protection Upgrade | 13292 | 0 | 120000 | 1 | 0 | 2023
FLISR | Pearson S-13687-Protection Upgrade | 13687 | 0 | 120000 | 1 | 0 | 2023
FLISR | FLISR-13039 | 13039 | 2310077.1192 | 532000 | 3.7866 | 78062.9522 | 2023 | Full FLISR