| State of Florida |  | Public Service Commission Capital Circle Office Center ● 2540 Shumard Oak Boulevard Tallahassee, Florida 32399-0850 -M-E-M-O-R-A-N-D-U-M- |  |
| --- | --- | --- | --- |
| DATE: | July 23, 2026 |  |  |
| TO: | Office of Commission Clerk (Teitzman) |  |  |
| FROM: | Division of Economics (P. Kelley) Office of the General Counsel (Farooqi) |  |  |
| RE: | Docket No. 20260050-EI – Petition for approval of revised underground residential distribution tariff, by Tampa Electric Company. |  |  |
| AGENDA: | 08/04/26 – Regular Agenda – Tariff Filing – Interested Persons May Participate |  |  |
| COMMISSIONERS ASSIGNED: |  |  | All Commissioners |
| PREHEARING OFFICER: |  |  | Administrative |
| CRITICAL DATES: |  |  | 12/01/26 (8-Month Effective Date) |
| SPECIAL INSTRUCTIONS: |  |  | None |

Case Background

On April 1, 2026, Tampa Electric Company (TECO or utility) filed a petition for approval of revisions to its Underground Residential Distribution (URD) tariffs and associated charges. These tariffs represent the additional costs, if any, TECO incurs to provide underground service in place of overhead service in new residential subdivisions. TECO’s current URD charges were approved in Order No. PSC-2023-0211-TRF-EI (2023 Order). The proposed URD tariffs are attached to the recommendation as Attachment A.

The petition was filed pursuant to Rule 25-6.078(3), Florida Administrative Code (F.A.C.), which states, in part, “If the cost differential as calculated in Form PSC 1031 (08/20) varies from the Commission-approved differential by plus or minus 10 percent or more, the utility shall file a written policy and supporting data and analyses as prescribed in subsections (1), (4) and (5) of this rule on or before April 1 of the following year; however, each utility shall file a written policy and supporting data and analyses at least once every 3 years.”

The ten percent threshold outlined by the rule has not been met or exceeded since TECO’s last URD tariff filing. Because it has been three years since TECO last updated its URD tariff, TECO filed updated URD tariff sheets in the subject docket.

The Commission suspended the proposed tariffs by Order No. PSC-2026-0158-PCO-EI, issued May 19, 2026, to allow staff sufficient time to analyze the utility’s filing, pursuant to Section 366.06(3), Florida Statutes (F.S.). Staff issued one data request to the utility on June 12, 2026, for which response was provided on June 26, 2026. The Commission has jurisdiction over this matter pursuant to Sections 366.03, 366.04, 366.05, and 366.06, F.S.

Discussion of Issues

Issue 1:

Should the Commission approve TECO's proposed underground residential distribution tariffs and associated charges?

Recommendation:

Yes, the Commission should approve TECO’s proposed underground residential distribution tariffs and associated charges, effective on the date of the Commission vote. The proposed URD charges are cost-based and staff

recommends approval of the tariffs shown in Attachment A. (P. Kelley)

Staff Analysis:

Rule 25-6.078 F.A.C, defines investor-owned utilities’ (IOU) responsibilities for filing updated URD tariffs. The URD tariffs provide standard charges for underground service in new residential subdivisions and represent the additional costs, if any, the utility incurs to provide underground service in place of overhead service. The cost of standard overhead construction is recovered through base rates from all ratepayers. In lieu of overhead construction, customers have the option of requesting underground facilities. Typically, the developer of a new residential subdivision would be the utility customer utilizing the URD tariffs.

In its petition, the utility updated its cost calculations and supporting documentation for its low-density and high-density per lot service lateral cost differentials. The currently approved high-density cost differential is $0.00 and the currently approved low-density cost differential is $0.00. The utility’s calculations demonstrate that the per lot undergrounding differential for high-density and low-density subdivisions should remain $0.00. TECO proposes that the URD surcharge remain at $0.00 per lot, as discussed in paragraphs 9 and 14 of the petition. TECO also proposes modifications to several other charges and non-refundable deposits for underground service, as shown in Exhibit B to the petition.

While labor and material costs have increased since TECO’s 2023 URD filing, the main reason for the low and high density underground differential remaining at zero is increasing operational costs for overhead and decreasing operational costs for underground, as discussed further below. A lower, or zero, URD differential charge is typically the result of the avoided storm restoration costs associated with underground facilities, offsetting any higher labor and material costs associated with underground construction

Table 1-1

Comparison of URD Differential per Lot

|  | Current Differential | Proposed Differential |
| --- | --- | --- |
| Low-density | $0 | $0 |
| High-density | $0 | $0 |

Source: 2023 Order and TECO’s 2026 filing.

Two primary factors impacted the calculation of TECO’s proposed URD charges which are discussed in greater detail below: (1) updated labor and material costs and (2) updated operational costs.

Updated Labor and Material Costs

The installation costs of both underground and overhead facilities include the labor and material costs to provide primary, secondary, and service distribution lines as well as transformers. The costs of poles are specific to overhead service while the costs of trenching and backfilling are specific to underground service. Table 1-2 compares the currently approved 2023 costs and 2026 costs for underground and overhead labor and material for the two subdivision models.

Table 1-2

Labor and Material Costs per Lot

|  | 2023 Costs | 2026 Costs | Difference |
| --- | --- | --- | --- |
| Low-density |  |  |  |
| Underground labor/material costs | $4,108 | $4,034 | $(74) |
| Overhead labor/material costs | $1,797 | $1,974 | $177 |
| Per lot differential | $2,310 | $2,060 | $(250) |
| High-density |  |  |  |
| Underground labor/material costs | $3,052 | $2,956 | $(96) |
| Overhead labor/material costs. | $1,413 | $1,547 | $134 |
| Per lot differential | $1,639 | $1,409 | $(230) |

Source: 2023 Order and TECO’s 2026 filing.

While overhead labor and material costs increased, underground labor and material costs decreased, resulting in a decrease in the differential. The utility states that the reasons for the decrease in labor and material costs for undergrounding is due to and expansion of the utility work force, increased availability of qualified contractor partners, and advancements in horizontal directional drilling equipment that allows for smaller crew sizes. While the reasons for overhead increasing is due to increased demand for transmission and distribution equipment due to load growth, renewable energy expansion, data center development, and grid modernization and hardening initiatives that has placed upward pressure on material and equipment prices.

Updated Operational Costs

Rule 25-6.078(4), F.A.C., provides that the differences in net present value (NPV) of operational costs between overhead and underground systems, including average historical storm restoration costs over the life of the facilities, be included in the URD charge. Operational costs include operations and maintenance (O&M) costs and capital costs. The inclusion of the operational costs is intended to capture longer term costs and benefits of undergrounding.

In the current URD petition, TECO used actual costs from storms that impacted TECO’s service area between 2023 and 2025. This resulted in the average annual storm costs being $139,613,926 over the 3-year period. TECO stated that based on impacts and data from Hurricanes Idalia, Debby, Helene, and Milton, the utility updated the allocation factors to attribute 99 percent of the storm costs to overhead and 1 percent to underground. Therefore $138,217,786 (99 percent of the total $139,613,926 storm costs) represents the avoided overhead storm restoration costs when facilities are placed underground.

Table 1-3

NPV of Operational Costs Differential per Lot

|  | 2023 Calculation | 2026 Calculation | Difference |
| --- | --- | --- | --- |
| Low-density |  |  |  |
| Underground NPV- Operational Costs | $2,571 | $1,657 | $(914) |
| Overhead NPV- Operational Costs | $4,928 | $5,507 | $579 |
| Per lot Differential | $(2,358) | $(3,849) | $(1,491) |
| High-density |  |  |  |
| Underground NPV- Operational Costs | $1,208 | $786 | $(422) |
| Overhead NPV- Operational Costs | $3,656 | $4,065 | $409 |
| Per lot Differential | $(2,449) | $(3,279) | $(830) |

Source: 2023 Order and TECO’s 2026 filing.

As shown above, the overhead operational costs are greater than underground, resulting in operational savings from undergrounding. The NPV differential of operational costs, including avoided storm restoration costs, increased in both low-density and high-density subdivision models, resulting in an increase in the NPV operational cost credit.

To illustrate the calculation for the low-density subdivision URD charge, the 2026 labor and material costs differential is $2,060 (Table 1-2). Subtracting the NPV of operational costs differential of $3,849 (Table 1-3) results in a negative $1,789 URD differential. Since the tariffed URD charge cannot be a negative, it is set at $0.

Other Proposed Tariff Changes

TECO’s proposed URD tariffs also include standard charges for the installation and trenching of underground service laterals from overhead distribution, underground service laterals converted from existing overhead service drops, and non-refundable deposits for cost estimates for the conversion of existing overhead distribution facilities to underground facilities. If a customer requests an underground service lateral, the tariff includes a credit to the customer for avoiding a pole that is otherwise required for overhead service. The charges have been updated to reflect current material and labor costs.

Conclusion

Staff has reviewed TECO’s proposed changes to its URD tariffs and associated charges, the accompanying work papers, and responses to staff’s data request. Staff believes TECO’s proposed URD tariffs and associated charges as filed in the petition are cost-based and recommends approval of the tariffs shown in Attachment A. These tariffs should become effective on the date of the Commission vote.
Issue 2:

Should this docket be closed?

Recommendation:

If Issue 1 is approved and a protest is filed within 21 days of the issuance of the order, the tariffs should remain in effect, with any revenues held subject to refund, pending resolution of the protest. If no timely protest is filed, this docket should be closed upon the issuance of a Consummating Order. (Farooqi)

Staff Analysis:

If Issue 1 is approved and a protest is filed within 21 days of the issuance of the order, the tariffs should remain in effect, with any revenues held subject to refund, pending resolution of the protest. If no timely protest is filed, this docket should be closed upon the issuance of a Consummating Order.

Order No. PSC-2023-0211-TRF-EI, issued July 25, 2023, in Docket No. 20230042-EI, In re: Petition Company for approval of revised underground residential distribution tariff, by Tamp Electric Company.

Order No. PSC-2023-0211-TRF-EI, issued July 25, 2023, in Docket No. 20230042-EI, In re: Petition for approval of revised underground residential distribution tariff, by Tampa Electric Company.

Document No. 03763-2026.

TECO’s Responses to Staff’s First Data Request, Response Nos. 1 and 2.

TECO’s Responses to Staff’s First Data Request, Response No. 3.